## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6082-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6082-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6082-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6082-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6082-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6082-7_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6082-7_0_3_node_85 | 0.4 | n |  | TRUE
7 | bus_LV_6082-7_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6082-7_0_3_node_84 | 0.4 | n |  | TRUE
9 | bus_LV_6082-7_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6082-7_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6082-7_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6082-7_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6082-7_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_6082-7_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6082-7_0_3_node_90 | 0.4 | n |  | TRUE
16 | bus_LV_6082-7_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6082-7_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6082-7_0_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6082-7_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_6082-7_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_6082-7_0_3_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_6082-7_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_6082-7_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6082-7_0_3_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_6082-7_0_3_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_6082-7_0_3_node_95 | 0.4 | n |  | TRUE
27 | bus_LV_6082-7_0_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_6082-7_0_3_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_6082-7_0_3_node_96 | 0.4 | n |  | TRUE
30 | bus_LV_6082-7_0_3_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_6082-7_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_6082-7_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6082-7_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6082-7_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_6082-7_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_6082-7_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6082-7_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_6082-7_0_3_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_6082-7_0_3_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_6082-7_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6082-7_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6082-7_0_3_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6082-7_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6082-7_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6082-7_0_3_node_67 | 0.4 | n |  | TRUE
46 | bus_LV_6082-7_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6082-7_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6082-7_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_6082-7_0_3_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6082-7_0_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_6082-7_0_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_6082-7_0_3_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_6082-7_0_3_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6082-7_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6082-7_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6082-7_0_3_node_68 | 0.4 | n |  | TRUE
57 | bus_LV_6082-7_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6082-7_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6082-7_0_3_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6082-7_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6082-7_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_6082-7_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_6082-7_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_6082-7_0_3_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6082-7_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6082-7_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_6082-7_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_6082-7_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_6082-7_0_3_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_6082-7_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6082-7_0_3_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_6082-7_0_3_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_6082-7_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6082-7_0_3_node_63 | 0.4 | n |  | TRUE
75 | bus_LV_6082-7_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_6082-7_0_3_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_6082-7_0_3_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_6082-7_0_3_node_98 | 0.4 | n |  | TRUE
79 | bus_LV_6082-7_0_3_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_6082-7_0_3_node_101 | 0.4 | n |  | TRUE
81 | bus_LV_6082-7_0_3_node_104 | 0.4 | n |  | TRUE
82 | bus_LV_6082-7_0_3_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_6082-7_0_3_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_6082-7_0_3_node_103 | 0.4 | n |  | TRUE
85 | bus_LV_6082-7_0_3_node_105 | 0.4 | n |  | TRUE
86 | bus_LV_6082-7_0_3_node_64 | 0.4 | n |  | TRUE
87 | bus_LV_6082-7_0_3_node_65 | 0.4 | n |  | TRUE
88 | bus_LV_6082-7_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6082-7_0_3_node_80 | 0.4 | n |  | TRUE
90 | bus_LV_6082-7_0_3_node_76 | 0.4 | n |  | TRUE
91 | bus_LV_6082-7_0_3_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_6082-7_0_3_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_6082-7_0_3_node_74 | 0.4 | n |  | TRUE
94 | bus_LV_6082-7_0_3_node_73 | 0.4 | n |  | TRUE
95 | bus_LV_6082-7_0_3_node_70 | 0.4 | n |  | TRUE
96 | bus_LV_6082-7_0_3_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_6082-7_0_3_node_77 | 0.4 | n |  | TRUE
98 | bus_LV_6082-7_0_3_node_78 | 0.4 | n |  | TRUE
99 | bus_LV_6082-7_0_3_node_79 | 0.4 | n |  | TRUE
100 | bus_LV_6082-7_0_3_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_6082-7_0_3_node_83 | 0.4 | n |  | TRUE
102 | bus_MV_96_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6082-7_0_3_load_0 | 0 | 0.0025795 | 0.00064649 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6082-7_0_3_load_1 | 1 | 0.004168 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6082-7_0_3_load_2 | 2 | 0.0035802 | 0.00089727 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6082-7_0_3_load_3 | 3 | 0.0047792 | 0.0011978 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6082-7_0_3_load_4 | 4 | 0.0027795 | 0.00069662 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6082-7_0_3_load_5 | 5 | 0.0023729 | 0.00059471 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6082-7_0_3_load_85 | 6 | 0.0037566 | 0.00094149 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6082-7_0_3_load_6 | 7 | 0.0019745 | 0.00049484 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6082-7_0_3_load_7 | 9 | 0.0020483 | 0.00051336 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6082-7_0_3_load_10 | 12 | 0.0033413 | 0.00083742 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6082-7_0_3_load_14 | 13 | 0.0030269 | 0.00075862 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6082-7_0_3_load_11 | 14 | 0.0057065 | 0.0014302 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6082-7_0_3_load_90 | 15 | 0.0030657 | 0.00076835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6082-7_0_3_load_16 | 16 | 0.002631 | 0.00065939 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6082-7_0_3_load_12 | 17 | 0.0021669 | 0.00054309 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6082-7_0_3_load_18 | 19 | 0.0038202 | 0.00095743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6082-7_0_3_load_31 | 22 | 0.0022471 | 0.00056317 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6082-7_0_3_load_93 | 24 | 0.0057171 | 0.0014328 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6082-7_0_3_load_95 | 26 | 0.0014227 | 0.00035657 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6082-7_0_3_load_52 | 27 | 0.0095122 | 0.002384 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6082-7_0_3_load_49 | 28 | 0.0023841 | 0.00059751 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6082-7_0_3_load_96 | 29 | 0.0016093 | 0.00040332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6082-7_0_3_load_89 | 30 | 0.0032169 | 0.00080623 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6082-7_0_3_load_23 | 31 | 0.0056917 | 0.0014265 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6082-7_0_3_load_25 | 33 | 0.0033646 | 0.00084326 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6082-7_0_3_load_26 | 34 | 0.0047379 | 0.0011874 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6082-7_0_3_load_33 | 36 | 0.0045779 | 0.0011473 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6082-7_0_3_load_29 | 37 | 0.0035953 | 0.00090108 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6082-7_0_3_load_91 | 38 | 0.002561 | 0.00064185 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6082-7_0_3_load_92 | 39 | 0.002186 | 0.00054787 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6082-7_0_3_load_28 | 41 | 0.0078657 | 0.0019713 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6082-7_0_3_load_41 | 43 | 0.0036349 | 0.00091099 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6082-7_0_3_load_38 | 44 | 0.002387 | 0.00059825 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6082-7_0_3_load_67 | 45 | 0.0030807 | 0.00077208 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6082-7_0_3_load_39 | 46 | 0.0034618 | 0.00086761 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6082-7_0_3_load_35 | 47 | 0.0014205 | 0.00035601 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6082-7_0_3_load_37 | 49 | 0.004119 | 0.0010323 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6082-7_0_3_load_87 | 51 | 0.0044703 | 0.0011204 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6082-7_0_3_load_86 | 52 | 0.0037362 | 0.00093637 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6082-7_0_3_load_40 | 53 | 0.0024768 | 0.00062074 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6082-7_0_3_load_42 | 54 | 0.0033361 | 0.00083611 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6082-7_0_3_load_43 | 55 | 0.003207 | 0.00080376 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6082-7_0_3_load_68 | 56 | 0.0039538 | 0.00099092 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6082-7_0_3_load_44 | 57 | 0.002664 | 0.00066766 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6082-7_0_3_load_45 | 58 | 0.002885 | 0.00072305 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6082-7_0_3_load_53 | 59 | 0.0026828 | 0.00067236 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6082-7_0_3_load_54 | 60 | 0.0034047 | 0.00085329 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6082-7_0_3_load_46 | 61 | 0.0026478 | 0.0006636 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6082-7_0_3_load_47 | 62 | 0.0031959 | 0.00080097 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6082-7_0_3_load_50 | 64 | 0.0066057 | 0.0016556 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6082-7_0_3_load_51 | 65 | 0.0048267 | 0.0012097 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6082-7_0_3_load_61 | 66 | 0.0025425 | 0.0006372 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6082-7_0_3_load_56 | 67 | 0.0021566 | 0.00054049 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6082-7_0_3_load_60 | 68 | 0.0065036 | 0.00163 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6082-7_0_3_load_66 | 71 | 0.0075576 | 0.0018941 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6082-7_0_3_load_62 | 72 | 0.005127 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6082-7_0_3_load_71 | 73 | 0.0031106 | 0.0007796 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6082-7_0_3_load_58 | 75 | 0.0088779 | 0.002225 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6082-7_0_3_load_59 | 76 | 0.0036335 | 0.00091064 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6082-7_0_3_load_98 | 78 | 0.0011404 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6082-7_0_3_load_101 | 80 | 0.0015032 | 0.00037674 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6082-7_0_3_load_104 | 81 | 0.0050152 | 0.0012569 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6082-7_0_3_load_100 | 82 | 0.0021573 | 0.00054067 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6082-7_0_3_load_103 | 84 | 0.0023347 | 0.00058513 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6082-7_0_3_load_105 | 85 | 0.0048731 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6082-7_0_3_load_64 | 86 | 0.0028225 | 0.00070739 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6082-7_0_3_load_65 | 87 | 0.005598 | 0.001403 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6082-7_0_3_load_75 | 88 | 0.0036634 | 0.00091814 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6082-7_0_3_load_80 | 89 | 0.006961 | 0.0017446 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6082-7_0_3_load_76 | 90 | 0.0067863 | 0.0017008 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6082-7_0_3_load_81 | 91 | 0.0089185 | 0.0022352 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6082-7_0_3_load_69 | 92 | 0.0046867 | 0.0011746 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6082-7_0_3_load_74 | 93 | 0.0046663 | 0.0011695 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6082-7_0_3_load_73 | 94 | 0.0037364 | 0.00093643 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6082-7_0_3_load_70 | 95 | 0.0085628 | 0.002146 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6082-7_0_3_load_72 | 96 | 0.0059263 | 0.0014853 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6082-7_0_3_load_77 | 97 | 0.0052169 | 0.0013075 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6082-7_0_3_load_78 | 98 | 0.006041 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6082-7_0_3_load_79 | 99 | 0.0050112 | 0.0012559 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6082-7_0_3_load_82 | 100 | 0.0033743 | 0.00084568 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6082-7_0_3_load_83 | 101 | 0.005211 | 0.001306 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6082-7_0_3_line_0 |  | 0 | 1 | 0.038206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6082-7_0_3_line_1 |  | 1 | 2 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6082-7_0_3_line_2 |  | 2 | 3 | 0.012269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6082-7_0_3_line_3 |  | 2 | 4 | 0.023187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6082-7_0_3_line_4 |  | 3 | 5 | 0.021648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6082-7_0_3_line_5 |  | 4 | 6 | 0.018327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6082-7_0_3_line_6 |  | 5 | 7 | 0.013695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6082-7_0_3_line_7 |  | 6 | 8 | 0.022507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6082-7_0_3_line_8 |  | 7 | 9 | 0.0097323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6082-7_0_3_line_9 |  | 8 | 52 | 0.013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6082-7_0_3_line_10 |  | 8 | 101 | 0.043833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6082-7_0_3_line_11 |  | 9 | 10 | 0.010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6082-7_0_3_line_12 |  | 10 | 11 | 0.018907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6082-7_0_3_line_13 |  | 10 | 12 | 0.013842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6082-7_0_3_line_14 |  | 11 | 13 | 0.021845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6082-7_0_3_line_15 |  | 11 | 14 | 0.0368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6082-7_0_3_line_16 |  | 12 | 15 | 0.069965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6082-7_0_3_line_17 |  | 13 | 16 | 0.0095105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6082-7_0_3_line_18 |  | 14 | 17 | 0.010444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6082-7_0_3_line_19 |  | 15 | 18 | 0.026989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6082-7_0_3_line_20 |  | 18 | 30 | 0.031043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6082-7_0_3_line_21 |  | 19 | 20 | 0.080108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6082-7_0_3_line_22 |  | 19 | 21 | 0.083121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6082-7_0_3_line_23 |  | 19 | 22 | 0.21349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6082-7_0_3_line_24 |  | 20 | 23 | 0.036478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6082-7_0_3_line_25 |  | 21 | 24 | 0.014543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6082-7_0_3_line_26 |  | 22 | 25 | 0.028829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6082-7_0_3_line_27 |  | 23 | 26 | 0.12086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6082-7_0_3_line_28 |  | 24 | 39 | 0.10066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6082-7_0_3_line_29 |  | 25 | 42 | 0.021838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6082-7_0_3_line_30 |  | 25 | 41 | 0.018921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6082-7_0_3_line_31 |  | 26 | 29 | 0.013979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6082-7_0_3_line_32 |  | 27 | 28 | 0.0017591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6082-7_0_3_line_33 |  | 28 | 62 | 0.0070275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6082-7_0_3_line_34 |  | 29 | 77 | 0.091484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6082-7_0_3_line_35 |  | 31 | 32 | 0.035495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6082-7_0_3_line_36 |  | 31 | 33 | 0.0041496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6082-7_0_3_line_37 |  | 32 | 34 | 0.022005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6082-7_0_3_line_38 |  | 32 | 35 | 0.06613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6082-7_0_3_line_39 |  | 35 | 36 | 0.06655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6082-7_0_3_line_40 |  | 35 | 37 | 0.024467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6082-7_0_3_line_41 |  | 36 | 40 | 0.064899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6082-7_0_3_line_42 |  | 37 | 41 | 0.032839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6082-7_0_3_line_43 |  | 38 | 39 | 0.0030215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6082-7_0_3_line_44 |  | 40 | 47 | 0.038552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6082-7_0_3_line_45 |  | 40 | 48 | 0.032538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6082-7_0_3_line_46 |  | 42 | 43 | 0.015878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6082-7_0_3_line_47 |  | 42 | 44 | 0.0067841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6082-7_0_3_line_48 |  | 43 | 45 | 0.043238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6082-7_0_3_line_49 |  | 44 | 46 | 0.01477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6082-7_0_3_line_50 |  | 45 | 56 | 0.048132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6082-7_0_3_line_51 |  | 46 | 53 | 0.001876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6082-7_0_3_line_52 |  | 47 | 49 | 0.011742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6082-7_0_3_line_53 |  | 48 | 50 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6082-7_0_3_line_54 |  | 48 | 51 | 0.023175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6082-7_0_3_line_55 |  | 50 | 52 | 0.031932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6082-7_0_3_line_56 |  | 53 | 54 | 0.0047205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6082-7_0_3_line_57 |  | 54 | 55 | 0.0023799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6082-7_0_3_line_58 |  | 55 | 57 | 0.0012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6082-7_0_3_line_59 |  | 56 | 93 | 0.0068218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6082-7_0_3_line_60 |  | 57 | 58 | 0.020428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6082-7_0_3_line_61 |  | 58 | 59 | 0.003608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6082-7_0_3_line_62 |  | 59 | 60 | 0.0075104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6082-7_0_3_line_63 |  | 60 | 69 | 0.0042711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6082-7_0_3_line_64 |  | 61 | 62 | 0.0088692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6082-7_0_3_line_65 |  | 61 | 63 | 0.0070479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6082-7_0_3_line_66 |  | 63 | 64 | 0.010692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6082-7_0_3_line_67 |  | 63 | 65 | 0.0071923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6082-7_0_3_line_68 |  | 64 | 66 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6082-7_0_3_line_69 |  | 65 | 67 | 0.0037887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6082-7_0_3_line_70 |  | 66 | 68 | 0.01272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6082-7_0_3_line_71 |  | 67 | 69 | 0.0090322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6082-7_0_3_line_72 |  | 68 | 76 | 0.012138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6082-7_0_3_line_73 |  | 70 | 71 | 0.0013368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6082-7_0_3_line_74 |  | 70 | 72 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6082-7_0_3_line_75 |  | 71 | 73 | 0.029489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6082-7_0_3_line_76 |  | 72 | 74 | 0.063327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6082-7_0_3_line_77 |  | 73 | 92 | 0.0049676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6082-7_0_3_line_78 |  | 74 | 86 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6082-7_0_3_line_79 |  | 74 | 87 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6082-7_0_3_line_80 |  | 75 | 76 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6082-7_0_3_line_81 |  | 77 | 78 | 0.027478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6082-7_0_3_line_82 |  | 77 | 79 | 0.061109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6082-7_0_3_line_83 |  | 78 | 80 | 0.018881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6082-7_0_3_line_84 |  | 79 | 81 | 0.099238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6082-7_0_3_line_85 |  | 80 | 82 | 0.041274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6082-7_0_3_line_86 |  | 81 | 85 | 0.019599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6082-7_0_3_line_87 |  | 82 | 83 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6082-7_0_3_line_88 |  | 83 | 84 | 0.032725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6082-7_0_3_line_89 |  | 86 | 88 | 0.020149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6082-7_0_3_line_90 |  | 87 | 89 | 0.0049932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6082-7_0_3_line_91 |  | 88 | 90 | 0.017712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6082-7_0_3_line_92 |  | 89 | 91 | 0.0337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6082-7_0_3_line_93 |  | 90 | 97 | 0.015839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6082-7_0_3_line_94 |  | 91 | 100 | 0.02815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6082-7_0_3_line_95 |  | 92 | 95 | 0.018491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6082-7_0_3_line_96 |  | 93 | 94 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6082-7_0_3_line_97 |  | 94 | 96 | 0.020555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6082-7_0_3_line_98 |  | 95 | 96 | 0.014445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6082-7_0_3_line_99 |  | 97 | 98 | 0.027892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6082-7_0_3_line_100 |  | 98 | 99 | 0.14012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6082-7_0_3_trafo_28 | 0.63 MVA 20/0.4 kV | 102 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2597472.6862 | 1123020.6133 | 2597474.7512 | 1123018.1599 | 2597481.6891 | 1123013.7326 | 2597490.8484 | 1123011.1385 | 2597497.6937 | 1123006.8891 | 2597504.7107 | 1123000.9516
1 | 2597521.2592 | 1122991.4493 | 2597508.7085 | 1122997.5687 | 2597504.7107 | 1123000.9516
2 | 2597521.2592 | 1122991.4493 | 2597526.722 | 1123002.4351
3 | 2597521.2592 | 1122991.4493 | 2597515.0639 | 1122983.2257 | 2597506.7948 | 1122973.336
4 | 2597526.722 | 1123002.4351 | 2597530.1958 | 1123009.421 | 2597533.4748 | 1123022.8734
5 | 2597495.0389 | 1122959.2761 | 2597506.7948 | 1122973.336
6 | 2597533.4748 | 1123022.8734 | 2597536.7179 | 1123036.1793
7 | 2597475.069 | 1122950.0821 | 2597482.287 | 1122951.4797 | 2597488.0479 | 1122953.7339 | 2597493.8791 | 1122957.889 | 2597495.0389 | 1122959.2761
8 | 2597536.7179 | 1123036.1793 | 2597539.0226 | 1123045.6347
9 | 2597475.069 | 1122950.0821 | 2597461.528 | 1122949.2468
10 | 2597475.069 | 1122950.0821 | 2597463.3266 | 1122917.3712 | 2597458.2465 | 1122909.8476
11 | 2597541.4421 | 1123055.561 | 2597539.0226 | 1123045.6347
12 | 2597547.3483 | 1123073.5229 | 2597541.4421 | 1123055.561
13 | 2597541.4421 | 1123055.561 | 2597553.5804 | 1123048.9082
14 | 2597547.3483 | 1123073.5229 | 2597551.4093 | 1123085.8494 | 2597553.339 | 1123094.5039
15 | 2597547.3483 | 1123073.5229 | 2597536.3628 | 1123078.9746 | 2597532.9951 | 1123083.3003 | 2597533.1456 | 1123092.8716 | 2597533.3154 | 1123102.3517
16 | 2597606.7628 | 1123005.3316 | 2597594.1738 | 1123013.0295 | 2597567.8036 | 1123033.1836 | 2597561.3544 | 1123044.6474 | 2597553.5804 | 1123048.9082
17 | 2597555.4088 | 1123103.7864 | 2597553.339 | 1123094.5039
18 | 2597533.3154 | 1123102.3517 | 2597533.4614 | 1123110.5023 | 2597533.3122 | 1123112.7897
19 | 2597632.3205 | 1122997.3508 | 2597611.5651 | 1123002.395 | 2597606.7628 | 1123005.3316
20 | 2597632.3205 | 1122997.3508 | 2597636.352 | 1122994.0809 | 2597636.3493 | 1122987.5555 | 2597632.522 | 1122980.7538 | 2597624.7105 | 1122972.2832
21 | 2597137.94 | 1122612.7049 | 2597151.212 | 1122614.4771 | 2597166.3521 | 1122620.306 | 2597179.1252 | 1122626.9809 | 2597184.3247 | 1122631.3917 | 2597189.7622 | 1122633.5012 | 2597193.9581 | 1122635.6225 | 2597199.2269 | 1122639.7664 | 2597205.8387 | 1122646.7334 | 2597207.1422 | 1122648.7745
22 | 2597270.2499 | 1122594.6778 | 2597207.1422 | 1122648.7745
23 | 2597194.8755 | 1122861.9103 | 2597207.1422 | 1122648.7745
24 | 2597128.3455 | 1122577.748 | 2597133.208 | 1122602.5578 | 2597137.94 | 1122612.7049
25 | 2597270.2499 | 1122594.6778 | 2597276.3614 | 1122603.4793 | 2597279.7952 | 1122605.1705
26 | 2597194.8755 | 1122861.9103 | 2597187.9413 | 1122857.7783 | 2597187.4125 | 1122864.5596 | 2597189.8824 | 1122869.6164 | 2597191.365 | 1122873.9512 | 2597189.8784 | 1122877.4091
27 | 2597035.1682 | 1122500.7776 | 2597128.3455 | 1122577.748
28 | 2597370.0993 | 1122649.6484 | 2597279.7952 | 1122605.1705
29 | 2597171.0696 | 1122873.8053 | 2597172.7729 | 1122871.9035 | 2597175.6717 | 1122870.8238 | 2597178.7869 | 1122870.7779 | 2597183.4682 | 1122872.2875 | 2597189.8784 | 1122877.4091
30 | 2597189.8784 | 1122877.4091 | 2597199.374 | 1122884.4191 | 2597205.5826 | 1122887.901
31 | 2597035.1682 | 1122500.7776 | 2597031.8124 | 1122496.167 | 2597025.8194 | 1122490.4583
32 | 2597078.3002 | 1122845.3366 | 2597079.8725 | 1122846.1255
33 | 2597086.1536 | 1122849.2772 | 2597079.8725 | 1122846.1255
34 | 2596971.4768 | 1122418.7043 | 2596988.2198 | 1122451.3116 | 2596994.6415 | 1122462.5917 | 2597001.3539 | 1122469.4249 | 2597022.423 | 1122487.223 | 2597025.8194 | 1122490.4583
35 | 2597267.6198 | 1122892.6022 | 2597273.855 | 1122886.3852 | 2597279.0478 | 1122876.7225 | 2597267.098 | 1122866.5083
36 | 2597263.9437 | 1122863.8121 | 2597267.098 | 1122866.5083
37 | 2597267.6198 | 1122892.6022 | 2597288.0653 | 1122900.8857
38 | 2597258.9676 | 1122908.0916 | 2597259.2896 | 1122904.1228 | 2597258.448 | 1122901.811 | 2597255.848 | 1122898.8218 | 2597237.4902 | 1122886.4021 | 2597241.2978 | 1122882.9542 | 2597253.7672 | 1122884.6715 | 2597267.6198 | 1122892.6022
39 | 2597258.9676 | 1122908.0916 | 2597269.8024 | 1122910.1653 | 2597324.1578 | 1122921.4675
40 | 2597258.9676 | 1122908.0916 | 2597245.6571 | 1122905.1186 | 2597235.4378 | 1122901.5382
41 | 2597387.6979 | 1122934.6794 | 2597324.1578 | 1122921.4675
42 | 2597205.5826 | 1122887.901 | 2597207.9894 | 1122889.2508 | 2597221.3323 | 1122895.4252 | 2597233.9963 | 1122901.0331 | 2597235.4378 | 1122901.5382
43 | 2597372.8098 | 1122650.9834 | 2597370.0993 | 1122649.6484
44 | 2597387.6979 | 1122934.6794 | 2597388.421 | 1122930.6994 | 2597387.679 | 1122926.8423 | 2597385.3637 | 1122922.3077 | 2597367.1459 | 1122904.4834
45 | 2597418.4614 | 1122945.3822 | 2597411.9137 | 1122942.7727 | 2597400.1834 | 1122938.0867 | 2597395.2324 | 1122936.7326 | 2597387.6979 | 1122934.6794
46 | 2597171.0696 | 1122873.8053 | 2597170.3223 | 1122875.0173 | 2597169.3674 | 1122877.7747 | 2597169.6388 | 1122880.8205 | 2597170.627 | 1122883.299 | 2597172.9181 | 1122885.3878 | 2597175.0955 | 1122886.9997
47 | 2597171.0696 | 1122873.8053 | 2597164.8592 | 1122871.075
48 | 2597175.0955 | 1122886.9997 | 2597189.4563 | 1122897.6303 | 2597194.787 | 1122902.7636 | 2597199.0764 | 1122907.3194 | 2597206.5798 | 1122916.3129
49 | 2597164.8592 | 1122871.075 | 2597159.9558 | 1122868.9193 | 2597151.8648 | 1122864.1083
50 | 2597206.5798 | 1122916.3129 | 2597216.2275 | 1122927.8768 | 2597225.3543 | 1122937.9441 | 2597228.5563 | 1122942.2892 | 2597229.3986 | 1122946.0684 | 2597228.46 | 1122950.6044 | 2597226.7647 | 1122952.9508 | 2597225.023 | 1122954.997 | 2597225.023 | 1122954.997
51 | 2597151.8648 | 1122864.1083 | 2597150.2523 | 1122863.1495
52 | 2597358.7527 | 1122896.2715 | 2597367.1459 | 1122904.4834
53 | 2597431.2987 | 1122942.3973 | 2597427.8682 | 1122944.3998 | 2597424.9154 | 1122945.446 | 2597421.1218 | 1122945.7034 | 2597418.4614 | 1122945.3822
54 | 2597418.4614 | 1122945.3822 | 2597416.9361 | 1122948.829 | 2597412.5926 | 1122961.1035 | 2597409.9949 | 1122966.9365
55 | 2597431.2987 | 1122942.3973 | 2597434.6619 | 1122945.1972 | 2597437.855 | 1122947.1857 | 2597442.32 | 1122948.0619 | 2597461.528 | 1122949.2468
56 | 2597150.2523 | 1122863.1495 | 2597148.8411 | 1122862.3103 | 2597145.8258 | 1122861.6893
57 | 2597145.8258 | 1122861.6893 | 2597145.8258 | 1122861.6893 | 2597143.6517 | 1122862.6575
58 | 2597143.6517 | 1122862.6575 | 2597143.6517 | 1122862.6575 | 2597142.9276 | 1122863.7216
59 | 2597218.8307 | 1122957.6156 | 2597219.164 | 1122957.6455 | 2597222.4483 | 1122956.6324 | 2597225.023 | 1122954.997
60 | 2597126.9616 | 1122869.7966 | 2597134.2874 | 1122871.911 | 2597136.9785 | 1122871.8763 | 2597138.5969 | 1122870.0858 | 2597142.9276 | 1122863.7216
61 | 2597123.4951 | 1122868.7961 | 2597126.9616 | 1122869.7966
62 | 2597123.4951 | 1122868.7961 | 2597117.907 | 1122867.1833 | 2597116.2533 | 1122866.8147
63 | 2597112.0845 | 1122865.8855 | 2597116.2533 | 1122866.8147
64 | 2597094.0809 | 1122853.2549 | 2597086.1536 | 1122849.2772
65 | 2597093.0894 | 1122859.9364 | 2597094.7064 | 1122855.1555 | 2597094.0809 | 1122853.2549 | 2597094.0809 | 1122853.2549
66 | 2597093.0894 | 1122859.9364 | 2597088.5088 | 1122859.3717 | 2597082.6364 | 1122857.8092
67 | 2597093.0894 | 1122859.9364 | 2597098.3487 | 1122860.623 | 2597100.1122 | 1122861.2986
68 | 2597071.6503 | 1122854.8861 | 2597082.6364 | 1122857.8092
69 | 2597100.1122 | 1122861.2986 | 2597103.6501 | 1122862.6541
70 | 2597059.4986 | 1122851.1619 | 2597064.8638 | 1122853.0803 | 2597071.6503 | 1122854.8861
71 | 2597112.0845 | 1122865.8855 | 2597103.6501 | 1122862.6541
72 | 2597059.4986 | 1122851.1619 | 2597055.1462 | 1122849.6057 | 2597049.8953 | 1122850.1641 | 2597047.944 | 1122849.0733
73 | 2597117.3751 | 1122914.9069 | 2597118.5999 | 1122915.4425
74 | 2597117.3751 | 1122914.9069 | 2597106.3769 | 1122909.9543 | 2597102.2738 | 1122908.0998 | 2597098.7359 | 1122906.2146
75 | 2597145.6285 | 1122927.2346 | 2597121.8947 | 1122916.8834 | 2597118.5999 | 1122915.4425
76 | 2597108.5372 | 1122943.9587 | 2597098.8614 | 1122931.135 | 2597084.4047 | 1122918.0135 | 2597082.5826 | 1122913.3232 | 2597082.735 | 1122909.688 | 2597085.1004 | 1122905.8961 | 2597088.2533 | 1122904.1381 | 2597092.1394 | 1122903.7138 | 2597096.813 | 1122905.19 | 2597098.7359 | 1122906.2146
77 | 2597150.1819 | 1122929.2205 | 2597145.6285 | 1122927.2346
78 | 2597108.5372 | 1122943.9587 | 2597115.5251 | 1122952.298
79 | 2597108.5372 | 1122943.9587 | 2597106.5793 | 1122945.2936 | 2597102.3008 | 1122947.5413 | 2597095.7474 | 1122949.1342 | 2597088.6772 | 1122950.4828 | 2597083.7087 | 1122950.8472
80 | 2597035.2098 | 1122836.252 | 2597036.2636 | 1122837.4648 | 2597041.9266 | 1122843.6205 | 2597045.1671 | 1122847.5208 | 2597047.944 | 1122849.0733
81 | 2596971.4768 | 1122418.7043 | 2596976.2958 | 1122417.3456 | 2596980.5526 | 1122417.3212 | 2596984.5017 | 1122418.9978 | 2596987.3488 | 1122422.02 | 2596990.8514 | 1122424.9975 | 2596995.4844 | 1122427.3018
82 | 2596937.9441 | 1122368.5526 | 2596948.1435 | 1122377.5295 | 2596956.0683 | 1122387.2857 | 2596962.2669 | 1122399.2662 | 2596971.4768 | 1122418.7043
83 | 2597012.7054 | 1122435.04 | 2596996.9913 | 1122428.0514 | 2596995.4844 | 1122427.3018
84 | 2596937.9441 | 1122368.5526 | 2596940.7487 | 1122363.86 | 2596951.5191 | 1122343.6112 | 2596955.304 | 1122340.6522 | 2596961.3037 | 1122340.8493 | 2597015.7373 | 1122366.1556
85 | 2597050.6549 | 1122451.266 | 2597021.3344 | 1122438.8777 | 2597012.7054 | 1122435.04
86 | 2597033.5094 | 1122374.4178 | 2597015.7373 | 1122366.1556
87 | 2597062.1987 | 1122456.1434 | 2597050.6549 | 1122451.266
88 | 2597062.1987 | 1122456.1434 | 2597063.1002 | 1122454.6756 | 2597064.434 | 1122453.9635 | 2597068.7753 | 1122453.4944 | 2597072.5691 | 1122452.9256 | 2597081.2429 | 1122449.5641 | 2597088.743 | 1122443.135 | 2597090.1053 | 1122441.5275
89 | 2597115.5251 | 1122952.298 | 2597125.9585 | 1122964.7492 | 2597128.6263 | 1122967.6005
90 | 2597083.7087 | 1122950.8472 | 2597081.5063 | 1122951.0088 | 2597078.7346 | 1122950.7389
91 | 2597128.6263 | 1122967.6005 | 2597140.7278 | 1122980.5339
92 | 2597045.6262 | 1122944.6605 | 2597049.4802 | 1122945.3219 | 2597064.2791 | 1122948.694 | 2597071.8518 | 1122950.0687 | 2597078.7346 | 1122950.7389
93 | 2597140.7278 | 1122980.5339 | 2597151.5492 | 1122992.0993
94 | 2597045.6262 | 1122944.6605 | 2597036.2395 | 1122943.0497 | 2597019.0899 | 1122941.9466 | 2597017.6507 | 1122941.8798
95 | 2597150.1819 | 1122929.2205 | 2597167.1308 | 1122936.6125
96 | 2597199.2123 | 1122950.6044 | 2597214.3676 | 1122957.2142 | 2597218.8307 | 1122957.6156
97 | 2597199.2123 | 1122950.6044 | 2597180.3715 | 1122942.3873
98 | 2597167.1308 | 1122936.6125 | 2597180.3715 | 1122942.3873
99 | 2597170.6059 | 1123012.4661 | 2597151.5492 | 1122992.0993
100 | 2597170.6059 | 1123012.4661 | 2597251.0558 | 1123127.1943

## bus_geodata
| x | y | coords
0 | 2597472.6862 | 1123020.6133
1 | 2597504.7107 | 1123000.9515
2 | 2597521.2592 | 1122991.4493
3 | 2597526.722 | 1123002.4351
4 | 2597506.7948 | 1122973.336
5 | 2597533.4748 | 1123022.8734
6 | 2597495.0389 | 1122959.2761
7 | 2597536.7179 | 1123036.1793
8 | 2597475.069 | 1122950.0821
9 | 2597539.0226 | 1123045.6347
10 | 2597541.4421 | 1123055.561
11 | 2597547.3483 | 1123073.5229
12 | 2597553.5804 | 1123048.9082
13 | 2597553.339 | 1123094.5039
14 | 2597533.3154 | 1123102.3517
15 | 2597606.7628 | 1123005.3316
16 | 2597555.4088 | 1123103.7864
17 | 2597533.3122 | 1123112.7897
18 | 2597632.3205 | 1122997.3508
19 | 2597207.1422 | 1122648.7745
20 | 2597137.94 | 1122612.7049
21 | 2597270.2499 | 1122594.6778
22 | 2597194.8755 | 1122861.9103
23 | 2597128.3455 | 1122577.748
24 | 2597279.7952 | 1122605.1705
25 | 2597189.8784 | 1122877.4091
26 | 2597035.1682 | 1122500.7776
27 | 2597078.3002 | 1122845.3366
28 | 2597079.8725 | 1122846.1255
29 | 2597025.8194 | 1122490.4583
30 | 2597624.7105 | 1122972.2832
31 | 2597267.098 | 1122866.5083
32 | 2597267.6198 | 1122892.6022
33 | 2597263.9437 | 1122863.8121
34 | 2597288.0653 | 1122900.8857
35 | 2597258.9676 | 1122908.0916
36 | 2597324.1578 | 1122921.4675
37 | 2597235.4378 | 1122901.5382
38 | 2597372.8098 | 1122650.9834
39 | 2597370.0993 | 1122649.6484
40 | 2597387.6979 | 1122934.6794
41 | 2597205.5826 | 1122887.901
42 | 2597171.0696 | 1122873.8053
43 | 2597175.0955 | 1122886.9997
44 | 2597164.8592 | 1122871.075
45 | 2597206.5798 | 1122916.3129
46 | 2597151.8648 | 1122864.1083
47 | 2597367.1459 | 1122904.4834
48 | 2597418.4614 | 1122945.3822
49 | 2597358.7527 | 1122896.2715
50 | 2597431.2987 | 1122942.3973
51 | 2597409.9949 | 1122966.9365
52 | 2597461.528 | 1122949.2468
53 | 2597150.2523 | 1122863.1495
54 | 2597145.8258 | 1122861.6893
55 | 2597143.6517 | 1122862.6575
56 | 2597225.023 | 1122954.997
57 | 2597142.9276 | 1122863.7216
58 | 2597126.9616 | 1122869.7966
59 | 2597123.4951 | 1122868.7961
60 | 2597116.2533 | 1122866.8147
61 | 2597094.0809 | 1122853.2549
62 | 2597086.1536 | 1122849.2772
63 | 2597093.0894 | 1122859.9364
64 | 2597082.6364 | 1122857.8092
65 | 2597100.1122 | 1122861.2986
66 | 2597071.6503 | 1122854.8861
67 | 2597103.6501 | 1122862.6541
68 | 2597059.4986 | 1122851.1619
69 | 2597112.0845 | 1122865.8855
70 | 2597117.3751 | 1122914.9069
71 | 2597118.5999 | 1122915.4425
72 | 2597098.7359 | 1122906.2146
73 | 2597145.6285 | 1122927.2346
74 | 2597108.5372 | 1122943.9587
75 | 2597035.2098 | 1122836.252
76 | 2597047.944 | 1122849.0733
77 | 2596971.4768 | 1122418.7043
78 | 2596995.4844 | 1122427.3018
79 | 2596937.9441 | 1122368.5526
80 | 2597012.7054 | 1122435.04
81 | 2597015.7373 | 1122366.1556
82 | 2597050.6549 | 1122451.266
83 | 2597062.1987 | 1122456.1434
84 | 2597090.1053 | 1122441.5275
85 | 2597033.5094 | 1122374.4178
86 | 2597115.5251 | 1122952.298
87 | 2597083.7087 | 1122950.8472
88 | 2597128.6263 | 1122967.6005
89 | 2597078.7346 | 1122950.7389
90 | 2597140.7278 | 1122980.5339
91 | 2597045.6262 | 1122944.6605
92 | 2597150.1819 | 1122929.2205
93 | 2597218.8307 | 1122957.6156
94 | 2597199.2123 | 1122950.6044
95 | 2597167.1308 | 1122936.6125
96 | 2597180.3715 | 1122942.3873
97 | 2597151.5492 | 1122992.0993
98 | 2597170.6059 | 1123012.4661
99 | 2597251.0558 | 1123127.1943
100 | 2597017.6507 | 1122941.8798
101 | 2597458.2465 | 1122909.8476
102 | 2597189.8784 | 1122877.4091

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1