## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6084-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6084-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6084-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6084-12_0_3_node_49 | 0.4 | n |  | TRUE
4 | bus_LV_6084-12_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6084-12_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6084-12_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6084-12_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6084-12_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6084-12_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6084-12_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6084-12_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6084-12_0_3_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6084-12_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_6084-12_0_3_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6084-12_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_6084-12_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6084-12_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_6084-12_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_6084-12_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6084-12_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_6084-12_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_6084-12_0_3_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_6084-12_0_3_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_6084-12_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_6084-12_0_3_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_6084-12_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6084-12_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_6084-12_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_6084-12_0_3_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_6084-12_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6084-12_0_3_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6084-12_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6084-12_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_6084-12_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_6084-12_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_6084-12_0_3_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_6084-12_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_6084-12_0_3_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_6084-12_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6084-12_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_6084-12_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_6084-12_0_3_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_6084-12_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_6084-12_0_3_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_6084-12_0_3_node_111 | 0.4 | n |  | TRUE
46 | bus_LV_6084-12_0_3_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_6084-12_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_6084-12_0_3_node_55 | 0.4 | n |  | TRUE
49 | bus_MV_90_1_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6084-12_0_3_load_0 | 0 | 0.023299 | 0.0058392 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6084-12_0_3_load_1 | 1 | 0.022536 | 0.005648 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6084-12_0_3_load_3 | 4 | 0.015566 | 0.0039011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6084-12_0_3_load_5 | 6 | 0.012648 | 0.0031699 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6084-12_0_3_load_6 | 7 | 0.0050744 | 0.0012718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6084-12_0_3_load_7 | 8 | 0.0043039 | 0.0010787 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6084-12_0_3_load_8 | 9 | 0.015283 | 0.0038303 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6084-12_0_3_load_9 | 10 | 0.0041252 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6084-12_0_3_load_11 | 12 | 0.0034172 | 0.00085642 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6084-12_0_3_load_13 | 13 | 0.0063648 | 0.0015952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6084-12_0_3_load_17 | 14 | 0.003516 | 0.00088119 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6084-12_0_3_load_25 | 15 | 0.0039111 | 0.00098021 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6084-12_0_3_load_20 | 18 | 0.0039715 | 0.00099536 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6084-12_0_3_load_22 | 19 | 0.0030189 | 0.00075661 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6084-12_0_3_load_54 | 22 | 0.0051452 | 0.0012895 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6084-12_0_3_load_40 | 23 | 0.0079403 | 0.00199 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6084-12_0_3_load_24 | 24 | 0.011981 | 0.0030027 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6084-12_0_3_load_26 | 25 | 0.016113 | 0.0040382 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6084-12_0_3_load_27 | 26 | 0.014845 | 0.0037205 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6084-12_0_3_load_31 | 27 | 0.0014284 | 0.00035799 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6084-12_0_3_load_32 | 28 | 0.0014127 | 0.00035406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6084-12_0_3_load_33 | 29 | 0.0017379 | 0.00043556 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6084-12_0_3_load_34 | 30 | 0.001291 | 0.00032355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6084-12_0_3_load_35 | 31 | 0.0013977 | 0.00035029 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6084-12_0_3_load_36 | 32 | 0.0011883 | 0.00029781 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6084-12_0_3_load_37 | 33 | 0.0029387 | 0.00073651 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6084-12_0_3_load_38 | 34 | 0.0020428 | 0.00051197 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6084-12_0_3_load_110 | 36 | 0.0011125 | 0.00027883 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6084-12_0_3_load_41 | 37 | 0.0022312 | 0.00055919 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6084-12_0_3_load_42 | 38 | 0.0013067 | 0.00032749 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6084-12_0_3_load_43 | 39 | 0.0010382 | 0.0002602 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6084-12_0_3_load_44 | 40 | 0.0012792 | 0.00032061 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6084-12_0_3_load_46 | 43 | 0.00075316 | 0.00018876 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6084-12_0_3_load_48 | 44 | 0.0061729 | 0.0015471 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6084-12_0_3_load_111 | 45 | 0.0015356 | 0.00038485 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6084-12_0_3_load_53 | 47 | 0.0035105 | 0.00087982 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6084-12_0_3_load_55 | 48 | 0.0043792 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6084-12_0_3_line_0 |  | 0 | 1 | 0.011762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6084-12_0_3_line_1 |  | 0 | 2 | 0.043552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6084-12_0_3_line_2 |  | 0 | 3 | 0.14161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6084-12_0_3_line_3 |  | 1 | 4 | 0.046497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6084-12_0_3_line_4 |  | 2 | 5 | 0.048262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_6084-12_0_3_line_5 |  | 3 | 44 | 0.065316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6084-12_0_3_line_6 |  | 4 | 6 | 0.0088608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6084-12_0_3_line_7 |  | 5 | 7 | 0.027208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6084-12_0_3_line_8 |  | 5 | 8 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6084-12_0_3_line_9 |  | 6 | 9 | 0.021973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6084-12_0_3_line_10 |  | 8 | 10 | 0.023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6084-12_0_3_line_11 |  | 10 | 11 | 0.065838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6084-12_0_3_line_12 |  | 11 | 12 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_6084-12_0_3_line_13 |  | 11 | 13 | 0.030072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6084-12_0_3_line_14 |  | 12 | 14 | 0.0032067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6084-12_0_3_line_15 |  | 14 | 15 | 0.074679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6084-12_0_3_line_16 |  | 15 | 26 | 0.044988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6084-12_0_3_line_17 |  | 15 | 24 | 0.01426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6084-12_0_3_line_18 |  | 16 | 17 | 0.043306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6084-12_0_3_line_19 |  | 16 | 18 | 0.078669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6084-12_0_3_line_20 |  | 17 | 19 | 0.03971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6084-12_0_3_line_21 |  | 18 | 20 | 0.022243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6084-12_0_3_line_22 |  | 19 | 21 | 0.0047611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6084-12_0_3_line_23 |  | 20 | 22 | 0.0072966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6084-12_0_3_line_24 |  | 20 | 23 | 0.028024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6084-12_0_3_line_25 |  | 21 | 46 | 0.033177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6084-12_0_3_line_26 |  | 22 | 48 | 0.011632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6084-12_0_3_line_27 |  | 23 | 35 | 0.026866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6084-12_0_3_line_28 |  | 24 | 25 | 0.037743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6084-12_0_3_line_29 |  | 27 | 28 | 0.018696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6084-12_0_3_line_30 |  | 27 | 29 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6084-12_0_3_line_31 |  | 28 | 30 | 0.041649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6084-12_0_3_line_32 |  | 29 | 31 | 0.015248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6084-12_0_3_line_33 |  | 30 | 32 | 0.025531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6084-12_0_3_line_34 |  | 31 | 33 | 0.015907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6084-12_0_3_line_35 |  | 32 | 34 | 0.013618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6084-12_0_3_line_36 |  | 33 | 35 | 0.03321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6084-12_0_3_line_37 |  | 34 | 36 | 0.018182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6084-12_0_3_line_38 |  | 35 | 37 | 0.03693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6084-12_0_3_line_39 |  | 36 | 45 | 0.0034783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_6084-12_0_3_line_40 |  | 37 | 38 | 0.033025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6084-12_0_3_line_41 |  | 38 | 39 | 0.083977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6084-12_0_3_line_42 |  | 39 | 40 | 0.031843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6084-12_0_3_line_43 |  | 40 | 41 | 0.0072073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6084-12_0_3_line_44 |  | 41 | 42 | 0.051338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6084-12_0_3_line_45 |  | 42 | 43 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6084-12_0_3_line_46 |  | 44 | 45 | 0.092706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6084-12_0_3_line_47 |  | 46 | 47 | 0.031249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6084-12_0_3_trafo_17 | 0.63 MVA 20/0.4 kV | 49 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2596755.5311 | 1114387.587 | 2596756.6655 | 1114394.7536 | 2596759.2493 | 1114398.4459
1 | 2596734.0094 | 1114352.145 | 2596739.1412 | 1114360.1906 | 2596747.6392 | 1114367.5118 | 2596753.4412 | 1114372.7779 | 2596754.6896 | 1114382.2707 | 2596755.5311 | 1114387.587
2 | 2596755.5311 | 1114387.587 | 2596874.4865 | 1114310.7489
3 | 2596759.2493 | 1114398.4459 | 2596762.8787 | 1114403.6323 | 2596767.44 | 1114413.7459 | 2596773.3561 | 1114430.1507 | 2596777.238 | 1114441.1172
4 | 2596727.2715 | 1114399.9056 | 2596730.6609 | 1114371.0784 | 2596734.0094 | 1114352.145
5 | 2596874.4865 | 1114310.7489 | 2596874.1577 | 1114346.0776 | 2596874.889 | 1114371.0228 | 2596875.8687 | 1114375.9566
6 | 2596777.238 | 1114441.1172 | 2596780.1947 | 1114449.4701
7 | 2596727.2715 | 1114399.9056 | 2596722.8328 | 1114388.2801 | 2596719.2912 | 1114373.9467
8 | 2596727.2715 | 1114399.9056 | 2596726.9157 | 1114412.8121 | 2596726.8779 | 1114413.4747
9 | 2596787.7711 | 1114470.0959 | 2596781.0279 | 1114451.8239 | 2596780.1947 | 1114449.4701
10 | 2596726.8779 | 1114413.4747 | 2596725.585 | 1114436.1466 | 2596725.5249 | 1114437.2633
11 | 2596721.7531 | 1114502.4813 | 2596723.7509 | 1114498.7006 | 2596725.085 | 1114481.458 | 2596724.0411 | 1114464.8393 | 2596725.5249 | 1114437.2633
12 | 2596721.7531 | 1114502.4813 | 2596719.9217 | 1114499.9366 | 2596715.2281 | 1114482.0959
13 | 2596721.7531 | 1114502.4813 | 2596751.8037 | 1114501.3544
14 | 2596715.2281 | 1114482.0959 | 2596714.4122 | 1114478.9947
15 | 2596714.4122 | 1114478.9947 | 2596642.9898 | 1114457.1809
16 | 2596642.9898 | 1114457.1809 | 2596640.0175 | 1114458.1386 | 2596636.4475 | 1114453.7496 | 2596626.9175 | 1114437.6248 | 2596617.2751 | 1114427.6699 | 2596614.204 | 1114425.7565
17 | 2596644.7398 | 1114443.0472 | 2596643.9368 | 1114452.3224 | 2596642.9898 | 1114457.1809 | 2596642.9898 | 1114457.1809
18 | 2596698.3412 | 1114641.2514 | 2596691.6014 | 1114656.974 | 2596689.1489 | 1114676.0514 | 2596689.6238 | 1114682.999
19 | 2596698.3412 | 1114641.2514 | 2596701.4005 | 1114644.1511 | 2596700.8469 | 1114648.3424 | 2596700.5564 | 1114653.6785 | 2596697.188 | 1114664.13 | 2596697.656 | 1114672.5783 | 2596698.2617 | 1114678.8366 | 2596700.1013 | 1114682.1039 | 2596705.3219 | 1114683.7573 | 2596709.1728 | 1114679.9644 | 2596713.6496 | 1114677.1828 | 2596717.3095 | 1114677.0807 | 2596721.1606 | 1114673.6436 | 2596723.894 | 1114673.5642 | 2596727.6707 | 1114675.2519 | 2596731.0486 | 1114676.3655
20 | 2596689.6238 | 1114682.999 | 2596689.7873 | 1114685.4224 | 2596694.5308 | 1114703.8176 | 2596694.6329 | 1114722.1012
21 | 2596750.3053 | 1114666.902 | 2596746.7234 | 1114668.3491 | 2596742.0226 | 1114671.1197 | 2596737.06 | 1114675.28 | 2596732.9222 | 1114676.9832 | 2596731.0486 | 1114676.3655
22 | 2596694.6595 | 1114726.8622 | 2596694.6329 | 1114722.1012
23 | 2596750.3053 | 1114666.902 | 2596749.0711 | 1114674.0934
24 | 2596750.3053 | 1114666.902 | 2596751.5459 | 1114662.2435 | 2596757.6731 | 1114655.5257 | 2596764.32 | 1114643.0785
25 | 2596694.6595 | 1114726.8622 | 2596689.0774 | 1114727.688 | 2596686.2879 | 1114737.8056 | 2596683.3963 | 1114744.7217 | 2596677.91 | 1114751.228 | 2596677.0611 | 1114751.8621
26 | 2596747.1035 | 1114685.5574 | 2596749.0711 | 1114674.0934
27 | 2596785.123 | 1114627.308 | 2596774.1922 | 1114632.4275 | 2596770.3713 | 1114634.7419 | 2596765.3867 | 1114641.081 | 2596764.32 | 1114643.0785
28 | 2596644.7398 | 1114443.0472 | 2596646.0618 | 1114427.7758 | 2596646.6524 | 1114420.7831 | 2596643.2049 | 1114414.3819 | 2596640.2743 | 1114406.8026
29 | 2596808.4212 | 1114556.8894 | 2596809.2674 | 1114554.3702 | 2596813.2929 | 1114544.83 | 2596817.5128 | 1114541.0231
30 | 2596808.4212 | 1114556.8894 | 2596804.2512 | 1114569.3032
31 | 2596817.5128 | 1114541.0231 | 2596822.5158 | 1114536.5098 | 2596833.9884 | 1114533.3799 | 2596846.3579 | 1114532.3506 | 2596851.1355 | 1114528.3905 | 2596852.5508 | 1114524.2229
32 | 2596800.0173 | 1114583.9409 | 2596802.175 | 1114575.4844 | 2596804.2512 | 1114569.3032
33 | 2596852.5508 | 1114524.2229 | 2596856.6632 | 1114512.1129 | 2596862.873 | 1114500.9868
34 | 2596800.0173 | 1114583.9409 | 2596798.6999 | 1114589.104 | 2596799.0449 | 1114598.7753 | 2596799.1862 | 1114599.6656
35 | 2596869.174 | 1114488.9296 | 2596867.6484 | 1114492.4308 | 2596862.873 | 1114500.9868
36 | 2596785.123 | 1114627.308 | 2596792.0919 | 1114620.5675 | 2596797.6865 | 1114614.1614 | 2596800.2768 | 1114606.534 | 2596799.1862 | 1114599.6656
37 | 2596869.174 | 1114488.9296 | 2596873.317 | 1114479.4214 | 2596875.6744 | 1114471.9748
38 | 2596785.123 | 1114627.308 | 2596787.4096 | 1114629.141 | 2596791.2152 | 1114627.2491 | 2596794.0553 | 1114624.5684 | 2596798.787 | 1114621.7534 | 2596802.6076 | 1114618.9166 | 2596805.0317 | 1114617.9815 | 2596805.6735 | 1114619.6153 | 2596807.4652 | 1114620.2591 | 2596809.194 | 1114618.7463 | 2596810.8762 | 1114616.6666 | 2596814.1489 | 1114614.3748 | 2596814.5035 | 1114614.3703
39 | 2596875.6744 | 1114471.9748 | 2596876.7243 | 1114468.6587
40 | 2596814.5035 | 1114614.3703 | 2596826.8893 | 1114614.2123 | 2596829.8676 | 1114610.0865 | 2596832.437 | 1114606.7613 | 2596833.9762 | 1114611.6628 | 2596835.8392 | 1114615.5527 | 2596837.1989 | 1114616.8748
41 | 2596837.1989 | 1114616.8748 | 2596837.1989 | 1114616.8748 | 2596839.0902 | 1114616.0845 | 2596839.8301 | 1114613.5384 | 2596842.2463 | 1114612.1809 | 2596844.0538 | 1114613.5139 | 2596844.8582 | 1114616.1481 | 2596847.1524 | 1114617.7588 | 2596849.5539 | 1114618.0021 | 2596850.5799 | 1114616.1896 | 2596852.6319 | 1114612.6645 | 2596854.7631 | 1114612.719 | 2596855.5514 | 1114614.0859 | 2596855.7002 | 1114617.9655 | 2596857.7612 | 1114616.7416 | 2596861.0716 | 1114612.7045 | 2596863.4642 | 1114610.7467 | 2596864.6622 | 1114612.8805 | 2596863.8686 | 1114616.0936 | 2596864.0318 | 1114618.05 | 2596865.4682 | 1114618.6051 | 2596867.0883 | 1114615.914 | 2596868.6777 | 1114613.512 | 2596870.9258 | 1114615.5896 | 2596872.4026 | 1114619.4463 | 2596876.6041 | 1114621.4117 | 2596881.4531 | 1114621.1312 | 2596887.6993 | 1114620.1497 | 2596891.2312 | 1114620.2672
42 | 2596891.2312 | 1114620.2672 | 2596894.6024 | 1114620.3795 | 2596899.0428 | 1114621.4443 | 2596904.9878 | 1114620.2406 | 2596912.0582 | 1114615.6124 | 2596919.5229 | 1114609.9208
43 | 2596925.8442 | 1114606.612 | 2596921.8915 | 1114608.1147 | 2596919.5229 | 1114609.9208
44 | 2596921.4047 | 1114651.9365 | 2596915.4333 | 1114646.7371 | 2596912.9678 | 1114642.2473 | 2596915.2304 | 1114627.8501 | 2596925.1036 | 1114607.9352 | 2596925.8442 | 1114606.612
45 | 2596921.4047 | 1114651.9365 | 2596906.0341 | 1114672.0026
46 | 2596876.7243 | 1114468.6587 | 2596875.8687 | 1114375.9566
47 | 2596680.6882 | 1114720.9894 | 2596680.5956 | 1114734.8184 | 2596677.6996 | 1114747.7264 | 2596677.0611 | 1114751.8621

## bus_geodata
| x | y | coords
0 | 2596755.5311 | 1114387.587
1 | 2596759.2493 | 1114398.4459
2 | 2596734.0094 | 1114352.145
3 | 2596874.4865 | 1114310.7489
4 | 2596777.238 | 1114441.1172
5 | 2596727.2715 | 1114399.9056
6 | 2596780.1947 | 1114449.4701
7 | 2596719.2912 | 1114373.9467
8 | 2596726.8779 | 1114413.4747
9 | 2596787.7711 | 1114470.0959
10 | 2596725.5249 | 1114437.2633
11 | 2596721.7531 | 1114502.4813
12 | 2596715.2281 | 1114482.0959
13 | 2596751.8037 | 1114501.3544
14 | 2596714.4122 | 1114478.9947
15 | 2596642.9898 | 1114457.1809
16 | 2596698.3412 | 1114641.2514
17 | 2596689.6238 | 1114682.999
18 | 2596731.0486 | 1114676.3655
19 | 2596694.6329 | 1114722.1012
20 | 2596750.3053 | 1114666.902
21 | 2596694.6595 | 1114726.8622
22 | 2596749.0711 | 1114674.0934
23 | 2596764.32 | 1114643.0785
24 | 2596644.7398 | 1114443.0472
25 | 2596640.2743 | 1114406.8026
26 | 2596614.204 | 1114425.7565
27 | 2596808.4212 | 1114556.8894
28 | 2596817.5128 | 1114541.0231
29 | 2596804.2512 | 1114569.3032
30 | 2596852.5508 | 1114524.2229
31 | 2596800.0173 | 1114583.9409
32 | 2596862.873 | 1114500.9868
33 | 2596799.1862 | 1114599.6656
34 | 2596869.174 | 1114488.9296
35 | 2596785.123 | 1114627.308
36 | 2596875.6744 | 1114471.9748
37 | 2596814.5035 | 1114614.3703
38 | 2596837.1989 | 1114616.8748
39 | 2596891.2312 | 1114620.2672
40 | 2596919.5229 | 1114609.9208
41 | 2596925.8442 | 1114606.612
42 | 2596921.4047 | 1114651.9365
43 | 2596906.0341 | 1114672.0026
44 | 2596875.8687 | 1114375.9566
45 | 2596876.7243 | 1114468.6587
46 | 2596677.0611 | 1114751.8621
47 | 2596680.6882 | 1114720.9894
48 | 2596747.1035 | 1114685.5574
49 | 2596710.5819 | 1114464.4354

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1