## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6084-12_1_3_node_14 | 0.4 | n |  | TRUE
1 | bus_LV_6084-12_1_3_node_15 | 0.4 | n |  | TRUE
2 | bus_LV_6084-12_1_3_node_16 | 0.4 | n |  | TRUE
3 | bus_LV_6084-12_1_3_node_56 | 0.4 | n |  | TRUE
4 | bus_LV_6084-12_1_3_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_6084-12_1_3_node_64 | 0.4 | n |  | TRUE
6 | bus_LV_6084-12_1_3_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_6084-12_1_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_6084-12_1_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_6084-12_1_3_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_6084-12_1_3_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_6084-12_1_3_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_6084-12_1_3_node_57 | 0.4 | n |  | TRUE
13 | bus_LV_6084-12_1_3_node_58 | 0.4 | n |  | TRUE
14 | bus_LV_6084-12_1_3_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_6084-12_1_3_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_6084-12_1_3_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_6084-12_1_3_node_62 | 0.4 | n |  | TRUE
18 | bus_LV_6084-12_1_3_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_6084-12_1_3_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_6084-12_1_3_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_6084-12_1_3_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_6084-12_1_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_6084-12_1_3_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_6084-12_1_3_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_6084-12_1_3_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_6084-12_1_3_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_6084-12_1_3_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_6084-12_1_3_node_109 | 0.4 | n |  | TRUE
29 | bus_LV_6084-12_1_3_node_108 | 0.4 | n |  | TRUE
30 | bus_LV_6084-12_1_3_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_6084-12_1_3_node_98 | 0.4 | n |  | TRUE
32 | bus_LV_6084-12_1_3_node_107 | 0.4 | n |  | TRUE
33 | bus_LV_6084-12_1_3_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_6084-12_1_3_node_77 | 0.4 | n |  | TRUE
35 | bus_LV_6084-12_1_3_node_78 | 0.4 | n |  | TRUE
36 | bus_LV_6084-12_1_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_6084-12_1_3_node_80 | 0.4 | n |  | TRUE
38 | bus_LV_6084-12_1_3_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_6084-12_1_3_node_82 | 0.4 | n |  | TRUE
40 | bus_LV_6084-12_1_3_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_6084-12_1_3_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_6084-12_1_3_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_6084-12_1_3_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_6084-12_1_3_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_6084-12_1_3_node_85 | 0.4 | n |  | TRUE
46 | bus_LV_6084-12_1_3_node_95 | 0.4 | n |  | TRUE
47 | bus_LV_6084-12_1_3_node_94 | 0.4 | n |  | TRUE
48 | bus_LV_6084-12_1_3_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_6084-12_1_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_6084-12_1_3_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_6084-12_1_3_node_87 | 0.4 | n |  | TRUE
52 | bus_LV_6084-12_1_3_node_91 | 0.4 | n |  | TRUE
53 | bus_LV_6084-12_1_3_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_6084-12_1_3_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_6084-12_1_3_node_103 | 0.4 | n |  | TRUE
56 | bus_LV_6084-12_1_3_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_6084-12_1_3_node_105 | 0.4 | n |  | TRUE
58 | bus_LV_6084-12_1_3_node_106 | 0.4 | n |  | TRUE
59 | bus_MV_90_1_node_45 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6084-12_1_3_load_16 | 2 | 0.002557 | 0.00064085 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6084-12_1_3_load_56 | 3 | 0.0032676 | 0.00081895 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6084-12_1_3_load_21 | 4 | 0.0028982 | 0.00072635 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6084-12_1_3_load_64 | 5 | 0.0052487 | 0.0013154 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6084-12_1_3_load_50 | 6 | 0.0036163 | 0.00090632 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6084-12_1_3_load_29 | 7 | 0.0049574 | 0.0012425 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6084-12_1_3_load_30 | 8 | 0.0040284 | 0.0010096 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6084-12_1_3_load_65 | 11 | 0.003853 | 0.00096566 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6084-12_1_3_load_57 | 12 | 0.0042098 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6084-12_1_3_load_58 | 13 | 0.0038389 | 0.00096213 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6084-12_1_3_load_60 | 15 | 0.0046091 | 0.0011552 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6084-12_1_3_load_61 | 16 | 0.0076961 | 0.0019288 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6084-12_1_3_load_62 | 17 | 0.0057031 | 0.0014293 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6084-12_1_3_load_74 | 19 | 0.0043943 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6084-12_1_3_load_69 | 21 | 0.0028222 | 0.00070731 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6084-12_1_3_load_70 | 22 | 0.0023991 | 0.00060128 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6084-12_1_3_load_71 | 24 | 0.0014492 | 0.0003632 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6084-12_1_3_load_73 | 26 | 0.007875 | 0.0019737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6084-12_1_3_load_89 | 27 | 0.0025755 | 0.00064548 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6084-12_1_3_load_109 | 28 | 0.0087587 | 0.0021951 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6084-12_1_3_load_108 | 29 | 0.0088507 | 0.0022182 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6084-12_1_3_load_98 | 31 | 0.0089827 | 0.0022513 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6084-12_1_3_load_107 | 32 | 0.0048895 | 0.0012254 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6084-12_1_3_load_76 | 33 | 0.012083 | 0.0030283 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6084-12_1_3_load_77 | 34 | 0.010648 | 0.0026686 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6084-12_1_3_load_78 | 35 | 0.0037206 | 0.00093248 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6084-12_1_3_load_79 | 36 | 0.0015188 | 0.00038066 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6084-12_1_3_load_80 | 37 | 0.0019806 | 0.00049638 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6084-12_1_3_load_82 | 39 | 0.0032254 | 0.00080835 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6084-12_1_3_load_83 | 40 | 0.0020933 | 0.00052462 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6084-12_1_3_load_99 | 41 | 0.0023453 | 0.00058778 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6084-12_1_3_load_100 | 42 | 0.0043624 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6084-12_1_3_load_97 | 43 | 0.0019165 | 0.00048032 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6084-12_1_3_load_84 | 44 | 0.0026272 | 0.00065845 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6084-12_1_3_load_85 | 45 | 0.0036035 | 0.00090312 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6084-12_1_3_load_95 | 46 | 0.0018794 | 0.00047102 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6084-12_1_3_load_96 | 49 | 0.012914 | 0.0032365 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6084-12_1_3_load_93 | 50 | 0.0036649 | 0.00091852 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6084-12_1_3_load_87 | 51 | 0.002967 | 0.0007436 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6084-12_1_3_load_91 | 52 | 0.0020986 | 0.00052596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6084-12_1_3_load_90 | 53 | 0.0032784 | 0.00082163 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6084-12_1_3_load_92 | 54 | 0.0023355 | 0.00058533 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6084-12_1_3_load_103 | 55 | 0.004333 | 0.001086 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6084-12_1_3_load_104 | 56 | 0.002578 | 0.0006461 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6084-12_1_3_load_105 | 57 | 0.0031343 | 0.00078552 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6084-12_1_3_load_106 | 58 | 0.0037439 | 0.00093831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6084-12_1_3_line_0 |  | 0 | 1 | 0.050427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6084-12_1_3_line_1 |  | 0 | 2 | 0.011145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6084-12_1_3_line_2 |  | 1 | 3 | 0.052943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6084-12_1_3_line_3 |  | 2 | 4 | 0.0369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6084-12_1_3_line_4 |  | 3 | 5 | 0.10231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6084-12_1_3_line_5 |  | 4 | 6 | 0.031502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6084-12_1_3_line_6 |  | 5 | 11 | 0.045698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6084-12_1_3_line_7 |  | 7 | 8 | 0.041737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6084-12_1_3_line_8 |  | 8 | 9 | 0.053209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6084-12_1_3_line_9 |  | 9 | 10 | 0.004548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6084-12_1_3_line_10 |  | 9 | 11 | 0.022715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6084-12_1_3_line_11 |  | 10 | 19 | 0.061769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6084-12_1_3_line_12 |  | 10 | 16 | 0.038845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6084-12_1_3_line_13 |  | 12 | 13 | 0.022229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6084-12_1_3_line_14 |  | 12 | 14 | 0.075605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6084-12_1_3_line_15 |  | 14 | 15 | 0.061136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6084-12_1_3_line_16 |  | 14 | 16 | 0.043962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6084-12_1_3_line_17 |  | 15 | 17 | 0.01244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6084-12_1_3_line_18 |  | 17 | 18 | 0.039622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6084-12_1_3_line_19 |  | 18 | 20 | 0.060038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6084-12_1_3_line_20 |  | 18 | 21 | 0.0081928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6084-12_1_3_line_21 |  | 18 | 22 | 0.025867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6084-12_1_3_line_22 |  | 19 | 23 | 0.016984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6084-12_1_3_line_23 |  | 20 | 24 | 0.043083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6084-12_1_3_line_24 |  | 20 | 25 | 0.024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6084-12_1_3_line_25 |  | 21 | 26 | 0.037254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6084-12_1_3_line_26 |  | 23 | 33 | 0.010565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6084-12_1_3_line_27 |  | 23 | 34 | 0.045954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6084-12_1_3_line_28 |  | 25 | 27 | 0.027636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6084-12_1_3_line_29 |  | 25 | 28 | 0.0098272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6084-12_1_3_line_30 |  | 26 | 29 | 0.04244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6084-12_1_3_line_31 |  | 27 | 30 | 0.035481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6084-12_1_3_line_32 |  | 28 | 31 | 0.03413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6084-12_1_3_line_33 |  | 29 | 32 | 0.033418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6084-12_1_3_line_34 |  | 30 | 53 | 0.0022971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6084-12_1_3_line_35 |  | 31 | 49 | 0.030083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6084-12_1_3_line_36 |  | 32 | 58 | 0.0096251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6084-12_1_3_line_37 |  | 34 | 35 | 0.021163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6084-12_1_3_line_38 |  | 36 | 37 | 0.0094055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6084-12_1_3_line_39 |  | 36 | 38 | 0.050207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6084-12_1_3_line_40 |  | 37 | 39 | 0.0068016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6084-12_1_3_line_41 |  | 38 | 40 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6084-12_1_3_line_42 |  | 40 | 44 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6084-12_1_3_line_43 |  | 41 | 42 | 0.045331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6084-12_1_3_line_44 |  | 41 | 43 | 0.0051325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6084-12_1_3_line_45 |  | 43 | 46 | 0.008307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6084-12_1_3_line_46 |  | 44 | 45 | 0.026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6084-12_1_3_line_47 |  | 45 | 48 | 0.010735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6084-12_1_3_line_48 |  | 46 | 47 | 0.01759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6084-12_1_3_line_49 |  | 47 | 49 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6084-12_1_3_line_50 |  | 47 | 50 | 0.0053725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6084-12_1_3_line_51 |  | 48 | 51 | 0.017442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6084-12_1_3_line_52 |  | 50 | 52 | 0.023131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6084-12_1_3_line_53 |  | 51 | 53 | 0.089382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6084-12_1_3_line_54 |  | 52 | 54 | 0.0053144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6084-12_1_3_line_55 |  | 55 | 56 | 0.0042177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6084-12_1_3_line_56 |  | 56 | 57 | 0.0076811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6084-12_1_3_line_57 |  | 57 | 58 | 0.017775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6084-12_1_3_trafo_108 | 0.63 MVA 20/0.4 kV | 59 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2596604.6756 | 1114701.5895 | 2596608.3574 | 1114699.2196 | 2596609.923 | 1114695.9615 | 2596609.7803 | 1114689.5362 | 2596609.6737 | 1114678.5642 | 2596610.5721 | 1114669.915 | 2596613.3767 | 1114659.4305 | 2596615.0879 | 1114654.2158
1 | 2596615.0879 | 1114654.2158 | 2596616.6559 | 1114655.1265 | 2596617.7002 | 1114658.3942 | 2596617.7411 | 1114662.5406 | 2596618.0143 | 1114664.2742
2 | 2596604.6756 | 1114701.5895 | 2596601.6095 | 1114700.3796 | 2596598.9677 | 1114698.3579 | 2596598.0464 | 1114694.0674 | 2596599.9043 | 1114688.9972 | 2596599.9243 | 1114683.4389 | 2596600.7478 | 1114678.6805 | 2596600.6417 | 1114668.7757 | 2596602.0884 | 1114652.6014
3 | 2596618.0143 | 1114664.2742 | 2596619.0043 | 1114670.555 | 2596622.961 | 1114676.3556 | 2596626.1888 | 1114676.9096 | 2596627.5157 | 1114674.73 | 2596629.6986 | 1114670.7156 | 2596631.6597 | 1114670.5367 | 2596632.942 | 1114671.4364 | 2596632.9437 | 1114674.4267 | 2596634.7683 | 1114678.5277 | 2596636.2516 | 1114680.0276
4 | 2596602.0884 | 1114652.6014 | 2596602.0994 | 1114652.478 | 2596605.0574 | 1114640.1813 | 2596608.4899 | 1114620.4252 | 2596609.1434 | 1114601.8935 | 2596609.9037 | 1114594.7674 | 2596612.7217 | 1114580.681 | 2596613.5818 | 1114572.3876 | 2596612.629 | 1114566.9632 | 2596607.8043 | 1114555.8494 | 2596605.5636 | 1114553.2268
5 | 2596636.2516 | 1114680.0276 | 2596649.4771 | 1114708.6194
6 | 2596581.6232 | 1114515.1197 | 2596582.7194 | 1114520.0462 | 2596586.9723 | 1114530.46 | 2596594.8465 | 1114540.6827 | 2596605.5636 | 1114553.2268
7 | 2596565.9115 | 1114444.7847 | 2596560.2359 | 1114403.4352 | 2596560.2359 | 1114403.4352
8 | 2596571.6182 | 1114497.6527 | 2596570.721 | 1114481.7009 | 2596570.0143 | 1114474.6757 | 2596565.9115 | 1114444.7847
9 | 2596571.6749 | 1114502.1994 | 2596571.6182 | 1114497.6527
10 | 2596571.6182 | 1114497.6527 | 2596573.6955 | 1114497.8294 | 2596575.765 | 1114498.006 | 2596578.6083 | 1114501.0615 | 2596579.0886 | 1114503.7292 | 2596581.6232 | 1114515.1197
11 | 2596571.6749 | 1114502.1994 | 2596568.3388 | 1114501.4898 | 2596565.0793 | 1114499.9354 | 2596563.5721 | 1114497.3906 | 2596562.2951 | 1114492.3666 | 2596560.8715 | 1114487.3761 | 2596558.3045 | 1114481.5192 | 2596544.9041 | 1114462.651 | 2596537.4019 | 1114453.4411
12 | 2596571.6749 | 1114502.1994 | 2596573.5003 | 1114534.2363 | 2596573.8423 | 1114540.9833
13 | 2596536.8167 | 1114645.7793 | 2596533.068 | 1114649.8277 | 2596522.5141 | 1114662.7848
14 | 2596576.3865 | 1114584.8706 | 2596576.3422 | 1114588.3946 | 2596575.8671 | 1114594.5535 | 2596574.0109 | 1114602.703 | 2596571.1426 | 1114609.8081 | 2596567.7867 | 1114614.8904 | 2596563.2881 | 1114620.1845 | 2596553.6953 | 1114628.7943 | 2596543.3157 | 1114638.7607 | 2596536.8167 | 1114645.7793
15 | 2596576.3865 | 1114584.8706 | 2596572.5411 | 1114584.6616 | 2596569.8707 | 1114586.8754 | 2596567.0872 | 1114593.7248 | 2596565.6074 | 1114598.4169 | 2596563.2749 | 1114597.3621 | 2596561.4662 | 1114594.2505 | 2596560.1832 | 1114592.0724 | 2596558.1599 | 1114591.7179 | 2596554.7333 | 1114594.6213 | 2596550.6056 | 1114600.3932 | 2596551.2406 | 1114603.6055 | 2596551.8675 | 1114606.0619 | 2596550.0845 | 1114607.2524 | 2596547.2884 | 1114605.72 | 2596544.2978 | 1114601.6419 | 2596541.7951 | 1114600.0315
16 | 2596576.3865 | 1114584.8706 | 2596574.9062 | 1114561.9713 | 2596573.8423 | 1114540.9833
17 | 2596541.7951 | 1114600.0315 | 2596540.4428 | 1114598.287 | 2596531.267 | 1114593.7568
18 | 2596501.8695 | 1114604.1013 | 2596505.9553 | 1114606.0221 | 2596508.7274 | 1114606.1872 | 2596510.8813 | 1114605.4078 | 2596512.1846 | 1114602.7168 | 2596514.5631 | 1114603.0489 | 2596515.5833 | 1114604.6824 | 2596517.6379 | 1114605.9819 | 2596519.551 | 1114602.8459 | 2596520.2974 | 1114598.3432 | 2596522.8529 | 1114597.7303 | 2596526.5422 | 1114595.1602 | 2596531.267 | 1114593.7568 | 2596531.267 | 1114593.7568
19 | 2596501.8695 | 1114604.1013 | 2596496.0415 | 1114607.1062 | 2596493.2713 | 1114610.0871 | 2596489.9905 | 1114611.6231 | 2596483.642 | 1114609.1479 | 2596477.6494 | 1114608.0509 | 2596474.3376 | 1114609.2201 | 2596471.2657 | 1114611.3452 | 2596469.4752 | 1114612.8248 | 2596462.2944 | 1114613.1737 | 2596458.4941 | 1114610.9304 | 2596454.2763 | 1114607.9537 | 2596448.7886 | 1114611.7699
20 | 2596501.8695 | 1114604.1013 | 2596504.803 | 1114596.4517
21 | 2596484.5229 | 1114623.3099 | 2596491.8994 | 1114614.4567 | 2596501.8695 | 1114604.1013
22 | 2596526.6755 | 1114440.2729 | 2596537.4019 | 1114453.4411
23 | 2596448.7886 | 1114611.7699 | 2596448.4607 | 1114618.718 | 2596444.3226 | 1114632.6051 | 2596444.3265 | 1114639.0638 | 2596446.1497 | 1114640.708 | 2596449.1364 | 1114638.0604 | 2596454.4446 | 1114631.1094
24 | 2596448.7886 | 1114611.7699 | 2596440.8424 | 1114610.463 | 2596433.3393 | 1114614.147 | 2596428.7664 | 1114611.1483 | 2596427.8458 | 1114608.4142
25 | 2596494.1479 | 1114566.8676 | 2596495.6942 | 1114568.1428 | 2596502.6685 | 1114571.1402 | 2596506.3609 | 1114573.5837 | 2596507.4538 | 1114580.6643 | 2596505.6858 | 1114594.1497 | 2596504.803 | 1114596.4517
26 | 2596526.6755 | 1114440.2729 | 2596525.6764 | 1114429.7557
27 | 2596526.6755 | 1114440.2729 | 2596523.2754 | 1114449.1792 | 2596524.2206 | 1114485.5874
28 | 2596427.8458 | 1114608.4142 | 2596425.1155 | 1114613.4628 | 2596421.3876 | 1114616.1886 | 2596415.8291 | 1114617.8149 | 2596412.3168 | 1114619.3956 | 2596410.2409 | 1114621.3756 | 2596407.7416 | 1114625.4347
29 | 2596427.8458 | 1114608.4142 | 2596427.1342 | 1114606.2914 | 2596424.3838 | 1114599.219
30 | 2596474.5136 | 1114529.6922 | 2596476.1373 | 1114532.2034 | 2596484.3398 | 1114548.8067 | 2596490.9122 | 1114564.1993 | 2596494.1479 | 1114566.8676
31 | 2596390.7857 | 1114613.5169 | 2596392.7971 | 1114619.8743 | 2596393.7963 | 1114625.0207 | 2596395.2714 | 1114625.4645 | 2596397.9492 | 1114622.9172 | 2596401.4126 | 1114617.1011 | 2596403.683 | 1114617.4999 | 2596405.3764 | 1114621.4008 | 2596407.4082 | 1114623.1004 | 2596407.7416 | 1114625.4347
32 | 2596424.3838 | 1114599.219 | 2596413.2602 | 1114570.6155 | 2596411.4312 | 1114567.7028
33 | 2596459.0873 | 1114500.1293 | 2596468.4781 | 1114520.3577 | 2596474.5136 | 1114529.6922
34 | 2596390.7857 | 1114613.5169 | 2596390.8522 | 1114611.2207
35 | 2596411.4312 | 1114567.7028 | 2596399.974 | 1114549.4576 | 2596393.75 | 1114543.6121
36 | 2596455.1844 | 1114491.3318 | 2596457.6694 | 1114497.0749 | 2596459.0873 | 1114500.1293
37 | 2596523.8033 | 1114506.7294 | 2596524.4604 | 1114494.8232 | 2596524.2206 | 1114485.5874
38 | 2596279.5439 | 1114468.8032 | 2596284.0276 | 1114477.0712
39 | 2596269.3304 | 1114509.374 | 2596274.9203 | 1114508.4923 | 2596275.0869 | 1114503.3675 | 2596270.9256 | 1114492.1201 | 2596274.896 | 1114469.7955 | 2596279.5439 | 1114468.8032
40 | 2596284.0276 | 1114477.0712 | 2596284.0276 | 1114477.0712 | 2596286.2674 | 1114483.4934
41 | 2596269.3304 | 1114509.374 | 2596277.8483 | 1114525.1966
42 | 2596277.8483 | 1114525.1966 | 2596285.3096 | 1114539.0564 | 2596285.3096 | 1114539.0564
43 | 2596382.8895 | 1114503.4046 | 2596382.7553 | 1114499.5102 | 2596387.8528 | 1114463.4004 | 2596389.3804 | 1114458.6751
44 | 2596383.0662 | 1114508.5341 | 2596382.8895 | 1114503.4046
45 | 2596383.3523 | 1114516.8362 | 2596383.0662 | 1114508.5341
46 | 2596285.3096 | 1114539.0564 | 2596294.023 | 1114564.5633
47 | 2596297.4933 | 1114574.7219 | 2596294.023 | 1114564.5633
48 | 2596383.958 | 1114534.4155 | 2596383.3523 | 1114516.8362
49 | 2596383.958 | 1114534.4155 | 2596393.75 | 1114543.6121
50 | 2596383.958 | 1114534.4155 | 2596384.1466 | 1114539.7847 | 2596384.1466 | 1114539.7847
51 | 2596297.4933 | 1114574.7219 | 2596299.4891 | 1114580.5569 | 2596303.7921 | 1114590.9782
52 | 2596389.7588 | 1114562.2241 | 2596384.1466 | 1114539.7847
53 | 2596390.8522 | 1114611.2207 | 2596303.7921 | 1114590.9782
54 | 2596389.7588 | 1114562.2241 | 2596391.0482 | 1114567.3797
55 | 2596441.2793 | 1114465.2447 | 2596443.9849 | 1114468.4801 | 2596443.9849 | 1114468.4801
56 | 2596447.4541 | 1114475.3331 | 2596443.9849 | 1114468.4801
57 | 2596455.1844 | 1114491.3318 | 2596453.0145 | 1114486.3168 | 2596447.4541 | 1114475.3331

## bus_geodata
| x | y | coords
0 | 2596615.0879 | 1114654.2158
1 | 2596604.6756 | 1114701.5895
2 | 2596618.0143 | 1114664.2742
3 | 2596602.0884 | 1114652.6014
4 | 2596636.2516 | 1114680.0276
5 | 2596605.5636 | 1114553.2268
6 | 2596649.4771 | 1114708.6194
7 | 2596560.2359 | 1114403.4352
8 | 2596565.9115 | 1114444.7847
9 | 2596571.6182 | 1114497.6527
10 | 2596571.6749 | 1114502.1994
11 | 2596581.6232 | 1114515.1197
12 | 2596536.8167 | 1114645.7793
13 | 2596522.5141 | 1114662.7848
14 | 2596576.3865 | 1114584.8706
15 | 2596541.7951 | 1114600.0315
16 | 2596573.8423 | 1114540.9833
17 | 2596531.267 | 1114593.7568
18 | 2596501.8695 | 1114604.1013
19 | 2596537.4019 | 1114453.4411
20 | 2596448.7886 | 1114611.7699
21 | 2596504.803 | 1114596.4517
22 | 2596484.5229 | 1114623.3099
23 | 2596526.6755 | 1114440.2729
24 | 2596454.4446 | 1114631.1094
25 | 2596427.8458 | 1114608.4142
26 | 2596494.1479 | 1114566.8676
27 | 2596407.7416 | 1114625.4347
28 | 2596424.3838 | 1114599.219
29 | 2596474.5136 | 1114529.6922
30 | 2596390.7857 | 1114613.5169
31 | 2596411.4312 | 1114567.7028
32 | 2596459.0873 | 1114500.1293
33 | 2596525.6764 | 1114429.7557
34 | 2596524.2206 | 1114485.5874
35 | 2596523.8033 | 1114506.7294
36 | 2596279.5439 | 1114468.8032
37 | 2596284.0276 | 1114477.0712
38 | 2596269.3304 | 1114509.374
39 | 2596286.2674 | 1114483.4934
40 | 2596277.8483 | 1114525.1966
41 | 2596382.8895 | 1114503.4046
42 | 2596389.3804 | 1114458.6751
43 | 2596383.0662 | 1114508.5341
44 | 2596285.3096 | 1114539.0564
45 | 2596294.023 | 1114564.5633
46 | 2596383.3523 | 1114516.8362
47 | 2596383.958 | 1114534.4155
48 | 2596297.4933 | 1114574.7219
49 | 2596393.75 | 1114543.6121
50 | 2596384.1466 | 1114539.7847
51 | 2596303.7921 | 1114590.9782
52 | 2596389.7588 | 1114562.2241
53 | 2596390.8522 | 1114611.2207
54 | 2596391.0482 | 1114567.3797
55 | 2596441.2793 | 1114465.2447
56 | 2596443.9849 | 1114468.4801
57 | 2596447.4541 | 1114475.3331
58 | 2596455.1844 | 1114491.3318
59 | 2596501.8695 | 1114604.1013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1