## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6084-4_0_11_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6084-4_0_11_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6084-4_0_11_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6084-4_0_11_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6084-4_0_11_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6084-4_0_11_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_6084-4_0_11_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6084-4_0_11_node_50 | 0.4 | n |  | TRUE
8 | bus_LV_6084-4_0_11_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_6084-4_0_11_node_57 | 0.4 | n |  | TRUE
10 | bus_LV_6084-4_0_11_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_6084-4_0_11_node_49 | 0.4 | n |  | TRUE
12 | bus_LV_6084-4_0_11_node_62 | 0.4 | n |  | TRUE
13 | bus_LV_6084-4_0_11_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_6084-4_0_11_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_6084-4_0_11_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6084-4_0_11_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_6084-4_0_11_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6084-4_0_11_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6084-4_0_11_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6084-4_0_11_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_6084-4_0_11_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_6084-4_0_11_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6084-4_0_11_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6084-4_0_11_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6084-4_0_11_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6084-4_0_11_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_6084-4_0_11_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6084-4_0_11_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_6084-4_0_11_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_6084-4_0_11_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_6084-4_0_11_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6084-4_0_11_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_6084-4_0_11_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_6084-4_0_11_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_6084-4_0_11_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6084-4_0_11_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6084-4_0_11_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6084-4_0_11_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6084-4_0_11_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6084-4_0_11_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_6084-4_0_11_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_6084-4_0_11_node_100 | 0.4 | n |  | TRUE
43 | bus_LV_6084-4_0_11_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_6084-4_0_11_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6084-4_0_11_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6084-4_0_11_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6084-4_0_11_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6084-4_0_11_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6084-4_0_11_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6084-4_0_11_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6084-4_0_11_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_6084-4_0_11_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_6084-4_0_11_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_6084-4_0_11_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_6084-4_0_11_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6084-4_0_11_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6084-4_0_11_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6084-4_0_11_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6084-4_0_11_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6084-4_0_11_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_6084-4_0_11_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6084-4_0_11_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_6084-4_0_11_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6084-4_0_11_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_6084-4_0_11_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_6084-4_0_11_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6084-4_0_11_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_6084-4_0_11_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_6084-4_0_11_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_6084-4_0_11_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6084-4_0_11_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6084-4_0_11_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_6084-4_0_11_node_72 | 0.4 | n |  | TRUE
74 | bus_LV_6084-4_0_11_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6084-4_0_11_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6084-4_0_11_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_6084-4_0_11_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_6084-4_0_11_node_80 | 0.4 | n |  | TRUE
79 | bus_LV_6084-4_0_11_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_6084-4_0_11_node_94 | 0.4 | n |  | TRUE
81 | bus_LV_6084-4_0_11_node_95 | 0.4 | n |  | TRUE
82 | bus_LV_6084-4_0_11_node_96 | 0.4 | n |  | TRUE
83 | bus_LV_6084-4_0_11_node_97 | 0.4 | n |  | TRUE
84 | bus_LV_6084-4_0_11_node_98 | 0.4 | n |  | TRUE
85 | bus_LV_6084-4_0_11_node_103 | 0.4 | n |  | TRUE
86 | bus_LV_6084-4_0_11_node_104 | 0.4 | n |  | TRUE
87 | bus_LV_6084-4_0_11_node_105 | 0.4 | n |  | TRUE
88 | bus_MV_90_1_node_58 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6084-4_0_11_load_0 | 0 | 0.014424 | 0.003615 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6084-4_0_11_load_1 | 1 | 0.0090991 | 0.0022805 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6084-4_0_11_load_3 | 3 | 0.013132 | 0.0032912 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6084-4_0_11_load_5 | 4 | 0.0069423 | 0.0017399 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6084-4_0_11_load_4 | 6 | 0.008819 | 0.0022103 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6084-4_0_11_load_50 | 7 | 0.0029046 | 0.00072796 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6084-4_0_11_load_68 | 8 | 0.0055699 | 0.001396 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6084-4_0_11_load_57 | 9 | 0.0052649 | 0.0013195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6084-4_0_11_load_55 | 10 | 0.0025636 | 0.00064251 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6084-4_0_11_load_49 | 11 | 0.0031159 | 0.00078091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6084-4_0_11_load_62 | 12 | 0.0084785 | 0.0021249 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6084-4_0_11_load_6 | 13 | 0.0052031 | 0.001304 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6084-4_0_11_load_39 | 14 | 0.013853 | 0.003472 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6084-4_0_11_load_7 | 15 | 0.011554 | 0.0028956 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6084-4_0_11_load_38 | 16 | 0.012217 | 0.003062 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6084-4_0_11_load_9 | 17 | 0.03925 | 0.0098369 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6084-4_0_11_load_10 | 18 | 0.043369 | 0.010869 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6084-4_0_11_load_8 | 19 | 0.013288 | 0.0033302 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6084-4_0_11_load_12 | 21 | 0.010443 | 0.0026173 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6084-4_0_11_load_13 | 22 | 0.0041794 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6084-4_0_11_load_14 | 23 | 0.0043466 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6084-4_0_11_load_17 | 24 | 0.0063713 | 0.0015968 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6084-4_0_11_load_15 | 25 | 0.0050853 | 0.0012745 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6084-4_0_11_load_26 | 26 | 0.022302 | 0.0055894 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6084-4_0_11_load_16 | 27 | 0.0077937 | 0.0019533 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6084-4_0_11_load_37 | 28 | 0.012969 | 0.0032504 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6084-4_0_11_load_20 | 29 | 0.005654 | 0.001417 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6084-4_0_11_load_24 | 31 | 0.0024253 | 0.00060783 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6084-4_0_11_load_21 | 32 | 0.0039243 | 0.00098352 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6084-4_0_11_load_18 | 34 | 0.006502 | 0.0016296 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6084-4_0_11_load_19 | 35 | 0.0039791 | 0.00099726 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6084-4_0_11_load_33 | 36 | 0.0051075 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6084-4_0_11_load_32 | 37 | 0.0020874 | 0.00052316 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6084-4_0_11_load_34 | 38 | 0.0037399 | 0.0009373 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6084-4_0_11_load_35 | 39 | 0.011887 | 0.0029793 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6084-4_0_11_load_30 | 40 | 0.0020198 | 0.00050622 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6084-4_0_11_load_22 | 41 | 0.0068555 | 0.0017181 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6084-4_0_11_load_100 | 42 | 0.0011256 | 0.00028211 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6084-4_0_11_load_99 | 43 | 0.0011793 | 0.00029557 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6084-4_0_11_load_28 | 44 | 0.0042794 | 0.0010725 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6084-4_0_11_load_29 | 45 | 0.0068053 | 0.0017056 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6084-4_0_11_load_47 | 48 | 0.003677 | 0.00092155 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6084-4_0_11_load_42 | 49 | 0.01056 | 0.0026467 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6084-4_0_11_load_41 | 50 | 0.011152 | 0.002795 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6084-4_0_11_load_43 | 51 | 0.0064625 | 0.0016197 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6084-4_0_11_load_54 | 52 | 0.003111 | 0.00077968 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6084-4_0_11_load_46 | 53 | 0.0039662 | 0.00099403 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6084-4_0_11_load_44 | 54 | 0.0062016 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6084-4_0_11_load_45 | 55 | 0.0064004 | 0.0016041 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6084-4_0_11_load_52 | 56 | 0.0031053 | 0.00077826 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6084-4_0_11_load_53 | 58 | 0.0029704 | 0.00074444 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6084-4_0_11_load_58 | 59 | 0.0081072 | 0.0020318 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6084-4_0_11_load_59 | 60 | 0.0076794 | 0.0019246 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6084-4_0_11_load_61 | 62 | 0.023558 | 0.0059043 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6084-4_0_11_load_63 | 63 | 0.011245 | 0.0028184 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6084-4_0_11_load_65 | 64 | 0.0092142 | 0.0023093 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6084-4_0_11_load_64 | 66 | 0.0059668 | 0.0014954 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6084-4_0_11_load_66 | 68 | 0.0080538 | 0.0020185 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6084-4_0_11_load_67 | 69 | 0.0090693 | 0.002273 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6084-4_0_11_load_69 | 70 | 0.013408 | 0.0033603 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6084-4_0_11_load_70 | 71 | 0.0063888 | 0.0016012 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6084-4_0_11_load_71 | 72 | 0.014184 | 0.0035549 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6084-4_0_11_load_72 | 73 | 0.012862 | 0.0032235 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6084-4_0_11_load_73 | 74 | 0.0069737 | 0.0017478 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6084-4_0_11_load_74 | 75 | 0.0094076 | 0.0023578 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6084-4_0_11_load_77 | 76 | 0.0013645 | 0.00034198 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6084-4_0_11_load_78 | 77 | 0.00078347 | 0.00019636 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6084-4_0_11_load_80 | 78 | 0.00096851 | 0.00024273 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6084-4_0_11_load_102 | 79 | 0.00086734 | 0.00021738 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6084-4_0_11_load_94 | 80 | 0.0015427 | 0.00038663 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6084-4_0_11_load_95 | 81 | 0.0013338 | 0.00033428 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6084-4_0_11_load_96 | 82 | 0.0023225 | 0.00058206 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6084-4_0_11_load_98 | 84 | 0.0031198 | 0.00078191 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6084-4_0_11_load_103 | 85 | 0.0014062 | 0.00035242 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6084-4_0_11_load_104 | 86 | 0.0015214 | 0.0003813 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6084-4_0_11_load_105 | 87 | 0.0013505 | 0.00033847 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6084-4_0_11_line_0 |  | 0 | 1 | 0.070447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_6084-4_0_11_line_1 |  | 0 | 2 | 0.028059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_6084-4_0_11_line_2 |  | 1 | 3 | 0.022742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_6084-4_0_11_line_3 |  | 2 | 4 | 0.066642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_6084-4_0_11_line_4 |  | 3 | 5 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6084-4_0_11_line_5 |  | 4 | 8 | 0.013446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6084-4_0_11_line_6 |  | 5 | 9 | 0.00081286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6084-4_0_11_line_7 |  | 5 | 10 | 0.0056902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6084-4_0_11_line_8 |  | 6 | 7 | 0.030522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6084-4_0_11_line_9 |  | 7 | 11 | 0.012318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6084-4_0_11_line_10 |  | 8 | 12 | 0.019477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6084-4_0_11_line_11 |  | 10 | 58 | 0.0179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6084-4_0_11_line_12 |  | 11 | 57 | 0.0074084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6084-4_0_11_line_13 |  | 12 | 61 | 0.0098921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6084-4_0_11_line_14 |  | 13 | 14 | 0.25306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6084-4_0_11_line_15 |  | 14 | 15 | 0.042894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6084-4_0_11_line_16 |  | 14 | 16 | 0.042872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6084-4_0_11_line_17 |  | 15 | 19 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6084-4_0_11_line_18 |  | 16 | 28 | 0.035758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6084-4_0_11_line_19 |  | 16 | 22 | 0.043585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_6084-4_0_11_line_20 |  | 17 | 18 | 0.041023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6084-4_0_11_line_21 |  | 18 | 20 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6084-4_0_11_line_22 |  | 20 | 21 | 0.042328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6084-4_0_11_line_23 |  | 20 | 22 | 0.0042484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6084-4_0_11_line_24 |  | 21 | 23 | 0.054045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6084-4_0_11_line_25 |  | 22 | 24 | 0.025542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6084-4_0_11_line_26 |  | 23 | 25 | 0.020684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6084-4_0_11_line_27 |  | 23 | 26 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6084-4_0_11_line_28 |  | 24 | 27 | 0.021877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6084-4_0_11_line_29 |  | 25 | 29 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6084-4_0_11_line_30 |  | 25 | 30 | 0.05999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6084-4_0_11_line_31 |  | 26 | 31 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6084-4_0_11_line_32 |  | 28 | 50 | 0.02907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6084-4_0_11_line_33 |  | 28 | 39 | 0.046428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6084-4_0_11_line_34 |  | 29 | 32 | 0.0142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6084-4_0_11_line_35 |  | 30 | 33 | 0.089149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6084-4_0_11_line_36 |  | 32 | 41 | 0.0417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6084-4_0_11_line_37 |  | 33 | 42 | 0.063242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6084-4_0_11_line_38 |  | 34 | 35 | 0.041895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6084-4_0_11_line_39 |  | 34 | 36 | 0.033928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6084-4_0_11_line_40 |  | 35 | 37 | 0.0083408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6084-4_0_11_line_41 |  | 36 | 38 | 0.0088946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6084-4_0_11_line_42 |  | 37 | 40 | 0.0021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6084-4_0_11_line_43 |  | 38 | 39 | 0.023734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6084-4_0_11_line_44 |  | 39 | 49 | 0.033226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6084-4_0_11_line_45 |  | 40 | 45 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6084-4_0_11_line_46 |  | 42 | 43 | 0.13857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6084-4_0_11_line_47 |  | 43 | 79 | 0.12565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6084-4_0_11_line_48 |  | 43 | 83 | 0.096981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6084-4_0_11_line_49 |  | 44 | 45 | 0.0056348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6084-4_0_11_line_50 |  | 46 | 47 | 0.014739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6084-4_0_11_line_51 |  | 46 | 48 | 0.10422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6084-4_0_11_line_52 |  | 47 | 52 | 0.10927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6084-4_0_11_line_53 |  | 48 | 53 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_6084-4_0_11_line_54 |  | 49 | 51 | 0.055586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_6084-4_0_11_line_55 |  | 51 | 54 | 0.0047585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6084-4_0_11_line_56 |  | 52 | 56 | 0.0038842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6084-4_0_11_line_57 |  | 53 | 55 | 0.02734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6084-4_0_11_line_58 |  | 54 | 55 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6084-4_0_11_line_59 |  | 56 | 57 | 0.0044342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6084-4_0_11_line_60 |  | 57 | 58 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6084-4_0_11_line_61 |  | 59 | 60 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6084-4_0_11_line_62 |  | 59 | 61 | 0.026493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6084-4_0_11_line_63 |  | 60 | 62 | 0.027317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6084-4_0_11_line_64 |  | 61 | 63 | 0.041542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6084-4_0_11_line_65 |  | 62 | 64 | 0.030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6084-4_0_11_line_66 |  | 63 | 65 | 0.045548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6084-4_0_11_line_67 |  | 64 | 66 | 0.02558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6084-4_0_11_line_68 |  | 65 | 67 | 0.028542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6084-4_0_11_line_69 |  | 66 | 68 | 0.0078115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6084-4_0_11_line_70 |  | 67 | 75 | 0.1252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6084-4_0_11_line_71 |  | 67 | 74 | 0.021263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6084-4_0_11_line_72 |  | 68 | 69 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6084-4_0_11_line_73 |  | 70 | 71 | 0.028713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6084-4_0_11_line_74 |  | 70 | 72 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6084-4_0_11_line_75 |  | 71 | 73 | 0.018911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6084-4_0_11_line_76 |  | 72 | 74 | 0.016377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6084-4_0_11_line_77 |  | 76 | 77 | 0.090167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6084-4_0_11_line_78 |  | 77 | 78 | 0.00978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6084-4_0_11_line_79 |  | 78 | 79 | 0.00056258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6084-4_0_11_line_80 |  | 80 | 81 | 0.0021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6084-4_0_11_line_81 |  | 80 | 82 | 0.098773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6084-4_0_11_line_82 |  | 81 | 83 | 0.03052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6084-4_0_11_line_83 |  | 82 | 84 | 0.011623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6084-4_0_11_line_84 |  | 84 | 85 | 0.025718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6084-4_0_11_line_85 |  | 85 | 86 | 0.013375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6084-4_0_11_line_86 |  | 86 | 87 | 0.0099751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6084-4_0_11_trafo_42 | 0.63 MVA 20/0.4 kV | 88 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2597425.7654 | 1114073.4209 | 2597426.0123 | 1114074.1554 | 2597441.5535 | 1114119.2153 | 2597445.4149 | 1114137.9895 | 2597446.0912 | 1114140.7479
1 | 2597416.8263 | 1114046.8238 | 2597425.7654 | 1114073.4209
2 | 2597446.0912 | 1114140.7479 | 2597451.5062 | 1114162.8361
3 | 2597416.8263 | 1114046.8238 | 2597412.103 | 1114035.4758 | 2597408.5775 | 1114026.0505 | 2597409.2014 | 1114022.3373 | 2597413.8026 | 1114019.5005 | 2597418.2204 | 1114020.8548 | 2597423.6989 | 1114028.6118 | 2597434.4138 | 1114046.6722
4 | 2597456.0625 | 1114188.7876 | 2597452.47 | 1114166.7673 | 2597451.5062 | 1114162.8361
5 | 2597434.4138 | 1114046.6722 | 2597436.9059 | 1114050.8726 | 2597442.4449 | 1114057.4014
6 | 2597456.3541 | 1114189.5464 | 2597456.0625 | 1114188.7876
7 | 2597456.0625 | 1114188.7876 | 2597451.3372 | 1114185.6175
8 | 2597418.7476 | 1114163.9574 | 2597416.2953 | 1114156.7114 | 2597414.7242 | 1114148.5303 | 2597416.1168 | 1114137.0462 | 2597416.9631 | 1114134.1956
9 | 2597422.6963 | 1114175.6251 | 2597418.7476 | 1114163.9574
10 | 2597442.4449 | 1114057.4014 | 2597447.9929 | 1114063.9408 | 2597456.0771 | 1114071.2536
11 | 2597434.9888 | 1114180.6665 | 2597443.7423 | 1114180.5222 | 2597451.3372 | 1114185.6175
12 | 2597425.0712 | 1114182.6425 | 2597422.6963 | 1114175.6251
13 | 2597464.3386 | 1114076.6067 | 2597458.0898 | 1114073.0743 | 2597456.0771 | 1114071.2536
14 | 2597318.2833 | 1113959.1715 | 2597289.0061 | 1113707.8075
15 | 2597361.1713 | 1113958.4715 | 2597318.2833 | 1113959.1715
16 | 2597328.9416 | 1114000.6018 | 2597324.1517 | 1113978.5426 | 2597319.1858 | 1113960.6694 | 2597318.2833 | 1113959.1715
17 | 2597363.7264 | 1113972.8596 | 2597361.8757 | 1113962.2732 | 2597361.1713 | 1113958.4715
18 | 2597336.5292 | 1114035.546 | 2597328.9416 | 1114000.6018
19 | 2597288.734 | 1114017.4259 | 2597328.9416 | 1114000.6018
20 | 2597273.7232 | 1113965.6663 | 2597276.7331 | 1113970.9383 | 2597280.6063 | 1113980.1744 | 2597283.9253 | 1113993.5462 | 2597284.6697 | 1114004.6809
21 | 2597285.0558 | 1114016.8905 | 2597284.7651 | 1114006.1075 | 2597284.6697 | 1114004.6809
22 | 2597285.0558 | 1114016.8905 | 2597285.2287 | 1114023.4603 | 2597285.8223 | 1114038.0672 | 2597289.583 | 1114054.8181 | 2597290.6182 | 1114058.6501
23 | 2597285.0558 | 1114016.8905 | 2597288.0055 | 1114016.4 | 2597288.734 | 1114017.4259
24 | 2597290.6182 | 1114058.6501 | 2597296.0807 | 1114078.8714 | 2597302.9713 | 1114101.0681 | 2597305.6993 | 1114110.5407
25 | 2597288.734 | 1114017.4259 | 2597289.86 | 1114019.0115 | 2597288.9839 | 1114028.1497 | 2597289.8689 | 1114038.4433 | 2597290.9766 | 1114042.3761
26 | 2597305.6993 | 1114110.5407 | 2597311.4234 | 1114130.417
27 | 2597305.6993 | 1114110.5407 | 2597277.1057 | 1114108.9283
28 | 2597296.907 | 1114063.4334 | 2597290.9766 | 1114042.3761
29 | 2597314.0456 | 1114140.6438 | 2597313.5443 | 1114137.7813 | 2597311.4234 | 1114130.417
30 | 2597311.4234 | 1114130.417 | 2597252.0614 | 1114139.0769
31 | 2597277.1057 | 1114108.9283 | 2597276.7038 | 1114124.8252
32 | 2597363.9585 | 1114045.1724 | 2597336.5292 | 1114035.546
33 | 2597346.3808 | 1114080.9166 | 2597336.5292 | 1114035.546
34 | 2597314.0456 | 1114140.6438 | 2597316.4953 | 1114154.6305
35 | 2597252.0614 | 1114139.0769 | 2597164.8877 | 1114157.7384
36 | 2597316.4953 | 1114154.6305 | 2597317.5393 | 1114160.5907 | 2597318.0234 | 1114172.4519 | 2597317.1963 | 1114187.4374 | 2597316.1237 | 1114196.1411
37 | 2597164.8877 | 1114157.7384 | 2597160.0339 | 1114164.9221 | 2597166.1498 | 1114181.0493 | 2597169.8217 | 1114205.3928 | 2597168.4599 | 1114218.0254
38 | 2597334.5923 | 1114155.6625 | 2597333.5648 | 1114148.4553 | 2597331.1286 | 1114140.1078 | 2597321.7685 | 1114121.1694 | 2597319.6222 | 1114116.8823
39 | 2597319.6222 | 1114116.8823 | 2597353.3044 | 1114112.8024
40 | 2597335.7694 | 1114163.9198 | 2597334.5923 | 1114155.6625
41 | 2597353.3044 | 1114112.8024 | 2597351.417 | 1114104.1104
42 | 2597336.0688 | 1114166.0203 | 2597335.7694 | 1114163.9198
43 | 2597346.3808 | 1114080.9166 | 2597351.417 | 1114104.1104
44 | 2597378.8176 | 1114073.7161 | 2597346.3808 | 1114080.9166
45 | 2597339.487 | 1114178.3203 | 2597336.6945 | 1114170.4091 | 2597336.0688 | 1114166.0203
46 | 2597029.9892 | 1114212.745 | 2597168.4599 | 1114218.0254
47 | 2597029.9892 | 1114212.745 | 2597041.3703 | 1114152.652 | 2597039.6237 | 1114119.0141 | 2597034.5916 | 1114093.6709 | 2597032.5478 | 1114089.1432
48 | 2597023.3177 | 1114309.4271 | 2597024.62 | 1114273.3754 | 2597028.701 | 1114219.5468 | 2597029.9892 | 1114212.745
49 | 2597341.3626 | 1114183.6337 | 2597339.487 | 1114178.3203
50 | 2597416.9154 | 1114285.2076 | 2597427.2056 | 1114295.7861
51 | 2597416.9154 | 1114285.2076 | 2597417.0731 | 1114275.0359 | 2597413.1263 | 1114255.4169 | 2597405.1413 | 1114236.7445 | 2597398.3038 | 1114228.7992 | 2597396.6471 | 1114219.2953 | 2597398.293 | 1114204.2316 | 2597398.4968 | 1114193.693 | 2597395.8067 | 1114186.2615
52 | 2597427.2056 | 1114295.7861 | 2597432.2203 | 1114285.3344 | 2597438.2294 | 1114270.7579 | 2597438.4977 | 1114266.2667 | 2597439.3099 | 1114251.8259 | 2597438.3441 | 1114232.7614 | 2597433.6955 | 1114215.0547 | 2597426.8543 | 1114198.5718 | 2597425.9966 | 1114190.9093
53 | 2597392.0645 | 1114176.6261 | 2597394.3527 | 1114182.2447 | 2597395.8067 | 1114186.2615
54 | 2597378.8176 | 1114073.7161 | 2597379.4962 | 1114079.6342 | 2597384.898 | 1114123.5089 | 2597385.0426 | 1114128.9301
55 | 2597385.1695 | 1114133.6869 | 2597385.0426 | 1114128.9301
56 | 2597425.5645 | 1114187.0492 | 2597425.9966 | 1114190.9093
57 | 2597385.873 | 1114150.2458 | 2597387.7122 | 1114165.9396 | 2597392.0645 | 1114176.6261
58 | 2597385.1695 | 1114133.6869 | 2597385.5341 | 1114147.3537 | 2597385.873 | 1114150.2458
59 | 2597425.0712 | 1114182.6425 | 2597425.5645 | 1114187.0492
60 | 2597425.0712 | 1114182.6425 | 2597432.6535 | 1114180.7049 | 2597434.9888 | 1114180.6665
61 | 2597472.9306 | 1114101.4574 | 2597480.05 | 1114113.9535
62 | 2597464.3386 | 1114076.6067 | 2597465.4307 | 1114084.121 | 2597472.1404 | 1114100.0704 | 2597472.9306 | 1114101.4574
63 | 2597480.05 | 1114113.9535 | 2597485.4247 | 1114123.3873 | 2597489.258 | 1114130.7448 | 2597492.1333 | 1114136.88 | 2597492.4123 | 1114138.2397
64 | 2597464.3386 | 1114076.6067 | 2597471.4138 | 1114080.5945 | 2597485.1554 | 1114089.4596 | 2597497.9317 | 1114098.5142 | 2597498.8282 | 1114099.5994
65 | 2597492.4123 | 1114138.2397 | 2597494.594 | 1114148.8737 | 2597497.8899 | 1114163.6018 | 2597498.5556 | 1114167.9322
66 | 2597521.5472 | 1114137.8458 | 2597521.1595 | 1114133.9885 | 2597518.2535 | 1114128.009 | 2597516.5133 | 1114121.651 | 2597513.6074 | 1114116.0606 | 2597503.3477 | 1114105.0707 | 2597498.8282 | 1114099.5994
67 | 2597502.4425 | 1114193.2156 | 2597498.5556 | 1114167.9322
68 | 2597529.8542 | 1114114.5086 | 2597528.701 | 1114126.8485 | 2597528.3181 | 1114134.3746 | 2597525.9952 | 1114137.8439 | 2597521.5472 | 1114137.8458
69 | 2597502.4425 | 1114193.2156 | 2597503.6295 | 1114200.9365
70 | 2597529.8542 | 1114114.5086 | 2597535.6029 | 1114104.4012 | 2597521.6399 | 1114046.1117 | 2597512.064 | 1114027.0397 | 2597490.1971 | 1114015.0653 | 2597484.9342 | 1114009.9193
71 | 2597529.8542 | 1114114.5086 | 2597526.7543 | 1114106.606 | 2597520.1722 | 1114095.6583
72 | 2597503.6295 | 1114200.9365 | 2597504.8125 | 1114208.6321 | 2597505.9818 | 1114216.2353 | 2597505.9818 | 1114216.2353
73 | 2597504.3646 | 1114068.9672 | 2597499.2657 | 1114057.638 | 2597487.6546 | 1114046.8376 | 2597487.3219 | 1114046.5622
74 | 2597504.3646 | 1114068.9672 | 2597505.0783 | 1114070.553 | 2597511.7339 | 1114081.6231
75 | 2597472.7532 | 1114034.5046 | 2597487.3219 | 1114046.5622
76 | 2597511.7339 | 1114081.6231 | 2597520.1722 | 1114095.6583
77 | 2597009.3147 | 1113992.8169 | 2597008.6455 | 1114002.9282 | 2597010.5434 | 1114029.9961 | 2597014.9064 | 1114045.068 | 2597020.1581 | 1114061.6957 | 2597028.2926 | 1114079.7165
78 | 2597032.3163 | 1114088.6305 | 2597028.2926 | 1114079.7165
79 | 2597032.3163 | 1114088.6305 | 2597032.5478 | 1114089.1432
80 | 2597016.0962 | 1114280.1604 | 2597015.9839 | 1114282.3073
81 | 2597016.0962 | 1114280.1604 | 2597016.2972 | 1114276.3143 | 2597006.9961 | 1114207.5741 | 2597003.9041 | 1114182.2072
82 | 2597023.3177 | 1114309.4271 | 2597015.0124 | 1114300.8937 | 2597015.9839 | 1114282.3073
83 | 2597002.4978 | 1114170.6691 | 2597003.9041 | 1114182.2072
84 | 2597002.4978 | 1114170.6691 | 2597001.5914 | 1114163.2328 | 2596997.5925 | 1114145.45
85 | 2596997.5925 | 1114145.45 | 2596994.658 | 1114132.4005
86 | 2596992.4695 | 1114122.6684 | 2596994.658 | 1114132.4005

## bus_geodata
| x | y | coords
0 | 2597425.7654 | 1114073.4209
1 | 2597446.0912 | 1114140.7479
2 | 2597416.8263 | 1114046.8238
3 | 2597451.5062 | 1114162.8361
4 | 2597434.4138 | 1114046.6722
5 | 2597456.0625 | 1114188.7876
6 | 2597416.9631 | 1114134.1956
7 | 2597418.7476 | 1114163.9574
8 | 2597442.4449 | 1114057.4014
9 | 2597456.3541 | 1114189.5464
10 | 2597451.3372 | 1114185.6175
11 | 2597422.6963 | 1114175.6251
12 | 2597456.0771 | 1114071.2536
13 | 2597289.0061 | 1113707.8075
14 | 2597318.2833 | 1113959.1715
15 | 2597361.1713 | 1113958.4715
16 | 2597328.9415 | 1114000.6018
17 | 2597273.7232 | 1113965.6663
18 | 2597284.6697 | 1114004.6809
19 | 2597363.7264 | 1113972.8596
20 | 2597285.0558 | 1114016.8905
21 | 2597290.6182 | 1114058.6501
22 | 2597288.734 | 1114017.4259
23 | 2597305.6993 | 1114110.5407
24 | 2597290.9766 | 1114042.3761
25 | 2597311.4234 | 1114130.417
26 | 2597277.1057 | 1114108.9283
27 | 2597296.907 | 1114063.4334
28 | 2597336.5292 | 1114035.546
29 | 2597314.0456 | 1114140.6438
30 | 2597252.0614 | 1114139.0769
31 | 2597276.7038 | 1114124.8252
32 | 2597316.4953 | 1114154.6305
33 | 2597164.8877 | 1114157.7384
34 | 2597319.6222 | 1114116.8823
35 | 2597334.5923 | 1114155.6625
36 | 2597353.3044 | 1114112.8024
37 | 2597335.7694 | 1114163.9198
38 | 2597351.417 | 1114104.1104
39 | 2597346.3808 | 1114080.9166
40 | 2597336.0688 | 1114166.0203
41 | 2597316.1237 | 1114196.1411
42 | 2597168.4599 | 1114218.0254
43 | 2597029.9892 | 1114212.745
44 | 2597341.3626 | 1114183.6337
45 | 2597339.487 | 1114178.3203
46 | 2597416.9154 | 1114285.2076
47 | 2597427.2056 | 1114295.7861
48 | 2597395.8067 | 1114186.2615
49 | 2597378.8176 | 1114073.7161
50 | 2597363.9585 | 1114045.1724
51 | 2597385.0426 | 1114128.9301
52 | 2597425.9966 | 1114190.9093
53 | 2597392.0645 | 1114176.6261
54 | 2597385.1695 | 1114133.6869
55 | 2597385.873 | 1114150.2458
56 | 2597425.5645 | 1114187.0492
57 | 2597425.0712 | 1114182.6425
58 | 2597434.9888 | 1114180.6665
59 | 2597472.9306 | 1114101.4574
60 | 2597480.05 | 1114113.9535
61 | 2597464.3386 | 1114076.6067
62 | 2597492.4123 | 1114138.2397
63 | 2597498.8282 | 1114099.5994
64 | 2597498.5556 | 1114167.9322
65 | 2597521.5472 | 1114137.8458
66 | 2597502.4425 | 1114193.2156
67 | 2597529.8542 | 1114114.5086
68 | 2597503.6295 | 1114200.9365
69 | 2597505.9818 | 1114216.2353
70 | 2597504.3646 | 1114068.9672
71 | 2597487.3219 | 1114046.5622
72 | 2597511.7339 | 1114081.6231
73 | 2597472.7532 | 1114034.5046
74 | 2597520.1722 | 1114095.6583
75 | 2597484.9342 | 1114009.9193
76 | 2597009.3147 | 1113992.8169
77 | 2597028.2926 | 1114079.7165
78 | 2597032.3163 | 1114088.6305
79 | 2597032.5478 | 1114089.1432
80 | 2597016.0962 | 1114280.1604
81 | 2597015.984 | 1114282.3073
82 | 2597003.9041 | 1114182.2072
83 | 2597023.3177 | 1114309.4271
84 | 2597002.4978 | 1114170.6691
85 | 2596997.5925 | 1114145.45
86 | 2596994.658 | 1114132.4005
87 | 2596992.4695 | 1114122.6684
88 | 2597376.5581 | 1114054.0118

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1