## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6084-5_2_2_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_6084-5_2_2_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_6084-5_2_2_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_6084-5_2_2_node_29 | 0.4 | n |  | TRUE
4 | bus_LV_6084-5_2_2_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_6084-5_2_2_node_31 | 0.4 | n |  | TRUE
6 | bus_LV_6084-5_2_2_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_6084-5_2_2_node_33 | 0.4 | n |  | TRUE
8 | bus_LV_6084-5_2_2_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_6084-5_2_2_node_38 | 0.4 | n |  | TRUE
10 | bus_LV_6084-5_2_2_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_6084-5_2_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_6084-5_2_2_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_6084-5_2_2_node_91 | 0.4 | n |  | TRUE
14 | bus_LV_6084-5_2_2_node_37 | 0.4 | n |  | TRUE
15 | bus_LV_6084-5_2_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_6084-5_2_2_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_6084-5_2_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_6084-5_2_2_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_6084-5_2_2_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_6084-5_2_2_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_6084-5_2_2_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_6084-5_2_2_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_6084-5_2_2_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_6084-5_2_2_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_6084-5_2_2_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6084-5_2_2_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_6084-5_2_2_node_92 | 0.4 | n |  | TRUE
28 | bus_LV_6084-5_2_2_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_6084-5_2_2_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_6084-5_2_2_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_6084-5_2_2_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_6084-5_2_2_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_6084-5_2_2_node_96 | 0.4 | n |  | TRUE
34 | bus_LV_6084-5_2_2_node_98 | 0.4 | n |  | TRUE
35 | bus_LV_6084-5_2_2_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_6084-5_2_2_node_93 | 0.4 | n |  | TRUE
37 | bus_LV_6084-5_2_2_node_94 | 0.4 | n |  | TRUE
38 | bus_LV_6084-5_2_2_node_95 | 0.4 | n |  | TRUE
39 | bus_MV_0_node_38 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6084-5_2_2_load_27 | 0 | 0.0020746 | 0.00051995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6084-5_2_2_load_46 | 1 | 0.0042293 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6084-5_2_2_load_28 | 2 | 0.0018145 | 0.00045476 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6084-5_2_2_load_29 | 3 | 0.0011274 | 0.00028256 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6084-5_2_2_load_31 | 5 | 0.0020257 | 0.00050769 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6084-5_2_2_load_32 | 6 | 0.0015947 | 0.00039966 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6084-5_2_2_load_33 | 7 | 0.0012463 | 0.00031236 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6084-5_2_2_load_34 | 8 | 0.0014354 | 0.00035976 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6084-5_2_2_load_38 | 9 | 0.0018776 | 0.00047058 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6084-5_2_2_load_41 | 10 | 0.0015062 | 0.00037749 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6084-5_2_2_load_35 | 11 | 0.0011708 | 0.00029343 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6084-5_2_2_load_91 | 13 | 0.0033782 | 0.00084665 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6084-5_2_2_load_47 | 16 | 0.0024306 | 0.00060916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6084-5_2_2_load_70 | 19 | 0.0050864 | 0.0012748 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6084-5_2_2_load_42 | 20 | 0.0013675 | 0.00034273 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6084-5_2_2_load_43 | 21 | 0.0012832 | 0.00032159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6084-5_2_2_load_51 | 24 | 0.0024212 | 0.0006068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6084-5_2_2_load_49 | 25 | 0.0010567 | 0.00026483 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6084-5_2_2_load_52 | 26 | 0.0012434 | 0.00031163 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6084-5_2_2_load_92 | 27 | 0.0011753 | 0.00029456 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6084-5_2_2_load_50 | 28 | 0.0037923 | 0.00095044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6084-5_2_2_load_71 | 29 | 0.00082596 | 0.000207 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6084-5_2_2_load_72 | 30 | 0.00083486 | 0.00020924 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6084-5_2_2_load_89 | 31 | 0.00072015 | 0.00018049 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6084-5_2_2_load_90 | 32 | 0.00078914 | 0.00019778 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6084-5_2_2_load_98 | 34 | 0.0014097 | 0.00035331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6084-5_2_2_load_99 | 35 | 0.0023441 | 0.00058748 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6084-5_2_2_load_93 | 36 | 0.0017136 | 0.00042947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6084-5_2_2_load_94 | 37 | 0.0013564 | 0.00033995 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6084-5_2_2_load_95 | 38 | 0.0018332 | 0.00045943 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6084-5_2_2_line_0 |  | 0 | 1 | 0.17154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6084-5_2_2_line_1 |  | 1 | 22 | 0.020199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6084-5_2_2_line_2 |  | 2 | 3 | 0.023715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6084-5_2_2_line_3 |  | 2 | 4 | 0.01891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6084-5_2_2_line_4 |  | 3 | 5 | 0.00094276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6084-5_2_2_line_5 |  | 4 | 6 | 0.0011365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6084-5_2_2_line_6 |  | 4 | 7 | 0.027544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6084-5_2_2_line_7 |  | 5 | 8 | 0.012224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6084-5_2_2_line_8 |  | 6 | 9 | 0.0099044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6084-5_2_2_line_9 |  | 7 | 10 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6084-5_2_2_line_10 |  | 8 | 11 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6084-5_2_2_line_11 |  | 9 | 17 | 0.094578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6084-5_2_2_line_12 |  | 10 | 20 | 0.0093296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6084-5_2_2_line_13 |  | 11 | 12 | 0.11062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6084-5_2_2_line_14 |  | 12 | 13 | 0.062057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6084-5_2_2_line_15 |  | 13 | 33 | 0.11262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6084-5_2_2_line_16 |  | 14 | 15 | 0.008434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6084-5_2_2_line_17 |  | 14 | 16 | 0.030271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6084-5_2_2_line_18 |  | 15 | 26 | 0.020062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6084-5_2_2_line_19 |  | 15 | 27 | 0.14056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6084-5_2_2_line_20 |  | 17 | 18 | 0.11099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6084-5_2_2_line_21 |  | 18 | 19 | 0.18274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6084-5_2_2_line_22 |  | 19 | 29 | 0.0058906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6084-5_2_2_line_23 |  | 20 | 21 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6084-5_2_2_line_24 |  | 21 | 22 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6084-5_2_2_line_25 |  | 22 | 23 | 0.002317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6084-5_2_2_line_26 |  | 23 | 24 | 0.0067777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6084-5_2_2_line_27 |  | 23 | 25 | 0.0092776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6084-5_2_2_line_28 |  | 24 | 26 | 0.034826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6084-5_2_2_line_29 |  | 25 | 28 | 0.0045192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6084-5_2_2_line_30 |  | 27 | 34 | 0.12583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6084-5_2_2_line_31 |  | 27 | 35 | 0.19951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6084-5_2_2_line_32 |  | 29 | 30 | 0.0069051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6084-5_2_2_line_33 |  | 30 | 31 | 0.11657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6084-5_2_2_line_34 |  | 31 | 32 | 0.0067981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6084-5_2_2_line_35 |  | 33 | 37 | 0.012813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6084-5_2_2_line_36 |  | 36 | 37 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6084-5_2_2_line_37 |  | 36 | 38 | 0.029668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6084-5_2_2_trafo_38 | 0.63 MVA 20/0.4 kV | 39 | 9 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2596680.2164 | 1113423.0802 | 2596832.0776 | 1113343.2954
1 | 2596832.0776 | 1113343.2954 | 2596831.5493 | 1113337.3816 | 2596830.6831 | 1113335.1365 | 2596829.4849 | 1113333.1251 | 2596828.8584 | 1113331.3579 | 2596829.0508 | 1113330.1127 | 2596829.7221 | 1113328.9674 | 2596830.7797 | 1113328.1108 | 2596834.0302 | 1113326.3415
2 | 2596813.0246 | 1113284.5854 | 2596816.6867 | 1113288.1876 | 2596820.0396 | 1113290.1201 | 2596823.3533 | 1113290.952 | 2596826.5894 | 1113291.0726 | 2596830.1649 | 1113290.4037 | 2596833.7393 | 1113287.8116 | 2596833.7393 | 1113287.8116
3 | 2596800.9603 | 1113270.2094 | 2596803.4262 | 1113274.4213 | 2596806.8346 | 1113278.8661 | 2596812.1121 | 1113283.6878 | 2596813.0246 | 1113284.5854
4 | 2596834.3876 | 1113287.1271 | 2596833.7393 | 1113287.8116
5 | 2596800.9603 | 1113270.2094 | 2596800.382 | 1113269.231
6 | 2596800.9603 | 1113270.2094 | 2596798.6208 | 1113271.4113 | 2596796.9299 | 1113272.346 | 2596795.5561 | 1113274.092 | 2596795.0552 | 1113276.0933 | 2596795.999 | 1113278.9498 | 2596798.1247 | 1113282.3836 | 2596800.8763 | 1113286.3063 | 2596803.442 | 1113289.362 | 2596805.6515 | 1113291.1922
7 | 2596838.0562 | 1113276.4468 | 2596838.7003 | 1113278.3265 | 2596838.6245 | 1113280.9723 | 2596837.3209 | 1113284.0301 | 2596834.3876 | 1113287.1271
8 | 2596800.382 | 1113269.231 | 2596798.3397 | 1113265.7753 | 2596795.0851 | 1113260.8658
9 | 2596805.6515 | 1113291.1922 | 2596807.1972 | 1113292.4726 | 2596811.7026 | 1113297.5838 | 2596813.6429 | 1113299.6803
10 | 2596838.0562 | 1113276.4468 | 2596837.2074 | 1113273.9696 | 2596835.3368 | 1113271.0025 | 2596831.6115 | 1113266.0242 | 2596828.7446 | 1113262.6565
11 | 2596735.1601 | 1113189.261 | 2596738.1454 | 1113196.563 | 2596742.1038 | 1113204.0645 | 2596746.8582 | 1113212.4215 | 2596753.2964 | 1113220.9111 | 2596762.6693 | 1113229.1767 | 2596768.9517 | 1113235.343 | 2596771.3238 | 1113237.4205 | 2596778.0308 | 1113243.2975 | 2596786.0362 | 1113250.8191 | 2596791.0434 | 1113255.4297 | 2596794.2585 | 1113259.619 | 2596795.0851 | 1113260.8658
12 | 2596813.6429 | 1113299.6803 | 2596816.8956 | 1113303.1949 | 2596818.5264 | 1113305.4284 | 2596819.385 | 1113306.9822
13 | 2596788.5253 | 1113169.3999 | 2596783.5529 | 1113172.1483 | 2596781.5546 | 1113175.8957 | 2596782.0597 | 1113181.4871 | 2596788.8538 | 1113205.4952 | 2596792.0629 | 1113212.7749 | 2596799.4913 | 1113224.3877 | 2596806.5871 | 1113235.267 | 2596811.6114 | 1113243.0236 | 2596815.677 | 1113248.9466 | 2596819.1779 | 1113253.169 | 2596826.8819 | 1113260.4685 | 2596828.7446 | 1113262.6565
14 | 2596788.5253 | 1113169.3999 | 2596800.0791 | 1113108.4278
15 | 2596800.0791 | 1113108.4278 | 2596907.6667 | 1113141.7006
16 | 2596882.9609 | 1113334.8976 | 2596883.1251 | 1113338.7438 | 2596883.2588 | 1113343.3238
17 | 2596882.9609 | 1113334.8976 | 2596880.3494 | 1113332.7423 | 2596878.8883 | 1113330.0751 | 2596877.4269 | 1113326.9188 | 2596875.1146 | 1113320.9837 | 2596872.1916 | 1113314.1931 | 2596869.042 | 1113308.3898
18 | 2596883.2588 | 1113343.3238 | 2596880.7334 | 1113343.3362 | 2596879.6051 | 1113342.0251 | 2596874.2854 | 1113330.3777 | 2596871.4587 | 1113331.3893
19 | 2596883.2588 | 1113343.3238 | 2596976.568 | 1113448.444
20 | 2596669.7659 | 1113105.3449 | 2596675.5917 | 1113123.2727 | 2596683.272 | 1113142.7892 | 2596687.3144 | 1113148.3452 | 2596695.4665 | 1113155.333 | 2596703.015 | 1113160.4202 | 2596709.8446 | 1113164.2293 | 2596718.9146 | 1113169.2712 | 2596724.7017 | 1113173.3256 | 2596728.5349 | 1113177.7924 | 2596732.044 | 1113182.6372 | 2596734.5569 | 1113187.7828 | 2596735.1601 | 1113189.261
21 | 2596669.7659 | 1113105.3449 | 2596665.4256 | 1113091.9964 | 2596658.3708 | 1113072.4907 | 2596656.7032 | 1113060.0967 | 2596659.1813 | 1113044.2986 | 2596662.0756 | 1113027.0552 | 2596655.852 | 1113016.0088 | 2596651.2915 | 1113009.7194 | 2596649.3155 | 1112998.2593 | 2596645.1646 | 1112978.752 | 2596642.7721 | 1112968.2148 | 2596640.4352 | 1112960.4457 | 2596629.0561 | 1112942.9991 | 2596622.2173 | 1112937.1223 | 2596621.3964 | 1112936.2513
22 | 2596621.3964 | 1112936.2513 | 2596617.356 | 1112931.9647
23 | 2596819.385 | 1113306.9822 | 2596819.8406 | 1113307.8067 | 2596821.4637 | 1113310.2292 | 2596823.4033 | 1113312.1625 | 2596826.4091 | 1113314.9622 | 2596827.3303 | 1113315.8265
24 | 2596834.0302 | 1113326.3415 | 2596832.8554 | 1113324.6191 | 2596831.7269 | 1113322.8188 | 2596830.7215 | 1113320.3848 | 2596829.7242 | 1113318.5178 | 2596828.4104 | 1113316.8399 | 2596827.3303 | 1113315.8265
25 | 2596834.0302 | 1113326.3415 | 2596835.9463 | 1113327.6523
26 | 2596835.9463 | 1113327.6523 | 2596841.6225 | 1113323.9485
27 | 2596835.9463 | 1113327.6523 | 2596837.4219 | 1113328.6742 | 2596839.8634 | 1113330.4738 | 2596841.6716 | 1113332.3515 | 2596842.7315 | 1113333.859
28 | 2596871.4587 | 1113331.3893 | 2596867.8456 | 1113332.6822 | 2596866.4091 | 1113332.872 | 2596857.2781 | 1113328.6414 | 2596853.8327 | 1113326.8979 | 2596850.4562 | 1113324.1539 | 2596847.9524 | 1113321.2316 | 2596847.4733 | 1113320.7316 | 2596845.5969 | 1113321.3551 | 2596841.6225 | 1113323.9485
29 | 2596844.7407 | 1113337.8971 | 2596843.117 | 1113334.4073 | 2596842.7315 | 1113333.859
30 | 2597102.396 | 1113448.2446 | 2596976.568 | 1113448.444
31 | 2596838.3717 | 1113592.3396 | 2596976.568 | 1113448.444
32 | 2596612.6199 | 1112926.9399 | 2596617.356 | 1112931.9647
33 | 2596612.6199 | 1112926.9399 | 2596519.5944 | 1112997.185
34 | 2596519.5944 | 1112997.185 | 2596520.7059 | 1113003.8916
35 | 2596907.6667 | 1113141.7006 | 2596920.101 | 1113144.7936
36 | 2596929.968 | 1113149.2482 | 2596927.557 | 1113146.6482 | 2596920.101 | 1113144.7936
37 | 2596929.968 | 1113149.2482 | 2596937.5103 | 1113157.3817 | 2596940.9064 | 1113168.163 | 2596944.696 | 1113174.3693

## bus_geodata
| x | y | coords
0 | 2596680.2164 | 1113423.0802
1 | 2596832.0776 | 1113343.2954
2 | 2596813.0246 | 1113284.5853
3 | 2596833.7393 | 1113287.8116
4 | 2596800.9603 | 1113270.2094
5 | 2596834.3876 | 1113287.1271
6 | 2596800.382 | 1113269.231
7 | 2596805.6515 | 1113291.1922
8 | 2596838.0562 | 1113276.4468
9 | 2596795.0851 | 1113260.8658
10 | 2596813.6429 | 1113299.6803
11 | 2596828.7446 | 1113262.6565
12 | 2596788.5253 | 1113169.3999
13 | 2596800.0791 | 1113108.4278
14 | 2596882.9609 | 1113334.8976
15 | 2596883.2588 | 1113343.3238
16 | 2596869.042 | 1113308.3898
17 | 2596735.1601 | 1113189.261
18 | 2596669.7659 | 1113105.3449
19 | 2596621.3964 | 1112936.2513
20 | 2596819.385 | 1113306.9822
21 | 2596827.3303 | 1113315.8265
22 | 2596834.0302 | 1113326.3415
23 | 2596835.9463 | 1113327.6523
24 | 2596841.6225 | 1113323.9485
25 | 2596842.7315 | 1113333.859
26 | 2596871.4587 | 1113331.3893
27 | 2596976.568 | 1113448.444
28 | 2596844.7407 | 1113337.8971
29 | 2596617.356 | 1112931.9647
30 | 2596612.6199 | 1112926.9399
31 | 2596519.5944 | 1112997.185
32 | 2596520.7059 | 1113003.8916
33 | 2596907.6667 | 1113141.7006
34 | 2597102.396 | 1113448.2446
35 | 2596838.3718 | 1113592.3396
36 | 2596929.968 | 1113149.2482
37 | 2596920.101 | 1113144.7936
38 | 2596944.696 | 1113174.3693
39 | 2596795.0851 | 1113260.8658

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1