## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6084-6_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6084-6_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6084-6_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6084-6_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6084-6_0_8_node_214 | 0.4 | n |  | TRUE
5 | bus_LV_6084-6_0_8_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_6084-6_0_8_node_210 | 0.4 | n |  | TRUE
7 | bus_LV_6084-6_0_8_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6084-6_0_8_node_233 | 0.4 | n |  | TRUE
9 | bus_LV_6084-6_0_8_node_165 | 0.4 | n |  | TRUE
10 | bus_LV_6084-6_0_8_node_231 | 0.4 | n |  | TRUE
11 | bus_LV_6084-6_0_8_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_6084-6_0_8_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_6084-6_0_8_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_6084-6_0_8_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_6084-6_0_8_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6084-6_0_8_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_6084-6_0_8_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_6084-6_0_8_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_6084-6_0_8_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_6084-6_0_8_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6084-6_0_8_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_6084-6_0_8_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_6084-6_0_8_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_6084-6_0_8_node_67 | 0.4 | n |  | TRUE
25 | bus_LV_6084-6_0_8_node_37 | 0.4 | n |  | TRUE
26 | bus_LV_6084-6_0_8_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_6084-6_0_8_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6084-6_0_8_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_6084-6_0_8_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6084-6_0_8_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_6084-6_0_8_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_6084-6_0_8_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_6084-6_0_8_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_6084-6_0_8_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_6084-6_0_8_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_6084-6_0_8_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6084-6_0_8_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_6084-6_0_8_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_6084-6_0_8_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_6084-6_0_8_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_6084-6_0_8_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_6084-6_0_8_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_6084-6_0_8_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_6084-6_0_8_node_55 | 0.4 | n |  | TRUE
45 | bus_LV_6084-6_0_8_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_6084-6_0_8_node_57 | 0.4 | n |  | TRUE
47 | bus_LV_6084-6_0_8_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_6084-6_0_8_node_60 | 0.4 | n |  | TRUE
49 | bus_LV_6084-6_0_8_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_6084-6_0_8_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_6084-6_0_8_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_6084-6_0_8_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_6084-6_0_8_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_6084-6_0_8_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_6084-6_0_8_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_6084-6_0_8_node_86 | 0.4 | n |  | TRUE
57 | bus_LV_6084-6_0_8_node_85 | 0.4 | n |  | TRUE
58 | bus_LV_6084-6_0_8_node_88 | 0.4 | n |  | TRUE
59 | bus_LV_6084-6_0_8_node_87 | 0.4 | n |  | TRUE
60 | bus_LV_6084-6_0_8_node_72 | 0.4 | n |  | TRUE
61 | bus_LV_6084-6_0_8_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_6084-6_0_8_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_6084-6_0_8_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_6084-6_0_8_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_6084-6_0_8_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_6084-6_0_8_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_6084-6_0_8_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_6084-6_0_8_node_81 | 0.4 | n |  | TRUE
69 | bus_LV_6084-6_0_8_node_84 | 0.4 | n |  | TRUE
70 | bus_LV_6084-6_0_8_node_212 | 0.4 | n |  | TRUE
71 | bus_LV_6084-6_0_8_node_213 | 0.4 | n |  | TRUE
72 | bus_LV_6084-6_0_8_node_217 | 0.4 | n |  | TRUE
73 | bus_LV_6084-6_0_8_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_6084-6_0_8_node_91 | 0.4 | n |  | TRUE
75 | bus_LV_6084-6_0_8_node_92 | 0.4 | n |  | TRUE
76 | bus_LV_6084-6_0_8_node_93 | 0.4 | n |  | TRUE
77 | bus_LV_6084-6_0_8_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_6084-6_0_8_node_96 | 0.4 | n |  | TRUE
79 | bus_LV_6084-6_0_8_node_97 | 0.4 | n |  | TRUE
80 | bus_LV_6084-6_0_8_node_95 | 0.4 | n |  | TRUE
81 | bus_LV_6084-6_0_8_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_6084-6_0_8_node_176 | 0.4 | n |  | TRUE
83 | bus_LV_6084-6_0_8_node_177 | 0.4 | n |  | TRUE
84 | bus_LV_6084-6_0_8_node_172 | 0.4 | n |  | TRUE
85 | bus_LV_6084-6_0_8_node_178 | 0.4 | n |  | TRUE
86 | bus_LV_6084-6_0_8_node_164 | 0.4 | n |  | TRUE
87 | bus_LV_6084-6_0_8_node_166 | 0.4 | n |  | TRUE
88 | bus_LV_6084-6_0_8_node_167 | 0.4 | n |  | TRUE
89 | bus_LV_6084-6_0_8_node_168 | 0.4 | n |  | TRUE
90 | bus_LV_6084-6_0_8_node_227 | 0.4 | n |  | TRUE
91 | bus_LV_6084-6_0_8_node_228 | 0.4 | n |  | TRUE
92 | bus_LV_6084-6_0_8_node_229 | 0.4 | n |  | TRUE
93 | bus_LV_6084-6_0_8_node_230 | 0.4 | n |  | TRUE
94 | bus_LV_6084-6_0_8_node_232 | 0.4 | n |  | TRUE
95 | bus_LV_6084-6_0_8_node_234 | 0.4 | n |  | TRUE
96 | bus_LV_6084-6_0_8_node_169 | 0.4 | n |  | TRUE
97 | bus_LV_6084-6_0_8_node_170 | 0.4 | n |  | TRUE
98 | bus_LV_6084-6_0_8_node_171 | 0.4 | n |  | TRUE
99 | bus_LV_6084-6_0_8_node_173 | 0.4 | n |  | TRUE
100 | bus_LV_6084-6_0_8_node_174 | 0.4 | n |  | TRUE
101 | bus_LV_6084-6_0_8_node_175 | 0.4 | n |  | TRUE
102 | bus_LV_6084-6_0_8_node_206 | 0.4 | n |  | TRUE
103 | bus_LV_6084-6_0_8_node_208 | 0.4 | n |  | TRUE
104 | bus_LV_6084-6_0_8_node_204 | 0.4 | n |  | TRUE
105 | bus_LV_6084-6_0_8_node_179 | 0.4 | n |  | TRUE
106 | bus_LV_6084-6_0_8_node_182 | 0.4 | n |  | TRUE
107 | bus_LV_6084-6_0_8_node_184 | 0.4 | n |  | TRUE
108 | bus_LV_6084-6_0_8_node_192 | 0.4 | n |  | TRUE
109 | bus_LV_6084-6_0_8_node_180 | 0.4 | n |  | TRUE
110 | bus_LV_6084-6_0_8_node_181 | 0.4 | n |  | TRUE
111 | bus_LV_6084-6_0_8_node_190 | 0.4 | n |  | TRUE
112 | bus_LV_6084-6_0_8_node_186 | 0.4 | n |  | TRUE
113 | bus_LV_6084-6_0_8_node_187 | 0.4 | n |  | TRUE
114 | bus_LV_6084-6_0_8_node_225 | 0.4 | n |  | TRUE
115 | bus_LV_6084-6_0_8_node_218 | 0.4 | n |  | TRUE
116 | bus_LV_6084-6_0_8_node_226 | 0.4 | n |  | TRUE
117 | bus_LV_6084-6_0_8_node_200 | 0.4 | n |  | TRUE
118 | bus_LV_6084-6_0_8_node_193 | 0.4 | n |  | TRUE
119 | bus_LV_6084-6_0_8_node_191 | 0.4 | n |  | TRUE
120 | bus_LV_6084-6_0_8_node_194 | 0.4 | n |  | TRUE
121 | bus_LV_6084-6_0_8_node_201 | 0.4 | n |  | TRUE
122 | bus_LV_6084-6_0_8_node_195 | 0.4 | n |  | TRUE
123 | bus_LV_6084-6_0_8_node_203 | 0.4 | n |  | TRUE
124 | bus_LV_6084-6_0_8_node_215 | 0.4 | n |  | TRUE
125 | bus_LV_6084-6_0_8_node_219 | 0.4 | n |  | TRUE
126 | bus_LV_6084-6_0_8_node_197 | 0.4 | n |  | TRUE
127 | bus_LV_6084-6_0_8_node_199 | 0.4 | n |  | TRUE
128 | bus_LV_6084-6_0_8_node_222 | 0.4 | n |  | TRUE
129 | bus_LV_6084-6_0_8_node_196 | 0.4 | n |  | TRUE
130 | bus_LV_6084-6_0_8_node_224 | 0.4 | n |  | TRUE
131 | bus_LV_6084-6_0_8_node_223 | 0.4 | n |  | TRUE
132 | bus_LV_6084-6_0_8_node_198 | 0.4 | n |  | TRUE
133 | bus_LV_6084-6_0_8_node_221 | 0.4 | n |  | TRUE
134 | bus_LV_6084-6_0_8_node_220 | 0.4 | n |  | TRUE
135 | bus_LV_6084-6_0_8_node_205 | 0.4 | n |  | TRUE
136 | bus_LV_6084-6_0_8_node_207 | 0.4 | n |  | TRUE
137 | bus_LV_6084-6_0_8_node_209 | 0.4 | n |  | TRUE
138 | bus_LV_6084-6_0_8_node_211 | 0.4 | n |  | TRUE
139 | bus_MV_90_1_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6084-6_0_8_load_0 | 0 | 0.0027308 | 0.0006844 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6084-6_0_8_load_1 | 1 | 0.0010129 | 0.00025385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6084-6_0_8_load_3 | 3 | 0.0013026 | 0.00032647 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6084-6_0_8_load_214 | 4 | 0.0013367 | 0.00033502 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6084-6_0_8_load_73 | 5 | 0.0011789 | 0.00029546 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6084-6_0_8_load_4 | 7 | 0.00088506 | 0.00022182 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6084-6_0_8_load_233 | 8 | 0.0014288 | 0.00035808 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6084-6_0_8_load_231 | 10 | 0.0067186 | 0.0016838 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6084-6_0_8_load_44 | 11 | 0.0010191 | 0.00025541 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6084-6_0_8_load_45 | 12 | 0.0013939 | 0.00034935 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6084-6_0_8_load_25 | 13 | 0.00090815 | 0.0002276 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6084-6_0_8_load_26 | 14 | 0.0018591 | 0.00046593 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6084-6_0_8_load_27 | 15 | 0.00071287 | 0.00017866 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6084-6_0_8_load_30 | 17 | 0.0016927 | 0.00042422 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6084-6_0_8_load_31 | 18 | 0.0016283 | 0.00040808 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6084-6_0_8_load_41 | 20 | 0.0013165 | 0.00032995 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6084-6_0_8_load_42 | 21 | 0.0010832 | 0.00027147 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6084-6_0_8_load_66 | 23 | 0.0010773 | 0.00026999 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6084-6_0_8_load_37 | 25 | 0.0024748 | 0.00062025 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6084-6_0_8_load_35 | 27 | 0.00094751 | 0.00023747 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6084-6_0_8_load_38 | 29 | 0.0019795 | 0.00049611 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6084-6_0_8_load_59 | 31 | 0.0015342 | 0.0003845 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6084-6_0_8_load_68 | 32 | 0.0048943 | 0.0012266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6084-6_0_8_load_69 | 33 | 0.0026005 | 0.00065175 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6084-6_0_8_load_39 | 34 | 0.0011393 | 0.00028553 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6084-6_0_8_load_49 | 35 | 0.0028902 | 0.00072436 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6084-6_0_8_load_48 | 36 | 0.0012553 | 0.0003146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6084-6_0_8_load_50 | 37 | 0.00147 | 0.00036841 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6084-6_0_8_load_47 | 38 | 0.0017803 | 0.00044618 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6084-6_0_8_load_51 | 39 | 0.0016975 | 0.00042543 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6084-6_0_8_load_52 | 40 | 0.00072919 | 0.00018275 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6084-6_0_8_load_53 | 41 | 0.0026254 | 0.00065798 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6084-6_0_8_load_46 | 43 | 0.0018038 | 0.00045207 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6084-6_0_8_load_55 | 44 | 0.0010637 | 0.00026659 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6084-6_0_8_load_56 | 45 | 0.0024329 | 0.00060975 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6084-6_0_8_load_57 | 46 | 0.001004 | 0.00025164 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6084-6_0_8_load_58 | 47 | 0.0024202 | 0.00060657 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6084-6_0_8_load_60 | 48 | 0.00087654 | 0.00021968 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6084-6_0_8_load_61 | 49 | 0.0011881 | 0.00029776 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6084-6_0_8_load_62 | 50 | 0.0017991 | 0.00045091 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6084-6_0_8_load_64 | 52 | 0.0019122 | 0.00047925 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6084-6_0_8_load_65 | 53 | 0.0020492 | 0.00051358 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6084-6_0_8_load_70 | 54 | 0.0019097 | 0.00047862 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6084-6_0_8_load_71 | 55 | 0.0019955 | 0.00050011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6084-6_0_8_load_86 | 56 | 0.0012486 | 0.00031292 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6084-6_0_8_load_85 | 57 | 0.0036893 | 0.00092462 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6084-6_0_8_load_88 | 58 | 0.0021062 | 0.00052787 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6084-6_0_8_load_87 | 59 | 0.0035217 | 0.00088261 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6084-6_0_8_load_72 | 60 | 0.0057606 | 0.0014437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6084-6_0_8_load_74 | 61 | 0.0013786 | 0.00034551 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6084-6_0_8_load_75 | 62 | 0.0014431 | 0.00036169 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6084-6_0_8_load_76 | 63 | 0.001631 | 0.00040876 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6084-6_0_8_load_77 | 64 | 0.001668 | 0.00041803 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6084-6_0_8_load_78 | 65 | 0.0032215 | 0.00080738 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6084-6_0_8_load_79 | 66 | 0.0023089 | 0.00057867 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6084-6_0_8_load_80 | 67 | 0.0037119 | 0.0009303 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6084-6_0_8_load_81 | 68 | 0.0016882 | 0.00042309 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6084-6_0_8_load_84 | 69 | 0.0013907 | 0.00034853 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6084-6_0_8_load_212 | 70 | 0.0014819 | 0.00037141 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6084-6_0_8_load_213 | 71 | 0.00090649 | 0.00022719 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6084-6_0_8_load_90 | 73 | 0.0011083 | 0.00027776 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6084-6_0_8_load_92 | 75 | 0.0020676 | 0.0005182 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6084-6_0_8_load_96 | 78 | 0.0010005 | 0.00025076 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6084-6_0_8_load_97 | 79 | 0.0011625 | 0.00029134 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6084-6_0_8_load_98 | 81 | 0.0015972 | 0.00040029 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6084-6_0_8_load_176 | 82 | 0.0016177 | 0.00040544 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6084-6_0_8_load_177 | 83 | 0.00072875 | 0.00018264 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6084-6_0_8_load_178 | 85 | 0.0014776 | 0.00037033 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6084-6_0_8_load_164 | 86 | 0.0011428 | 0.00028642 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6084-6_0_8_load_166 | 87 | 0.0010462 | 0.0002622 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6084-6_0_8_load_167 | 88 | 0.0014182 | 0.00035545 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6084-6_0_8_load_168 | 89 | 0.00074683 | 0.00018717 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6084-6_0_8_load_227 | 90 | 0.0029661 | 0.00074337 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6084-6_0_8_load_229 | 92 | 0.004282 | 0.0010732 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6084-6_0_8_load_232 | 94 | 0.0019805 | 0.00049637 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6084-6_0_8_load_234 | 95 | 0.0033873 | 0.00084894 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6084-6_0_8_load_171 | 98 | 0.0010682 | 0.0002677 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6084-6_0_8_load_173 | 99 | 0.0010993 | 0.00027552 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6084-6_0_8_load_174 | 100 | 0.00084802 | 0.00021253 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6084-6_0_8_load_175 | 101 | 0.0010892 | 0.00027298 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6084-6_0_8_load_204 | 104 | 0.00099608 | 0.00024964 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6084-6_0_8_load_179 | 105 | 0.0010148 | 0.00025434 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6084-6_0_8_load_180 | 109 | 0.0020365 | 0.0005104 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6084-6_0_8_load_181 | 110 | 0.0027691 | 0.00069401 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6084-6_0_8_load_190 | 111 | 0.00090625 | 0.00022713 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6084-6_0_8_load_186 | 112 | 0.0013368 | 0.00033504 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6084-6_0_8_load_187 | 113 | 0.0015626 | 0.00039161 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6084-6_0_8_load_225 | 114 | 0.0022388 | 0.00056111 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6084-6_0_8_load_226 | 116 | 0.00178 | 0.00044611 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6084-6_0_8_load_200 | 117 | 0.0014969 | 0.00037516 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6084-6_0_8_load_191 | 119 | 0.0016705 | 0.00041867 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6084-6_0_8_load_201 | 121 | 0.0018422 | 0.00046171 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6084-6_0_8_load_195 | 122 | 0.001343 | 0.00033658 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6084-6_0_8_load_215 | 124 | 0.00097598 | 0.0002446 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6084-6_0_8_load_219 | 125 | 0.0017948 | 0.00044982 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6084-6_0_8_load_197 | 126 | 0.0014412 | 0.00036121 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6084-6_0_8_load_199 | 127 | 0.0013037 | 0.00032674 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6084-6_0_8_load_222 | 128 | 0.0014943 | 0.00037452 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6084-6_0_8_load_224 | 130 | 0.0014333 | 0.00035921 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6084-6_0_8_load_223 | 131 | 0.0012059 | 0.00030222 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6084-6_0_8_load_198 | 132 | 0.0010038 | 0.00025158 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6084-6_0_8_load_221 | 133 | 0.0012563 | 0.00031486 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6084-6_0_8_load_220 | 134 | 0.001164 | 0.00029171 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6084-6_0_8_load_205 | 135 | 0.0018007 | 0.00045129 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6084-6_0_8_load_207 | 136 | 0.0014923 | 0.00037401 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6084-6_0_8_load_209 | 137 | 0.0012606 | 0.00031594 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6084-6_0_8_load_211 | 138 | 0.00098782 | 0.00024757 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6084-6_0_8_line_0 |  | 0 | 1 | 0.079354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6084-6_0_8_line_1 |  | 0 | 2 | 0.26032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6084-6_0_8_line_2 |  | 2 | 3 | 0.46912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6084-6_0_8_line_3 |  | 3 | 7 | 0.010898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6084-6_0_8_line_4 |  | 4 | 5 | 0.42511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6084-6_0_8_line_5 |  | 4 | 6 | 0.3152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6084-6_0_8_line_6 |  | 5 | 61 | 0.0097791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6084-6_0_8_line_7 |  | 5 | 60 | 0.022408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6084-6_0_8_line_8 |  | 6 | 103 | 0.052738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6084-6_0_8_line_9 |  | 7 | 11 | 0.0073416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6084-6_0_8_line_10 |  | 8 | 9 | 0.37098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6084-6_0_8_line_11 |  | 8 | 10 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6084-6_0_8_line_12 |  | 9 | 88 | 0.21436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6084-6_0_8_line_13 |  | 9 | 86 | 0.15207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6084-6_0_8_line_14 |  | 10 | 91 | 0.040955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6084-6_0_8_line_15 |  | 11 | 12 | 0.0039249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6084-6_0_8_line_16 |  | 12 | 43 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6084-6_0_8_line_17 |  | 13 | 14 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6084-6_0_8_line_18 |  | 13 | 15 | 0.010303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6084-6_0_8_line_19 |  | 14 | 16 | 0.034179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6084-6_0_8_line_20 |  | 16 | 17 | 0.0032076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6084-6_0_8_line_21 |  | 16 | 18 | 0.11954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6084-6_0_8_line_22 |  | 17 | 19 | 0.041739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6084-6_0_8_line_23 |  | 19 | 20 | 0.023147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6084-6_0_8_line_24 |  | 19 | 21 | 0.0066421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6084-6_0_8_line_25 |  | 20 | 29 | 0.0093872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6084-6_0_8_line_26 |  | 21 | 30 | 0.024742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6084-6_0_8_line_27 |  | 22 | 23 | 0.17288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6084-6_0_8_line_28 |  | 22 | 24 | 0.059934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6084-6_0_8_line_29 |  | 23 | 31 | 0.001306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6084-6_0_8_line_30 |  | 24 | 32 | 0.032425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6084-6_0_8_line_31 |  | 24 | 33 | 0.086281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6084-6_0_8_line_32 |  | 25 | 26 | 0.0042932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6084-6_0_8_line_33 |  | 26 | 35 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6084-6_0_8_line_34 |  | 26 | 36 | 0.0020176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6084-6_0_8_line_35 |  | 27 | 28 | 0.01536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6084-6_0_8_line_36 |  | 28 | 29 | 0.0096154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6084-6_0_8_line_37 |  | 28 | 34 | 0.032245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6084-6_0_8_line_38 |  | 30 | 39 | 0.022774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6084-6_0_8_line_39 |  | 30 | 40 | 0.0041386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6084-6_0_8_line_40 |  | 31 | 46 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6084-6_0_8_line_41 |  | 32 | 56 | 0.031331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6084-6_0_8_line_42 |  | 33 | 57 | 0.037949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6084-6_0_8_line_43 |  | 33 | 58 | 0.11412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6084-6_0_8_line_44 |  | 35 | 37 | 0.0013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6084-6_0_8_line_45 |  | 36 | 38 | 0.0018575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6084-6_0_8_line_46 |  | 37 | 44 | 0.0017893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6084-6_0_8_line_47 |  | 38 | 43 | 0.020086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6084-6_0_8_line_48 |  | 39 | 41 | 0.0091349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6084-6_0_8_line_49 |  | 40 | 42 | 1.7637e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6084-6_0_8_line_50 |  | 41 | 44 | 0.00060247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6084-6_0_8_line_51 |  | 42 | 45 | 0.010457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6084-6_0_8_line_52 |  | 42 | 46 | 0.075946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6084-6_0_8_line_53 |  | 45 | 47 | 0.0021483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6084-6_0_8_line_54 |  | 47 | 48 | 0.050922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6084-6_0_8_line_55 |  | 48 | 49 | 0.0080691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6084-6_0_8_line_56 |  | 49 | 50 | 0.0037274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6084-6_0_8_line_57 |  | 50 | 51 | 0.171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6084-6_0_8_line_58 |  | 51 | 52 | 0.050292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6084-6_0_8_line_59 |  | 52 | 53 | 0.012185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6084-6_0_8_line_60 |  | 53 | 54 | 0.0050918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6084-6_0_8_line_61 |  | 54 | 55 | 0.006398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6084-6_0_8_line_62 |  | 55 | 60 | 0.0014808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6084-6_0_8_line_63 |  | 56 | 59 | 0.010894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6084-6_0_8_line_64 |  | 61 | 62 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6084-6_0_8_line_65 |  | 62 | 63 | 0.022126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6084-6_0_8_line_66 |  | 63 | 64 | 0.0029135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6084-6_0_8_line_67 |  | 64 | 65 | 0.008801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6084-6_0_8_line_68 |  | 65 | 66 | 0.0051691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6084-6_0_8_line_69 |  | 66 | 67 | 0.00017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6084-6_0_8_line_70 |  | 67 | 68 | 0.0078568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6084-6_0_8_line_71 |  | 69 | 70 | 0.32224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6084-6_0_8_line_72 |  | 70 | 71 | 0.048121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6084-6_0_8_line_73 |  | 70 | 72 | 0.14779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6084-6_0_8_line_74 |  | 72 | 124 | 0.14226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6084-6_0_8_line_75 |  | 72 | 137 | 0.14884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6084-6_0_8_line_76 |  | 73 | 74 | 0.38822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6084-6_0_8_line_77 |  | 73 | 75 | 0.003118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6084-6_0_8_line_78 |  | 74 | 76 | 0.14835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6084-6_0_8_line_79 |  | 74 | 77 | 0.098192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6084-6_0_8_line_80 |  | 76 | 78 | 0.11055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6084-6_0_8_line_81 |  | 76 | 79 | 0.066608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6084-6_0_8_line_82 |  | 77 | 80 | 0.18075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6084-6_0_8_line_83 |  | 77 | 81 | 0.061282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6084-6_0_8_line_84 |  | 79 | 83 | 0.19326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6084-6_0_8_line_85 |  | 80 | 82 | 0.005961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6084-6_0_8_line_86 |  | 82 | 84 | 0.17155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_6084-6_0_8_line_87 |  | 83 | 85 | 0.091422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6084-6_0_8_line_88 |  | 84 | 97 | 0.10486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6084-6_0_8_line_89 |  | 85 | 105 | 0.0033872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6084-6_0_8_line_90 |  | 86 | 87 | 0.047523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6084-6_0_8_line_91 |  | 88 | 89 | 0.0026873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6084-6_0_8_line_92 |  | 89 | 96 | 0.089881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6084-6_0_8_line_93 |  | 90 | 91 | 0.061943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6084-6_0_8_line_94 |  | 90 | 92 | 0.061363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6084-6_0_8_line_95 |  | 91 | 93 | 0.11571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6084-6_0_8_line_96 |  | 93 | 94 | 0.02754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6084-6_0_8_line_97 |  | 94 | 95 | 0.10408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6084-6_0_8_line_98 |  | 96 | 97 | 0.10168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_6084-6_0_8_line_99 |  | 96 | 98 | 0.011989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_6084-6_0_8_line_100 |  | 97 | 99 | 0.13841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6084-6_0_8_line_101 |  | 98 | 100 | 0.0072931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_6084-6_0_8_line_102 |  | 99 | 101 | 0.014417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6084-6_0_8_line_103 |  | 100 | 102 | 0.0087814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
104 | LV_6084-6_0_8_line_104 |  | 102 | 103 | 0.15968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
105 | LV_6084-6_0_8_line_105 |  | 102 | 104 | 0.1627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6084-6_0_8_line_106 |  | 103 | 138 | 0.026025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6084-6_0_8_line_107 |  | 105 | 106 | 0.096402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_6084-6_0_8_line_108 |  | 106 | 107 | 0.009836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_6084-6_0_8_line_109 |  | 106 | 108 | 0.22472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_6084-6_0_8_line_110 |  | 107 | 112 | 0.06468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6084-6_0_8_line_111 |  | 107 | 113 | 0.071104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
112 | LV_6084-6_0_8_line_112 |  | 108 | 120 | 0.010043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
113 | LV_6084-6_0_8_line_113 |  | 108 | 119 | 0.05223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6084-6_0_8_line_114 |  | 109 | 110 | 0.10657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6084-6_0_8_line_115 |  | 109 | 111 | 0.15425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6084-6_0_8_line_116 |  | 111 | 119 | 0.13247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6084-6_0_8_line_117 |  | 113 | 114 | 0.10467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
118 | LV_6084-6_0_8_line_118 |  | 114 | 118 | 0.088873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_6084-6_0_8_line_119 |  | 115 | 116 | 0.059603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6084-6_0_8_line_120 |  | 115 | 117 | 0.16474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6084-6_0_8_line_121 |  | 117 | 124 | 0.19702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
122 | LV_6084-6_0_8_line_122 |  | 117 | 118 | 0.1557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
123 | LV_6084-6_0_8_line_123 |  | 118 | 121 | 0.11627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6084-6_0_8_line_124 |  | 120 | 122 | 0.126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6084-6_0_8_line_125 |  | 120 | 123 | 0.21061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
126 | LV_6084-6_0_8_line_126 |  | 121 | 125 | 0.12763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6084-6_0_8_line_127 |  | 122 | 129 | 0.09093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6084-6_0_8_line_128 |  | 123 | 130 | 0.071859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6084-6_0_8_line_129 |  | 125 | 134 | 0.063971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6084-6_0_8_line_130 |  | 126 | 127 | 0.080162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6084-6_0_8_line_131 |  | 126 | 128 | 0.17122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6084-6_0_8_line_132 |  | 127 | 133 | 0.10521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6084-6_0_8_line_133 |  | 128 | 131 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6084-6_0_8_line_134 |  | 129 | 132 | 0.11455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6084-6_0_8_line_135 |  | 130 | 131 | 0.18756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6084-6_0_8_line_136 |  | 135 | 136 | 0.0012327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6084-6_0_8_line_137 |  | 136 | 137 | 0.0066528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6084-6_0_8_trafo_214 | 0.63 MVA 20/0.4 kV | 139 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2596835.7945 | 1112902.8424 | 2596844.8186 | 1112875.4804 | 2596843.2906 | 1112848.9126 | 2596846.3007 | 1112830.3463 | 2596845.0143 | 1112825.3889
1 | 2596907.6667 | 1113141.7006 | 2596903.8033 | 1113123.6715 | 2596901.2785 | 1113095.5923 | 2596895.7339 | 1113082.5555 | 2596877.6095 | 1113057.9974 | 2596873.0626 | 1113018.3803 | 2596856.4545 | 1112999.3352 | 2596841.8455 | 1112963.2363 | 2596828.7501 | 1112941.6883 | 2596831.2546 | 1112916.6079 | 2596835.7945 | 1112902.8424
2 | 2596907.6667 | 1113141.7006 | 2596898.554 | 1113143.3617 | 2596892.7515 | 1113139.2294 | 2596891.0849 | 1113127.669 | 2596887.7594 | 1113104.5483 | 2596878.011 | 1113087.1782 | 2596859.9896 | 1113067.7782 | 2596856.7271 | 1113061.7992 | 2596854.8921 | 1113053.207 | 2596851.9655 | 1113039.8687 | 2596847.9703 | 1113035.8577 | 2596832.7426 | 1113027.1393 | 2596825.8485 | 1113018.2609 | 2596819.7466 | 1113003.4791 | 2596807.4102 | 1112985.6769 | 2596794.9506 | 1112968.6531 | 2596792.9241 | 1112963.207 | 2596792.9024 | 1112951.7903 | 2596790.7873 | 1112939.5632 | 2596784.6688 | 1112922.8138 | 2596776.131 | 1112902.8975 | 2596771.9969 | 1112885.1021 | 2596769.8691 | 1112864.1374 | 2596766.2363 | 1112845.1634 | 2596748.6236 | 1112798.35 | 2596743.2578 | 1112774.3411 | 2596741.4739 | 1112760.8799 | 2596742.7271 | 1112750.3518 | 2596745.5037 | 1112743.0244 | 2596751.4602 | 1112731.4821 | 2596752.1761 | 1112730.247
3 | 2596752.1761 | 1112730.247 | 2596754.2768 | 1112726.6226 | 2596756.8031 | 1112720.4076
4 | 2597105.6184 | 1112334.7487 | 2596683.4901 | 1112384.974
5 | 2597285.4852 | 1112365.2548 | 2597281.3205 | 1112362.5776 | 2597277.3588 | 1112364.5582 | 2597274.3787 | 1112367.8834 | 2597266.7186 | 1112373.1896 | 2597256.2603 | 1112374.2727 | 2597246.7891 | 1112371.7648 | 2597233.6148 | 1112362.8666 | 2597200.3184 | 1112337.4475 | 2597190.5566 | 1112325.046 | 2597177.1053 | 1112318.7049 | 2597164.8361 | 1112312.83 | 2597155.6417 | 1112308.021 | 2597139.5922 | 1112295.9117 | 2597124.1393 | 1112287.8152 | 2597114.4662 | 1112283.5845 | 2597102.1966 | 1112277.2429 | 2597092.1966 | 1112268.1544 | 2597086.1935 | 1112265.6673 | 2597082.8574 | 1112267.492 | 2597081.5222 | 1112269.8272 | 2597083.0308 | 1112274.651 | 2597091.7068 | 1112293.1003 | 2597094.3823 | 1112298.913 | 2597095.0526 | 1112311.0519 | 2597096.3942 | 1112321.6899 | 2597099.5643 | 1112328.1693 | 2597104.5724 | 1112333.4917 | 2597105.6184 | 1112334.7487
6 | 2596683.4901 | 1112384.974 | 2596682.1052 | 1112375.2935
7 | 2596683.6694 | 1112407.2313 | 2596684.8461 | 1112394.4529 | 2596683.4901 | 1112384.974
8 | 2597330.8436 | 1112384.3101 | 2597318.1606 | 1112385.1274 | 2597310.5596 | 1112384.664 | 2597303.0658 | 1112382.1439 | 2597297.1847 | 1112375.7101 | 2597294.0388 | 1112371.2871 | 2597290.2525 | 1112368.3208 | 2597285.4852 | 1112365.2548
9 | 2596756.8031 | 1112720.4076 | 2596758.4575 | 1112716.3375 | 2596758.5842 | 1112713.392
10 | 2597651.3157 | 1112742.3834 | 2597506.6682 | 1113084.0001
11 | 2597506.6682 | 1113084.0001 | 2597511.8534 | 1113090.5789 | 2597524.9107 | 1113101.7233
12 | 2597651.3157 | 1112742.3834 | 2597638.2026 | 1112728.4818 | 2597625.1203 | 1112695.1151 | 2597614.9843 | 1112670.7072 | 2597600.7718 | 1112650.881 | 2597564.5758 | 1112629.2741 | 2597540.0334 | 1112603.2159 | 2597519.4306 | 1112580.5437
13 | 2597651.3157 | 1112742.3834 | 2597637.2665 | 1112743.9009 | 2597624.7334 | 1112731.7333 | 2597608.8482 | 1112719.8672 | 2597585.935 | 1112709.8272 | 2597559.6714 | 1112704.6688 | 2597539.2018 | 1112701.9315 | 2597511.4131 | 1112706.8123
14 | 2597558.3475 | 1113125.1653 | 2597542.934 | 1113112.4544 | 2597524.9107 | 1113101.7233
15 | 2596758.5842 | 1112713.392 | 2596758.7474 | 1112709.6007 | 2596758.7487 | 1112709.4707
16 | 2596758.7487 | 1112709.4707 | 2596758.8207 | 1112702.5638 | 2596757.4741 | 1112697.6955 | 2596756.3284 | 1112694.1965
17 | 2596707.2568 | 1112759.6357 | 2596709.0717 | 1112745.8681 | 2596709.03 | 1112738.6301
18 | 2596705.9103 | 1112769.8504 | 2596707.2568 | 1112759.6357
19 | 2596705.8202 | 1112704.6385 | 2596706.708 | 1112717.8668 | 2596708.4213 | 1112729.0713 | 2596709.0118 | 1112735.4853 | 2596709.03 | 1112738.6301
20 | 2596705.8202 | 1112704.6385 | 2596708.9015 | 1112703.7475
21 | 2596705.8202 | 1112704.6385 | 2596705.4922 | 1112698.1577 | 2596706.4773 | 1112691.8763 | 2596709.3409 | 1112674.3661 | 2596710.6349 | 1112667.8066 | 2596710.4533 | 1112660.6031 | 2596709.2925 | 1112656.6463 | 2596705.5973 | 1112651.09 | 2596702.0193 | 1112647.8126 | 2596697.7772 | 1112645.0359 | 2596677.6847 | 1112640.9339 | 2596660.1951 | 1112636.6528 | 2596645.4122 | 1112631.0111
22 | 2596730.8584 | 1112671.5083 | 2596725.8618 | 1112673.0563 | 2596718.9588 | 1112677.0399 | 2596708.9015 | 1112703.7475
23 | 2596730.8584 | 1112671.5083 | 2596731.8188 | 1112676.3213 | 2596733.6957 | 1112690.2605 | 2596733.698 | 1112694.4347
24 | 2596730.8584 | 1112671.5083 | 2596729.5529 | 1112664.9957
25 | 2596732.1763 | 1112703.5884 | 2596733.7003 | 1112698.7313 | 2596733.698 | 1112694.4347
26 | 2596722.8319 | 1112641.2757 | 2596726.9392 | 1112651.9564 | 2596729.5529 | 1112664.9957
27 | 2596589.0047 | 1112478.9711 | 2596584.8463 | 1112487.5222 | 2596570.0958 | 1112505.6841 | 2596553.6249 | 1112527.2932 | 2596551.5803 | 1112531.2074 | 2596551.7454 | 1112536.2097 | 2596555.5175 | 1112540.8988 | 2596566.5141 | 1112549.819 | 2596581.5894 | 1112559.2038 | 2596591.5421 | 1112566.2682 | 2596604.738 | 1112571.6411 | 2596626.4485 | 1112581.6781 | 2596635.2733 | 1112588.6098 | 2596638.0516 | 1112591.2871
28 | 2596600.1094 | 1112420.2024 | 2596596.5399 | 1112432.1993 | 2596593.8124 | 1112444.1957 | 2596589.0047 | 1112478.9711
29 | 2596638.0516 | 1112591.2871 | 2596638.992 | 1112592.1933
30 | 2596600.1094 | 1112420.2024 | 2596611.9246 | 1112415.0709 | 2596622.8868 | 1112398.8909
31 | 2596600.1094 | 1112420.2024 | 2596615.2492 | 1112393.4695 | 2596617.5401 | 1112387.7987 | 2596619.5336 | 1112375.2359 | 2596619.2935 | 1112347.0554 | 2596619.1289 | 1112338.516
32 | 2596749.1413 | 1112672.0096 | 2596749.1021 | 1112676.3026
33 | 2596749.1413 | 1112672.0096 | 2596748.8436 | 1112664.3727 | 2596751.645 | 1112660.0135 | 2596751.5899 | 1112658.0792 | 2596751.5899 | 1112658.0792
34 | 2596749.1413 | 1112672.0096 | 2596750.8875 | 1112673.0203
35 | 2596729.2977 | 1112712.7629 | 2596726.1309 | 1112727.7926
36 | 2596729.2977 | 1112712.7629 | 2596732.1763 | 1112703.5884
37 | 2596739.3441 | 1112722.3176 | 2596740.8194 | 1112722.4391 | 2596738.6214 | 1112728.3432 | 2596728.6876 | 1112726.8813 | 2596729.5575 | 1112721.7005 | 2596730.4349 | 1112715.886 | 2596729.2977 | 1112712.7629
38 | 2596722.8319 | 1112641.2757 | 2596729.1067 | 1112646.5081 | 2596734.1848 | 1112652.6861 | 2596738.5502 | 1112655.2739 | 2596739.9641 | 1112655.8623
39 | 2596722.8319 | 1112641.2757 | 2596721.3453 | 1112637.4133
40 | 2596654.5903 | 1112605.8736 | 2596650.1348 | 1112602.9307 | 2596638.992 | 1112592.1933
41 | 2596637.0988 | 1112371.2659 | 2596637.1363 | 1112373.2916 | 2596631.8193 | 1112382.299 | 2596623.0306 | 1112398.6787 | 2596622.8868 | 1112398.8909
42 | 2596614.8093 | 1112300.9356 | 2596618.6763 | 1112321.3653 | 2596619.0229 | 1112333.0153 | 2596619.1289 | 1112338.516
43 | 2596619.1289 | 1112338.516 | 2596506.1279 | 1112354.4491
44 | 2596751.5899 | 1112658.0792 | 2596750.7551 | 1112656.968
45 | 2596750.8875 | 1112673.0203 | 2596751.4569 | 1112674.7883
46 | 2596750.7551 | 1112656.968 | 2596750.7551 | 1112656.968 | 2596749.3101 | 1112655.9127 | 2596749.3101 | 1112655.9127
47 | 2596756.3284 | 1112694.1965 | 2596754.2169 | 1112687.748 | 2596753.1854 | 1112680.1559 | 2596751.4569 | 1112674.7883
48 | 2596739.9641 | 1112655.8623 | 2596741.0995 | 1112655.9395 | 2596744.1966 | 1112655.4375 | 2596745.966 | 1112656.5037 | 2596748.7169 | 1112656.0176
49 | 2596721.339 | 1112637.3968 | 2596721.3453 | 1112637.4133
50 | 2596748.7169 | 1112656.0176 | 2596749.3101 | 1112655.9127
51 | 2596721.339 | 1112637.3968 | 2596716.1511 | 1112628.3174 | 2596716.1511 | 1112628.3174
52 | 2596721.339 | 1112637.3968 | 2596715.2194 | 1112633.5538 | 2596707.8327 | 1112628.9223 | 2596703.5993 | 1112627.8353 | 2596696.8949 | 1112627.9835 | 2596688.6993 | 1112627.2988 | 2596684.7288 | 1112626.6229 | 2596676.9406 | 1112622.403 | 2596661.4857 | 1112610.428 | 2596654.5903 | 1112605.8736
53 | 2596714.1551 | 1112627.5232 | 2596716.1511 | 1112628.3174
54 | 2596714.1551 | 1112627.5232 | 2596704.238 | 1112623.5772 | 2596687.4598 | 1112620.7963 | 2596678.8515 | 1112614.1868 | 2596675.7892 | 1112602.1822
55 | 2596671.4967 | 1112595.3873 | 2596675.639 | 1112601.5935 | 2596675.7892 | 1112602.1822
56 | 2596669.4275 | 1112592.2871 | 2596671.4967 | 1112595.3873
57 | 2596646.0442 | 1112471.824 | 2596641.5938 | 1112483.3877 | 2596634.4847 | 1112505.6583 | 2596612.3574 | 1112523.602 | 2596607.2019 | 1112531.0308 | 2596603.5063 | 1112538.5477 | 2596608.0699 | 1112549.4949 | 2596620.4039 | 1112560.5267 | 2596637.1835 | 1112565.4751 | 2596652.728 | 1112571.8695 | 2596659.7371 | 1112577.7685 | 2596669.4275 | 1112592.2871
58 | 2596646.0442 | 1112471.824 | 2596652.7651 | 1112459.7364 | 2596670.9874 | 1112433.6022 | 2596673.3585 | 1112429.6586
59 | 2596679.6369 | 1112419.2159 | 2596673.3585 | 1112429.6586
60 | 2596682.2606 | 1112414.8521 | 2596679.6369 | 1112419.2159
61 | 2596682.2606 | 1112414.8521 | 2596683.0956 | 1112413.4633 | 2596683.5337 | 1112408.7059
62 | 2596683.5337 | 1112408.7059 | 2596683.6694 | 1112407.2313
63 | 2596636.8972 | 1112360.3742 | 2596637.0988 | 1112371.2659
64 | 2596682.1052 | 1112375.2935 | 2596680.6592 | 1112365.1858
65 | 2596680.6592 | 1112365.1858 | 2596678.1848 | 1112347.8892 | 2596676.4011 | 1112343.5916
66 | 2596675.2843 | 1112340.9007 | 2596676.4011 | 1112343.5916
67 | 2596671.9106 | 1112332.772 | 2596675.2843 | 1112340.9007
68 | 2596671.9106 | 1112332.772 | 2596669.9291 | 1112327.9977
69 | 2596669.8616 | 1112327.835 | 2596669.9291 | 1112327.9977
70 | 2596666.8498 | 1112320.5783 | 2596669.8616 | 1112327.835
71 | 2596947.0737 | 1111933.5848 | 2596701.7082 | 1112142.4786
72 | 2596933.3336 | 1111887.5179 | 2596936.319 | 1111900.6852 | 2596941.1089 | 1111916.4127 | 2596947.0737 | 1111933.5848
73 | 2597088.947 | 1111974.9781 | 2596947.0737 | 1111933.5848
74 | 2597088.947 | 1111974.9781 | 2597109.1451 | 1111834.1548
75 | 2597088.947 | 1111974.9781 | 2597098.7791 | 1111987.4572 | 2597114.9706 | 1112003.5795 | 2597140.9202 | 1112023.3767 | 2597168.1809 | 1112039.1491 | 2597180.804 | 1112056.9296 | 2597189.5962 | 1112079.4402
76 | 2597835.066 | 1112655.6256 | 2597844.2964 | 1112656.078 | 2597866.5913 | 1112665.4967 | 2597885.9679 | 1112678.9519 | 2597907.5854 | 1112695.1076 | 2597922.2243 | 1112700.9386 | 2597944.5246 | 1112704.2991 | 2597966.5936 | 1112709.2271 | 2597979.4243 | 1112712.8133 | 2597995.1191 | 1112712.2299 | 2598005.4996 | 1112710.9368 | 2598017.3721 | 1112713.1449 | 2598031.6485 | 1112720.8995 | 2598044.2645 | 1112729.3994 | 2598056.6844 | 1112728.8395 | 2598048.3372 | 1112712.7677 | 2598030.8989 | 1112696.8768 | 2598016.4318 | 1112673.5924 | 2598007.8922 | 1112660.0998 | 2597990.6487 | 1112649.9452 | 2597976.3652 | 1112644.7697 | 2597957.6427 | 1112646.0769 | 2597948.8852 | 1112645.67
77 | 2597945.7706 | 1112645.5252 | 2597948.8852 | 1112645.67
78 | 2597835.066 | 1112655.6256 | 2597826.5985 | 1112650.2483 | 2597807.2446 | 1112636.2931 | 2597787.6918 | 1112627.585 | 2597779.4849 | 1112616.9607 | 2597771.2755 | 1112600.0666 | 2597759.2445 | 1112587.9541 | 2597755.548 | 1112576.6388 | 2597754.0441 | 1112562.4768 | 2597748.843 | 1112555.1196 | 2597741.619 | 1112550.0866
79 | 2597910.6367 | 1112717.7955 | 2597898.406 | 1112707.517 | 2597890.6409 | 1112700.4385 | 2597862.4786 | 1112677.015 | 2597848.3561 | 1112668.6382 | 2597840.9387 | 1112662.4046 | 2597835.066 | 1112655.6256
80 | 2597741.619 | 1112550.0866 | 2597745.3323 | 1112545.0049 | 2597752.9325 | 1112543.9014 | 2597767.9599 | 1112554.2452 | 2597774.8252 | 1112570.8731 | 2597782.6206 | 1112575.4946 | 2597798.1946 | 1112581.2138 | 2597803.9414 | 1112581.4006 | 2597802.2709 | 1112575.8541 | 2597785.0247 | 1112560.1528
81 | 2597741.619 | 1112550.0866 | 2597734.7658 | 1112545.3091 | 2597727.1098 | 1112541.6325 | 2597721.2276 | 1112531.0073 | 2597717.2621 | 1112523.2495 | 2597703.9947 | 1112510.7151 | 2597695.4265 | 1112504.3866
82 | 2597910.6367 | 1112717.7955 | 2597898.406 | 1112707.517 | 2597887.3288 | 1112704.3194 | 2597862.328 | 1112687.7092 | 2597830.7927 | 1112671.346 | 2597780.7932 | 1112645.3186 | 2597761.6487 | 1112633.8869 | 2597755.1195 | 1112627.6419
83 | 2597910.6367 | 1112717.7955 | 2597928.5591 | 1112747.9151 | 2597935.501 | 1112764.2762 | 2597941.0758 | 1112770.6406
84 | 2597695.4265 | 1112504.3866 | 2597693.2241 | 1112502.7599 | 2597688.2859 | 1112496.4698 | 2597681.3731 | 1112477.9078 | 2597648.1496 | 1112416.2462 | 2597633.3872 | 1112393.8411 | 2597620.6438 | 1112379.139 | 2597605.0531 | 1112371.9084 | 2597591.7255 | 1112364.3212 | 2597584.398 | 1112352.5551
85 | 2597755.1195 | 1112627.6419 | 2597750.8166 | 1112623.5165
86 | 2597631.6613 | 1112500.6055 | 2597639.0945 | 1112506.8834 | 2597652.8408 | 1112519.2284 | 2597664.5572 | 1112535.6096 | 2597672.6632 | 1112544.1328 | 2597704.205 | 1112574.4242 | 2597725.8255 | 1112596.1821 | 2597750.1589 | 1112622.8859 | 2597750.8166 | 1112623.5165
87 | 2597584.398 | 1112352.5551 | 2597582.195 | 1112349.0176 | 2597574.5781 | 1112328.6218 | 2597565.5202 | 1112298.1438 | 2597558.6042 | 1112273.479 | 2597556.1696 | 1112265.784
88 | 2597631.6613 | 1112500.6055 | 2597622.4694 | 1112500.2312 | 2597624.1013 | 1112505.4665 | 2597614.5925 | 1112504.6922 | 2597612.7485 | 1112509.8177 | 2597604.4257 | 1112519.4703 | 2597590.2388 | 1112525.3123 | 2597565.4694 | 1112530.2582 | 2597554.666 | 1112536.777 | 2597552.5513 | 1112540.7021 | 2597554.685 | 1112545.2034
89 | 2597556.1696 | 1112265.784 | 2597555.1478 | 1112262.5546
90 | 2597467.1167 | 1112689.7894 | 2597497.0525 | 1112702.5607 | 2597511.4131 | 1112706.8123
91 | 2597517.6234 | 1112578.555 | 2597519.4306 | 1112580.5437
92 | 2597461.3462 | 1112508.9695 | 2597466.5951 | 1112518.572 | 2597488.7887 | 1112541.3959 | 2597507.3762 | 1112567.2786 | 2597517.6234 | 1112578.555
93 | 2597558.3475 | 1113125.1653 | 2597568.4266 | 1113143.8482 | 2597577.5324 | 1113183.5321
94 | 2597604.5101 | 1113238.4132 | 2597581.7092 | 1113196.2907 | 2597578.8022 | 1113189.0661 | 2597577.5324 | 1113183.5321
95 | 2597643.8331 | 1113190.2403 | 2597646.9585 | 1113183.8581 | 2597638.2496 | 1113172.0892 | 2597624.9907 | 1113158.2544 | 2597612.9712 | 1113153.5124 | 2597592.2545 | 1113147.1177 | 2597582.9302 | 1113141.7523 | 2597558.3475 | 1113125.1653
96 | 2597643.8331 | 1113190.2403 | 2597632.8917 | 1113177.3828 | 2597627.5294 | 1113171.7044 | 2597625.3378 | 1113169.8874
97 | 2597625.3378 | 1113169.8874 | 2597621.4182 | 1113166.6377 | 2597609.9153 | 1113159.7501 | 2597593.0992 | 1113154.1097 | 2597577.7913 | 1113153.5491 | 2597562.2999 | 1113157.702 | 2597547.7525 | 1113165.8009 | 2597537.9251 | 1113176.3546 | 2597534.5969 | 1113180.6289
98 | 2597461.3462 | 1112508.9695 | 2597469.9831 | 1112511.8005 | 2597488.4489 | 1112523.554 | 2597517.057 | 1112536.5593 | 2597523.3619 | 1112541.2812 | 2597531.6968 | 1112542.6228 | 2597542.055 | 1112542.8408 | 2597554.685 | 1112545.2034
99 | 2597461.3462 | 1112508.9695 | 2597455.0359 | 1112498.7761
100 | 2597554.685 | 1112545.2034 | 2597566.8522 | 1112549.3671 | 2597581.4842 | 1112555.3307 | 2597605.6889 | 1112567.6157 | 2597612.4881 | 1112572.4375 | 2597626.3264 | 1112583.3373 | 2597641.4252 | 1112597.9273 | 2597664.0882 | 1112618.9397 | 2597667.6858 | 1112622.0399
101 | 2597451.1971 | 1112492.575 | 2597455.0359 | 1112498.7761
102 | 2597678.6067 | 1112631.4512 | 2597667.6858 | 1112622.0399
103 | 2597446.5749 | 1112485.1086 | 2597451.1971 | 1112492.575
104 | 2597330.8436 | 1112384.3101 | 2597334.9919 | 1112385.0308 | 2597352.6062 | 1112391.1148 | 2597368.7683 | 1112397.4107 | 2597380.8914 | 1112405.4537 | 2597386.7245 | 1112408.3192 | 2597398.6238 | 1112417.0849 | 2597414.9307 | 1112436.7319 | 2597426.1766 | 1112452.8126 | 2597430.9087 | 1112464.0161 | 2597438.4148 | 1112477.4972 | 2597446.5749 | 1112485.1086
105 | 2597446.5749 | 1112485.1086 | 2597444.5714 | 1112478.3061 | 2597438.7877 | 1112446.6708 | 2597420.9099 | 1112402.6346 | 2597400.6905 | 1112356.7987 | 2597394.1833 | 1112331.8115
106 | 2597330.8436 | 1112384.3101 | 2597318.9691 | 1112379.6132 | 2597311.0112 | 1112375.4815 | 2597308.0313 | 1112372.3976
107 | 2597536.1906 | 1112169.5816 | 2597542.1414 | 1112176.338 | 2597545.7196 | 1112198.9921 | 2597548.1186 | 1112228.0498 | 2597551.6972 | 1112251.6489 | 2597555.1478 | 1112262.5546
108 | 2597536.1906 | 1112169.5816 | 2597528.812 | 1112165.7828 | 2597527.2747 | 1112165.5166
109 | 2597536.1906 | 1112169.5816 | 2597755.0252 | 1112118.4799
110 | 2597527.2747 | 1112165.5166 | 2597517.0311 | 1112163.7756 | 2597481.9247 | 1112168.5373 | 2597463.2347 | 1112171.0737
111 | 2597527.2747 | 1112165.5166 | 2597523.4833 | 1112150.4775 | 2597508.8247 | 1112138.8335 | 2597478.0345 | 1112121.4713 | 2597476.6608 | 1112120.8082
112 | 2597764.4032 | 1112119.1877 | 2597761.7531 | 1112117.6102 | 2597758.1996 | 1112117.2336 | 2597755.0252 | 1112118.4799
113 | 2597755.0252 | 1112118.4799 | 2597753.636 | 1112121.782 | 2597758.113 | 1112133.1859 | 2597762.6952 | 1112157.2627 | 2597769.8672 | 1112166.7424
114 | 2597818.4149 | 1112427.3853 | 2597830.75 | 1112430.5385 | 2597856.2418 | 1112435.0758 | 2597871.7846 | 1112460.4716 | 2597876.1482 | 1112480.0908 | 2597885.7549 | 1112495.4035
115 | 2597818.4149 | 1112427.3853 | 2597833.482 | 1112273.8712
116 | 2597833.482 | 1112273.8712 | 2597818.0256 | 1112257.8915 | 2597805.7297 | 1112241.2212 | 2597806.4037 | 1112205.1698 | 2597789.4396 | 1112182.3538 | 2597769.8672 | 1112166.7424
117 | 2597409.3936 | 1112052.9229 | 2597407.7305 | 1112065.3075 | 2597412.743 | 1112080.8352 | 2597427.0239 | 1112093.5796 | 2597447.8014 | 1112106.8772 | 2597476.6608 | 1112120.8082
118 | 2597409.3936 | 1112052.9229 | 2597422.8427 | 1111965.0737
119 | 2597328.028 | 1112085.8643 | 2597328.3263 | 1112096.1915 | 2597342.6982 | 1112122.0978 | 2597358.0093 | 1112134.4078
120 | 2597328.028 | 1112085.8643 | 2597271.0933 | 1111931.2795
121 | 2597109.1451 | 1111834.1548 | 2597114.0351 | 1111843.6789 | 2597118.5725 | 1111849.5907 | 2597127.1497 | 1111854.5 | 2597148.9199 | 1111856.7017 | 2597163.1902 | 1111861.2193 | 2597174.5724 | 1111868.0283 | 2597198.1977 | 1111889.0163 | 2597208.0109 | 1111894.1142 | 2597214.9721 | 1111896.3453 | 2597228.561 | 1111897.6062 | 2597235.7 | 1111900.0374 | 2597242.2602 | 1111903.814 | 2597264.9906 | 1111928.0598 | 2597271.0933 | 1111931.2795
122 | 2597422.8427 | 1111965.0737 | 2597411.4474 | 1111962.5441 | 2597361.7633 | 1111950.7047 | 2597320.8787 | 1111941.0183 | 2597281.8419 | 1111935.0888 | 2597274.0851 | 1111932.858 | 2597271.0933 | 1111931.2795
123 | 2597422.8427 | 1111965.0737 | 2597408.2372 | 1111952.7962 | 2597379.951 | 1111940.725 | 2597328.1733 | 1111911.934 | 2597322.7618 | 1111907.1955
124 | 2597764.4032 | 1112119.1877 | 2597775.0053 | 1112149.5765 | 2597780.4843 | 1112155.3106 | 2597830.963 | 1112171.1439 | 2597836.9048 | 1112175.4216 | 2597840.5374 | 1112180.9563 | 2597849.3265 | 1112197.8503
125 | 2597764.4032 | 1112119.1877 | 2597882.8834 | 1111945.069
126 | 2597250.6517 | 1111808.8855 | 2597263.2842 | 1111813.1372 | 2597275.0596 | 1111818.2343 | 2597282.5734 | 1111829.2919 | 2597299.4814 | 1111858.1984 | 2597308.1888 | 1111877.9263 | 2597319.6338 | 1111904.4564 | 2597322.7618 | 1111907.1955
127 | 2597932.9739 | 1112213.6169 | 2597926.3524 | 1112209.3282 | 2597917.0513 | 1112207.2861 | 2597895.8182 | 1112212.2739 | 2597882.8415 | 1112213.8349 | 2597869.4621 | 1112212.5391 | 2597860.0287 | 1112207.9069 | 2597849.3265 | 1112197.8503
128 | 2597882.8834 | 1111945.069 | 2597865.6041 | 1111948.5882 | 2597846.9788 | 1111926.0283 | 2597824.3331 | 1111915.5092
129 | 2597250.6517 | 1111808.8855 | 2597241.5975 | 1111791.5478 | 2597233.235 | 1111783.2143 | 2597223.8469 | 1111778.7943 | 2597209.3312 | 1111761.9595
130 | 2597464.9292 | 1111783.8397 | 2597468.8302 | 1111788.1887 | 2597513.7468 | 1111813.1375 | 2597521.993 | 1111821.6604 | 2597524.1252 | 1111832.5334
131 | 2597524.1252 | 1111832.5334 | 2597693.588 | 1111808.06
132 | 2597417.7758 | 1111702.0462 | 2597452.0009 | 1111725.4762 | 2597457.5107 | 1111747.3957 | 2597453.5503 | 1111771.1536 | 2597464.9292 | 1111783.8397
133 | 2597693.588 | 1111808.06 | 2597698.909 | 1111812.5285 | 2597709.1779 | 1111816.3096
134 | 2597932.9739 | 1112213.6169 | 2597939.9668 | 1112219.7508 | 2597948.0742 | 1112232.0206 | 2597953.3945 | 1112248.627 | 2597955.0219 | 1112263.8117 | 2597956.2083 | 1112276.7621 | 2597958.5583 | 1112281.9194 | 2597967.142 | 1112286.9411 | 2597978.382 | 1112289.5273 | 2597996.0553 | 1112288.8923
135 | 2597709.1779 | 1111816.3096 | 2597712.963 | 1111817.7033 | 2597739.5357 | 1111813.7355 | 2597770.3923 | 1111820.7161 | 2597819.5825 | 1111853.8917 | 2597833.3465 | 1111890.4269 | 2597824.3331 | 1111915.5092
136 | 2597193.1594 | 1112086.4684 | 2597192.5857 | 1112085.3773
137 | 2597189.5962 | 1112079.4402 | 2597189.9767 | 1112080.4146 | 2597192.5857 | 1112085.3773

## bus_geodata
| x | y | coords
0 | 2596835.7945 | 1112902.8424
1 | 2596845.0143 | 1112825.3889
2 | 2596907.6667 | 1113141.7006
3 | 2596752.1761 | 1112730.247
4 | 2597105.6184 | 1112334.7487
5 | 2596683.4901 | 1112384.974
6 | 2597285.4852 | 1112365.2548
7 | 2596756.8031 | 1112720.4076
8 | 2597506.6682 | 1113084.0001
9 | 2597651.3157 | 1112742.3834
10 | 2597524.9107 | 1113101.7233
11 | 2596758.5842 | 1112713.3921
12 | 2596758.7487 | 1112709.4707
13 | 2596707.2568 | 1112759.6357
14 | 2596709.03 | 1112738.6301
15 | 2596705.9103 | 1112769.8504
16 | 2596705.8202 | 1112704.6385
17 | 2596708.9015 | 1112703.7475
18 | 2596645.4122 | 1112631.0111
19 | 2596730.8584 | 1112671.5083
20 | 2596733.698 | 1112694.4347
21 | 2596729.5529 | 1112664.9957
22 | 2596589.0047 | 1112478.9711
23 | 2596638.0516 | 1112591.2871
24 | 2596600.1094 | 1112420.2024
25 | 2596749.1021 | 1112676.3026
26 | 2596749.1413 | 1112672.0096
27 | 2596726.1309 | 1112727.7926
28 | 2596729.2977 | 1112712.7629
29 | 2596732.1763 | 1112703.5884
30 | 2596722.8319 | 1112641.2757
31 | 2596638.992 | 1112592.1933
32 | 2596622.8868 | 1112398.8909
33 | 2596619.1289 | 1112338.516
34 | 2596739.3441 | 1112722.3176
35 | 2596751.5899 | 1112658.0792
36 | 2596750.8875 | 1112673.0203
37 | 2596750.7551 | 1112656.968
38 | 2596751.4569 | 1112674.7883
39 | 2596739.9641 | 1112655.8623
40 | 2596721.3453 | 1112637.4133
41 | 2596748.7169 | 1112656.0176
42 | 2596721.339 | 1112637.3968
43 | 2596756.3284 | 1112694.1965
44 | 2596749.3101 | 1112655.9127
45 | 2596716.1511 | 1112628.3174
46 | 2596654.5903 | 1112605.8736
47 | 2596714.1551 | 1112627.5232
48 | 2596675.7892 | 1112602.1822
49 | 2596671.4967 | 1112595.3873
50 | 2596669.4275 | 1112592.2871
51 | 2596646.0442 | 1112471.824
52 | 2596673.3585 | 1112429.6586
53 | 2596679.6369 | 1112419.2159
54 | 2596682.2606 | 1112414.8521
55 | 2596683.5337 | 1112408.7059
56 | 2596637.0988 | 1112371.2659
57 | 2596614.8093 | 1112300.9356
58 | 2596506.1279 | 1112354.4491
59 | 2596636.8972 | 1112360.3742
60 | 2596683.6694 | 1112407.2313
61 | 2596682.1052 | 1112375.2935
62 | 2596680.6592 | 1112365.1858
63 | 2596676.4011 | 1112343.5916
64 | 2596675.2843 | 1112340.9007
65 | 2596671.9106 | 1112332.772
66 | 2596669.9291 | 1112327.9977
67 | 2596669.8616 | 1112327.835
68 | 2596666.8498 | 1112320.5783
69 | 2596701.7082 | 1112142.4786
70 | 2596947.0737 | 1111933.5848
71 | 2596933.3336 | 1111887.5179
72 | 2597088.947 | 1111974.9781
73 | 2597948.8852 | 1112645.6699
74 | 2597835.066 | 1112655.6256
75 | 2597945.7706 | 1112645.5252
76 | 2597741.619 | 1112550.0866
77 | 2597910.6367 | 1112717.7955
78 | 2597785.0247 | 1112560.1528
79 | 2597695.4265 | 1112504.3866
80 | 2597755.1196 | 1112627.6419
81 | 2597941.0758 | 1112770.6406
82 | 2597750.8166 | 1112623.5165
83 | 2597584.398 | 1112352.5551
84 | 2597631.6613 | 1112500.6055
85 | 2597556.1696 | 1112265.784
86 | 2597511.4131 | 1112706.8123
87 | 2597467.1167 | 1112689.7894
88 | 2597519.4306 | 1112580.5437
89 | 2597517.6234 | 1112578.555
90 | 2597577.5324 | 1113183.5321
91 | 2597558.3475 | 1113125.1653
92 | 2597604.5101 | 1113238.4132
93 | 2597643.8331 | 1113190.2403
94 | 2597625.3378 | 1113169.8874
95 | 2597534.5969 | 1113180.6289
96 | 2597461.3462 | 1112508.9695
97 | 2597554.685 | 1112545.2034
98 | 2597455.0359 | 1112498.7761
99 | 2597667.6858 | 1112622.0399
100 | 2597451.1971 | 1112492.575
101 | 2597678.6067 | 1112631.4513
102 | 2597446.5749 | 1112485.1086
103 | 2597330.8436 | 1112384.3101
104 | 2597394.1833 | 1112331.8115
105 | 2597555.1478 | 1112262.5546
106 | 2597536.1906 | 1112169.5816
107 | 2597527.2747 | 1112165.5166
108 | 2597755.0252 | 1112118.4799
109 | 2597818.4149 | 1112427.3853
110 | 2597885.7549 | 1112495.4035
111 | 2597833.482 | 1112273.8712
112 | 2597463.2347 | 1112171.0737
113 | 2597476.6608 | 1112120.8082
114 | 2597409.3936 | 1112052.9229
115 | 2597328.028 | 1112085.8643
116 | 2597358.0093 | 1112134.4078
117 | 2597271.0933 | 1111931.2795
118 | 2597422.8427 | 1111965.0737
119 | 2597769.8672 | 1112166.7424
120 | 2597764.4032 | 1112119.1877
121 | 2597322.7618 | 1111907.1955
122 | 2597849.3265 | 1112197.8503
123 | 2597882.8834 | 1111945.069
124 | 2597109.1451 | 1111834.1548
125 | 2597250.6517 | 1111808.8855
126 | 2597524.1252 | 1111832.5334
127 | 2597464.9292 | 1111783.8397
128 | 2597693.588 | 1111808.06
129 | 2597932.9739 | 1112213.6169
130 | 2597824.3331 | 1111915.5092
131 | 2597709.1779 | 1111816.3096
132 | 2597996.0553 | 1112288.8923
133 | 2597417.7758 | 1111702.0462
134 | 2597209.3312 | 1111761.9595
135 | 2597193.1594 | 1112086.4684
136 | 2597192.5857 | 1112085.3773
137 | 2597189.5962 | 1112079.4402
138 | 2597308.0313 | 1112372.3976
139 | 2597285.4852 | 1112365.2548

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1