## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6087-6_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6087-6_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6087-6_0_8_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_6087-6_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6087-6_0_8_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_6087-6_0_8_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6087-6_0_8_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_6087-6_0_8_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6087-6_0_8_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_6087-6_0_8_node_74 | 0.4 | n |  | TRUE
10 | bus_LV_6087-6_0_8_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_6087-6_0_8_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_6087-6_0_8_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_6087-6_0_8_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6087-6_0_8_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6087-6_0_8_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_6087-6_0_8_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6087-6_0_8_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6087-6_0_8_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_6087-6_0_8_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6087-6_0_8_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6087-6_0_8_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_6087-6_0_8_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6087-6_0_8_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_6087-6_0_8_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_6087-6_0_8_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_6087-6_0_8_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_6087-6_0_8_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_6087-6_0_8_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_6087-6_0_8_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_6087-6_0_8_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_6087-6_0_8_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_6087-6_0_8_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_6087-6_0_8_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_6087-6_0_8_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6087-6_0_8_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_6087-6_0_8_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6087-6_0_8_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6087-6_0_8_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6087-6_0_8_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_6087-6_0_8_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_6087-6_0_8_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6087-6_0_8_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6087-6_0_8_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_6087-6_0_8_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_6087-6_0_8_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_6087-6_0_8_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_6087-6_0_8_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_6087-6_0_8_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_6087-6_0_8_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6087-6_0_8_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6087-6_0_8_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6087-6_0_8_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_6087-6_0_8_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6087-6_0_8_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_6087-6_0_8_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6087-6_0_8_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6087-6_0_8_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_6087-6_0_8_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6087-6_0_8_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6087-6_0_8_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_6087-6_0_8_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6087-6_0_8_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_6087-6_0_8_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6087-6_0_8_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_6087-6_0_8_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_6087-6_0_8_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_6087-6_0_8_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_6087-6_0_8_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_6087-6_0_8_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_6087-6_0_8_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_6087-6_0_8_node_69 | 0.4 | n |  | TRUE
72 | bus_MV_90_1_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6087-6_0_8_load_0 | 0 | 0.0009045 | 0.00022669 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6087-6_0_8_load_3 | 3 | 0.0052193 | 0.0013081 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6087-6_0_8_load_4 | 5 | 0.0021906 | 0.00054901 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6087-6_0_8_load_12 | 6 | 0.0040726 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6087-6_0_8_load_9 | 8 | 0.0033789 | 0.00084684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6087-6_0_8_load_53 | 10 | 0.0016373 | 0.00041036 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6087-6_0_8_load_73 | 12 | 0.017879 | 0.0044808 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6087-6_0_8_load_7 | 13 | 0.0018239 | 0.00045711 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6087-6_0_8_load_11 | 14 | 0.0018654 | 0.00046751 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6087-6_0_8_load_14 | 15 | 0.0011403 | 0.0002858 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6087-6_0_8_load_10 | 16 | 0.003931 | 0.0009852 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6087-6_0_8_load_13 | 17 | 0.0032026 | 0.00080264 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6087-6_0_8_load_22 | 20 | 0.0040935 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6087-6_0_8_load_17 | 21 | 0.00083786 | 0.00020999 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6087-6_0_8_load_19 | 23 | 0.0041823 | 0.0010482 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6087-6_0_8_load_20 | 24 | 0.0013907 | 0.00034853 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6087-6_0_8_load_52 | 25 | 0.00087804 | 0.00022006 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6087-6_0_8_load_54 | 27 | 0.0013249 | 0.00033205 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6087-6_0_8_load_55 | 28 | 0.0019704 | 0.00049384 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6087-6_0_8_load_51 | 29 | 0.0017253 | 0.00043239 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6087-6_0_8_load_49 | 30 | 0.00080061 | 0.00020065 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6087-6_0_8_load_24 | 31 | 0.00028553 | 7.1561e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6087-6_0_8_load_25 | 32 | 0.00066106 | 0.00016568 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6087-6_0_8_load_26 | 33 | 0.00050879 | 0.00012752 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6087-6_0_8_load_70 | 35 | 0.01948 | 0.0048822 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6087-6_0_8_load_27 | 38 | 0.00022571 | 5.6568e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6087-6_0_8_load_28 | 39 | 0.00046556 | 0.00011668 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6087-6_0_8_load_29 | 40 | 0.002403 | 0.00060225 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6087-6_0_8_load_31 | 41 | 0.012336 | 0.0030916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6087-6_0_8_load_34 | 42 | 0.03847 | 0.0096415 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6087-6_0_8_load_66 | 43 | 0.024953 | 0.0062539 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6087-6_0_8_load_68 | 44 | 0.017241 | 0.0043209 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6087-6_0_8_load_64 | 45 | 0.031561 | 0.00791 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6087-6_0_8_load_35 | 46 | 0.0024294 | 0.00060886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6087-6_0_8_load_37 | 48 | 0.0022171 | 0.00055566 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6087-6_0_8_load_38 | 49 | 0.0018658 | 0.0004676 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6087-6_0_8_load_39 | 50 | 0.0010506 | 0.00026331 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6087-6_0_8_load_40 | 51 | 0.00081886 | 0.00020522 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6087-6_0_8_load_41 | 52 | 0.0012027 | 0.00030142 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6087-6_0_8_load_42 | 53 | 0.0019047 | 0.00047735 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6087-6_0_8_load_43 | 54 | 0.0012793 | 0.00032063 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6087-6_0_8_load_45 | 56 | 0.0019566 | 0.00049037 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6087-6_0_8_load_46 | 57 | 0.001655 | 0.00041478 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6087-6_0_8_load_47 | 58 | 0.0014036 | 0.00035178 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6087-6_0_8_load_48 | 59 | 0.026252 | 0.0065793 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6087-6_0_8_load_58 | 62 | 0.0008851 | 0.00022183 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6087-6_0_8_load_60 | 63 | 0.037542 | 0.009409 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6087-6_0_8_load_56 | 64 | 0.003105 | 0.00077819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6087-6_0_8_load_62 | 66 | 0.038743 | 0.0097099 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6087-6_0_8_load_63 | 67 | 0.018775 | 0.0047054 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6087-6_0_8_load_71 | 69 | 0.055636 | 0.013944 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6087-6_0_8_load_67 | 70 | 0.046773 | 0.011722 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6087-6_0_8_load_69 | 71 | 0.038251 | 0.0095866 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6087-6_0_8_line_0 |  | 0 | 1 | 0.19536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6087-6_0_8_line_1 |  | 0 | 2 | 0.26698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6087-6_0_8_line_2 |  | 1 | 3 | 0.16928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6087-6_0_8_line_3 |  | 2 | 4 | 0.21507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6087-6_0_8_line_4 |  | 3 | 5 | 0.0063608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6087-6_0_8_line_5 |  | 4 | 9 | 0.14438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6087-6_0_8_line_6 |  | 5 | 6 | 0.29184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6087-6_0_8_line_7 |  | 6 | 7 | 0.31254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6087-6_0_8_line_8 |  | 6 | 8 | 0.2582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6087-6_0_8_line_9 |  | 7 | 14 | 0.027081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6087-6_0_8_line_10 |  | 7 | 13 | 0.056076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6087-6_0_8_line_11 |  | 8 | 16 | 0.023644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6087-6_0_8_line_12 |  | 9 | 12 | 0.12545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6087-6_0_8_line_13 |  | 10 | 11 | 0.011938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6087-6_0_8_line_14 |  | 11 | 25 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6087-6_0_8_line_15 |  | 11 | 26 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6087-6_0_8_line_16 |  | 11 | 22 | 0.010972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6087-6_0_8_line_17 |  | 14 | 15 | 0.052369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6087-6_0_8_line_18 |  | 15 | 19 | 0.17282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6087-6_0_8_line_19 |  | 16 | 17 | 0.0032614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6087-6_0_8_line_20 |  | 17 | 18 | 0.056955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6087-6_0_8_line_21 |  | 18 | 20 | 0.016037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6087-6_0_8_line_22 |  | 19 | 21 | 0.035748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6087-6_0_8_line_23 |  | 21 | 24 | 0.04459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6087-6_0_8_line_24 |  | 22 | 23 | 0.053095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6087-6_0_8_line_25 |  | 24 | 27 | 0.026864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6087-6_0_8_line_26 |  | 25 | 28 | 0.011124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6087-6_0_8_line_27 |  | 26 | 29 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6087-6_0_8_line_28 |  | 26 | 30 | 0.0076093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6087-6_0_8_line_29 |  | 27 | 29 | 0.012618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6087-6_0_8_line_30 |  | 28 | 64 | 0.018138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6087-6_0_8_line_31 |  | 30 | 51 | 0.0094474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6087-6_0_8_line_32 |  | 31 | 32 | 0.02595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6087-6_0_8_line_33 |  | 32 | 33 | 0.043158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6087-6_0_8_line_34 |  | 33 | 38 | 0.16281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6087-6_0_8_line_35 |  | 34 | 35 | 0.20099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6087-6_0_8_line_36 |  | 34 | 36 | 0.25161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6087-6_0_8_line_37 |  | 34 | 37 | 0.12455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6087-6_0_8_line_38 |  | 35 | 44 | 0.11207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6087-6_0_8_line_39 |  | 36 | 41 | 0.10833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6087-6_0_8_line_40 |  | 36 | 40 | 0.091561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6087-6_0_8_line_41 |  | 37 | 42 | 0.088351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6087-6_0_8_line_42 |  | 38 | 39 | 0.037544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6087-6_0_8_line_43 |  | 39 | 40 | 0.056101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6087-6_0_8_line_44 |  | 42 | 43 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6087-6_0_8_line_45 |  | 43 | 45 | 0.15994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6087-6_0_8_line_46 |  | 44 | 70 | 0.053568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6087-6_0_8_line_47 |  | 45 | 66 | 0.012748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6087-6_0_8_line_48 |  | 46 | 47 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6087-6_0_8_line_49 |  | 47 | 48 | 0.018437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6087-6_0_8_line_50 |  | 47 | 49 | 0.016776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6087-6_0_8_line_51 |  | 48 | 50 | 0.00095183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6087-6_0_8_line_52 |  | 49 | 51 | 0.012711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6087-6_0_8_line_53 |  | 50 | 52 | 0.0099958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6087-6_0_8_line_54 |  | 52 | 53 | 0.015573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6087-6_0_8_line_55 |  | 53 | 54 | 0.00029858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6087-6_0_8_line_56 |  | 54 | 55 | 0.020676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6087-6_0_8_line_57 |  | 55 | 56 | 0.0083421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6087-6_0_8_line_58 |  | 55 | 57 | 0.016531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6087-6_0_8_line_59 |  | 56 | 58 | 0.0018644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6087-6_0_8_line_60 |  | 57 | 59 | 0.02555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6087-6_0_8_line_61 |  | 58 | 60 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6087-6_0_8_line_62 |  | 59 | 61 | 0.008785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6087-6_0_8_line_63 |  | 60 | 62 | 0.0011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6087-6_0_8_line_64 |  | 61 | 63 | 0.0013567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6087-6_0_8_line_65 |  | 63 | 65 | 0.012924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6087-6_0_8_line_66 |  | 65 | 66 | 0.0027276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6087-6_0_8_line_67 |  | 65 | 67 | 0.023447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6087-6_0_8_line_68 |  | 67 | 68 | 0.09231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6087-6_0_8_line_69 |  | 68 | 69 | 0.077818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6087-6_0_8_line_70 |  | 70 | 71 | 0.015784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6087-6_0_8_trafo_64 | 0.63 MVA 20/0.4 kV | 72 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2599955.1461 | 1112788.1014 | 2599968.6858 | 1112778.7521 | 2599979.7077 | 1112775.2058 | 2599985.4773 | 1112768.2245 | 2599983.4921 | 1112759.8315 | 2599975.5442 | 1112755.963 | 2599953.4927 | 1112764.9901 | 2599941.5748 | 1112763.8898 | 2599936.3688 | 1112761.3442 | 2599929.842 | 1112754.7411 | 2599928.8918 | 1112747.104 | 2599933.1474 | 1112736.8211 | 2599940.5158 | 1112725.6154 | 2599949.9928 | 1112714.3763 | 2599956.0481 | 1112701.1697 | 2599960.7826 | 1112683.6276 | 2599963.8103 | 1112679.57 | 2599968.9622 | 1112680.4593
1 | 2600018.5246 | 1112418.1183 | 2599968.9622 | 1112680.4593
2 | 2599955.1461 | 1112788.1014 | 2599952.5508 | 1112782.4654 | 2599946.6574 | 1112779.5752 | 2599917.4923 | 1112784.745 | 2599908.3627 | 1112783.4113 | 2599898.2906 | 1112776.0857 | 2599829.3443 | 1112696.6156
3 | 2600168.9734 | 1112271.2353 | 2600151.9869 | 1112291.1449 | 2600140.6549 | 1112310.9767 | 2600129.601 | 1112330.8086 | 2600115.5116 | 1112344.582 | 2600091.4732 | 1112362.4795 | 2600080.968 | 1112374.3298 | 2600039.7973 | 1112399.3867 | 2600022.6648 | 1112409.036 | 2600018.5246 | 1112418.1183
4 | 2599829.3443 | 1112696.6156 | 2599829.9002 | 1112690.2792 | 2599829.9002 | 1112690.2792
5 | 2600168.9734 | 1112271.2353 | 2600178.7915 | 1112254.2382 | 2600212.0463 | 1112222.2231 | 2600230.0219 | 1112202.7473 | 2600253.4664 | 1112187.5627 | 2600275.1498 | 1112176.4357
6 | 2599550.411 | 1112606.2708 | 2599829.9002 | 1112690.2792
7 | 2599754.3599 | 1112397.0048 | 2599752.8538 | 1112399.3283 | 2599732.8262 | 1112428.7216 | 2599719.0316 | 1112445.1083 | 2599702.5875 | 1112459.0494 | 2599682.7447 | 1112472.8019 | 2599659.8817 | 1112482.7861 | 2599604.3228 | 1112502.5777 | 2599591.4703 | 1112509.3598 | 2599580.6958 | 1112518.7764 | 2599569.7363 | 1112531.9616 | 2599561.2337 | 1112552.1167 | 2599556.9713 | 1112568.3806 | 2599553.6288 | 1112591.9592 | 2599550.411 | 1112606.2708
8 | 2599550.411 | 1112606.2708 | 2599321.637 | 1112725.9828
9 | 2599754.3599 | 1112397.0048 | 2599769.071 | 1112374.2678
10 | 2599754.3599 | 1112397.0048 | 2599749.8566 | 1112396.7494 | 2599744.0482 | 1112401.8633 | 2599728.8472 | 1112410.4017 | 2599730.7543 | 1112395.9389 | 2599732.1184 | 1112384.2144
11 | 2599321.637 | 1112725.9828 | 2599328.0166 | 1112748.7503
12 | 2600275.1498 | 1112176.4357 | 2600280.0395 | 1112173.9235 | 2600295.0951 | 1112165.3087 | 2600303.6625 | 1112145.7549 | 2600303.3852 | 1112125.0892 | 2600311.9537 | 1112078.8223 | 2600316.4653 | 1112066.0549
13 | 2600039.1009 | 1112166.0495 | 2600050.9872 | 1112164.9434
14 | 2600039.1009 | 1112166.0495 | 2600052.1178 | 1112161.666
15 | 2600039.1009 | 1112166.0495 | 2600033.6627 | 1112160.2022 | 2600028.4176 | 1112155.0997
16 | 2600028.7499 | 1112169.7736 | 2600039.1009 | 1112166.0495
17 | 2599769.071 | 1112374.2678 | 2599782.7138 | 1112353.1818 | 2599797.3613 | 1112330.1981
18 | 2599918.536 | 1112212.4742 | 2599897.2396 | 1112222.0573 | 2599877.2025 | 1112234.3084 | 2599857.7372 | 1112248.6272 | 2599844.6987 | 1112261.6229 | 2599832.4173 | 1112276.6975 | 2599814.6521 | 1112303.0668 | 2599797.3613 | 1112330.1981
19 | 2599329.5761 | 1112751.6072 | 2599328.0816 | 1112748.9822 | 2599328.0166 | 1112748.7503
20 | 2599348.6722 | 1112803.5288 | 2599350.2244 | 1112800.7828 | 2599348.4933 | 1112792.8013 | 2599343.9421 | 1112776.8384 | 2599329.5761 | 1112751.6072
21 | 2599348.6722 | 1112803.5288 | 2599346.6104 | 1112807.1975 | 2599337.3505 | 1112814.5578
22 | 2599918.536 | 1112212.4742 | 2599920.7142 | 1112208.1831 | 2599923.3173 | 1112204.5702 | 2599932.6175 | 1112196.7439 | 2599943.9483 | 1112187.9754
23 | 2599943.9483 | 1112187.9754 | 2599947.6725 | 1112185.0934 | 2599970.877 | 1112168.5292 | 2599979.8283 | 1112161.517
24 | 2600028.7499 | 1112169.7736 | 2600028.5259 | 1112173.8534 | 2600027.5372 | 1112176.3991 | 2600025.8069 | 1112178.1222 | 2600023.1805 | 1112179.1894 | 2600016.267 | 1112181.724 | 2600014.6217 | 1112183.2025 | 2600013.8801 | 1112185.0924 | 2600013.7952 | 1112187.2268 | 2600014.4518 | 1112189.5168 | 2600015.6877 | 1112191.2398 | 2600018.8162 | 1112194.4414 | 2600021.5276 | 1112197.3094 | 2600022.6013 | 1112199.1214 | 2600022.8485 | 1112200.5888 | 2600022.5164 | 1112203.0567 | 2600020.5768 | 1112211.0747
25 | 2600001.0858 | 1112145.1803 | 2599993.8652 | 1112149.753 | 2599982.7264 | 1112159.2467 | 2599979.8283 | 1112161.517
26 | 2600062.7954 | 1112158.5837 | 2600057.3232 | 1112159.913 | 2600052.1178 | 1112161.666
27 | 2600028.4176 | 1112155.0997 | 2600023.1262 | 1112150.9088 | 2600017.6648 | 1112146.54 | 2600014.1115 | 1112144.3945 | 2600013.0193 | 1112143.9726
28 | 2600028.4176 | 1112155.0997 | 2600030.8991 | 1112147.9064
29 | 2600013.0193 | 1112143.9726 | 2600011.1761 | 1112143.2607 | 2600008.6578 | 1112142.8271 | 2600005.9851 | 1112142.8939 | 2600001.6593 | 1112144.8171 | 2600001.0858 | 1112145.1803
30 | 2600062.7954 | 1112158.5837 | 2600080.421 | 1112154.3021
31 | 2600033.9801 | 1112138.9755 | 2600030.8991 | 1112147.9064
32 | 2600952.5679 | 1111434.2163 | 2600951.37 | 1111435.5086 | 2600936.8467 | 1111454.8516
33 | 2600936.8467 | 1111454.8516 | 2600917.3944 | 1111480.7594 | 2600910.7036 | 1111489.1862
34 | 2600910.7036 | 1111489.1862 | 2600896.7251 | 1111506.7916 | 2600883.1883 | 1111520.2631 | 2600866.739 | 1111533.8232 | 2600844.6192 | 1111548.3275 | 2600804.3596 | 1111568.6769 | 2600780.3553 | 1111581.2914 | 2600779.3219 | 1111581.9626
35 | 2600413.6569 | 1111818.8212 | 2600411.2618 | 1111823.9236 | 2600399.6584 | 1111831.4155 | 2600394.8836 | 1111845.022 | 2600385.6662 | 1111871.8903 | 2600378.1566 | 1111889.2429 | 2600353.921 | 1111939.9334 | 2600329.3464 | 1111978.7181 | 2600319.6991 | 1111993.5647
36 | 2600413.6569 | 1111818.8212 | 2600629.8936 | 1111690.1738
37 | 2600327.7744 | 1111887.6731 | 2600336.8588 | 1111891.6199 | 2600347.782 | 1111889.9196 | 2600353.9236 | 1111884.1392 | 2600367.2352 | 1111855.2256 | 2600378.8389 | 1111839.574 | 2600394.8847 | 1111823.5892 | 2600408.5353 | 1111816.1085 | 2600413.6569 | 1111818.8212
38 | 2600319.6991 | 1111993.5647 | 2600309.894 | 1112008.6543 | 2600282.2459 | 1112033.8212 | 2600269.6155 | 1112046.4048 | 2600262.4463 | 1112063.7575 | 2600259.3793 | 1112073.2843 | 2600250.1636 | 1112077.3639 | 2600250.1636 | 1112077.3639
39 | 2600629.8936 | 1111690.1738 | 2600634.1202 | 1111680.4583 | 2600661.7951 | 1111649.2456 | 2600666.0762 | 1111636.2062 | 2600660.1671 | 1111628.1795 | 2600632.8674 | 1111610.6238
40 | 2600629.8936 | 1111690.1738 | 2600642.5403 | 1111684.55 | 2600648.9834 | 1111681.6937 | 2600664.6744 | 1111671.3345 | 2600686.9789 | 1111654.9509 | 2600705.4084 | 1111639.2745
41 | 2600327.7744 | 1111887.6731 | 2600296.5872 | 1111925.3571 | 2600275.3319 | 1111958.5748
42 | 2600779.3219 | 1111581.9626 | 2600759.7502 | 1111594.6734 | 2600748.6822 | 1111603.5799
43 | 2600748.6822 | 1111603.5799 | 2600724.4036 | 1111623.1169 | 2600705.4084 | 1111639.2745
44 | 2600266.4215 | 1111970.8759 | 2600271.6343 | 1111964.3533 | 2600275.3319 | 1111958.5748
45 | 2600144.7246 | 1112074.3545 | 2600147.8417 | 1112070.9808 | 2600174.6778 | 1112049.8819 | 2600239.5056 | 1111996.5682 | 2600262.7504 | 1111975.4696 | 2600266.4215 | 1111970.8759
46 | 2600207.4678 | 1112092.5978 | 2600223.2043 | 1112072.9387 | 2600232.7599 | 1112070.9046 | 2600242.6552 | 1112075.3182 | 2600250.1636 | 1112077.3639
47 | 2600136.0738 | 1112083.7178 | 2600144.7246 | 1112074.3545
48 | 2600043.5963 | 1112111.1001 | 2600044.2607 | 1112109.177 | 2600044.8477 | 1112102.985 | 2600044.1988 | 1112096.0371 | 2600043.4795 | 1112093.5169
49 | 2600043.5963 | 1112111.1001 | 2600047.9454 | 1112114.2128 | 2600055.1911 | 1112113.7681 | 2600060.0886 | 1112110.9778 | 2600060.2551 | 1112110.8796
50 | 2600043.5963 | 1112111.1001 | 2600038.1253 | 1112126.9594
51 | 2600060.2551 | 1112110.8796 | 2600061.0749 | 1112110.3959
52 | 2600038.1253 | 1112126.9594 | 2600033.9801 | 1112138.9755
53 | 2600061.0749 | 1112110.3959 | 2600069.6842 | 1112105.317
54 | 2600069.6842 | 1112105.317 | 2600077.1988 | 1112100.8839 | 2600081.842 | 1112105.9172
55 | 2600081.842 | 1112105.9172 | 2600082.0444 | 1112106.1366
56 | 2600096.2556 | 1112121.1495 | 2600091.111 | 1112115.9803 | 2600086.0899 | 1112110.522 | 2600082.0444 | 1112106.1366
57 | 2600096.2556 | 1112121.1495 | 2600098.2254 | 1112122.5836 | 2600100.3265 | 1112125.6629 | 2600102.2124 | 1112126.7517
58 | 2600096.2556 | 1112121.1495 | 2600102.9993 | 1112108.0209 | 2600104.7683 | 1112108.1098
59 | 2600102.2124 | 1112126.7517 | 2600103.8271 | 1112127.6839
60 | 2600104.7683 | 1112108.1098 | 2600104.7683 | 1112108.1098 | 2600105.9192 | 1112106.8759 | 2600110.7782 | 1112094.0362 | 2600114.6019 | 1112091.7462 | 2600119.6658 | 1112094.3121
61 | 2600112.2919 | 1112133.6669 | 2600106.9928 | 1112131.6881 | 2600105.2239 | 1112129.4314 | 2600104.2351 | 1112127.9196 | 2600103.8271 | 1112127.6839
62 | 2600127.5022 | 1112098.2829 | 2600119.6658 | 1112094.3121
63 | 2600112.2919 | 1112133.6669 | 2600112.8378 | 1112132.6332
64 | 2600127.5022 | 1112098.2829 | 2600128.0475 | 1112097.0406
65 | 2600134.2228 | 1112085.7212 | 2600132.8478 | 1112087.6333 | 2600129.3175 | 1112094.1475 | 2600128.0475 | 1112097.0406
66 | 2600134.2228 | 1112085.7212 | 2600136.0738 | 1112083.7178
67 | 2600134.2228 | 1112085.7212 | 2600132.2607 | 1112084.0759 | 2600131.7664 | 1112081.6525 | 2600134.1611 | 1112078.4843 | 2600144.6195 | 1112068.5255
68 | 2600203.2684 | 1111997.4788 | 2600192.8704 | 1112011.9302 | 2600184.0639 | 1112022.1017 | 2600176.8643 | 1112029.0828 | 2600159.599 | 1112051.2935 | 2600154.9332 | 1112057.4964 | 2600151.3488 | 1112062.0097 | 2600146.1037 | 1112067.1122 | 2600144.6195 | 1112068.5255
69 | 2600137.3982 | 1112038.5091 | 2600150.7313 | 1112028.3376 | 2600154.1071 | 1112026.37 | 2600161.183 | 1112023.0796 | 2600170.0744 | 1112018.8999 | 2600176.9881 | 1112015.1315 | 2600181.0205 | 1112012.9971 | 2600183.9019 | 1112010.6961 | 2600188.591 | 1112006.6831 | 2600195.5821 | 1112001.5918 | 2600199.29 | 1111999.3797 | 2600203.2684 | 1111997.4788
70 | 2600197.6038 | 1112104.9206 | 2600207.4678 | 1112092.5978

## bus_geodata
| x | y | coords
0 | 2599968.9622 | 1112680.4593
1 | 2599955.1461 | 1112788.1014
2 | 2600018.5246 | 1112418.1183
3 | 2599829.3443 | 1112696.6156
4 | 2600168.9734 | 1112271.2353
5 | 2599829.9002 | 1112690.2792
6 | 2599550.411 | 1112606.2708
7 | 2599754.3599 | 1112397.0048
8 | 2599321.637 | 1112725.9828
9 | 2600275.1498 | 1112176.4357
10 | 2600050.9872 | 1112164.9434
11 | 2600039.1009 | 1112166.0495
12 | 2600316.4653 | 1112066.0549
13 | 2599732.1184 | 1112384.2144
14 | 2599769.071 | 1112374.2678
15 | 2599797.3613 | 1112330.1981
16 | 2599328.0166 | 1112748.7503
17 | 2599329.5761 | 1112751.6072
18 | 2599348.6722 | 1112803.5288
19 | 2599918.536 | 1112212.4742
20 | 2599337.3505 | 1112814.5578
21 | 2599943.9483 | 1112187.9754
22 | 2600028.7499 | 1112169.7736
23 | 2600020.5768 | 1112211.0747
24 | 2599979.8283 | 1112161.517
25 | 2600052.1178 | 1112161.666
26 | 2600028.4176 | 1112155.0997
27 | 2600001.0858 | 1112145.1803
28 | 2600062.7954 | 1112158.5837
29 | 2600013.0193 | 1112143.9726
30 | 2600030.8991 | 1112147.9064
31 | 2600952.5679 | 1111434.2163
32 | 2600936.8467 | 1111454.8516
33 | 2600910.7036 | 1111489.1862
34 | 2600413.6569 | 1111818.8212
35 | 2600319.6991 | 1111993.5647
36 | 2600629.8936 | 1111690.1738
37 | 2600327.7744 | 1111887.6731
38 | 2600779.3219 | 1111581.9626
39 | 2600748.6822 | 1111603.5799
40 | 2600705.4084 | 1111639.2745
41 | 2600632.8674 | 1111610.6238
42 | 2600275.3319 | 1111958.5748
43 | 2600266.4215 | 1111970.8759
44 | 2600250.1635 | 1112077.3639
45 | 2600144.7246 | 1112074.3545
46 | 2600043.4795 | 1112093.5169
47 | 2600043.5963 | 1112111.1001
48 | 2600060.2551 | 1112110.8796
49 | 2600038.1253 | 1112126.9594
50 | 2600061.0749 | 1112110.3959
51 | 2600033.9801 | 1112138.9755
52 | 2600069.6842 | 1112105.317
53 | 2600081.842 | 1112105.9172
54 | 2600082.0444 | 1112106.1366
55 | 2600096.2556 | 1112121.1495
56 | 2600102.2124 | 1112126.7517
57 | 2600104.7683 | 1112108.1098
58 | 2600103.8271 | 1112127.6839
59 | 2600119.6658 | 1112094.3121
60 | 2600112.2919 | 1112133.6669
61 | 2600127.5022 | 1112098.2829
62 | 2600112.8378 | 1112132.6333
63 | 2600128.0475 | 1112097.0406
64 | 2600080.421 | 1112154.3021
65 | 2600134.2228 | 1112085.7212
66 | 2600136.0738 | 1112083.7178
67 | 2600144.6195 | 1112068.5255
68 | 2600203.2684 | 1111997.4788
69 | 2600137.3982 | 1112038.5091
70 | 2600207.4678 | 1112092.5978
71 | 2600197.6038 | 1112104.9206
72 | 2600134.2228 | 1112085.7212

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1