## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6089-5_1_4_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_6089-5_1_4_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_6089-5_1_4_node_9 | 0.4 | n |  | TRUE
3 | bus_LV_6089-5_1_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_6089-5_1_4_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_6089-5_1_4_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_6089-5_1_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_6089-5_1_4_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_6089-5_1_4_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_6089-5_1_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_6089-5_1_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6089-5_1_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_6089-5_1_4_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6089-5_1_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6089-5_1_4_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_6089-5_1_4_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_6089-5_1_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_6089-5_1_4_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_6089-5_1_4_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_6089-5_1_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_6089-5_1_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_6089-5_1_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6089-5_1_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_6089-5_1_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_6089-5_1_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_6089-5_1_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6089-5_1_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6089-5_1_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6089-5_1_4_node_67 | 0.4 | n |  | TRUE
29 | bus_LV_6089-5_1_4_node_78 | 0.4 | n |  | TRUE
30 | bus_LV_6089-5_1_4_node_68 | 0.4 | n |  | TRUE
31 | bus_LV_6089-5_1_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_6089-5_1_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_6089-5_1_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_6089-5_1_4_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_6089-5_1_4_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_6089-5_1_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6089-5_1_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6089-5_1_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6089-5_1_4_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_6089-5_1_4_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_6089-5_1_4_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_6089-5_1_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6089-5_1_4_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_6089-5_1_4_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_6089-5_1_4_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_6089-5_1_4_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_6089-5_1_4_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_6089-5_1_4_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_6089-5_1_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_6089-5_1_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_6089-5_1_4_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6089-5_1_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6089-5_1_4_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_6089-5_1_4_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6089-5_1_4_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6089-5_1_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6089-5_1_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6089-5_1_4_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6089-5_1_4_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6089-5_1_4_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_6089-5_1_4_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_6089-5_1_4_node_71 | 0.4 | n |  | TRUE
63 | bus_LV_6089-5_1_4_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_6089-5_1_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_6089-5_1_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_6089-5_1_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_6089-5_1_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_6089-5_1_4_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_6089-5_1_4_node_75 | 0.4 | n |  | TRUE
70 | bus_LV_6089-5_1_4_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6089-5_1_4_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_6089-5_1_4_node_76 | 0.4 | n |  | TRUE
73 | bus_MV_90_1_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6089-5_1_4_load_6 | 0 | 0.0037198 | 0.00093227 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6089-5_1_4_load_7 | 1 | 0.0051378 | 0.0012877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6089-5_1_4_load_9 | 2 | 0.0047626 | 0.0011936 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6089-5_1_4_load_10 | 3 | 0.0037164 | 0.00093141 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6089-5_1_4_load_38 | 4 | 0.0048931 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6089-5_1_4_load_36 | 5 | 0.0040676 | 0.0010194 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6089-5_1_4_load_11 | 6 | 0.004861 | 0.0012183 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6089-5_1_4_load_12 | 7 | 0.0048298 | 0.0012105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6089-5_1_4_load_32 | 8 | 0.014191 | 0.0035565 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6089-5_1_4_load_31 | 9 | 0.0041422 | 0.0010381 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6089-5_1_4_load_13 | 10 | 0.0033308 | 0.00083479 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6089-5_1_4_load_14 | 11 | 0.0029253 | 0.00073314 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6089-5_1_4_load_15 | 12 | 0.0048256 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6089-5_1_4_load_16 | 13 | 0.0029232 | 0.00073263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6089-5_1_4_load_17 | 14 | 0.0045 | 0.0011278 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6089-5_1_4_load_18 | 15 | 0.0034418 | 0.00086259 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6089-5_1_4_load_19 | 16 | 0.0059675 | 0.0014956 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6089-5_1_4_load_51 | 17 | 0.0067058 | 0.0016806 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6089-5_1_4_load_27 | 18 | 0.0050825 | 0.0012738 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6089-5_1_4_load_50 | 19 | 0.0047513 | 0.0011908 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6089-5_1_4_load_28 | 20 | 0.0049078 | 0.00123 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6089-5_1_4_load_20 | 21 | 0.0041455 | 0.001039 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6089-5_1_4_load_21 | 22 | 0.0039151 | 0.00098122 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6089-5_1_4_load_22 | 23 | 0.0058393 | 0.0014635 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6089-5_1_4_load_23 | 24 | 0.0035449 | 0.00088842 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6089-5_1_4_load_24 | 25 | 0.0038655 | 0.00096879 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6089-5_1_4_load_25 | 26 | 0.0035935 | 0.00090061 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6089-5_1_4_load_26 | 27 | 0.0034493 | 0.00086448 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6089-5_1_4_load_67 | 28 | 0.0040353 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6089-5_1_4_load_78 | 29 | 0.0045247 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6089-5_1_4_load_68 | 30 | 0.0038024 | 0.00095298 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6089-5_1_4_load_77 | 31 | 0.0055631 | 0.0013942 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6089-5_1_4_load_29 | 32 | 0.0052569 | 0.0013175 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6089-5_1_4_load_30 | 33 | 0.0068584 | 0.0017189 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6089-5_1_4_load_42 | 34 | 0.0053278 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6089-5_1_4_load_43 | 35 | 0.0043566 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6089-5_1_4_load_33 | 36 | 0.0040652 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6089-5_1_4_load_34 | 37 | 0.0043291 | 0.001085 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6089-5_1_4_load_35 | 38 | 0.0034292 | 0.00085944 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6089-5_1_4_load_80 | 40 | 0.0049487 | 0.0012403 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6089-5_1_4_load_66 | 41 | 0.0036602 | 0.00091733 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6089-5_1_4_load_37 | 42 | 0.006088 | 0.0015258 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6089-5_1_4_load_41 | 45 | 0.0097629 | 0.0024468 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6089-5_1_4_load_58 | 46 | 0.004396 | 0.0011018 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6089-5_1_4_load_56 | 47 | 0.0045287 | 0.001135 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6089-5_1_4_load_74 | 48 | 0.0030523 | 0.00076498 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6089-5_1_4_load_72 | 49 | 0.0034353 | 0.00086096 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6089-5_1_4_load_44 | 50 | 0.0032888 | 0.00082424 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6089-5_1_4_load_45 | 51 | 0.0045158 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6089-5_1_4_load_46 | 52 | 0.003885 | 0.00097368 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6089-5_1_4_load_47 | 53 | 0.0035408 | 0.0008874 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6089-5_1_4_load_48 | 54 | 0.0038109 | 0.0009551 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6089-5_1_4_load_49 | 55 | 0.0044804 | 0.0011229 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6089-5_1_4_load_52 | 56 | 0.0037713 | 0.00094517 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6089-5_1_4_load_53 | 57 | 0.0043057 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6089-5_1_4_load_54 | 58 | 0.0045975 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6089-5_1_4_load_55 | 59 | 0.0043916 | 0.0011006 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6089-5_1_4_load_57 | 60 | 0.0035905 | 0.00089985 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6089-5_1_4_load_73 | 61 | 0.0051439 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6089-5_1_4_load_71 | 62 | 0.005559 | 0.0013932 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6089-5_1_4_load_60 | 63 | 0.0040885 | 0.0010247 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6089-5_1_4_load_61 | 64 | 0.0040387 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6089-5_1_4_load_62 | 65 | 0.0040573 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6089-5_1_4_load_63 | 66 | 0.003713 | 0.00093057 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6089-5_1_4_load_64 | 67 | 0.0031674 | 0.00079383 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6089-5_1_4_load_65 | 68 | 0.0046059 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6089-5_1_4_load_75 | 69 | 0.0035361 | 0.00088624 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6089-5_1_4_load_69 | 70 | 0.0049594 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6089-5_1_4_load_70 | 71 | 0.0036954 | 0.00092616 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6089-5_1_4_load_76 | 72 | 0.0039607 | 0.00099264 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6089-5_1_4_line_0 |  | 0 | 1 | 0.12625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6089-5_1_4_line_1 |  | 1 | 2 | 0.014693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6089-5_1_4_line_2 |  | 2 | 3 | 0.0097448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6089-5_1_4_line_3 |  | 3 | 4 | 0.0014215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6089-5_1_4_line_4 |  | 4 | 5 | 0.00035351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6089-5_1_4_line_5 |  | 5 | 42 | 0.073278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6089-5_1_4_line_6 |  | 6 | 7 | 0.002525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6089-5_1_4_line_7 |  | 7 | 8 | 0.0035081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6089-5_1_4_line_8 |  | 8 | 9 | 0.018027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6089-5_1_4_line_9 |  | 9 | 36 | 0.026746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6089-5_1_4_line_10 |  | 10 | 11 | 0.017968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6089-5_1_4_line_11 |  | 10 | 12 | 0.017319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6089-5_1_4_line_12 |  | 11 | 13 | 0.011424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6089-5_1_4_line_13 |  | 12 | 14 | 0.023905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6089-5_1_4_line_14 |  | 13 | 15 | 0.004845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6089-5_1_4_line_15 |  | 14 | 16 | 0.015046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6089-5_1_4_line_16 |  | 15 | 17 | 0.011154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6089-5_1_4_line_17 |  | 16 | 18 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6089-5_1_4_line_18 |  | 17 | 19 | 0.089842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6089-5_1_4_line_19 |  | 18 | 20 | 0.01048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6089-5_1_4_line_20 |  | 19 | 54 | 0.0208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6089-5_1_4_line_21 |  | 20 | 32 | 0.0091673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6089-5_1_4_line_22 |  | 21 | 22 | 0.015179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6089-5_1_4_line_23 |  | 21 | 23 | 0.0033008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6089-5_1_4_line_24 |  | 22 | 24 | 0.029125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6089-5_1_4_line_25 |  | 23 | 25 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6089-5_1_4_line_26 |  | 24 | 26 | 0.00024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6089-5_1_4_line_27 |  | 25 | 27 | 0.0013798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6089-5_1_4_line_28 |  | 26 | 28 | 0.0040211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6089-5_1_4_line_29 |  | 27 | 29 | 0.014946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6089-5_1_4_line_30 |  | 28 | 30 | 0.016188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6089-5_1_4_line_31 |  | 29 | 31 | 0.0027606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6089-5_1_4_line_32 |  | 30 | 69 | 0.0026361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6089-5_1_4_line_33 |  | 31 | 72 | 0.016805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6089-5_1_4_line_34 |  | 32 | 33 | 0.015181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6089-5_1_4_line_35 |  | 33 | 34 | 0.0092582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6089-5_1_4_line_36 |  | 34 | 35 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_6089-5_1_4_line_37 |  | 35 | 48 | 0.014231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6089-5_1_4_line_38 |  | 36 | 37 | 0.0009561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6089-5_1_4_line_39 |  | 37 | 38 | 0.00073755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6089-5_1_4_line_40 |  | 38 | 39 | 0.0051895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6089-5_1_4_line_41 |  | 39 | 40 | 0.02848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6089-5_1_4_line_42 |  | 39 | 41 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6089-5_1_4_line_43 |  | 40 | 55 | 0.021866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6089-5_1_4_line_44 |  | 41 | 67 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6089-5_1_4_line_45 |  | 42 | 43 | 0.028996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6089-5_1_4_line_46 |  | 43 | 44 | 0.081925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6089-5_1_4_line_47 |  | 43 | 45 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6089-5_1_4_line_48 |  | 44 | 46 | 0.059811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6089-5_1_4_line_49 |  | 46 | 47 | 0.022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6089-5_1_4_line_50 |  | 47 | 58 | 0.0068384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6089-5_1_4_line_51 |  | 48 | 49 | 0.0033783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6089-5_1_4_line_52 |  | 49 | 71 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6089-5_1_4_line_53 |  | 50 | 51 | 0.0044847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6089-5_1_4_line_54 |  | 50 | 52 | 0.016815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6089-5_1_4_line_55 |  | 51 | 53 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6089-5_1_4_line_56 |  | 52 | 54 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6089-5_1_4_line_57 |  | 53 | 55 | 0.025779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6089-5_1_4_line_58 |  | 56 | 57 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6089-5_1_4_line_59 |  | 56 | 58 | 0.025536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6089-5_1_4_line_60 |  | 57 | 59 | 0.0099231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6089-5_1_4_line_61 |  | 59 | 60 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6089-5_1_4_line_62 |  | 60 | 61 | 0.030401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6089-5_1_4_line_63 |  | 61 | 62 | 0.011279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6089-5_1_4_line_64 |  | 62 | 70 | 0.018616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6089-5_1_4_line_65 |  | 63 | 64 | 0.022433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6089-5_1_4_line_66 |  | 63 | 65 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6089-5_1_4_line_67 |  | 64 | 66 | 0.00029716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6089-5_1_4_line_68 |  | 65 | 67 | 0.019802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6089-5_1_4_line_69 |  | 66 | 68 | 0.023001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6089-5_1_4_line_70 |  | 68 | 69 | 0.017214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6089-5_1_4_line_71 |  | 70 | 71 | 0.0097028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6089-5_1_4_trafo_49 | 0.63 MVA 20/0.4 kV | 73 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2595554.6606 | 1113763.3756 | 2595562.4671 | 1113761.9579 | 2595576.577 | 1113762.859 | 2595586.4543 | 1113763.0073 | 2595598.2765 | 1113761.4867 | 2595607.4899 | 1113761.9579 | 2595614.6871 | 1113761.5969 | 2595632.9862 | 1113756.9367 | 2595647.3847 | 1113751.2567 | 2595663.0334 | 1113744.3753 | 2595676.668 | 1113739.4629
1 | 2595691.2391 | 1113738.7146 | 2595686.9536 | 1113738.1437 | 2595676.668 | 1113739.4629 | 2595676.668 | 1113739.4629
2 | 2595700.8986 | 1113740.0015 | 2595691.2391 | 1113738.7146
3 | 2595700.8986 | 1113740.0015 | 2595702.3077 | 1113740.1892
4 | 2595702.3077 | 1113740.1892 | 2595702.3077 | 1113740.1892 | 2595702.5221 | 1113740.4703
5 | 2595757.5044 | 1113787.962 | 2595747.3055 | 1113780.7769 | 2595726.584 | 1113767.3629 | 2595715.8957 | 1113756.4207 | 2595705.4692 | 1113744.3334 | 2595702.5221 | 1113740.4703
6 | 2595586.9645 | 1113659.4337 | 2595587.0919 | 1113656.912
7 | 2595587.2689 | 1113653.4083 | 2595587.0919 | 1113656.912
8 | 2595587.2689 | 1113653.4083 | 2595587.2689 | 1113653.4083 | 2595583.6294 | 1113650.5318 | 2595579.0108 | 1113637.9652
9 | 2595569.7842 | 1113612.8606 | 2595579.0108 | 1113637.9652
10 | 2595583.4781 | 1113379.1699 | 2595592.1806 | 1113394.8899
11 | 2595600.5689 | 1113410.0423 | 2595592.1806 | 1113394.8899
12 | 2595583.4781 | 1113379.1699 | 2595577.9452 | 1113369.1753 | 2595577.9452 | 1113369.1753
13 | 2595600.5689 | 1113410.0423 | 2595609.3427 | 1113425.8911 | 2595612.8172 | 1113430.5222
14 | 2595573.3906 | 1113367.5231 | 2595577.9452 | 1113369.1753
15 | 2595621.8467 | 1113442.5574 | 2595612.8172 | 1113430.5222
16 | 2595573.3906 | 1113367.5231 | 2595570.5135 | 1113366.4795 | 2595562.4745 | 1113367.4192
17 | 2595621.8467 | 1113442.5574 | 2595629.8404 | 1113453.2121
18 | 2595562.4745 | 1113367.4192 | 2595562.4745 | 1113367.4192 | 2595557.4506 | 1113372.5922 | 2595554.5129 | 1113378.9642 | 2595566.8429 | 1113453.5664
19 | 2595636.1438 | 1113461.5844 | 2595632.6659 | 1113456.9782 | 2595629.8404 | 1113453.2121
20 | 2595570.2345 | 1113474.0877 | 2595566.8429 | 1113453.5664
21 | 2595636.1438 | 1113461.5844 | 2595641.6678 | 1113468.9005
22 | 2595507.8724 | 1113425.516 | 2595515.5432 | 1113438.6143
23 | 2595507.8724 | 1113425.516 | 2595506.2043 | 1113422.6677
24 | 2595517.4438 | 1113467.0325 | 2595516.1109 | 1113457.4649 | 2595517.559 | 1113442.0563 | 2595515.5432 | 1113438.6143
25 | 2595497.5442 | 1113408.9632 | 2595500.6006 | 1113413.0992 | 2595506.2043 | 1113422.6677
26 | 2595517.4782 | 1113467.2797 | 2595517.4438 | 1113467.0325
27 | 2595496.7241 | 1113407.8534 | 2595497.5442 | 1113408.9632
28 | 2595518.033 | 1113471.2624 | 2595517.4782 | 1113467.2797
29 | 2595487.8417 | 1113395.8334 | 2595496.7241 | 1113407.8534
30 | 2595520.2666 | 1113487.2952 | 2595518.033 | 1113471.2624
31 | 2595487.8417 | 1113395.8334 | 2595486.2011 | 1113393.6133
32 | 2595520.2666 | 1113487.2952 | 2595520.6303 | 1113489.9061
33 | 2595476.214 | 1113380.0983 | 2595486.2011 | 1113393.6133
34 | 2595650.8154 | 1113481.0158 | 2595641.6678 | 1113468.9005
35 | 2595650.8154 | 1113481.0158 | 2595656.3941 | 1113488.4045
36 | 2595656.3941 | 1113488.4045 | 2595664.4002 | 1113499.008
37 | 2595672.9753 | 1113510.3651 | 2595664.4002 | 1113499.008
38 | 2595569.7842 | 1113612.8606 | 2595569.4543 | 1113611.9632
39 | 2595569.4543 | 1113611.9632 | 2595569.1999 | 1113611.2709
40 | 2595567.4097 | 1113606.3999 | 2595569.1999 | 1113611.2709
41 | 2595567.4097 | 1113606.3999 | 2595563.3547 | 1113595.3753 | 2595564.3031 | 1113578.6688
42 | 2595567.4097 | 1113606.3999 | 2595557.4857 | 1113606.1294 | 2595555.9088 | 1113602.6155
43 | 2595564.3031 | 1113578.6688 | 2595565.5423 | 1113556.8384
44 | 2595555.9088 | 1113602.6155 | 2595549.4666 | 1113588.2598
45 | 2595781.502 | 1113803.9306 | 2595777.9163 | 1113800.3647 | 2595773.5969 | 1113796.9439 | 2595765.3614 | 1113792.3586 | 2595757.5044 | 1113787.962 | 2595757.5044 | 1113787.962
46 | 2595787.2598 | 1113722.9534 | 2595784.2366 | 1113728.7139 | 2595783.7899 | 1113752.2369 | 2595780.6674 | 1113781.2534 | 2595781.502 | 1113803.9306
47 | 2595781.502 | 1113803.9306 | 2595781.5965 | 1113806.4763 | 2595780.2069 | 1113817.9829 | 2595778.9358 | 1113822.5469
48 | 2595787.2598 | 1113722.9534 | 2595766.6323 | 1113666.8121
49 | 2595758.9203 | 1113645.8225 | 2595766.6323 | 1113666.8121
50 | 2595758.9203 | 1113645.8225 | 2595756.5618 | 1113639.4036
51 | 2595675.011 | 1113513.0612 | 2595672.9753 | 1113510.3651
52 | 2595675.011 | 1113513.0612 | 2595683.7566 | 1113524.6442
53 | 2595567.9525 | 1113514.378 | 2595567.6984 | 1113518.8554
54 | 2595567.9525 | 1113514.378 | 2595568.9055 | 1113497.5901
55 | 2595567.0033 | 1113531.1005 | 2595567.6984 | 1113518.8554
56 | 2595570.2345 | 1113474.0877 | 2595570.2383 | 1113474.1104 | 2595568.9055 | 1113497.5901
57 | 2595567.0033 | 1113531.1005 | 2595565.5423 | 1113556.8384
58 | 2595746.8836 | 1113615.8698 | 2595739.6224 | 1113604.6562
59 | 2595746.8836 | 1113615.8698 | 2595749.2678 | 1113619.5517 | 2595756.5618 | 1113639.4036
60 | 2595739.6224 | 1113604.6562 | 2595734.2288 | 1113596.3269
61 | 2595724.5932 | 1113581.4468 | 2595734.2288 | 1113596.3269
62 | 2595724.5932 | 1113581.4468 | 2595712.2345 | 1113562.3612 | 2595707.6167 | 1113556.2453
63 | 2595707.6167 | 1113556.2453 | 2595700.8206 | 1113547.2442
64 | 2595689.6032 | 1113532.3876 | 2595700.8206 | 1113547.2442
65 | 2595532.8394 | 1113551.2082 | 2595531.339 | 1113547.8647 | 2595525.1396 | 1113530.1495 | 2595525.1396 | 1113530.1495
66 | 2595532.8394 | 1113551.2082 | 2595541.3594 | 1113570.1939
67 | 2595525.1396 | 1113530.1495 | 2595525.1156 | 1113529.8533
68 | 2595549.4666 | 1113588.2598 | 2595541.3594 | 1113570.1939
69 | 2595525.1156 | 1113529.8533 | 2595523.604 | 1113511.2525 | 2595523.0054 | 1113506.9556
70 | 2595520.6303 | 1113489.9061 | 2595523.0054 | 1113506.9556
71 | 2595689.6032 | 1113532.3876 | 2595683.7566 | 1113524.6442

## bus_geodata
| x | y | coords
0 | 2595554.6606 | 1113763.3756
1 | 2595676.668 | 1113739.4629
2 | 2595691.2391 | 1113738.7146
3 | 2595700.8986 | 1113740.0015
4 | 2595702.3077 | 1113740.1892
5 | 2595702.5221 | 1113740.4703
6 | 2595586.9645 | 1113659.4337
7 | 2595587.0919 | 1113656.912
8 | 2595587.2689 | 1113653.4083
9 | 2595579.0108 | 1113637.9652
10 | 2595592.1806 | 1113394.8899
11 | 2595583.4781 | 1113379.1699
12 | 2595600.5689 | 1113410.0423
13 | 2595577.9452 | 1113369.1753
14 | 2595612.8172 | 1113430.5222
15 | 2595573.3906 | 1113367.5231
16 | 2595621.8467 | 1113442.5574
17 | 2595562.4745 | 1113367.4192
18 | 2595629.8404 | 1113453.2121
19 | 2595566.8428 | 1113453.5664
20 | 2595636.1438 | 1113461.5844
21 | 2595507.8724 | 1113425.516
22 | 2595515.5432 | 1113438.6143
23 | 2595506.2043 | 1113422.6677
24 | 2595517.4438 | 1113467.0325
25 | 2595497.5442 | 1113408.9632
26 | 2595517.4782 | 1113467.2797
27 | 2595496.7241 | 1113407.8534
28 | 2595518.033 | 1113471.2624
29 | 2595487.8417 | 1113395.8334
30 | 2595520.2666 | 1113487.2952
31 | 2595486.2011 | 1113393.6133
32 | 2595641.6678 | 1113468.9005
33 | 2595650.8154 | 1113481.0158
34 | 2595656.3941 | 1113488.4045
35 | 2595664.4002 | 1113499.008
36 | 2595569.7842 | 1113612.8606
37 | 2595569.4543 | 1113611.9632
38 | 2595569.1999 | 1113611.2709
39 | 2595567.4097 | 1113606.3999
40 | 2595564.3031 | 1113578.6688
41 | 2595555.9088 | 1113602.6155
42 | 2595757.5044 | 1113787.962
43 | 2595781.502 | 1113803.9306
44 | 2595787.2598 | 1113722.9534
45 | 2595778.9358 | 1113822.5469
46 | 2595766.6323 | 1113666.8121
47 | 2595758.9203 | 1113645.8225
48 | 2595672.9753 | 1113510.3651
49 | 2595675.011 | 1113513.0612
50 | 2595567.9525 | 1113514.378
51 | 2595567.6984 | 1113518.8554
52 | 2595568.9055 | 1113497.5901
53 | 2595567.0033 | 1113531.1005
54 | 2595570.2345 | 1113474.0877
55 | 2595565.5423 | 1113556.8384
56 | 2595746.8836 | 1113615.8698
57 | 2595739.6224 | 1113604.6562
58 | 2595756.5618 | 1113639.4036
59 | 2595734.2288 | 1113596.3269
60 | 2595724.5932 | 1113581.4468
61 | 2595707.6167 | 1113556.2453
62 | 2595700.8206 | 1113547.2442
63 | 2595532.8394 | 1113551.2082
64 | 2595525.1396 | 1113530.1495
65 | 2595541.3594 | 1113570.1939
66 | 2595525.1156 | 1113529.8533
67 | 2595549.4666 | 1113588.2598
68 | 2595523.0054 | 1113506.9556
69 | 2595520.6303 | 1113489.9061
70 | 2595689.6032 | 1113532.3876
71 | 2595683.7566 | 1113524.6442
72 | 2595476.214 | 1113380.0983
73 | 2595567.4097 | 1113606.3999

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1