## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6090-7_1_3_node_5 | 0.4 | n |  | TRUE
1 | bus_LV_6090-7_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_6090-7_1_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_6090-7_1_3_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_6090-7_1_3_node_109 | 0.4 | n |  | TRUE
5 | bus_LV_6090-7_1_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_6090-7_1_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_6090-7_1_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6090-7_1_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6090-7_1_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_6090-7_1_3_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6090-7_1_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_6090-7_1_3_node_227 | 0.4 | n |  | TRUE
13 | bus_LV_6090-7_1_3_node_98 | 0.4 | n |  | TRUE
14 | bus_LV_6090-7_1_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_6090-7_1_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_6090-7_1_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_6090-7_1_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_6090-7_1_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6090-7_1_3_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_6090-7_1_3_node_78 | 0.4 | n |  | TRUE
21 | bus_LV_6090-7_1_3_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_6090-7_1_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_6090-7_1_3_node_110 | 0.4 | n |  | TRUE
24 | bus_LV_6090-7_1_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_6090-7_1_3_node_35 | 0.4 | n |  | TRUE
26 | bus_LV_6090-7_1_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_6090-7_1_3_node_215 | 0.4 | n |  | TRUE
28 | bus_LV_6090-7_1_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_6090-7_1_3_node_41 | 0.4 | n |  | TRUE
30 | bus_LV_6090-7_1_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_6090-7_1_3_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_6090-7_1_3_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_6090-7_1_3_node_222 | 0.4 | n |  | TRUE
34 | bus_LV_6090-7_1_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_6090-7_1_3_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_6090-7_1_3_node_48 | 0.4 | n |  | TRUE
37 | bus_LV_6090-7_1_3_node_49 | 0.4 | n |  | TRUE
38 | bus_LV_6090-7_1_3_node_55 | 0.4 | n |  | TRUE
39 | bus_LV_6090-7_1_3_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_6090-7_1_3_node_71 | 0.4 | n |  | TRUE
41 | bus_LV_6090-7_1_3_node_228 | 0.4 | n |  | TRUE
42 | bus_LV_6090-7_1_3_node_72 | 0.4 | n |  | TRUE
43 | bus_LV_6090-7_1_3_node_99 | 0.4 | n |  | TRUE
44 | bus_LV_6090-7_1_3_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_6090-7_1_3_node_116 | 0.4 | n |  | TRUE
46 | bus_LV_6090-7_1_3_node_97 | 0.4 | n |  | TRUE
47 | bus_LV_6090-7_1_3_node_121 | 0.4 | n |  | TRUE
48 | bus_LV_6090-7_1_3_node_117 | 0.4 | n |  | TRUE
49 | bus_LV_6090-7_1_3_node_119 | 0.4 | n |  | TRUE
50 | bus_LV_6090-7_1_3_node_120 | 0.4 | n |  | TRUE
51 | bus_LV_6090-7_1_3_node_125 | 0.4 | n |  | TRUE
52 | bus_LV_6090-7_1_3_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_6090-7_1_3_node_122 | 0.4 | n |  | TRUE
54 | bus_LV_6090-7_1_3_node_124 | 0.4 | n |  | TRUE
55 | bus_LV_6090-7_1_3_node_126 | 0.4 | n |  | TRUE
56 | bus_LV_6090-7_1_3_node_127 | 0.4 | n |  | TRUE
57 | bus_LV_6090-7_1_3_node_178 | 0.4 | n |  | TRUE
58 | bus_LV_6090-7_1_3_node_217 | 0.4 | n |  | TRUE
59 | bus_LV_6090-7_1_3_node_165 | 0.4 | n |  | TRUE
60 | bus_LV_6090-7_1_3_node_128 | 0.4 | n |  | TRUE
61 | bus_LV_6090-7_1_3_node_129 | 0.4 | n |  | TRUE
62 | bus_LV_6090-7_1_3_node_130 | 0.4 | n |  | TRUE
63 | bus_LV_6090-7_1_3_node_181 | 0.4 | n |  | TRUE
64 | bus_LV_6090-7_1_3_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_6090-7_1_3_node_154 | 0.4 | n |  | TRUE
66 | bus_LV_6090-7_1_3_node_161 | 0.4 | n |  | TRUE
67 | bus_LV_6090-7_1_3_node_156 | 0.4 | n |  | TRUE
68 | bus_LV_6090-7_1_3_node_157 | 0.4 | n |  | TRUE
69 | bus_LV_6090-7_1_3_node_158 | 0.4 | n |  | TRUE
70 | bus_LV_6090-7_1_3_node_159 | 0.4 | n |  | TRUE
71 | bus_LV_6090-7_1_3_node_174 | 0.4 | n |  | TRUE
72 | bus_LV_6090-7_1_3_node_163 | 0.4 | n |  | TRUE
73 | bus_LV_6090-7_1_3_node_162 | 0.4 | n |  | TRUE
74 | bus_LV_6090-7_1_3_node_164 | 0.4 | n |  | TRUE
75 | bus_LV_6090-7_1_3_node_166 | 0.4 | n |  | TRUE
76 | bus_LV_6090-7_1_3_node_167 | 0.4 | n |  | TRUE
77 | bus_LV_6090-7_1_3_node_168 | 0.4 | n |  | TRUE
78 | bus_LV_6090-7_1_3_node_172 | 0.4 | n |  | TRUE
79 | bus_LV_6090-7_1_3_node_169 | 0.4 | n |  | TRUE
80 | bus_LV_6090-7_1_3_node_170 | 0.4 | n |  | TRUE
81 | bus_LV_6090-7_1_3_node_175 | 0.4 | n |  | TRUE
82 | bus_LV_6090-7_1_3_node_179 | 0.4 | n |  | TRUE
83 | bus_LV_6090-7_1_3_node_206 | 0.4 | n |  | TRUE
84 | bus_LV_6090-7_1_3_node_223 | 0.4 | n |  | TRUE
85 | bus_LV_6090-7_1_3_node_226 | 0.4 | n |  | TRUE
86 | bus_LV_6090-7_1_3_node_216 | 0.4 | n |  | TRUE
87 | bus_MV_90_1_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6090-7_1_3_load_5 | 0 | 0.0066793 | 0.001674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6090-7_1_3_load_109 | 4 | 0.0055209 | 0.0013837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6090-7_1_3_load_8 | 5 | 0.0034995 | 0.00087705 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6090-7_1_3_load_9 | 6 | 0.0023688 | 0.00059367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6090-7_1_3_load_11 | 8 | 0.0017181 | 0.00043059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6090-7_1_3_load_13 | 10 | 0.0018583 | 0.00046573 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6090-7_1_3_load_17 | 11 | 0.001633 | 0.00040927 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6090-7_1_3_load_227 | 12 | 0.0062488 | 0.0015661 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6090-7_1_3_load_14 | 14 | 0.0016624 | 0.00041663 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6090-7_1_3_load_19 | 18 | 0.0021553 | 0.00054018 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6090-7_1_3_load_50 | 19 | 0.0029652 | 0.00074315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6090-7_1_3_load_78 | 20 | 0.0034071 | 0.0008539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6090-7_1_3_load_38 | 21 | 0.0017193 | 0.00043089 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6090-7_1_3_load_110 | 23 | 0.0034147 | 0.00085581 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6090-7_1_3_load_33 | 24 | 0.0011851 | 0.00029703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6090-7_1_3_load_215 | 27 | 0.0010271 | 0.00025743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6090-7_1_3_load_40 | 28 | 0.0033305 | 0.0008347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6090-7_1_3_load_41 | 29 | 0.0030837 | 0.00077285 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6090-7_1_3_load_43 | 30 | 0.0014576 | 0.0003653 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6090-7_1_3_load_45 | 31 | 0.0036885 | 0.00092443 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6090-7_1_3_load_69 | 32 | 0.0034797 | 0.00087209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6090-7_1_3_load_46 | 34 | 0.0023583 | 0.00059104 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6090-7_1_3_load_47 | 35 | 0.0026689 | 0.0006689 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6090-7_1_3_load_48 | 36 | 0.0018317 | 0.00045907 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6090-7_1_3_load_49 | 37 | 0.0029159 | 0.00073079 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6090-7_1_3_load_55 | 38 | 0.0029135 | 0.0007302 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6090-7_1_3_load_228 | 41 | 0.0047915 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6090-7_1_3_load_118 | 44 | 0.0033804 | 0.00084721 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6090-7_1_3_load_116 | 45 | 0.0013992 | 0.00035066 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6090-7_1_3_load_97 | 46 | 0.0040949 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6090-7_1_3_load_121 | 47 | 0.0083518 | 0.0020932 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6090-7_1_3_load_120 | 50 | 0.0026335 | 0.00066002 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6090-7_1_3_load_123 | 52 | 0.0043287 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6090-7_1_3_load_122 | 53 | 0.0022896 | 0.00057382 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6090-7_1_3_load_126 | 55 | 0.0035285 | 0.00088432 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6090-7_1_3_load_178 | 57 | 0.0047078 | 0.0011799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6090-7_1_3_load_217 | 58 | 0.0052805 | 0.0013234 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6090-7_1_3_load_165 | 59 | 0.0033476 | 0.00083899 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6090-7_1_3_load_128 | 60 | 0.0027232 | 0.0006825 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6090-7_1_3_load_129 | 61 | 0.0018177 | 0.00045555 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6090-7_1_3_load_130 | 62 | 0.0014815 | 0.00037131 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6090-7_1_3_load_181 | 63 | 0.0032868 | 0.00082376 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6090-7_1_3_load_160 | 64 | 0.0056746 | 0.0014222 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6090-7_1_3_load_154 | 65 | 0.005341 | 0.0013386 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6090-7_1_3_load_161 | 66 | 0.0058911 | 0.0014764 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6090-7_1_3_load_156 | 67 | 0.0031083 | 0.00077901 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6090-7_1_3_load_157 | 68 | 0.0056397 | 0.0014134 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6090-7_1_3_load_158 | 69 | 0.0048466 | 0.0012147 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6090-7_1_3_load_159 | 70 | 0.0056473 | 0.0014153 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6090-7_1_3_load_174 | 71 | 0.0025608 | 0.00064179 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6090-7_1_3_load_163 | 72 | 0.0047417 | 0.0011884 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6090-7_1_3_load_162 | 73 | 0.0031529 | 0.00079019 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6090-7_1_3_load_164 | 74 | 0.0053837 | 0.0013493 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6090-7_1_3_load_166 | 75 | 0.0029874 | 0.00074871 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6090-7_1_3_load_167 | 76 | 0.0039385 | 0.00098707 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6090-7_1_3_load_172 | 78 | 0.0028307 | 0.00070944 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6090-7_1_3_load_169 | 79 | 0.0029026 | 0.00072745 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6090-7_1_3_load_170 | 80 | 0.0025179 | 0.00063104 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6090-7_1_3_load_175 | 81 | 0.005183 | 0.001299 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6090-7_1_3_load_179 | 82 | 0.0024798 | 0.00062149 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6090-7_1_3_load_206 | 83 | 0.0032939 | 0.00082552 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6090-7_1_3_load_223 | 84 | 0.0059138 | 0.0014821 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6090-7_1_3_load_226 | 85 | 0.0032416 | 0.00081243 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6090-7_1_3_load_216 | 86 | 0.0015393 | 0.00038579 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6090-7_1_3_line_0 |  | 0 | 1 | 0.027673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6090-7_1_3_line_1 |  | 1 | 2 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6090-7_1_3_line_2 |  | 2 | 3 | 0.046939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6090-7_1_3_line_3 |  | 2 | 4 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6090-7_1_3_line_4 |  | 3 | 28 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6090-7_1_3_line_5 |  | 3 | 10 | 0.0025192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6090-7_1_3_line_6 |  | 4 | 22 | 0.013604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6090-7_1_3_line_7 |  | 5 | 6 | 0.013071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6090-7_1_3_line_8 |  | 5 | 7 | 0.0053433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6090-7_1_3_line_9 |  | 6 | 8 | 0.039078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6090-7_1_3_line_10 |  | 7 | 9 | 0.057013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6090-7_1_3_line_11 |  | 7 | 10 | 0.010305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6090-7_1_3_line_12 |  | 8 | 11 | 0.020188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6090-7_1_3_line_13 |  | 9 | 12 | 0.065809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6090-7_1_3_line_14 |  | 9 | 13 | 0.073207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6090-7_1_3_line_15 |  | 11 | 15 | 0.0070885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6090-7_1_3_line_16 |  | 13 | 43 | 0.015867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6090-7_1_3_line_17 |  | 13 | 46 | 0.026763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6090-7_1_3_line_18 |  | 14 | 15 | 0.0097301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6090-7_1_3_line_19 |  | 14 | 16 | 0.047374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6090-7_1_3_line_20 |  | 15 | 17 | 0.025845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6090-7_1_3_line_21 |  | 16 | 18 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6090-7_1_3_line_22 |  | 17 | 19 | 0.039716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6090-7_1_3_line_23 |  | 18 | 20 | 0.023966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6090-7_1_3_line_24 |  | 18 | 21 | 0.037859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6090-7_1_3_line_25 |  | 19 | 36 | 0.016497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6090-7_1_3_line_26 |  | 21 | 25 | 0.036338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6090-7_1_3_line_27 |  | 22 | 23 | 0.036997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6090-7_1_3_line_28 |  | 24 | 25 | 0.027773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6090-7_1_3_line_29 |  | 25 | 26 | 0.029559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6090-7_1_3_line_30 |  | 26 | 27 | 0.035426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6090-7_1_3_line_31 |  | 27 | 86 | 0.012123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6090-7_1_3_line_32 |  | 29 | 30 | 0.0026654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6090-7_1_3_line_33 |  | 30 | 31 | 0.017465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6090-7_1_3_line_34 |  | 31 | 32 | 0.0097422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6090-7_1_3_line_35 |  | 31 | 33 | 0.057953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6090-7_1_3_line_36 |  | 32 | 39 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6090-7_1_3_line_37 |  | 33 | 84 | 0.034565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6090-7_1_3_line_38 |  | 34 | 35 | 0.029303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6090-7_1_3_line_39 |  | 34 | 36 | 0.049339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6090-7_1_3_line_40 |  | 35 | 37 | 0.013733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6090-7_1_3_line_41 |  | 37 | 38 | 0.029201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6090-7_1_3_line_42 |  | 38 | 39 | 0.0049444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6090-7_1_3_line_43 |  | 40 | 41 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6090-7_1_3_line_44 |  | 40 | 42 | 0.02559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6090-7_1_3_line_45 |  | 40 | 43 | 0.02736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6090-7_1_3_line_46 |  | 42 | 44 | 0.009176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6090-7_1_3_line_47 |  | 42 | 45 | 0.014117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6090-7_1_3_line_48 |  | 43 | 47 | 0.033657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6090-7_1_3_line_49 |  | 45 | 48 | 0.052545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6090-7_1_3_line_50 |  | 47 | 53 | 0.025926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6090-7_1_3_line_51 |  | 48 | 49 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6090-7_1_3_line_52 |  | 48 | 50 | 0.022601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6090-7_1_3_line_53 |  | 49 | 51 | 0.026451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6090-7_1_3_line_54 |  | 49 | 52 | 0.0205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6090-7_1_3_line_55 |  | 51 | 57 | 0.056026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6090-7_1_3_line_56 |  | 52 | 54 | 0.014522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6090-7_1_3_line_57 |  | 54 | 55 | 0.018611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6090-7_1_3_line_58 |  | 54 | 56 | 0.028648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6090-7_1_3_line_59 |  | 55 | 58 | 0.043304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6090-7_1_3_line_60 |  | 56 | 59 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6090-7_1_3_line_61 |  | 57 | 61 | 0.059916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6090-7_1_3_line_62 |  | 59 | 75 | 0.051666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6090-7_1_3_line_63 |  | 60 | 61 | 0.011042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6090-7_1_3_line_64 |  | 60 | 62 | 0.018444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6090-7_1_3_line_65 |  | 62 | 63 | 0.082989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6090-7_1_3_line_66 |  | 62 | 64 | 0.0861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6090-7_1_3_line_67 |  | 63 | 82 | 0.016936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6090-7_1_3_line_68 |  | 64 | 69 | 0.0078704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6090-7_1_3_line_69 |  | 65 | 66 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6090-7_1_3_line_70 |  | 66 | 73 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6090-7_1_3_line_71 |  | 67 | 68 | 0.011049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6090-7_1_3_line_72 |  | 67 | 69 | 0.0084612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6090-7_1_3_line_73 |  | 68 | 70 | 0.016945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6090-7_1_3_line_74 |  | 68 | 71 | 0.062751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6090-7_1_3_line_75 |  | 70 | 72 | 0.00083157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6090-7_1_3_line_76 |  | 71 | 81 | 0.035682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6090-7_1_3_line_77 |  | 71 | 79 | 0.010045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6090-7_1_3_line_78 |  | 72 | 74 | 0.028947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6090-7_1_3_line_79 |  | 73 | 74 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6090-7_1_3_line_80 |  | 76 | 77 | 0.030456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6090-7_1_3_line_81 |  | 76 | 78 | 0.12511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6090-7_1_3_line_82 |  | 77 | 79 | 0.014603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6090-7_1_3_line_83 |  | 77 | 80 | 0.041389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6090-7_1_3_line_84 |  | 83 | 84 | 0.033149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6090-7_1_3_line_85 |  | 83 | 85 | 0.027876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6090-7_1_3_trafo_116 | 0.63 MVA 20/0.4 kV | 87 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2599849.7546 | 1116588.9614 | 2599849.5309 | 1116593.219 | 2599847.2462 | 1116598.3105 | 2599844.8149 | 1116601.9235 | 2599842.6925 | 1116609.9719 | 2599841.7046 | 1116614.0406 | 2599841.4166 | 1116614.9597
1 | 2599862.5446 | 1116579.7342 | 2599849.7546 | 1116588.9614
2 | 2599862.5446 | 1116579.7342 | 2599883.2011 | 1116595.9637 | 2599903.2706 | 1116601.3213
3 | 2599862.5446 | 1116579.7342 | 2599851.3207 | 1116570.416
4 | 2599903.2706 | 1116601.3213 | 2599905.1308 | 1116595.8074 | 2599911.9387 | 1116588.4258
5 | 2599903.2706 | 1116601.3213 | 2599905.7741 | 1116601.6029
6 | 2599840.8535 | 1116561.7261 | 2599851.3207 | 1116570.416
7 | 2599921.1558 | 1116604.2108 | 2599933.7319 | 1116607.7722
8 | 2599916.0147 | 1116602.755 | 2599921.1558 | 1116604.2108
9 | 2599971.7607 | 1116616.6682 | 2599946.9062 | 1116611.503 | 2599933.7319 | 1116607.7722
10 | 2599916.0147 | 1116602.755 | 2599917.7977 | 1116598.8864 | 2599928.7505 | 1116580.3548 | 2599937.0558 | 1116564.1133 | 2599940.9999 | 1116551.7182
11 | 2599916.0147 | 1116602.755 | 2599905.7741 | 1116601.6029
12 | 2599991.2749 | 1116618.25 | 2599991.2749 | 1116618.25 | 2599986.3965 | 1116619.9842 | 2599980.9238 | 1116618.5725 | 2599971.7607 | 1116616.6682
13 | 2599940.9999 | 1116551.7182 | 2599944.5044 | 1116555.1421 | 2599938.4839 | 1116568.2264 | 2599939.4334 | 1116571.4946 | 2599941.7645 | 1116572.1616 | 2599944.0957 | 1116571.6946 | 2599949.221 | 1116569.3712 | 2599951.8532 | 1116567.6258 | 2599954.6011 | 1116566.9476 | 2599956.2067 | 1116567.4701 | 2599957.6579 | 1116568.5484 | 2599958.5842 | 1116571.2386 | 2599958.3295 | 1116572.4725 | 2599960.4523 | 1116575.4072 | 2599967.1294 | 1116581.1877 | 2599968.9896 | 1116581.1432 | 2599973.3894 | 1116579.0755
14 | 2599940.9999 | 1116551.7182 | 2599943.4696 | 1116534.8988 | 2599945.1132 | 1116504.1615 | 2599945.6993 | 1116478.7601
15 | 2599997.0949 | 1116614.2035 | 2599991.2749 | 1116618.25
16 | 2599945.6993 | 1116478.7601 | 2599945.3826 | 1116467.0655 | 2599945.7607 | 1116462.919
17 | 2599945.6993 | 1116478.7601 | 2599953.179 | 1116473.7575 | 2599960.4813 | 1116471.2895 | 2599970.5239 | 1116470.7668
18 | 2599997.0949 | 1116614.2035 | 2600006.6124 | 1116612.1802
19 | 2600041.8802 | 1116597.8173 | 2600040.568 | 1116592.4369 | 2600037.5576 | 1116591.6031 | 2600035.1878 | 1116591.6143 | 2600032.3164 | 1116593.2929 | 2600021.9345 | 1116606.2104 | 2600006.6124 | 1116612.1802
20 | 2600007.5307 | 1116590.7141 | 2600001.9886 | 1116599.8186 | 2599997.0949 | 1116614.2035
21 | 2600041.8802 | 1116597.8173 | 2600047.2526 | 1116597.6172 | 2600052.4707 | 1116595.4716 | 2600059.5181 | 1116588.0569 | 2600061.7439 | 1116584.1533
22 | 2600007.5307 | 1116590.7141 | 2600016.037 | 1116583.1658 | 2600024.7979 | 1116573.3943 | 2600029.4823 | 1116558.9135
23 | 2600066.195 | 1116560.8658 | 2600065.1606 | 1116573.7054 | 2600063.3467 | 1116581.3425 | 2600061.7439 | 1116584.1533
24 | 2600061.7439 | 1116584.1533 | 2600099.5796 | 1116585.4779
25 | 2600029.4823 | 1116558.9135 | 2600032.702 | 1116548.96 | 2600032.4034 | 1116542.9318
26 | 2600099.5796 | 1116585.4779 | 2600104.5429 | 1116595.5829 | 2600103.0994 | 1116601.986 | 2600107.1672 | 1116620.0504
27 | 2599810.2176 | 1116582.2708 | 2599819.8198 | 1116577.4235 | 2599830.2171 | 1116570.831 | 2599840.8535 | 1116561.7261
28 | 2600107.1672 | 1116620.0504 | 2600111.3508 | 1116625.0418 | 2600111.6518 | 1116631.8229 | 2600114.2454 | 1116634.6354 | 2600121.206 | 1116642.6912
29 | 2600092.6941 | 1116641.4831 | 2600095.2645 | 1116639.1486 | 2600096.9164 | 1116630.7668 | 2600098.9928 | 1116624.2525 | 2600101.3394 | 1116620.0393 | 2600104.3652 | 1116619.5613 | 2600107.1672 | 1116620.0504
30 | 2600092.6941 | 1116641.4831 | 2600092.8484 | 1116654.1115 | 2600094.6855 | 1116667.1624 | 2600093.0738 | 1116676.6436
31 | 2600091.0421 | 1116688.5951 | 2600093.0738 | 1116676.6436
32 | 2600089.7171 | 1116401.6954 | 2600087.0868 | 1116402.1269
33 | 2600070.2331 | 1116406.6673 | 2600085.2922 | 1116402.4214 | 2600087.0868 | 1116402.1269
34 | 2600061.0908 | 1116409.9394 | 2600064.7899 | 1116408.202 | 2600070.2331 | 1116406.6673
35 | 2600070.2331 | 1116406.6673 | 2600050.0229 | 1116352.3524
36 | 2600042.9678 | 1116418.4515 | 2600061.0908 | 1116409.9394
37 | 2600033.5344 | 1116341.536 | 2600028.1695 | 1116344.2263 | 2600027.1197 | 1116346.1272 | 2600031.1492 | 1116350.785 | 2600038.606 | 1116350.2181 | 2600045.5379 | 1116348.7617 | 2600050.0229 | 1116352.3524
38 | 2600029.4073 | 1116493.686 | 2600029.2976 | 1116492.0432 | 2600029.9794 | 1116464.3949
39 | 2600029.4073 | 1116493.686 | 2600031.5595 | 1116525.8932 | 2600032.4034 | 1116542.9318
40 | 2600029.9794 | 1116464.3949 | 2600030.077 | 1116460.4388 | 2600032.9252 | 1116451.087
41 | 2600041.4977 | 1116423.1724 | 2600038.2668 | 1116433.5478 | 2600032.9252 | 1116451.087
42 | 2600042.9678 | 1116418.4515 | 2600041.4977 | 1116423.1724
43 | 2599955.9958 | 1116437.5397 | 2599960.9901 | 1116438.5623 | 2599966.7101 | 1116440.8633
44 | 2599945.3047 | 1116432.8154 | 2599955.8721 | 1116428.9243 | 2599960.5037 | 1116428.9687 | 2599958.9985 | 1116431.3366 | 2599955.9958 | 1116437.5397
45 | 2599955.9958 | 1116437.5397 | 2599945.7607 | 1116462.919
46 | 2599936.8213 | 1116436.3506 | 2599940.7581 | 1116434.4941 | 2599945.3047 | 1116432.8154
47 | 2599945.3047 | 1116432.8154 | 2599932.0585 | 1116432.3376 | 2599931.1959 | 1116432.3516
48 | 2599945.7607 | 1116462.919 | 2599939.1764 | 1116466.9767 | 2599925.8457 | 1116477.8379 | 2599919.0024 | 1116483.2544
49 | 2599881.6675 | 1116427.4033 | 2599890.9076 | 1116433.606 | 2599899.2366 | 1116435.5289 | 2599903.9067 | 1116435.1397 | 2599910.0512 | 1116434.1835 | 2599914.7212 | 1116431.6044 | 2599919.2601 | 1116431.0818 | 2599926.5702 | 1116432.4267 | 2599931.1959 | 1116432.3516
50 | 2599897.918 | 1116482.9078 | 2599902.8893 | 1116488.4881 | 2599908.5629 | 1116490.1666 | 2599916.5057 | 1116485.2306 | 2599919.0024 | 1116483.2544
51 | 2599881.6675 | 1116427.4033 | 2599887.7343 | 1116411.4397
52 | 2599881.6675 | 1116427.4033 | 2599874.2883 | 1116438.5312 | 2599868.1954 | 1116445.4891
53 | 2599889.949 | 1116386.6608 | 2599892.9056 | 1116391.5409 | 2599890.8218 | 1116404.5807 | 2599889.0465 | 1116409.183 | 2599887.7343 | 1116411.4397
54 | 2599887.7343 | 1116411.4397 | 2599879.251 | 1116415.2418 | 2599871.9256 | 1116419.9555 | 2599869.633 | 1116418.9773
55 | 2599889.949 | 1116386.6608 | 2599896.1009 | 1116376.8447 | 2599904.3988 | 1116363.6935 | 2599914.5493 | 1116350.4868 | 2599922.9631 | 1116341.5377
56 | 2599857.8069 | 1116410.5736 | 2599864.8856 | 1116415.22 | 2599869.633 | 1116418.9773
57 | 2599857.8069 | 1116410.5736 | 2599853.7931 | 1116415.5762 | 2599845.8579 | 1116419.9786 | 2599843.2581 | 1116421.7088
58 | 2599847.6944 | 1116403.5927 | 2599862.9475 | 1116399.6569 | 2599863.6964 | 1116402.2471 | 2599857.8069 | 1116410.5736
59 | 2599819.5522 | 1116452.1621 | 2599823.589 | 1116445.8589 | 2599825.0401 | 1116442.2014 | 2599826.5375 | 1116439.8224 | 2599823.6968 | 1116437.5548 | 2599824.7079 | 1116436.432 | 2599826.5913 | 1116434.4087 | 2599832.8051 | 1116430.6955 | 2599838.0849 | 1116426.7711 | 2599840.4623 | 1116423.5695 | 2599843.2581 | 1116421.7088
60 | 2599847.6944 | 1116403.5927 | 2599853.4914 | 1116398.9236 | 2599856.5015 | 1116397.4188
61 | 2599922.9631 | 1116341.5377 | 2599977.2772 | 1116316.2422
62 | 2599856.5015 | 1116397.4188 | 2599861.3417 | 1116394.9991 | 2599865.9655 | 1116392.8535 | 2599870.0257 | 1116390.152 | 2599874.2712 | 1116386.4834 | 2599878.038 | 1116381.781 | 2599887.7639 | 1116368.5964 | 2599893.0958 | 1116362.2871
63 | 2599977.2772 | 1116316.2422 | 2599986.3631 | 1116309.9672
64 | 2600001.6456 | 1116299.6763 | 2600000.6111 | 1116300.1271 | 2599986.3631 | 1116309.9672
65 | 2600001.6456 | 1116299.6763 | 2599984.2449 | 1116218.5318
66 | 2599915.698 | 1116294.5593 | 2600001.6456 | 1116299.6763
67 | 2599984.2449 | 1116218.5318 | 2599994.0253 | 1116210.939 | 2599997.7618 | 1116208.3357
68 | 2599915.698 | 1116294.5593 | 2599910.1137 | 1116300.1054
69 | 2599837.0029 | 1116381.9603 | 2599838.801 | 1116380.6151 | 2599849.0905 | 1116373.2111 | 2599852.7196 | 1116369.494
70 | 2599852.7196 | 1116369.494 | 2599860.1063 | 1116361.928
71 | 2599904.1102 | 1116306.0679 | 2599902.4674 | 1116307.6995 | 2599896.6853 | 1116314.2444
72 | 2599904.1102 | 1116306.0679 | 2599910.1137 | 1116300.1054
73 | 2599896.6853 | 1116314.2444 | 2599891.4677 | 1116320.1503 | 2599887.6121 | 1116328.3533
74 | 2599896.6853 | 1116314.2444 | 2599847.3814 | 1116275.4268
75 | 2599887.6121 | 1116328.3533 | 2599887.2584 | 1116329.1059
76 | 2599821.5143 | 1116299.9207 | 2599842.626 | 1116281.0661 | 2599847.3814 | 1116275.4268
77 | 2599852.6703 | 1116267.06 | 2599851.3254 | 1116270.7496 | 2599847.3814 | 1116275.4268
78 | 2599887.2584 | 1116329.1059 | 2599886.7129 | 1116330.2665 | 2599878.8782 | 1116342.1504 | 2599869.6682 | 1116351.9258
79 | 2599860.1063 | 1116361.928 | 2599864.0576 | 1116357.8808 | 2599869.6682 | 1116351.9258
80 | 2599855.609 | 1116252.9519 | 2599881.475 | 1116236.8726
81 | 2599881.475 | 1116236.8726 | 2599985.0778 | 1116166.7285
82 | 2599855.609 | 1116252.9519 | 2599855.4626 | 1116259.3995 | 2599852.6703 | 1116267.06
83 | 2599855.609 | 1116252.9519 | 2599821.3049 | 1116276.109
84 | 2600038.297 | 1116308.731 | 2600033.5344 | 1116341.536
85 | 2600038.297 | 1116308.731 | 2600060.4516 | 1116325.6504

## bus_geodata
| x | y | coords
0 | 2599841.4166 | 1116614.9597
1 | 2599849.7546 | 1116588.9614
2 | 2599862.5446 | 1116579.7342
3 | 2599903.2706 | 1116601.3213
4 | 2599851.3207 | 1116570.416
5 | 2599921.1558 | 1116604.2108
6 | 2599933.7319 | 1116607.7722
7 | 2599916.0147 | 1116602.755
8 | 2599971.7607 | 1116616.6682
9 | 2599940.9999 | 1116551.7182
10 | 2599905.7741 | 1116601.6029
11 | 2599991.2749 | 1116618.25
12 | 2599973.3894 | 1116579.0755
13 | 2599945.6993 | 1116478.7601
14 | 2600006.6124 | 1116612.1802
15 | 2599997.0949 | 1116614.2035
16 | 2600041.8802 | 1116597.8173
17 | 2600007.5307 | 1116590.7141
18 | 2600061.7439 | 1116584.1533
19 | 2600029.4823 | 1116558.9135
20 | 2600066.195 | 1116560.8658
21 | 2600099.5796 | 1116585.4779
22 | 2599840.8535 | 1116561.7261
23 | 2599810.2176 | 1116582.2708
24 | 2600121.206 | 1116642.6912
25 | 2600107.1672 | 1116620.0504
26 | 2600092.6941 | 1116641.4831
27 | 2600093.0738 | 1116676.6436
28 | 2599911.9387 | 1116588.4258
29 | 2600089.7171 | 1116401.6954
30 | 2600087.0868 | 1116402.1269
31 | 2600070.2331 | 1116406.6673
32 | 2600061.0908 | 1116409.9394
33 | 2600050.0229 | 1116352.3524
34 | 2600029.4073 | 1116493.686
35 | 2600029.9794 | 1116464.3949
36 | 2600032.4034 | 1116542.9318
37 | 2600032.9252 | 1116451.087
38 | 2600041.4977 | 1116423.1724
39 | 2600042.9678 | 1116418.4515
40 | 2599955.9958 | 1116437.5397
41 | 2599966.7101 | 1116440.8633
42 | 2599945.3047 | 1116432.8154
43 | 2599945.7607 | 1116462.919
44 | 2599936.8213 | 1116436.3506
45 | 2599931.1959 | 1116432.3516
46 | 2599970.5239 | 1116470.7668
47 | 2599919.0024 | 1116483.2544
48 | 2599881.6675 | 1116427.4033
49 | 2599887.7343 | 1116411.4397
50 | 2599868.1954 | 1116445.4891
51 | 2599889.949 | 1116386.6608
52 | 2599869.633 | 1116418.9773
53 | 2599897.918 | 1116482.9078
54 | 2599857.8069 | 1116410.5736
55 | 2599843.2581 | 1116421.7088
56 | 2599847.6944 | 1116403.5927
57 | 2599922.9631 | 1116341.5377
58 | 2599819.5522 | 1116452.1621
59 | 2599856.5015 | 1116397.4188
60 | 2599986.3631 | 1116309.9672
61 | 2599977.2772 | 1116316.2422
62 | 2600001.6456 | 1116299.6763
63 | 2599984.2449 | 1116218.5318
64 | 2599915.698 | 1116294.5593
65 | 2599837.0029 | 1116381.9603
66 | 2599852.7196 | 1116369.494
67 | 2599904.1102 | 1116306.0679
68 | 2599896.6853 | 1116314.2444
69 | 2599910.1137 | 1116300.1054
70 | 2599887.6121 | 1116328.3533
71 | 2599847.3814 | 1116275.4268
72 | 2599887.2584 | 1116329.1059
73 | 2599860.1063 | 1116361.928
74 | 2599869.6682 | 1116351.9258
75 | 2599893.0958 | 1116362.2871
76 | 2599881.475 | 1116236.8726
77 | 2599855.609 | 1116252.9519
78 | 2599985.0778 | 1116166.7285
79 | 2599852.6703 | 1116267.06
80 | 2599821.3049 | 1116276.109
81 | 2599821.5143 | 1116299.9207
82 | 2599997.7618 | 1116208.3357
83 | 2600038.297 | 1116308.731
84 | 2600033.5344 | 1116341.536
85 | 2600060.4516 | 1116325.6504
86 | 2600091.0421 | 1116688.5951
87 | 2599945.3047 | 1116432.8154

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1