## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6090-9_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6090-9_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6090-9_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6090-9_0_7_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6090-9_0_7_node_16 | 0.4 | n |  | TRUE
5 | bus_LV_6090-9_0_7_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_6090-9_0_7_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_6090-9_0_7_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6090-9_0_7_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6090-9_0_7_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6090-9_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6090-9_0_7_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_6090-9_0_7_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_6090-9_0_7_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_6090-9_0_7_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6090-9_0_7_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_6090-9_0_7_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_6090-9_0_7_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_6090-9_0_7_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_6090-9_0_7_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_6090-9_0_7_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6090-9_0_7_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_6090-9_0_7_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_6090-9_0_7_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_6090-9_0_7_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_6090-9_0_7_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_6090-9_0_7_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_6090-9_0_7_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6090-9_0_7_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_6090-9_0_7_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_6090-9_0_7_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_6090-9_0_7_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_6090-9_0_7_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_6090-9_0_7_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_6090-9_0_7_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_6090-9_0_7_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6090-9_0_7_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6090-9_0_7_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6090-9_0_7_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6090-9_0_7_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6090-9_0_7_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_6090-9_0_7_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_6090-9_0_7_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_6090-9_0_7_node_71 | 0.4 | n |  | TRUE
44 | bus_LV_6090-9_0_7_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_6090-9_0_7_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6090-9_0_7_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_6090-9_0_7_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_6090-9_0_7_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6090-9_0_7_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6090-9_0_7_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_6090-9_0_7_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_6090-9_0_7_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_6090-9_0_7_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6090-9_0_7_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6090-9_0_7_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_6090-9_0_7_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_6090-9_0_7_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6090-9_0_7_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6090-9_0_7_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_6090-9_0_7_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_6090-9_0_7_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6090-9_0_7_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6090-9_0_7_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6090-9_0_7_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6090-9_0_7_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_6090-9_0_7_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_6090-9_0_7_node_84 | 0.4 | n |  | TRUE
68 | bus_LV_6090-9_0_7_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_6090-9_0_7_node_83 | 0.4 | n |  | TRUE
70 | bus_LV_6090-9_0_7_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6090-9_0_7_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_6090-9_0_7_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_6090-9_0_7_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_6090-9_0_7_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_6090-9_0_7_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_6090-9_0_7_node_75 | 0.4 | n |  | TRUE
77 | bus_LV_6090-9_0_7_node_150 | 0.4 | n |  | TRUE
78 | bus_LV_6090-9_0_7_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_6090-9_0_7_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_6090-9_0_7_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6090-9_0_7_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_6090-9_0_7_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_6090-9_0_7_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_6090-9_0_7_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_6090-9_0_7_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_6090-9_0_7_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_6090-9_0_7_node_93 | 0.4 | n |  | TRUE
88 | bus_LV_6090-9_0_7_node_136 | 0.4 | n |  | TRUE
89 | bus_LV_6090-9_0_7_node_141 | 0.4 | n |  | TRUE
90 | bus_LV_6090-9_0_7_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_6090-9_0_7_node_133 | 0.4 | n |  | TRUE
92 | bus_LV_6090-9_0_7_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_6090-9_0_7_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_6090-9_0_7_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_6090-9_0_7_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_6090-9_0_7_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_6090-9_0_7_node_119 | 0.4 | n |  | TRUE
98 | bus_LV_6090-9_0_7_node_106 | 0.4 | n |  | TRUE
99 | bus_LV_6090-9_0_7_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_6090-9_0_7_node_120 | 0.4 | n |  | TRUE
101 | bus_LV_6090-9_0_7_node_95 | 0.4 | n |  | TRUE
102 | bus_LV_6090-9_0_7_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_6090-9_0_7_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_6090-9_0_7_node_114 | 0.4 | n |  | TRUE
105 | bus_LV_6090-9_0_7_node_156 | 0.4 | n |  | TRUE
106 | bus_LV_6090-9_0_7_node_112 | 0.4 | n |  | TRUE
107 | bus_LV_6090-9_0_7_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_6090-9_0_7_node_100 | 0.4 | n |  | TRUE
109 | bus_LV_6090-9_0_7_node_101 | 0.4 | n |  | TRUE
110 | bus_LV_6090-9_0_7_node_102 | 0.4 | n |  | TRUE
111 | bus_LV_6090-9_0_7_node_113 | 0.4 | n |  | TRUE
112 | bus_LV_6090-9_0_7_node_108 | 0.4 | n |  | TRUE
113 | bus_LV_6090-9_0_7_node_107 | 0.4 | n |  | TRUE
114 | bus_LV_6090-9_0_7_node_103 | 0.4 | n |  | TRUE
115 | bus_LV_6090-9_0_7_node_109 | 0.4 | n |  | TRUE
116 | bus_LV_6090-9_0_7_node_110 | 0.4 | n |  | TRUE
117 | bus_LV_6090-9_0_7_node_157 | 0.4 | n |  | TRUE
118 | bus_LV_6090-9_0_7_node_111 | 0.4 | n |  | TRUE
119 | bus_LV_6090-9_0_7_node_151 | 0.4 | n |  | TRUE
120 | bus_LV_6090-9_0_7_node_152 | 0.4 | n |  | TRUE
121 | bus_LV_6090-9_0_7_node_153 | 0.4 | n |  | TRUE
122 | bus_LV_6090-9_0_7_node_155 | 0.4 | n |  | TRUE
123 | bus_LV_6090-9_0_7_node_115 | 0.4 | n |  | TRUE
124 | bus_LV_6090-9_0_7_node_116 | 0.4 | n |  | TRUE
125 | bus_LV_6090-9_0_7_node_117 | 0.4 | n |  | TRUE
126 | bus_LV_6090-9_0_7_node_118 | 0.4 | n |  | TRUE
127 | bus_LV_6090-9_0_7_node_121 | 0.4 | n |  | TRUE
128 | bus_LV_6090-9_0_7_node_128 | 0.4 | n |  | TRUE
129 | bus_LV_6090-9_0_7_node_122 | 0.4 | n |  | TRUE
130 | bus_LV_6090-9_0_7_node_127 | 0.4 | n |  | TRUE
131 | bus_LV_6090-9_0_7_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_6090-9_0_7_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_6090-9_0_7_node_125 | 0.4 | n |  | TRUE
134 | bus_LV_6090-9_0_7_node_129 | 0.4 | n |  | TRUE
135 | bus_LV_6090-9_0_7_node_130 | 0.4 | n |  | TRUE
136 | bus_LV_6090-9_0_7_node_149 | 0.4 | n |  | TRUE
137 | bus_LV_6090-9_0_7_node_139 | 0.4 | n |  | TRUE
138 | bus_LV_6090-9_0_7_node_140 | 0.4 | n |  | TRUE
139 | bus_LV_6090-9_0_7_node_138 | 0.4 | n |  | TRUE
140 | bus_LV_6090-9_0_7_node_131 | 0.4 | n |  | TRUE
141 | bus_LV_6090-9_0_7_node_132 | 0.4 | n |  | TRUE
142 | bus_LV_6090-9_0_7_node_134 | 0.4 | n |  | TRUE
143 | bus_LV_6090-9_0_7_node_135 | 0.4 | n |  | TRUE
144 | bus_LV_6090-9_0_7_node_137 | 0.4 | n |  | TRUE
145 | bus_LV_6090-9_0_7_node_159 | 0.4 | n |  | TRUE
146 | bus_LV_6090-9_0_7_node_148 | 0.4 | n |  | TRUE
147 | bus_LV_6090-9_0_7_node_160 | 0.4 | n |  | TRUE
148 | bus_LV_6090-9_0_7_node_144 | 0.4 | n |  | TRUE
149 | bus_LV_6090-9_0_7_node_158 | 0.4 | n |  | TRUE
150 | bus_LV_6090-9_0_7_node_142 | 0.4 | n |  | TRUE
151 | bus_LV_6090-9_0_7_node_143 | 0.4 | n |  | TRUE
152 | bus_LV_6090-9_0_7_node_145 | 0.4 | n |  | TRUE
153 | bus_LV_6090-9_0_7_node_146 | 0.4 | n |  | TRUE
154 | bus_LV_6090-9_0_7_node_147 | 0.4 | n |  | TRUE
155 | bus_LV_6090-9_0_7_node_161 | 0.4 | n |  | TRUE
156 | bus_LV_6090-9_0_7_node_154 | 0.4 | n |  | TRUE
157 | bus_MV_97_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6090-9_0_7_load_0 | 0 | 0.0010883 | 0.00027274 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6090-9_0_7_load_1 | 1 | 0.0011381 | 0.00028523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6090-9_0_7_load_16 | 4 | 0.001922 | 0.0004817 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6090-9_0_7_load_14 | 6 | 0.001408 | 0.00035287 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6090-9_0_7_load_10 | 7 | 0.001036 | 0.00025965 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6090-9_0_7_load_5 | 8 | 0.0011996 | 0.00030064 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6090-9_0_7_load_6 | 9 | 0.0010616 | 0.00026606 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6090-9_0_7_load_7 | 10 | 0.00079957 | 0.00020039 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6090-9_0_7_load_8 | 11 | 0.0013202 | 0.00033088 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6090-9_0_7_load_13 | 12 | 0.00097246 | 0.00024372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6090-9_0_7_load_17 | 13 | 0.0014524 | 0.00036401 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6090-9_0_7_load_12 | 14 | 0.0015444 | 0.00038707 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6090-9_0_7_load_18 | 15 | 0.00075815 | 0.00019001 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6090-9_0_7_load_15 | 16 | 0.0011674 | 0.00029258 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6090-9_0_7_load_24 | 17 | 0.001093 | 0.00027393 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6090-9_0_7_load_25 | 18 | 0.0011803 | 0.00029581 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6090-9_0_7_load_23 | 21 | 0.0013925 | 0.000349 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6090-9_0_7_load_19 | 22 | 0.0012637 | 0.00031671 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6090-9_0_7_load_20 | 23 | 0.0016538 | 0.00041448 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6090-9_0_7_load_42 | 24 | 0.00083389 | 0.00020899 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6090-9_0_7_load_43 | 25 | 0.00246 | 0.00061653 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6090-9_0_7_load_26 | 27 | 0.0010389 | 0.00026038 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6090-9_0_7_load_27 | 28 | 0.001223 | 0.0003065 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6090-9_0_7_load_44 | 29 | 0.0010638 | 0.0002666 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6090-9_0_7_load_30 | 31 | 0.0013913 | 0.0003487 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6090-9_0_7_load_36 | 32 | 0.0012877 | 0.00032273 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6090-9_0_7_load_37 | 34 | 0.002743 | 0.00068747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6090-9_0_7_load_31 | 35 | 0.0014493 | 0.00036322 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6090-9_0_7_load_32 | 36 | 0.0057663 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6090-9_0_7_load_33 | 37 | 0.0022927 | 0.00057462 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6090-9_0_7_load_34 | 38 | 0.0019349 | 0.00048493 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6090-9_0_7_load_35 | 39 | 0.00090993 | 0.00022805 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6090-9_0_7_load_38 | 40 | 0.002063 | 0.00051703 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6090-9_0_7_load_60 | 42 | 0.0028002 | 0.00070179 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6090-9_0_7_load_71 | 43 | 0.0035142 | 0.00088074 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6090-9_0_7_load_54 | 44 | 0.0026152 | 0.00065542 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6090-9_0_7_load_39 | 46 | 0.0012217 | 0.00030619 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6090-9_0_7_load_46 | 48 | 0.0022991 | 0.00057621 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6090-9_0_7_load_41 | 50 | 0.00078752 | 0.00019737 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6090-9_0_7_load_50 | 51 | 0.0016538 | 0.00041448 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6090-9_0_7_load_55 | 52 | 0.0022261 | 0.00055791 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6090-9_0_7_load_49 | 54 | 0.00155 | 0.00038846 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6090-9_0_7_load_56 | 55 | 0.0033254 | 0.00083342 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6090-9_0_7_load_52 | 56 | 0.0019606 | 0.00049138 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6090-9_0_7_load_47 | 57 | 0.00116 | 0.00029073 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6090-9_0_7_load_48 | 58 | 0.0062642 | 0.00157 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6090-9_0_7_load_64 | 59 | 0.0027617 | 0.00069214 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6090-9_0_7_load_69 | 60 | 0.0030388 | 0.00076161 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6090-9_0_7_load_57 | 61 | 0.0047097 | 0.0011804 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6090-9_0_7_load_62 | 64 | 0.0024211 | 0.00060678 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6090-9_0_7_load_65 | 66 | 0.0035202 | 0.00088224 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6090-9_0_7_load_84 | 67 | 0.0020512 | 0.00051407 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6090-9_0_7_load_82 | 68 | 0.0029019 | 0.00072729 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6090-9_0_7_load_83 | 69 | 0.0068432 | 0.0017151 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6090-9_0_7_load_68 | 71 | 0.00381 | 0.00095487 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6090-9_0_7_load_81 | 72 | 0.0028001 | 0.00070176 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6090-9_0_7_load_70 | 73 | 0.01645 | 0.0041226 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6090-9_0_7_load_75 | 76 | 0.0057954 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6090-9_0_7_load_150 | 77 | 0.035776 | 0.0089663 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6090-9_0_7_load_77 | 78 | 0.0068875 | 0.0017262 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6090-9_0_7_load_76 | 79 | 0.0031781 | 0.0007965 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6090-9_0_7_load_79 | 81 | 0.0056997 | 0.0014285 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6090-9_0_7_load_80 | 82 | 0.0057343 | 0.0014371 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6090-9_0_7_load_87 | 85 | 0.0052752 | 0.0013221 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6090-9_0_7_load_94 | 86 | 0.0063247 | 0.0015851 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6090-9_0_7_load_93 | 87 | 0.0045027 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6090-9_0_7_load_136 | 88 | 0.0051158 | 0.0012821 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6090-9_0_7_load_141 | 89 | 0.0044411 | 0.001113 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6090-9_0_7_load_92 | 90 | 0.0085275 | 0.0021372 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6090-9_0_7_load_88 | 92 | 0.0062986 | 0.0015786 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6090-9_0_7_load_90 | 94 | 0.0040077 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6090-9_0_7_load_119 | 97 | 0.0038523 | 0.00096549 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6090-9_0_7_load_97 | 99 | 0.0061871 | 0.0015506 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6090-9_0_7_load_120 | 100 | 0.0027987 | 0.00070142 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6090-9_0_7_load_95 | 101 | 0.0069868 | 0.001751 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6090-9_0_7_load_96 | 102 | 0.0064826 | 0.0016247 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6090-9_0_7_load_156 | 105 | 0.0061402 | 0.0015389 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6090-9_0_7_load_112 | 106 | 0.0040553 | 0.0010164 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6090-9_0_7_load_104 | 107 | 0.0076858 | 0.0019263 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6090-9_0_7_load_100 | 108 | 0.0040451 | 0.0010138 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6090-9_0_7_load_101 | 109 | 0.0073988 | 0.0018543 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6090-9_0_7_load_113 | 111 | 0.0043782 | 0.0010973 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6090-9_0_7_load_108 | 112 | 0.0041378 | 0.001037 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6090-9_0_7_load_107 | 113 | 0.0079285 | 0.0019871 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6090-9_0_7_load_103 | 114 | 0.0060779 | 0.0015233 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6090-9_0_7_load_157 | 117 | 0.004328 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6090-9_0_7_load_111 | 118 | 0.0051513 | 0.001291 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6090-9_0_7_load_151 | 119 | 0.0083864 | 0.0021018 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6090-9_0_7_load_152 | 120 | 0.0060111 | 0.0015065 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6090-9_0_7_load_153 | 121 | 0.0059972 | 0.001503 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6090-9_0_7_load_155 | 122 | 0.0057553 | 0.0014424 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6090-9_0_7_load_115 | 123 | 0.0059857 | 0.0015002 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6090-9_0_7_load_117 | 125 | 0.0069275 | 0.0017362 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6090-9_0_7_load_121 | 127 | 0.0048614 | 0.0012184 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6090-9_0_7_load_128 | 128 | 0.0040081 | 0.0010045 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6090-9_0_7_load_127 | 130 | 0.0049033 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6090-9_0_7_load_123 | 131 | 0.0065972 | 0.0016534 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6090-9_0_7_load_124 | 132 | 0.009453 | 0.0023691 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6090-9_0_7_load_125 | 133 | 0.0054771 | 0.0013727 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6090-9_0_7_load_129 | 134 | 0.0052838 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6090-9_0_7_load_149 | 136 | 0.0058139 | 0.0014571 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6090-9_0_7_load_138 | 139 | 0.0061151 | 0.0015326 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6090-9_0_7_load_131 | 140 | 0.0046887 | 0.0011751 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6090-9_0_7_load_134 | 142 | 0.0067484 | 0.0016913 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6090-9_0_7_load_137 | 144 | 0.004716 | 0.0011819 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6090-9_0_7_load_159 | 145 | 0.0083471 | 0.002092 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6090-9_0_7_load_160 | 147 | 0.008585 | 0.0021516 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6090-9_0_7_load_158 | 149 | 0.0069896 | 0.0017518 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6090-9_0_7_load_142 | 150 | 0.0065671 | 0.0016459 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6090-9_0_7_load_145 | 152 | 0.0050193 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6090-9_0_7_load_147 | 154 | 0.0097363 | 0.0024402 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6090-9_0_7_load_161 | 155 | 0.013229 | 0.0033155 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6090-9_0_7_load_154 | 156 | 0.0075605 | 0.0018949 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 91 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6090-9_0_7_line_0 |  | 0 | 1 | 0.065363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6090-9_0_7_line_1 |  | 0 | 2 | 0.012008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6090-9_0_7_line_2 |  | 2 | 3 | 0.065652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6090-9_0_7_line_3 |  | 3 | 7 | 0.081126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6090-9_0_7_line_4 |  | 4 | 5 | 0.11381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6090-9_0_7_line_5 |  | 4 | 6 | 0.1256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6090-9_0_7_line_6 |  | 5 | 10 | 0.0027867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6090-9_0_7_line_7 |  | 6 | 7 | 0.058865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6090-9_0_7_line_8 |  | 8 | 9 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6090-9_0_7_line_9 |  | 8 | 10 | 0.012575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6090-9_0_7_line_10 |  | 9 | 11 | 0.068765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6090-9_0_7_line_11 |  | 11 | 12 | 0.027138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6090-9_0_7_line_12 |  | 12 | 13 | 0.05391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6090-9_0_7_line_13 |  | 13 | 17 | 0.030837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6090-9_0_7_line_14 |  | 13 | 16 | 0.039308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6090-9_0_7_line_15 |  | 14 | 15 | 0.04762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6090-9_0_7_line_16 |  | 14 | 16 | 0.088013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6090-9_0_7_line_17 |  | 17 | 18 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6090-9_0_7_line_18 |  | 18 | 20 | 0.0084552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6090-9_0_7_line_19 |  | 19 | 20 | 0.060402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6090-9_0_7_line_20 |  | 19 | 21 | 0.012303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_6090-9_0_7_line_21 |  | 21 | 26 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_6090-9_0_7_line_22 |  | 22 | 23 | 0.027101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6090-9_0_7_line_23 |  | 23 | 24 | 0.030907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6090-9_0_7_line_24 |  | 24 | 25 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6090-9_0_7_line_25 |  | 25 | 53 | 0.031496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6090-9_0_7_line_26 |  | 26 | 29 | 0.031069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6090-9_0_7_line_27 |  | 26 | 30 | 0.057151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_6090-9_0_7_line_28 |  | 27 | 28 | 0.047285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6090-9_0_7_line_29 |  | 28 | 30 | 0.037843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6090-9_0_7_line_30 |  | 29 | 33 | 0.060391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6090-9_0_7_line_31 |  | 30 | 31 | 0.072257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6090-9_0_7_line_32 |  | 31 | 32 | 0.04336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6090-9_0_7_line_33 |  | 32 | 34 | 0.063528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6090-9_0_7_line_34 |  | 33 | 48 | 0.019914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6090-9_0_7_line_35 |  | 33 | 57 | 0.030303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6090-9_0_7_line_36 |  | 34 | 44 | 0.05598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6090-9_0_7_line_37 |  | 35 | 36 | 0.039405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6090-9_0_7_line_38 |  | 35 | 37 | 0.010877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6090-9_0_7_line_39 |  | 36 | 38 | 0.0022865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6090-9_0_7_line_40 |  | 37 | 39 | 0.099447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_6090-9_0_7_line_41 |  | 38 | 40 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6090-9_0_7_line_42 |  | 39 | 41 | 0.08894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6090-9_0_7_line_43 |  | 40 | 42 | 0.0038738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6090-9_0_7_line_44 |  | 41 | 43 | 0.054236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6090-9_0_7_line_45 |  | 42 | 45 | 0.056243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6090-9_0_7_line_46 |  | 43 | 73 | 0.092887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6090-9_0_7_line_47 |  | 44 | 45 | 0.010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6090-9_0_7_line_48 |  | 45 | 61 | 0.041102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6090-9_0_7_line_49 |  | 46 | 47 | 0.036967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6090-9_0_7_line_50 |  | 47 | 48 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6090-9_0_7_line_51 |  | 49 | 50 | 0.018087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6090-9_0_7_line_52 |  | 49 | 51 | 0.046835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6090-9_0_7_line_53 |  | 50 | 52 | 0.047414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6090-9_0_7_line_54 |  | 51 | 53 | 0.031987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6090-9_0_7_line_55 |  | 51 | 54 | 0.05493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6090-9_0_7_line_56 |  | 52 | 55 | 0.028091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6090-9_0_7_line_57 |  | 53 | 56 | 0.11039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6090-9_0_7_line_58 |  | 55 | 58 | 0.062782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6090-9_0_7_line_59 |  | 58 | 59 | 0.067371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6090-9_0_7_line_60 |  | 59 | 60 | 0.029608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6090-9_0_7_line_61 |  | 60 | 66 | 0.083892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_6090-9_0_7_line_62 |  | 61 | 62 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6090-9_0_7_line_63 |  | 62 | 63 | 0.022496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6090-9_0_7_line_64 |  | 62 | 64 | 0.042005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6090-9_0_7_line_65 |  | 63 | 65 | 0.056068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6090-9_0_7_line_66 |  | 63 | 66 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6090-9_0_7_line_67 |  | 64 | 67 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6090-9_0_7_line_68 |  | 65 | 68 | 0.017584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6090-9_0_7_line_69 |  | 65 | 69 | 0.02892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6090-9_0_7_line_70 |  | 66 | 70 | 0.052296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6090-9_0_7_line_71 |  | 68 | 72 | 0.024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6090-9_0_7_line_72 |  | 70 | 71 | 0.05424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6090-9_0_7_line_73 |  | 73 | 74 | 0.045093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
74 | LV_6090-9_0_7_line_74 |  | 74 | 75 | 0.008461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6090-9_0_7_line_75 |  | 74 | 76 | 0.045391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6090-9_0_7_line_76 |  | 75 | 77 | 0.016091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6090-9_0_7_line_77 |  | 75 | 78 | 0.034012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6090-9_0_7_line_78 |  | 78 | 79 | 0.035821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6090-9_0_7_line_79 |  | 79 | 80 | 0.0083848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6090-9_0_7_line_80 |  | 80 | 81 | 0.016988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6090-9_0_7_line_81 |  | 80 | 82 | 0.04952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6090-9_0_7_line_82 |  | 82 | 83 | 0.030673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6090-9_0_7_line_83 |  | 83 | 84 | 0.020151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6090-9_0_7_line_84 |  | 83 | 85 | 0.037938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6090-9_0_7_line_85 |  | 84 | 86 | 0.023262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6090-9_0_7_line_86 |  | 84 | 87 | 0.020156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_6090-9_0_7_line_87 |  | 85 | 88 | 0.030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_6090-9_0_7_line_88 |  | 86 | 89 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6090-9_0_7_line_89 |  | 87 | 90 | 0.035813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_6090-9_0_7_line_90 |  | 88 | 91 | 0.016244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
91 | LV_6090-9_0_7_line_91 |  | 90 | 94 | 0.018457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6090-9_0_7_line_92 |  | 91 | 144 | 0.020354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6090-9_0_7_line_93 |  | 91 | 140 | 0.0084255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6090-9_0_7_line_94 |  | 92 | 93 | 0.010109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6090-9_0_7_line_95 |  | 93 | 94 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_6090-9_0_7_line_96 |  | 93 | 95 | 0.026472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_6090-9_0_7_line_97 |  | 95 | 96 | 0.036844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_6090-9_0_7_line_98 |  | 95 | 97 | 0.02285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6090-9_0_7_line_99 |  | 96 | 98 | 0.055979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6090-9_0_7_line_100 |  | 96 | 99 | 0.016163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_6090-9_0_7_line_101 |  | 97 | 100 | 0.013676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6090-9_0_7_line_102 |  | 98 | 106 | 0.05662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6090-9_0_7_line_103 |  | 98 | 107 | 0.091078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6090-9_0_7_line_104 |  | 99 | 101 | 0.0089316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_6090-9_0_7_line_105 |  | 100 | 126 | 0.032721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6090-9_0_7_line_106 |  | 101 | 102 | 0.011356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_6090-9_0_7_line_107 |  | 102 | 103 | 0.10987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
108 | LV_6090-9_0_7_line_108 |  | 103 | 104 | 0.062697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6090-9_0_7_line_109 |  | 104 | 105 | 0.030333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6090-9_0_7_line_110 |  | 105 | 116 | 0.05474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6090-9_0_7_line_111 |  | 107 | 114 | 0.029118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6090-9_0_7_line_112 |  | 108 | 109 | 0.016575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6090-9_0_7_line_113 |  | 109 | 110 | 0.016303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6090-9_0_7_line_114 |  | 110 | 111 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6090-9_0_7_line_115 |  | 110 | 112 | 0.019018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6090-9_0_7_line_116 |  | 112 | 113 | 0.0078641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6090-9_0_7_line_117 |  | 113 | 115 | 0.088106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6090-9_0_7_line_118 |  | 115 | 116 | 0.004848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6090-9_0_7_line_119 |  | 116 | 117 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6090-9_0_7_line_120 |  | 117 | 120 | 0.044377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6090-9_0_7_line_121 |  | 118 | 119 | 0.0086939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6090-9_0_7_line_122 |  | 119 | 121 | 0.017867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6090-9_0_7_line_123 |  | 119 | 122 | 0.017648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6090-9_0_7_line_124 |  | 120 | 156 | 0.027379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_6090-9_0_7_line_125 |  | 120 | 121 | 0.030527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_6090-9_0_7_line_126 |  | 123 | 124 | 0.018945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6090-9_0_7_line_127 |  | 124 | 125 | 0.082701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_6090-9_0_7_line_128 |  | 124 | 126 | 0.0067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_6090-9_0_7_line_129 |  | 125 | 127 | 0.024293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_6090-9_0_7_line_130 |  | 126 | 128 | 0.028228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6090-9_0_7_line_131 |  | 127 | 129 | 0.031313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_6090-9_0_7_line_132 |  | 128 | 130 | 0.048475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_6090-9_0_7_line_133 |  | 129 | 131 | 0.038401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6090-9_0_7_line_134 |  | 129 | 132 | 0.0126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6090-9_0_7_line_135 |  | 130 | 134 | 0.027429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6090-9_0_7_line_136 |  | 131 | 133 | 0.053606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6090-9_0_7_line_137 |  | 134 | 135 | 0.042269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6090-9_0_7_line_138 |  | 135 | 136 | 0.013654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6090-9_0_7_line_139 |  | 135 | 137 | 0.023917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6090-9_0_7_line_140 |  | 137 | 138 | 0.018632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6090-9_0_7_line_141 |  | 137 | 139 | 0.01645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6090-9_0_7_line_142 |  | 138 | 149 | 0.008639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_6090-9_0_7_line_143 |  | 140 | 141 | 0.035074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_6090-9_0_7_line_144 |  | 141 | 142 | 0.009014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_6090-9_0_7_line_145 |  | 141 | 143 | 0.089097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_6090-9_0_7_line_146 |  | 143 | 145 | 0.006909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_6090-9_0_7_line_147 |  | 143 | 146 | 0.041706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_6090-9_0_7_line_148 |  | 146 | 147 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_6090-9_0_7_line_149 |  | 146 | 148 | 0.028861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_6090-9_0_7_line_150 |  | 148 | 154 | 0.00828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_6090-9_0_7_line_151 |  | 148 | 150 | 0.022667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_6090-9_0_7_line_152 |  | 150 | 151 | 0.0024452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_6090-9_0_7_line_153 |  | 151 | 152 | 0.005513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_6090-9_0_7_line_154 |  | 151 | 153 | 0.025017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_6090-9_0_7_line_155 |  | 153 | 155 | 0.006657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6090-9_0_7_trafo_133 | 0.63 MVA 20/0.4 kV | 157 | 91 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2600565.5444 | 1119597.0379 | 2600571 | 1119597.1738 | 2600588.5592 | 1119603.3672 | 2600606.7046 | 1119610.2054 | 2600628.5498 | 1119611.685
1 | 2600553.5406 | 1119596.7388 | 2600565.5444 | 1119597.0379
2 | 2600499.089 | 1119570.244 | 2600514.0166 | 1119586.7754 | 2600520.2657 | 1119590.3665 | 2600533.9292 | 1119590.1563 | 2600549.3441 | 1119590.8801 | 2600553.5406 | 1119596.7388
3 | 2600499.089 | 1119570.244 | 2600472.9422 | 1119570.0421 | 2600450.6376 | 1119570.0407 | 2600428.2864 | 1119575.3085 | 2600419.1504 | 1119578.5996
4 | 2600324.296 | 1119699.3195 | 2600332.983 | 1119701.9545 | 2600349.1305 | 1119704.0007 | 2600378.9484 | 1119716.5305 | 2600404.3995 | 1119729.1158 | 2600402.3239 | 1119734.0736 | 2600381.4235 | 1119742.7323
5 | 2600381.4235 | 1119742.7323 | 2600442.1426 | 1119632.7891
6 | 2600324.296 | 1119699.3195 | 2600321.5572 | 1119699.8336
7 | 2600419.1504 | 1119578.5996 | 2600442.1426 | 1119632.7891
8 | 2600309.1976 | 1119702.1536 | 2600309.1976 | 1119702.1536 | 2600295.0126 | 1119700.0605
9 | 2600309.1976 | 1119702.1536 | 2600321.5572 | 1119699.8336
10 | 2600295.0126 | 1119700.0605 | 2600257.0521 | 1119694.4592 | 2600245.6725 | 1119690.6014 | 2600227.3259 | 1119689.5284
11 | 2600200.2266 | 1119690.6469 | 2600224.5642 | 1119689.3669 | 2600227.3259 | 1119689.5284
12 | 2600146.3648 | 1119689.506 | 2600160.8303 | 1119690.5439 | 2600194.3521 | 1119690.9558 | 2600200.2266 | 1119690.6469
13 | 2600146.3648 | 1119689.506 | 2600129.9933 | 1119688.3314 | 2600115.5717 | 1119688.5552
14 | 2600146.3648 | 1119689.506 | 2600159.9109 | 1119652.6055
15 | 2600118.2436 | 1119575.0801 | 2600070.8594 | 1119570.3477
16 | 2600159.9109 | 1119652.6055 | 2600118.2436 | 1119575.0801
17 | 2600115.5717 | 1119688.5552 | 2600103.5076 | 1119688.7425 | 2600100.7946 | 1119688.6533
18 | 2600092.344 | 1119688.3756 | 2600100.7946 | 1119688.6533
19 | 2600033.1079 | 1119681.3167 | 2600039.9743 | 1119685.5854 | 2600050.9451 | 1119687.0305 | 2600092.344 | 1119688.3756
20 | 2600033.1079 | 1119681.3167 | 2600021.1673 | 1119684.2826
21 | 2599998.1357 | 1119687.6757 | 2600015.1164 | 1119685.7857 | 2600021.1673 | 1119684.2826
22 | 2599904.17 | 1119559.8788 | 2599919.3157 | 1119562.238 | 2599930.7003 | 1119559.2415
23 | 2599904.17 | 1119559.8788 | 2599881.4262 | 1119556.3362 | 2599875.0374 | 1119551.7084
24 | 2599875.0374 | 1119551.7084 | 2599864.9827 | 1119544.4253
25 | 2599837.5026 | 1119532.0369 | 2599847.8796 | 1119532.0365 | 2599864.9827 | 1119544.4253
26 | 2599998.1357 | 1119687.6757 | 2599991.5546 | 1119680.639 | 2599981.6253 | 1119678.0156 | 2599970.765 | 1119675.4269
27 | 2599998.1357 | 1119687.6757 | 2599956.1042 | 1119689.933 | 2599941.0214 | 1119692.0232
28 | 2600024.7728 | 1119701.2811 | 2600012.6555 | 1119703.5944 | 2599994.2552 | 1119699.4037 | 2599978.267 | 1119697.7139
29 | 2599941.0214 | 1119692.0232 | 2599948.0884 | 1119694.5243 | 2599978.267 | 1119697.7139
30 | 2599912.9223 | 1119658.1962 | 2599921.6096 | 1119661.4531 | 2599961.759 | 1119673.2803 | 2599970.765 | 1119675.4269
31 | 2599941.0214 | 1119692.0232 | 2599922.5594 | 1119696.5147 | 2599901.1581 | 1119703.0407 | 2599883.8534 | 1119706.0983 | 2599870.5666 | 1119706.8801
32 | 2599870.5666 | 1119706.8801 | 2599863.8176 | 1119707.2773 | 2599835.6577 | 1119704.6214 | 2599827.4421 | 1119703.3418
33 | 2599827.4421 | 1119703.3418 | 2599795.1304 | 1119698.309 | 2599764.3094 | 1119697.7038
34 | 2599912.9223 | 1119658.1962 | 2599894.2736 | 1119651.2108
35 | 2599942.9107 | 1119653.2709 | 2599912.9223 | 1119658.1962
36 | 2599764.3094 | 1119697.7038 | 2599759.5487 | 1119697.6103 | 2599726.5285 | 1119699.3686 | 2599708.3769 | 1119699.4616
37 | 2599808.4947 | 1119744.5417 | 2599796.4208 | 1119741.141 | 2599779.8643 | 1119738.0513 | 2599770.3557 | 1119734.8941
38 | 2599808.4947 | 1119744.5417 | 2599818.9641 | 1119747.4904
39 | 2599770.3557 | 1119734.8941 | 2599768.1857 | 1119734.1736
40 | 2599911.3875 | 1119783.8001 | 2599904.8558 | 1119781.5679 | 2599878.3624 | 1119770.2187 | 2599850.3953 | 1119757.4134 | 2599823.5315 | 1119748.7769 | 2599818.9641 | 1119747.4904
41 | 2599768.1857 | 1119734.1736 | 2599753.7872 | 1119729.3929 | 2599750.4825 | 1119728.1048
42 | 2599997.3888 | 1119806.4115 | 2599936.9037 | 1119791.283 | 2599911.7838 | 1119783.9355 | 2599911.3875 | 1119783.8001
43 | 2599746.8731 | 1119726.6981 | 2599750.4825 | 1119728.1048
44 | 2599997.3888 | 1119806.4115 | 2599993.8246 | 1119811.4696 | 2599989.3808 | 1119815.2048 | 2599983.7027 | 1119817.1281 | 2599949.9887 | 1119813.8382 | 2599947.6216 | 1119814.0145
45 | 2599698.0215 | 1119699.5148 | 2599707.2336 | 1119705.8729 | 2599726.2673 | 1119718.6669 | 2599746.8731 | 1119726.6981
46 | 2599947.6216 | 1119814.0145 | 2599915.2024 | 1119816.4291 | 2599855.4241 | 1119824.9149
47 | 2599698.0215 | 1119699.5148 | 2599708.3769 | 1119699.4616
48 | 2599698.0215 | 1119699.5148 | 2599694.0791 | 1119698.848 | 2599671.0804 | 1119696.1259 | 2599657.5177 | 1119692.885
49 | 2599881.051 | 1119646.258 | 2599899.019 | 1119613.9517
50 | 2599881.051 | 1119646.258 | 2599894.2736 | 1119651.2108
51 | 2599791.4293 | 1119576.5496 | 2599779.2237 | 1119573.0373 | 2599773.8829 | 1119573.7374
52 | 2599805.5219 | 1119531.8853 | 2599791.4293 | 1119576.5496
53 | 2599735.4254 | 1119601.4705 | 2599773.8829 | 1119573.7374
54 | 2599837.5026 | 1119532.0369 | 2599807.5675 | 1119532.0493 | 2599805.5219 | 1119531.8853
55 | 2599752.6838 | 1119518.4891 | 2599762.9112 | 1119521.8909 | 2599786.3582 | 1119530.3494 | 2599805.5219 | 1119531.8853
56 | 2599735.4254 | 1119601.4705 | 2599732.8802 | 1119600.82 | 2599714.4635 | 1119590.5049 | 2599710.4188 | 1119588.8907
57 | 2599816.886 | 1119496.2981 | 2599828.0581 | 1119505.78 | 2599822.3952 | 1119507.9702 | 2599807.983 | 1119507.0259 | 2599793.9102 | 1119502.2798 | 2599790.1839 | 1119508.0494 | 2599797.6372 | 1119514.241 | 2599816.2623 | 1119525.5902 | 2599833.8532 | 1119530.3251 | 2599837.5026 | 1119532.0369
58 | 2599710.4188 | 1119588.8907 | 2599672.0267 | 1119539.2158
59 | 2599672.0267 | 1119539.2158 | 2599626.5416 | 1119588.915
60 | 2599626.5416 | 1119588.915 | 2599630.646 | 1119590.5771 | 2599631.1017 | 1119597.2915 | 2599612.802 | 1119599.6397
61 | 2599593.1 | 1119681.1853 | 2599612.802 | 1119599.6397
62 | 2599639.6412 | 1119688.6133 | 2599657.5177 | 1119692.885
63 | 2599639.6412 | 1119688.6133 | 2599617.5218 | 1119684.1794
64 | 2599639.6412 | 1119688.6133 | 2599645.5899 | 1119694.8493 | 2599661.9 | 1119702.7854 | 2599671.0424 | 1119704.9636 | 2599676.7844 | 1119706.0846
65 | 2599617.5218 | 1119684.1794 | 2599623.8644 | 1119695.0621 | 2599647.4582 | 1119713.625 | 2599659.4015 | 1119720.0051
66 | 2599617.5218 | 1119684.1794 | 2599610.8868 | 1119682.8459 | 2599593.1 | 1119681.1853
67 | 2599693.1848 | 1119709.2865 | 2599676.7844 | 1119706.0846
68 | 2599659.4015 | 1119720.0051 | 2599670.797 | 1119726.0962 | 2599675.155 | 1119727.7531
69 | 2599659.4015 | 1119720.0051 | 2599654.4641 | 1119722.5844 | 2599632.8816 | 1119713.6746
70 | 2599540.934 | 1119677.5157 | 2599588.5207 | 1119680.7578 | 2599593.1 | 1119681.1853
71 | 2599697.7349 | 1119736.3383 | 2599675.155 | 1119727.7531
72 | 2599561.7665 | 1119698.8911 | 2599568.9261 | 1119699.7464 | 2599571.9734 | 1119698.6456 | 2599573.8248 | 1119696.1999 | 2599574.0021 | 1119694.2989 | 2599571.9883 | 1119691.8979 | 2599544.1054 | 1119683.0848 | 2599542.4542 | 1119681.4953 | 2599540.934 | 1119677.5157
73 | 2599810.4811 | 1119825.3927 | 2599842.9838 | 1119826.6809 | 2599855.4241 | 1119824.9149
74 | 2599810.4811 | 1119825.3927 | 2599802.0024 | 1119825.0484
75 | 2599810.4811 | 1119825.3927 | 2599810.4808 | 1119819.7232 | 2599806.9702 | 1119810.4744 | 2599798.9001 | 1119804.7053 | 2599779.5779 | 1119799.9078
76 | 2599812.9658 | 1119836.8537 | 2599802.0024 | 1119825.0484
77 | 2599802.0024 | 1119825.0484 | 2599792.6983 | 1119824.682 | 2599767.9985 | 1119824.8147
78 | 2599732.1783 | 1119825.0071 | 2599767.9985 | 1119824.8147
79 | 2599723.7969 | 1119824.8634 | 2599727.932 | 1119825.0299 | 2599732.1783 | 1119825.0071
80 | 2599723.7969 | 1119824.8634 | 2599723.7818 | 1119831.0776 | 2599733.9193 | 1119834.801
81 | 2599723.7969 | 1119824.8634 | 2599687.5755 | 1119823.4427 | 2599674.464 | 1119821.3897
82 | 2599644.2946 | 1119815.9975 | 2599650.7444 | 1119817.6757 | 2599674.464 | 1119821.3897
83 | 2599644.2946 | 1119815.9975 | 2599633.3624 | 1119813.1413 | 2599624.4594 | 1119812.8085
84 | 2599644.2946 | 1119815.9975 | 2599645.5604 | 1119823.8679 | 2599656.7322 | 1119833.7609 | 2599669.3532 | 1119841.9477
85 | 2599624.4594 | 1119812.8085 | 2599624.8688 | 1119819.7452 | 2599618.1745 | 1119834.6217
86 | 2599624.4594 | 1119812.8085 | 2599604.318 | 1119812.0451
87 | 2599694.6829 | 1119858.3781 | 2599669.3532 | 1119841.9477
88 | 2599599.0022 | 1119836.6554 | 2599614.9338 | 1119841.8234 | 2599618.1745 | 1119834.6217
89 | 2599604.318 | 1119812.0451 | 2599568.5309 | 1119810.6887
90 | 2599708.416 | 1119867.0516 | 2599699.9834 | 1119861.8163 | 2599694.6829 | 1119858.3781
91 | 2599550.8077 | 1119806.1089 | 2599554.3152 | 1119806.133 | 2599567.9709 | 1119810.6674 | 2599568.5309 | 1119810.6887
92 | 2599708.416 | 1119867.0516 | 2599709.5036 | 1119864.895 | 2599726.4322 | 1119870.8286
93 | 2599708.416 | 1119867.0516 | 2599715.5728 | 1119871.4979
94 | 2599536.787 | 1119806.0123 | 2599529.9509 | 1119798.5648
95 | 2599536.787 | 1119806.0123 | 2599550.8077 | 1119806.1089
96 | 2599544.4962 | 1119830.0234 | 2599542.9595 | 1119812.7484 | 2599536.787 | 1119806.0123
97 | 2599544.4962 | 1119830.0234 | 2599546.0639 | 1119847.6318 | 2599549.1437 | 1119866.5408
98 | 2599544.4962 | 1119830.0234 | 2599563.7735 | 1119842.2909
99 | 2599549.1437 | 1119866.5408 | 2599549.6611 | 1119871.7878 | 2599556.9841 | 1119891.3856 | 2599564.0529 | 1119916.6085 | 2599565.2336 | 1119919.9989
100 | 2599549.1437 | 1119866.5408 | 2599537.7184 | 1119870.3993 | 2599533.8303 | 1119871.7114 | 2599533.8303 | 1119871.7114
101 | 2599563.7735 | 1119842.2909 | 2599565.2812 | 1119843.2503 | 2599574.6918 | 1119850.516
102 | 2599565.2336 | 1119919.9989 | 2599556.7943 | 1119927.6145 | 2599520.3755 | 1119954.642
103 | 2599565.2336 | 1119919.9989 | 2599569.9175 | 1119933.4718 | 2599610.7946 | 1119992.364 | 2599613.9868 | 1119996.3745
104 | 2599525.6728 | 1119868.0744 | 2599533.8303 | 1119871.7114
105 | 2599601.7358 | 1119868.8043 | 2599588.4888 | 1119861.1683 | 2599574.6918 | 1119850.516
106 | 2599525.6728 | 1119868.0744 | 2599518.9478 | 1119865.0761 | 2599515.4855 | 1119863.0873
107 | 2599412.5598 | 1119857.1607 | 2599430.1566 | 1119850.6889 | 2599455.1906 | 1119844.4944 | 2599474.8555 | 1119842.636 | 2599492.4383 | 1119849.8489 | 2599515.4855 | 1119863.0873
108 | 2599412.5598 | 1119857.1607 | 2599416.942 | 1119859.5391 | 2599442.9902 | 1119888.2282 | 2599452.89 | 1119904.4796
109 | 2599452.89 | 1119904.4796 | 2599461.7711 | 1119919.0636 | 2599465.3436 | 1119924.9327 | 2599468.8094 | 1119930.2972
110 | 2599502.726 | 1119972.9637 | 2599495.1418 | 1119965.772 | 2599481.7245 | 1119950.288 | 2599468.8094 | 1119930.2972
111 | 2599632.1203 | 1120019.157 | 2599613.9868 | 1119996.3745
112 | 2599587.512 | 1120096.0019 | 2599576.4192 | 1120083.6864
113 | 2599565.5086 | 1120071.573 | 2599576.4192 | 1120083.6864
114 | 2599565.5086 | 1120071.573 | 2599555.1642 | 1120081.2675
115 | 2599565.5086 | 1120071.573 | 2599566.1556 | 1120059.3892 | 2599562.9025 | 1120053.398
116 | 2599562.9025 | 1120053.398 | 2599560.7777 | 1120049.4849 | 2599558.9118 | 1120046.6291
117 | 2599506.2442 | 1119976.3095 | 2599513.3809 | 1119983.0788 | 2599534.9072 | 1120009.89 | 2599558.9118 | 1120046.6291
118 | 2599506.2442 | 1119976.3095 | 2599502.726 | 1119972.9637
119 | 2599502.726 | 1119972.9637 | 2599494.1095 | 1119980.635
120 | 2599494.1095 | 1119980.635 | 2599456.8155 | 1120004.6858
121 | 2599509.3471 | 1120017.9845 | 2599506.773 | 1120020.5533 | 2599501.7224 | 1120020.2932
122 | 2599501.7224 | 1120020.2932 | 2599483.9291 | 1120018.6766
123 | 2599501.7224 | 1120020.2932 | 2599504.0808 | 1120037.7832
124 | 2599456.8155 | 1120004.6858 | 2599432.6865 | 1119991.7466
125 | 2599456.8155 | 1120004.6858 | 2599470.7603 | 1120012.1638 | 2599482.4639 | 1120017.732 | 2599483.9291 | 1120018.6766
126 | 2599606.4884 | 1119873.5396 | 2599602.5234 | 1119878.509 | 2599611.6275 | 1119887.2014
127 | 2599606.4884 | 1119873.5396 | 2599616.6342 | 1119883.6548 | 2599658.8135 | 1119921.6148 | 2599667.3412 | 1119929.5214
128 | 2599601.7358 | 1119868.8043 | 2599606.4884 | 1119873.5396
129 | 2599685.7708 | 1119945.2645 | 2599680.3698 | 1119941.601 | 2599667.3412 | 1119929.5214
130 | 2599601.7358 | 1119868.8043 | 2599615.36 | 1119866.969 | 2599629.8407 | 1119866.9679 | 2599629.8407 | 1119866.9679
131 | 2599710.2656 | 1119964.5992 | 2599700.4443 | 1119955.2175 | 2599685.7708 | 1119945.2645
132 | 2599670.6397 | 1119892.8712 | 2599646.2198 | 1119875.193 | 2599629.8407 | 1119866.9679
133 | 2599710.2656 | 1119964.5992 | 2599729.1676 | 1119982.6625 | 2599740.2583 | 1119987.8773
134 | 2599721.3051 | 1119960.5966 | 2599718.1963 | 1119964.0985 | 2599710.2656 | 1119964.5992
135 | 2599670.6397 | 1119892.8712 | 2599692.858 | 1119908.9557
136 | 2599740.2583 | 1119987.8773 | 2599770.7969 | 1120002.2366 | 2599788.7931 | 1120010.6352
137 | 2599731.7796 | 1119924.6673 | 2599713.2714 | 1119915.1971 | 2599694.6477 | 1119910.2514 | 2599692.858 | 1119908.9557
138 | 2599731.7796 | 1119924.6673 | 2599736.4079 | 1119913.7951 | 2599737.2333 | 1119912.1498
139 | 2599731.7796 | 1119924.6673 | 2599736.2389 | 1119926.9571 | 2599753.4277 | 1119934.9601
140 | 2599770.2231 | 1119943.1188 | 2599763.3028 | 1119939.5618 | 2599753.4277 | 1119934.9601
141 | 2599753.4277 | 1119934.9601 | 2599759.3752 | 1119924.2879 | 2599763.2283 | 1119922.5352
142 | 2599775.0984 | 1119936.2596 | 2599774.0648 | 1119939.3723 | 2599770.2231 | 1119943.1188
143 | 2599746.158 | 1119888.5711 | 2599731.8544 | 1119881.6129 | 2599715.5728 | 1119871.4979
144 | 2599746.158 | 1119888.5711 | 2599750.6784 | 1119880.7671
145 | 2599826.833 | 1119926.7749 | 2599797.9022 | 1119914.5146 | 2599767.2816 | 1119898.8417 | 2599746.158 | 1119888.5711
146 | 2599826.833 | 1119926.7749 | 2599828.9003 | 1119920.1827
147 | 2599826.833 | 1119926.7749 | 2599860.7705 | 1119938.3237 | 2599866.6183 | 1119939.513
148 | 2599870.0818 | 1119927.1735 | 2599866.6183 | 1119939.513
149 | 2599894.692 | 1119935.21 | 2599886.4296 | 1119937.9116 | 2599872.9752 | 1119940.8023 | 2599866.6183 | 1119939.513
150 | 2599894.692 | 1119935.21 | 2599893.874 | 1119926.9727
151 | 2599894.692 | 1119935.21 | 2599901.5349 | 1119932.9643 | 2599916.8961 | 1119931.1785
152 | 2599919.325 | 1119930.8961 | 2599916.8961 | 1119931.1785
153 | 2599919.325 | 1119930.8961 | 2599918.7385 | 1119925.4157
154 | 2599919.325 | 1119930.8961 | 2599926.3608 | 1119931.7408 | 2599932.5711 | 1119926.5603 | 2599938.7813 | 1119918.9231
155 | 2599940.6404 | 1119912.5311 | 2599938.7813 | 1119918.9231

## bus_geodata
| x | y | coords
0 | 2600565.5444 | 1119597.0379
1 | 2600628.5498 | 1119611.685
2 | 2600553.5406 | 1119596.7388
3 | 2600499.089 | 1119570.244
4 | 2600381.4236 | 1119742.7323
5 | 2600324.296 | 1119699.3195
6 | 2600442.1426 | 1119632.7891
7 | 2600419.1504 | 1119578.5996
8 | 2600309.1976 | 1119702.1536
9 | 2600295.0126 | 1119700.0605
10 | 2600321.5572 | 1119699.8336
11 | 2600227.3259 | 1119689.5284
12 | 2600200.2266 | 1119690.6469
13 | 2600146.3648 | 1119689.506
14 | 2600118.2436 | 1119575.0801
15 | 2600070.8594 | 1119570.3477
16 | 2600159.9109 | 1119652.6055
17 | 2600115.5717 | 1119688.5552
18 | 2600100.7946 | 1119688.6533
19 | 2600033.1079 | 1119681.3167
20 | 2600092.344 | 1119688.3756
21 | 2600021.1673 | 1119684.2826
22 | 2599930.7003 | 1119559.2415
23 | 2599904.17 | 1119559.8788
24 | 2599875.0374 | 1119551.7084
25 | 2599864.9827 | 1119544.4253
26 | 2599998.1357 | 1119687.6757
27 | 2600024.7728 | 1119701.2811
28 | 2599978.267 | 1119697.7139
29 | 2599970.765 | 1119675.4269
30 | 2599941.0214 | 1119692.0232
31 | 2599870.5666 | 1119706.8801
32 | 2599827.4421 | 1119703.3418
33 | 2599912.9223 | 1119658.1962
34 | 2599764.3094 | 1119697.7038
35 | 2599808.4947 | 1119744.5417
36 | 2599770.3557 | 1119734.8941
37 | 2599818.9641 | 1119747.4904
38 | 2599768.1857 | 1119734.1736
39 | 2599911.3875 | 1119783.8001
40 | 2599750.4825 | 1119728.1048
41 | 2599997.3888 | 1119806.4115
42 | 2599746.8731 | 1119726.6981
43 | 2599947.6216 | 1119814.0145
44 | 2599708.3769 | 1119699.4616
45 | 2599698.0215 | 1119699.5148
46 | 2599899.019 | 1119613.9517
47 | 2599881.051 | 1119646.258
48 | 2599894.2736 | 1119651.2108
49 | 2599791.4293 | 1119576.5496
50 | 2599773.8829 | 1119573.7374
51 | 2599805.5219 | 1119531.8853
52 | 2599735.4254 | 1119601.4705
53 | 2599837.5026 | 1119532.0369
54 | 2599752.6838 | 1119518.4891
55 | 2599710.4188 | 1119588.8907
56 | 2599816.886 | 1119496.2981
57 | 2599942.9107 | 1119653.2709
58 | 2599672.0267 | 1119539.2158
59 | 2599626.5416 | 1119588.915
60 | 2599612.802 | 1119599.6397
61 | 2599657.5177 | 1119692.885
62 | 2599639.6412 | 1119688.6133
63 | 2599617.5218 | 1119684.1794
64 | 2599676.7844 | 1119706.0846
65 | 2599659.4015 | 1119720.0051
66 | 2599593.1 | 1119681.1853
67 | 2599693.1848 | 1119709.2865
68 | 2599675.155 | 1119727.7531
69 | 2599632.8816 | 1119713.6746
70 | 2599540.934 | 1119677.5157
71 | 2599561.7665 | 1119698.8911
72 | 2599697.7349 | 1119736.3383
73 | 2599855.4241 | 1119824.9149
74 | 2599810.4811 | 1119825.3927
75 | 2599802.0024 | 1119825.0484
76 | 2599779.5779 | 1119799.9078
77 | 2599812.9658 | 1119836.8537
78 | 2599767.9985 | 1119824.8147
79 | 2599732.1783 | 1119825.0071
80 | 2599723.7969 | 1119824.8634
81 | 2599733.9193 | 1119834.801
82 | 2599674.464 | 1119821.3897
83 | 2599644.2946 | 1119815.9975
84 | 2599624.4594 | 1119812.8085
85 | 2599669.3532 | 1119841.9477
86 | 2599618.1745 | 1119834.6217
87 | 2599604.318 | 1119812.0451
88 | 2599694.6829 | 1119858.3781
89 | 2599599.0022 | 1119836.6554
90 | 2599568.5309 | 1119810.6887
91 | 2599708.416 | 1119867.0516
92 | 2599529.9509 | 1119798.5648
93 | 2599536.787 | 1119806.0123
94 | 2599550.8077 | 1119806.1089
95 | 2599544.4962 | 1119830.0234
96 | 2599549.1437 | 1119866.5408
97 | 2599563.7735 | 1119842.2909
98 | 2599565.2336 | 1119919.9989
99 | 2599533.8303 | 1119871.7114
100 | 2599574.6918 | 1119850.516
101 | 2599525.6728 | 1119868.0744
102 | 2599515.4855 | 1119863.0873
103 | 2599412.5598 | 1119857.1607
104 | 2599452.89 | 1119904.4796
105 | 2599468.8094 | 1119930.2972
106 | 2599520.3755 | 1119954.642
107 | 2599613.9868 | 1119996.3745
108 | 2599587.512 | 1120096.0019
109 | 2599576.4192 | 1120083.6864
110 | 2599565.5086 | 1120071.573
111 | 2599555.1642 | 1120081.2675
112 | 2599562.9025 | 1120053.398
113 | 2599558.9118 | 1120046.6291
114 | 2599632.1203 | 1120019.157
115 | 2599506.2442 | 1119976.3095
116 | 2599502.726 | 1119972.9637
117 | 2599494.1095 | 1119980.635
118 | 2599509.3471 | 1120017.9845
119 | 2599501.7224 | 1120020.2932
120 | 2599456.8155 | 1120004.6858
121 | 2599483.9291 | 1120018.6766
122 | 2599504.0808 | 1120037.7832
123 | 2599611.6275 | 1119887.2014
124 | 2599606.4884 | 1119873.5396
125 | 2599667.3412 | 1119929.5214
126 | 2599601.7358 | 1119868.8043
127 | 2599685.7708 | 1119945.2645
128 | 2599629.8407 | 1119866.9679
129 | 2599710.2656 | 1119964.5992
130 | 2599670.6397 | 1119892.8712
131 | 2599740.2583 | 1119987.8773
132 | 2599721.3051 | 1119960.5966
133 | 2599788.7931 | 1120010.6352
134 | 2599692.858 | 1119908.9557
135 | 2599731.7796 | 1119924.6673
136 | 2599737.2333 | 1119912.1498
137 | 2599753.4277 | 1119934.9601
138 | 2599770.2231 | 1119943.1188
139 | 2599763.2283 | 1119922.5352
140 | 2599715.5728 | 1119871.4979
141 | 2599746.158 | 1119888.5711
142 | 2599750.6784 | 1119880.7671
143 | 2599826.833 | 1119926.7749
144 | 2599726.4322 | 1119870.8286
145 | 2599828.9003 | 1119920.1827
146 | 2599866.6183 | 1119939.513
147 | 2599870.0818 | 1119927.1735
148 | 2599894.692 | 1119935.21
149 | 2599775.0984 | 1119936.2596
150 | 2599916.8961 | 1119931.1785
151 | 2599919.325 | 1119930.8961
152 | 2599918.7385 | 1119925.4157
153 | 2599938.7813 | 1119918.9231
154 | 2599893.874 | 1119926.9727
155 | 2599940.6404 | 1119912.5311
156 | 2599432.6865 | 1119991.7466
157 | 2599737.0226 | 1119868.8286

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1