## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_610-1_1_2_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_610-1_1_2_node_5 | 0.4 | n |  | TRUE
2 | bus_LV_610-1_1_2_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_610-1_1_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_610-1_1_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_610-1_1_2_node_219 | 0.4 | n |  | TRUE
6 | bus_LV_610-1_1_2_node_168 | 0.4 | n |  | TRUE
7 | bus_LV_610-1_1_2_node_169 | 0.4 | n |  | TRUE
8 | bus_LV_610-1_1_2_node_203 | 0.4 | n |  | TRUE
9 | bus_LV_610-1_1_2_node_227 | 0.4 | n |  | TRUE
10 | bus_LV_610-1_1_2_node_170 | 0.4 | n |  | TRUE
11 | bus_LV_610-1_1_2_node_171 | 0.4 | n |  | TRUE
12 | bus_LV_610-1_1_2_node_172 | 0.4 | n |  | TRUE
13 | bus_LV_610-1_1_2_node_173 | 0.4 | n |  | TRUE
14 | bus_LV_610-1_1_2_node_174 | 0.4 | n |  | TRUE
15 | bus_LV_610-1_1_2_node_175 | 0.4 | n |  | TRUE
16 | bus_LV_610-1_1_2_node_185 | 0.4 | n |  | TRUE
17 | bus_LV_610-1_1_2_node_182 | 0.4 | n |  | TRUE
18 | bus_LV_610-1_1_2_node_179 | 0.4 | n |  | TRUE
19 | bus_LV_610-1_1_2_node_176 | 0.4 | n |  | TRUE
20 | bus_LV_610-1_1_2_node_177 | 0.4 | n |  | TRUE
21 | bus_LV_610-1_1_2_node_178 | 0.4 | n |  | TRUE
22 | bus_LV_610-1_1_2_node_180 | 0.4 | n |  | TRUE
23 | bus_LV_610-1_1_2_node_181 | 0.4 | n |  | TRUE
24 | bus_LV_610-1_1_2_node_217 | 0.4 | n |  | TRUE
25 | bus_LV_610-1_1_2_node_202 | 0.4 | n |  | TRUE
26 | bus_LV_610-1_1_2_node_183 | 0.4 | n |  | TRUE
27 | bus_LV_610-1_1_2_node_184 | 0.4 | n |  | TRUE
28 | bus_LV_610-1_1_2_node_211 | 0.4 | n |  | TRUE
29 | bus_LV_610-1_1_2_node_186 | 0.4 | n |  | TRUE
30 | bus_LV_610-1_1_2_node_187 | 0.4 | n |  | TRUE
31 | bus_LV_610-1_1_2_node_188 | 0.4 | n |  | TRUE
32 | bus_LV_610-1_1_2_node_190 | 0.4 | n |  | TRUE
33 | bus_LV_610-1_1_2_node_199 | 0.4 | n |  | TRUE
34 | bus_LV_610-1_1_2_node_191 | 0.4 | n |  | TRUE
35 | bus_LV_610-1_1_2_node_192 | 0.4 | n |  | TRUE
36 | bus_LV_610-1_1_2_node_193 | 0.4 | n |  | TRUE
37 | bus_LV_610-1_1_2_node_220 | 0.4 | n |  | TRUE
38 | bus_LV_610-1_1_2_node_200 | 0.4 | n |  | TRUE
39 | bus_LV_610-1_1_2_node_195 | 0.4 | n |  | TRUE
40 | bus_LV_610-1_1_2_node_198 | 0.4 | n |  | TRUE
41 | bus_LV_610-1_1_2_node_213 | 0.4 | n |  | TRUE
42 | bus_LV_610-1_1_2_node_196 | 0.4 | n |  | TRUE
43 | bus_LV_610-1_1_2_node_197 | 0.4 | n |  | TRUE
44 | bus_LV_610-1_1_2_node_201 | 0.4 | n |  | TRUE
45 | bus_LV_610-1_1_2_node_204 | 0.4 | n |  | TRUE
46 | bus_LV_610-1_1_2_node_205 | 0.4 | n |  | TRUE
47 | bus_LV_610-1_1_2_node_206 | 0.4 | n |  | TRUE
48 | bus_LV_610-1_1_2_node_207 | 0.4 | n |  | TRUE
49 | bus_LV_610-1_1_2_node_208 | 0.4 | n |  | TRUE
50 | bus_LV_610-1_1_2_node_216 | 0.4 | n |  | TRUE
51 | bus_LV_610-1_1_2_node_209 | 0.4 | n |  | TRUE
52 | bus_LV_610-1_1_2_node_210 | 0.4 | n |  | TRUE
53 | bus_LV_610-1_1_2_node_212 | 0.4 | n |  | TRUE
54 | bus_LV_610-1_1_2_node_214 | 0.4 | n |  | TRUE
55 | bus_LV_610-1_1_2_node_215 | 0.4 | n |  | TRUE
56 | bus_LV_610-1_1_2_node_221 | 0.4 | n |  | TRUE
57 | bus_LV_610-1_1_2_node_218 | 0.4 | n |  | TRUE
58 | bus_LV_610-1_1_2_node_223 | 0.4 | n |  | TRUE
59 | bus_LV_610-1_1_2_node_222 | 0.4 | n |  | TRUE
60 | bus_MV_93_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_610-1_1_2_load_4 | 0 | 0.0009059 | 0.00022704 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_610-1_1_2_load_5 | 1 | 0.0022313 | 0.00055921 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_610-1_1_2_load_6 | 2 | 0.00092473 | 0.00023176 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_610-1_1_2_load_7 | 3 | 0.0010845 | 0.00027181 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_610-1_1_2_load_8 | 4 | 0.00059703 | 0.00014963 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_610-1_1_2_load_219 | 5 | 0.0014719 | 0.0003689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_610-1_1_2_load_168 | 6 | 0.00084645 | 0.00021214 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_610-1_1_2_load_169 | 7 | 0.00068535 | 0.00017176 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_610-1_1_2_load_203 | 8 | 0.00080543 | 0.00020186 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_610-1_1_2_load_227 | 9 | 0.0085615 | 0.0021457 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_610-1_1_2_load_170 | 10 | 0.0043461 | 0.0010892 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_610-1_1_2_load_171 | 11 | 0.0017917 | 0.00044905 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_610-1_1_2_load_173 | 13 | 0.0013581 | 0.00034036 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_610-1_1_2_load_185 | 16 | 0.0010107 | 0.0002533 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_610-1_1_2_load_182 | 17 | 0.0032983 | 0.00082664 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_610-1_1_2_load_176 | 19 | 0.00077884 | 0.0001952 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_610-1_1_2_load_177 | 20 | 0.0012498 | 0.00031323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_610-1_1_2_load_180 | 22 | 0.0022628 | 0.0005671 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_610-1_1_2_load_181 | 23 | 0.00030968 | 7.7613e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_610-1_1_2_load_202 | 25 | 0.00036021 | 9.0277e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_610-1_1_2_load_183 | 26 | 0.0038874 | 0.00097428 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_610-1_1_2_load_184 | 27 | 0.0074155 | 0.0018585 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_610-1_1_2_load_211 | 28 | 0.00098125 | 0.00024592 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_610-1_1_2_load_186 | 29 | 0.03039 | 0.0076163 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_610-1_1_2_load_187 | 30 | 0.012977 | 0.0032524 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_610-1_1_2_load_188 | 31 | 0.017145 | 0.0042969 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_610-1_1_2_load_190 | 32 | 0.032206 | 0.0080715 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_610-1_1_2_load_199 | 33 | 0.0027654 | 0.00069309 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_610-1_1_2_load_191 | 34 | 0.0054328 | 0.0013616 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_610-1_1_2_load_192 | 35 | 0.0050304 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_610-1_1_2_load_193 | 36 | 0.0063316 | 0.0015869 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_610-1_1_2_load_220 | 37 | 0.0036117 | 0.00090518 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_610-1_1_2_load_200 | 38 | 0.0043265 | 0.0010843 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_610-1_1_2_load_198 | 40 | 0.0036419 | 0.00091274 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_610-1_1_2_load_213 | 41 | 0.0007734 | 0.00019383 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_610-1_1_2_load_196 | 42 | 0.001224 | 0.00030676 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_610-1_1_2_load_197 | 43 | 0.0018163 | 0.00045521 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_610-1_1_2_load_201 | 44 | 0.0043636 | 0.0010936 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_610-1_1_2_load_204 | 45 | 0.00057664 | 0.00014452 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_610-1_1_2_load_205 | 46 | 0.0014151 | 0.00035466 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_610-1_1_2_load_206 | 47 | 0.0054157 | 0.0013573 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_610-1_1_2_load_208 | 49 | 0.00308 | 0.00077191 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_610-1_1_2_load_216 | 50 | 0.00061031 | 0.00015296 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_610-1_1_2_load_209 | 51 | 0.0013673 | 0.00034267 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_610-1_1_2_load_210 | 52 | 0.00082856 | 0.00020766 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_610-1_1_2_load_212 | 53 | 0.00099674 | 0.00024981 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_610-1_1_2_load_214 | 54 | 0.0017569 | 0.00044033 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_610-1_1_2_load_221 | 56 | 0.0059662 | 0.0014953 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_610-1_1_2_load_218 | 57 | 0.00054558 | 0.00013673 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_610-1_1_2_load_223 | 58 | 0.00052432 | 0.00013141 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_610-1_1_2_load_222 | 59 | 0.0019323 | 0.00048428 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 54 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_610-1_1_2_line_0 |  | 0 | 1 | 0.0039942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_610-1_1_2_line_1 |  | 1 | 2 | 0.018922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_610-1_1_2_line_2 |  | 2 | 3 | 0.15953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_610-1_1_2_line_3 |  | 3 | 4 | 8.7558e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_610-1_1_2_line_4 |  | 4 | 5 | 0.022716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_610-1_1_2_line_5 |  | 5 | 48 | 0.02121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_610-1_1_2_line_6 |  | 6 | 7 | 2.3154e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_610-1_1_2_line_7 |  | 6 | 8 | 0.17009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_610-1_1_2_line_8 |  | 7 | 9 | 0.049171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_610-1_1_2_line_9 |  | 8 | 25 | 0.015687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_610-1_1_2_line_10 |  | 10 | 11 | 0.021581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_610-1_1_2_line_11 |  | 10 | 12 | 0.0098715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_610-1_1_2_line_12 |  | 11 | 13 | 0.0045222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_610-1_1_2_line_13 |  | 12 | 14 | 0.004051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_610-1_1_2_line_14 |  | 12 | 15 | 0.002779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_610-1_1_2_line_15 |  | 14 | 16 | 0.034214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_610-1_1_2_line_16 |  | 14 | 17 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_610-1_1_2_line_17 |  | 15 | 18 | 0.032613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_610-1_1_2_line_18 |  | 16 | 28 | 0.019505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_610-1_1_2_line_19 |  | 17 | 26 | 0.0058885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_610-1_1_2_line_20 |  | 18 | 24 | 0.008857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_610-1_1_2_line_21 |  | 18 | 20 | 0.011108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_610-1_1_2_line_22 |  | 19 | 20 | 0.0041213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_610-1_1_2_line_23 |  | 19 | 21 | 0.023721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_610-1_1_2_line_24 |  | 21 | 22 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_610-1_1_2_line_25 |  | 21 | 23 | 0.0063108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_610-1_1_2_line_26 |  | 22 | 25 | 0.016805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_610-1_1_2_line_27 |  | 24 | 57 | 0.030303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_610-1_1_2_line_28 |  | 24 | 50 | 0.046898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_610-1_1_2_line_29 |  | 26 | 27 | 0.010133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_610-1_1_2_line_30 |  | 28 | 51 | 0.00048333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_610-1_1_2_line_31 |  | 29 | 30 | 0.025304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_610-1_1_2_line_32 |  | 29 | 31 | 0.015936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_610-1_1_2_line_33 |  | 31 | 32 | 0.017891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_610-1_1_2_line_34 |  | 32 | 33 | 0.0203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_610-1_1_2_line_35 |  | 33 | 43 | 0.023693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_610-1_1_2_line_36 |  | 34 | 35 | 0.019927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_610-1_1_2_line_37 |  | 35 | 36 | 0.0082034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_610-1_1_2_line_38 |  | 35 | 37 | 0.04426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_610-1_1_2_line_39 |  | 36 | 38 | 0.021359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_610-1_1_2_line_40 |  | 37 | 49 | 0.019457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_610-1_1_2_line_41 |  | 37 | 55 | 0.054943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_610-1_1_2_line_42 |  | 38 | 44 | 0.0027252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_610-1_1_2_line_43 |  | 39 | 40 | 0.014982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_610-1_1_2_line_44 |  | 39 | 41 | 0.010083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_610-1_1_2_line_45 |  | 40 | 42 | 0.029624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_610-1_1_2_line_46 |  | 41 | 54 | 0.0033457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_610-1_1_2_line_47 |  | 42 | 43 | 0.020648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_610-1_1_2_line_48 |  | 45 | 46 | 0.0086916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_610-1_1_2_line_49 |  | 45 | 47 | 0.030208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_610-1_1_2_line_50 |  | 46 | 48 | 0.061368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_610-1_1_2_line_51 |  | 47 | 49 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_610-1_1_2_line_52 |  | 48 | 50 | 0.050076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_610-1_1_2_line_53 |  | 51 | 52 | 0.020128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_610-1_1_2_line_54 |  | 52 | 53 | 0.0063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_610-1_1_2_line_55 |  | 54 | 55 | 0.027345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_610-1_1_2_line_56 |  | 55 | 56 | 0.0020704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_610-1_1_2_line_57 |  | 57 | 58 | 0.026073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_610-1_1_2_line_58 |  | 58 | 59 | 0.020521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_610-1_1_2_trafo_214 | 0.63 MVA 20/0.4 kV | 60 | 54 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2613513.3148 | 1186237.9989 | 2613512.1514 | 1186234.1778
1 | 2613506.6401 | 1186216.0767 | 2613512.1514 | 1186234.1778
2 | 2613469.1644 | 1186061.0153 | 2613506.6401 | 1186216.0767
3 | 2613469.1644 | 1186061.0153 | 2613469.1345 | 1186060.933
4 | 2613461.3749 | 1186039.5836 | 2613469.1345 | 1186060.933
5 | 2613454.1297 | 1186019.6495 | 2613461.3749 | 1186039.5836
6 | 2613308.4926 | 1186121.5018 | 2613308.474 | 1186121.488
7 | 2613344.7368 | 1185955.3051 | 2613308.474 | 1186121.488
8 | 2613308.4926 | 1186121.5018 | 2613332.7441 | 1186164.2767
9 | 2613344.7368 | 1185955.3051 | 2613345.4327 | 1185954.7404 | 2613357.475 | 1185946.1518
10 | 2613401.8315 | 1185887.7466 | 2613394.3469 | 1185888.5814 | 2613388.4166 | 1185885.7112 | 2613381.0217 | 1185886.7053
11 | 2613411.6422 | 1185886.6523 | 2613401.8315 | 1185887.7466
12 | 2613376.5398 | 1185887.3078 | 2613381.0217 | 1185886.7053
13 | 2613411.3078 | 1185882.6161 | 2613411.6422 | 1185886.6523
14 | 2613411.6422 | 1185886.6523 | 2613411.8726 | 1185889.4209
15 | 2613411.3078 | 1185882.6161 | 2613407.4594 | 1185848.619
16 | 2613411.3078 | 1185882.6161 | 2613427.3153 | 1185879.7113
17 | 2613426.42 | 1185918.624 | 2613411.8726 | 1185889.4209
18 | 2613407.4594 | 1185848.619 | 2613405.2655 | 1185829.2377
19 | 2613427.3153 | 1185879.7113 | 2613433.1092 | 1185878.6599
20 | 2613426.42 | 1185918.624 | 2613431.6004 | 1185925.8171
21 | 2613426.42 | 1185918.624 | 2613415.3277 | 1185919.2111
22 | 2613411.2122 | 1185919.4289 | 2613415.3277 | 1185919.2111
23 | 2613388.0865 | 1185924.3194 | 2613405.8608 | 1185919.7121 | 2613411.2122 | 1185919.4289
24 | 2613388.0865 | 1185924.3194 | 2613371.1564 | 1185936.3941
25 | 2613388.0865 | 1185924.3194 | 2613392.0012 | 1185919.3695
26 | 2613371.1564 | 1185936.3941 | 2613357.475 | 1185946.1518
27 | 2613431.6004 | 1185925.8171 | 2613461.8096 | 1185923.4333
28 | 2613431.6004 | 1185925.8171 | 2613439.5195 | 1185972.0414
29 | 2613443.0794 | 1185876.8506 | 2613433.1092 | 1185878.6599
30 | 2613405.2655 | 1185829.2377 | 2613405.2111 | 1185828.7574
31 | 2613749.1341 | 1185844.8597 | 2613754.8986 | 1185843.349 | 2613773.8833 | 1185839.6353
32 | 2613749.1341 | 1185844.8597 | 2613733.7189 | 1185848.8996
33 | 2613716.4127 | 1185853.435 | 2613733.7189 | 1185848.8996
34 | 2613696.8996 | 1185859.0275 | 2613711.4998 | 1185854.7225 | 2613716.4127 | 1185853.435
35 | 2613674.174 | 1185865.7283 | 2613696.8996 | 1185859.0275
36 | 2613573.8398 | 1185974.6283 | 2613556.2374 | 1185983.9695
37 | 2613549.016 | 1185987.8593 | 2613549.9344 | 1185987.3143 | 2613556.2374 | 1185983.9695
38 | 2613542.188 | 1185941.9984 | 2613556.2374 | 1185983.9695
39 | 2613549.016 | 1185987.8593 | 2613530.6472 | 1185998.7593
40 | 2613542.188 | 1185941.9984 | 2613536.4423 | 1185943.8058 | 2613523.7231 | 1185948.1291
41 | 2613580.6005 | 1185913.3561 | 2613580.9231 | 1185925.9301 | 2613571.2853 | 1185932.8452 | 2613542.188 | 1185941.9984
42 | 2613528.3035 | 1186000.1501 | 2613530.6472 | 1185998.7593
43 | 2613617.0682 | 1185896.0296 | 2613629.5988 | 1185887.8162
44 | 2613617.0682 | 1185896.0296 | 2613608.2842 | 1185900.9797
45 | 2613654.3688 | 1185871.568 | 2613629.7615 | 1185887.7095 | 2613629.5988 | 1185887.8162
46 | 2613608.2842 | 1185900.9797 | 2613605.3694 | 1185902.6223
47 | 2613654.3688 | 1185871.568 | 2613654.3688 | 1185871.568 | 2613674.174 | 1185865.7283
48 | 2613475.2396 | 1185962.4161 | 2613467.096 | 1185965.4536
49 | 2613475.2396 | 1185962.4161 | 2613489.0874 | 1185957.2509 | 2613504.3084 | 1185954.7282 | 2613504.3084 | 1185954.7282
50 | 2613454.1297 | 1186019.6495 | 2613449.9792 | 1185992.137 | 2613449.8434 | 1185984.6217 | 2613454.1158 | 1185978.0723 | 2613466.0086 | 1185965.8592 | 2613467.096 | 1185965.4536
51 | 2613523.7231 | 1185948.1291 | 2613504.3084 | 1185954.7282
52 | 2613454.1297 | 1186019.6495 | 2613442.929 | 1185991.9434 | 2613439.5195 | 1185972.0414
53 | 2613405.2111 | 1185828.7574 | 2613403.6673 | 1185815.1196 | 2613401.4794 | 1185809.1024
54 | 2613401.4794 | 1185809.1024 | 2613399.3265 | 1185803.1817
55 | 2613580.6005 | 1185913.3561 | 2613588.6767 | 1185912.0292 | 2613605.3694 | 1185902.6223
56 | 2613580.6005 | 1185913.3561 | 2613578.5573 | 1185913.6907
57 | 2613487.784 | 1185921.1689 | 2613465.0283 | 1185923.1793 | 2613461.8096 | 1185923.4333
58 | 2613487.784 | 1185921.1689 | 2613508.2253 | 1185919.363

## bus_geodata
| x | y | coords
0 | 2613513.3148 | 1186237.9989
1 | 2613512.1514 | 1186234.1778
2 | 2613506.6401 | 1186216.0767
3 | 2613469.1644 | 1186061.0153
4 | 2613469.1345 | 1186060.933
5 | 2613461.3749 | 1186039.5836
6 | 2613308.474 | 1186121.488
7 | 2613308.4926 | 1186121.5018
8 | 2613344.7368 | 1185955.3051
9 | 2613332.7441 | 1186164.2767
10 | 2613401.8315 | 1185887.7466
11 | 2613381.0217 | 1185886.7053
12 | 2613411.6422 | 1185886.6523
13 | 2613376.5398 | 1185887.3078
14 | 2613411.3078 | 1185882.6161
15 | 2613411.8726 | 1185889.4209
16 | 2613407.4594 | 1185848.619
17 | 2613427.3153 | 1185879.7113
18 | 2613426.42 | 1185918.624
19 | 2613411.2122 | 1185919.4289
20 | 2613415.3277 | 1185919.2111
21 | 2613388.0865 | 1185924.3194
22 | 2613371.1564 | 1185936.3941
23 | 2613392.0012 | 1185919.3695
24 | 2613431.6004 | 1185925.8171
25 | 2613357.475 | 1185946.1518
26 | 2613433.1092 | 1185878.6599
27 | 2613443.0794 | 1185876.8506
28 | 2613405.2655 | 1185829.2377
29 | 2613749.1341 | 1185844.8597
30 | 2613773.8833 | 1185839.6353
31 | 2613733.7189 | 1185848.8996
32 | 2613716.4127 | 1185853.435
33 | 2613696.8996 | 1185859.0275
34 | 2613573.8398 | 1185974.6283
35 | 2613556.2374 | 1185983.9695
36 | 2613549.016 | 1185987.8593
37 | 2613542.188 | 1185941.9984
38 | 2613530.6472 | 1185998.7593
39 | 2613617.0682 | 1185896.0296
40 | 2613629.5988 | 1185887.8162
41 | 2613608.2842 | 1185900.9797
42 | 2613654.3688 | 1185871.568
43 | 2613674.174 | 1185865.7283
44 | 2613528.3035 | 1186000.1501
45 | 2613475.2396 | 1185962.4161
46 | 2613467.096 | 1185965.4536
47 | 2613504.3084 | 1185954.7282
48 | 2613454.1297 | 1186019.6495
49 | 2613523.7231 | 1185948.1291
50 | 2613439.5195 | 1185972.0414
51 | 2613405.2111 | 1185828.7574
52 | 2613401.4794 | 1185809.1024
53 | 2613399.3265 | 1185803.1817
54 | 2613605.3694 | 1185902.6223
55 | 2613580.6005 | 1185913.3561
56 | 2613578.5573 | 1185913.6907
57 | 2613461.8096 | 1185923.4333
58 | 2613487.784 | 1185921.1689
59 | 2613508.2253 | 1185919.363
60 | 2613617.0682 | 1185896.0296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1