## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_612-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_612-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_612-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_612-5_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_612-5_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_612-5_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_612-5_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_612-5_0_4_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_612-5_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_612-5_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_612-5_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_612-5_0_4_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_612-5_0_4_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_612-5_0_4_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_612-5_0_4_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_612-5_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_612-5_0_4_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_612-5_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_612-5_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_612-5_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_612-5_0_4_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_612-5_0_4_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_612-5_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_612-5_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_612-5_0_4_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_612-5_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_612-5_0_4_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_612-5_0_4_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_612-5_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_612-5_0_4_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_612-5_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_612-5_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_612-5_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_612-5_0_4_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_612-5_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_612-5_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_612-5_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_612-5_0_4_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_612-5_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_612-5_0_4_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_612-5_0_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_612-5_0_4_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_612-5_0_4_node_73 | 0.4 | n |  | TRUE
43 | bus_LV_612-5_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_612-5_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_612-5_0_4_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_612-5_0_4_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_612-5_0_4_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_612-5_0_4_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_612-5_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_612-5_0_4_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_612-5_0_4_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_612-5_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_612-5_0_4_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_612-5_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_612-5_0_4_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_612-5_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_612-5_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_612-5_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_612-5_0_4_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_612-5_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_612-5_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_612-5_0_4_node_57 | 0.4 | n |  | TRUE
63 | bus_LV_612-5_0_4_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_612-5_0_4_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_612-5_0_4_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_612-5_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_612-5_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_612-5_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_612-5_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_612-5_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_612-5_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_MV_94_0_node_61 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_612-5_0_4_load_0 | 0 | 0.034257 | 0.0085856 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_612-5_0_4_load_5 | 4 | 0.017465 | 0.0043773 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_612-5_0_4_load_6 | 5 | 0.048329 | 0.012112 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_612-5_0_4_load_7 | 6 | 0.0038959 | 0.00097641 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_612-5_0_4_load_29 | 7 | 0.0087142 | 0.002184 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_612-5_0_4_load_26 | 8 | 0.0052436 | 0.0013142 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_612-5_0_4_load_4 | 9 | 0.0024553 | 0.00061535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_612-5_0_4_load_48 | 10 | 0.0022271 | 0.00055817 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_612-5_0_4_load_71 | 11 | 0.039618 | 0.0099293 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_612-5_0_4_load_16 | 12 | 0.00732 | 0.0018346 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_612-5_0_4_load_45 | 14 | 0.0085163 | 0.0021344 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_612-5_0_4_load_27 | 15 | 0.0065302 | 0.0016366 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_612-5_0_4_load_49 | 16 | 0.0012696 | 0.00031819 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_612-5_0_4_load_15 | 17 | 0.0063388 | 0.0015886 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_612-5_0_4_load_24 | 18 | 0.011013 | 0.0027602 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_612-5_0_4_load_20 | 19 | 0.0071375 | 0.0017888 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_612-5_0_4_load_8 | 20 | 0.0030215 | 0.00075725 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_612-5_0_4_load_9 | 21 | 0.0020182 | 0.00050581 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_612-5_0_4_load_10 | 22 | 0.00097589 | 0.00024458 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_612-5_0_4_load_11 | 23 | 0.0009589 | 0.00024032 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_612-5_0_4_load_12 | 24 | 0.0087666 | 0.0021971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_612-5_0_4_load_38 | 27 | 0.0013405 | 0.00033596 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_612-5_0_4_load_56 | 28 | 0.0011244 | 0.00028181 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_612-5_0_4_load_36 | 29 | 0.0006364 | 0.0001595 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_612-5_0_4_load_53 | 30 | 0.001119 | 0.00028045 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_612-5_0_4_load_17 | 31 | 0.011581 | 0.0029025 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_612-5_0_4_load_18 | 32 | 0.0055849 | 0.0013997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_612-5_0_4_load_19 | 33 | 0.0069008 | 0.0017295 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_612-5_0_4_load_21 | 34 | 0.014868 | 0.0037263 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_612-5_0_4_load_74 | 37 | 0.015372 | 0.0038525 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_612-5_0_4_load_28 | 38 | 0.0064078 | 0.0016059 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_612-5_0_4_load_68 | 39 | 0.0078228 | 0.0019606 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_612-5_0_4_load_67 | 40 | 0.0061564 | 0.0015429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_612-5_0_4_load_31 | 43 | 0.0035958 | 0.00090118 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_612-5_0_4_load_32 | 44 | 0.001719 | 0.00043083 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_612-5_0_4_load_33 | 45 | 0.0016115 | 0.00040388 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_612-5_0_4_load_34 | 46 | 0.0022331 | 0.00055966 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_612-5_0_4_load_35 | 47 | 0.001565 | 0.00039222 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_612-5_0_4_load_47 | 49 | 0.0030227 | 0.00075757 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_612-5_0_4_load_51 | 50 | 0.0024806 | 0.00062169 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_612-5_0_4_load_61 | 51 | 0.0016748 | 0.00041974 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_612-5_0_4_load_52 | 52 | 0.002239 | 0.00056115 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_612-5_0_4_load_37 | 53 | 0.00062445 | 0.0001565 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_612-5_0_4_load_39 | 54 | 0.00048311 | 0.00012108 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_612-5_0_4_load_55 | 55 | 0.0023106 | 0.00057909 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_612-5_0_4_load_43 | 56 | 0.0013441 | 0.00033686 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_612-5_0_4_load_40 | 57 | 0.0022496 | 0.00056379 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_612-5_0_4_load_41 | 58 | 0.0088161 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_612-5_0_4_load_42 | 59 | 0.0024969 | 0.00062578 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_612-5_0_4_load_44 | 60 | 0.0034428 | 0.00086284 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_612-5_0_4_load_54 | 61 | 0.0024128 | 0.0006047 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_612-5_0_4_load_57 | 62 | 0.010463 | 0.0026223 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_612-5_0_4_load_58 | 63 | 0.0064471 | 0.0016158 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_612-5_0_4_load_59 | 64 | 0.0083826 | 0.0021009 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_612-5_0_4_load_60 | 65 | 0.0083772 | 0.0020995 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_612-5_0_4_load_69 | 66 | 0.0059295 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_612-5_0_4_load_70 | 67 | 0.012997 | 0.0032574 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_612-5_0_4_load_63 | 68 | 0.0071943 | 0.0018031 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_612-5_0_4_load_64 | 69 | 0.015349 | 0.0038468 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_612-5_0_4_load_66 | 70 | 0.0073746 | 0.0018483 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_612-5_0_4_load_72 | 71 | 0.012704 | 0.003184 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_612-5_0_4_line_0 |  | 0 | 1 | 0.046986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_612-5_0_4_line_1 |  | 0 | 2 | 0.036903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_612-5_0_4_line_2 |  | 1 | 3 | 0.021186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_612-5_0_4_line_3 |  | 1 | 4 | 0.027648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_612-5_0_4_line_4 |  | 2 | 5 | 0.014259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_612-5_0_4_line_5 |  | 2 | 6 | 0.014912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_612-5_0_4_line_6 |  | 3 | 7 | 0.033318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_612-5_0_4_line_7 |  | 3 | 8 | 0.015567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_612-5_0_4_line_8 |  | 4 | 11 | 0.085867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_612-5_0_4_line_9 |  | 5 | 12 | 0.022584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_612-5_0_4_line_10 |  | 6 | 13 | 0.0097538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_612-5_0_4_line_11 |  | 7 | 14 | 0.0038595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_612-5_0_4_line_12 |  | 8 | 15 | 0.003436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_612-5_0_4_line_13 |  | 9 | 10 | 0.013056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_612-5_0_4_line_14 |  | 10 | 16 | 0.0082264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_612-5_0_4_line_15 |  | 12 | 17 | 0.010969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_612-5_0_4_line_16 |  | 13 | 18 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_612-5_0_4_line_17 |  | 13 | 19 | 0.016241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_612-5_0_4_line_18 |  | 14 | 41 | 0.033733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_612-5_0_4_line_19 |  | 15 | 38 | 0.029034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_612-5_0_4_line_20 |  | 16 | 49 | 0.0036881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_612-5_0_4_line_21 |  | 17 | 31 | 0.0077537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_612-5_0_4_line_22 |  | 19 | 33 | 0.033835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_612-5_0_4_line_23 |  | 20 | 21 | 0.065849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_612-5_0_4_line_24 |  | 20 | 22 | 0.026662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_612-5_0_4_line_25 |  | 21 | 23 | 0.032187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_612-5_0_4_line_26 |  | 22 | 24 | 0.053693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_612-5_0_4_line_27 |  | 24 | 25 | 0.018192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_612-5_0_4_line_28 |  | 25 | 26 | 0.004545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_612-5_0_4_line_29 |  | 26 | 27 | 0.034797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_612-5_0_4_line_30 |  | 26 | 28 | 0.022757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_612-5_0_4_line_31 |  | 27 | 29 | 0.027239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_612-5_0_4_line_32 |  | 28 | 30 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_612-5_0_4_line_33 |  | 29 | 53 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_612-5_0_4_line_34 |  | 30 | 52 | 0.0027587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_612-5_0_4_line_35 |  | 31 | 32 | 0.0043751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_612-5_0_4_line_36 |  | 33 | 34 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_612-5_0_4_line_37 |  | 34 | 35 | 0.056999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_612-5_0_4_line_38 |  | 35 | 36 | 0.043839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_612-5_0_4_line_39 |  | 36 | 37 | 0.019911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_612-5_0_4_line_40 |  | 37 | 42 | 0.029566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_612-5_0_4_line_41 |  | 38 | 39 | 0.0039829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_612-5_0_4_line_42 |  | 39 | 40 | 0.050188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_612-5_0_4_line_43 |  | 40 | 70 | 0.0019644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_612-5_0_4_line_44 |  | 41 | 62 | 0.025473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_612-5_0_4_line_45 |  | 41 | 61 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_612-5_0_4_line_46 |  | 42 | 71 | 0.024841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_612-5_0_4_line_47 |  | 43 | 44 | 0.0090268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_612-5_0_4_line_48 |  | 43 | 45 | 0.010121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_612-5_0_4_line_49 |  | 44 | 46 | 0.0031388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_612-5_0_4_line_50 |  | 45 | 47 | 0.013506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_612-5_0_4_line_51 |  | 45 | 48 | 0.11507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_612-5_0_4_line_52 |  | 46 | 49 | 0.0062129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_612-5_0_4_line_53 |  | 47 | 50 | 0.0089227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_612-5_0_4_line_54 |  | 48 | 51 | 0.0065713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_612-5_0_4_line_55 |  | 50 | 52 | 0.0080052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_612-5_0_4_line_56 |  | 53 | 54 | 0.021281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_612-5_0_4_line_57 |  | 54 | 55 | 0.0028738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_612-5_0_4_line_58 |  | 55 | 56 | 0.012507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_612-5_0_4_line_59 |  | 56 | 58 | 0.023982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_612-5_0_4_line_60 |  | 57 | 58 | 0.0011616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_612-5_0_4_line_61 |  | 57 | 59 | 0.02 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_612-5_0_4_line_62 |  | 59 | 60 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_612-5_0_4_line_63 |  | 60 | 61 | 0.010493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_612-5_0_4_line_64 |  | 62 | 63 | 0.0045151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_612-5_0_4_line_65 |  | 64 | 65 | 0.033617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_612-5_0_4_line_66 |  | 65 | 66 | 0.031936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_612-5_0_4_line_67 |  | 66 | 67 | 0.038864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_612-5_0_4_line_68 |  | 67 | 71 | 0.03119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_612-5_0_4_line_69 |  | 68 | 69 | 0.0016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_612-5_0_4_line_70 |  | 69 | 70 | 0.025542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_612-5_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 72 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2614182.3937 | 1192258.4331 | 2614169.9498 | 1192250.4106 | 2614146.6969 | 1192229.5337 | 2614145.9699 | 1192228.9529
1 | 2614117.1388 | 1192205.9184 | 2614145.9699 | 1192228.9529
2 | 2614193.6184 | 1192240.4501 | 2614189.8917 | 1192246.6112 | 2614182.3937 | 1192258.4331
3 | 2614182.3937 | 1192258.4331 | 2614166.8737 | 1192281.3141
4 | 2614117.1388 | 1192205.9184 | 2614115.9367 | 1192204.9596 | 2614105.7266 | 1192197.3712
5 | 2614117.1388 | 1192205.9184 | 2614124.1647 | 1192197.0858 | 2614126.3053 | 1192194.1598
6 | 2614193.6184 | 1192240.4501 | 2614200.978 | 1192238.8111 | 2614226.7442 | 1192239.5791
7 | 2614193.6184 | 1192240.4501 | 2614191.386 | 1192233.5857 | 2614189.0027 | 1192225.5839
8 | 2614166.8737 | 1192281.3141 | 2614081.3996 | 1192289.5134
9 | 2614105.7266 | 1192197.3712 | 2614087.6008 | 1192183.8995
10 | 2614132.0643 | 1192186.2876 | 2614126.3053 | 1192194.1598
11 | 2614226.7442 | 1192239.5791 | 2614227.716 | 1192239.6081 | 2614230.5615 | 1192239.1187
12 | 2614188.0218 | 1192222.2909 | 2614189.0027 | 1192225.5839
13 | 2614223.4232 | 1192286.6852 | 2614233.908 | 1192294.4648
14 | 2614233.908 | 1192294.4648 | 2614240.5145 | 1192299.3666
15 | 2614078.7973 | 1192177.3565 | 2614087.6008 | 1192183.8995
16 | 2614132.0643 | 1192186.2876 | 2614141.5591 | 1192181.0627 | 2614145.2225 | 1192179.7877
17 | 2614132.0643 | 1192186.2876 | 2614122.7618 | 1192172.9742
18 | 2614262.0393 | 1192230.4179 | 2614257.9103 | 1192229.3742 | 2614253.4123 | 1192229.6748 | 2614247.9815 | 1192231.1516 | 2614234.7926 | 1192238.3909 | 2614230.5615 | 1192239.1187
19 | 2614178.7183 | 1192194.7904 | 2614187.2341 | 1192219.6463 | 2614188.0218 | 1192222.2909
20 | 2614243.4763 | 1192301.5643 | 2614240.5145 | 1192299.3666
21 | 2614078.7973 | 1192177.3565 | 2614072.5742 | 1192172.7313
22 | 2614126.7185 | 1192145.6635 | 2614126.1351 | 1192150.1324 | 2614118.6849 | 1192157.83 | 2614115.3128 | 1192162.3134 | 2614122.7618 | 1192172.9742
23 | 2614405.8314 | 1192422.3851 | 2614458.5917 | 1192461.7852
24 | 2614405.8314 | 1192422.3851 | 2614384.469 | 1192406.4322
25 | 2614484.305 | 1192481.1449 | 2614478.7717 | 1192476.8552 | 2614458.5917 | 1192461.7852
26 | 2614341.4478 | 1192374.305 | 2614384.469 | 1192406.4322
27 | 2614326.872 | 1192363.4201 | 2614341.4478 | 1192374.305
28 | 2614323.2044 | 1192360.7211 | 2614326.872 | 1192363.4201
29 | 2614323.2044 | 1192360.7211 | 2614327.717 | 1192354.2729 | 2614330.5285 | 1192351.5559 | 2614334.6741 | 1192348.7866 | 2614351.329 | 1192341.8764
30 | 2614323.2044 | 1192360.7211 | 2614304.9288 | 1192347.1609
31 | 2614369.7376 | 1192326.2806 | 2614369.7376 | 1192326.2806 | 2614370.2627 | 1192329.8171 | 2614369.2862 | 1192333.3611 | 2614366.4834 | 1192335.5889 | 2614351.329 | 1192341.8764
32 | 2614293.02 | 1192338.3248 | 2614304.9288 | 1192347.1609
33 | 2614369.7376 | 1192326.2806 | 2614368.0829 | 1192323.3529 | 2614364.4552 | 1192319.9313 | 2614359.1347 | 1192315.9336
34 | 2614290.8045 | 1192336.6809 | 2614293.02 | 1192338.3248
35 | 2614069.0627 | 1192170.1214 | 2614072.5742 | 1192172.7313
36 | 2614128.6093 | 1192134.292 | 2614127.8195 | 1192137.2295 | 2614126.7185 | 1192145.6635
37 | 2614126.41 | 1192078.5842 | 2614130.5092 | 1192089.1105 | 2614131.9561 | 1192096.1843 | 2614131.8042 | 1192112.1479 | 2614131.38 | 1192123.9865 | 2614128.6093 | 1192134.292
38 | 2614126.41 | 1192078.5842 | 2614125.3038 | 1192075.7467 | 2614123.3518 | 1192069.5166 | 2614119.5245 | 1192063.3044 | 2614117.6703 | 1192060.832 | 2614135.5694 | 1192054.015 | 2614140.0021 | 1192052.3801
39 | 2614140.0021 | 1192052.3801 | 2614158.6878 | 1192045.5032
40 | 2614186.4347 | 1192035.2916 | 2614158.6878 | 1192045.5032
41 | 2614177.4274 | 1192191.0226 | 2614178.7183 | 1192194.7904
42 | 2614166.5589 | 1192142.14 | 2614166.5616 | 1192142.1455 | 2614168.5698 | 1192156.8247 | 2614174.2357 | 1192181.7067 | 2614177.4274 | 1192191.0226
43 | 2614166.5589 | 1192142.14 | 2614165.7009 | 1192140.3729
44 | 2614262.0393 | 1192230.4179 | 2614283.6154 | 1192216.8774
45 | 2614262.0393 | 1192230.4179 | 2614264.9449 | 1192233.0262 | 2614279.0005 | 1192246.8394
46 | 2614186.4347 | 1192035.2916 | 2614192.6324 | 1192035.1284 | 2614199.5829 | 1192045.4169 | 2614203.0287 | 1192050.6016
47 | 2614258.2357 | 1192312.5155 | 2614250.9865 | 1192307.1367
48 | 2614258.2357 | 1192312.5155 | 2614266.3638 | 1192318.5463
49 | 2614250.9865 | 1192307.1367 | 2614248.4658 | 1192305.2664
50 | 2614266.3638 | 1192318.5463 | 2614277.21 | 1192326.594
51 | 2614266.3638 | 1192318.5463 | 2614199.364 | 1192412.0988
52 | 2614248.4658 | 1192305.2664 | 2614243.4763 | 1192301.5643
53 | 2614284.3756 | 1192331.9108 | 2614277.21 | 1192326.594
54 | 2614199.364 | 1192412.0988 | 2614204.572 | 1192416.1061
55 | 2614284.3756 | 1192331.9108 | 2614290.8045 | 1192336.6809
56 | 2614342.1211 | 1192303.1499 | 2614359.1347 | 1192315.9336
57 | 2614339.8236 | 1192301.4236 | 2614342.1211 | 1192303.1499
58 | 2614330.0226 | 1192293.6649 | 2614333.4342 | 1192296.6227 | 2614339.8236 | 1192301.4236
59 | 2614311.911 | 1192277.9459 | 2614312.2189 | 1192278.2291 | 2614330.0226 | 1192293.6649
60 | 2614311.056 | 1192277.1597 | 2614311.911 | 1192277.9459
61 | 2614311.056 | 1192277.1597 | 2614296.3349 | 1192263.622
62 | 2614286.4844 | 1192254.1943 | 2614292.3296 | 1192259.9388 | 2614296.3349 | 1192263.622
63 | 2614286.4844 | 1192254.1943 | 2614279.0005 | 1192246.8394
64 | 2614287.4397 | 1192214.4773 | 2614283.6154 | 1192216.8774
65 | 2614278.0874 | 1192163.5413 | 2614259.4804 | 1192135.5435
66 | 2614259.4804 | 1192135.5435 | 2614241.8038 | 1192108.9459
67 | 2614220.2922 | 1192076.5778 | 2614241.8038 | 1192108.9459
68 | 2614203.0287 | 1192050.6016 | 2614220.2922 | 1192076.5778
69 | 2614151.924 | 1192117.0667 | 2614152.8929 | 1192118.3905
70 | 2614152.8929 | 1192118.3905 | 2614159.2337 | 1192127.0536 | 2614165.7009 | 1192140.3729

## bus_geodata
| x | y | coords
0 | 2614145.9699 | 1192228.9529
1 | 2614182.3937 | 1192258.4331
2 | 2614117.1388 | 1192205.9184
3 | 2614193.6184 | 1192240.4501
4 | 2614166.8737 | 1192281.3141
5 | 2614105.7266 | 1192197.3712
6 | 2614126.3053 | 1192194.1598
7 | 2614226.7442 | 1192239.5791
8 | 2614189.0027 | 1192225.5839
9 | 2614223.4232 | 1192286.6852
10 | 2614233.908 | 1192294.4648
11 | 2614081.3996 | 1192289.5134
12 | 2614087.6008 | 1192183.8995
13 | 2614132.0643 | 1192186.2876
14 | 2614230.5615 | 1192239.1187
15 | 2614188.0218 | 1192222.2909
16 | 2614240.5145 | 1192299.3666
17 | 2614078.7973 | 1192177.3565
18 | 2614145.2225 | 1192179.7877
19 | 2614122.7618 | 1192172.9742
20 | 2614405.8314 | 1192422.3851
21 | 2614458.5917 | 1192461.7852
22 | 2614384.469 | 1192406.4322
23 | 2614484.305 | 1192481.1449
24 | 2614341.4478 | 1192374.305
25 | 2614326.872 | 1192363.4201
26 | 2614323.2044 | 1192360.7211
27 | 2614351.329 | 1192341.8764
28 | 2614304.9288 | 1192347.1609
29 | 2614369.7376 | 1192326.2806
30 | 2614293.02 | 1192338.3248
31 | 2614072.5742 | 1192172.7313
32 | 2614069.0627 | 1192170.1214
33 | 2614126.7185 | 1192145.6635
34 | 2614128.6093 | 1192134.292
35 | 2614126.41 | 1192078.5842
36 | 2614140.0021 | 1192052.3801
37 | 2614158.6878 | 1192045.5032
38 | 2614178.7183 | 1192194.7904
39 | 2614177.4274 | 1192191.0225
40 | 2614166.5589 | 1192142.14
41 | 2614262.0393 | 1192230.4179
42 | 2614186.4347 | 1192035.2916
43 | 2614258.2357 | 1192312.5155
44 | 2614250.9865 | 1192307.1367
45 | 2614266.3638 | 1192318.5463
46 | 2614248.4658 | 1192305.2664
47 | 2614277.21 | 1192326.594
48 | 2614199.364 | 1192412.0988
49 | 2614243.4763 | 1192301.5643
50 | 2614284.3756 | 1192331.9108
51 | 2614204.572 | 1192416.1061
52 | 2614290.8045 | 1192336.6809
53 | 2614359.1347 | 1192315.9336
54 | 2614342.1211 | 1192303.1499
55 | 2614339.8236 | 1192301.4236
56 | 2614330.0226 | 1192293.6649
57 | 2614311.056 | 1192277.1597
58 | 2614311.911 | 1192277.9459
59 | 2614296.3349 | 1192263.622
60 | 2614286.4844 | 1192254.1943
61 | 2614279.0005 | 1192246.8394
62 | 2614283.6154 | 1192216.8774
63 | 2614287.4397 | 1192214.4773
64 | 2614278.0874 | 1192163.5413
65 | 2614259.4804 | 1192135.5435
66 | 2614241.8038 | 1192108.9459
67 | 2614220.2922 | 1192076.5778
68 | 2614151.924 | 1192117.0667
69 | 2614152.8929 | 1192118.3905
70 | 2614165.7009 | 1192140.3729
71 | 2614203.0287 | 1192050.6016
72 | 2614193.6184 | 1192240.4501

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1