## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-17_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6133-17_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_6133-17_0_4_node_25 | 0.4 | n |  | TRUE
4 | bus_LV_6133-17_0_4_node_43 | 0.4 | n |  | TRUE
5 | bus_LV_6133-17_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_6133-17_0_4_node_41 | 0.4 | n |  | TRUE
7 | bus_LV_6133-17_0_4_node_67 | 0.4 | n |  | TRUE
8 | bus_LV_6133-17_0_4_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_6133-17_0_4_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_6133-17_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6133-17_0_4_node_75 | 0.4 | n |  | TRUE
12 | bus_LV_6133-17_0_4_node_73 | 0.4 | n |  | TRUE
13 | bus_LV_6133-17_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6133-17_0_4_node_74 | 0.4 | n |  | TRUE
15 | bus_LV_6133-17_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_6133-17_0_4_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_6133-17_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_6133-17_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_6133-17_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_6133-17_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_6133-17_0_4_node_68 | 0.4 | n |  | TRUE
22 | bus_LV_6133-17_0_4_node_69 | 0.4 | n |  | TRUE
23 | bus_LV_6133-17_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_6133-17_0_4_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_6133-17_0_4_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_6133-17_0_4_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_6133-17_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_6133-17_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6133-17_0_4_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_6133-17_0_4_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_6133-17_0_4_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_6133-17_0_4_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_6133-17_0_4_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_6133-17_0_4_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_6133-17_0_4_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_6133-17_0_4_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_6133-17_0_4_node_91 | 0.4 | n |  | TRUE
38 | bus_LV_6133-17_0_4_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_6133-17_0_4_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_6133-17_0_4_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_6133-17_0_4_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_6133-17_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_6133-17_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_6133-17_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6133-17_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6133-17_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_6133-17_0_4_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_6133-17_0_4_node_86 | 0.4 | n |  | TRUE
49 | bus_LV_6133-17_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6133-17_0_4_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_6133-17_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6133-17_0_4_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6133-17_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6133-17_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_6133-17_0_4_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_6133-17_0_4_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_6133-17_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_6133-17_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6133-17_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6133-17_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6133-17_0_4_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_6133-17_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6133-17_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6133-17_0_4_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6133-17_0_4_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6133-17_0_4_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6133-17_0_4_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_6133-17_0_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_6133-17_0_4_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_6133-17_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6133-17_0_4_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_6133-17_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_6133-17_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_6133-17_0_4_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_6133-17_0_4_node_85 | 0.4 | n |  | TRUE
76 | bus_MV_102_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-17_0_4_load_0 | 0 | 0.016494 | 0.0041339 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-17_0_4_load_4 | 2 | 0.0031738 | 0.00079544 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-17_0_4_load_25 | 3 | 0.0081663 | 0.0020467 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-17_0_4_load_44 | 5 | 0.0089847 | 0.0022518 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-17_0_4_load_41 | 6 | 0.010795 | 0.0027055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-17_0_4_load_67 | 7 | 0.016013 | 0.0040133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-17_0_4_load_66 | 8 | 0.00055403 | 0.00013885 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-17_0_4_load_26 | 9 | 0.0043622 | 0.0010933 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-17_0_4_load_75 | 11 | 0.0064592 | 0.0016188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-17_0_4_load_73 | 12 | 0.011199 | 0.0028068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-17_0_4_load_74 | 14 | 0.0087842 | 0.0022015 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-17_0_4_load_80 | 16 | 0.0036742 | 0.00092084 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-17_0_4_load_20 | 18 | 0.0031181 | 0.00078147 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-17_0_4_load_68 | 21 | 0.0046433 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-17_0_4_load_69 | 22 | 0.010291 | 0.0025791 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-17_0_4_load_70 | 23 | 0.0066219 | 0.0016596 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-17_0_4_load_78 | 25 | 0.0044917 | 0.0011257 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-17_0_4_load_29 | 26 | 0.0021663 | 0.00054292 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-17_0_4_load_30 | 27 | 0.00020795 | 5.2118e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-17_0_4_load_32 | 29 | 0.0029563 | 0.00074093 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-17_0_4_load_57 | 32 | 0.0018602 | 0.00046622 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-17_0_4_load_93 | 34 | 0.00082324 | 0.00020632 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-17_0_4_load_58 | 35 | 0.00088411 | 0.00022158 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-17_0_4_load_88 | 36 | 0.0052067 | 0.0013049 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-17_0_4_load_92 | 39 | 0.0013456 | 0.00033724 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-17_0_4_load_35 | 40 | 0.0065118 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-17_0_4_load_36 | 41 | 0.0072941 | 0.0018281 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-17_0_4_load_37 | 42 | 0.0056522 | 0.0014166 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-17_0_4_load_38 | 43 | 0.007999 | 0.0020047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-17_0_4_load_39 | 44 | 0.003805 | 0.00095362 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-17_0_4_load_40 | 45 | 0.0094408 | 0.0023661 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-17_0_4_load_42 | 46 | 0.0036611 | 0.00091756 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-17_0_4_load_87 | 47 | 0.0054205 | 0.0013585 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-17_0_4_load_86 | 48 | 0.010231 | 0.0025642 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-17_0_4_load_45 | 49 | 0.0064908 | 0.0016268 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-17_0_4_load_46 | 50 | 0.0071359 | 0.0017884 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-17_0_4_load_47 | 51 | 0.00038373 | 9.6172e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-17_0_4_load_48 | 52 | 0.0032291 | 0.00080928 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-17_0_4_load_49 | 53 | 0.00058395 | 0.00014635 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-17_0_4_load_50 | 54 | 0.00077668 | 0.00019465 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-17_0_4_load_51 | 55 | 0.0050019 | 0.0012536 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-17_0_4_load_59 | 56 | 0.0084944 | 0.0021289 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-17_0_4_load_60 | 57 | 0.0081062 | 0.0020316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-17_0_4_load_52 | 58 | 0.0020117 | 0.00050417 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-17_0_4_load_53 | 59 | 0.00056139 | 0.0001407 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-17_0_4_load_54 | 60 | 0.010973 | 0.00275 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-17_0_4_load_55 | 61 | 0.0005433 | 0.00013616 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-17_0_4_load_56 | 62 | 0.0055337 | 0.0013869 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-17_0_4_load_61 | 63 | 0.0075236 | 0.0018856 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-17_0_4_load_62 | 64 | 0.0040172 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-17_0_4_load_63 | 65 | 0.00084853 | 0.00021266 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-17_0_4_load_71 | 66 | 0.0099357 | 0.0024901 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-17_0_4_load_72 | 67 | 0.0087038 | 0.0021814 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-17_0_4_load_76 | 68 | 0.010568 | 0.0026485 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-17_0_4_load_77 | 69 | 0.0079712 | 0.0019978 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-17_0_4_load_79 | 70 | 0.003075 | 0.00077068 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-17_0_4_load_81 | 71 | 0.0068057 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-17_0_4_load_83 | 72 | 0.0092652 | 0.0023221 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-17_0_4_load_82 | 73 | 0.010076 | 0.0025253 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6133-17_0_4_load_84 | 74 | 0.0039563 | 0.00099154 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6133-17_0_4_load_85 | 75 | 0.0080593 | 0.0020199 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-17_0_4_line_0 |  | 0 | 1 | 0.026067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-17_0_4_line_1 |  | 1 | 2 | 0.011984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-17_0_4_line_2 |  | 2 | 3 | 0.022529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-17_0_4_line_3 |  | 3 | 9 | 0.038228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-17_0_4_line_4 |  | 4 | 5 | 0.047492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6133-17_0_4_line_5 |  | 4 | 6 | 0.02435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6133-17_0_4_line_6 |  | 5 | 49 | 0.014137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6133-17_0_4_line_7 |  | 6 | 46 | 0.020331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6133-17_0_4_line_8 |  | 7 | 8 | 0.026766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6133-17_0_4_line_9 |  | 8 | 24 | 0.10829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6133-17_0_4_line_10 |  | 9 | 17 | 0.097651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6133-17_0_4_line_11 |  | 10 | 11 | 0.079307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6133-17_0_4_line_12 |  | 10 | 12 | 0.069955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-17_0_4_line_13 |  | 11 | 13 | 0.030379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6133-17_0_4_line_14 |  | 12 | 14 | 0.038493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6133-17_0_4_line_15 |  | 13 | 15 | 0.13592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_6133-17_0_4_line_16 |  | 14 | 67 | 0.0064752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6133-17_0_4_line_17 |  | 15 | 16 | 0.05517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6133-17_0_4_line_18 |  | 15 | 17 | 0.041363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6133-17_0_4_line_19 |  | 16 | 25 | 0.026549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6133-17_0_4_line_20 |  | 18 | 19 | 0.09542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6133-17_0_4_line_21 |  | 19 | 20 | 0.051776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-17_0_4_line_22 |  | 20 | 21 | 0.032528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-17_0_4_line_23 |  | 21 | 24 | 0.10823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6133-17_0_4_line_24 |  | 22 | 23 | 0.015557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6133-17_0_4_line_25 |  | 23 | 66 | 0.085161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-17_0_4_line_26 |  | 24 | 38 | 0.16754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-17_0_4_line_27 |  | 24 | 31 | 0.043622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6133-17_0_4_line_28 |  | 25 | 68 | 0.017772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_6133-17_0_4_line_29 |  | 26 | 27 | 0.075418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6133-17_0_4_line_30 |  | 26 | 28 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6133-17_0_4_line_31 |  | 27 | 29 | 0.029841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-17_0_4_line_32 |  | 28 | 30 | 0.040346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6133-17_0_4_line_33 |  | 28 | 31 | 0.00798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6133-17_0_4_line_34 |  | 29 | 32 | 0.00064551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6133-17_0_4_line_35 |  | 30 | 33 | 0.018082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6133-17_0_4_line_36 |  | 30 | 34 | 0.016074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6133-17_0_4_line_37 |  | 32 | 35 | 0.062136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6133-17_0_4_line_38 |  | 33 | 36 | 3.199e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6133-17_0_4_line_39 |  | 34 | 37 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6133-17_0_4_line_40 |  | 35 | 64 | 0.008773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-17_0_4_line_41 |  | 37 | 39 | 0.014176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-17_0_4_line_42 |  | 38 | 65 | 0.057544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6133-17_0_4_line_43 |  | 40 | 41 | 0.026878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_6133-17_0_4_line_44 |  | 40 | 42 | 0.00060603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6133-17_0_4_line_45 |  | 41 | 43 | 0.0019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_6133-17_0_4_line_46 |  | 42 | 44 | 0.029792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6133-17_0_4_line_47 |  | 43 | 45 | 0.0093346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6133-17_0_4_line_48 |  | 44 | 46 | 0.01668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6133-17_0_4_line_49 |  | 45 | 47 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6133-17_0_4_line_50 |  | 47 | 48 | 0.0036252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6133-17_0_4_line_51 |  | 48 | 75 | 0.0016449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6133-17_0_4_line_52 |  | 49 | 50 | 0.0060104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6133-17_0_4_line_53 |  | 50 | 51 | 0.0032939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6133-17_0_4_line_54 |  | 51 | 52 | 0.00010106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6133-17_0_4_line_55 |  | 52 | 53 | 0.0010932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6133-17_0_4_line_56 |  | 53 | 54 | 0.023555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6133-17_0_4_line_57 |  | 54 | 55 | 0.0010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6133-17_0_4_line_58 |  | 55 | 56 | 0.0023827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6133-17_0_4_line_59 |  | 56 | 57 | 0.0060367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6133-17_0_4_line_60 |  | 57 | 63 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6133-17_0_4_line_61 |  | 58 | 59 | 0.00015245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6133-17_0_4_line_62 |  | 58 | 60 | 0.015747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6133-17_0_4_line_63 |  | 59 | 61 | 0.00094022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6133-17_0_4_line_64 |  | 60 | 62 | 0.011517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6133-17_0_4_line_65 |  | 61 | 63 | 0.0025781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6133-17_0_4_line_66 |  | 62 | 64 | 0.001306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6133-17_0_4_line_67 |  | 66 | 67 | 0.025658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6133-17_0_4_line_68 |  | 68 | 69 | 0.00029955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6133-17_0_4_line_69 |  | 69 | 70 | 0.016186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_6133-17_0_4_line_70 |  | 70 | 71 | 0.008608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_6133-17_0_4_line_71 |  | 71 | 72 | 0.016376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_6133-17_0_4_line_72 |  | 72 | 73 | 0.0045139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_6133-17_0_4_line_73 |  | 73 | 74 | 0.004812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_6133-17_0_4_line_74 |  | 74 | 75 | 0.020803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-17_0_4_trafo_35 | 0.63 MVA 20/0.4 kV | 76 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2577017.6719 | 1111113.8386 | 2577039.8586 | 1111127.5218
1 | 2577017.6719 | 1111113.8386 | 2577007.9705 | 1111106.8026
2 | 2576989.1487 | 1111094.4524 | 2577000.4569 | 1111101.3534 | 2577007.9705 | 1111106.8026
3 | 2576989.1487 | 1111094.4524 | 2576956.5175 | 1111074.5385
4 | 2577176.7405 | 1111145.5625 | 2577198.5462 | 1111103.3723
5 | 2577176.7405 | 1111145.5625 | 2577155.7771 | 1111133.1745
6 | 2577198.5462 | 1111103.3723 | 2577205.0372 | 1111090.8133
7 | 2577155.7771 | 1111133.1745 | 2577138.2737 | 1111122.8311
8 | 2577398.8288 | 1111178.0184 | 2577385.7204 | 1111201.3553
9 | 2577457.0457 | 1111086.7472 | 2577406.3985 | 1111164.542 | 2577398.8288 | 1111178.0184
10 | 2576879.0285 | 1111015.2849 | 2576911.0358 | 1111038.9188 | 2576946.9991 | 1111068.7297 | 2576956.5175 | 1111074.5385
11 | 2576980.8044 | 1110783.8582 | 2576929.8248 | 1110844.6094
12 | 2576980.8044 | 1110783.8582 | 2577044.295 | 1110813.229
13 | 2576910.2968 | 1110867.8804 | 2576929.8248 | 1110844.6094
14 | 2577044.295 | 1110813.229 | 2577076.5726 | 1110828.1606 | 2577079.2645 | 1110829.3147
15 | 2576898.9161 | 1110979.024 | 2576902.3175 | 1110973.4416 | 2576906.8936 | 1110965.9314 | 2576896.4472 | 1110949.6632 | 2576873.5335 | 1110913.9997 | 2576910.2968 | 1110867.8804
16 | 2577085.2158 | 1110831.8661 | 2577079.2645 | 1110829.3147
17 | 2576898.9161 | 1110979.024 | 2576909.1319 | 1110985.5216 | 2576945.4752 | 1111008.6218
18 | 2576879.0285 | 1111015.2849 | 2576889.5219 | 1110995.4126 | 2576891.2718 | 1110992.36 | 2576897.266 | 1110981.9096 | 2576898.9161 | 1110979.024
19 | 2576945.4752 | 1111008.6218 | 2576951.6909 | 1111012.5726 | 2576968.2065 | 1111022.3323
20 | 2577563.1694 | 1110926.0717 | 2577480.694 | 1110878.0845
21 | 2577535.2544 | 1110969.7195 | 2577563.1694 | 1110926.0717
22 | 2577535.2544 | 1110969.7195 | 2577517.1807 | 1110996.7642
23 | 2577457.0457 | 1111086.7472 | 2577517.1807 | 1110996.7642
24 | 2577201.945 | 1110880.21 | 2577187.3438 | 1110874.8398
25 | 2577187.3438 | 1110874.8398 | 2577174.0375 | 1110869.9459 | 2577108.7975 | 1110841.9761
26 | 2577599.7199 | 1111175.2385 | 2577457.0457 | 1111086.7472
27 | 2577419.2908 | 1111064.7105 | 2577457.0457 | 1111086.7472
28 | 2576983.5068 | 1111031.3738 | 2576968.2065 | 1111022.3323
29 | 2577330.1892 | 1111009.2789 | 2577394.1337 | 1111049.2661
30 | 2577412.3839 | 1111060.6788 | 2577394.1337 | 1111049.2661
31 | 2577304.1413 | 1110994.7898 | 2577318.3212 | 1111001.8573 | 2577330.1892 | 1111009.2789
32 | 2577412.3839 | 1111060.6788 | 2577391.1033 | 1111094.9867
33 | 2577412.3839 | 1111060.6788 | 2577419.2908 | 1111064.7105
34 | 2577304.1413 | 1110994.7898 | 2577303.5636 | 1110994.5019
35 | 2577391.1033 | 1111094.9867 | 2577381.4953 | 1111110.3192
36 | 2577391.1033 | 1111094.9867 | 2577404.7484 | 1111103.4835
37 | 2577303.5636 | 1110994.5019 | 2577282.4816 | 1110983.9942 | 2577272.4007 | 1110980.397 | 2577264.9334 | 1110981.4589 | 2577259.0548 | 1110987.8843 | 2577253.6411 | 1110998.1729
38 | 2577381.4953 | 1111110.3192 | 2577381.479 | 1111110.3467
39 | 2577417.8283 | 1111111.6284 | 2577404.7484 | 1111103.4835
40 | 2577253.6411 | 1110998.1729 | 2577249.556 | 1111005.9368
41 | 2577417.8283 | 1111111.6284 | 2577425.232 | 1111099.539
42 | 2577599.7199 | 1111175.2385 | 2577569.8598 | 1111224.4285
43 | 2577097.7436 | 1111098.8805 | 2577074.6037 | 1111085.2062
44 | 2577097.7436 | 1111098.8805 | 2577098.2654 | 1111099.1888
45 | 2577074.6037 | 1111085.2062 | 2577072.9372 | 1111084.2214
46 | 2577123.9139 | 1111114.3454 | 2577098.2654 | 1111099.1888
47 | 2577064.9009 | 1111079.4725 | 2577072.9372 | 1111084.2214
48 | 2577138.2737 | 1111122.8311 | 2577123.9139 | 1111114.3454
49 | 2577064.9009 | 1111079.4725 | 2577049.6837 | 1111070.4801
50 | 2577046.5627 | 1111068.6358 | 2577049.6837 | 1111070.4801
51 | 2577046.5627 | 1111068.6358 | 2577045.1466 | 1111067.799
52 | 2577205.0372 | 1111090.8133 | 2577207.7969 | 1111085.4739
53 | 2577207.7969 | 1111085.4739 | 2577209.3092 | 1111082.5477
54 | 2577209.3556 | 1111082.4579 | 2577209.3092 | 1111082.5477
55 | 2577209.8575 | 1111081.4868 | 2577209.3556 | 1111082.4579
56 | 2577209.8575 | 1111081.4868 | 2577212.8587 | 1111075.6801 | 2577220.7834 | 1111060.6191
57 | 2577220.7834 | 1111060.6191 | 2577221.2631 | 1111059.7075
58 | 2577221.2631 | 1111059.7075 | 2577222.3726 | 1111057.5988
59 | 2577222.3726 | 1111057.5988 | 2577225.1836 | 1111052.2565
60 | 2577234.5429 | 1111034.4692 | 2577225.1836 | 1111052.2565
61 | 2577236.2522 | 1111031.2207 | 2577236.1812 | 1111031.3556
62 | 2577236.2522 | 1111031.2207 | 2577243.585 | 1111017.2846
63 | 2577236.1812 | 1111031.3556 | 2577235.7434 | 1111032.1876
64 | 2577243.585 | 1111017.2846 | 2577248.9478 | 1111007.0925
65 | 2577235.7434 | 1111032.1876 | 2577234.5429 | 1111034.4692
66 | 2577249.556 | 1111005.9368 | 2577248.9478 | 1111007.0925
67 | 2577085.2158 | 1110831.8661 | 2577108.7975 | 1110841.9761
68 | 2576983.5068 | 1111031.3738 | 2576983.7647 | 1111031.5262
69 | 2576983.7647 | 1111031.5262 | 2576997.6994 | 1111039.7607
70 | 2577005.1101 | 1111044.14 | 2576997.6994 | 1111039.7607
71 | 2577005.1101 | 1111044.14 | 2577019.2084 | 1111052.4712
72 | 2577023.0945 | 1111054.7676 | 2577019.2084 | 1111052.4712
73 | 2577023.0945 | 1111054.7676 | 2577027.2373 | 1111057.2157
74 | 2577045.1466 | 1111067.799 | 2577027.2373 | 1111057.2157

## bus_geodata
| x | y | coords
0 | 2577039.8586 | 1111127.5218
1 | 2577017.6719 | 1111113.8386
2 | 2577007.9705 | 1111106.8026
3 | 2576989.1487 | 1111094.4524
4 | 2577176.7405 | 1111145.5625
5 | 2577198.5462 | 1111103.3723
6 | 2577155.7771 | 1111133.1745
7 | 2577385.7204 | 1111201.3553
8 | 2577398.8288 | 1111178.0184
9 | 2576956.5175 | 1111074.5385
10 | 2576980.8044 | 1110783.8582
11 | 2576929.8248 | 1110844.6094
12 | 2577044.295 | 1110813.229
13 | 2576910.2968 | 1110867.8804
14 | 2577079.2645 | 1110829.3147
15 | 2576898.9161 | 1110979.024
16 | 2576945.4752 | 1111008.6218
17 | 2576879.0285 | 1111015.2849
18 | 2577480.694 | 1110878.0845
19 | 2577563.1694 | 1110926.0717
20 | 2577535.2544 | 1110969.7195
21 | 2577517.1807 | 1110996.7642
22 | 2577201.945 | 1110880.21
23 | 2577187.3438 | 1110874.8398
24 | 2577457.0457 | 1111086.7472
25 | 2576968.2065 | 1111022.3323
26 | 2577394.1337 | 1111049.2661
27 | 2577330.1892 | 1111009.2789
28 | 2577412.3839 | 1111060.6788
29 | 2577304.1413 | 1110994.7898
30 | 2577391.1033 | 1111094.9867
31 | 2577419.2908 | 1111064.7105
32 | 2577303.5636 | 1110994.5019
33 | 2577381.4953 | 1111110.3192
34 | 2577404.7484 | 1111103.4835
35 | 2577253.6411 | 1110998.1729
36 | 2577381.479 | 1111110.3467
37 | 2577417.8283 | 1111111.6284
38 | 2577599.7199 | 1111175.2385
39 | 2577425.232 | 1111099.539
40 | 2577097.7436 | 1111098.8805
41 | 2577074.6037 | 1111085.2062
42 | 2577098.2654 | 1111099.1888
43 | 2577072.9372 | 1111084.2214
44 | 2577123.9139 | 1111114.3454
45 | 2577064.9009 | 1111079.4725
46 | 2577138.2737 | 1111122.8311
47 | 2577049.6837 | 1111070.4801
48 | 2577046.5627 | 1111068.6358
49 | 2577205.0372 | 1111090.8133
50 | 2577207.7968 | 1111085.4739
51 | 2577209.3092 | 1111082.5477
52 | 2577209.3556 | 1111082.4579
53 | 2577209.8575 | 1111081.4868
54 | 2577220.7834 | 1111060.6191
55 | 2577221.2631 | 1111059.7075
56 | 2577222.3726 | 1111057.5988
57 | 2577225.1836 | 1111052.2565
58 | 2577236.2522 | 1111031.2207
59 | 2577236.1812 | 1111031.3556
60 | 2577243.585 | 1111017.2846
61 | 2577235.7434 | 1111032.1876
62 | 2577248.9478 | 1111007.0925
63 | 2577234.5429 | 1111034.4692
64 | 2577249.556 | 1111005.9368
65 | 2577569.8598 | 1111224.4285
66 | 2577108.7975 | 1110841.9761
67 | 2577085.2158 | 1110831.8661
68 | 2576983.5068 | 1111031.3738
69 | 2576983.7647 | 1111031.5262
70 | 2576997.6994 | 1111039.7607
71 | 2577005.1101 | 1111044.14
72 | 2577019.2084 | 1111052.4712
73 | 2577023.0945 | 1111054.7676
74 | 2577027.2373 | 1111057.2157
75 | 2577045.1466 | 1111067.799
76 | 2577176.7405 | 1111145.5625

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1