## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-18_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-18_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6133-18_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6133-18_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6133-18_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6133-18_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6133-18_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6133-18_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6133-18_0_5_node_66 | 0.4 | n |  | TRUE
9 | bus_LV_6133-18_0_5_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_6133-18_0_5_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_6133-18_0_5_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_6133-18_0_5_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_6133-18_0_5_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6133-18_0_5_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_6133-18_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_6133-18_0_5_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_6133-18_0_5_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_6133-18_0_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_6133-18_0_5_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_6133-18_0_5_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_6133-18_0_5_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_6133-18_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_6133-18_0_5_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_6133-18_0_5_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_6133-18_0_5_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_6133-18_0_5_node_11 | 0.4 | n |  | TRUE
27 | bus_LV_6133-18_0_5_node_12 | 0.4 | n |  | TRUE
28 | bus_LV_6133-18_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_6133-18_0_5_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6133-18_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6133-18_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6133-18_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6133-18_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_6133-18_0_5_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_6133-18_0_5_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_6133-18_0_5_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6133-18_0_5_node_14 | 0.4 | n |  | TRUE
38 | bus_LV_6133-18_0_5_node_15 | 0.4 | n |  | TRUE
39 | bus_LV_6133-18_0_5_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_6133-18_0_5_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_6133-18_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6133-18_0_5_node_95 | 0.4 | n |  | TRUE
43 | bus_LV_6133-18_0_5_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_6133-18_0_5_node_93 | 0.4 | n |  | TRUE
45 | bus_LV_6133-18_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_6133-18_0_5_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_6133-18_0_5_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_6133-18_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_6133-18_0_5_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_6133-18_0_5_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6133-18_0_5_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_6133-18_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_6133-18_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_6133-18_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6133-18_0_5_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6133-18_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6133-18_0_5_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_6133-18_0_5_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_6133-18_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_6133-18_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6133-18_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6133-18_0_5_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_6133-18_0_5_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_6133-18_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6133-18_0_5_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_6133-18_0_5_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_6133-18_0_5_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_6133-18_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_6133-18_0_5_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_6133-18_0_5_node_90 | 0.4 | n |  | TRUE
71 | bus_LV_6133-18_0_5_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_6133-18_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_6133-18_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_6133-18_0_5_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_6133-18_0_5_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_6133-18_0_5_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_6133-18_0_5_node_70 | 0.4 | n |  | TRUE
78 | bus_LV_6133-18_0_5_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_6133-18_0_5_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6133-18_0_5_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_6133-18_0_5_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_6133-18_0_5_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_6133-18_0_5_node_85 | 0.4 | n |  | TRUE
84 | bus_LV_6133-18_0_5_node_89 | 0.4 | n |  | TRUE
85 | bus_LV_6133-18_0_5_node_79 | 0.4 | n |  | TRUE
86 | bus_LV_6133-18_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_6133-18_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_6133-18_0_5_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_6133-18_0_5_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_6133-18_0_5_node_86 | 0.4 | n |  | TRUE
91 | bus_LV_6133-18_0_5_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_6133-18_0_5_node_88 | 0.4 | n |  | TRUE
93 | bus_MV_102_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-18_0_5_load_0 | 0 | 0.0066353 | 0.001663 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-18_0_5_load_5 | 5 | 0.006419 | 0.0016088 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-18_0_5_load_6 | 6 | 0.0087133 | 0.0021838 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-18_0_5_load_66 | 8 | 0.0052545 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-18_0_5_load_67 | 9 | 0.0071082 | 0.0017815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-18_0_5_load_38 | 10 | 0.02025 | 0.0050751 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-18_0_5_load_35 | 11 | 0.0065336 | 0.0016375 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-18_0_5_load_41 | 12 | 0.0069641 | 0.0017454 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-18_0_5_load_29 | 14 | 0.0056821 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-18_0_5_load_74 | 15 | 0.0038452 | 0.00096369 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-18_0_5_load_58 | 16 | 0.010236 | 0.0025653 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-18_0_5_load_57 | 17 | 0.0035682 | 0.00089428 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-18_0_5_load_36 | 18 | 0.0038864 | 0.00097402 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-18_0_5_load_42 | 19 | 0.0079864 | 0.0020016 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-18_0_5_load_33 | 20 | 0.0090832 | 0.0022765 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-18_0_5_load_30 | 22 | 0.0087974 | 0.0022048 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-18_0_5_load_8 | 23 | 0.0060155 | 0.0015076 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-18_0_5_load_13 | 28 | 0.009637 | 0.0024153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-18_0_5_load_24 | 29 | 0.011835 | 0.0029662 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-18_0_5_load_27 | 31 | 0.0017399 | 0.00043606 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-18_0_5_load_20 | 32 | 0.0081062 | 0.0020316 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-18_0_5_load_25 | 33 | 0.0088526 | 0.0022187 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-18_0_5_load_94 | 34 | 0.0013189 | 0.00033054 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-18_0_5_load_26 | 36 | 0.0013838 | 0.00034681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-18_0_5_load_14 | 37 | 0.00043361 | 0.00010867 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-18_0_5_load_19 | 41 | 0.0019989 | 0.00050098 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-18_0_5_load_95 | 42 | 0.0047456 | 0.0011894 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-18_0_5_load_92 | 43 | 0.001741 | 0.00043633 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-18_0_5_load_93 | 44 | 0.0018227 | 0.00045681 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-18_0_5_load_21 | 45 | 0.0056561 | 0.0014175 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-18_0_5_load_34 | 46 | 0.015371 | 0.0038523 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-18_0_5_load_28 | 47 | 0.0031418 | 0.0007874 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-18_0_5_load_31 | 48 | 0.0037677 | 0.00094428 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-18_0_5_load_45 | 49 | 0.0082085 | 0.0020573 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-18_0_5_load_50 | 50 | 0.0044386 | 0.0011124 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-18_0_5_load_37 | 51 | 0.0045009 | 0.001128 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-18_0_5_load_43 | 52 | 0.0057161 | 0.0014326 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-18_0_5_load_44 | 53 | 0.0027831 | 0.00069752 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-18_0_5_load_46 | 54 | 0.017887 | 0.004483 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-18_0_5_load_53 | 55 | 0.0035969 | 0.00090147 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-18_0_5_load_48 | 56 | 0.003069 | 0.00076915 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-18_0_5_load_61 | 57 | 0.007107 | 0.0017812 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-18_0_5_load_47 | 58 | 0.0027527 | 0.00068988 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-18_0_5_load_51 | 60 | 0.0057482 | 0.0014406 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-18_0_5_load_52 | 61 | 0.048574 | 0.012174 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-18_0_5_load_56 | 62 | 0.0050048 | 0.0012543 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-18_0_5_load_55 | 63 | 0.0040315 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-18_0_5_load_62 | 64 | 0.0061812 | 0.0015491 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-18_0_5_load_54 | 65 | 0.0044752 | 0.0011216 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-18_0_5_load_59 | 66 | 0.0019695 | 0.00049362 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-18_0_5_load_60 | 67 | 0.0080767 | 0.0020242 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-18_0_5_load_91 | 69 | 0.0056151 | 0.0014073 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-18_0_5_load_90 | 70 | 0.0074158 | 0.0018586 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-18_0_5_load_63 | 71 | 0.0061729 | 0.0015471 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-18_0_5_load_64 | 72 | 0.011009 | 0.002759 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-18_0_5_load_65 | 73 | 0.00543 | 0.0013609 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-18_0_5_load_68 | 75 | 0.0099058 | 0.0024826 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-18_0_5_load_69 | 76 | 0.010958 | 0.0027464 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-18_0_5_load_70 | 77 | 0.0057954 | 0.0014525 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6133-18_0_5_load_71 | 78 | 0.0069074 | 0.0017312 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6133-18_0_5_load_72 | 79 | 0.0072275 | 0.0018114 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6133-18_0_5_load_83 | 80 | 0.0063896 | 0.0016014 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6133-18_0_5_load_78 | 82 | 0.0044796 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6133-18_0_5_load_85 | 83 | 0.0079679 | 0.001997 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6133-18_0_5_load_89 | 84 | 0.0056551 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6133-18_0_5_load_76 | 86 | 0.0050866 | 0.0012748 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6133-18_0_5_load_82 | 87 | 0.0079315 | 0.0019878 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6133-18_0_5_load_80 | 88 | 0.0072399 | 0.0018145 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6133-18_0_5_load_77 | 89 | 0.0071524 | 0.0017926 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6133-18_0_5_load_86 | 90 | 0.0078346 | 0.0019635 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6133-18_0_5_load_87 | 91 | 0.0057645 | 0.0014447 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6133-18_0_5_load_88 | 92 | 0.0046307 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-18_0_5_line_0 |  | 0 | 1 | 0.017688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_6133-18_0_5_line_1 |  | 0 | 2 | 0.041702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6133-18_0_5_line_2 |  | 1 | 3 | 0.019692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6133-18_0_5_line_3 |  | 1 | 4 | 0.064054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-18_0_5_line_4 |  | 1 | 5 | 0.034714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6133-18_0_5_line_5 |  | 2 | 6 | 0.011843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6133-18_0_5_line_6 |  | 2 | 7 | 0.060902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6133-18_0_5_line_7 |  | 3 | 8 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6133-18_0_5_line_8 |  | 3 | 9 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6133-18_0_5_line_9 |  | 4 | 10 | 0.043961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6133-18_0_5_line_10 |  | 4 | 11 | 0.022502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6133-18_0_5_line_11 |  | 5 | 12 | 0.037485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6133-18_0_5_line_12 |  | 7 | 13 | 0.002381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-18_0_5_line_13 |  | 7 | 14 | 0.031277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6133-18_0_5_line_14 |  | 9 | 15 | 0.022942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6133-18_0_5_line_15 |  | 11 | 18 | 0.0091793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6133-18_0_5_line_16 |  | 12 | 19 | 0.0011265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6133-18_0_5_line_17 |  | 13 | 20 | 0.022385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6133-18_0_5_line_18 |  | 13 | 21 | 0.043972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6133-18_0_5_line_19 |  | 14 | 22 | 0.029376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6133-18_0_5_line_20 |  | 15 | 74 | 0.03766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6133-18_0_5_line_21 |  | 16 | 17 | 0.040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-18_0_5_line_22 |  | 17 | 66 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-18_0_5_line_23 |  | 18 | 51 | 0.019097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6133-18_0_5_line_24 |  | 19 | 52 | 0.02139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6133-18_0_5_line_25 |  | 20 | 46 | 0.035283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-18_0_5_line_26 |  | 21 | 32 | 0.024889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-18_0_5_line_27 |  | 21 | 26 | 0.002674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6133-18_0_5_line_28 |  | 22 | 48 | 0.019523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6133-18_0_5_line_29 |  | 23 | 24 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6133-18_0_5_line_30 |  | 23 | 25 | 0.021223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6133-18_0_5_line_31 |  | 24 | 26 | 0.026877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-18_0_5_line_32 |  | 24 | 27 | 0.021279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6133-18_0_5_line_33 |  | 25 | 28 | 0.013527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6133-18_0_5_line_34 |  | 26 | 29 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6133-18_0_5_line_35 |  | 27 | 30 | 0.012975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6133-18_0_5_line_36 |  | 27 | 31 | 0.015905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6133-18_0_5_line_37 |  | 29 | 33 | 0.017987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6133-18_0_5_line_38 |  | 30 | 34 | 0.010748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6133-18_0_5_line_39 |  | 30 | 35 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6133-18_0_5_line_40 |  | 31 | 36 | 0.0041974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-18_0_5_line_41 |  | 32 | 45 | 0.017488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-18_0_5_line_42 |  | 35 | 43 | 0.017779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6133-18_0_5_line_43 |  | 35 | 38 | 0.016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6133-18_0_5_line_44 |  | 36 | 47 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6133-18_0_5_line_45 |  | 37 | 38 | 0.018247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6133-18_0_5_line_46 |  | 37 | 39 | 0.022358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6133-18_0_5_line_47 |  | 38 | 40 | 0.044414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6133-18_0_5_line_48 |  | 39 | 41 | 0.038315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6133-18_0_5_line_49 |  | 40 | 42 | 0.010478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6133-18_0_5_line_50 |  | 43 | 44 | 0.017049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6133-18_0_5_line_51 |  | 48 | 49 | 0.0043896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6133-18_0_5_line_52 |  | 49 | 50 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6133-18_0_5_line_53 |  | 50 | 56 | 0.0044683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6133-18_0_5_line_54 |  | 52 | 53 | 0.025906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6133-18_0_5_line_55 |  | 53 | 54 | 0.0054626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6133-18_0_5_line_56 |  | 54 | 55 | 0.019452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6133-18_0_5_line_57 |  | 55 | 57 | 0.055552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6133-18_0_5_line_58 |  | 56 | 58 | 0.023466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6133-18_0_5_line_59 |  | 57 | 64 | 0.027121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6133-18_0_5_line_60 |  | 58 | 59 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6133-18_0_5_line_61 |  | 59 | 60 | 0.053316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6133-18_0_5_line_62 |  | 59 | 61 | 0.04549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6133-18_0_5_line_63 |  | 60 | 62 | 0.018272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6133-18_0_5_line_64 |  | 62 | 63 | 0.023035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6133-18_0_5_line_65 |  | 63 | 65 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6133-18_0_5_line_66 |  | 64 | 71 | 0.00022731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6133-18_0_5_line_67 |  | 66 | 67 | 0.026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6133-18_0_5_line_68 |  | 67 | 68 | 0.020958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6133-18_0_5_line_69 |  | 68 | 69 | 0.040106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6133-18_0_5_line_70 |  | 68 | 70 | 0.019379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6133-18_0_5_line_71 |  | 69 | 83 | 0.011264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6133-18_0_5_line_72 |  | 70 | 84 | 0.019005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6133-18_0_5_line_73 |  | 71 | 72 | 0.023103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6133-18_0_5_line_74 |  | 72 | 73 | 0.02041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6133-18_0_5_line_75 |  | 74 | 85 | 0.054865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6133-18_0_5_line_76 |  | 74 | 86 | 0.017414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6133-18_0_5_line_77 |  | 75 | 76 | 0.026992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6133-18_0_5_line_78 |  | 75 | 77 | 0.0011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6133-18_0_5_line_79 |  | 76 | 78 | 0.0096113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6133-18_0_5_line_80 |  | 77 | 79 | 0.025904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6133-18_0_5_line_81 |  | 78 | 80 | 0.0055777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_6133-18_0_5_line_82 |  | 79 | 81 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6133-18_0_5_line_83 |  | 80 | 82 | 0.0095937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_6133-18_0_5_line_84 |  | 81 | 83 | 0.03915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6133-18_0_5_line_85 |  | 82 | 89 | 0.02249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6133-18_0_5_line_86 |  | 84 | 92 | 0.02026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6133-18_0_5_line_87 |  | 85 | 87 | 0.005208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6133-18_0_5_line_88 |  | 85 | 88 | 0.051653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6133-18_0_5_line_89 |  | 86 | 89 | 0.035794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6133-18_0_5_line_90 |  | 90 | 91 | 0.0070808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6133-18_0_5_line_91 |  | 90 | 92 | 0.025087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-18_0_5_trafo_43 | 0.63 MVA 20/0.4 kV | 93 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2576177.5527 | 1110543.9183 | 2576188.6456 | 1110530.1413
1 | 2576214.7992 | 1110497.6595 | 2576188.6456 | 1110530.1413
2 | 2576177.5527 | 1110543.9183 | 2576175.6807 | 1110547.3163 | 2576174.7907 | 1110548.9206 | 2576169.2098 | 1110558.1472 | 2576167.1719 | 1110560.6232
3 | 2576122.0471 | 1110511.6879 | 2576165.3455 | 1110536.3849 | 2576177.5527 | 1110543.9183
4 | 2576177.5527 | 1110543.9183 | 2576206.9902 | 1110562.3174
5 | 2576214.7992 | 1110497.6595 | 2576205.0829 | 1110490.8499
6 | 2576214.7992 | 1110497.6595 | 2576253.1158 | 1110450.2405
7 | 2576167.1719 | 1110560.6232 | 2576159.7916 | 1110554.4492 | 2576154.8599 | 1110551.7351
8 | 2576167.1719 | 1110560.6232 | 2576158.69 | 1110572.9072 | 2576158.374 | 1110573.3084
9 | 2576122.0471 | 1110511.6879 | 2576084.6762 | 1110488.5371
10 | 2576122.0471 | 1110511.6879 | 2576125.3187 | 1110502.7149 | 2576126.9601 | 1110489.8686
11 | 2576206.9902 | 1110562.3174 | 2576238.7773 | 1110582.1852
12 | 2576254.6307 | 1110448.4003 | 2576253.1158 | 1110450.2405
13 | 2576253.1158 | 1110450.2405 | 2576278.1943 | 1110468.9306
14 | 2576158.374 | 1110573.3084 | 2576144.1768 | 1110591.3305
15 | 2576126.9601 | 1110489.8686 | 2576122.6476 | 1110481.7655
16 | 2576238.7773 | 1110582.1852 | 2576239.7326 | 1110582.7822
17 | 2576254.6307 | 1110448.4003 | 2576237.7505 | 1110433.6989
18 | 2576282.5691 | 1110414.3846 | 2576254.6307 | 1110448.4003
19 | 2576278.1943 | 1110468.9306 | 2576294.8707 | 1110481.3588 | 2576301.7473 | 1110486.4867
20 | 2576120.8718 | 1110620.914 | 2576144.1768 | 1110591.3305
21 | 2576258.0309 | 1110614.6388 | 2576223.5311 | 1110593.8609
22 | 2576258.0309 | 1110614.6388 | 2576275.0239 | 1110624.873
23 | 2576122.6476 | 1110481.7655 | 2576113.6756 | 1110464.9076
24 | 2576239.7326 | 1110582.7822 | 2576244.2213 | 1110585.5878 | 2576257.9739 | 1110593.9534
25 | 2576231.9659 | 1110408.6917 | 2576222.5079 | 1110420.4237 | 2576237.7505 | 1110433.6989
26 | 2576282.5691 | 1110414.3846 | 2576263.4279 | 1110398.4767
27 | 2576282.5691 | 1110414.3846 | 2576284.2609 | 1110412.3103
28 | 2576301.7473 | 1110486.4867 | 2576317.3983 | 1110498.1577
29 | 2576301.341 | 1110391.5217 | 2576289.2109 | 1110381.1604
30 | 2576273.0734 | 1110367.3761 | 2576289.2109 | 1110381.1604
31 | 2576301.341 | 1110391.5217 | 2576284.2609 | 1110412.3103
32 | 2576301.341 | 1110391.5217 | 2576314.8605 | 1110375.0605
33 | 2576273.0734 | 1110367.3761 | 2576281.7818 | 1110357.0257
34 | 2576284.2609 | 1110412.3103 | 2576297.4434 | 1110422.9845
35 | 2576314.8605 | 1110375.0605 | 2576323.1045 | 1110365.0231
36 | 2576314.8605 | 1110375.0605 | 2576328.2939 | 1110383.5754
37 | 2576311.4225 | 1110434.3037 | 2576297.4434 | 1110422.9845
38 | 2576315.0481 | 1110357.8845 | 2576323.1045 | 1110365.0231
39 | 2576332.3714 | 1110353.7367 | 2576323.1045 | 1110365.0231
40 | 2576331.8391 | 1110385.8226 | 2576328.2939 | 1110383.5754
41 | 2576249.9784 | 1110387.2991 | 2576263.4279 | 1110398.4767
42 | 2576332.3714 | 1110353.7367 | 2576347.2056 | 1110363.5358
43 | 2576332.3714 | 1110353.7367 | 2576341.2357 | 1110340.273
44 | 2576346.6357 | 1110395.2017 | 2576331.8391 | 1110385.8226
45 | 2576341.2357 | 1110340.273 | 2576352.611 | 1110326.0059
46 | 2576366.549 | 1110308.5247 | 2576352.611 | 1110326.0059
47 | 2576307.2014 | 1110311.6253 | 2576341.2357 | 1110340.273
48 | 2576398.6832 | 1110329.5319 | 2576366.549 | 1110308.5247
49 | 2576307.2014 | 1110311.6253 | 2576301.0686 | 1110320.1314
50 | 2576361.4307 | 1110372.9326 | 2576347.2056 | 1110363.5358
51 | 2576317.3983 | 1110498.1577 | 2576320.9172 | 1110500.7817
52 | 2576320.9172 | 1110500.7817 | 2576325.7759 | 1110504.4048 | 2576342.1023 | 1110516.5756
53 | 2576345.6848 | 1110519.2461 | 2576342.1023 | 1110516.5756
54 | 2576257.9739 | 1110593.9534 | 2576260.6723 | 1110595.5949 | 2576280.1094 | 1110607.4122
55 | 2576280.1094 | 1110607.4122 | 2576284.7771 | 1110610.25
56 | 2576284.7771 | 1110610.25 | 2576301.3981 | 1110620.3552
57 | 2576348.8653 | 1110649.2143 | 2576301.3981 | 1110620.3552
58 | 2576364.4994 | 1110533.2698 | 2576354.4955 | 1110525.8142 | 2576345.6848 | 1110519.2461
59 | 2576348.8653 | 1110649.2143 | 2576372.0396 | 1110663.3037
60 | 2576372.7764 | 1110539.4384 | 2576364.4994 | 1110533.2698
61 | 2576372.7764 | 1110539.4384 | 2576392.4248 | 1110556.9926 | 2576407.0795 | 1110570.0753 | 2576412.5401 | 1110574.9549
62 | 2576372.7764 | 1110539.4384 | 2576396.0061 | 1110500.3269
63 | 2576426.1651 | 1110587.1304 | 2576412.5401 | 1110574.9549
64 | 2576426.1651 | 1110587.1304 | 2576429.9688 | 1110590.5295 | 2576443.3433 | 1110602.4769
65 | 2576458.8429 | 1110616.3227 | 2576443.3433 | 1110602.4769
66 | 2576372.0396 | 1110663.3037 | 2576372.2339 | 1110663.4218
67 | 2576275.0239 | 1110624.873 | 2576297.3095 | 1110638.2948
68 | 2576315.263 | 1110649.1074 | 2576297.3095 | 1110638.2948
69 | 2576315.263 | 1110649.1074 | 2576292.8746 | 1110682.3828
70 | 2576315.263 | 1110649.1074 | 2576331.9469 | 1110658.9664
71 | 2576292.8746 | 1110682.3828 | 2576286.5868 | 1110691.7281
72 | 2576348.3085 | 1110668.635 | 2576331.9469 | 1110658.9664
73 | 2576372.2339 | 1110663.4218 | 2576380.5598 | 1110668.4838 | 2576392.0255 | 1110675.3394
74 | 2576392.0255 | 1110675.3394 | 2576409.5426 | 1110685.8134
75 | 2576120.8718 | 1110620.914 | 2576075.6242 | 1110652.1309
76 | 2576120.8718 | 1110620.914 | 2576135.0171 | 1110631.0707
77 | 2576224.4167 | 1110695.2624 | 2576202.4915 | 1110679.5194
78 | 2576224.4167 | 1110695.2624 | 2576225.3417 | 1110695.9265
79 | 2576202.4915 | 1110679.5194 | 2576194.6843 | 1110673.9136
80 | 2576246.3837 | 1110711.0353 | 2576225.3417 | 1110695.9265
81 | 2576190.1536 | 1110670.6604 | 2576194.6843 | 1110673.9136
82 | 2576264.7321 | 1110724.2101 | 2576246.3837 | 1110711.0353
83 | 2576182.3608 | 1110665.0649 | 2576190.1536 | 1110670.6604
84 | 2576264.7321 | 1110724.2101 | 2576286.5868 | 1110691.7281
85 | 2576182.3608 | 1110665.0649 | 2576164.0924 | 1110651.9477
86 | 2576365.7511 | 1110678.9424 | 2576348.3085 | 1110668.635
87 | 2576075.6242 | 1110652.1309 | 2576078.8935 | 1110656.1848
88 | 2576075.6242 | 1110652.1309 | 2576063.0355 | 1110645.7998 | 2576047.7889 | 1110639.5015 | 2576028.2086 | 1110631.7317
89 | 2576135.0171 | 1110631.0707 | 2576164.0924 | 1110651.9477
90 | 2576387.3492 | 1110691.7054 | 2576393.4452 | 1110695.3077
91 | 2576387.3492 | 1110691.7054 | 2576365.7511 | 1110678.9424

## bus_geodata
| x | y | coords
0 | 2576188.6456 | 1110530.1413
1 | 2576177.5527 | 1110543.9183
2 | 2576214.7992 | 1110497.6595
3 | 2576167.1719 | 1110560.6232
4 | 2576122.0471 | 1110511.6879
5 | 2576206.9902 | 1110562.3174
6 | 2576205.0829 | 1110490.8499
7 | 2576253.1158 | 1110450.2405
8 | 2576154.8599 | 1110551.7351
9 | 2576158.374 | 1110573.3084
10 | 2576084.6762 | 1110488.5371
11 | 2576126.9601 | 1110489.8686
12 | 2576238.7773 | 1110582.1852
13 | 2576254.6307 | 1110448.4003
14 | 2576278.1943 | 1110468.9306
15 | 2576144.1768 | 1110591.3305
16 | 2576223.5311 | 1110593.8609
17 | 2576258.0309 | 1110614.6388
18 | 2576122.6476 | 1110481.7655
19 | 2576239.7326 | 1110582.7822
20 | 2576237.7505 | 1110433.6989
21 | 2576282.5691 | 1110414.3846
22 | 2576301.7473 | 1110486.4867
23 | 2576289.2109 | 1110381.1604
24 | 2576301.341 | 1110391.5217
25 | 2576273.0734 | 1110367.3761
26 | 2576284.2609 | 1110412.3103
27 | 2576314.8605 | 1110375.0605
28 | 2576281.7818 | 1110357.0257
29 | 2576297.4434 | 1110422.9845
30 | 2576323.1045 | 1110365.0231
31 | 2576328.2939 | 1110383.5754
32 | 2576263.4279 | 1110398.4767
33 | 2576311.4225 | 1110434.3037
34 | 2576315.0481 | 1110357.8845
35 | 2576332.3714 | 1110353.7367
36 | 2576331.8391 | 1110385.8226
37 | 2576352.611 | 1110326.0059
38 | 2576341.2357 | 1110340.273
39 | 2576366.549 | 1110308.5247
40 | 2576307.2014 | 1110311.6253
41 | 2576398.6832 | 1110329.5319
42 | 2576301.0686 | 1110320.1314
43 | 2576347.2056 | 1110363.5358
44 | 2576361.4307 | 1110372.9326
45 | 2576249.9784 | 1110387.2991
46 | 2576231.9659 | 1110408.6917
47 | 2576346.6357 | 1110395.2017
48 | 2576317.3983 | 1110498.1577
49 | 2576320.9172 | 1110500.7817
50 | 2576342.1023 | 1110516.5756
51 | 2576113.6756 | 1110464.9076
52 | 2576257.9739 | 1110593.9534
53 | 2576280.1094 | 1110607.4122
54 | 2576284.7771 | 1110610.25
55 | 2576301.3981 | 1110620.3552
56 | 2576345.6848 | 1110519.2461
57 | 2576348.8653 | 1110649.2143
58 | 2576364.4994 | 1110533.2698
59 | 2576372.7764 | 1110539.4384
60 | 2576412.5401 | 1110574.9549
61 | 2576396.0061 | 1110500.3269
62 | 2576426.1651 | 1110587.1304
63 | 2576443.3433 | 1110602.4769
64 | 2576372.0396 | 1110663.3037
65 | 2576458.8429 | 1110616.3227
66 | 2576275.0239 | 1110624.873
67 | 2576297.3095 | 1110638.2948
68 | 2576315.263 | 1110649.1074
69 | 2576292.8746 | 1110682.3828
70 | 2576331.9469 | 1110658.9664
71 | 2576372.2339 | 1110663.4218
72 | 2576392.0255 | 1110675.3394
73 | 2576409.5426 | 1110685.8134
74 | 2576120.8718 | 1110620.914
75 | 2576224.4167 | 1110695.2624
76 | 2576202.4915 | 1110679.5194
77 | 2576225.3417 | 1110695.9265
78 | 2576194.6843 | 1110673.9136
79 | 2576246.3837 | 1110711.0353
80 | 2576190.1536 | 1110670.6604
81 | 2576264.7321 | 1110724.2101
82 | 2576182.3608 | 1110665.0649
83 | 2576286.5868 | 1110691.7281
84 | 2576348.3085 | 1110668.635
85 | 2576075.6242 | 1110652.1309
86 | 2576135.0171 | 1110631.0707
87 | 2576078.8935 | 1110656.1848
88 | 2576028.2086 | 1110631.7317
89 | 2576164.0924 | 1110651.9477
90 | 2576387.3492 | 1110691.7054
91 | 2576393.4452 | 1110695.3077
92 | 2576365.7511 | 1110678.9424
93 | 2576177.5527 | 1110543.9183

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1