## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-19_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-19_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6133-19_0_6_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_6133-19_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6133-19_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6133-19_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6133-19_0_6_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_6133-19_0_6_node_32 | 0.4 | n |  | TRUE
8 | bus_LV_6133-19_0_6_node_43 | 0.4 | n |  | TRUE
9 | bus_LV_6133-19_0_6_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_6133-19_0_6_node_39 | 0.4 | n |  | TRUE
11 | bus_LV_6133-19_0_6_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_6133-19_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6133-19_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6133-19_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6133-19_0_6_node_71 | 0.4 | n |  | TRUE
16 | bus_LV_6133-19_0_6_node_97 | 0.4 | n |  | TRUE
17 | bus_LV_6133-19_0_6_node_69 | 0.4 | n |  | TRUE
18 | bus_LV_6133-19_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6133-19_0_6_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_6133-19_0_6_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_6133-19_0_6_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_6133-19_0_6_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6133-19_0_6_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6133-19_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6133-19_0_6_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6133-19_0_6_node_63 | 0.4 | n |  | TRUE
27 | bus_LV_6133-19_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_6133-19_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_6133-19_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6133-19_0_6_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_6133-19_0_6_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_6133-19_0_6_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_6133-19_0_6_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_6133-19_0_6_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6133-19_0_6_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6133-19_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6133-19_0_6_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6133-19_0_6_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6133-19_0_6_node_57 | 0.4 | n |  | TRUE
40 | bus_LV_6133-19_0_6_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_6133-19_0_6_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6133-19_0_6_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_6133-19_0_6_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6133-19_0_6_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_6133-19_0_6_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6133-19_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6133-19_0_6_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_6133-19_0_6_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_6133-19_0_6_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_6133-19_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_6133-19_0_6_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6133-19_0_6_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6133-19_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_6133-19_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6133-19_0_6_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6133-19_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6133-19_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6133-19_0_6_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_6133-19_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6133-19_0_6_node_77 | 0.4 | n |  | TRUE
61 | bus_LV_6133-19_0_6_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_6133-19_0_6_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_6133-19_0_6_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_6133-19_0_6_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6133-19_0_6_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6133-19_0_6_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6133-19_0_6_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_6133-19_0_6_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_6133-19_0_6_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_6133-19_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6133-19_0_6_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_6133-19_0_6_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_6133-19_0_6_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_6133-19_0_6_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_6133-19_0_6_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_6133-19_0_6_node_85 | 0.4 | n |  | TRUE
77 | bus_LV_6133-19_0_6_node_83 | 0.4 | n |  | TRUE
78 | bus_LV_6133-19_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_6133-19_0_6_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_6133-19_0_6_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_6133-19_0_6_node_96 | 0.4 | n |  | TRUE
82 | bus_LV_6133-19_0_6_node_94 | 0.4 | n |  | TRUE
83 | bus_LV_6133-19_0_6_node_95 | 0.4 | n |  | TRUE
84 | bus_LV_6133-19_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6133-19_0_6_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_6133-19_0_6_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_6133-19_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_6133-19_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_6133-19_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_6133-19_0_6_node_92 | 0.4 | n |  | TRUE
91 | bus_LV_6133-19_0_6_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_6133-19_0_6_node_89 | 0.4 | n |  | TRUE
93 | bus_LV_6133-19_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_6133-19_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_MV_102_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-19_0_6_load_0 | 0 | 0.020705 | 0.0051892 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-19_0_6_load_5 | 5 | 0.044459 | 0.011142 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-19_0_6_load_34 | 6 | 0.0010761 | 0.00026969 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-19_0_6_load_32 | 7 | 0.0088556 | 0.0022194 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-19_0_6_load_41 | 9 | 0.014011 | 0.0035116 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-19_0_6_load_39 | 10 | 0.00644 | 0.001614 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-19_0_6_load_42 | 11 | 0.0043959 | 0.0011017 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-19_0_6_load_6 | 12 | 0.005664 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-19_0_6_load_7 | 13 | 0.0078699 | 0.0019724 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-19_0_6_load_9 | 14 | 0.0036877 | 0.00092422 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-19_0_6_load_71 | 15 | 0.0034327 | 0.00086032 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-19_0_6_load_97 | 16 | 0.0089344 | 0.0022392 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-19_0_6_load_14 | 18 | 0.012211 | 0.0030605 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-19_0_6_load_67 | 19 | 0.010264 | 0.0025723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-19_0_6_load_10 | 20 | 0.0045636 | 0.0011438 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-19_0_6_load_12 | 22 | 0.018132 | 0.0045442 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-19_0_6_load_18 | 24 | 0.0060732 | 0.0015221 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-19_0_6_load_15 | 25 | 0.0065127 | 0.0016322 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-19_0_6_load_16 | 27 | 0.0063623 | 0.0015945 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-19_0_6_load_17 | 28 | 0.013213 | 0.0033115 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-19_0_6_load_25 | 29 | 0.0090339 | 0.0022641 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-19_0_6_load_26 | 30 | 0.0046385 | 0.0011625 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-19_0_6_load_64 | 31 | 0.010239 | 0.0025662 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-19_0_6_load_62 | 32 | 0.0054985 | 0.0013781 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-19_0_6_load_19 | 33 | 0.011101 | 0.0027823 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-19_0_6_load_20 | 34 | 0.011292 | 0.0028301 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-19_0_6_load_21 | 35 | 0.0072973 | 0.0018289 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-19_0_6_load_23 | 37 | 0.0011945 | 0.00029937 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-19_0_6_load_24 | 38 | 0.0087059 | 0.0021819 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-19_0_6_load_57 | 39 | 0.00029762 | 7.4589e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-19_0_6_load_51 | 42 | 0.0055569 | 0.0013927 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-19_0_6_load_27 | 43 | 0.0019186 | 0.00048084 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-19_0_6_load_50 | 44 | 0.007403 | 0.0018554 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-19_0_6_load_29 | 45 | 0.0081821 | 0.0020506 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-19_0_6_load_33 | 47 | 0.0086471 | 0.0021672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-19_0_6_load_35 | 48 | 0.0060321 | 0.0015118 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-19_0_6_load_37 | 49 | 0.013662 | 0.003424 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-19_0_6_load_38 | 50 | 0.002027 | 0.00050802 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-19_0_6_load_40 | 51 | 0.0077046 | 0.001931 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-19_0_6_load_49 | 53 | 0.0047086 | 0.0011801 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-19_0_6_load_46 | 54 | 0.0059292 | 0.001486 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-19_0_6_load_44 | 55 | 0.0084001 | 0.0021053 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-19_0_6_load_45 | 56 | 0.004683 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-19_0_6_load_47 | 57 | 0.0052465 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-19_0_6_load_52 | 58 | 0.0036396 | 0.00091218 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-19_0_6_load_77 | 60 | 0.0036819 | 0.00092277 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-19_0_6_load_61 | 61 | 0.0042353 | 0.0010615 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-19_0_6_load_59 | 63 | 0.0073212 | 0.0018349 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-19_0_6_load_54 | 64 | 0.0038982 | 0.00097699 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-19_0_6_load_55 | 65 | 0.0040938 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-19_0_6_load_56 | 66 | 0.0026147 | 0.0006553 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-19_0_6_load_74 | 68 | 0.0056852 | 0.0014248 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-19_0_6_load_58 | 69 | 0.0056358 | 0.0014125 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-19_0_6_load_60 | 70 | 0.0064958 | 0.001628 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-19_0_6_load_65 | 71 | 0.0045908 | 0.0011506 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-19_0_6_load_86 | 73 | 0.0052697 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-19_0_6_load_85 | 76 | 0.0064454 | 0.0016154 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-19_0_6_load_83 | 77 | 0.006134 | 0.0015373 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-19_0_6_load_68 | 78 | 0.016475 | 0.004129 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6133-19_0_6_load_70 | 79 | 0.0040386 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6133-19_0_6_load_72 | 80 | 0.011823 | 0.0029632 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6133-19_0_6_load_96 | 81 | 0.005806 | 0.0014551 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6133-19_0_6_load_94 | 82 | 0.0070359 | 0.0017634 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6133-19_0_6_load_95 | 83 | 0.015678 | 0.0039293 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6133-19_0_6_load_76 | 84 | 0.0048026 | 0.0012036 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6133-19_0_6_load_78 | 85 | 0.0079043 | 0.001981 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6133-19_0_6_load_80 | 87 | 0.01226 | 0.0030726 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6133-19_0_6_load_81 | 88 | 0.0068649 | 0.0017205 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6133-19_0_6_load_82 | 89 | 0.0055057 | 0.0013799 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6133-19_0_6_load_92 | 90 | 0.0076063 | 0.0019063 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6133-19_0_6_load_93 | 91 | 0.0054819 | 0.0013739 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6133-19_0_6_load_89 | 92 | 0.0057517 | 0.0014415 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6133-19_0_6_load_90 | 93 | 0.0056823 | 0.0014241 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6133-19_0_6_load_91 | 94 | 0.011679 | 0.002927 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-19_0_6_line_0 |  | 0 | 1 | 0.02701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-19_0_6_line_1 |  | 1 | 5 | 0.02998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-19_0_6_line_2 |  | 1 | 6 | 0.065948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-19_0_6_line_3 |  | 2 | 3 | 0.033344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-19_0_6_line_4 |  | 2 | 4 | 0.056033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6133-19_0_6_line_5 |  | 3 | 5 | 0.015324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6133-19_0_6_line_6 |  | 4 | 8 | 0.018668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6133-19_0_6_line_7 |  | 4 | 9 | 0.052157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6133-19_0_6_line_8 |  | 6 | 7 | 0.0031104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6133-19_0_6_line_9 |  | 7 | 47 | 0.025706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6133-19_0_6_line_10 |  | 8 | 11 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6133-19_0_6_line_11 |  | 9 | 10 | 0.0020002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6133-19_0_6_line_12 |  | 10 | 49 | 0.014686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-19_0_6_line_13 |  | 12 | 13 | 0.0010386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6133-19_0_6_line_14 |  | 13 | 14 | 0.0072089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6133-19_0_6_line_15 |  | 14 | 15 | 0.03379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6133-19_0_6_line_16 |  | 15 | 16 | 0.038284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6133-19_0_6_line_17 |  | 15 | 17 | 0.028598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6133-19_0_6_line_18 |  | 17 | 18 | 0.018514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6133-19_0_6_line_19 |  | 17 | 19 | 0.031686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6133-19_0_6_line_20 |  | 18 | 21 | 0.016619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6133-19_0_6_line_21 |  | 19 | 78 | 0.038457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-19_0_6_line_22 |  | 20 | 21 | 0.019905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-19_0_6_line_23 |  | 20 | 22 | 0.024265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6133-19_0_6_line_24 |  | 21 | 23 | 0.014433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6133-19_0_6_line_25 |  | 23 | 24 | 0.017244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-19_0_6_line_26 |  | 23 | 25 | 0.0058767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-19_0_6_line_27 |  | 24 | 26 | 0.016816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6133-19_0_6_line_28 |  | 25 | 27 | 0.01725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6133-19_0_6_line_29 |  | 26 | 31 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6133-19_0_6_line_30 |  | 26 | 32 | 0.026732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6133-19_0_6_line_31 |  | 27 | 28 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-19_0_6_line_32 |  | 28 | 29 | 0.015164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6133-19_0_6_line_33 |  | 29 | 30 | 0.01326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6133-19_0_6_line_34 |  | 30 | 43 | 0.011845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6133-19_0_6_line_35 |  | 33 | 34 | 0.010937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6133-19_0_6_line_36 |  | 33 | 35 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6133-19_0_6_line_37 |  | 34 | 36 | 0.013154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6133-19_0_6_line_38 |  | 36 | 37 | 0.002497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6133-19_0_6_line_39 |  | 36 | 38 | 0.02338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6133-19_0_6_line_40 |  | 37 | 39 | 0.011592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-19_0_6_line_41 |  | 38 | 40 | 0.038255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-19_0_6_line_42 |  | 39 | 41 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6133-19_0_6_line_43 |  | 40 | 42 | 0.0061359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6133-19_0_6_line_44 |  | 40 | 43 | 0.011234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6133-19_0_6_line_45 |  | 41 | 46 | 0.025858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6133-19_0_6_line_46 |  | 42 | 44 | 0.032173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6133-19_0_6_line_47 |  | 44 | 53 | 0.00052108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6133-19_0_6_line_48 |  | 45 | 46 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6133-19_0_6_line_49 |  | 47 | 48 | 0.0027585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6133-19_0_6_line_50 |  | 49 | 50 | 0.0014424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6133-19_0_6_line_51 |  | 50 | 51 | 0.023625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6133-19_0_6_line_52 |  | 51 | 52 | 0.019187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6133-19_0_6_line_53 |  | 52 | 53 | 0.019118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6133-19_0_6_line_54 |  | 52 | 54 | 0.0036843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6133-19_0_6_line_55 |  | 54 | 55 | 0.02908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6133-19_0_6_line_56 |  | 55 | 56 | 0.019581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6133-19_0_6_line_57 |  | 56 | 57 | 0.0084393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6133-19_0_6_line_58 |  | 57 | 58 | 0.026524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6133-19_0_6_line_59 |  | 58 | 59 | 0.0066676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6133-19_0_6_line_60 |  | 59 | 60 | 0.013469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6133-19_0_6_line_61 |  | 59 | 61 | 0.011956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6133-19_0_6_line_62 |  | 60 | 62 | 0.035458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_6133-19_0_6_line_63 |  | 61 | 63 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6133-19_0_6_line_64 |  | 62 | 84 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6133-19_0_6_line_65 |  | 62 | 68 | 0.0037431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6133-19_0_6_line_66 |  | 63 | 69 | 0.026382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6133-19_0_6_line_67 |  | 64 | 65 | 0.071206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6133-19_0_6_line_68 |  | 65 | 66 | 0.022431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6133-19_0_6_line_69 |  | 66 | 67 | 0.023923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6133-19_0_6_line_70 |  | 67 | 68 | 0.026326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6133-19_0_6_line_71 |  | 69 | 70 | 0.032598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6133-19_0_6_line_72 |  | 71 | 72 | 0.021895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6133-19_0_6_line_73 |  | 72 | 73 | 0.021029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6133-19_0_6_line_74 |  | 73 | 74 | 0.028605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6133-19_0_6_line_75 |  | 74 | 79 | 0.032324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6133-19_0_6_line_76 |  | 75 | 76 | 0.011312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6133-19_0_6_line_77 |  | 75 | 77 | 0.0096281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6133-19_0_6_line_78 |  | 76 | 92 | 0.02663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6133-19_0_6_line_79 |  | 77 | 89 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6133-19_0_6_line_80 |  | 78 | 79 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6133-19_0_6_line_81 |  | 80 | 81 | 0.076672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6133-19_0_6_line_82 |  | 81 | 82 | 0.0048069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6133-19_0_6_line_83 |  | 81 | 83 | 0.028751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6133-19_0_6_line_84 |  | 82 | 91 | 0.020036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6133-19_0_6_line_85 |  | 84 | 85 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6133-19_0_6_line_86 |  | 85 | 86 | 0.019558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6133-19_0_6_line_87 |  | 86 | 87 | 0.029398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6133-19_0_6_line_88 |  | 86 | 88 | 0.014602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6133-19_0_6_line_89 |  | 87 | 89 | 0.01192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6133-19_0_6_line_90 |  | 88 | 90 | 0.0078316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6133-19_0_6_line_91 |  | 90 | 91 | 0.012144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6133-19_0_6_line_92 |  | 92 | 93 | 0.0041657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6133-19_0_6_line_93 |  | 93 | 94 | 0.0057704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-19_0_6_trafo_26 | 0.63 MVA 20/0.4 kV | 95 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2576065.7436 | 1110424.478 | 2576041.8175 | 1110411.9443
1 | 2576065.7436 | 1110424.478 | 2576055.0604 | 1110452.4898
2 | 2576093.241 | 1110364.5359 | 2576065.7436 | 1110424.478
3 | 2576020.8422 | 1110449.7909 | 2576049.5998 | 1110466.8077
4 | 2576020.8422 | 1110449.7909 | 2575971.392 | 1110423.174
5 | 2576049.5998 | 1110466.8077 | 2576055.0604 | 1110452.4898
6 | 2575961.6887 | 1110439.1317 | 2575962.8715 | 1110437.3373 | 2575969.5733 | 1110426.3384 | 2575971.392 | 1110423.174
7 | 2575975.18 | 1110371.1551 | 2575971.392 | 1110423.174
8 | 2576095.249 | 1110362.1606 | 2576093.241 | 1110364.5359
9 | 2576095.249 | 1110362.1606 | 2576111.8443 | 1110342.5292
10 | 2575961.6887 | 1110439.1317 | 2575971.4402 | 1110444.8399
11 | 2575975.18 | 1110371.1551 | 2575973.3595 | 1110370.3264
12 | 2575959.9934 | 1110364.2422 | 2575973.3595 | 1110370.3264
13 | 2576036.2108 | 1110142.6251 | 2576035.6717 | 1110143.5127
14 | 2576031.9293 | 1110149.6741 | 2576035.6717 | 1110143.5127
15 | 2576020.8533 | 1110181.5973 | 2576031.9293 | 1110149.6741
16 | 2576045.3819 | 1110209.9066 | 2576034.2418 | 1110191.0746 | 2576020.8533 | 1110181.5973
17 | 2575997.5112 | 1110165.074 | 2576020.8533 | 1110181.5973
18 | 2575997.5112 | 1110165.074 | 2575990.5104 | 1110182.2133
19 | 2575997.5112 | 1110165.074 | 2575971.7552 | 1110146.618
20 | 2575984.2259 | 1110197.5987 | 2575990.5104 | 1110182.2133
21 | 2575971.7552 | 1110146.618 | 2575943.4667 | 1110126.3473 | 2575940.6724 | 1110123.991
22 | 2575984.2259 | 1110197.5987 | 2576002.5147 | 1110205.4564
23 | 2576024.8092 | 1110215.0352 | 2576002.5147 | 1110205.4564
24 | 2575978.7618 | 1110210.9605 | 2575984.2259 | 1110197.5987
25 | 2575978.7618 | 1110210.9605 | 2575964.1138 | 1110201.8618
26 | 2575978.7618 | 1110210.9605 | 2575976.5389 | 1110216.4005
27 | 2575949.829 | 1110192.9887 | 2575964.1138 | 1110201.8618
28 | 2575970.0139 | 1110232.3685 | 2575976.5389 | 1110216.4005
29 | 2575949.829 | 1110192.9887 | 2575940.5946 | 1110187.2517
30 | 2575949.829 | 1110192.9887 | 2575936.3908 | 1110216.0971
31 | 2575964.4186 | 1110246.0612 | 2575970.0139 | 1110232.3685
32 | 2575964.4186 | 1110246.0612 | 2575958.6826 | 1110260.0983
33 | 2575953.667 | 1110272.3726 | 2575958.6826 | 1110260.0983
34 | 2575953.667 | 1110272.3726 | 2575949.1866 | 1110283.3371
35 | 2576015.3414 | 1110275.946 | 2576011.2828 | 1110286.1019
36 | 2576021.6502 | 1110260.1593 | 2576015.3414 | 1110275.946
37 | 2576006.4015 | 1110298.3167 | 2576011.2828 | 1110286.1019
38 | 2576006.4015 | 1110298.3167 | 2576008.8856 | 1110298.569
39 | 2576006.4015 | 1110298.3167 | 2575983.086 | 1110296.5793
40 | 2576020.4178 | 1110299.7404 | 2576008.8856 | 1110298.569
41 | 2575944.9371 | 1110293.7366 | 2575983.086 | 1110296.5793
42 | 2576042.9501 | 1110302.0291 | 2576020.4178 | 1110299.7404
43 | 2575944.9371 | 1110293.7366 | 2575942.2664 | 1110299.2608
44 | 2575944.9371 | 1110293.7366 | 2575949.1866 | 1110283.3371
45 | 2576041.9204 | 1110276.198 | 2576042.9501 | 1110302.0291
46 | 2575928.2632 | 1110328.2261 | 2575942.2664 | 1110299.2608
47 | 2575928.2632 | 1110328.2261 | 2575928.0364 | 1110328.6952
48 | 2576041.9204 | 1110276.198 | 2576041.5252 | 1110266.1834 | 2576037.7702 | 1110264.5535
49 | 2576111.8443 | 1110342.5292 | 2576113.6252 | 1110340.4225
50 | 2575959.9934 | 1110364.2422 | 2575958.6806 | 1110363.6446
51 | 2575958.6806 | 1110363.6446 | 2575937.178 | 1110353.8567
52 | 2575919.715 | 1110345.9076 | 2575937.178 | 1110353.8567
53 | 2575919.715 | 1110345.9076 | 2575928.0364 | 1110328.6952
54 | 2575919.715 | 1110345.9076 | 2575916.4339 | 1110344.2319
55 | 2575890.5362 | 1110331.0057 | 2575916.4339 | 1110344.2319
56 | 2575890.5362 | 1110331.0057 | 2575873.098 | 1110322.0998
57 | 2575865.5821 | 1110318.2614 | 2575873.098 | 1110322.0998
58 | 2575865.5821 | 1110318.2614 | 2575841.9601 | 1110306.1973
59 | 2575836.0221 | 1110303.1647 | 2575841.9601 | 1110306.1973
60 | 2575836.0221 | 1110303.1647 | 2575824.028 | 1110297.0372
61 | 2575836.0221 | 1110303.1647 | 2575841.9392 | 1110292.7755
62 | 2575792.4523 | 1110280.9057 | 2575824.028 | 1110297.0372
63 | 2575848.8362 | 1110280.6659 | 2575841.9392 | 1110292.7755
64 | 2575792.4523 | 1110280.9057 | 2575797.9043 | 1110270.4875
65 | 2575792.4523 | 1110280.9057 | 2575790.4322 | 1110284.0569
66 | 2575861.8931 | 1110257.741 | 2575848.8362 | 1110280.6659
67 | 2575877.8951 | 1110367.6968 | 2575816.6577 | 1110331.361
68 | 2575797.3674 | 1110319.9149 | 2575816.6577 | 1110331.361
69 | 2575777.3571 | 1110306.857 | 2575785.6651 | 1110312.9712 | 2575797.3674 | 1110319.9149
70 | 2575777.3571 | 1110306.857 | 2575782.2851 | 1110296.7655 | 2575790.4322 | 1110284.0569
71 | 2575878.0258 | 1110229.4154 | 2575861.8931 | 1110257.741
72 | 2575879.0739 | 1110135.8309 | 2575895.4923 | 1110150.3162
73 | 2575879.0739 | 1110135.8309 | 2575889.3889 | 1110117.5059
74 | 2575903.4202 | 1110092.5788 | 2575889.3889 | 1110117.5059
75 | 2575903.4202 | 1110092.5788 | 2575928.1314 | 1110113.416
76 | 2575851.2394 | 1110178.1967 | 2575843.6269 | 1110169.8296
77 | 2575851.2394 | 1110178.1967 | 2575846.2697 | 1110186.4431
78 | 2575825.706 | 1110150.1323 | 2575843.6269 | 1110169.8296
79 | 2575846.2697 | 1110186.4431 | 2575834.3002 | 1110206.3044
80 | 2575928.1314 | 1110113.416 | 2575940.6724 | 1110123.991
81 | 2575772.8312 | 1110197.8825 | 2575713.7083 | 1110246.6998
82 | 2575776.0786 | 1110201.4266 | 2575772.8312 | 1110197.8825
83 | 2575753.4078 | 1110176.6841 | 2575772.8312 | 1110197.8825
84 | 2575776.0786 | 1110201.4266 | 2575789.6139 | 1110216.1988
85 | 2575797.9043 | 1110270.4875 | 2575803.9048 | 1110259.0213
86 | 2575812.9732 | 1110241.6927 | 2575803.9048 | 1110259.0213
87 | 2575812.9732 | 1110241.6927 | 2575828.1476 | 1110216.5135
88 | 2575812.9732 | 1110241.6927 | 2575803.1084 | 1110230.9265
89 | 2575828.1476 | 1110216.5135 | 2575834.3002 | 1110206.3044
90 | 2575797.8177 | 1110225.1523 | 2575803.1084 | 1110230.9265
91 | 2575797.8177 | 1110225.1523 | 2575789.6139 | 1110216.1988
92 | 2575825.706 | 1110150.1323 | 2575822.9027 | 1110147.051
93 | 2575822.9027 | 1110147.051 | 2575819.0194 | 1110142.7828

## bus_geodata
| x | y | coords
0 | 2576041.8175 | 1110411.9443
1 | 2576065.7436 | 1110424.478
2 | 2576020.8422 | 1110449.7909
3 | 2576049.5998 | 1110466.8077
4 | 2575971.392 | 1110423.174
5 | 2576055.0604 | 1110452.4898
6 | 2576093.241 | 1110364.5359
7 | 2576095.249 | 1110362.1606
8 | 2575961.6887 | 1110439.1317
9 | 2575975.18 | 1110371.1551
10 | 2575973.3595 | 1110370.3264
11 | 2575971.4402 | 1110444.8399
12 | 2576036.2108 | 1110142.6251
13 | 2576035.6717 | 1110143.5127
14 | 2576031.9293 | 1110149.6741
15 | 2576020.8533 | 1110181.5973
16 | 2576045.3819 | 1110209.9066
17 | 2575997.5112 | 1110165.074
18 | 2575990.5104 | 1110182.2133
19 | 2575971.7552 | 1110146.618
20 | 2576002.5147 | 1110205.4564
21 | 2575984.2259 | 1110197.5987
22 | 2576024.8092 | 1110215.0352
23 | 2575978.7618 | 1110210.9605
24 | 2575964.1138 | 1110201.8618
25 | 2575976.5389 | 1110216.4005
26 | 2575949.829 | 1110192.9887
27 | 2575970.0139 | 1110232.3685
28 | 2575964.4186 | 1110246.0612
29 | 2575958.6826 | 1110260.0983
30 | 2575953.667 | 1110272.3726
31 | 2575940.5946 | 1110187.2517
32 | 2575936.3908 | 1110216.0971
33 | 2576015.3414 | 1110275.946
34 | 2576011.2828 | 1110286.1019
35 | 2576021.6502 | 1110260.1592
36 | 2576006.4015 | 1110298.3167
37 | 2576008.8856 | 1110298.569
38 | 2575983.086 | 1110296.5793
39 | 2576020.4178 | 1110299.7404
40 | 2575944.9371 | 1110293.7366
41 | 2576042.9501 | 1110302.0291
42 | 2575942.2664 | 1110299.2608
43 | 2575949.1866 | 1110283.3371
44 | 2575928.2632 | 1110328.2261
45 | 2576037.7702 | 1110264.5535
46 | 2576041.9204 | 1110276.198
47 | 2576111.8443 | 1110342.5292
48 | 2576113.6252 | 1110340.4225
49 | 2575959.9934 | 1110364.2422
50 | 2575958.6806 | 1110363.6446
51 | 2575937.178 | 1110353.8567
52 | 2575919.715 | 1110345.9076
53 | 2575928.0364 | 1110328.6952
54 | 2575916.4339 | 1110344.2319
55 | 2575890.5362 | 1110331.0057
56 | 2575873.098 | 1110322.0998
57 | 2575865.5821 | 1110318.2614
58 | 2575841.9601 | 1110306.1973
59 | 2575836.0221 | 1110303.1647
60 | 2575824.028 | 1110297.0372
61 | 2575841.9392 | 1110292.7755
62 | 2575792.4523 | 1110280.9057
63 | 2575848.8362 | 1110280.6659
64 | 2575877.8951 | 1110367.6968
65 | 2575816.6577 | 1110331.361
66 | 2575797.3674 | 1110319.9149
67 | 2575777.3571 | 1110306.857
68 | 2575790.4322 | 1110284.0569
69 | 2575861.8931 | 1110257.741
70 | 2575878.0258 | 1110229.4154
71 | 2575895.4923 | 1110150.3162
72 | 2575879.0739 | 1110135.8309
73 | 2575889.3889 | 1110117.5059
74 | 2575903.4202 | 1110092.5788
75 | 2575851.2394 | 1110178.1967
76 | 2575843.6269 | 1110169.8296
77 | 2575846.2697 | 1110186.4431
78 | 2575940.6724 | 1110123.991
79 | 2575928.1314 | 1110113.416
80 | 2575713.7083 | 1110246.6998
81 | 2575772.8312 | 1110197.8825
82 | 2575776.0786 | 1110201.4266
83 | 2575753.4078 | 1110176.6841
84 | 2575797.9043 | 1110270.4875
85 | 2575803.9048 | 1110259.0213
86 | 2575812.9732 | 1110241.6927
87 | 2575828.1476 | 1110216.5135
88 | 2575803.1084 | 1110230.9265
89 | 2575834.3002 | 1110206.3044
90 | 2575797.8177 | 1110225.1523
91 | 2575789.6139 | 1110216.1988
92 | 2575825.706 | 1110150.1323
93 | 2575822.9027 | 1110147.051
94 | 2575819.0194 | 1110142.7828
95 | 2575944.9371 | 1110293.7366

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1