## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-30_1_3_node_4 | 0.4 | n |  | TRUE
1 | bus_LV_6133-30_1_3_node_6 | 0.4 | n |  | TRUE
2 | bus_LV_6133-30_1_3_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_6133-30_1_3_node_71 | 0.4 | n |  | TRUE
4 | bus_LV_6133-30_1_3_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_6133-30_1_3_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_6133-30_1_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_6133-30_1_3_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6133-30_1_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_6133-30_1_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_6133-30_1_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_6133-30_1_3_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_6133-30_1_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_6133-30_1_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6133-30_1_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_6133-30_1_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6133-30_1_3_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6133-30_1_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6133-30_1_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_6133-30_1_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_6133-30_1_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_6133-30_1_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_6133-30_1_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_6133-30_1_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_6133-30_1_3_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_6133-30_1_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_6133-30_1_3_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6133-30_1_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_6133-30_1_3_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_6133-30_1_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6133-30_1_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_6133-30_1_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6133-30_1_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_6133-30_1_3_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_6133-30_1_3_node_91 | 0.4 | n |  | TRUE
35 | bus_LV_6133-30_1_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6133-30_1_3_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_6133-30_1_3_node_79 | 0.4 | n |  | TRUE
38 | bus_LV_6133-30_1_3_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_6133-30_1_3_node_118 | 0.4 | n |  | TRUE
40 | bus_LV_6133-30_1_3_node_81 | 0.4 | n |  | TRUE
41 | bus_LV_6133-30_1_3_node_116 | 0.4 | n |  | TRUE
42 | bus_LV_6133-30_1_3_node_115 | 0.4 | n |  | TRUE
43 | bus_LV_6133-30_1_3_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_6133-30_1_3_node_117 | 0.4 | n |  | TRUE
45 | bus_LV_6133-30_1_3_node_84 | 0.4 | n |  | TRUE
46 | bus_LV_6133-30_1_3_node_85 | 0.4 | n |  | TRUE
47 | bus_LV_6133-30_1_3_node_111 | 0.4 | n |  | TRUE
48 | bus_LV_6133-30_1_3_node_109 | 0.4 | n |  | TRUE
49 | bus_LV_6133-30_1_3_node_92 | 0.4 | n |  | TRUE
50 | bus_LV_6133-30_1_3_node_93 | 0.4 | n |  | TRUE
51 | bus_LV_6133-30_1_3_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_6133-30_1_3_node_95 | 0.4 | n |  | TRUE
53 | bus_LV_6133-30_1_3_node_96 | 0.4 | n |  | TRUE
54 | bus_LV_6133-30_1_3_node_97 | 0.4 | n |  | TRUE
55 | bus_LV_6133-30_1_3_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_6133-30_1_3_node_98 | 0.4 | n |  | TRUE
57 | bus_LV_6133-30_1_3_node_100 | 0.4 | n |  | TRUE
58 | bus_LV_6133-30_1_3_node_101 | 0.4 | n |  | TRUE
59 | bus_LV_6133-30_1_3_node_102 | 0.4 | n |  | TRUE
60 | bus_LV_6133-30_1_3_node_103 | 0.4 | n |  | TRUE
61 | bus_LV_6133-30_1_3_node_104 | 0.4 | n |  | TRUE
62 | bus_LV_6133-30_1_3_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_6133-30_1_3_node_106 | 0.4 | n |  | TRUE
64 | bus_LV_6133-30_1_3_node_107 | 0.4 | n |  | TRUE
65 | bus_LV_6133-30_1_3_node_108 | 0.4 | n |  | TRUE
66 | bus_LV_6133-30_1_3_node_110 | 0.4 | n |  | TRUE
67 | bus_LV_6133-30_1_3_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_6133-30_1_3_node_113 | 0.4 | n |  | TRUE
69 | bus_LV_6133-30_1_3_node_114 | 0.4 | n |  | TRUE
70 | bus_MV_102_0_node_79 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-30_1_3_load_4 | 0 | 0.0086905 | 0.0021781 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-30_1_3_load_6 | 1 | 0.0040462 | 0.0010141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-30_1_3_load_8 | 2 | 0.0089031 | 0.0022313 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-30_1_3_load_71 | 3 | 0.0029195 | 0.0007317 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-30_1_3_load_15 | 5 | 0.010483 | 0.0026273 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-30_1_3_load_18 | 7 | 0.005145 | 0.0012894 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-30_1_3_load_19 | 8 | 0.0078821 | 0.0019754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-30_1_3_load_83 | 9 | 0.0054709 | 0.0013711 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-30_1_3_load_20 | 10 | 0.0097472 | 0.0024429 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-30_1_3_load_82 | 11 | 0.0061691 | 0.0015461 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-30_1_3_load_21 | 12 | 0.010477 | 0.0026258 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-30_1_3_load_22 | 13 | 0.0053518 | 0.0013413 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-30_1_3_load_23 | 14 | 0.0055555 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-30_1_3_load_24 | 15 | 0.004691 | 0.0011757 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-30_1_3_load_25 | 16 | 0.00355 | 0.00088971 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-30_1_3_load_26 | 17 | 0.003412 | 0.00085513 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-30_1_3_load_48 | 18 | 0.0041298 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-30_1_3_load_30 | 19 | 0.0033225 | 0.0008327 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-30_1_3_load_27 | 20 | 0.0026373 | 0.00066098 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-30_1_3_load_43 | 25 | 0.0058145 | 0.0014572 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-30_1_3_load_47 | 26 | 0.0085064 | 0.0021319 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-30_1_3_load_45 | 27 | 0.0028484 | 0.00071388 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-30_1_3_load_38 | 29 | 0.0031047 | 0.00077811 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-30_1_3_load_39 | 30 | 0.0030478 | 0.00076386 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-30_1_3_load_40 | 31 | 0.0039758 | 0.00099643 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-30_1_3_load_42 | 32 | 0.004646 | 0.0011644 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-30_1_3_load_90 | 33 | 0.0028942 | 0.00072536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-30_1_3_load_91 | 34 | 0.0038008 | 0.00095258 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-30_1_3_load_46 | 35 | 0.0056068 | 0.0014052 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-30_1_3_load_78 | 36 | 0.0079729 | 0.0019982 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-30_1_3_load_79 | 37 | 0.017277 | 0.00433 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-30_1_3_load_118 | 39 | 0.014951 | 0.003747 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-30_1_3_load_81 | 40 | 0.0029042 | 0.00072785 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-30_1_3_load_115 | 42 | 0.0043311 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-30_1_3_load_86 | 43 | 0.0036326 | 0.00091041 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-30_1_3_load_117 | 44 | 0.009671 | 0.0024238 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-30_1_3_load_111 | 47 | 0.0053298 | 0.0013358 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-30_1_3_load_109 | 48 | 0.0036718 | 0.00092023 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-30_1_3_load_92 | 49 | 0.0030794 | 0.00077177 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-30_1_3_load_93 | 50 | 0.0029206 | 0.00073196 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-30_1_3_load_94 | 51 | 0.0026463 | 0.00066322 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-30_1_3_load_95 | 52 | 0.0022613 | 0.00056673 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-30_1_3_load_96 | 53 | 0.0024059 | 0.00060297 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-30_1_3_load_97 | 54 | 0.0029822 | 0.0007474 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-30_1_3_load_99 | 55 | 0.0048928 | 0.0012262 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-30_1_3_load_98 | 56 | 0.0015526 | 0.00038913 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-30_1_3_load_100 | 57 | 0.0025727 | 0.00064478 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-30_1_3_load_101 | 58 | 0.0017244 | 0.00043218 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-30_1_3_load_102 | 59 | 0.0019379 | 0.00048568 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-30_1_3_load_103 | 60 | 0.0015099 | 0.00037843 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-30_1_3_load_104 | 61 | 0.0017317 | 0.00043399 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-30_1_3_load_105 | 62 | 0.0016674 | 0.00041789 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-30_1_3_load_106 | 63 | 0.0022513 | 0.00056424 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-30_1_3_load_107 | 64 | 0.0027276 | 0.00068361 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-30_1_3_load_110 | 66 | 0.001655 | 0.00041479 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-30_1_3_load_113 | 68 | 0.0075355 | 0.0018886 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-30_1_3_load_114 | 69 | 0.0077546 | 0.0019435 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-30_1_3_line_0 |  | 0 | 1 | 0.026521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-30_1_3_line_1 |  | 1 | 2 | 0.0015189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-30_1_3_line_2 |  | 2 | 3 | 0.013705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-30_1_3_line_3 |  | 2 | 4 | 0.017609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-30_1_3_line_4 |  | 4 | 8 | 0.022462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_6133-30_1_3_line_5 |  | 4 | 5 | 0.017447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6133-30_1_3_line_6 |  | 5 | 6 | 0.037605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6133-30_1_3_line_7 |  | 6 | 7 | 0.02411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6133-30_1_3_line_8 |  | 7 | 9 | 0.013009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6133-30_1_3_line_9 |  | 8 | 10 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6133-30_1_3_line_10 |  | 9 | 11 | 0.025733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6133-30_1_3_line_11 |  | 10 | 12 | 0.020348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6133-30_1_3_line_12 |  | 11 | 44 | 0.02993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6133-30_1_3_line_13 |  | 12 | 13 | 0.0020862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6133-30_1_3_line_14 |  | 14 | 15 | 0.048233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6133-30_1_3_line_15 |  | 14 | 16 | 0.0085388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6133-30_1_3_line_16 |  | 16 | 17 | 0.016312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6133-30_1_3_line_17 |  | 17 | 18 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6133-30_1_3_line_18 |  | 18 | 19 | 0.0093538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6133-30_1_3_line_19 |  | 19 | 21 | 0.014385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6133-30_1_3_line_20 |  | 20 | 21 | 0.029201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6133-30_1_3_line_21 |  | 20 | 22 | 0.018028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6133-30_1_3_line_22 |  | 22 | 23 | 0.018718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6133-30_1_3_line_23 |  | 23 | 24 | 0.029237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6133-30_1_3_line_24 |  | 23 | 25 | 0.011952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6133-30_1_3_line_25 |  | 24 | 26 | 0.012742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-30_1_3_line_26 |  | 24 | 27 | 0.01046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-30_1_3_line_27 |  | 25 | 28 | 0.014228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6133-30_1_3_line_28 |  | 27 | 35 | 0.00021791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6133-30_1_3_line_29 |  | 28 | 30 | 0.0065736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6133-30_1_3_line_30 |  | 29 | 30 | 0.0085111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6133-30_1_3_line_31 |  | 29 | 31 | 0.04329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6133-30_1_3_line_32 |  | 31 | 32 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6133-30_1_3_line_33 |  | 32 | 33 | 0.0053276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6133-30_1_3_line_34 |  | 33 | 34 | 0.0080025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6133-30_1_3_line_35 |  | 34 | 49 | 0.013727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6133-30_1_3_line_36 |  | 36 | 37 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6133-30_1_3_line_37 |  | 36 | 38 | 0.044954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6133-30_1_3_line_38 |  | 36 | 39 | 0.034062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6133-30_1_3_line_39 |  | 38 | 40 | 0.053305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6133-30_1_3_line_40 |  | 39 | 41 | 0.012315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6133-30_1_3_line_41 |  | 40 | 42 | 0.0088005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6133-30_1_3_line_42 |  | 41 | 44 | 0.003921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6133-30_1_3_line_43 |  | 42 | 43 | 0.0019039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6133-30_1_3_line_44 |  | 43 | 45 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6133-30_1_3_line_45 |  | 45 | 46 | 0.006378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6133-30_1_3_line_46 |  | 46 | 47 | 0.0012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6133-30_1_3_line_47 |  | 47 | 48 | 0.0082032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6133-30_1_3_line_48 |  | 48 | 65 | 0.0047464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6133-30_1_3_line_49 |  | 49 | 50 | 0.0071534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6133-30_1_3_line_50 |  | 50 | 51 | 0.0039904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6133-30_1_3_line_51 |  | 51 | 52 | 0.0016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6133-30_1_3_line_52 |  | 52 | 53 | 0.0031882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6133-30_1_3_line_53 |  | 53 | 54 | 0.0080382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6133-30_1_3_line_54 |  | 54 | 55 | 0.0031213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6133-30_1_3_line_55 |  | 55 | 56 | 0.0083322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6133-30_1_3_line_56 |  | 56 | 57 | 0.029552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6133-30_1_3_line_57 |  | 57 | 58 | 0.00087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6133-30_1_3_line_58 |  | 58 | 59 | 0.010411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6133-30_1_3_line_59 |  | 59 | 60 | 0.0002764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6133-30_1_3_line_60 |  | 60 | 61 | 0.00099051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6133-30_1_3_line_61 |  | 61 | 62 | 0.0079595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6133-30_1_3_line_62 |  | 62 | 63 | 0.0024622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6133-30_1_3_line_63 |  | 63 | 64 | 0.011137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6133-30_1_3_line_64 |  | 64 | 65 | 0.0047783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6133-30_1_3_line_65 |  | 65 | 66 | 0.011199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6133-30_1_3_line_66 |  | 66 | 67 | 0.0053467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6133-30_1_3_line_67 |  | 67 | 68 | 0.019905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6133-30_1_3_line_68 |  | 67 | 69 | 0.033621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-30_1_3_trafo_22 | 0.63 MVA 20/0.4 kV | 70 | 13 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2573438.0356 | 1108704.4375 | 2573413.192 | 1108695.1553
1 | 2573413.192 | 1108695.1553 | 2573411.7692 | 1108694.6237
2 | 2573399.2722 | 1108689.0117 | 2573409.5877 | 1108693.8086 | 2573411.7692 | 1108694.6237
3 | 2573400.065 | 1108707.7798 | 2573411.7692 | 1108694.6237
4 | 2573400.065 | 1108707.7798 | 2573392.3916 | 1108728.8902
5 | 2573400.065 | 1108707.7798 | 2573384.2366 | 1108700.4415
6 | 2573350.1786 | 1108684.4988 | 2573379.4477 | 1108698.2213 | 2573384.2366 | 1108700.4415
7 | 2573350.1786 | 1108684.4988 | 2573337.5921 | 1108705.0625
8 | 2573337.5921 | 1108705.0625 | 2573330.8008 | 1108716.1581
9 | 2573392.3916 | 1108728.8902 | 2573386.9782 | 1108743.7832
10 | 2573317.3149 | 1108738.0728 | 2573318.3781 | 1108736.4542 | 2573330.8008 | 1108716.1581
11 | 2573386.9782 | 1108743.7832 | 2573380.0269 | 1108762.9069
12 | 2573317.3149 | 1108738.0728 | 2573287.389 | 1108737.5583
13 | 2573379.3142 | 1108764.8676 | 2573380.0269 | 1108762.9069
14 | 2573484.5448 | 1108802.3732 | 2573437.1676 | 1108793.3267
15 | 2573484.5448 | 1108802.3732 | 2573492.932 | 1108803.9747
16 | 2573508.3104 | 1108809.2114 | 2573497.6622 | 1108804.878 | 2573492.932 | 1108803.9747
17 | 2573522.832 | 1108812.1416 | 2573518.9411 | 1108812.1217 | 2573510.2289 | 1108809.9921 | 2573508.3104 | 1108809.2114
18 | 2573522.832 | 1108812.1416 | 2573532.1857 | 1108812.1895
19 | 2573546.3776 | 1108813.5023 | 2573542.3452 | 1108812.2415 | 2573532.1857 | 1108812.1895
20 | 2573546.3776 | 1108813.5023 | 2573543.7924 | 1108819.7167 | 2573540.6412 | 1108823.7659 | 2573537.9555 | 1108826.4346 | 2573532.7814 | 1108829.1919 | 2573527.7684 | 1108831.6818 | 2573525.9057 | 1108832.6362
21 | 2573517.3334 | 1108847.3799 | 2573517.7447 | 1108844.2209 | 2573517.9386 | 1108842.6081 | 2573518.6782 | 1108840.3037 | 2573520.6108 | 1108836.8602 | 2573523.7197 | 1108833.7561 | 2573525.9057 | 1108832.6362
22 | 2573517.3334 | 1108847.3799 | 2573511.4167 | 1108849.996 | 2573500.8789 | 1108856.3232
23 | 2573500.8789 | 1108856.3232 | 2573488.6667 | 1108852.7082 | 2573472.203 | 1108850.7239
24 | 2573500.8789 | 1108856.3232 | 2573492.4534 | 1108861.396 | 2573490.7653 | 1108862.6733
25 | 2573472.203 | 1108850.7239 | 2573461.4756 | 1108843.8008
26 | 2573472.203 | 1108850.7239 | 2573467.2003 | 1108853.7807 | 2573466.5118 | 1108858.3264
27 | 2573479.4192 | 1108871.2581 | 2573490.7653 | 1108862.6733
28 | 2573466.4792 | 1108858.5418 | 2573466.5118 | 1108858.3264
29 | 2573479.4192 | 1108871.2581 | 2573474.6976 | 1108873.202 | 2573473.237 | 1108873.3441
30 | 2573464.7479 | 1108873.7665 | 2573468.5943 | 1108873.7958 | 2573473.237 | 1108873.3441
31 | 2573464.7479 | 1108873.7665 | 2573459.327 | 1108873.7253 | 2573437.166 | 1108871.5104 | 2573426.6094 | 1108870.0338 | 2573421.8243 | 1108868.8119
32 | 2573421.8243 | 1108868.8119 | 2573416.2951 | 1108867.4001 | 2573410.9696 | 1108864.8492
33 | 2573410.9696 | 1108864.8492 | 2573406.5902 | 1108862.7515 | 2573406.2205 | 1108862.4583
34 | 2573406.2205 | 1108862.4583 | 2573399.9505 | 1108857.4858
35 | 2573399.9505 | 1108857.4858 | 2573397.2364 | 1108855.3334 | 2573392.4822 | 1108849.8626 | 2573390.9244 | 1108847.2809
36 | 2573263.1024 | 1108765.9597 | 2573264.1986 | 1108764.8301 | 2573275.6893 | 1108774.292
37 | 2573230.7081 | 1108750.8268 | 2573232.3292 | 1108750.3638 | 2573234.9964 | 1108752.2641 | 2573255.9429 | 1108773.3376 | 2573263.1024 | 1108765.9597
38 | 2573263.1024 | 1108765.9597 | 2573272.9169 | 1108733.3423
39 | 2573230.7081 | 1108750.8268 | 2573232.853 | 1108755.2084 | 2573236.531 | 1108761.9399 | 2573242.142 | 1108768.8519 | 2573247.74 | 1108774.5745 | 2573255.5941 | 1108781.8434 | 2573263.7252 | 1108788.8665 | 2573265.645 | 1108790.3097
40 | 2573272.9169 | 1108733.3423 | 2573277.2177 | 1108735.8579 | 2573284.5174 | 1108734.8807
41 | 2573272.6794 | 1108795.5979 | 2573265.645 | 1108790.3097
42 | 2573284.5174 | 1108734.8807 | 2573287.389 | 1108737.5583
43 | 2573274.2013 | 1108796.742 | 2573272.6794 | 1108795.5979
44 | 2573285.5766 | 1108804.8891 | 2573275.4273 | 1108797.6637 | 2573274.2013 | 1108796.742
45 | 2573290.6946 | 1108808.6907 | 2573288.1135 | 1108807.0346 | 2573285.5766 | 1108804.8891
46 | 2573290.6946 | 1108808.6907 | 2573291.8301 | 1108809.2709
47 | 2573291.8301 | 1108809.2709 | 2573294.2968 | 1108810.5312 | 2573299.6569 | 1108811.4191
48 | 2573304.4021 | 1108811.3092 | 2573299.6569 | 1108811.4191
49 | 2573390.9244 | 1108847.2809 | 2573389.2978 | 1108844.5851 | 2573387.4171 | 1108841.0492
50 | 2573387.4171 | 1108841.0492 | 2573386.7259 | 1108839.7495 | 2573385.2729 | 1108837.6926
51 | 2573385.2729 | 1108837.6926 | 2573384.3351 | 1108836.3649
52 | 2573384.3351 | 1108836.3649 | 2573383.1327 | 1108834.6628 | 2573382.4374 | 1108833.805
53 | 2573377.16 | 1108827.7562 | 2573379.0295 | 1108829.6005 | 2573382.4374 | 1108833.805
54 | 2573377.16 | 1108827.7562 | 2573374.938 | 1108825.5641
55 | 2573368.3121 | 1108820.5782 | 2573369.2299 | 1108821.0171 | 2573373.4092 | 1108824.0558 | 2573374.938 | 1108825.5641
56 | 2573368.3121 | 1108820.5782 | 2573363.932 | 1108818.4836 | 2573349.7736 | 1108811.7426 | 2573341.7189 | 1108808.0207 | 2573341.5855 | 1108807.9698
57 | 2573340.7655 | 1108807.6573 | 2573341.5855 | 1108807.9698
58 | 2573330.8926 | 1108804.6203 | 2573333.1562 | 1108804.7568 | 2573340.7655 | 1108807.6573
59 | 2573330.6167 | 1108804.6036 | 2573330.8926 | 1108804.6203
60 | 2573329.628 | 1108804.544 | 2573330.6167 | 1108804.6036
61 | 2573321.7385 | 1108805.2897 | 2573327.4893 | 1108804.415 | 2573329.628 | 1108804.544
62 | 2573321.7385 | 1108805.2897 | 2573320.4142 | 1108805.4912 | 2573319.3623 | 1108805.8835
63 | 2573308.9273 | 1108809.7751 | 2573319.3623 | 1108805.8835
64 | 2573304.4021 | 1108811.3092 | 2573308.7702 | 1108809.8336 | 2573308.9273 | 1108809.7751
65 | 2573304.4021 | 1108811.3092 | 2573305.7418 | 1108815.3832 | 2573311.7916 | 1108818.722
66 | 2573316.4726 | 1108821.3054 | 2573311.7916 | 1108818.722
67 | 2573316.4726 | 1108821.3054 | 2573335.6953 | 1108826.6789
68 | 2573317.3293 | 1108850.7832 | 2573311.4978 | 1108844.6614 | 2573317.956 | 1108828.169 | 2573318.3001 | 1108823.832 | 2573316.4726 | 1108821.3054

## bus_geodata
| x | y | coords
0 | 2573438.0356 | 1108704.4375
1 | 2573413.192 | 1108695.1553
2 | 2573411.7692 | 1108694.6237
3 | 2573399.2722 | 1108689.0117
4 | 2573400.065 | 1108707.7798
5 | 2573384.2366 | 1108700.4415
6 | 2573350.1786 | 1108684.4988
7 | 2573337.5921 | 1108705.0625
8 | 2573392.3916 | 1108728.8902
9 | 2573330.8008 | 1108716.1581
10 | 2573386.9782 | 1108743.7832
11 | 2573317.3149 | 1108738.0728
12 | 2573380.0269 | 1108762.9069
13 | 2573379.3142 | 1108764.8676
14 | 2573484.5448 | 1108802.3732
15 | 2573437.1676 | 1108793.3267
16 | 2573492.932 | 1108803.9747
17 | 2573508.3104 | 1108809.2114
18 | 2573522.832 | 1108812.1416
19 | 2573532.1857 | 1108812.1895
20 | 2573525.9057 | 1108832.6362
21 | 2573546.3776 | 1108813.5023
22 | 2573517.3334 | 1108847.3799
23 | 2573500.8789 | 1108856.3232
24 | 2573472.203 | 1108850.7239
25 | 2573490.7653 | 1108862.6733
26 | 2573461.4756 | 1108843.8008
27 | 2573466.5118 | 1108858.3264
28 | 2573479.4192 | 1108871.2581
29 | 2573464.7479 | 1108873.7665
30 | 2573473.237 | 1108873.3441
31 | 2573421.8243 | 1108868.8119
32 | 2573410.9696 | 1108864.8492
33 | 2573406.2205 | 1108862.4583
34 | 2573399.9505 | 1108857.4858
35 | 2573466.4792 | 1108858.5418
36 | 2573263.1024 | 1108765.9597
37 | 2573275.6893 | 1108774.292
38 | 2573230.7081 | 1108750.8268
39 | 2573272.9169 | 1108733.3423
40 | 2573265.645 | 1108790.3097
41 | 2573284.5174 | 1108734.8807
42 | 2573272.6794 | 1108795.5979
43 | 2573274.2013 | 1108796.742
44 | 2573287.389 | 1108737.5583
45 | 2573285.5766 | 1108804.8891
46 | 2573290.6946 | 1108808.6907
47 | 2573291.8301 | 1108809.2709
48 | 2573299.6569 | 1108811.4191
49 | 2573390.9244 | 1108847.2809
50 | 2573387.4171 | 1108841.0492
51 | 2573385.2729 | 1108837.6926
52 | 2573384.3351 | 1108836.3649
53 | 2573382.4374 | 1108833.805
54 | 2573377.16 | 1108827.7562
55 | 2573374.938 | 1108825.5641
56 | 2573368.3121 | 1108820.5782
57 | 2573341.5855 | 1108807.9698
58 | 2573340.7655 | 1108807.6573
59 | 2573330.8926 | 1108804.6203
60 | 2573330.6167 | 1108804.6036
61 | 2573329.628 | 1108804.544
62 | 2573321.7385 | 1108805.2897
63 | 2573319.3623 | 1108805.8835
64 | 2573308.9273 | 1108809.7751
65 | 2573304.4021 | 1108811.3092
66 | 2573311.7916 | 1108818.722
67 | 2573316.4727 | 1108821.3054
68 | 2573335.6953 | 1108826.6789
69 | 2573317.3293 | 1108850.7832
70 | 2573375.4292 | 1108775.5558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1