## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-31_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-31_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6133-31_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6133-31_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6133-31_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6133-31_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6133-31_0_5_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_6133-31_0_5_node_83 | 0.4 | n |  | TRUE
8 | bus_LV_6133-31_0_5_node_92 | 0.4 | n |  | TRUE
9 | bus_LV_6133-31_0_5_node_94 | 0.4 | n |  | TRUE
10 | bus_LV_6133-31_0_5_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_6133-31_0_5_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_6133-31_0_5_node_91 | 0.4 | n |  | TRUE
13 | bus_LV_6133-31_0_5_node_88 | 0.4 | n |  | TRUE
14 | bus_LV_6133-31_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6133-31_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6133-31_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6133-31_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6133-31_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6133-31_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6133-31_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6133-31_0_5_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_6133-31_0_5_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_6133-31_0_5_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_6133-31_0_5_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_6133-31_0_5_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_6133-31_0_5_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_6133-31_0_5_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_6133-31_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_6133-31_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_6133-31_0_5_node_74 | 0.4 | n |  | TRUE
31 | bus_LV_6133-31_0_5_node_73 | 0.4 | n |  | TRUE
32 | bus_LV_6133-31_0_5_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_6133-31_0_5_node_72 | 0.4 | n |  | TRUE
34 | bus_LV_6133-31_0_5_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6133-31_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_6133-31_0_5_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6133-31_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_6133-31_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_6133-31_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6133-31_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_6133-31_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6133-31_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6133-31_0_5_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_6133-31_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_6133-31_0_5_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_6133-31_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6133-31_0_5_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6133-31_0_5_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6133-31_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6133-31_0_5_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6133-31_0_5_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6133-31_0_5_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6133-31_0_5_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6133-31_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6133-31_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6133-31_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6133-31_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_6133-31_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_6133-31_0_5_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_6133-31_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_6133-31_0_5_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6133-31_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_6133-31_0_5_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_6133-31_0_5_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_6133-31_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_6133-31_0_5_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_6133-31_0_5_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6133-31_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6133-31_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6133-31_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6133-31_0_5_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_6133-31_0_5_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_6133-31_0_5_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6133-31_0_5_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_6133-31_0_5_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_6133-31_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_6133-31_0_5_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_6133-31_0_5_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_6133-31_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_6133-31_0_5_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_6133-31_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_6133-31_0_5_node_93 | 0.4 | n |  | TRUE
83 | bus_LV_6133-31_0_5_node_90 | 0.4 | n |  | TRUE
84 | bus_LV_6133-31_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6133-31_0_5_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_6133-31_0_5_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_6133-31_0_5_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6133-31_0_5_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_6133-31_0_5_node_87 | 0.4 | n |  | TRUE
90 | bus_MV_102_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-31_0_5_load_0 | 0 | 0.0058252 | 0.0014599 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-31_0_5_load_1 | 1 | 0.0045467 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-31_0_5_load_3 | 3 | 0.0072359 | 0.0018135 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-31_0_5_load_4 | 4 | 0.011294 | 0.0028306 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-31_0_5_load_18 | 6 | 0.0039242 | 0.0009835 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-31_0_5_load_83 | 7 | 0.0056393 | 0.0014133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-31_0_5_load_92 | 8 | 0.0049802 | 0.0012482 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-31_0_5_load_94 | 9 | 0.0048989 | 0.0012278 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-31_0_5_load_17 | 10 | 0.0061537 | 0.0015423 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-31_0_5_load_82 | 11 | 0.0054372 | 0.0013627 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-31_0_5_load_91 | 12 | 0.0054265 | 0.00136 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-31_0_5_load_88 | 13 | 0.0042894 | 0.001075 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-31_0_5_load_6 | 14 | 0.0056435 | 0.0014144 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-31_0_5_load_7 | 15 | 0.0078838 | 0.0019759 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-31_0_5_load_9 | 17 | 0.0092972 | 0.0023301 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-31_0_5_load_10 | 18 | 0.0084849 | 0.0021265 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-31_0_5_load_13 | 20 | 0.0077242 | 0.0019359 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-31_0_5_load_62 | 21 | 0.0033343 | 0.00083566 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-31_0_5_load_49 | 23 | 0.006252 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-31_0_5_load_71 | 24 | 0.0057782 | 0.0014481 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-31_0_5_load_46 | 25 | 0.0062055 | 0.0015553 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-31_0_5_load_47 | 26 | 0.0049192 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-31_0_5_load_63 | 27 | 0.009041 | 0.0022659 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-31_0_5_load_16 | 28 | 0.0060154 | 0.0015076 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-31_0_5_load_74 | 30 | 0.010366 | 0.0025979 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-31_0_5_load_73 | 31 | 0.0054144 | 0.001357 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-31_0_5_load_75 | 32 | 0.0072286 | 0.0018117 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-31_0_5_load_72 | 33 | 0.0077752 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-31_0_5_load_19 | 34 | 0.0059409 | 0.0014889 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-31_0_5_load_20 | 35 | 0.0043097 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-31_0_5_load_22 | 36 | 0.0053134 | 0.0013317 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-31_0_5_load_23 | 37 | 0.0046764 | 0.001172 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-31_0_5_load_24 | 38 | 0.0046388 | 0.0011626 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-31_0_5_load_25 | 39 | 0.0040133 | 0.0010058 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-31_0_5_load_34 | 41 | 0.0049597 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-31_0_5_load_29 | 42 | 0.0035661 | 0.00089376 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-31_0_5_load_35 | 43 | 0.0028955 | 0.00072569 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-31_0_5_load_27 | 44 | 0.0037556 | 0.00094125 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-31_0_5_load_28 | 45 | 0.0037408 | 0.00093754 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-31_0_5_load_30 | 46 | 0.0042906 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-31_0_5_load_31 | 47 | 0.0040749 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-31_0_5_load_32 | 48 | 0.0028077 | 0.00070368 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-31_0_5_load_36 | 49 | 0.0040399 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-31_0_5_load_37 | 50 | 0.0039842 | 0.00099852 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-31_0_5_load_38 | 51 | 0.0031684 | 0.00079408 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-31_0_5_load_39 | 52 | 0.0034274 | 0.00085899 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-31_0_5_load_40 | 53 | 0.014632 | 0.0036672 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-31_0_5_load_41 | 54 | 0.0037291 | 0.00093461 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-31_0_5_load_42 | 55 | 0.0034367 | 0.00086131 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-31_0_5_load_43 | 56 | 0.0075643 | 0.0018958 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-31_0_5_load_44 | 57 | 0.007644 | 0.0019158 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-31_0_5_load_50 | 59 | 0.0085065 | 0.0021319 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-31_0_5_load_51 | 60 | 0.0066587 | 0.0016688 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-31_0_5_load_52 | 61 | 0.0047714 | 0.0011958 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-31_0_5_load_48 | 62 | 0.0055492 | 0.0013908 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-31_0_5_load_53 | 63 | 0.0052827 | 0.001324 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-31_0_5_load_54 | 64 | 0.011675 | 0.002926 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-31_0_5_load_55 | 65 | 0.0052693 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-31_0_5_load_56 | 66 | 0.0063279 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6133-31_0_5_load_58 | 68 | 0.0051801 | 0.0012983 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6133-31_0_5_load_59 | 69 | 0.005952 | 0.0014917 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6133-31_0_5_load_60 | 70 | 0.004432 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6133-31_0_5_load_78 | 71 | 0.0048131 | 0.0012063 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6133-31_0_5_load_61 | 72 | 0.0084423 | 0.0021158 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6133-31_0_5_load_77 | 73 | 0.011437 | 0.0028663 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6133-31_0_5_load_79 | 74 | 0.0066208 | 0.0016593 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6133-31_0_5_load_80 | 75 | 0.011819 | 0.002962 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6133-31_0_5_load_64 | 76 | 0.0088022 | 0.002206 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6133-31_0_5_load_66 | 78 | 0.008553 | 0.0021436 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6133-31_0_5_load_67 | 79 | 0.0060772 | 0.0015231 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6133-31_0_5_load_68 | 80 | 0.0075649 | 0.0018959 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6133-31_0_5_load_93 | 82 | 0.0049711 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6133-31_0_5_load_90 | 83 | 0.011707 | 0.002934 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6133-31_0_5_load_76 | 84 | 0.0051331 | 0.0012865 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6133-31_0_5_load_84 | 86 | 0.0070994 | 0.0017793 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6133-31_0_5_load_85 | 87 | 0.0045517 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6133-31_0_5_load_86 | 88 | 0.004014 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6133-31_0_5_load_87 | 89 | 0.0092565 | 0.0023199 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-31_0_5_line_0 |  | 0 | 1 | 0.0058609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-31_0_5_line_1 |  | 0 | 2 | 0.0015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-31_0_5_line_2 |  | 1 | 3 | 0.0064887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-31_0_5_line_3 |  | 2 | 4 | 0.0081798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6133-31_0_5_line_4 |  | 2 | 5 | 0.006817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6133-31_0_5_line_5 |  | 3 | 6 | 0.0017454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6133-31_0_5_line_6 |  | 4 | 7 | 0.0098069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6133-31_0_5_line_7 |  | 5 | 8 | 0.0075668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6133-31_0_5_line_8 |  | 5 | 9 | 0.0093985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6133-31_0_5_line_9 |  | 6 | 10 | 0.0092592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6133-31_0_5_line_10 |  | 7 | 11 | 0.0098769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6133-31_0_5_line_11 |  | 8 | 12 | 0.00077878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6133-31_0_5_line_12 |  | 9 | 13 | 0.0040902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-31_0_5_line_13 |  | 10 | 28 | 0.0036229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6133-31_0_5_line_14 |  | 11 | 85 | 0.0033969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6133-31_0_5_line_15 |  | 12 | 83 | 0.0021315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6133-31_0_5_line_16 |  | 13 | 88 | 0.00071789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6133-31_0_5_line_17 |  | 14 | 15 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6133-31_0_5_line_18 |  | 14 | 16 | 0.050629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6133-31_0_5_line_19 |  | 15 | 17 | 0.0016429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6133-31_0_5_line_20 |  | 16 | 18 | 0.0086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6133-31_0_5_line_21 |  | 16 | 19 | 0.038287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-31_0_5_line_22 |  | 17 | 20 | 0.0043964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-31_0_5_line_23 |  | 19 | 21 | 0.045015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6133-31_0_5_line_24 |  | 20 | 22 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6133-31_0_5_line_25 |  | 21 | 27 | 0.010162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-31_0_5_line_26 |  | 22 | 28 | 0.01624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-31_0_5_line_27 |  | 23 | 24 | 0.00047604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6133-31_0_5_line_28 |  | 24 | 33 | 0.0094986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6133-31_0_5_line_29 |  | 25 | 26 | 0.0046075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6133-31_0_5_line_30 |  | 26 | 62 | 0.0011884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6133-31_0_5_line_31 |  | 27 | 76 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-31_0_5_line_32 |  | 29 | 30 | 0.0052534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6133-31_0_5_line_33 |  | 29 | 31 | 0.00681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6133-31_0_5_line_34 |  | 30 | 32 | 0.0151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6133-31_0_5_line_35 |  | 31 | 33 | 0.0011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6133-31_0_5_line_36 |  | 32 | 84 | 0.0039185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6133-31_0_5_line_37 |  | 34 | 35 | 0.0091254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6133-31_0_5_line_38 |  | 35 | 36 | 0.0018422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6133-31_0_5_line_39 |  | 36 | 37 | 0.0013315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6133-31_0_5_line_40 |  | 37 | 38 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-31_0_5_line_41 |  | 38 | 39 | 0.0049331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-31_0_5_line_42 |  | 39 | 40 | 0.0023145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6133-31_0_5_line_43 |  | 40 | 41 | 0.015282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6133-31_0_5_line_44 |  | 40 | 42 | 0.0083538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6133-31_0_5_line_45 |  | 41 | 43 | 0.011782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6133-31_0_5_line_46 |  | 42 | 44 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6133-31_0_5_line_47 |  | 43 | 49 | 0.0099216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6133-31_0_5_line_48 |  | 44 | 45 | 0.0063491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6133-31_0_5_line_49 |  | 45 | 46 | 0.0059494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6133-31_0_5_line_50 |  | 46 | 47 | 0.0052763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6133-31_0_5_line_51 |  | 47 | 48 | 0.012439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6133-31_0_5_line_52 |  | 49 | 50 | 0.0026956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6133-31_0_5_line_53 |  | 50 | 51 | 0.0080598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6133-31_0_5_line_54 |  | 51 | 52 | 0.0030057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6133-31_0_5_line_55 |  | 52 | 53 | 0.0086389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6133-31_0_5_line_56 |  | 53 | 54 | 0.0032537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6133-31_0_5_line_57 |  | 54 | 55 | 0.0074365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6133-31_0_5_line_58 |  | 55 | 56 | 0.00027567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6133-31_0_5_line_59 |  | 56 | 57 | 0.0043495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6133-31_0_5_line_60 |  | 57 | 58 | 0.0091274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6133-31_0_5_line_61 |  | 58 | 59 | 0.0060112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6133-31_0_5_line_62 |  | 58 | 60 | 0.0063111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6133-31_0_5_line_63 |  | 59 | 61 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6133-31_0_5_line_64 |  | 60 | 62 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6133-31_0_5_line_65 |  | 61 | 63 | 0.0023174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6133-31_0_5_line_66 |  | 63 | 64 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6133-31_0_5_line_67 |  | 64 | 65 | 0.0080193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6133-31_0_5_line_68 |  | 65 | 66 | 0.0055917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6133-31_0_5_line_69 |  | 66 | 67 | 0.019914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6133-31_0_5_line_70 |  | 67 | 68 | 0.0046526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6133-31_0_5_line_71 |  | 67 | 69 | 0.0046889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6133-31_0_5_line_72 |  | 68 | 70 | 0.0094093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6133-31_0_5_line_73 |  | 69 | 71 | 0.0088264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6133-31_0_5_line_74 |  | 70 | 72 | 0.0057759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6133-31_0_5_line_75 |  | 71 | 73 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_6133-31_0_5_line_76 |  | 72 | 74 | 0.0053413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_6133-31_0_5_line_77 |  | 73 | 84 | 0.0023881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6133-31_0_5_line_78 |  | 74 | 75 | 0.007991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6133-31_0_5_line_79 |  | 75 | 85 | 0.0031892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6133-31_0_5_line_80 |  | 76 | 77 | 0.0034561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6133-31_0_5_line_81 |  | 77 | 78 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6133-31_0_5_line_82 |  | 78 | 79 | 0.013233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6133-31_0_5_line_83 |  | 79 | 80 | 0.0053943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6133-31_0_5_line_84 |  | 81 | 82 | 0.0074357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6133-31_0_5_line_85 |  | 81 | 83 | 0.0065227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6133-31_0_5_line_86 |  | 85 | 86 | 0.01866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6133-31_0_5_line_87 |  | 87 | 88 | 0.005085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6133-31_0_5_line_88 |  | 87 | 89 | 0.0024096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-31_0_5_trafo_74 | 0.63 MVA 20/0.4 kV | 90 | 30 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2573153.4914 | 1108759.3681 | 2573156.5797 | 1108764.3492
1 | 2573152.6837 | 1108758.0653 | 2573153.4914 | 1108759.3681
2 | 2573156.5797 | 1108764.3492 | 2573159.9989 | 1108769.864
3 | 2573152.6837 | 1108758.0653 | 2573148.7534 | 1108760.6618 | 2573146.2695 | 1108763.0838
4 | 2573149.6808 | 1108751.9422 | 2573152.6837 | 1108758.0653
5 | 2573160.9186 | 1108771.3474 | 2573159.9989 | 1108769.864
6 | 2573141.7618 | 1108771.0736 | 2573141.9734 | 1108767.273 | 2573146.2695 | 1108763.0838
7 | 2573149.6808 | 1108751.9422 | 2573146.3438 | 1108745.1509
8 | 2573149.6808 | 1108751.9422 | 2573156.5278 | 1108748.2321 | 2573157.4321 | 1108748.2281 | 2573158.0442 | 1108748.5811
9 | 2573165.8182 | 1108779.2032 | 2573165.5988 | 1108778.8962 | 2573160.9186 | 1108771.3474
10 | 2573142.8066 | 1108780.854 | 2573141.6298 | 1108773.4444 | 2573141.7618 | 1108771.0736
11 | 2573145.9756 | 1108744.4676 | 2573146.0617 | 1108744.5768 | 2573146.3438 | 1108745.1509
12 | 2573160.738 | 1108751.6589 | 2573158.0442 | 1108748.5811 | 2573158.0442 | 1108748.5811
13 | 2573165.8182 | 1108779.2032 | 2573167.9245 | 1108782.1509
14 | 2573143.3394 | 1108784.2089 | 2573142.8066 | 1108780.854
15 | 2573144.6547 | 1108742.7947 | 2573145.9756 | 1108744.4676
16 | 2573161.2108 | 1108752.1991 | 2573160.738 | 1108751.6589
17 | 2573210.6518 | 1108802.6131 | 2573199.5719 | 1108798.889 | 2573197.067 | 1108798.1978
18 | 2573259.4411 | 1108809.318 | 2573254.3204 | 1108810.1633 | 2573242.2505 | 1108812.5513 | 2573230.3021 | 1108809.2247 | 2573217.4604 | 1108804.9016 | 2573210.6518 | 1108802.6131
19 | 2573195.4833 | 1108797.7608 | 2573197.067 | 1108798.1978
20 | 2573259.4411 | 1108809.318 | 2573253.0006 | 1108803.5992
21 | 2573259.4411 | 1108809.318 | 2573268.0218 | 1108807.9127 | 2573285.5925 | 1108810.2362 | 2573288.1735 | 1108810.1136 | 2573290.6946 | 1108808.6907 | 2573288.1135 | 1108807.0346 | 2573285.5766 | 1108804.8891
22 | 2573191.2452 | 1108796.5914 | 2573195.4833 | 1108797.7608
23 | 2573285.5766 | 1108804.8891 | 2573275.4273 | 1108797.6637 | 2573263.7252 | 1108788.8665 | 2573255.5941 | 1108781.8434 | 2573250.3304 | 1108776.9719
24 | 2573177.9205 | 1108794.9163 | 2573180.4263 | 1108795.2609 | 2573184.5659 | 1108796.2875 | 2573191.2452 | 1108796.5914 | 2573191.2452 | 1108796.5914
25 | 2573250.3304 | 1108776.9719 | 2573247.74 | 1108774.5745 | 2573243.102 | 1108769.8333
26 | 2573177.9205 | 1108794.9163 | 2573173.8973 | 1108790.5097 | 2573167.9245 | 1108782.1509
27 | 2573208.3413 | 1108838.9896 | 2573208.1038 | 1108838.5771
28 | 2573208.1038 | 1108838.5771 | 2573206.7788 | 1108836.2759 | 2573203.3273 | 1108830.3668
29 | 2573208.055 | 1108864.2908 | 2573205.7822 | 1108866.0064 | 2573204.329 | 1108866.9991
30 | 2573204.329 | 1108866.9991 | 2573203.3477 | 1108867.6694
31 | 2573243.102 | 1108769.8333 | 2573242.142 | 1108768.8519 | 2573236.531 | 1108761.9399 | 2573232.853 | 1108755.2084 | 2573232.2277 | 1108753.9309
32 | 2573199.3178 | 1108823.5025 | 2573195.3019 | 1108826.8893
33 | 2573199.3178 | 1108823.5025 | 2573202.7525 | 1108829.3829
34 | 2573183.8327 | 1108836.5889 | 2573184.6664 | 1108836.3406 | 2573192.1488 | 1108829.5485 | 2573195.3019 | 1108826.8893
35 | 2573202.7525 | 1108829.3829 | 2573203.3273 | 1108830.3668
36 | 2573183.8327 | 1108836.5889 | 2573183.8327 | 1108836.5889 | 2573183.2677 | 1108836.4135 | 2573182.5619 | 1108835.8608 | 2573181.1113 | 1108833.9108
37 | 2573274.2863 | 1108951.208 | 2573266.887 | 1108945.8674
38 | 2573265.3652 | 1108944.8302 | 2573266.1798 | 1108945.3569 | 2573266.887 | 1108945.8674
39 | 2573265.3652 | 1108944.8302 | 2573264.2471 | 1108944.1072
40 | 2573254.6254 | 1108937.4409 | 2573256.2584 | 1108938.942 | 2573264.2471 | 1108944.1072
41 | 2573254.6254 | 1108937.4409 | 2573250.9935 | 1108934.1025
42 | 2573249.2895 | 1108932.5362 | 2573250.9935 | 1108934.1025
43 | 2573249.2895 | 1108932.5362 | 2573241.731 | 1108925.6329 | 2573238.0194 | 1108922.2146
44 | 2573249.2895 | 1108932.5362 | 2573246.5251 | 1108936.6061 | 2573244.0307 | 1108938.9661
45 | 2573228.1192 | 1108916.053 | 2573229.2697 | 1108916.3945 | 2573235.2199 | 1108919.6364 | 2573238.0194 | 1108922.2146
46 | 2573232.7295 | 1108945.5191 | 2573233.3972 | 1108946.1245 | 2573235.3687 | 1108946.2492 | 2573237.9278 | 1108944.7038 | 2573239.5366 | 1108943.2181 | 2573244.0307 | 1108938.9661
47 | 2573228.1192 | 1108916.053 | 2573221.9253 | 1108914.2148 | 2573218.5911 | 1108913.288
48 | 2573232.7295 | 1108945.5191 | 2573231.1158 | 1108944.0558 | 2573228.4877 | 1108940.8173
49 | 2573228.4877 | 1108940.8173 | 2573227.9606 | 1108940.1678 | 2573225.4797 | 1108938.4446 | 2573223.6206 | 1108937.4847
50 | 2573223.6206 | 1108937.4847 | 2573222.6832 | 1108937.0007 | 2573219.2664 | 1108935.1149 | 2573218.9791 | 1108934.9768
51 | 2573207.2992 | 1108931.1151 | 2573210.5316 | 1108931.3628 | 2573214.8206 | 1108932.978 | 2573218.9791 | 1108934.9768
52 | 2573218.5911 | 1108913.288 | 2573215.9939 | 1108912.5661
53 | 2573208.2285 | 1108910.4076 | 2573215.9939 | 1108912.5661
54 | 2573208.2285 | 1108910.4076 | 2573205.3326 | 1108909.6026
55 | 2573205.3326 | 1108909.6026 | 2573204.7227 | 1108909.433 | 2573202.9462 | 1108906.2171 | 2573202.0168 | 1108902.297 | 2573202.0004 | 1108901.9943
56 | 2573201.8246 | 1108898.7454 | 2573202.0004 | 1108901.9943
57 | 2573201.8246 | 1108898.7454 | 2573201.7306 | 1108897.0067 | 2573201.2994 | 1108892.1395 | 2573201.1051 | 1108891.3541
58 | 2573201.1051 | 1108891.3541 | 2573201.0389 | 1108891.0865
59 | 2573201.0389 | 1108891.0865 | 2573200.717 | 1108889.7853 | 2573198.2772 | 1108888.024
60 | 2573192.0554 | 1108881.6641 | 2573194.8067 | 1108883.3527 | 2573197.1967 | 1108887.2441 | 2573198.2772 | 1108888.024
61 | 2573192.0554 | 1108881.6641 | 2573187.4377 | 1108877.8154
62 | 2573192.0554 | 1108881.6641 | 2573195.1034 | 1108876.1377
63 | 2573187.4377 | 1108877.8154 | 2573183.6306 | 1108874.6423 | 2573177.0892 | 1108865.3333 | 2573177.0892 | 1108865.3333
64 | 2573195.1034 | 1108876.1377 | 2573195.8354 | 1108874.8105 | 2573198.4927 | 1108870.9857 | 2573203.3477 | 1108867.6694
65 | 2573177.0892 | 1108865.3333 | 2573176.107 | 1108863.2344
66 | 2573169.1627 | 1108846.4027 | 2573170.8702 | 1108852.0431 | 2573176.107 | 1108863.2344
67 | 2573169.1627 | 1108846.4027 | 2573166.9246 | 1108839.0096 | 2573166.842 | 1108838.7266
68 | 2573166.842 | 1108838.7266 | 2573165.2745 | 1108833.3591
69 | 2573163.7224 | 1108814.1001 | 2573164.7647 | 1108817.3193 | 2573163.1063 | 1108823.3075 | 2573163.6597 | 1108827.8295 | 2573165.2745 | 1108833.3591
70 | 2573163.7224 | 1108814.1001 | 2573161.2348 | 1108810.1683
71 | 2573163.7224 | 1108814.1001 | 2573168.1121 | 1108815.7481
72 | 2573161.2348 | 1108810.1683 | 2573159.1845 | 1108806.9277 | 2573156.0658 | 1108802.3072
73 | 2573168.1121 | 1108815.7481 | 2573173.2161 | 1108821.6173 | 2573173.7206 | 1108822.5363
74 | 2573156.0658 | 1108802.3072 | 2573153.9328 | 1108799.1471 | 2573152.7008 | 1108797.6185
75 | 2573173.7206 | 1108822.5363 | 2573177.7511 | 1108829.8792 | 2573179.6045 | 1108832.0594
76 | 2573149.349 | 1108793.4597 | 2573152.7008 | 1108797.6185
77 | 2573181.1113 | 1108833.9108 | 2573180.6414 | 1108833.2792 | 2573179.6045 | 1108832.0594
78 | 2573149.349 | 1108793.4597 | 2573144.3345 | 1108787.2379
79 | 2573143.3394 | 1108784.2089 | 2573144.3267 | 1108787.2282 | 2573144.3345 | 1108787.2379
80 | 2573230.7081 | 1108750.8268 | 2573232.2277 | 1108753.9309
81 | 2573230.7081 | 1108750.8268 | 2573228.469 | 1108746.1343 | 2573225.9336 | 1108739.0864 | 2573225.3601 | 1108736.3846
82 | 2573225.3601 | 1108736.3846 | 2573224.2364 | 1108731.0899 | 2573223.9369 | 1108728.0453 | 2573223.0968 | 1108723.3586
83 | 2573221.5141 | 1108718.2276 | 2573222.7323 | 1108721.325 | 2573223.0968 | 1108723.3586
84 | 2573140.6129 | 1108737.6753 | 2573145.6978 | 1108732.2499
85 | 2573140.6129 | 1108737.6753 | 2573144.6547 | 1108742.7947
86 | 2573143.3394 | 1108784.2089 | 2573140.5209 | 1108783.0541 | 2573137.1239 | 1108780.4234 | 2573133.5538 | 1108777.1154 | 2573131.0768 | 1108772.8131 | 2573130.4195 | 1108771.4807
87 | 2573164.5599 | 1108756.0256 | 2573161.2108 | 1108752.1991
88 | 2573166.1468 | 1108757.8387 | 2573164.5599 | 1108756.0256

## bus_geodata
| x | y | coords
0 | 2573153.4914 | 1108759.3681
1 | 2573156.5797 | 1108764.3492
2 | 2573152.6837 | 1108758.0653
3 | 2573159.9989 | 1108769.864
4 | 2573146.2695 | 1108763.0838
5 | 2573149.6808 | 1108751.9422
6 | 2573160.9186 | 1108771.3474
7 | 2573141.7618 | 1108771.0736
8 | 2573146.3438 | 1108745.1509
9 | 2573158.0442 | 1108748.5811
10 | 2573165.8182 | 1108779.2032
11 | 2573142.8066 | 1108780.854
12 | 2573145.9755 | 1108744.4676
13 | 2573160.738 | 1108751.6589
14 | 2573210.6518 | 1108802.6131
15 | 2573197.067 | 1108798.1978
16 | 2573259.4411 | 1108809.318
17 | 2573195.4833 | 1108797.7608
18 | 2573253.0006 | 1108803.5992
19 | 2573285.5766 | 1108804.8891
20 | 2573191.2452 | 1108796.5914
21 | 2573250.3304 | 1108776.9719
22 | 2573177.9205 | 1108794.9163
23 | 2573208.3413 | 1108838.9896
24 | 2573208.1038 | 1108838.5771
25 | 2573208.055 | 1108864.2908
26 | 2573204.329 | 1108866.9991
27 | 2573243.102 | 1108769.8333
28 | 2573167.9245 | 1108782.1509
29 | 2573199.3178 | 1108823.5025
30 | 2573195.3019 | 1108826.8893
31 | 2573202.7525 | 1108829.3829
32 | 2573183.8327 | 1108836.5889
33 | 2573203.3273 | 1108830.3668
34 | 2573274.2863 | 1108951.208
35 | 2573266.887 | 1108945.8674
36 | 2573265.3652 | 1108944.8302
37 | 2573264.2471 | 1108944.1072
38 | 2573254.6254 | 1108937.4409
39 | 2573250.9935 | 1108934.1025
40 | 2573249.2895 | 1108932.5362
41 | 2573238.0194 | 1108922.2146
42 | 2573244.0307 | 1108938.9661
43 | 2573228.1192 | 1108916.053
44 | 2573232.7295 | 1108945.5191
45 | 2573228.4877 | 1108940.8173
46 | 2573223.6206 | 1108937.4847
47 | 2573218.9791 | 1108934.9768
48 | 2573207.2992 | 1108931.1151
49 | 2573218.5911 | 1108913.288
50 | 2573215.9939 | 1108912.5661
51 | 2573208.2285 | 1108910.4076
52 | 2573205.3326 | 1108909.6026
53 | 2573202.0004 | 1108901.9943
54 | 2573201.8246 | 1108898.7454
55 | 2573201.1051 | 1108891.3541
56 | 2573201.0389 | 1108891.0865
57 | 2573198.2772 | 1108888.024
58 | 2573192.0554 | 1108881.6641
59 | 2573187.4377 | 1108877.8154
60 | 2573195.1034 | 1108876.1377
61 | 2573177.0892 | 1108865.3333
62 | 2573203.3477 | 1108867.6694
63 | 2573176.107 | 1108863.2344
64 | 2573169.1627 | 1108846.4027
65 | 2573166.842 | 1108838.7266
66 | 2573165.2745 | 1108833.3591
67 | 2573163.7224 | 1108814.1001
68 | 2573161.2348 | 1108810.1683
69 | 2573168.1121 | 1108815.7481
70 | 2573156.0658 | 1108802.3072
71 | 2573173.7206 | 1108822.5363
72 | 2573152.7008 | 1108797.6185
73 | 2573179.6045 | 1108832.0594
74 | 2573149.349 | 1108793.4597
75 | 2573144.3345 | 1108787.2379
76 | 2573232.2277 | 1108753.9309
77 | 2573230.7081 | 1108750.8268
78 | 2573225.3601 | 1108736.3846
79 | 2573223.0968 | 1108723.3586
80 | 2573221.5141 | 1108718.2276
81 | 2573140.6129 | 1108737.6753
82 | 2573145.6978 | 1108732.2499
83 | 2573144.6547 | 1108742.7947
84 | 2573181.1113 | 1108833.9108
85 | 2573143.3394 | 1108784.2089
86 | 2573130.4195 | 1108771.4807
87 | 2573164.5599 | 1108756.0256
88 | 2573161.2108 | 1108752.1991
89 | 2573166.1468 | 1108757.8387
90 | 2573199.3178 | 1108823.5025

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1