## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-38_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-38_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6133-38_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6133-38_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6133-38_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6133-38_0_6_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_6133-38_0_6_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_6133-38_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_6133-38_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6133-38_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_6133-38_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6133-38_0_6_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_6133-38_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6133-38_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6133-38_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6133-38_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6133-38_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6133-38_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_6133-38_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6133-38_0_6_node_64 | 0.4 | n |  | TRUE
20 | bus_LV_6133-38_0_6_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_6133-38_0_6_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_6133-38_0_6_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_6133-38_0_6_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_6133-38_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6133-38_0_6_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_6133-38_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6133-38_0_6_node_50 | 0.4 | n |  | TRUE
28 | bus_LV_6133-38_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6133-38_0_6_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_6133-38_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6133-38_0_6_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_6133-38_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_6133-38_0_6_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6133-38_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6133-38_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6133-38_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6133-38_0_6_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_6133-38_0_6_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_6133-38_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6133-38_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6133-38_0_6_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_6133-38_0_6_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_6133-38_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6133-38_0_6_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6133-38_0_6_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_6133-38_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_6133-38_0_6_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_6133-38_0_6_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_6133-38_0_6_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_6133-38_0_6_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6133-38_0_6_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_6133-38_0_6_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_6133-38_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_6133-38_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6133-38_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6133-38_0_6_node_49 | 0.4 | n |  | TRUE
57 | bus_LV_6133-38_0_6_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_6133-38_0_6_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_6133-38_0_6_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_6133-38_0_6_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_6133-38_0_6_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_6133-38_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6133-38_0_6_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_6133-38_0_6_node_67 | 0.4 | n |  | TRUE
65 | bus_LV_6133-38_0_6_node_69 | 0.4 | n |  | TRUE
66 | bus_MV_102_0_node_91 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-38_0_6_load_0 | 0 | 0.0069027 | 0.00173 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-38_0_6_load_1 | 1 | 0.019207 | 0.0048137 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-38_0_6_load_2 | 2 | 0.0032366 | 0.00081117 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-38_0_6_load_3 | 3 | 0.0066123 | 0.0016572 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-38_0_6_load_4 | 4 | 0.0039743 | 0.00099604 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-38_0_6_load_17 | 5 | 0.0023016 | 0.00057682 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-38_0_6_load_19 | 6 | 0.0081509 | 0.0020428 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-38_0_6_load_15 | 7 | 0.0093164 | 0.0023349 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-38_0_6_load_5 | 8 | 0.013486 | 0.00338 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-38_0_6_load_14 | 9 | 0.018836 | 0.0047208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-38_0_6_load_6 | 10 | 0.0034181 | 0.00085665 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-38_0_6_load_26 | 11 | 0.015401 | 0.0038598 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-38_0_6_load_7 | 12 | 0.0072293 | 0.0018118 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-38_0_6_load_8 | 13 | 0.0017648 | 0.0004423 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-38_0_6_load_9 | 14 | 0.0087654 | 0.0021968 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-38_0_6_load_10 | 15 | 0.0059334 | 0.001487 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-38_0_6_load_11 | 16 | 0.0066006 | 0.0016543 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-38_0_6_load_13 | 18 | 0.03674 | 0.0092078 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-38_0_6_load_45 | 20 | 0.010866 | 0.0027233 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-38_0_6_load_62 | 22 | 0.01183 | 0.002965 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-38_0_6_load_38 | 23 | 0.01727 | 0.0043282 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-38_0_6_load_16 | 24 | 0.008491 | 0.0021281 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-38_0_6_load_18 | 25 | 0.0097304 | 0.0024387 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-38_0_6_load_20 | 26 | 0.02285 | 0.0057267 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-38_0_6_load_50 | 27 | 0.012424 | 0.0031138 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-38_0_6_load_25 | 28 | 0.019397 | 0.0048615 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-38_0_6_load_27 | 30 | 0.013799 | 0.0034584 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-38_0_6_load_28 | 31 | 0.0029558 | 0.00074079 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-38_0_6_load_24 | 32 | 0.003202 | 0.00080251 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-38_0_6_load_29 | 33 | 0.0054426 | 0.001364 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-38_0_6_load_30 | 34 | 0.0082535 | 0.0020685 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-38_0_6_load_31 | 35 | 0.0064065 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-38_0_6_load_32 | 36 | 0.0070642 | 0.0017704 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-38_0_6_load_52 | 37 | 0.0090365 | 0.0022648 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-38_0_6_load_53 | 38 | 0.011355 | 0.0028459 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-38_0_6_load_33 | 39 | 0.0067593 | 0.001694 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-38_0_6_load_34 | 40 | 0.0042916 | 0.0010756 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-38_0_6_load_40 | 42 | 0.0064039 | 0.001605 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-38_0_6_load_39 | 44 | 0.011763 | 0.0029482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-38_0_6_load_42 | 45 | 0.0044351 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-38_0_6_load_43 | 46 | 0.0055324 | 0.0013865 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-38_0_6_load_44 | 47 | 0.0042682 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-38_0_6_load_68 | 48 | 0.0050431 | 0.0012639 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-38_0_6_load_60 | 49 | 0.0087404 | 0.0021905 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-38_0_6_load_57 | 50 | 0.0031123 | 0.00078003 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-38_0_6_load_70 | 51 | 0.0037454 | 0.0009387 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-38_0_6_load_54 | 52 | 0.0075694 | 0.0018971 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-38_0_6_load_55 | 53 | 0.019184 | 0.0048081 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-38_0_6_load_46 | 54 | 0.0061993 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-38_0_6_load_49 | 56 | 0.0061876 | 0.0015508 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-38_0_6_load_51 | 57 | 0.01427 | 0.0035764 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-38_0_6_load_61 | 58 | 0.006827 | 0.001711 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-38_0_6_load_59 | 59 | 0.0044089 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-38_0_6_load_56 | 60 | 0.0027356 | 0.00068562 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-38_0_6_load_58 | 61 | 0.0027303 | 0.00068428 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-38_0_6_load_63 | 62 | 0.0021638 | 0.0005423 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-38_0_6_load_65 | 63 | 0.038445 | 0.0096352 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-38_0_6_load_67 | 64 | 0.021423 | 0.005369 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-38_0_6_load_69 | 65 | 0.0053403 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 50 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-38_0_6_line_0 |  | 0 | 1 | 0.030862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-38_0_6_line_1 |  | 0 | 2 | 0.0092877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-38_0_6_line_2 |  | 1 | 3 | 0.0058219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-38_0_6_line_3 |  | 2 | 4 | 0.0039907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-38_0_6_line_4 |  | 3 | 8 | 0.0079451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6133-38_0_6_line_5 |  | 3 | 7 | 0.051774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6133-38_0_6_line_6 |  | 4 | 10 | 0.022797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6133-38_0_6_line_7 |  | 5 | 6 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6133-38_0_6_line_8 |  | 5 | 7 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6133-38_0_6_line_9 |  | 6 | 11 | 0.037151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6133-38_0_6_line_10 |  | 7 | 9 | 0.031105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6133-38_0_6_line_11 |  | 9 | 24 | 0.017779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6133-38_0_6_line_12 |  | 11 | 28 | 0.0055065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-38_0_6_line_13 |  | 12 | 13 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6133-38_0_6_line_14 |  | 12 | 14 | 0.042308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6133-38_0_6_line_15 |  | 13 | 15 | 0.026448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6133-38_0_6_line_16 |  | 14 | 16 | 0.021246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6133-38_0_6_line_17 |  | 15 | 17 | 0.083209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6133-38_0_6_line_18 |  | 16 | 18 | 0.0078145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6133-38_0_6_line_19 |  | 17 | 19 | 0.091782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6133-38_0_6_line_20 |  | 18 | 20 | 0.0018274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6133-38_0_6_line_21 |  | 19 | 21 | 0.072891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-38_0_6_line_22 |  | 19 | 22 | 0.024399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-38_0_6_line_23 |  | 20 | 23 | 0.0059727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6133-38_0_6_line_24 |  | 21 | 64 | 0.042298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6133-38_0_6_line_25 |  | 22 | 62 | 0.0038327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-38_0_6_line_26 |  | 23 | 41 | 0.037173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6133-38_0_6_line_27 |  | 24 | 25 | 0.0046839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_6133-38_0_6_line_28 |  | 25 | 26 | 0.025842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6133-38_0_6_line_29 |  | 26 | 27 | 0.034455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6133-38_0_6_line_30 |  | 27 | 29 | 0.069946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6133-38_0_6_line_31 |  | 28 | 32 | 0.030234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-38_0_6_line_32 |  | 29 | 55 | 0.030213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6133-38_0_6_line_33 |  | 30 | 31 | 0.022449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6133-38_0_6_line_34 |  | 31 | 33 | 0.010044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6133-38_0_6_line_35 |  | 33 | 34 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6133-38_0_6_line_36 |  | 34 | 35 | 2.383e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6133-38_0_6_line_37 |  | 35 | 36 | 0.01994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6133-38_0_6_line_38 |  | 36 | 37 | 0.026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6133-38_0_6_line_39 |  | 37 | 38 | 0.00042188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6133-38_0_6_line_40 |  | 38 | 52 | 0.00023924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-38_0_6_line_41 |  | 39 | 40 | 0.049136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-38_0_6_line_42 |  | 40 | 41 | 0.075181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6133-38_0_6_line_43 |  | 40 | 42 | 0.078149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6133-38_0_6_line_44 |  | 41 | 43 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6133-38_0_6_line_45 |  | 42 | 44 | 0.023174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6133-38_0_6_line_46 |  | 43 | 45 | 0.012384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6133-38_0_6_line_47 |  | 43 | 46 | 0.031726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6133-38_0_6_line_48 |  | 43 | 47 | 0.027375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6133-38_0_6_line_49 |  | 45 | 48 | 0.064964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6133-38_0_6_line_50 |  | 46 | 49 | 0.023874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6133-38_0_6_line_51 |  | 47 | 50 | 0.0018416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6133-38_0_6_line_52 |  | 48 | 51 | 0.0015922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6133-38_0_6_line_53 |  | 49 | 52 | 0.028134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6133-38_0_6_line_54 |  | 50 | 53 | 0.0097029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6133-38_0_6_line_55 |  | 51 | 65 | 0.0020356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6133-38_0_6_line_56 |  | 53 | 60 | 0.0015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6133-38_0_6_line_57 |  | 54 | 55 | 0.084158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6133-38_0_6_line_58 |  | 55 | 56 | 0.012465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6133-38_0_6_line_59 |  | 56 | 57 | 0.0043508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6133-38_0_6_line_60 |  | 57 | 58 | 0.026367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6133-38_0_6_line_61 |  | 58 | 59 | 0.00071673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6133-38_0_6_line_62 |  | 59 | 61 | 0.01047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6133-38_0_6_line_63 |  | 60 | 61 | 0.012709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6133-38_0_6_line_64 |  | 62 | 63 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-38_0_6_trafo_57 | 0.63 MVA 20/0.4 kV | 66 | 50 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2575598.8653 | 1110377.2701 | 2575574.3913 | 1110374.3857 | 2575568.2367 | 1110373.4956
1 | 2575598.8653 | 1110377.2701 | 2575608.0892 | 1110378.3572
2 | 2575568.2367 | 1110373.4956 | 2575562.4748 | 1110372.6622
3 | 2575612.0525 | 1110378.8243 | 2575608.0892 | 1110378.3572
4 | 2575554.6115 | 1110371.5249 | 2575562.4748 | 1110372.6622
5 | 2575572.3282 | 1110321.8343 | 2575562.4748 | 1110372.6622
6 | 2575612.0525 | 1110378.8243 | 2575632.3021 | 1110381.2109 | 2575634.6875 | 1110381.535
7 | 2575602.586 | 1110317.0315 | 2575591.2231 | 1110319.5123 | 2575589.664 | 1110319.7736
8 | 2575589.664 | 1110319.7736 | 2575577.4936 | 1110321.8134 | 2575572.3282 | 1110321.8343
9 | 2575602.586 | 1110317.0315 | 2575618.0434 | 1110313.6567 | 2575638.9784 | 1110309.5758
10 | 2575572.3282 | 1110321.8343 | 2575570.6243 | 1110321.8412 | 2575563.9746 | 1110320.7453 | 2575555.5194 | 1110318.4228 | 2575546.4948 | 1110314.7575 | 2575543.4138 | 1110311.9729
11 | 2575530.6549 | 1110299.6374 | 2575533.3802 | 1110302.9046 | 2575543.4138 | 1110311.9729
12 | 2575638.9784 | 1110309.5758 | 2575644.3832 | 1110308.5222
13 | 2575520.2753 | 1110039.6516 | 2575504.6995 | 1110022.9567
14 | 2575520.2753 | 1110039.6516 | 2575547.4151 | 1110068.7413 | 2575549.1225 | 1110070.6003
15 | 2575486.6573 | 1110003.6184 | 2575504.6995 | 1110022.9567
16 | 2575549.1225 | 1110070.6003 | 2575563.4937 | 1110086.2482
17 | 2575429.894 | 1109942.7769 | 2575486.6573 | 1110003.6184
18 | 2575568.7796 | 1110092.0037 | 2575563.4937 | 1110086.2482
19 | 2575429.894 | 1109942.7769 | 2575435.7892 | 1109936.8388 | 2575446.4622 | 1109931.4372 | 2575462.0378 | 1109926.8272 | 2575490.2638 | 1109918.4862 | 2575516.0329 | 1109917.8592
20 | 2575570.0157 | 1110093.3496 | 2575568.7796 | 1110092.0037
21 | 2575589.1219 | 1109916.2183 | 2575547.7054 | 1109917.0973 | 2575516.0329 | 1109917.8592
22 | 2575516.0329 | 1109917.8592 | 2575515.125 | 1109942.241
23 | 2575570.0157 | 1110093.3496 | 2575574.0558 | 1110097.7486
24 | 2575586.0777 | 1109958.3962 | 2575589.1219 | 1109916.2183
25 | 2575515.125 | 1109942.241 | 2575514.9824 | 1109946.071
26 | 2575599.2004 | 1110125.127 | 2575574.0558 | 1110097.7486
27 | 2575530.6549 | 1110299.6374 | 2575527.6547 | 1110296.0405
28 | 2575511.6807 | 1110275.7372 | 2575520.5992 | 1110287.582 | 2575527.6547 | 1110296.0405
29 | 2575511.6807 | 1110275.7372 | 2575501.573 | 1110262.3131 | 2575493.7338 | 1110246.4984
30 | 2575462.5335 | 1110183.8987 | 2575469.9092 | 1110198.1648 | 2575482.9135 | 1110224.6698 | 2575493.7338 | 1110246.4984
31 | 2575674.251 | 1110303.9324 | 2575662.2244 | 1110305.3077 | 2575648.4412 | 1110307.7311 | 2575644.3832 | 1110308.5222
32 | 2575490.7014 | 1110172.9678 | 2575474.3958 | 1110180.3266 | 2575469.9977 | 1110181.923 | 2575462.5335 | 1110183.8987
33 | 2575700.0297 | 1110261.398 | 2575715.4147 | 1110277.7468
34 | 2575693.1468 | 1110254.0838 | 2575700.0297 | 1110261.398
35 | 2575693.1468 | 1110254.0838 | 2575673.9505 | 1110233.6849
36 | 2575673.9341 | 1110233.6675 | 2575673.9505 | 1110233.6849
37 | 2575673.9341 | 1110233.6675 | 2575660.2687 | 1110219.1459
38 | 2575660.2687 | 1110219.1459 | 2575642.1206 | 1110199.8609
39 | 2575641.8315 | 1110199.5537 | 2575642.1206 | 1110199.8609
40 | 2575641.6676 | 1110199.3795 | 2575641.8315 | 1110199.5537
41 | 2575684.4371 | 1110215.6227 | 2575650.7472 | 1110179.8542
42 | 2575599.2004 | 1110125.127 | 2575650.7472 | 1110179.8542
43 | 2575650.7472 | 1110179.8542 | 2575703.3922 | 1110122.0979
44 | 2575599.2004 | 1110125.127 | 2575596.0746 | 1110127.9743 | 2575588.259 | 1110134.8205 | 2575585.3419 | 1110137.6892
45 | 2575719.0475 | 1110139.1839 | 2575703.3922 | 1110122.0979
46 | 2575585.3419 | 1110137.6892 | 2575583.7388 | 1110133.0045 | 2575578.688 | 1110127.5523
47 | 2575585.3419 | 1110137.6892 | 2575586.9558 | 1110141.2401 | 2575606.0252 | 1110161.5041
48 | 2575585.3419 | 1110137.6892 | 2575581.6979 | 1110140.4164 | 2575570.1636 | 1110150.6126 | 2575564.3989 | 1110155.2986
49 | 2575534.5389 | 1110079.8955 | 2575578.688 | 1110127.5523
50 | 2575622.3867 | 1110178.8906 | 2575606.0252 | 1110161.5041
51 | 2575562.9699 | 1110156.4602 | 2575564.3989 | 1110155.2986
52 | 2575534.5389 | 1110079.8955 | 2575533.4568 | 1110078.7274
53 | 2575641.6676 | 1110199.3795 | 2575622.3867 | 1110178.8906
54 | 2575555.3441 | 1110162.4563 | 2575558.3025 | 1110160.2543 | 2575562.9699 | 1110156.4602
55 | 2575532.0734 | 1110077.2341 | 2575533.4568 | 1110078.7274
56 | 2575555.3441 | 1110162.4563 | 2575555.3441 | 1110162.4563 | 2575553.7502 | 1110162.5577
57 | 2575490.7014 | 1110172.9678 | 2575483.6534 | 1110151.8525 | 2575471.3293 | 1110091.1942
58 | 2575490.7014 | 1110172.9678 | 2575502.0855 | 1110167.8912
59 | 2575506.0591 | 1110166.1192 | 2575502.0855 | 1110167.8912
60 | 2575530.829 | 1110157.3103 | 2575528.2403 | 1110157.6191 | 2575509.2675 | 1110164.6884 | 2575506.0591 | 1110166.1192
61 | 2575530.829 | 1110157.3103 | 2575531.5407 | 1110157.2255
62 | 2575531.5407 | 1110157.2255 | 2575534.1257 | 1110156.9171 | 2575538.5576 | 1110157.9553 | 2575541.6482 | 1110159.1527
63 | 2575553.7502 | 1110162.5577 | 2575551.7982 | 1110162.6818 | 2575546.7073 | 1110161.1128 | 2575541.6482 | 1110159.1527
64 | 2575514.5346 | 1109958.0966 | 2575514.9824 | 1109946.071

## bus_geodata
| x | y | coords
0 | 2575598.8653 | 1110377.2701
1 | 2575568.2367 | 1110373.4956
2 | 2575608.0892 | 1110378.3572
3 | 2575562.4748 | 1110372.6622
4 | 2575612.0525 | 1110378.8243
5 | 2575589.664 | 1110319.7736
6 | 2575602.586 | 1110317.0315
7 | 2575572.3282 | 1110321.8343
8 | 2575554.6115 | 1110371.5249
9 | 2575543.4138 | 1110311.9729
10 | 2575634.6875 | 1110381.535
11 | 2575638.9784 | 1110309.5758
12 | 2575520.2753 | 1110039.6516
13 | 2575504.6995 | 1110022.9567
14 | 2575549.1225 | 1110070.6003
15 | 2575486.6573 | 1110003.6184
16 | 2575563.4937 | 1110086.2482
17 | 2575429.894 | 1109942.7769
18 | 2575568.7796 | 1110092.0037
19 | 2575516.0329 | 1109917.8592
20 | 2575570.0157 | 1110093.3496
21 | 2575589.1219 | 1109916.2183
22 | 2575515.125 | 1109942.241
23 | 2575574.0558 | 1110097.7486
24 | 2575530.6549 | 1110299.6374
25 | 2575527.6547 | 1110296.0405
26 | 2575511.6807 | 1110275.7372
27 | 2575493.7338 | 1110246.4984
28 | 2575644.3832 | 1110308.5222
29 | 2575462.5335 | 1110183.8987
30 | 2575715.4147 | 1110277.7468
31 | 2575700.0297 | 1110261.398
32 | 2575674.251 | 1110303.9324
33 | 2575693.1468 | 1110254.0838
34 | 2575673.9505 | 1110233.6849
35 | 2575673.9341 | 1110233.6675
36 | 2575660.2687 | 1110219.1459
37 | 2575642.1206 | 1110199.8609
38 | 2575641.8315 | 1110199.5537
39 | 2575684.4371 | 1110215.6227
40 | 2575650.7472 | 1110179.8542
41 | 2575599.2004 | 1110125.127
42 | 2575703.3922 | 1110122.0979
43 | 2575585.3419 | 1110137.6892
44 | 2575719.0475 | 1110139.1839
45 | 2575578.688 | 1110127.5523
46 | 2575606.0252 | 1110161.5041
47 | 2575564.3989 | 1110155.2986
48 | 2575534.5389 | 1110079.8955
49 | 2575622.3867 | 1110178.8906
50 | 2575562.9699 | 1110156.4602
51 | 2575533.4568 | 1110078.7274
52 | 2575641.6676 | 1110199.3795
53 | 2575555.3441 | 1110162.4563
54 | 2575471.3293 | 1110091.1942
55 | 2575490.7014 | 1110172.9678
56 | 2575502.0855 | 1110167.8912
57 | 2575506.0591 | 1110166.1192
58 | 2575530.829 | 1110157.3103
59 | 2575531.5407 | 1110157.2255
60 | 2575553.7502 | 1110162.5577
61 | 2575541.6482 | 1110159.1527
62 | 2575514.9824 | 1109946.071
63 | 2575514.5346 | 1109958.0966
64 | 2575586.0777 | 1109958.3962
65 | 2575532.0734 | 1110077.2341
66 | 2575585.3419 | 1110137.6892

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1