## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6133-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6133-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6133-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6133-4_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6133-4_0_5_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_6133-4_0_5_node_94 | 0.4 | n |  | TRUE
8 | bus_LV_6133-4_0_5_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_6133-4_0_5_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6133-4_0_5_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_6133-4_0_5_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_6133-4_0_5_node_86 | 0.4 | n |  | TRUE
13 | bus_LV_6133-4_0_5_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_6133-4_0_5_node_98 | 0.4 | n |  | TRUE
15 | bus_LV_6133-4_0_5_node_99 | 0.4 | n |  | TRUE
16 | bus_LV_6133-4_0_5_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_6133-4_0_5_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_6133-4_0_5_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_6133-4_0_5_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_6133-4_0_5_node_8 | 0.4 | n |  | TRUE
21 | bus_LV_6133-4_0_5_node_9 | 0.4 | n |  | TRUE
22 | bus_LV_6133-4_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_6133-4_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_6133-4_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_6133-4_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_6133-4_0_5_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_6133-4_0_5_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_6133-4_0_5_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_6133-4_0_5_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_6133-4_0_5_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_6133-4_0_5_node_107 | 0.4 | n |  | TRUE
32 | bus_LV_6133-4_0_5_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_6133-4_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_6133-4_0_5_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_6133-4_0_5_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_6133-4_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6133-4_0_5_node_106 | 0.4 | n |  | TRUE
38 | bus_LV_6133-4_0_5_node_92 | 0.4 | n |  | TRUE
39 | bus_LV_6133-4_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_6133-4_0_5_node_15 | 0.4 | n |  | TRUE
41 | bus_LV_6133-4_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6133-4_0_5_node_97 | 0.4 | n |  | TRUE
43 | bus_LV_6133-4_0_5_node_96 | 0.4 | n |  | TRUE
44 | bus_LV_6133-4_0_5_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_6133-4_0_5_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_6133-4_0_5_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_6133-4_0_5_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_6133-4_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6133-4_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_6133-4_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_6133-4_0_5_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_6133-4_0_5_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_6133-4_0_5_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_6133-4_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_6133-4_0_5_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_6133-4_0_5_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_6133-4_0_5_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_6133-4_0_5_node_51 | 0.4 | n |  | TRUE
59 | bus_LV_6133-4_0_5_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_6133-4_0_5_node_40 | 0.4 | n |  | TRUE
61 | bus_LV_6133-4_0_5_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_6133-4_0_5_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_6133-4_0_5_node_30 | 0.4 | n |  | TRUE
64 | bus_LV_6133-4_0_5_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_6133-4_0_5_node_33 | 0.4 | n |  | TRUE
66 | bus_LV_6133-4_0_5_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_6133-4_0_5_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_6133-4_0_5_node_35 | 0.4 | n |  | TRUE
69 | bus_LV_6133-4_0_5_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_6133-4_0_5_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_6133-4_0_5_node_38 | 0.4 | n |  | TRUE
72 | bus_LV_6133-4_0_5_node_111 | 0.4 | n |  | TRUE
73 | bus_LV_6133-4_0_5_node_83 | 0.4 | n |  | TRUE
74 | bus_LV_6133-4_0_5_node_112 | 0.4 | n |  | TRUE
75 | bus_LV_6133-4_0_5_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_6133-4_0_5_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_6133-4_0_5_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_6133-4_0_5_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_6133-4_0_5_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_6133-4_0_5_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_6133-4_0_5_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_6133-4_0_5_node_48 | 0.4 | n |  | TRUE
83 | bus_LV_6133-4_0_5_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_6133-4_0_5_node_50 | 0.4 | n |  | TRUE
85 | bus_LV_6133-4_0_5_node_52 | 0.4 | n |  | TRUE
86 | bus_LV_6133-4_0_5_node_53 | 0.4 | n |  | TRUE
87 | bus_LV_6133-4_0_5_node_56 | 0.4 | n |  | TRUE
88 | bus_LV_6133-4_0_5_node_71 | 0.4 | n |  | TRUE
89 | bus_LV_6133-4_0_5_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_6133-4_0_5_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_6133-4_0_5_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_6133-4_0_5_node_73 | 0.4 | n |  | TRUE
93 | bus_LV_6133-4_0_5_node_113 | 0.4 | n |  | TRUE
94 | bus_LV_6133-4_0_5_node_105 | 0.4 | n |  | TRUE
95 | bus_LV_6133-4_0_5_node_104 | 0.4 | n |  | TRUE
96 | bus_LV_6133-4_0_5_node_74 | 0.4 | n |  | TRUE
97 | bus_LV_6133-4_0_5_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_6133-4_0_5_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_6133-4_0_5_node_77 | 0.4 | n |  | TRUE
100 | bus_LV_6133-4_0_5_node_78 | 0.4 | n |  | TRUE
101 | bus_LV_6133-4_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_6133-4_0_5_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_6133-4_0_5_node_79 | 0.4 | n |  | TRUE
104 | bus_LV_6133-4_0_5_node_110 | 0.4 | n |  | TRUE
105 | bus_LV_6133-4_0_5_node_84 | 0.4 | n |  | TRUE
106 | bus_LV_6133-4_0_5_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_6133-4_0_5_node_101 | 0.4 | n |  | TRUE
108 | bus_LV_6133-4_0_5_node_102 | 0.4 | n |  | TRUE
109 | bus_LV_6133-4_0_5_node_103 | 0.4 | n |  | TRUE
110 | bus_MV_102_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-4_0_5_load_0 | 0 | 0.011068 | 0.0027738 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-4_0_5_load_1 | 1 | 0.0062212 | 0.0015592 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-4_0_5_load_3 | 3 | 0.0055039 | 0.0013794 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-4_0_5_load_4 | 4 | 0.0066914 | 0.001677 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-4_0_5_load_5 | 5 | 0.0027218 | 0.00068215 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-4_0_5_load_88 | 8 | 0.014024 | 0.0035148 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-4_0_5_load_18 | 9 | 0.0068179 | 0.0017087 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-4_0_5_load_41 | 10 | 0.010577 | 0.0026509 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-4_0_5_load_86 | 12 | 0.007442 | 0.0018651 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-4_0_5_load_19 | 13 | 0.0027162 | 0.00068074 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-4_0_5_load_98 | 14 | 0.012256 | 0.0030717 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-4_0_5_load_99 | 15 | 0.0050537 | 0.0012666 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-4_0_5_load_63 | 16 | 0.0029485 | 0.00073897 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-4_0_5_load_60 | 17 | 0.0025634 | 0.00064246 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-4_0_5_load_6 | 18 | 0.0035518 | 0.00089015 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-4_0_5_load_7 | 19 | 0.0036313 | 0.00091009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-4_0_5_load_8 | 20 | 0.0050949 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-4_0_5_load_16 | 24 | 0.0074635 | 0.0018705 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-4_0_5_load_14 | 25 | 0.0028541 | 0.0007153 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-4_0_5_load_10 | 26 | 0.0073289 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-4_0_5_load_13 | 28 | 0.0045038 | 0.0011288 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-4_0_5_load_87 | 30 | 0.0046116 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-4_0_5_load_107 | 31 | 0.0052685 | 0.0013204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-4_0_5_load_85 | 32 | 0.001134 | 0.0002842 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-4_0_5_load_22 | 33 | 0.0028142 | 0.0007053 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-4_0_5_load_43 | 34 | 0.0041163 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-4_0_5_load_32 | 36 | 0.0024241 | 0.00060753 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-4_0_5_load_106 | 37 | 0.0040752 | 0.0010214 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-4_0_5_load_92 | 38 | 0.012943 | 0.0032438 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-4_0_5_load_21 | 39 | 0.002802 | 0.00070225 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-4_0_5_load_15 | 40 | 0.0022455 | 0.00056278 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-4_0_5_load_20 | 41 | 0.0030597 | 0.00076684 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-4_0_5_load_96 | 43 | 0.006486 | 0.0016255 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-4_0_5_load_45 | 44 | 0.008608 | 0.0021574 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-4_0_5_load_90 | 45 | 0.0086278 | 0.0021623 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-4_0_5_load_91 | 46 | 0.0092984 | 0.0023304 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-4_0_5_load_59 | 47 | 0.020042 | 0.005023 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-4_0_5_load_23 | 49 | 0.00668 | 0.0016742 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-4_0_5_load_24 | 50 | 0.0069888 | 0.0017516 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-4_0_5_load_26 | 51 | 0.011309 | 0.0028343 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-4_0_5_load_95 | 53 | 0.012964 | 0.0032491 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-4_0_5_load_28 | 54 | 0.0058522 | 0.0014667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-4_0_5_load_66 | 55 | 0.0014597 | 0.00036583 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-4_0_5_load_46 | 56 | 0.017324 | 0.0043418 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-4_0_5_load_65 | 57 | 0.0037994 | 0.00095221 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-4_0_5_load_39 | 59 | 0.0024395 | 0.00061139 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-4_0_5_load_29 | 62 | 0.013305 | 0.0033345 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-4_0_5_load_30 | 63 | 0.011117 | 0.0027862 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-4_0_5_load_31 | 64 | 0.011015 | 0.0027606 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-4_0_5_load_34 | 67 | 0.020104 | 0.0050385 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-4_0_5_load_35 | 68 | 0.0086637 | 0.0021713 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-4_0_5_load_37 | 70 | 0.016723 | 0.0041913 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-4_0_5_load_111 | 72 | 0.0029089 | 0.00072905 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-4_0_5_load_83 | 73 | 0.00573 | 0.0014361 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-4_0_5_load_112 | 74 | 0.0093846 | 0.002352 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-4_0_5_load_82 | 75 | 0.0073626 | 0.0018452 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-4_0_5_load_69 | 76 | 0.0057208 | 0.0014338 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-4_0_5_load_89 | 77 | 0.0010686 | 0.00026782 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-4_0_5_load_62 | 78 | 0.0037225 | 0.00093294 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6133-4_0_5_load_58 | 79 | 0.0052792 | 0.0013231 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6133-4_0_5_load_57 | 80 | 0.0044376 | 0.0011122 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6133-4_0_5_load_47 | 81 | 0.0072992 | 0.0018293 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6133-4_0_5_load_52 | 85 | 0.0088964 | 0.0022296 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6133-4_0_5_load_53 | 86 | 0.010768 | 0.0026987 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6133-4_0_5_load_56 | 87 | 0.0036264 | 0.00090885 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6133-4_0_5_load_71 | 88 | 0.0035963 | 0.00090131 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6133-4_0_5_load_55 | 89 | 0.0061991 | 0.0015537 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6133-4_0_5_load_70 | 90 | 0.0039648 | 0.00099368 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6133-4_0_5_load_72 | 91 | 0.0021341 | 0.00053485 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6133-4_0_5_load_113 | 93 | 0.0081776 | 0.0020495 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6133-4_0_5_load_105 | 94 | 0.0068173 | 0.0017086 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6133-4_0_5_load_104 | 95 | 0.0095057 | 0.0023823 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6133-4_0_5_load_74 | 96 | 0.008419 | 0.00211 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6133-4_0_5_load_75 | 97 | 0.0051334 | 0.0012866 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6133-4_0_5_load_76 | 98 | 0.0044688 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6133-4_0_5_load_77 | 99 | 0.0049385 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6133-4_0_5_load_78 | 100 | 0.003764 | 0.00094335 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6133-4_0_5_load_80 | 102 | 0.0070335 | 0.0017628 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6133-4_0_5_load_79 | 103 | 0.0066708 | 0.0016718 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6133-4_0_5_load_110 | 104 | 0.006486 | 0.0016256 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6133-4_0_5_load_84 | 105 | 0.010225 | 0.0025627 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6133-4_0_5_load_100 | 106 | 0.0067795 | 0.0016991 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6133-4_0_5_load_101 | 107 | 0.0085452 | 0.0021416 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6133-4_0_5_load_102 | 108 | 0.0033551 | 0.00084087 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6133-4_0_5_load_103 | 109 | 0.0021402 | 0.00053639 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-4_0_5_line_0 |  | 0 | 1 | 0.0043646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-4_0_5_line_1 |  | 0 | 2 | 0.024098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-4_0_5_line_2 |  | 1 | 3 | 0.023958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-4_0_5_line_3 |  | 2 | 4 | 0.019604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-4_0_5_line_4 |  | 2 | 5 | 0.020781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6133-4_0_5_line_5 |  | 3 | 9 | 0.018768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6133-4_0_5_line_6 |  | 4 | 10 | 0.0076984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6133-4_0_5_line_7 |  | 5 | 11 | 0.0023691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6133-4_0_5_line_8 |  | 6 | 7 | 0.007722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6133-4_0_5_line_9 |  | 6 | 8 | 0.01464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6133-4_0_5_line_10 |  | 7 | 14 | 0.0018935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6133-4_0_5_line_11 |  | 8 | 12 | 0.020184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_6133-4_0_5_line_12 |  | 9 | 13 | 0.018531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-4_0_5_line_13 |  | 11 | 16 | 0.017993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6133-4_0_5_line_14 |  | 11 | 17 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6133-4_0_5_line_15 |  | 12 | 105 | 0.0093516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6133-4_0_5_line_16 |  | 13 | 41 | 0.0070168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6133-4_0_5_line_17 |  | 14 | 15 | 0.012175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_6133-4_0_5_line_18 |  | 15 | 42 | 0.0076108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6133-4_0_5_line_19 |  | 17 | 35 | 0.029381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6133-4_0_5_line_20 |  | 18 | 19 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6133-4_0_5_line_21 |  | 18 | 20 | 0.0068783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-4_0_5_line_22 |  | 19 | 21 | 0.013318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-4_0_5_line_23 |  | 21 | 22 | 0.030007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6133-4_0_5_line_24 |  | 21 | 23 | 0.028426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6133-4_0_5_line_25 |  | 22 | 24 | 0.029811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6133-4_0_5_line_26 |  | 23 | 25 | 0.012451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-4_0_5_line_27 |  | 23 | 26 | 0.023433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6133-4_0_5_line_28 |  | 24 | 40 | 0.012174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6133-4_0_5_line_29 |  | 25 | 33 | 0.01705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6133-4_0_5_line_30 |  | 26 | 27 | 0.018268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6133-4_0_5_line_31 |  | 27 | 28 | 0.056057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-4_0_5_line_32 |  | 28 | 29 | 0.032118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6133-4_0_5_line_33 |  | 29 | 34 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6133-4_0_5_line_34 |  | 29 | 35 | 0.017199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6133-4_0_5_line_35 |  | 29 | 36 | 0.017191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6133-4_0_5_line_36 |  | 30 | 31 | 0.00087886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_6133-4_0_5_line_37 |  | 30 | 32 | 0.010696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6133-4_0_5_line_38 |  | 31 | 37 | 0.010833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_6133-4_0_5_line_39 |  | 32 | 105 | 0.0003023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6133-4_0_5_line_40 |  | 33 | 39 | 0.018247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-4_0_5_line_41 |  | 35 | 78 | 0.016355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-4_0_5_line_42 |  | 36 | 63 | 0.0090822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6133-4_0_5_line_43 |  | 37 | 38 | 0.058327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_6133-4_0_5_line_44 |  | 38 | 76 | 0.0070283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6133-4_0_5_line_45 |  | 41 | 44 | 0.0092469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6133-4_0_5_line_46 |  | 42 | 43 | 0.0019264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6133-4_0_5_line_47 |  | 43 | 53 | 0.0032944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6133-4_0_5_line_48 |  | 44 | 48 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6133-4_0_5_line_49 |  | 45 | 46 | 0.010582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6133-4_0_5_line_50 |  | 45 | 47 | 0.031264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_6133-4_0_5_line_51 |  | 46 | 53 | 0.0075551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6133-4_0_5_line_52 |  | 47 | 58 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_6133-4_0_5_line_53 |  | 48 | 56 | 0.028795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6133-4_0_5_line_54 |  | 49 | 50 | 0.019832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6133-4_0_5_line_55 |  | 50 | 51 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
56 | LV_6133-4_0_5_line_56 |  | 50 | 52 | 0.017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6133-4_0_5_line_57 |  | 51 | 54 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_6133-4_0_5_line_58 |  | 51 | 55 | 0.017408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6133-4_0_5_line_59 |  | 54 | 57 | 0.019116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6133-4_0_5_line_60 |  | 57 | 61 | 0.03092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6133-4_0_5_line_61 |  | 58 | 80 | 0.0034651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6133-4_0_5_line_62 |  | 58 | 82 | 0.005169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_6133-4_0_5_line_63 |  | 59 | 60 | 0.051367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_6133-4_0_5_line_64 |  | 59 | 61 | 0.017284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_6133-4_0_5_line_65 |  | 60 | 66 | 0.043572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6133-4_0_5_line_66 |  | 60 | 65 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6133-4_0_5_line_67 |  | 61 | 76 | 0.024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_6133-4_0_5_line_68 |  | 62 | 63 | 0.028775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6133-4_0_5_line_69 |  | 62 | 64 | 0.0013982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_6133-4_0_5_line_70 |  | 64 | 65 | 0.03578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6133-4_0_5_line_71 |  | 66 | 77 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6133-4_0_5_line_72 |  | 67 | 68 | 0.010476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6133-4_0_5_line_73 |  | 67 | 69 | 0.016485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6133-4_0_5_line_74 |  | 68 | 70 | 0.01374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6133-4_0_5_line_75 |  | 69 | 71 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_6133-4_0_5_line_76 |  | 71 | 72 | 0.0048301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
77 | LV_6133-4_0_5_line_77 |  | 71 | 73 | 0.0031635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
78 | LV_6133-4_0_5_line_78 |  | 72 | 74 | 0.0044398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
79 | LV_6133-4_0_5_line_79 |  | 73 | 75 | 0.010126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6133-4_0_5_line_80 |  | 74 | 109 | 0.0033221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6133-4_0_5_line_81 |  | 75 | 100 | 0.0077645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6133-4_0_5_line_82 |  | 79 | 80 | 0.0077916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6133-4_0_5_line_83 |  | 81 | 82 | 0.021172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6133-4_0_5_line_84 |  | 81 | 83 | 0.010249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6133-4_0_5_line_85 |  | 82 | 84 | 0.015154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6133-4_0_5_line_86 |  | 82 | 85 | 0.020653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6133-4_0_5_line_87 |  | 83 | 86 | 0.011527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6133-4_0_5_line_88 |  | 84 | 87 | 0.010408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6133-4_0_5_line_89 |  | 84 | 88 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
90 | LV_6133-4_0_5_line_90 |  | 87 | 89 | 0.028921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6133-4_0_5_line_91 |  | 88 | 90 | 0.0030312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
92 | LV_6133-4_0_5_line_92 |  | 90 | 91 | 0.015517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_6133-4_0_5_line_93 |  | 91 | 92 | 0.0027266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_6133-4_0_5_line_94 |  | 92 | 93 | 0.015017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6133-4_0_5_line_95 |  | 92 | 94 | 0.0019084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_6133-4_0_5_line_96 |  | 94 | 95 | 0.0076855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_6133-4_0_5_line_97 |  | 95 | 108 | 0.00057757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_6133-4_0_5_line_98 |  | 96 | 97 | 0.0049764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6133-4_0_5_line_99 |  | 96 | 98 | 0.002071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6133-4_0_5_line_100 |  | 97 | 99 | 0.012177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6133-4_0_5_line_101 |  | 98 | 100 | 0.0065304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
102 | LV_6133-4_0_5_line_102 |  | 99 | 101 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6133-4_0_5_line_103 |  | 99 | 102 | 0.028306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6133-4_0_5_line_104 |  | 101 | 104 | 0.007828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6133-4_0_5_line_105 |  | 102 | 103 | 0.025081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6133-4_0_5_line_106 |  | 106 | 107 | 0.0060847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_6133-4_0_5_line_107 |  | 106 | 108 | 0.010734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_6133-4_0_5_line_108 |  | 107 | 109 | 0.0050656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-4_0_5_trafo_68 | 0.63 MVA 20/0.4 kV | 110 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2573281.5536 | 1108547.6225 | 2573277.3343 | 1108546.5057
1 | 2573304.849 | 1108553.7884 | 2573281.5536 | 1108547.6225
2 | 2573277.3343 | 1108546.5057 | 2573277.1299 | 1108546.4516 | 2573254.1853 | 1108540.3307
3 | 2573304.849 | 1108553.7884 | 2573299.7323 | 1108572.7127
4 | 2573304.849 | 1108553.7884 | 2573309.5849 | 1108555.0459 | 2573324.6797 | 1108559.9805
5 | 2573236.0513 | 1108535.4932 | 2573254.1853 | 1108540.3307
6 | 2573297.723 | 1108580.1443 | 2573299.7323 | 1108572.7127
7 | 2573326.9315 | 1108560.7167 | 2573324.6797 | 1108559.9805
8 | 2573167.6318 | 1108660.583 | 2573169.2682 | 1108661.832 | 2573173.7435 | 1108665.325
9 | 2573173.7435 | 1108665.325 | 2573179.5293 | 1108671.5247 | 2573183.7009 | 1108676.0568
10 | 2573167.6318 | 1108660.583 | 2573166.128 | 1108659.4323
11 | 2573183.7009 | 1108676.0568 | 2573184.166 | 1108676.5622 | 2573187.6103 | 1108681.1159 | 2573191.4443 | 1108686.4238 | 2573195.1744 | 1108690.9429 | 2573196.1401 | 1108691.929
12 | 2573218.1772 | 1108530.606 | 2573222.0778 | 1108531.7655 | 2573236.0513 | 1108535.4932
13 | 2573326.9315 | 1108560.7167 | 2573320.9326 | 1108577.6803
14 | 2573326.9315 | 1108560.7167 | 2573338.0374 | 1108564.3514
15 | 2573202.6935 | 1108698.5995 | 2573202.5118 | 1108698.4363 | 2573196.1401 | 1108691.929
16 | 2573211.4513 | 1108528.6066 | 2573218.1772 | 1108530.606
17 | 2573166.128 | 1108659.4323 | 2573156.4586 | 1108652.0334
18 | 2573150.4143 | 1108647.4084 | 2573156.4586 | 1108652.0334
19 | 2573365.738 | 1108574.1412 | 2573361.914 | 1108572.8352 | 2573339.6338 | 1108564.8738 | 2573338.0374 | 1108564.3514
20 | 2573338.681 | 1108499.0256 | 2573344.9745 | 1108482.6163
21 | 2573336.218 | 1108505.4478 | 2573338.681 | 1108499.0256
22 | 2573349.7436 | 1108470.1815 | 2573344.9745 | 1108482.6163
23 | 2573322.0663 | 1108458.3976 | 2573349.7436 | 1108470.1815
24 | 2573349.7436 | 1108470.1815 | 2573375.9648 | 1108481.3382
25 | 2573322.0663 | 1108458.3976 | 2573311.7574 | 1108486.3697
26 | 2573375.9648 | 1108481.3382 | 2573371.4327 | 1108492.9347
27 | 2573375.9648 | 1108481.3382 | 2573397.5268 | 1108490.5136
28 | 2573307.5475 | 1108497.7926 | 2573311.7574 | 1108486.3697
29 | 2573365.2266 | 1108508.8148 | 2573371.4327 | 1108492.9347
30 | 2573414.3362 | 1108497.6665 | 2573397.5268 | 1108490.5136
31 | 2573414.3362 | 1108497.6665 | 2573394.3991 | 1108550.0584
32 | 2573382.0637 | 1108579.6944 | 2573388.2803 | 1108566.1379 | 2573394.3991 | 1108550.0584
33 | 2573382.0637 | 1108579.6944 | 2573402.3626 | 1108587.3498
34 | 2573365.738 | 1108574.1412 | 2573382.0637 | 1108579.6944
35 | 2573382.0637 | 1108579.6944 | 2573378.1034 | 1108587.8048 | 2573375.1482 | 1108595.4166
36 | 2573211.4944 | 1108706.5731 | 2573210.8771 | 1108705.9475 | 2573210.8771 | 1108705.9475
37 | 2573210.8771 | 1108705.9475 | 2573202.9184 | 1108698.8015
38 | 2573218.9828 | 1108714.3871 | 2573218.3151 | 1108713.485 | 2573211.4944 | 1108706.5731
39 | 2573202.9184 | 1108698.8015 | 2573202.6935 | 1108698.5995
40 | 2573365.2266 | 1108508.8148 | 2573358.5847 | 1108525.81
41 | 2573371.065 | 1108558.6766 | 2573365.738 | 1108574.1412
42 | 2573371.8612 | 1108603.8832 | 2573375.1482 | 1108595.4166
43 | 2573218.9828 | 1108714.3871 | 2573262.612 | 1108675.6761
44 | 2573265.9374 | 1108669.4933 | 2573265.3596 | 1108670.8553 | 2573262.612 | 1108675.6761
45 | 2573202.5877 | 1108525.9717 | 2573211.4513 | 1108528.6066
46 | 2573150.4143 | 1108647.4084 | 2573148.8831 | 1108646.2396
47 | 2573146.3217 | 1108644.1694 | 2573147.6921 | 1108645.3305 | 2573148.8831 | 1108646.2396
48 | 2573187.8842 | 1108521.6008 | 2573202.5877 | 1108525.9717
49 | 2573140.5575 | 1108639.2853 | 2573136.5199 | 1108635.8643 | 2573132.6186 | 1108632.2924
50 | 2573108.9814 | 1108611.9377 | 2573113.9434 | 1108615.1875 | 2573120.1507 | 1108620.5404 | 2573126.1281 | 1108626.3501 | 2573132.6186 | 1108632.2924
51 | 2573146.3217 | 1108644.1694 | 2573140.5575 | 1108639.2853
52 | 2573092.3968 | 1108603.6442 | 2573095.9266 | 1108604.8068 | 2573100.5963 | 1108606.8093 | 2573105.3621 | 1108609.5673 | 2573108.9814 | 1108611.9377
53 | 2573161.6894 | 1108509.4776 | 2573187.8842 | 1108521.6008
54 | 2573194.602 | 1108585.3567 | 2573212.0247 | 1108594.8316
55 | 2573212.0247 | 1108594.8316 | 2573231.3732 | 1108605.354
56 | 2573212.0247 | 1108594.8316 | 2573202.8915 | 1108609.7788
57 | 2573231.3732 | 1108605.354 | 2573247.5404 | 1108614.1462
58 | 2573231.3732 | 1108605.354 | 2573226.1943 | 1108621.9739
59 | 2573247.5404 | 1108614.1462 | 2573247.8026 | 1108633.2604
60 | 2573275.3728 | 1108647.2547 | 2573258.8576 | 1108639.0347 | 2573247.8026 | 1108633.2604
61 | 2573092.3968 | 1108603.6442 | 2573093.8591 | 1108600.5028
62 | 2573092.3968 | 1108603.6442 | 2573087.2614 | 1108602.9334
63 | 2573332.7543 | 1108657.6399 | 2573329.0821 | 1108655.6996 | 2573286.9399 | 1108634.4115
64 | 2573286.9399 | 1108634.4115 | 2573275.3728 | 1108647.2547
65 | 2573332.7543 | 1108657.6399 | 2573325.7391 | 1108672.3116 | 2573350.1786 | 1108684.4988
66 | 2573332.7543 | 1108657.6399 | 2573347.9918 | 1108665.3655
67 | 2573275.3728 | 1108647.2547 | 2573265.9374 | 1108669.4933
68 | 2573361.4473 | 1108630.7073 | 2573371.8612 | 1108603.8832
69 | 2573361.4473 | 1108630.7073 | 2573360.9412 | 1108632.0107
70 | 2573347.9918 | 1108665.3655 | 2573360.9412 | 1108632.0107
71 | 2573350.1786 | 1108684.4988 | 2573343.3041 | 1108695.7303
72 | 2573139.7305 | 1108698.2808 | 2573149.0616 | 1108703.0425
73 | 2573125.0466 | 1108690.7874 | 2573139.7305 | 1108698.2808
74 | 2573156.8921 | 1108691.7522 | 2573149.0616 | 1108703.0425 | 2573149.0616 | 1108703.0425
75 | 2573109.9014 | 1108689.9766 | 2573121.5682 | 1108689.0131 | 2573125.0466 | 1108690.7874
76 | 2573109.9014 | 1108689.9766 | 2573106.3323 | 1108686.7221
77 | 2573109.9014 | 1108689.9766 | 2573111.9602 | 1108692.3785
78 | 2573106.3323 | 1108686.7221 | 2573103.0517 | 1108683.7307
79 | 2573117.7326 | 1108700.5894 | 2573116.2802 | 1108697.4186 | 2573111.9602 | 1108692.3785
80 | 2573100.5969 | 1108681.4923 | 2573103.0517 | 1108683.7307
81 | 2573117.7326 | 1108700.5894 | 2573120.9661 | 1108707.6485
82 | 2573093.8591 | 1108600.5028 | 2573092.9285 | 1108598.0723 | 2573090.9677 | 1108596.8805 | 2573088.2667 | 1108595.8398
83 | 2573087.2614 | 1108602.9334 | 2573069.8096 | 1108594.4957 | 2573068.1774 | 1108593.7666
84 | 2573058.8198 | 1108589.5866 | 2573068.1774 | 1108593.7666
85 | 2573088.1557 | 1108618.037 | 2573088.0739 | 1108610.0889 | 2573087.2614 | 1108602.9334
86 | 2573087.2614 | 1108602.9334 | 2573094.0666 | 1108608.9172 | 2573097.5442 | 1108610.5136 | 2573104.5794 | 1108613.7984
87 | 2573058.8198 | 1108589.5866 | 2573048.2946 | 1108584.8867
88 | 2573088.1557 | 1108618.037 | 2573077.8132 | 1108616.8754
89 | 2573088.1557 | 1108618.037 | 2573088.2981 | 1108630.9318 | 2573088.2929 | 1108633.0245
90 | 2573052.4671 | 1108623.6269 | 2573053.185 | 1108620.7608 | 2573061.7613 | 1108621.7898 | 2573067.2703 | 1108621.3317 | 2573069.907 | 1108619.8303 | 2573072.9731 | 1108617.5377 | 2573076.5404 | 1108616.7325 | 2573077.8132 | 1108616.8754
91 | 2573088.2853 | 1108636.0556 | 2573088.2929 | 1108633.0245
92 | 2573088.2853 | 1108636.0556 | 2573088.2467 | 1108651.5728
93 | 2573088.2399 | 1108654.2994 | 2573088.2467 | 1108651.5728
94 | 2573074.312 | 1108649.1588 | 2573083.1822 | 1108653.6883 | 2573088.2399 | 1108654.2994
95 | 2573088.2399 | 1108654.2994 | 2573088.2345 | 1108656.2078
96 | 2573088.213 | 1108663.8932 | 2573088.213 | 1108663.8932 | 2573088.2345 | 1108656.2078
97 | 2573088.2766 | 1108664.4673 | 2573088.213 | 1108663.8932
98 | 2573124.5481 | 1108715.4686 | 2573126.2862 | 1108719.263 | 2573126.7792 | 1108719.8966
99 | 2573124.5481 | 1108715.4686 | 2573123.6857 | 1108713.5857
100 | 2573134.2574 | 1108729.5073 | 2573126.7792 | 1108719.8966
101 | 2573123.6857 | 1108713.5857 | 2573120.9661 | 1108707.6485
102 | 2573140.6129 | 1108737.6753 | 2573134.2574 | 1108729.5073
103 | 2573134.2574 | 1108729.5073 | 2573110.178 | 1108744.3871
104 | 2573140.6129 | 1108737.6753 | 2573145.6978 | 1108732.2499 | 2573145.5106 | 1108731.9052
105 | 2573091.4865 | 1108727.7919 | 2573100.3135 | 1108734.286 | 2573105.2585 | 1108739.1332 | 2573109.5685 | 1108743.7052 | 2573110.178 | 1108744.3871
106 | 2573092.406 | 1108673.9345 | 2573092.6493 | 1108674.2454 | 2573096.8538 | 1108678.0792
107 | 2573092.406 | 1108673.9345 | 2573088.817 | 1108669.3489 | 2573088.2766 | 1108664.4673
108 | 2573100.5969 | 1108681.4923 | 2573096.8538 | 1108678.0792

## bus_geodata
| x | y | coords
0 | 2573281.5536 | 1108547.6225
1 | 2573277.3343 | 1108546.5057
2 | 2573304.849 | 1108553.7884
3 | 2573254.1853 | 1108540.3307
4 | 2573299.7323 | 1108572.7127
5 | 2573324.6797 | 1108559.9805
6 | 2573173.7435 | 1108665.325
7 | 2573167.6318 | 1108660.583
8 | 2573183.7009 | 1108676.0568
9 | 2573236.0513 | 1108535.4932
10 | 2573297.723 | 1108580.1443
11 | 2573326.9315 | 1108560.7167
12 | 2573196.1401 | 1108691.929
13 | 2573218.1772 | 1108530.606
14 | 2573166.128 | 1108659.4323
15 | 2573156.4586 | 1108652.0334
16 | 2573320.9326 | 1108577.6803
17 | 2573338.0374 | 1108564.3514
18 | 2573338.681 | 1108499.0256
19 | 2573344.9745 | 1108482.6163
20 | 2573336.218 | 1108505.4478
21 | 2573349.7436 | 1108470.1815
22 | 2573322.0663 | 1108458.3976
23 | 2573375.9648 | 1108481.3382
24 | 2573311.7574 | 1108486.3697
25 | 2573371.4327 | 1108492.9347
26 | 2573397.5268 | 1108490.5136
27 | 2573414.3362 | 1108497.6665
28 | 2573394.3991 | 1108550.0584
29 | 2573382.0637 | 1108579.6944
30 | 2573210.8771 | 1108705.9475
31 | 2573211.4944 | 1108706.5731
32 | 2573202.9184 | 1108698.8015
33 | 2573365.2266 | 1108508.8148
34 | 2573402.3626 | 1108587.3498
35 | 2573365.738 | 1108574.1412
36 | 2573375.1482 | 1108595.4166
37 | 2573218.9828 | 1108714.3871
38 | 2573262.612 | 1108675.6761
39 | 2573358.5847 | 1108525.81
40 | 2573307.5475 | 1108497.7926
41 | 2573211.4513 | 1108528.6066
42 | 2573150.4143 | 1108647.4084
43 | 2573148.8831 | 1108646.2396
44 | 2573202.5877 | 1108525.9717
45 | 2573132.6186 | 1108632.2924
46 | 2573140.5575 | 1108639.2853
47 | 2573108.9814 | 1108611.9377
48 | 2573187.8842 | 1108521.6008
49 | 2573194.602 | 1108585.3567
50 | 2573212.0247 | 1108594.8316
51 | 2573231.3732 | 1108605.354
52 | 2573202.8915 | 1108609.7788
53 | 2573146.3217 | 1108644.1694
54 | 2573247.5404 | 1108614.1462
55 | 2573226.1943 | 1108621.9739
56 | 2573161.6894 | 1108509.4776
57 | 2573247.8026 | 1108633.2604
58 | 2573092.3968 | 1108603.6442
59 | 2573286.9399 | 1108634.4115
60 | 2573332.7543 | 1108657.6399
61 | 2573275.3728 | 1108647.2547
62 | 2573361.4473 | 1108630.7073
63 | 2573371.8612 | 1108603.8832
64 | 2573360.9412 | 1108632.0107
65 | 2573347.9918 | 1108665.3655
66 | 2573350.1786 | 1108684.4988
67 | 2573139.7305 | 1108698.2808
68 | 2573149.0616 | 1108703.0425
69 | 2573125.0466 | 1108690.7874
70 | 2573156.8921 | 1108691.7522
71 | 2573109.9014 | 1108689.9766
72 | 2573106.3324 | 1108686.7221
73 | 2573111.9602 | 1108692.3785
74 | 2573103.0517 | 1108683.7307
75 | 2573117.7326 | 1108700.5894
76 | 2573265.9374 | 1108669.4933
77 | 2573343.3041 | 1108695.7303
78 | 2573371.065 | 1108558.6766
79 | 2573088.2667 | 1108595.8398
80 | 2573093.8591 | 1108600.5028
81 | 2573068.1774 | 1108593.7666
82 | 2573087.2614 | 1108602.9334
83 | 2573058.8198 | 1108589.5866
84 | 2573088.1557 | 1108618.037
85 | 2573104.5794 | 1108613.7984
86 | 2573048.2946 | 1108584.8867
87 | 2573077.8132 | 1108616.8754
88 | 2573088.2929 | 1108633.0245
89 | 2573052.4671 | 1108623.6269
90 | 2573088.2853 | 1108636.0556
91 | 2573088.2467 | 1108651.5728
92 | 2573088.2399 | 1108654.2994
93 | 2573074.312 | 1108649.1588
94 | 2573088.2345 | 1108656.2078
95 | 2573088.213 | 1108663.8932
96 | 2573124.5481 | 1108715.4686
97 | 2573126.7792 | 1108719.8966
98 | 2573123.6857 | 1108713.5857
99 | 2573134.2574 | 1108729.5073
100 | 2573120.9661 | 1108707.6485
101 | 2573140.6129 | 1108737.6753
102 | 2573110.178 | 1108744.3871
103 | 2573091.4865 | 1108727.7919
104 | 2573145.5106 | 1108731.9052
105 | 2573202.6935 | 1108698.5995
106 | 2573092.406 | 1108673.9345
107 | 2573096.8538 | 1108678.0792
108 | 2573088.2766 | 1108664.4673
109 | 2573100.5969 | 1108681.4923
110 | 2573187.7375 | 1108601.7864

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1