## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6133-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6133-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6133-6_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6133-6_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6133-6_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6133-6_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6133-6_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6133-6_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6133-6_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6133-6_0_6_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_6133-6_0_6_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_6133-6_0_6_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_6133-6_0_6_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_6133-6_0_6_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_6133-6_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_6133-6_0_6_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_6133-6_0_6_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6133-6_0_6_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6133-6_0_6_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6133-6_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6133-6_0_6_node_112 | 0.4 | n |  | TRUE
21 | bus_LV_6133-6_0_6_node_111 | 0.4 | n |  | TRUE
22 | bus_LV_6133-6_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_6133-6_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6133-6_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_6133-6_0_6_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_6133-6_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_6133-6_0_6_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_6133-6_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6133-6_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6133-6_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6133-6_0_6_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_6133-6_0_6_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_6133-6_0_6_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_6133-6_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_6133-6_0_6_node_58 | 0.4 | n |  | TRUE
36 | bus_LV_6133-6_0_6_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_6133-6_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6133-6_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6133-6_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6133-6_0_6_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6133-6_0_6_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_6133-6_0_6_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_6133-6_0_6_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_6133-6_0_6_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6133-6_0_6_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_6133-6_0_6_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_6133-6_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_6133-6_0_6_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_6133-6_0_6_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6133-6_0_6_node_65 | 0.4 | n |  | TRUE
51 | bus_LV_6133-6_0_6_node_62 | 0.4 | n |  | TRUE
52 | bus_LV_6133-6_0_6_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_6133-6_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_6133-6_0_6_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_6133-6_0_6_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_6133-6_0_6_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6133-6_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6133-6_0_6_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6133-6_0_6_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6133-6_0_6_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_6133-6_0_6_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_6133-6_0_6_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_6133-6_0_6_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_6133-6_0_6_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_6133-6_0_6_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_6133-6_0_6_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_6133-6_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_6133-6_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_6133-6_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_6133-6_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_6133-6_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_6133-6_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_6133-6_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_6133-6_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_6133-6_0_6_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_6133-6_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_6133-6_0_6_node_100 | 0.4 | n |  | TRUE
78 | bus_LV_6133-6_0_6_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_6133-6_0_6_node_101 | 0.4 | n |  | TRUE
80 | bus_LV_6133-6_0_6_node_102 | 0.4 | n |  | TRUE
81 | bus_LV_6133-6_0_6_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_6133-6_0_6_node_97 | 0.4 | n |  | TRUE
83 | bus_LV_6133-6_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_6133-6_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_6133-6_0_6_node_77 | 0.4 | n |  | TRUE
86 | bus_LV_6133-6_0_6_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_6133-6_0_6_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_6133-6_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_6133-6_0_6_node_82 | 0.4 | n |  | TRUE
90 | bus_LV_6133-6_0_6_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_6133-6_0_6_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_6133-6_0_6_node_113 | 0.4 | n |  | TRUE
93 | bus_LV_6133-6_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_6133-6_0_6_node_84 | 0.4 | n |  | TRUE
95 | bus_LV_6133-6_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_6133-6_0_6_node_83 | 0.4 | n |  | TRUE
97 | bus_LV_6133-6_0_6_node_85 | 0.4 | n |  | TRUE
98 | bus_LV_6133-6_0_6_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_6133-6_0_6_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_6133-6_0_6_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_6133-6_0_6_node_90 | 0.4 | n |  | TRUE
102 | bus_LV_6133-6_0_6_node_91 | 0.4 | n |  | TRUE
103 | bus_LV_6133-6_0_6_node_92 | 0.4 | n |  | TRUE
104 | bus_LV_6133-6_0_6_node_109 | 0.4 | n |  | TRUE
105 | bus_LV_6133-6_0_6_node_108 | 0.4 | n |  | TRUE
106 | bus_LV_6133-6_0_6_node_95 | 0.4 | n |  | TRUE
107 | bus_LV_6133-6_0_6_node_110 | 0.4 | n |  | TRUE
108 | bus_LV_6133-6_0_6_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_6133-6_0_6_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_6133-6_0_6_node_104 | 0.4 | n |  | TRUE
111 | bus_LV_6133-6_0_6_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_6133-6_0_6_node_107 | 0.4 | n |  | TRUE
113 | bus_MV_102_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6133-6_0_6_load_0 | 0 | 0.004656 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6133-6_0_6_load_1 | 1 | 0.005514 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6133-6_0_6_load_2 | 2 | 0.011689 | 0.0029296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6133-6_0_6_load_3 | 3 | 0.0044418 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6133-6_0_6_load_4 | 4 | 0.0082709 | 0.0020729 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6133-6_0_6_load_5 | 5 | 0.0050461 | 0.0012647 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6133-6_0_6_load_8 | 8 | 0.0039706 | 0.00099513 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6133-6_0_6_load_26 | 9 | 0.0077232 | 0.0019356 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6133-6_0_6_load_28 | 11 | 0.00222 | 0.00055638 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6133-6_0_6_load_23 | 14 | 0.0088447 | 0.0022167 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6133-6_0_6_load_29 | 15 | 0.0049031 | 0.0012288 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6133-6_0_6_load_9 | 16 | 0.015946 | 0.0039966 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6133-6_0_6_load_16 | 18 | 0.0025335 | 0.00063496 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6133-6_0_6_load_112 | 20 | 0.0025883 | 0.00064868 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6133-6_0_6_load_111 | 21 | 0.0038181 | 0.00095691 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6133-6_0_6_load_13 | 22 | 0.0064852 | 0.0016253 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6133-6_0_6_load_15 | 24 | 0.0056228 | 0.0014092 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6133-6_0_6_load_17 | 25 | 0.0046895 | 0.0011753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6133-6_0_6_load_18 | 26 | 0.003989 | 0.00099973 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6133-6_0_6_load_19 | 27 | 0.0025284 | 0.00063369 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6133-6_0_6_load_20 | 28 | 0.0025861 | 0.00064815 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6133-6_0_6_load_21 | 29 | 0.0035584 | 0.00089182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6133-6_0_6_load_22 | 30 | 0.0032024 | 0.00080261 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6133-6_0_6_load_27 | 31 | 0.00087427 | 0.00021911 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6133-6_0_6_load_31 | 33 | 0.0082553 | 0.002069 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6133-6_0_6_load_32 | 34 | 0.0049073 | 0.0012299 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6133-6_0_6_load_58 | 35 | 0.00068251 | 0.00017105 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6133-6_0_6_load_56 | 36 | 0.003727 | 0.00093409 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6133-6_0_6_load_33 | 37 | 0.0055361 | 0.0013875 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6133-6_0_6_load_42 | 40 | 0.0047844 | 0.0011991 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6133-6_0_6_load_39 | 41 | 0.0045067 | 0.0011295 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6133-6_0_6_load_36 | 42 | 0.006325 | 0.0015852 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6133-6_0_6_load_37 | 43 | 0.013872 | 0.0034766 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6133-6_0_6_load_38 | 44 | 0.0044657 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6133-6_0_6_load_40 | 45 | 0.0065838 | 0.0016501 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6133-6_0_6_load_41 | 46 | 0.02129 | 0.0053358 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6133-6_0_6_load_64 | 48 | 0.0024028 | 0.00060219 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6133-6_0_6_load_63 | 49 | 0.0045848 | 0.0011491 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6133-6_0_6_load_65 | 50 | 0.0098469 | 0.0024679 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6133-6_0_6_load_62 | 51 | 0.0046692 | 0.0011702 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6133-6_0_6_load_44 | 52 | 0.0026278 | 0.00065859 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6133-6_0_6_load_45 | 53 | 0.0069273 | 0.0017361 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6133-6_0_6_load_46 | 54 | 0.0048488 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6133-6_0_6_load_47 | 55 | 0.0056968 | 0.0014278 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6133-6_0_6_load_48 | 56 | 0.005881 | 0.0014739 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6133-6_0_6_load_50 | 58 | 0.0046545 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6133-6_0_6_load_51 | 59 | 0.0056459 | 0.001415 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6133-6_0_6_load_74 | 60 | 0.0026671 | 0.00066843 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6133-6_0_6_load_73 | 61 | 0.0078994 | 0.0019798 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6133-6_0_6_load_96 | 62 | 0.0080987 | 0.0020297 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6133-6_0_6_load_72 | 63 | 0.0067629 | 0.0016949 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6133-6_0_6_load_52 | 64 | 0.001914 | 0.0004797 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6133-6_0_6_load_53 | 65 | 0.0010346 | 0.00025928 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6133-6_0_6_load_55 | 67 | 0.0075748 | 0.0018984 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6133-6_0_6_load_59 | 68 | 0.0018202 | 0.00045617 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6133-6_0_6_load_60 | 69 | 0.0015685 | 0.0003931 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6133-6_0_6_load_61 | 70 | 0.0019451 | 0.00048748 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6133-6_0_6_load_66 | 71 | 0.0069177 | 0.0017337 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6133-6_0_6_load_67 | 72 | 0.013009 | 0.0032603 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6133-6_0_6_load_68 | 73 | 0.0057845 | 0.0014497 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6133-6_0_6_load_69 | 74 | 0.00892 | 0.0022356 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6133-6_0_6_load_70 | 75 | 0.0041391 | 0.0010373 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6133-6_0_6_load_99 | 78 | 0.0065579 | 0.0016436 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6133-6_0_6_load_101 | 79 | 0.0099195 | 0.0024861 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6133-6_0_6_load_102 | 80 | 0.002827 | 0.00070851 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6133-6_0_6_load_98 | 81 | 0.0051687 | 0.0012954 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6133-6_0_6_load_97 | 82 | 0.0079155 | 0.0019838 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6133-6_0_6_load_75 | 83 | 0.0081735 | 0.0020485 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6133-6_0_6_load_76 | 84 | 0.004821 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6133-6_0_6_load_77 | 85 | 0.0060153 | 0.0015076 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6133-6_0_6_load_79 | 87 | 0.0029726 | 0.00074499 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6133-6_0_6_load_81 | 88 | 0.0086959 | 0.0021794 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6133-6_0_6_load_82 | 89 | 0.004722 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6133-6_0_6_load_80 | 90 | 0.0028976 | 0.00072621 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6133-6_0_6_load_113 | 92 | 0.0065149 | 0.0016328 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6133-6_0_6_load_93 | 93 | 0.0024786 | 0.0006212 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6133-6_0_6_load_84 | 94 | 0.0055621 | 0.001394 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6133-6_0_6_load_94 | 95 | 0.0023958 | 0.00060045 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6133-6_0_6_load_83 | 96 | 0.007766 | 0.0019463 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6133-6_0_6_load_87 | 98 | 0.006493 | 0.0016273 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6133-6_0_6_load_88 | 99 | 0.0022477 | 0.00056332 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6133-6_0_6_load_89 | 100 | 0.0025613 | 0.00064192 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6133-6_0_6_load_90 | 101 | 0.0022939 | 0.00057489 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6133-6_0_6_load_91 | 102 | 0.0014794 | 0.00037076 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6133-6_0_6_load_92 | 103 | 0.002022 | 0.00050676 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6133-6_0_6_load_109 | 104 | 0.001532 | 0.00038396 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6133-6_0_6_load_108 | 105 | 0.0052945 | 0.0013269 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6133-6_0_6_load_95 | 106 | 0.015035 | 0.003768 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6133-6_0_6_load_110 | 107 | 0.002179 | 0.00054611 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6133-6_0_6_load_106 | 108 | 0.004176 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6133-6_0_6_load_103 | 109 | 0.0037428 | 0.00093803 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6133-6_0_6_load_104 | 110 | 0.0042344 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6133-6_0_6_load_105 | 111 | 0.0046844 | 0.001174 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6133-6_0_6_load_107 | 112 | 0.013268 | 0.0033253 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6133-6_0_6_line_0 |  | 0 | 1 | 0.030408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6133-6_0_6_line_1 |  | 0 | 2 | 0.017671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6133-6_0_6_line_2 |  | 1 | 3 | 0.029461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6133-6_0_6_line_3 |  | 2 | 4 | 0.034374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6133-6_0_6_line_4 |  | 3 | 5 | 0.028083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6133-6_0_6_line_5 |  | 4 | 6 | 0.014268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6133-6_0_6_line_6 |  | 6 | 7 | 0.034607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6133-6_0_6_line_7 |  | 6 | 8 | 0.016251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6133-6_0_6_line_8 |  | 7 | 9 | 0.040072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6133-6_0_6_line_9 |  | 7 | 10 | 0.002215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6133-6_0_6_line_10 |  | 8 | 11 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6133-6_0_6_line_11 |  | 9 | 12 | 0.045963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_6133-6_0_6_line_12 |  | 10 | 13 | 0.018466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6133-6_0_6_line_13 |  | 10 | 14 | 0.016725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6133-6_0_6_line_14 |  | 11 | 15 | 0.0027221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6133-6_0_6_line_15 |  | 12 | 33 | 0.019111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6133-6_0_6_line_16 |  | 12 | 34 | 0.0699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6133-6_0_6_line_17 |  | 13 | 31 | 0.043528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6133-6_0_6_line_18 |  | 16 | 17 | 0.055727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6133-6_0_6_line_19 |  | 16 | 18 | 0.50329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6133-6_0_6_line_20 |  | 17 | 19 | 0.045518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6133-6_0_6_line_21 |  | 18 | 26 | 0.018462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6133-6_0_6_line_22 |  | 18 | 23 | 0.072762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6133-6_0_6_line_23 |  | 19 | 20 | 0.13042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_6133-6_0_6_line_24 |  | 20 | 21 | 0.0080599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6133-6_0_6_line_25 |  | 21 | 101 | 0.015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6133-6_0_6_line_26 |  | 22 | 23 | 0.053866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6133-6_0_6_line_27 |  | 23 | 24 | 0.045971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6133-6_0_6_line_28 |  | 24 | 25 | 0.00038573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6133-6_0_6_line_29 |  | 25 | 27 | 0.014656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6133-6_0_6_line_30 |  | 27 | 28 | 0.0030161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6133-6_0_6_line_31 |  | 28 | 29 | 0.011705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6133-6_0_6_line_32 |  | 29 | 30 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6133-6_0_6_line_33 |  | 31 | 32 | 0.034752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6133-6_0_6_line_34 |  | 32 | 35 | 0.025158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6133-6_0_6_line_35 |  | 32 | 36 | 0.028624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6133-6_0_6_line_36 |  | 33 | 37 | 0.0037581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6133-6_0_6_line_37 |  | 34 | 38 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6133-6_0_6_line_38 |  | 35 | 68 | 0.0060519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6133-6_0_6_line_39 |  | 36 | 67 | 0.025618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6133-6_0_6_line_40 |  | 37 | 39 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6133-6_0_6_line_41 |  | 38 | 40 | 0.033829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6133-6_0_6_line_42 |  | 38 | 41 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6133-6_0_6_line_43 |  | 39 | 42 | 0.010033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6133-6_0_6_line_44 |  | 39 | 43 | 0.017053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6133-6_0_6_line_45 |  | 41 | 44 | 0.027591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6133-6_0_6_line_46 |  | 44 | 45 | 0.023389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6133-6_0_6_line_47 |  | 45 | 46 | 0.026775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6133-6_0_6_line_48 |  | 46 | 47 | 0.014844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6133-6_0_6_line_49 |  | 47 | 48 | 0.012856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6133-6_0_6_line_50 |  | 47 | 49 | 0.028585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6133-6_0_6_line_51 |  | 48 | 50 | 0.0042437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6133-6_0_6_line_52 |  | 49 | 51 | 0.0090199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6133-6_0_6_line_53 |  | 50 | 63 | 0.011801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6133-6_0_6_line_54 |  | 51 | 70 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6133-6_0_6_line_55 |  | 52 | 53 | 0.011341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6133-6_0_6_line_56 |  | 53 | 54 | 0.0057771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6133-6_0_6_line_57 |  | 54 | 55 | 0.0087524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6133-6_0_6_line_58 |  | 55 | 56 | 0.034934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6133-6_0_6_line_59 |  | 56 | 57 | 0.00060278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6133-6_0_6_line_60 |  | 57 | 58 | 0.0093164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6133-6_0_6_line_61 |  | 57 | 59 | 0.008216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6133-6_0_6_line_62 |  | 58 | 60 | 0.017018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6133-6_0_6_line_63 |  | 59 | 61 | 0.013454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6133-6_0_6_line_64 |  | 60 | 62 | 0.010555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6133-6_0_6_line_65 |  | 61 | 63 | 0.018178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6133-6_0_6_line_66 |  | 62 | 82 | 0.0047926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6133-6_0_6_line_67 |  | 64 | 65 | 0.0012382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6133-6_0_6_line_68 |  | 65 | 66 | 0.017945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6133-6_0_6_line_69 |  | 66 | 67 | 0.038254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6133-6_0_6_line_70 |  | 68 | 69 | 0.040705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6133-6_0_6_line_71 |  | 71 | 72 | 0.02317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6133-6_0_6_line_72 |  | 71 | 73 | 0.0066082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6133-6_0_6_line_73 |  | 72 | 74 | 0.0092837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6133-6_0_6_line_74 |  | 74 | 75 | 0.0059293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6133-6_0_6_line_75 |  | 75 | 76 | 0.023716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6133-6_0_6_line_76 |  | 76 | 77 | 0.012248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6133-6_0_6_line_77 |  | 76 | 78 | 0.0021811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_6133-6_0_6_line_78 |  | 77 | 79 | 0.00068183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6133-6_0_6_line_79 |  | 77 | 80 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_6133-6_0_6_line_80 |  | 78 | 81 | 0.0036563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_6133-6_0_6_line_81 |  | 79 | 108 | 0.0064136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6133-6_0_6_line_82 |  | 80 | 109 | 0.003854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_6133-6_0_6_line_83 |  | 81 | 82 | 0.0064351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_6133-6_0_6_line_84 |  | 83 | 84 | 0.018377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6133-6_0_6_line_85 |  | 83 | 85 | 0.0047761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6133-6_0_6_line_86 |  | 84 | 86 | 0.0081042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6133-6_0_6_line_87 |  | 85 | 87 | 0.00031315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6133-6_0_6_line_88 |  | 86 | 88 | 0.01025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6133-6_0_6_line_89 |  | 87 | 89 | 0.022031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6133-6_0_6_line_90 |  | 88 | 92 | 0.010006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6133-6_0_6_line_91 |  | 89 | 93 | 0.0073085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6133-6_0_6_line_92 |  | 90 | 91 | 0.011866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6133-6_0_6_line_93 |  | 91 | 94 | 0.020563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6133-6_0_6_line_94 |  | 93 | 95 | 0.0089067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6133-6_0_6_line_95 |  | 94 | 96 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6133-6_0_6_line_96 |  | 95 | 106 | 0.0013925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6133-6_0_6_line_97 |  | 96 | 97 | 0.01233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6133-6_0_6_line_98 |  | 97 | 98 | 0.0096497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_6133-6_0_6_line_99 |  | 97 | 99 | 0.011781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_6133-6_0_6_line_100 |  | 98 | 100 | 0.0087291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_6133-6_0_6_line_101 |  | 99 | 101 | 0.011713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_6133-6_0_6_line_102 |  | 100 | 102 | 0.0099201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_6133-6_0_6_line_103 |  | 102 | 103 | 0.0018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
104 | LV_6133-6_0_6_line_104 |  | 103 | 104 | 0.0019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_6133-6_0_6_line_105 |  | 104 | 105 | 0.0014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_6133-6_0_6_line_106 |  | 105 | 112 | 0.011148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_6133-6_0_6_line_107 |  | 106 | 107 | 0.0067677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6133-6_0_6_line_108 |  | 107 | 108 | 0.025561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6133-6_0_6_line_109 |  | 109 | 110 | 0.0021419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_6133-6_0_6_line_110 |  | 110 | 111 | 0.00035197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
111 | LV_6133-6_0_6_line_111 |  | 111 | 112 | 0.0016884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6133-6_0_6_trafo_102 | 0.63 MVA 20/0.4 kV | 113 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2574594.482 | 1109270.9825 | 2574568.8262 | 1109254.6596
1 | 2574594.482 | 1109270.9825 | 2574609.3916 | 1109280.4683
2 | 2574568.8262 | 1109254.6596 | 2574543.9698 | 1109238.8453
3 | 2574609.3916 | 1109280.4683 | 2574609.3916 | 1109280.4683 | 2574627.8217 | 1109251.4524
4 | 2574520.2753 | 1109223.7703 | 2574543.9698 | 1109238.8453
5 | 2574635.5347 | 1109239.449 | 2574632.1252 | 1109244.677 | 2574627.8217 | 1109251.4524
6 | 2574654.1616 | 1109210.2562 | 2574643.5441 | 1109227.1759 | 2574635.5347 | 1109239.449
7 | 2574635.5347 | 1109239.449 | 2574621.8212 | 1109230.7291
8 | 2574654.1616 | 1109210.2562 | 2574647.5836 | 1109206.3373 | 2574620.122 | 1109189.1153
9 | 2574654.1616 | 1109210.2562 | 2574655.1376 | 1109210.7857 | 2574656.106 | 1109211.3263
10 | 2574621.8212 | 1109230.7291 | 2574612.1399 | 1109224.5731 | 2574606.9684 | 1109223.9156
11 | 2574581.1826 | 1109164.6952 | 2574620.122 | 1109189.1153
12 | 2574666.0181 | 1109195.7325 | 2574664.2361 | 1109198.3635 | 2574657.5259 | 1109208.9747 | 2574656.106 | 1109211.3263
13 | 2574656.106 | 1109211.3263 | 2574660.119 | 1109213.6329 | 2574670.4586 | 1109219.9115
14 | 2574604.2681 | 1109223.5723 | 2574606.9684 | 1109223.9156
15 | 2574581.1826 | 1109164.6952 | 2574571.6799 | 1109181.2764
16 | 2574581.1826 | 1109164.6952 | 2574521.9442 | 1109127.5895
17 | 2574666.0181 | 1109195.7325 | 2574641.2725 | 1109179.4614 | 2574629.4672 | 1109172.0996
18 | 2574225.7646 | 1109365.09 | 2574196.5371 | 1109376.2092 | 2574193.1233 | 1109376.6907 | 2574189.5888 | 1109376.0721 | 2574188.1133 | 1109374.4109 | 2574182.0931 | 1109360.456
19 | 2574182.0931 | 1109360.456 | 2573865.8275 | 1109751.9578
20 | 2574237.9531 | 1109408.8045 | 2574232.9973 | 1109395.6635 | 2574230.7467 | 1109388.0248 | 2574228.5809 | 1109374.8941 | 2574225.7646 | 1109365.09
21 | 2573865.8275 | 1109751.9578 | 2573869.822 | 1109756.8266 | 2573875.4816 | 1109764.6394 | 2573876.3941 | 1109766.9854
22 | 2573802.622 | 1109726.8468 | 2573804.1199 | 1109724.7726 | 2573814.9146 | 1109733.4191 | 2573824.3438 | 1109737.258 | 2573832.9106 | 1109738.2547 | 2573840.1075 | 1109738.7794 | 2573847.2167 | 1109738.6708 | 2573852.8364 | 1109740.8031 | 2573856.0755 | 1109742.8568 | 2573863.0786 | 1109748.6072 | 2573865.8275 | 1109751.9578
23 | 2574356.3004 | 1109353.9966 | 2574237.9531 | 1109408.8045
24 | 2574356.3004 | 1109353.9966 | 2574363.7233 | 1109350.8561
25 | 2574377.5098 | 1109344.9474 | 2574370.0506 | 1109348.1791 | 2574363.7233 | 1109350.8561
26 | 2573802.622 | 1109726.8468 | 2573786.5348 | 1109709.5634 | 2573779.5997 | 1109699.922 | 2573776.1048 | 1109690.5991 | 2573771.7321 | 1109683.4022
27 | 2573802.622 | 1109726.8468 | 2573823.4473 | 1109747.9339 | 2573829.6164 | 1109753.8102 | 2573833.9473 | 1109756.3594 | 2573836.5586 | 1109757.3381
28 | 2573836.9198 | 1109757.4735 | 2573836.5586 | 1109757.3381
29 | 2573836.9198 | 1109757.4735 | 2573841.8347 | 1109759.3156 | 2573845.3716 | 1109762.3018 | 2573848.2592 | 1109766.1086
30 | 2573850.0459 | 1109768.5363 | 2573849.8095 | 1109768.1522 | 2573848.2592 | 1109766.1086
31 | 2573850.0459 | 1109768.5363 | 2573853.1326 | 1109773.5517 | 2573853.9403 | 1109779.3107
32 | 2573854.8404 | 1109797.6404 | 2573854.7447 | 1109796.056 | 2573853.8768 | 1109786.5883 | 2573854.3526 | 1109782.2508 | 2573853.9403 | 1109779.3107
33 | 2574599.9787 | 1109153.7107 | 2574629.4672 | 1109172.0996
34 | 2574599.9787 | 1109153.7107 | 2574611.1898 | 1109131.1889
35 | 2574599.9787 | 1109153.7107 | 2574575.7127 | 1109138.5279
36 | 2574569.8113 | 1109184.537 | 2574571.6799 | 1109181.2764
37 | 2574510.79 | 1109120.6028 | 2574521.9442 | 1109127.5895
38 | 2574613.8867 | 1109125.7711 | 2574611.1898 | 1109131.1889
39 | 2574553.9952 | 1109124.9396 | 2574575.7127 | 1109138.5279
40 | 2574564.0351 | 1109194.6158 | 2574569.8113 | 1109184.537
41 | 2574510.79 | 1109120.6028 | 2574482.0736 | 1109102.7207
42 | 2574510.79 | 1109120.6028 | 2574506.8081 | 1109125.6999 | 2574498.9349 | 1109134.0917
43 | 2574564.0351 | 1109194.6158 | 2574562.3629 | 1109197.6021 | 2574567.6634 | 1109201.5515
44 | 2574547.1296 | 1109192.0301 | 2574564.0351 | 1109194.6158
45 | 2574480.0569 | 1109154.2134 | 2574498.9349 | 1109134.0917
46 | 2574480.0569 | 1109154.2134 | 2574472.1697 | 1109162.6202 | 2574462.295 | 1109169.1926
47 | 2574439.3531 | 1109182.9912 | 2574447.1959 | 1109178.4337 | 2574460.6556 | 1109170.2838 | 2574462.295 | 1109169.1926
48 | 2574426.5187 | 1109190.4494 | 2574439.3531 | 1109182.9912
49 | 2574426.5187 | 1109190.4494 | 2574415.4479 | 1109196.9843
50 | 2574426.5187 | 1109190.4494 | 2574414.6156 | 1109164.4605
51 | 2574411.7934 | 1109199.1414 | 2574415.4479 | 1109196.9843
52 | 2574414.6156 | 1109164.4605 | 2574411.5024 | 1109157.6631 | 2574410.7568 | 1109156.3117
53 | 2574411.7934 | 1109199.1414 | 2574401.6307 | 1109205.1402
54 | 2574403.3649 | 1109142.9124 | 2574410.7568 | 1109156.3117
55 | 2574326.5612 | 1109179.9708 | 2574326.9478 | 1109180.4553 | 2574334.1244 | 1109188.4207
56 | 2574337.9914 | 1109192.7127 | 2574334.1244 | 1109188.4207
57 | 2574343.85 | 1109199.2151 | 2574337.9914 | 1109192.7127
58 | 2574343.85 | 1109199.2151 | 2574367.2337 | 1109225.1687
59 | 2574367.6371 | 1109225.6165 | 2574367.2337 | 1109225.1687
60 | 2574367.6371 | 1109225.6165 | 2574373.846 | 1109232.5624
61 | 2574367.6371 | 1109225.6165 | 2574370.9847 | 1109222.2451 | 2574374.0132 | 1109220.5617
62 | 2574373.846 | 1109232.5624 | 2574379.9918 | 1109239.4378 | 2574385.5403 | 1109244.9152
63 | 2574385.7726 | 1109214.0254 | 2574374.0132 | 1109220.5617
64 | 2574385.5403 | 1109244.9152 | 2574387.8071 | 1109247.153 | 2574393.0195 | 1109252.3622
65 | 2574385.7726 | 1109214.0254 | 2574399.5825 | 1109206.3492 | 2574401.6307 | 1109205.1402
66 | 2574393.0195 | 1109252.3622 | 2574396.4094 | 1109255.7501
67 | 2574530.4496 | 1109087.6465 | 2574529.8762 | 1109088.744
68 | 2574521.566 | 1109104.6493 | 2574529.8762 | 1109088.744
69 | 2574521.566 | 1109104.6493 | 2574553.9952 | 1109124.9396
70 | 2574613.8867 | 1109125.7711 | 2574632.0261 | 1109089.331
71 | 2574463.5123 | 1109244.4435 | 2574463.0399 | 1109244.3444 | 2574459.5166 | 1109244.5705 | 2574441.1351 | 1109249.9635
72 | 2574463.5123 | 1109244.4435 | 2574465.9484 | 1109244.9546 | 2574469.5808 | 1109246.7958 | 2574469.6155 | 1109246.8269
73 | 2574441.1351 | 1109249.9635 | 2574432.2268 | 1109252.577
74 | 2574426.5374 | 1109254.2463 | 2574432.2268 | 1109252.577
75 | 2574405.1378 | 1109264.3772 | 2574423.8012 | 1109255.049 | 2574426.5374 | 1109254.2463
76 | 2574413.8919 | 1109272.9666 | 2574405.1378 | 1109264.3772
77 | 2574405.1378 | 1109264.3772 | 2574403.5813 | 1109262.8493
78 | 2574414.3656 | 1109273.4571 | 2574413.8919 | 1109272.9666
79 | 2574413.8919 | 1109272.9666 | 2574409.9455 | 1109277.2744 | 2574406.474 | 1109282.4139 | 2574404.4374 | 1109286.5034
80 | 2574400.972 | 1109260.288 | 2574403.5813 | 1109262.8493
81 | 2574418.821 | 1109278.0705 | 2574414.3656 | 1109273.4571
82 | 2574404.4374 | 1109286.5034 | 2574402.7194 | 1109289.9533
83 | 2574400.972 | 1109260.288 | 2574399.7363 | 1109259.0751 | 2574396.4094 | 1109255.7501
84 | 2574453.1075 | 1109346.3128 | 2574453.5292 | 1109347.4254 | 2574458.7469 | 1109358.6534 | 2574460.7562 | 1109363.0191
85 | 2574453.1075 | 1109346.3128 | 2574451.4149 | 1109341.8466
86 | 2574464.1445 | 1109370.381 | 2574460.7562 | 1109363.0191
87 | 2574451.4149 | 1109341.8466 | 2574451.304 | 1109341.5538
88 | 2574464.1445 | 1109370.381 | 2574468.1064 | 1109379.8347
89 | 2574443.5324 | 1109320.9395 | 2574443.8847 | 1109321.9867 | 2574444.5335 | 1109323.707 | 2574445.3775 | 1109325.9157 | 2574451.304 | 1109341.5538
90 | 2574471.9738 | 1109389.0629 | 2574468.1064 | 1109379.8347
91 | 2574443.5324 | 1109320.9395 | 2574441.2013 | 1109314.0127
92 | 2574421.1058 | 1109386.9157 | 2574432.2613 | 1109382.8697
93 | 2574421.1058 | 1109386.9157 | 2574416.6953 | 1109381.9874 | 2574410.8451 | 1109369.324
94 | 2574441.2013 | 1109314.0127 | 2574439.8539 | 1109310.0088 | 2574437.627 | 1109305.8901
95 | 2574403.6358 | 1109349.9066 | 2574403.9038 | 1109350.7147 | 2574408.6225 | 1109364.5128 | 2574410.8451 | 1109369.324
96 | 2574436.9647 | 1109304.6652 | 2574437.627 | 1109305.8901
97 | 2574399.7548 | 1109338.2038 | 2574403.6358 | 1109349.9066
98 | 2574399.7548 | 1109338.2038 | 2574399.0441 | 1109330.9809 | 2574398.8927 | 1109328.5937
99 | 2574399.7548 | 1109338.2038 | 2574390.8326 | 1109339.1754 | 2574388.2576 | 1109340.291
100 | 2574398.8927 | 1109328.5937 | 2574398.4395 | 1109321.4454 | 2574398.4106 | 1109319.8792
101 | 2574388.2576 | 1109340.291 | 2574377.5098 | 1109344.9474
102 | 2574398.5415 | 1109309.9698 | 2574398.2889 | 1109313.2752 | 2574398.4106 | 1109319.8792
103 | 2574398.6801 | 1109308.1549 | 2574398.5415 | 1109309.9698
104 | 2574398.6801 | 1109308.1549 | 2574398.8321 | 1109306.1654
105 | 2574398.944 | 1109304.7002 | 2574398.8321 | 1109306.1654
106 | 2574401.1818 | 1109293.8205 | 2574399.2115 | 1109301.1986 | 2574398.944 | 1109304.7002
107 | 2574436.9647 | 1109304.6652 | 2574433.7459 | 1109298.712
108 | 2574418.821 | 1109278.0705 | 2574420.4357 | 1109279.7424 | 2574427.466 | 1109288.2725 | 2574428.3533 | 1109289.7361 | 2574433.5991 | 1109298.4405 | 2574433.7459 | 1109298.712
109 | 2574401.7647 | 1109291.8705 | 2574402.7194 | 1109289.9533
110 | 2574401.6175 | 1109292.1893 | 2574401.6308 | 1109292.1393 | 2574401.7647 | 1109291.8705
111 | 2574401.1818 | 1109293.8205 | 2574401.6175 | 1109292.1893

## bus_geodata
| x | y | coords
0 | 2574594.482 | 1109270.9825
1 | 2574568.8262 | 1109254.6596
2 | 2574609.3916 | 1109280.4683
3 | 2574543.9698 | 1109238.8453
4 | 2574627.8217 | 1109251.4524
5 | 2574520.2753 | 1109223.7703
6 | 2574635.5347 | 1109239.449
7 | 2574654.1616 | 1109210.2562
8 | 2574621.8212 | 1109230.7291
9 | 2574620.122 | 1109189.1153
10 | 2574656.106 | 1109211.3263
11 | 2574606.9684 | 1109223.9156
12 | 2574581.1826 | 1109164.6952
13 | 2574666.0181 | 1109195.7325
14 | 2574670.4586 | 1109219.9115
15 | 2574604.2681 | 1109223.5723
16 | 2574182.0931 | 1109360.456
17 | 2574225.7646 | 1109365.09
18 | 2573865.8275 | 1109751.9578
19 | 2574237.9531 | 1109408.8045
20 | 2574356.3004 | 1109353.9966
21 | 2574363.7233 | 1109350.8561
22 | 2573771.7321 | 1109683.4022
23 | 2573802.622 | 1109726.8468
24 | 2573836.5586 | 1109757.3381
25 | 2573836.9198 | 1109757.4735
26 | 2573876.3941 | 1109766.9854
27 | 2573848.2592 | 1109766.1086
28 | 2573850.0459 | 1109768.5363
29 | 2573853.9403 | 1109779.3107
30 | 2573854.8404 | 1109797.6404
31 | 2574629.4672 | 1109172.0996
32 | 2574599.9787 | 1109153.7107
33 | 2574571.6799 | 1109181.2764
34 | 2574521.9442 | 1109127.5895
35 | 2574611.1898 | 1109131.1889
36 | 2574575.7127 | 1109138.5279
37 | 2574569.8113 | 1109184.537
38 | 2574510.79 | 1109120.6028
39 | 2574564.0351 | 1109194.6158
40 | 2574482.0736 | 1109102.7207
41 | 2574498.9349 | 1109134.0917
42 | 2574567.6634 | 1109201.5515
43 | 2574547.1296 | 1109192.0301
44 | 2574480.0569 | 1109154.2134
45 | 2574462.295 | 1109169.1926
46 | 2574439.3531 | 1109182.9912
47 | 2574426.5187 | 1109190.4494
48 | 2574415.4479 | 1109196.9843
49 | 2574414.6156 | 1109164.4605
50 | 2574411.7934 | 1109199.1414
51 | 2574410.7568 | 1109156.3117
52 | 2574326.5612 | 1109179.9708
53 | 2574334.1244 | 1109188.4207
54 | 2574337.9914 | 1109192.7127
55 | 2574343.85 | 1109199.2151
56 | 2574367.2337 | 1109225.1687
57 | 2574367.6371 | 1109225.6165
58 | 2574373.846 | 1109232.5624
59 | 2574374.0132 | 1109220.5617
60 | 2574385.5403 | 1109244.9152
61 | 2574385.7726 | 1109214.0254
62 | 2574393.0195 | 1109252.3622
63 | 2574401.6307 | 1109205.1402
64 | 2574530.4496 | 1109087.6465
65 | 2574529.8762 | 1109088.744
66 | 2574521.566 | 1109104.6493
67 | 2574553.9952 | 1109124.9396
68 | 2574613.8867 | 1109125.7711
69 | 2574632.0261 | 1109089.331
70 | 2574403.3649 | 1109142.9124
71 | 2574463.5123 | 1109244.4435
72 | 2574441.1351 | 1109249.9635
73 | 2574469.6155 | 1109246.8269
74 | 2574432.2268 | 1109252.577
75 | 2574426.5374 | 1109254.2463
76 | 2574405.1378 | 1109264.3772
77 | 2574413.8919 | 1109272.9666
78 | 2574403.5813 | 1109262.8493
79 | 2574414.3656 | 1109273.4571
80 | 2574404.4374 | 1109286.5034
81 | 2574400.972 | 1109260.288
82 | 2574396.4094 | 1109255.7501
83 | 2574453.1075 | 1109346.3128
84 | 2574460.7562 | 1109363.0191
85 | 2574451.4149 | 1109341.8466
86 | 2574464.1445 | 1109370.381
87 | 2574451.304 | 1109341.5538
88 | 2574468.1064 | 1109379.8347
89 | 2574443.5324 | 1109320.9395
90 | 2574432.2613 | 1109382.8697
91 | 2574421.1058 | 1109386.9157
92 | 2574471.9738 | 1109389.0629
93 | 2574441.2013 | 1109314.0127
94 | 2574410.8451 | 1109369.324
95 | 2574437.627 | 1109305.8901
96 | 2574403.6358 | 1109349.9066
97 | 2574399.7548 | 1109338.2038
98 | 2574398.8927 | 1109328.5937
99 | 2574388.2576 | 1109340.291
100 | 2574398.4106 | 1109319.8792
101 | 2574377.5098 | 1109344.9474
102 | 2574398.5415 | 1109309.9698
103 | 2574398.6801 | 1109308.1549
104 | 2574398.8321 | 1109306.1654
105 | 2574398.944 | 1109304.7002
106 | 2574436.9647 | 1109304.6652
107 | 2574433.7459 | 1109298.712
108 | 2574418.821 | 1109278.0705
109 | 2574402.7194 | 1109289.9533
110 | 2574401.7647 | 1109291.8705
111 | 2574401.6175 | 1109292.1893
112 | 2574401.1818 | 1109293.8205
113 | 2574413.8919 | 1109272.9666

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1