## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6134-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6134-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6134-2_0_6_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_6134-2_0_6_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_6134-2_0_6_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_6134-2_0_6_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_6134-2_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6134-2_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6134-2_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6134-2_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6134-2_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6134-2_0_6_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6134-2_0_6_node_80 | 0.4 | n |  | TRUE
13 | bus_LV_6134-2_0_6_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_6134-2_0_6_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_6134-2_0_6_node_69 | 0.4 | n |  | TRUE
16 | bus_LV_6134-2_0_6_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_6134-2_0_6_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_6134-2_0_6_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_6134-2_0_6_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6134-2_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6134-2_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6134-2_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6134-2_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6134-2_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6134-2_0_6_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_6134-2_0_6_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_6134-2_0_6_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_6134-2_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6134-2_0_6_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_6134-2_0_6_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_6134-2_0_6_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6134-2_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6134-2_0_6_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6134-2_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6134-2_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6134-2_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6134-2_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6134-2_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6134-2_0_6_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_6134-2_0_6_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_6134-2_0_6_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_6134-2_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_6134-2_0_6_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_6134-2_0_6_node_79 | 0.4 | n |  | TRUE
45 | bus_LV_6134-2_0_6_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_6134-2_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6134-2_0_6_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_6134-2_0_6_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_6134-2_0_6_node_52 | 0.4 | n |  | TRUE
50 | bus_LV_6134-2_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6134-2_0_6_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_6134-2_0_6_node_65 | 0.4 | n |  | TRUE
53 | bus_LV_6134-2_0_6_node_66 | 0.4 | n |  | TRUE
54 | bus_LV_6134-2_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6134-2_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6134-2_0_6_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6134-2_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6134-2_0_6_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_6134-2_0_6_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_6134-2_0_6_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_6134-2_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6134-2_0_6_node_63 | 0.4 | n |  | TRUE
63 | bus_LV_6134-2_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6134-2_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6134-2_0_6_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_6134-2_0_6_node_71 | 0.4 | n |  | TRUE
67 | bus_LV_6134-2_0_6_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_6134-2_0_6_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6134-2_0_6_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6134-2_0_6_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_6134-2_0_6_node_76 | 0.4 | n |  | TRUE
72 | bus_LV_6134-2_0_6_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_6134-2_0_6_node_77 | 0.4 | n |  | TRUE
74 | bus_LV_6134-2_0_6_node_78 | 0.4 | n |  | TRUE
75 | bus_MV_103_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6134-2_0_6_load_0 | 0 | 0.002602 | 0.00065211 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6134-2_0_6_load_1 | 1 | 0.0033848 | 0.00084832 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6134-2_0_6_load_29 | 2 | 0.0049303 | 0.0012357 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6134-2_0_6_load_31 | 3 | 0.0046201 | 0.0011579 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6134-2_0_6_load_28 | 4 | 0.0040658 | 0.001019 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6134-2_0_6_load_4 | 6 | 0.0081261 | 0.0020366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6134-2_0_6_load_5 | 7 | 0.0097001 | 0.0024311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6134-2_0_6_load_7 | 9 | 0.0098116 | 0.002459 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6134-2_0_6_load_9 | 11 | 0.0039269 | 0.00098417 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6134-2_0_6_load_80 | 12 | 0.0067459 | 0.0016907 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6134-2_0_6_load_40 | 14 | 0.010068 | 0.0025233 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6134-2_0_6_load_69 | 15 | 0.0026523 | 0.00066474 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6134-2_0_6_load_46 | 16 | 0.0087178 | 0.0021849 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6134-2_0_6_load_43 | 17 | 0.019446 | 0.0048737 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6134-2_0_6_load_70 | 18 | 0.0028276 | 0.00070867 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6134-2_0_6_load_12 | 19 | 0.0024247 | 0.00060768 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6134-2_0_6_load_13 | 20 | 0.0024706 | 0.00061918 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6134-2_0_6_load_15 | 22 | 0.0082223 | 0.0020607 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6134-2_0_6_load_74 | 25 | 0.023757 | 0.0059542 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6134-2_0_6_load_19 | 26 | 0.0037803 | 0.00094742 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6134-2_0_6_load_20 | 27 | 0.007307 | 0.0018313 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6134-2_0_6_load_18 | 28 | 0.004046 | 0.001014 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6134-2_0_6_load_54 | 29 | 0.01585 | 0.0039724 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6134-2_0_6_load_22 | 30 | 0.0044125 | 0.0011059 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6134-2_0_6_load_35 | 31 | 0.0026608 | 0.00066685 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6134-2_0_6_load_23 | 32 | 0.0055974 | 0.0014028 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6134-2_0_6_load_33 | 33 | 0.010458 | 0.0026211 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6134-2_0_6_load_24 | 34 | 0.0046868 | 0.0011746 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6134-2_0_6_load_26 | 36 | 0.0045685 | 0.001145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6134-2_0_6_load_27 | 37 | 0.0086659 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6134-2_0_6_load_32 | 38 | 0.007703 | 0.0019306 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6134-2_0_6_load_34 | 39 | 0.0085832 | 0.0021511 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6134-2_0_6_load_36 | 40 | 0.015068 | 0.0037765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6134-2_0_6_load_37 | 41 | 0.0085558 | 0.0021443 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6134-2_0_6_load_38 | 42 | 0.0064912 | 0.0016268 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6134-2_0_6_load_79 | 44 | 0.0059285 | 0.0014858 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6134-2_0_6_load_49 | 45 | 0.006489 | 0.0016263 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6134-2_0_6_load_44 | 46 | 0.0058433 | 0.0014645 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6134-2_0_6_load_48 | 47 | 0.0081061 | 0.0020316 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6134-2_0_6_load_47 | 48 | 0.021353 | 0.0053514 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6134-2_0_6_load_50 | 50 | 0.02103 | 0.0052707 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6134-2_0_6_load_45 | 51 | 0.005445 | 0.0013646 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6134-2_0_6_load_65 | 52 | 0.0076438 | 0.0019157 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6134-2_0_6_load_51 | 54 | 0.013871 | 0.0034763 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6134-2_0_6_load_53 | 55 | 0.010472 | 0.0026245 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6134-2_0_6_load_55 | 56 | 0.010997 | 0.0027561 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6134-2_0_6_load_56 | 57 | 0.0068968 | 0.0017285 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6134-2_0_6_load_57 | 58 | 0.0081602 | 0.0020451 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6134-2_0_6_load_58 | 59 | 0.0089217 | 0.002236 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6134-2_0_6_load_59 | 60 | 0.009801 | 0.0024564 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6134-2_0_6_load_60 | 61 | 0.0059766 | 0.0014979 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6134-2_0_6_load_63 | 62 | 0.0097083 | 0.0024331 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6134-2_0_6_load_61 | 63 | 0.010034 | 0.0025147 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6134-2_0_6_load_62 | 64 | 0.008292 | 0.0020782 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6134-2_0_6_load_64 | 65 | 0.0035322 | 0.00088524 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6134-2_0_6_load_71 | 66 | 0.010699 | 0.0026814 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6134-2_0_6_load_72 | 67 | 0.0043458 | 0.0010892 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6134-2_0_6_load_67 | 68 | 0.011809 | 0.0029596 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6134-2_0_6_load_68 | 69 | 0.0081613 | 0.0020454 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6134-2_0_6_load_73 | 70 | 0.010345 | 0.0025927 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6134-2_0_6_load_76 | 71 | 0.0044023 | 0.0011033 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6134-2_0_6_load_75 | 72 | 0.0017051 | 0.00042733 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6134-2_0_6_load_77 | 73 | 0.0043568 | 0.0010919 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6134-2_0_6_load_78 | 74 | 0.0039123 | 0.00098051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 63 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6134-2_0_6_line_0 |  | 0 | 1 | 0.080948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6134-2_0_6_line_1 |  | 1 | 2 | 0.067716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6134-2_0_6_line_2 |  | 2 | 5 | 0.026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6134-2_0_6_line_3 |  | 3 | 4 | 0.030149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6134-2_0_6_line_4 |  | 3 | 5 | 0.011371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6134-2_0_6_line_5 |  | 4 | 37 | 0.0014065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6134-2_0_6_line_6 |  | 5 | 38 | 0.032571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6134-2_0_6_line_7 |  | 6 | 7 | 0.016165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6134-2_0_6_line_8 |  | 6 | 8 | 0.020809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6134-2_0_6_line_9 |  | 7 | 9 | 0.021398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6134-2_0_6_line_10 |  | 8 | 10 | 0.049152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6134-2_0_6_line_11 |  | 8 | 11 | 0.053963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6134-2_0_6_line_12 |  | 9 | 12 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6134-2_0_6_line_13 |  | 10 | 13 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6134-2_0_6_line_14 |  | 10 | 14 | 0.015957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6134-2_0_6_line_15 |  | 11 | 15 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6134-2_0_6_line_16 |  | 13 | 16 | 0.0087988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6134-2_0_6_line_17 |  | 13 | 17 | 0.021747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6134-2_0_6_line_18 |  | 15 | 18 | 0.0053627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6134-2_0_6_line_19 |  | 16 | 45 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6134-2_0_6_line_20 |  | 17 | 46 | 0.014741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6134-2_0_6_line_21 |  | 19 | 20 | 0.0089048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6134-2_0_6_line_22 |  | 19 | 21 | 0.038645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6134-2_0_6_line_23 |  | 20 | 22 | 0.0039051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6134-2_0_6_line_24 |  | 21 | 23 | 0.045827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6134-2_0_6_line_25 |  | 22 | 24 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6134-2_0_6_line_26 |  | 23 | 25 | 0.095287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6134-2_0_6_line_27 |  | 24 | 26 | 0.013861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6134-2_0_6_line_28 |  | 24 | 27 | 0.006655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6134-2_0_6_line_29 |  | 24 | 28 | 0.032624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6134-2_0_6_line_30 |  | 25 | 29 | 0.0034652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6134-2_0_6_line_31 |  | 26 | 30 | 0.019491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6134-2_0_6_line_32 |  | 27 | 31 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6134-2_0_6_line_33 |  | 29 | 49 | 0.021595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6134-2_0_6_line_34 |  | 30 | 32 | 0.0075523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6134-2_0_6_line_35 |  | 31 | 33 | 0.030044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6134-2_0_6_line_36 |  | 32 | 34 | 0.0051581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6134-2_0_6_line_37 |  | 33 | 39 | 0.050969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6134-2_0_6_line_38 |  | 34 | 35 | 0.003516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6134-2_0_6_line_39 |  | 35 | 36 | 0.007676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6134-2_0_6_line_40 |  | 36 | 37 | 0.015456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6134-2_0_6_line_41 |  | 39 | 40 | 0.019824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6134-2_0_6_line_42 |  | 40 | 41 | 0.0024634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6134-2_0_6_line_43 |  | 41 | 42 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6134-2_0_6_line_44 |  | 42 | 43 | 0.037385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6134-2_0_6_line_45 |  | 43 | 44 | 0.031514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6134-2_0_6_line_46 |  | 45 | 48 | 0.0048769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6134-2_0_6_line_47 |  | 46 | 51 | 0.0088393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6134-2_0_6_line_48 |  | 47 | 48 | 0.0054766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6134-2_0_6_line_49 |  | 49 | 50 | 0.025237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6134-2_0_6_line_50 |  | 50 | 54 | 0.0092354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6134-2_0_6_line_51 |  | 51 | 52 | 0.027952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6134-2_0_6_line_52 |  | 52 | 53 | 0.010877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6134-2_0_6_line_53 |  | 53 | 68 | 0.0079672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6134-2_0_6_line_54 |  | 53 | 69 | 0.0097546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6134-2_0_6_line_55 |  | 54 | 55 | 0.0038031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6134-2_0_6_line_56 |  | 55 | 56 | 0.0051611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6134-2_0_6_line_57 |  | 56 | 57 | 0.0045548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6134-2_0_6_line_58 |  | 57 | 58 | 0.0030683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6134-2_0_6_line_59 |  | 58 | 59 | 0.010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6134-2_0_6_line_60 |  | 59 | 60 | 0.00040963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6134-2_0_6_line_61 |  | 60 | 61 | 0.005258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6134-2_0_6_line_62 |  | 61 | 62 | 0.0089966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6134-2_0_6_line_63 |  | 62 | 63 | 0.0052071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6134-2_0_6_line_64 |  | 63 | 64 | 0.010338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6134-2_0_6_line_65 |  | 64 | 65 | 0.0025518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6134-2_0_6_line_66 |  | 65 | 66 | 0.010242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6134-2_0_6_line_67 |  | 66 | 67 | 0.0056473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6134-2_0_6_line_68 |  | 67 | 70 | 0.0067372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6134-2_0_6_line_69 |  | 68 | 70 | 0.015858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6134-2_0_6_line_70 |  | 69 | 71 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6134-2_0_6_line_71 |  | 71 | 72 | 0.0038254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6134-2_0_6_line_72 |  | 72 | 73 | 0.013059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6134-2_0_6_line_73 |  | 73 | 74 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6134-2_0_6_trafo_61 | 0.63 MVA 20/0.4 kV | 75 | 63 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2585277.5845 | 1112309.8376 | 2585277.5845 | 1112309.8376 | 2585278.0967 | 1112307.6575 | 2585276.9461 | 1112304.6588 | 2585276.8273 | 1112300.3014 | 2585278.0719 | 1112297.497 | 2585281.392 | 1112293.7537 | 2585281.7891 | 1112285.5709 | 2585280.1075 | 1112280.1834 | 2585279.4703 | 1112272.3033 | 2585277.0617 | 1112266.6063 | 2585276.2196 | 1112263.3957 | 2585276.7301 | 1112260.493 | 2585276.723 | 1112257.5916 | 2585275.9865 | 1112253.3357 | 2585275.9776 | 1112249.7117 | 2585277.8425 | 1112244.7269 | 2585278.6521 | 1112237.777 | 2585280.516 | 1112232.3809
1 | 2585213.533 | 1112222.4469 | 2585280.516 | 1112232.3809
2 | 2585199.918 | 1112245.1179 | 2585205.5833 | 1112236.9888 | 2585213.533 | 1112222.4469
3 | 2585171.6256 | 1112275.2755 | 2585181.5477 | 1112266.607 | 2585192.8432 | 1112254.9512 | 2585193.2771 | 1112254.3482
4 | 2585199.918 | 1112245.1179 | 2585193.2771 | 1112254.3482
5 | 2585171.6256 | 1112275.2755 | 2585170.5665 | 1112276.2008
6 | 2585199.918 | 1112245.1179 | 2585197.881 | 1112242.8996 | 2585197.4825 | 1112241.0552 | 2585198.2177 | 1112238.4743 | 2585199.939 | 1112231.6556 | 2585201.2115 | 1112224.5489 | 2585201.8939 | 1112219.3225 | 2585202.4092 | 1112213.881
7 | 2585035.2788 | 1112243.1515 | 2585033.9939 | 1112245.0385 | 2585027.6638 | 1112252.8914 | 2585025.1594 | 1112255.7432
8 | 2585046.297 | 1112225.5094 | 2585042.8122 | 1112231.332 | 2585040.9433 | 1112234.605 | 2585038.5887 | 1112238.2904 | 2585035.2788 | 1112243.1515
9 | 2585025.1594 | 1112255.7432 | 2585018.0661 | 1112263.8207 | 2585012.4929 | 1112272.8932
10 | 2585046.297 | 1112225.5094 | 2585044.0694 | 1112233.6523 | 2585041.0183 | 1112239.9519 | 2585033.5398 | 1112251.9542 | 2585030.5644 | 1112257.5754 | 2585029.0156 | 1112262.2149 | 2585028.9354 | 1112267.2732 | 2585029.6231 | 1112270.4731
11 | 2585046.297 | 1112225.5094 | 2585047.6468 | 1112221.5819 | 2585052.2477 | 1112211.043 | 2585056.7848 | 1112196.5579 | 2585057.5709 | 1112189.597 | 2585057.2865 | 1112183.9615 | 2585055.9242 | 1112173.5668
12 | 2585012.4929 | 1112272.8932 | 2584993.3837 | 1112281.4575
13 | 2585039.5521 | 1112271.649 | 2585033.2663 | 1112272.4317 | 2585029.6231 | 1112270.4731
14 | 2585029.6231 | 1112270.4731 | 2585027.107 | 1112274.4035 | 2585022.793 | 1112279.1277 | 2585021.0066 | 1112283.6827
15 | 2585055.9242 | 1112173.5668 | 2585054.6882 | 1112164.1359 | 2585054.7203 | 1112159.1124
16 | 2585039.5521 | 1112271.649 | 2585036.5001 | 1112279.9015
17 | 2585039.5521 | 1112271.649 | 2585042.846 | 1112266.7273 | 2585049.0457 | 1112259.2638 | 2585051.9429 | 1112253.8703
18 | 2585054.7203 | 1112159.1124 | 2585054.7546 | 1112153.7499
19 | 2585031.7829 | 1112292.6566 | 2585036.5001 | 1112279.9015
20 | 2585051.9429 | 1112253.8703 | 2585058.9187 | 1112240.8839
21 | 2585096.9313 | 1112348.0092 | 2585098.9477 | 1112344.1379 | 2585101.707 | 1112340.5329
22 | 2585076.7129 | 1112380.0551 | 2585081.9223 | 1112375.062 | 2585086.4148 | 1112370.7043 | 2585089.648 | 1112366.2274 | 2585091.596 | 1112360.542 | 2585095.0576 | 1112351.6068 | 2585096.9313 | 1112348.0092
23 | 2585104.1394 | 1112337.4792 | 2585103.0823 | 1112338.7361 | 2585101.707 | 1112340.5329
24 | 2585076.7129 | 1112380.0551 | 2585066.6117 | 1112402.7803 | 2585064.9935 | 1112410.5993 | 2585064.864 | 1112414.446 | 2585065.1645 | 1112417.2799 | 2585064.4452 | 1112420.0053 | 2585062.7179 | 1112421.2213 | 2585061.4056 | 1112421.558
25 | 2585115.8218 | 1112323.8195 | 2585110.6147 | 1112329.7797 | 2585104.1394 | 1112337.4792
26 | 2585061.4056 | 1112421.558 | 2585060.8112 | 1112421.704 | 2585059.1352 | 1112421.786 | 2585057.4029 | 1112420.9343 | 2585056.512 | 1112419.9027 | 2585055.7284 | 1112418.4928 | 2585054.0393 | 1112413.2944 | 2585049.5155 | 1112380.1225 | 2585047.8136 | 1112369.7661 | 2585048.134 | 1112365.0518 | 2585049.5108 | 1112359.5568 | 2585054.3197 | 1112348.8173 | 2585059.1286 | 1112338.0779 | 2585059.2327 | 1112333.353 | 2585059.2327 | 1112333.353
27 | 2585115.8218 | 1112323.8195 | 2585125.5407 | 1112313.9365
28 | 2585115.8218 | 1112323.8195 | 2585114.1422 | 1112322.4785 | 2585113.6121 | 1112320.4899 | 2585114.4097 | 1112318.1757
29 | 2585115.8218 | 1112323.8195 | 2585117.2408 | 1112326.0504 | 2585117.5713 | 1112328.5064 | 2585115.1745 | 1112340.1069 | 2585112.4655 | 1112355.527
30 | 2585058.8611 | 1112329.9078 | 2585059.2327 | 1112333.353
31 | 2585139.6363 | 1112300.5232 | 2585135.9091 | 1112303.3931 | 2585125.5407 | 1112313.9365
32 | 2585125.1607 | 1112305.3969 | 2585123.5554 | 1112308.7485 | 2585117.7785 | 1112315.4327 | 2585114.4097 | 1112318.1757 | 2585114.4097 | 1112318.1757
33 | 2585041.6906 | 1112336.5203 | 2585052.9242 | 1112328.0772 | 2585055.4087 | 1112326.9593 | 2585057.4419 | 1112327.6435 | 2585058.8611 | 1112329.9078
34 | 2585139.6363 | 1112300.5232 | 2585145.6202 | 1112295.9157
35 | 2585139.5654 | 1112279.0789 | 2585139.0337 | 1112279.9182 | 2585131.4401 | 1112292.2875 | 2585125.1607 | 1112305.3969
36 | 2585149.7072 | 1112292.7688 | 2585145.6202 | 1112295.9157
37 | 2585139.5654 | 1112279.0789 | 2585144.0275 | 1112272.0353 | 2585147.3864 | 1112265.257 | 2585150.3247 | 1112257.0346 | 2585153.5136 | 1112237.6838 | 2585154.4772 | 1112231.0309
38 | 2585152.493 | 1112290.6237 | 2585149.7072 | 1112292.7688
39 | 2585152.493 | 1112290.6237 | 2585158.5763 | 1112285.9424
40 | 2585158.5763 | 1112285.9424 | 2585165.623 | 1112280.5197 | 2585170.5665 | 1112276.2008
41 | 2585154.4772 | 1112231.0309 | 2585157.3191 | 1112211.4113
42 | 2585157.6723 | 1112208.9733 | 2585157.3191 | 1112211.4113
43 | 2585157.6723 | 1112208.9733 | 2585160.4884 | 1112189.5314
44 | 2585168.9711 | 1112153.2039 | 2585164.5326 | 1112167.0328 | 2585160.904 | 1112186.6626 | 2585160.4884 | 1112189.5314
45 | 2585168.9711 | 1112153.2039 | 2585167.1785 | 1112152.986 | 2585165.6195 | 1112153.579 | 2585163.5246 | 1112156.0965 | 2585158.4094 | 1112164.9135 | 2585153.7933 | 1112178.7539
46 | 2585030.0913 | 1112297.2307 | 2585031.7829 | 1112292.6566
47 | 2585058.9187 | 1112240.8839 | 2585059.6413 | 1112239.5388 | 2585062.381 | 1112235.43 | 2585063.7754 | 1112233.5087
48 | 2585030.0913 | 1112297.2307 | 2585028.1916 | 1112302.3672
49 | 2585041.6906 | 1112336.5203 | 2585046.324 | 1112317.3215 | 2585047.7953 | 1112312.0351
50 | 2585047.7953 | 1112312.0351 | 2585050.2715 | 1112303.1379
51 | 2585085.4725 | 1112216.2594 | 2585083.6972 | 1112218.3132 | 2585079.789 | 1112221.6356 | 2585074.3664 | 1112224.7839 | 2585065.4604 | 1112231.1869 | 2585063.7754 | 1112233.5087
52 | 2585092.5859 | 1112208.0306 | 2585085.4725 | 1112216.2594
53 | 2585092.5859 | 1112208.0306 | 2585093.8705 | 1112208.9612 | 2585093.7358 | 1112210.6957 | 2585092.5517 | 1112212.9442 | 2585091.2212 | 1112214.5689
54 | 2585092.5859 | 1112208.0306 | 2585094.886 | 1112204.1452 | 2585096.4016 | 1112199.1297
55 | 2585051.3462 | 1112299.4908 | 2585050.9866 | 1112300.5683 | 2585050.2715 | 1112303.1379
56 | 2585052.9799 | 1112294.5951 | 2585051.3462 | 1112299.4908
57 | 2585052.9799 | 1112294.5951 | 2585054.4217 | 1112290.2746
58 | 2585055.393 | 1112287.3641 | 2585054.4217 | 1112290.2746
59 | 2585058.8047 | 1112277.6304 | 2585057.9258 | 1112279.7741 | 2585055.393 | 1112287.3641
60 | 2585058.8047 | 1112277.6304 | 2585058.9601 | 1112277.2514
61 | 2585060.9548 | 1112272.3864 | 2585058.9601 | 1112277.2514
62 | 2585060.9548 | 1112272.3864 | 2585064.3678 | 1112264.0624
63 | 2585066.3432 | 1112259.2445 | 2585064.3678 | 1112264.0624
64 | 2585066.3432 | 1112259.2445 | 2585067.4159 | 1112256.628 | 2585070.4222 | 1112249.7462
65 | 2585070.4222 | 1112249.7462 | 2585071.4437 | 1112247.4078
66 | 2585071.4437 | 1112247.4078 | 2585073.1767 | 1112243.4406 | 2585076.0874 | 1112238.2944
67 | 2585078.8676 | 1112233.3788 | 2585076.0874 | 1112238.2944
68 | 2585078.8676 | 1112233.3788 | 2585082.1844 | 1112227.5146
69 | 2585082.1844 | 1112227.5146 | 2585086.059 | 1112220.6641 | 2585090.0796 | 1112215.9629 | 2585091.2212 | 1112214.5689
70 | 2585096.4016 | 1112199.1297 | 2585096.8628 | 1112197.6037 | 2585098.7844 | 1112190.6288 | 2585099.2657 | 1112188.6699
71 | 2585100.1784 | 1112184.9549 | 2585099.2657 | 1112188.6699
72 | 2585100.1784 | 1112184.9549 | 2585100.7575 | 1112182.5977 | 2585104.2593 | 1112174.2405 | 2585104.7853 | 1112172.7604
73 | 2585104.7853 | 1112172.7604 | 2585107.9646 | 1112163.8151 | 2585108.4453 | 1112162.0552

## bus_geodata
| x | y | coords
0 | 2585277.5845 | 1112309.8376
1 | 2585280.516 | 1112232.3809
2 | 2585213.533 | 1112222.4469
3 | 2585193.2771 | 1112254.3482
4 | 2585171.6256 | 1112275.2755
5 | 2585199.918 | 1112245.1179
6 | 2585035.2788 | 1112243.1515
7 | 2585025.1594 | 1112255.7432
8 | 2585046.297 | 1112225.5094
9 | 2585012.4929 | 1112272.8932
10 | 2585029.6231 | 1112270.4731
11 | 2585055.9242 | 1112173.5668
12 | 2584993.3837 | 1112281.4575
13 | 2585039.5521 | 1112271.649
14 | 2585021.0066 | 1112283.6827
15 | 2585054.7203 | 1112159.1124
16 | 2585036.5001 | 1112279.9015
17 | 2585051.9429 | 1112253.8703
18 | 2585054.7546 | 1112153.7499
19 | 2585096.9313 | 1112348.0092
20 | 2585101.707 | 1112340.5329
21 | 2585076.7129 | 1112380.0551
22 | 2585104.1394 | 1112337.4792
23 | 2585061.4056 | 1112421.558
24 | 2585115.8218 | 1112323.8195
25 | 2585059.2327 | 1112333.353
26 | 2585125.5407 | 1112313.9365
27 | 2585114.4097 | 1112318.1757
28 | 2585112.4655 | 1112355.527
29 | 2585058.8611 | 1112329.9078
30 | 2585139.6363 | 1112300.5232
31 | 2585125.1607 | 1112305.3969
32 | 2585145.6202 | 1112295.9157
33 | 2585139.5654 | 1112279.0789
34 | 2585149.7072 | 1112292.7688
35 | 2585152.493 | 1112290.6237
36 | 2585158.5763 | 1112285.9424
37 | 2585170.5665 | 1112276.2008
38 | 2585202.4092 | 1112213.881
39 | 2585154.4772 | 1112231.0309
40 | 2585157.3191 | 1112211.4113
41 | 2585157.6723 | 1112208.9733
42 | 2585160.4884 | 1112189.5314
43 | 2585168.9711 | 1112153.2039
44 | 2585153.7933 | 1112178.7539
45 | 2585031.7829 | 1112292.6566
46 | 2585058.9187 | 1112240.8839
47 | 2585028.1916 | 1112302.3672
48 | 2585030.0913 | 1112297.2307
49 | 2585041.6906 | 1112336.5203
50 | 2585047.7953 | 1112312.0351
51 | 2585063.7754 | 1112233.5087
52 | 2585085.4725 | 1112216.2594
53 | 2585092.5859 | 1112208.0306
54 | 2585050.2715 | 1112303.1379
55 | 2585051.3462 | 1112299.4908
56 | 2585052.9799 | 1112294.5951
57 | 2585054.4217 | 1112290.2746
58 | 2585055.393 | 1112287.3641
59 | 2585058.8047 | 1112277.6304
60 | 2585058.9601 | 1112277.2514
61 | 2585060.9548 | 1112272.3864
62 | 2585064.3678 | 1112264.0624
63 | 2585066.3432 | 1112259.2445
64 | 2585070.4222 | 1112249.7462
65 | 2585071.4437 | 1112247.4078
66 | 2585076.0874 | 1112238.2944
67 | 2585078.8676 | 1112233.3788
68 | 2585091.2212 | 1112214.5689
69 | 2585096.4016 | 1112199.1297
70 | 2585082.1844 | 1112227.5146
71 | 2585099.2657 | 1112188.6699
72 | 2585100.1784 | 1112184.9549
73 | 2585104.7853 | 1112172.7604
74 | 2585108.4453 | 1112162.0552
75 | 2585092.5859 | 1112208.0306

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1