## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6139-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6139-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6139-23_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6139-23_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_6139-23_0_4_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_6139-23_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6139-23_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_6139-23_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6139-23_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6139-23_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6139-23_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6139-23_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_6139-23_0_4_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_6139-23_0_4_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_6139-23_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6139-23_0_4_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_6139-23_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_6139-23_0_4_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_6139-23_0_4_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_6139-23_0_4_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_6139-23_0_4_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_6139-23_0_4_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_6139-23_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_6139-23_0_4_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_6139-23_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_6139-23_0_4_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6139-23_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6139-23_0_4_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6139-23_0_4_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6139-23_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_6139-23_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_6139-23_0_4_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_6139-23_0_4_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_6139-23_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_6139-23_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_6139-23_0_4_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6139-23_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6139-23_0_4_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6139-23_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_6139-23_0_4_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_6139-23_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_6139-23_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6139-23_0_4_node_58 | 0.4 | n |  | TRUE
43 | bus_LV_6139-23_0_4_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_6139-23_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_6139-23_0_4_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_6139-23_0_4_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_6139-23_0_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_6139-23_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_6139-23_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6139-23_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_6139-23_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_6139-23_0_4_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_6139-23_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6139-23_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_6139-23_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6139-23_0_4_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_6139-23_0_4_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_6139-23_0_4_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_6139-23_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_MV_103_1_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6139-23_0_4_load_0 | 0 | 0.0096695 | 0.0024234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6139-23_0_4_load_9 | 3 | 0.010048 | 0.0025183 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6139-23_0_4_load_56 | 4 | 0.0072092 | 0.0018068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6139-23_0_4_load_16 | 6 | 0.0032322 | 0.00081007 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6139-23_0_4_load_4 | 7 | 0.013573 | 0.0034018 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6139-23_0_4_load_5 | 8 | 0.0038365 | 0.00096153 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6139-23_0_4_load_7 | 10 | 0.011133 | 0.0027902 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6139-23_0_4_load_47 | 12 | 0.013131 | 0.0032909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6139-23_0_4_load_50 | 13 | 0.0064252 | 0.0016103 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6139-23_0_4_load_12 | 15 | 0.0089262 | 0.0022371 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6139-23_0_4_load_46 | 16 | 0.0073212 | 0.0018349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6139-23_0_4_load_34 | 19 | 0.00079111 | 0.00019827 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6139-23_0_4_load_61 | 21 | 0.0011107 | 0.00027838 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6139-23_0_4_load_35 | 23 | 0.063605 | 0.015941 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6139-23_0_4_load_37 | 24 | 0.012931 | 0.0032409 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6139-23_0_4_load_38 | 25 | 0.0083309 | 0.0020879 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6139-23_0_4_load_13 | 26 | 0.0027486 | 0.00068887 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6139-23_0_4_load_14 | 27 | 0.0053145 | 0.0013319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6139-23_0_4_load_15 | 28 | 0.014675 | 0.0036778 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6139-23_0_4_load_17 | 29 | 0.006258 | 0.0015684 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6139-23_0_4_load_55 | 32 | 0.00079422 | 0.00019905 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6139-23_0_4_load_18 | 33 | 0.007471 | 0.0018724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6139-23_0_4_load_19 | 34 | 0.0014354 | 0.00035975 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6139-23_0_4_load_21 | 35 | 0.0029751 | 0.00074562 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6139-23_0_4_load_23 | 36 | 0.002043 | 0.00051203 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6139-23_0_4_load_24 | 37 | 0.00074005 | 0.00018547 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6139-23_0_4_load_30 | 38 | 0.0022485 | 0.00056352 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6139-23_0_4_load_58 | 42 | 0.0075619 | 0.0018952 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6139-23_0_4_load_51 | 43 | 0.0046014 | 0.0011532 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6139-23_0_4_load_26 | 45 | 0.0093938 | 0.0023543 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6139-23_0_4_load_57 | 47 | 0.007349 | 0.0018418 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6139-23_0_4_load_28 | 48 | 0.014571 | 0.0036519 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6139-23_0_4_load_41 | 51 | 0.017772 | 0.004454 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6139-23_0_4_load_60 | 52 | 0.015081 | 0.0037796 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6139-23_0_4_load_49 | 54 | 0.04527 | 0.011346 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6139-23_0_4_load_44 | 55 | 0.017332 | 0.0043437 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6139-23_0_4_load_39 | 56 | 0.013296 | 0.0033322 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6139-23_0_4_load_43 | 58 | 0.023544 | 0.0059007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6139-23_0_4_load_45 | 59 | 0.016122 | 0.0040405 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6139-23_0_4_line_0 |  | 0 | 1 | 0.047219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6139-23_0_4_line_1 |  | 1 | 2 | 0.029932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6139-23_0_4_line_2 |  | 2 | 3 | 0.016952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6139-23_0_4_line_3 |  | 2 | 4 | 0.018453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6139-23_0_4_line_4 |  | 3 | 5 | 0.0087913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6139-23_0_4_line_5 |  | 4 | 6 | 0.0067444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6139-23_0_4_line_6 |  | 5 | 9 | 0.030617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6139-23_0_4_line_7 |  | 5 | 7 | 0.014111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6139-23_0_4_line_8 |  | 6 | 27 | 0.012672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6139-23_0_4_line_9 |  | 7 | 8 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6139-23_0_4_line_10 |  | 9 | 12 | 0.011764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6139-23_0_4_line_11 |  | 9 | 13 | 0.0079487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6139-23_0_4_line_12 |  | 10 | 11 | 0.02135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6139-23_0_4_line_13 |  | 11 | 14 | 0.028972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_6139-23_0_4_line_14 |  | 11 | 15 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_6139-23_0_4_line_15 |  | 12 | 16 | 0.00034158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6139-23_0_4_line_16 |  | 13 | 17 | 0.010279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6139-23_0_4_line_17 |  | 14 | 18 | 0.027623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6139-23_0_4_line_18 |  | 14 | 19 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6139-23_0_4_line_19 |  | 15 | 20 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6139-23_0_4_line_20 |  | 17 | 54 | 0.0068661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6139-23_0_4_line_21 |  | 17 | 59 | 0.011075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6139-23_0_4_line_22 |  | 18 | 21 | 0.030632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6139-23_0_4_line_23 |  | 18 | 22 | 0.003099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6139-23_0_4_line_24 |  | 19 | 23 | 0.033918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6139-23_0_4_line_25 |  | 20 | 24 | 0.011651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_6139-23_0_4_line_26 |  | 20 | 25 | 0.012646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6139-23_0_4_line_27 |  | 22 | 36 | 0.023941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6139-23_0_4_line_28 |  | 22 | 33 | 0.020822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6139-23_0_4_line_29 |  | 24 | 56 | 0.0014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_6139-23_0_4_line_30 |  | 26 | 27 | 0.015246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6139-23_0_4_line_31 |  | 26 | 28 | 0.007161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6139-23_0_4_line_32 |  | 28 | 29 | 0.040249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6139-23_0_4_line_33 |  | 29 | 30 | 0.023808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6139-23_0_4_line_34 |  | 30 | 31 | 0.043821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6139-23_0_4_line_35 |  | 30 | 32 | 0.022996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6139-23_0_4_line_36 |  | 31 | 48 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6139-23_0_4_line_37 |  | 33 | 34 | 0.034524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6139-23_0_4_line_38 |  | 34 | 35 | 0.0021384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6139-23_0_4_line_39 |  | 35 | 37 | 0.047112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6139-23_0_4_line_40 |  | 36 | 38 | 0.0014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6139-23_0_4_line_41 |  | 37 | 39 | 0.026734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6139-23_0_4_line_42 |  | 38 | 40 | 0.054708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6139-23_0_4_line_43 |  | 39 | 41 | 0.028393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6139-23_0_4_line_44 |  | 40 | 44 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6139-23_0_4_line_45 |  | 40 | 49 | 0.069267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6139-23_0_4_line_46 |  | 41 | 42 | 0.056962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6139-23_0_4_line_47 |  | 42 | 47 | 0.0059572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6139-23_0_4_line_48 |  | 43 | 44 | 0.036935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6139-23_0_4_line_49 |  | 44 | 50 | 0.021707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6139-23_0_4_line_50 |  | 45 | 46 | 0.045158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6139-23_0_4_line_51 |  | 46 | 47 | 0.059163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6139-23_0_4_line_52 |  | 49 | 51 | 0.01962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6139-23_0_4_line_53 |  | 50 | 52 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6139-23_0_4_line_54 |  | 53 | 54 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6139-23_0_4_line_55 |  | 53 | 55 | 0.01191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6139-23_0_4_line_56 |  | 55 | 58 | 0.01737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6139-23_0_4_line_57 |  | 56 | 57 | 0.0078195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6139-23_0_4_line_58 |  | 57 | 58 | 0.013317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6139-23_0_4_trafo_12 | 0.63 MVA 20/0.4 kV | 60 | 15 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2583324.6412 | 1113514.6523 | 2583319.9883 | 1113510.5075 | 2583310.4219 | 1113494.6483 | 2583310.4186 | 1113493.4478 | 2583311.0181 | 1113492.4123 | 2583315.0032 | 1113489.6221 | 2583315.9878 | 1113488.1964 | 2583316.0362 | 1113486.1286 | 2583310.0394 | 1113476.4293
1 | 2583304.1422 | 1113536.1419 | 2583310.1016 | 1113532.3568 | 2583315.9978 | 1113525.2926 | 2583324.6412 | 1113514.6523
2 | 2583304.1422 | 1113536.1419 | 2583296.4567 | 1113521.032
3 | 2583304.1422 | 1113536.1419 | 2583297.7959 | 1113539.6278 | 2583293.8363 | 1113543.2184 | 2583289.6684 | 1113547.3477
4 | 2583292.471 | 1113513.1961 | 2583296.4567 | 1113521.032
5 | 2583289.6684 | 1113547.3477 | 2583284.8773 | 1113552.0946
6 | 2583292.471 | 1113513.1961 | 2583277.0135 | 1113486.7481
7 | 2583292.471 | 1113513.1961 | 2583279.9661 | 1113519.7345
8 | 2583275.8751 | 1113561.0137 | 2583284.8773 | 1113552.0946
9 | 2583279.9661 | 1113519.7345 | 2583278.8983 | 1113520.2928 | 2583270.9421 | 1113524.4466
10 | 2583277.0135 | 1113486.7481 | 2583272.1776 | 1113489.0404 | 2583266.305 | 1113491.614
11 | 2583277.0135 | 1113486.7481 | 2583273.0203 | 1113479.8752
12 | 2583216.7487 | 1113530.326 | 2583223.8862 | 1113533.6522 | 2583237.3109 | 1113534.8236
13 | 2583188.0073 | 1113534.3302 | 2583196.3852 | 1113533.7844 | 2583206.5521 | 1113532.2887 | 2583216.7487 | 1113530.326
14 | 2583216.7487 | 1113530.326 | 2583224.4387 | 1113521.289 | 2583229.4392 | 1113513.8735
15 | 2583266.305 | 1113491.614 | 2583265.9921 | 1113491.7511
16 | 2583267.8566 | 1113470.9879 | 2583273.0203 | 1113479.8752
17 | 2583188.0073 | 1113534.3302 | 2583160.3884 | 1113536.5083
18 | 2583188.0073 | 1113534.3302 | 2583184.2018 | 1113524.1471
19 | 2583234.6015 | 1113504.4079 | 2583232.7376 | 1113508.982 | 2583229.4392 | 1113513.8735
20 | 2583267.8566 | 1113470.9879 | 2583264.227 | 1113465.1595
21 | 2583267.8566 | 1113470.9879 | 2583262.7519 | 1113473.8257 | 2583258.1272 | 1113476.278
22 | 2583178.4359 | 1113561.0479 | 2583173.1251 | 1113553.6813 | 2583166.3444 | 1113545.385 | 2583162.2917 | 1113540.505 | 2583161.0051 | 1113538.8522 | 2583160.3884 | 1113536.5083
23 | 2583157.2923 | 1113536.7838 | 2583160.3884 | 1113536.5083
24 | 2583172.3284 | 1113492.3753 | 2583184.2018 | 1113524.1471
25 | 2583234.6015 | 1113504.4079 | 2583234.6789 | 1113496.1369 | 2583234.4795 | 1113492.7627
26 | 2583234.6015 | 1113504.4079 | 2583236.5016 | 1113504.4916 | 2583237.8674 | 1113504.0764 | 2583246.4009 | 1113500.3368
27 | 2583157.2923 | 1113536.7838 | 2583149.2923 | 1113514.2191
28 | 2583157.2923 | 1113536.7838 | 2583148.4907 | 1113537.6977 | 2583137.6984 | 1113539.2731 | 2583136.6328 | 1113539.245
29 | 2583234.4795 | 1113492.7627 | 2583234.3947 | 1113491.3275
30 | 2583264.9051 | 1113571.5911 | 2583266.9109 | 1113569.8951 | 2583275.8751 | 1113561.0137
31 | 2583259.4369 | 1113576.2148 | 2583264.9051 | 1113571.5911
32 | 2583226.923 | 1113599.8586 | 2583235.2537 | 1113594.4952 | 2583243.8562 | 1113588.6795 | 2583253.7203 | 1113581.0484 | 2583259.4369 | 1113576.2148
33 | 2583206.83 | 1113612.6277 | 2583217.4612 | 1113605.9504 | 2583226.923 | 1113599.8586
34 | 2583169.6401 | 1113635.9763 | 2583206.83 | 1113612.6277
35 | 2583190.3597 | 1113596.9325 | 2583194.2333 | 1113601.2794 | 2583203.8983 | 1113608.167 | 2583206.83 | 1113612.6277
36 | 2583169.6401 | 1113635.9763 | 2583152.3861 | 1113646.2551
37 | 2583104.0915 | 1113528.6035 | 2583110.6398 | 1113531.9229 | 2583117.4123 | 1113534.483 | 2583128.8145 | 1113538.3753 | 2583132.7476 | 1113539.1424 | 2583136.6328 | 1113539.245
38 | 2583104.0915 | 1113528.6035 | 2583102.1841 | 1113527.6367
39 | 2583057.1487 | 1113516.8113 | 2583076.4724 | 1113517.7783 | 2583085.5053 | 1113519.465 | 2583093.192 | 1113523.0785 | 2583102.1841 | 1113527.6367
40 | 2583149.2923 | 1113514.2191 | 2583148.8116 | 1113512.8634
41 | 2583031.684 | 1113511.2454 | 2583036.6904 | 1113514.6997 | 2583041.7682 | 1113516.0416 | 2583057.1487 | 1113516.8113
42 | 2583137.1312 | 1113460.7468 | 2583141.0889 | 1113470.2738 | 2583138.9491 | 1113483.9088 | 2583144.0667 | 1113499.48 | 2583148.8116 | 1113512.8634
43 | 2583011.2893 | 1113531.0571 | 2583031.684 | 1113511.2454
44 | 2583137.1312 | 1113460.7468 | 2583119.4094 | 1113467.1663
45 | 2583137.1312 | 1113460.7468 | 2583192.9201 | 1113443.2602 | 2583202.087 | 1113440.3888 | 2583203.1436 | 1113439.8301
46 | 2583011.2893 | 1113531.0571 | 2583006.7111 | 1113587.8345
47 | 2583010.8181 | 1113592.1497 | 2583006.7111 | 1113587.8345
48 | 2583119.4094 | 1113467.1663 | 2583084.6859 | 1113479.7548
49 | 2583104.8229 | 1113451.466 | 2583107.0787 | 1113454.4611 | 2583108.6203 | 1113456.1354 | 2583110.2009 | 1113457.943 | 2583111.7408 | 1113459.0393 | 2583113.8998 | 1113460.5562 | 2583115.9204 | 1113462.3181 | 2583117.7938 | 1113463.8914 | 2583119.4094 | 1113467.1663
50 | 2583079.3786 | 1113598.6561 | 2583052.0332 | 1113634.5938
51 | 2583052.0332 | 1113634.5938 | 2583021.9977 | 1113603.8964 | 2583010.8181 | 1113592.1497
52 | 2583203.1436 | 1113439.8301 | 2583204.652 | 1113443.4943 | 2583206.2267 | 1113459.0728
53 | 2583104.8229 | 1113451.466 | 2583116.6418 | 1113446.8751
54 | 2583256.6469 | 1113452.9878 | 2583264.227 | 1113465.1595
55 | 2583256.6469 | 1113452.9878 | 2583251.7044 | 1113455.8808 | 2583246.4023 | 1113459.0625
56 | 2583234.1123 | 1113470.2068 | 2583234.2161 | 1113468.569 | 2583234.999 | 1113466.7993 | 2583241.766 | 1113461.8447 | 2583246.4023 | 1113459.0625
57 | 2583233.9334 | 1113483.5216 | 2583234.3947 | 1113491.3275
58 | 2583233.9334 | 1113483.5216 | 2583234.0534 | 1113471.1374 | 2583234.1123 | 1113470.2068

## bus_geodata
| x | y | coords
0 | 2583310.0394 | 1113476.4293
1 | 2583324.6412 | 1113514.6523
2 | 2583304.1422 | 1113536.1419
3 | 2583296.4567 | 1113521.032
4 | 2583289.6684 | 1113547.3477
5 | 2583292.471 | 1113513.1961
6 | 2583284.8773 | 1113552.0946
7 | 2583279.9661 | 1113519.7345
8 | 2583270.9421 | 1113524.4466
9 | 2583277.0135 | 1113486.7481
10 | 2583237.3109 | 1113534.8236
11 | 2583216.7487 | 1113530.326
12 | 2583266.305 | 1113491.614
13 | 2583273.0203 | 1113479.8752
14 | 2583188.0073 | 1113534.3302
15 | 2583229.4392 | 1113513.8735
16 | 2583265.9921 | 1113491.7511
17 | 2583267.8566 | 1113470.9879
18 | 2583160.3884 | 1113536.5083
19 | 2583184.2018 | 1113524.1471
20 | 2583234.6016 | 1113504.4079
21 | 2583178.4359 | 1113561.0479
22 | 2583157.2923 | 1113536.7838
23 | 2583172.3284 | 1113492.3753
24 | 2583234.4795 | 1113492.7627
25 | 2583246.4009 | 1113500.3368
26 | 2583264.9051 | 1113571.5911
27 | 2583275.8751 | 1113561.0137
28 | 2583259.4369 | 1113576.2148
29 | 2583226.923 | 1113599.8586
30 | 2583206.83 | 1113612.6277
31 | 2583169.6401 | 1113635.9763
32 | 2583190.3597 | 1113596.9325
33 | 2583136.6328 | 1113539.245
34 | 2583104.0915 | 1113528.6035
35 | 2583102.1841 | 1113527.6367
36 | 2583149.2923 | 1113514.2191
37 | 2583057.1487 | 1113516.8113
38 | 2583148.8116 | 1113512.8634
39 | 2583031.684 | 1113511.2454
40 | 2583137.1312 | 1113460.7468
41 | 2583011.2893 | 1113531.0571
42 | 2583006.7111 | 1113587.8345
43 | 2583084.6859 | 1113479.7548
44 | 2583119.4094 | 1113467.1663
45 | 2583079.3786 | 1113598.6561
46 | 2583052.0332 | 1113634.5938
47 | 2583010.8181 | 1113592.1497
48 | 2583152.3861 | 1113646.2551
49 | 2583203.1436 | 1113439.8301
50 | 2583104.8229 | 1113451.466
51 | 2583206.2267 | 1113459.0728
52 | 2583116.6418 | 1113446.8751
53 | 2583256.6469 | 1113452.9878
54 | 2583264.227 | 1113465.1595
55 | 2583246.4023 | 1113459.0625
56 | 2583234.3947 | 1113491.3275
57 | 2583233.9333 | 1113483.5216
58 | 2583234.1123 | 1113470.2068
59 | 2583258.1272 | 1113476.278
60 | 2583234.6016 | 1113504.4079

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1