## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6139-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6139-3_0_5_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_6139-3_0_5_node_6 | 0.4 | n |  | TRUE
3 | bus_LV_6139-3_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6139-3_0_5_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6139-3_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6139-3_0_5_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6139-3_0_5_node_106 | 0.4 | n |  | TRUE
8 | bus_LV_6139-3_0_5_node_104 | 0.4 | n |  | TRUE
9 | bus_LV_6139-3_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6139-3_0_5_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_6139-3_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_6139-3_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_6139-3_0_5_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_6139-3_0_5_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_6139-3_0_5_node_107 | 0.4 | n |  | TRUE
16 | bus_LV_6139-3_0_5_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_6139-3_0_5_node_108 | 0.4 | n |  | TRUE
18 | bus_LV_6139-3_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6139-3_0_5_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6139-3_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_6139-3_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_6139-3_0_5_node_74 | 0.4 | n |  | TRUE
23 | bus_LV_6139-3_0_5_node_72 | 0.4 | n |  | TRUE
24 | bus_LV_6139-3_0_5_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_6139-3_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6139-3_0_5_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6139-3_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6139-3_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6139-3_0_5_node_136 | 0.4 | n |  | TRUE
30 | bus_LV_6139-3_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_6139-3_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6139-3_0_5_node_120 | 0.4 | n |  | TRUE
33 | bus_LV_6139-3_0_5_node_121 | 0.4 | n |  | TRUE
34 | bus_LV_6139-3_0_5_node_119 | 0.4 | n |  | TRUE
35 | bus_LV_6139-3_0_5_node_124 | 0.4 | n |  | TRUE
36 | bus_LV_6139-3_0_5_node_134 | 0.4 | n |  | TRUE
37 | bus_LV_6139-3_0_5_node_137 | 0.4 | n |  | TRUE
38 | bus_LV_6139-3_0_5_node_133 | 0.4 | n |  | TRUE
39 | bus_LV_6139-3_0_5_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_6139-3_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_6139-3_0_5_node_118 | 0.4 | n |  | TRUE
42 | bus_LV_6139-3_0_5_node_125 | 0.4 | n |  | TRUE
43 | bus_LV_6139-3_0_5_node_131 | 0.4 | n |  | TRUE
44 | bus_LV_6139-3_0_5_node_132 | 0.4 | n |  | TRUE
45 | bus_LV_6139-3_0_5_node_130 | 0.4 | n |  | TRUE
46 | bus_LV_6139-3_0_5_node_135 | 0.4 | n |  | TRUE
47 | bus_LV_6139-3_0_5_node_122 | 0.4 | n |  | TRUE
48 | bus_LV_6139-3_0_5_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_6139-3_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6139-3_0_5_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_6139-3_0_5_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_6139-3_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_6139-3_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_6139-3_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_6139-3_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_6139-3_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_6139-3_0_5_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_6139-3_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_6139-3_0_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_6139-3_0_5_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_6139-3_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_6139-3_0_5_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_6139-3_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_6139-3_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6139-3_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_6139-3_0_5_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_6139-3_0_5_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_6139-3_0_5_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_6139-3_0_5_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_6139-3_0_5_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_6139-3_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_6139-3_0_5_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_6139-3_0_5_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_6139-3_0_5_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_6139-3_0_5_node_51 | 0.4 | n |  | TRUE
76 | bus_LV_6139-3_0_5_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_6139-3_0_5_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_6139-3_0_5_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_6139-3_0_5_node_58 | 0.4 | n |  | TRUE
80 | bus_LV_6139-3_0_5_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_6139-3_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_6139-3_0_5_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_6139-3_0_5_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_6139-3_0_5_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_6139-3_0_5_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_6139-3_0_5_node_117 | 0.4 | n |  | TRUE
87 | bus_LV_6139-3_0_5_node_116 | 0.4 | n |  | TRUE
88 | bus_LV_6139-3_0_5_node_70 | 0.4 | n |  | TRUE
89 | bus_LV_6139-3_0_5_node_109 | 0.4 | n |  | TRUE
90 | bus_LV_6139-3_0_5_node_110 | 0.4 | n |  | TRUE
91 | bus_LV_6139-3_0_5_node_71 | 0.4 | n |  | TRUE
92 | bus_LV_6139-3_0_5_node_75 | 0.4 | n |  | TRUE
93 | bus_LV_6139-3_0_5_node_111 | 0.4 | n |  | TRUE
94 | bus_LV_6139-3_0_5_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_6139-3_0_5_node_79 | 0.4 | n |  | TRUE
96 | bus_LV_6139-3_0_5_node_80 | 0.4 | n |  | TRUE
97 | bus_LV_6139-3_0_5_node_81 | 0.4 | n |  | TRUE
98 | bus_LV_6139-3_0_5_node_87 | 0.4 | n |  | TRUE
99 | bus_LV_6139-3_0_5_node_88 | 0.4 | n |  | TRUE
100 | bus_LV_6139-3_0_5_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_6139-3_0_5_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_6139-3_0_5_node_84 | 0.4 | n |  | TRUE
103 | bus_LV_6139-3_0_5_node_85 | 0.4 | n |  | TRUE
104 | bus_LV_6139-3_0_5_node_86 | 0.4 | n |  | TRUE
105 | bus_LV_6139-3_0_5_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_6139-3_0_5_node_94 | 0.4 | n |  | TRUE
107 | bus_LV_6139-3_0_5_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_6139-3_0_5_node_95 | 0.4 | n |  | TRUE
109 | bus_LV_6139-3_0_5_node_89 | 0.4 | n |  | TRUE
110 | bus_LV_6139-3_0_5_node_90 | 0.4 | n |  | TRUE
111 | bus_LV_6139-3_0_5_node_91 | 0.4 | n |  | TRUE
112 | bus_LV_6139-3_0_5_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_6139-3_0_5_node_101 | 0.4 | n |  | TRUE
114 | bus_LV_6139-3_0_5_node_103 | 0.4 | n |  | TRUE
115 | bus_LV_6139-3_0_5_node_100 | 0.4 | n |  | TRUE
116 | bus_LV_6139-3_0_5_node_96 | 0.4 | n |  | TRUE
117 | bus_LV_6139-3_0_5_node_97 | 0.4 | n |  | TRUE
118 | bus_LV_6139-3_0_5_node_98 | 0.4 | n |  | TRUE
119 | bus_LV_6139-3_0_5_node_99 | 0.4 | n |  | TRUE
120 | bus_LV_6139-3_0_5_node_105 | 0.4 | n |  | TRUE
121 | bus_LV_6139-3_0_5_node_112 | 0.4 | n |  | TRUE
122 | bus_LV_6139-3_0_5_node_147 | 0.4 | n |  | TRUE
123 | bus_LV_6139-3_0_5_node_146 | 0.4 | n |  | TRUE
124 | bus_LV_6139-3_0_5_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_6139-3_0_5_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_6139-3_0_5_node_148 | 0.4 | n |  | TRUE
127 | bus_LV_6139-3_0_5_node_144 | 0.4 | n |  | TRUE
128 | bus_LV_6139-3_0_5_node_115 | 0.4 | n |  | TRUE
129 | bus_LV_6139-3_0_5_node_145 | 0.4 | n |  | TRUE
130 | bus_LV_6139-3_0_5_node_143 | 0.4 | n |  | TRUE
131 | bus_LV_6139-3_0_5_node_123 | 0.4 | n |  | TRUE
132 | bus_LV_6139-3_0_5_node_126 | 0.4 | n |  | TRUE
133 | bus_LV_6139-3_0_5_node_127 | 0.4 | n |  | TRUE
134 | bus_LV_6139-3_0_5_node_128 | 0.4 | n |  | TRUE
135 | bus_LV_6139-3_0_5_node_129 | 0.4 | n |  | TRUE
136 | bus_LV_6139-3_0_5_node_141 | 0.4 | n |  | TRUE
137 | bus_LV_6139-3_0_5_node_138 | 0.4 | n |  | TRUE
138 | bus_LV_6139-3_0_5_node_139 | 0.4 | n |  | TRUE
139 | bus_LV_6139-3_0_5_node_140 | 0.4 | n |  | TRUE
140 | bus_LV_6139-3_0_5_node_142 | 0.4 | n |  | TRUE
141 | bus_LV_6139-3_0_5_node_152 | 0.4 | n |  | TRUE
142 | bus_LV_6139-3_0_5_node_149 | 0.4 | n |  | TRUE
143 | bus_LV_6139-3_0_5_node_150 | 0.4 | n |  | TRUE
144 | bus_MV_103_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6139-3_0_5_load_0 | 0 | 0.00070282 | 0.00017614 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6139-3_0_5_load_4 | 3 | 0.0030034 | 0.00075272 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6139-3_0_5_load_3 | 4 | 0.00074007 | 0.00018548 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6139-3_0_5_load_106 | 7 | 0.0017119 | 0.00042903 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6139-3_0_5_load_11 | 9 | 0.001868 | 0.00046815 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6139-3_0_5_load_12 | 10 | 0.0024917 | 0.00062448 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6139-3_0_5_load_13 | 11 | 0.0017068 | 0.00042777 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6139-3_0_5_load_14 | 12 | 0.001952 | 0.00048922 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6139-3_0_5_load_15 | 13 | 0.00090439 | 0.00022666 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6139-3_0_5_load_77 | 14 | 0.0018142 | 0.00045469 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6139-3_0_5_load_107 | 15 | 0.0012797 | 0.00032071 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6139-3_0_5_load_76 | 16 | 0.0020698 | 0.00051873 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6139-3_0_5_load_108 | 17 | 0.0036096 | 0.00090466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6139-3_0_5_load_16 | 18 | 0.0088969 | 0.0022298 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6139-3_0_5_load_17 | 19 | 0.0082402 | 0.0020652 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6139-3_0_5_load_18 | 20 | 0.004631 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6139-3_0_5_load_19 | 21 | 0.0038942 | 0.00097598 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6139-3_0_5_load_74 | 22 | 0.0033605 | 0.00084223 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6139-3_0_5_load_72 | 23 | 0.0023222 | 0.00058199 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6139-3_0_5_load_59 | 24 | 0.0017257 | 0.0004325 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6139-3_0_5_load_20 | 25 | 0.0041399 | 0.0010376 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6139-3_0_5_load_21 | 26 | 0.0013077 | 0.00032775 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6139-3_0_5_load_23 | 28 | 0.0014696 | 0.00036832 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6139-3_0_5_load_136 | 29 | 0.0038422 | 0.00096294 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6139-3_0_5_load_24 | 30 | 0.0017533 | 0.00043941 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6139-3_0_5_load_25 | 31 | 0.0057181 | 0.0014331 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6139-3_0_5_load_120 | 32 | 0.0015768 | 0.00039518 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6139-3_0_5_load_121 | 33 | 0.0041145 | 0.0010312 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6139-3_0_5_load_119 | 34 | 0.0024425 | 0.00061214 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6139-3_0_5_load_124 | 35 | 0.0016615 | 0.00041642 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6139-3_0_5_load_134 | 36 | 0.0018873 | 0.00047301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6139-3_0_5_load_137 | 37 | 0.0016365 | 0.00041015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6139-3_0_5_load_56 | 39 | 0.0012995 | 0.00032568 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6139-3_0_5_load_54 | 40 | 0.0038394 | 0.00096224 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6139-3_0_5_load_118 | 41 | 0.0017035 | 0.00042695 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6139-3_0_5_load_125 | 42 | 0.0012087 | 0.00030292 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6139-3_0_5_load_132 | 44 | 0.0013542 | 0.00033939 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6139-3_0_5_load_130 | 45 | 0.0024157 | 0.00060542 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6139-3_0_5_load_135 | 46 | 0.0010145 | 0.00025427 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6139-3_0_5_load_122 | 47 | 0.0017012 | 0.00042635 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6139-3_0_5_load_57 | 48 | 0.0020532 | 0.00051458 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6139-3_0_5_load_49 | 49 | 0.0029587 | 0.00074151 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6139-3_0_5_load_52 | 50 | 0.003422 | 0.00085762 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6139-3_0_5_load_26 | 51 | 0.0018588 | 0.00046587 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6139-3_0_5_load_27 | 52 | 0.0020976 | 0.00052572 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6139-3_0_5_load_29 | 54 | 0.0017548 | 0.00043978 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6139-3_0_5_load_30 | 55 | 0.0046542 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6139-3_0_5_load_39 | 56 | 0.0025114 | 0.00062942 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6139-3_0_5_load_32 | 57 | 0.0021923 | 0.00054945 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6139-3_0_5_load_33 | 58 | 0.0015041 | 0.00037697 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6139-3_0_5_load_62 | 59 | 0.0074422 | 0.0018652 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6139-3_0_5_load_60 | 60 | 0.0024946 | 0.00062522 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6139-3_0_5_load_35 | 63 | 0.0015315 | 0.00038383 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6139-3_0_5_load_50 | 64 | 0.002005 | 0.00050249 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6139-3_0_5_load_47 | 65 | 0.0026097 | 0.00065405 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6139-3_0_5_load_36 | 66 | 0.0017702 | 0.00044365 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6139-3_0_5_load_37 | 67 | 0.0014826 | 0.00037158 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6139-3_0_5_load_40 | 68 | 0.0029935 | 0.00075024 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6139-3_0_5_load_41 | 69 | 0.0014944 | 0.00037453 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6139-3_0_5_load_64 | 70 | 0.0019492 | 0.00048852 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6139-3_0_5_load_48 | 71 | 0.0022039 | 0.00055235 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6139-3_0_5_load_43 | 72 | 0.0027634 | 0.00069258 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6139-3_0_5_load_42 | 73 | 0.0024377 | 0.00061094 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6139-3_0_5_load_45 | 74 | 0.0073008 | 0.0018298 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6139-3_0_5_load_51 | 75 | 0.0030865 | 0.00077356 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6139-3_0_5_load_53 | 76 | 0.0031727 | 0.00079517 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6139-3_0_5_load_55 | 77 | 0.0017297 | 0.0004335 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6139-3_0_5_load_65 | 78 | 0.0019801 | 0.00049626 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6139-3_0_5_load_58 | 79 | 0.0023723 | 0.00059454 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6139-3_0_5_load_61 | 80 | 0.001964 | 0.00049223 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6139-3_0_5_load_63 | 81 | 0.0022879 | 0.0005734 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6139-3_0_5_load_68 | 82 | 0.0034958 | 0.00087613 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6139-3_0_5_load_69 | 83 | 0.0020433 | 0.0005121 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6139-3_0_5_load_66 | 84 | 0.0021435 | 0.00053722 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6139-3_0_5_load_67 | 85 | 0.0025442 | 0.00063765 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6139-3_0_5_load_117 | 86 | 0.0015755 | 0.00039485 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6139-3_0_5_load_116 | 87 | 0.0010393 | 0.00026047 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6139-3_0_5_load_70 | 88 | 0.0023479 | 0.00058844 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6139-3_0_5_load_110 | 90 | 0.002166 | 0.00054285 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6139-3_0_5_load_71 | 91 | 0.0015117 | 0.00037887 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6139-3_0_5_load_78 | 94 | 0.0019761 | 0.00049526 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6139-3_0_5_load_79 | 95 | 0.0020162 | 0.00050532 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6139-3_0_5_load_80 | 96 | 0.0026888 | 0.00067388 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6139-3_0_5_load_81 | 97 | 0.0034614 | 0.0008675 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6139-3_0_5_load_87 | 98 | 0.0039504 | 0.00099008 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6139-3_0_5_load_82 | 100 | 0.0020938 | 0.00052474 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6139-3_0_5_load_83 | 101 | 0.0023643 | 0.00059255 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6139-3_0_5_load_84 | 102 | 0.0041529 | 0.0010408 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6139-3_0_5_load_85 | 103 | 0.0038319 | 0.00096036 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6139-3_0_5_load_86 | 104 | 0.0021851 | 0.00054764 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6139-3_0_5_load_93 | 105 | 0.0021256 | 0.00053271 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6139-3_0_5_load_94 | 106 | 0.0037271 | 0.00093409 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6139-3_0_5_load_92 | 107 | 0.0025516 | 0.0006395 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6139-3_0_5_load_95 | 108 | 0.0013466 | 0.0003375 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_6139-3_0_5_load_89 | 109 | 0.0028272 | 0.00070856 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_6139-3_0_5_load_91 | 111 | 0.0019201 | 0.00048121 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_6139-3_0_5_load_102 | 112 | 0.0018423 | 0.00046173 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_6139-3_0_5_load_101 | 113 | 0.0035717 | 0.00089515 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_6139-3_0_5_load_100 | 115 | 0.0032908 | 0.00082476 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_6139-3_0_5_load_96 | 116 | 0.0067567 | 0.0016934 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_6139-3_0_5_load_97 | 117 | 0.0014254 | 0.00035724 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_6139-3_0_5_load_98 | 118 | 0.0013823 | 0.00034644 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_6139-3_0_5_load_99 | 119 | 0.0026706 | 0.00066932 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_6139-3_0_5_load_105 | 120 | 0.0033229 | 0.0008328 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_6139-3_0_5_load_147 | 122 | 0.0010698 | 0.00026813 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_6139-3_0_5_load_146 | 123 | 0.0017349 | 0.0004348 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_6139-3_0_5_load_113 | 124 | 0.00093623 | 0.00023464 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_6139-3_0_5_load_114 | 125 | 0.0022515 | 0.00056428 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_6139-3_0_5_load_148 | 126 | 0.0016907 | 0.00042373 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_6139-3_0_5_load_144 | 127 | 0.0022999 | 0.00057642 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_6139-3_0_5_load_115 | 128 | 0.00094051 | 0.00023571 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_6139-3_0_5_load_145 | 129 | 0.0014706 | 0.00036858 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_6139-3_0_5_load_143 | 130 | 0.0014071 | 0.00035265 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_6139-3_0_5_load_123 | 131 | 0.0009276 | 0.00023248 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_6139-3_0_5_load_126 | 132 | 0.0016546 | 0.00041469 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_6139-3_0_5_load_127 | 133 | 0.0014183 | 0.00035545 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_6139-3_0_5_load_128 | 134 | 0.0012716 | 0.00031869 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_6139-3_0_5_load_129 | 135 | 0.0010544 | 0.00026426 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_6139-3_0_5_load_141 | 136 | 0.0010238 | 0.0002566 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_6139-3_0_5_load_138 | 137 | 0.001374 | 0.00034437 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_6139-3_0_5_load_140 | 139 | 0.0049465 | 0.0012397 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_6139-3_0_5_load_142 | 140 | 0.00089871 | 0.00022524 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_6139-3_0_5_load_152 | 141 | 0.0015725 | 0.0003941 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_6139-3_0_5_load_149 | 142 | 0.00071627 | 0.00017951 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_6139-3_0_5_load_150 | 143 | 0.0011781 | 0.00029526 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 82 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6139-3_0_5_line_0 |  | 0 | 1 | 0.038327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6139-3_0_5_line_1 |  | 1 | 2 | 0.32798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6139-3_0_5_line_2 |  | 2 | 3 | 0.05839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6139-3_0_5_line_3 |  | 3 | 4 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6139-3_0_5_line_4 |  | 4 | 5 | 0.029619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6139-3_0_5_line_5 |  | 5 | 6 | 0.16152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6139-3_0_5_line_6 |  | 6 | 7 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6139-3_0_5_line_7 |  | 7 | 8 | 0.05051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6139-3_0_5_line_8 |  | 8 | 120 | 0.011259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6139-3_0_5_line_9 |  | 8 | 114 | 0.002317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6139-3_0_5_line_10 |  | 9 | 10 | 0.022869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6139-3_0_5_line_11 |  | 9 | 11 | 0.014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6139-3_0_5_line_12 |  | 10 | 12 | 0.020528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6139-3_0_5_line_13 |  | 11 | 13 | 0.0074352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6139-3_0_5_line_14 |  | 12 | 14 | 0.015879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6139-3_0_5_line_15 |  | 13 | 15 | 0.03016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6139-3_0_5_line_16 |  | 14 | 16 | 0.013614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6139-3_0_5_line_17 |  | 15 | 17 | 0.054168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6139-3_0_5_line_18 |  | 16 | 94 | 0.0036806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6139-3_0_5_line_19 |  | 17 | 92 | 0.061572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6139-3_0_5_line_20 |  | 18 | 19 | 0.00012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6139-3_0_5_line_21 |  | 18 | 20 | 0.031992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6139-3_0_5_line_22 |  | 20 | 21 | 0.02239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6139-3_0_5_line_23 |  | 21 | 22 | 0.038688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6139-3_0_5_line_24 |  | 22 | 23 | 0.020798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6139-3_0_5_line_25 |  | 22 | 24 | 0.064765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6139-3_0_5_line_26 |  | 23 | 91 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6139-3_0_5_line_27 |  | 24 | 80 | 0.036301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6139-3_0_5_line_28 |  | 24 | 79 | 0.05084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6139-3_0_5_line_29 |  | 25 | 26 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6139-3_0_5_line_30 |  | 25 | 27 | 0.02137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6139-3_0_5_line_31 |  | 26 | 28 | 0.039403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6139-3_0_5_line_32 |  | 26 | 29 | 0.13184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6139-3_0_5_line_33 |  | 27 | 30 | 0.038287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6139-3_0_5_line_34 |  | 27 | 31 | 0.038956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6139-3_0_5_line_35 |  | 28 | 35 | 0.0032285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6139-3_0_5_line_36 |  | 29 | 36 | 0.015479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6139-3_0_5_line_37 |  | 30 | 39 | 0.084081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_6139-3_0_5_line_38 |  | 31 | 40 | 0.019498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6139-3_0_5_line_39 |  | 32 | 33 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6139-3_0_5_line_40 |  | 32 | 34 | 0.012041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6139-3_0_5_line_41 |  | 33 | 47 | 0.01778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6139-3_0_5_line_42 |  | 34 | 41 | 0.02982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6139-3_0_5_line_43 |  | 35 | 42 | 0.019709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6139-3_0_5_line_44 |  | 36 | 46 | 0.043456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6139-3_0_5_line_45 |  | 37 | 38 | 0.10108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6139-3_0_5_line_46 |  | 38 | 43 | 0.075097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6139-3_0_5_line_47 |  | 39 | 48 | 0.0059427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6139-3_0_5_line_48 |  | 39 | 49 | 0.025833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6139-3_0_5_line_49 |  | 40 | 50 | 0.020532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6139-3_0_5_line_50 |  | 41 | 48 | 0.011381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6139-3_0_5_line_51 |  | 42 | 132 | 0.033794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6139-3_0_5_line_52 |  | 43 | 44 | 0.029245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6139-3_0_5_line_53 |  | 43 | 45 | 0.070125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6139-3_0_5_line_54 |  | 44 | 46 | 0.00077174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6139-3_0_5_line_55 |  | 47 | 131 | 0.02154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6139-3_0_5_line_56 |  | 49 | 71 | 0.031014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6139-3_0_5_line_57 |  | 50 | 75 | 0.020118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6139-3_0_5_line_58 |  | 51 | 52 | 0.021704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6139-3_0_5_line_59 |  | 51 | 53 | 0.059689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6139-3_0_5_line_60 |  | 52 | 54 | 0.023856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6139-3_0_5_line_61 |  | 53 | 55 | 0.02563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6139-3_0_5_line_62 |  | 54 | 56 | 0.0029285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6139-3_0_5_line_63 |  | 55 | 57 | 0.0085288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6139-3_0_5_line_64 |  | 57 | 58 | 0.040663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6139-3_0_5_line_65 |  | 58 | 61 | 0.0061611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6139-3_0_5_line_66 |  | 59 | 60 | 0.036034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6139-3_0_5_line_67 |  | 60 | 79 | 0.019981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6139-3_0_5_line_68 |  | 61 | 62 | 0.040279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6139-3_0_5_line_69 |  | 61 | 63 | 0.032909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6139-3_0_5_line_70 |  | 62 | 64 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6139-3_0_5_line_71 |  | 62 | 65 | 0.037993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6139-3_0_5_line_72 |  | 63 | 66 | 0.0047877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6139-3_0_5_line_73 |  | 64 | 70 | 0.0040874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6139-3_0_5_line_74 |  | 65 | 71 | 0.032827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6139-3_0_5_line_75 |  | 66 | 67 | 0.028961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6139-3_0_5_line_76 |  | 67 | 68 | 0.019645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6139-3_0_5_line_77 |  | 68 | 69 | 0.0037212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6139-3_0_5_line_78 |  | 69 | 72 | 0.043368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6139-3_0_5_line_79 |  | 70 | 78 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6139-3_0_5_line_80 |  | 72 | 74 | 0.0096192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6139-3_0_5_line_81 |  | 72 | 73 | 0.056429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6139-3_0_5_line_82 |  | 75 | 76 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6139-3_0_5_line_83 |  | 76 | 77 | 0.040055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6139-3_0_5_line_84 |  | 78 | 84 | 0.08848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6139-3_0_5_line_85 |  | 80 | 81 | 0.0013029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6139-3_0_5_line_86 |  | 81 | 82 | 0.058403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6139-3_0_5_line_87 |  | 82 | 83 | 0.092566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6139-3_0_5_line_88 |  | 83 | 88 | 0.014646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6139-3_0_5_line_89 |  | 84 | 85 | 0.03031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_6139-3_0_5_line_90 |  | 85 | 86 | 0.031175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_6139-3_0_5_line_91 |  | 86 | 87 | 0.019434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_6139-3_0_5_line_92 |  | 87 | 128 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_6139-3_0_5_line_93 |  | 88 | 89 | 0.017063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_6139-3_0_5_line_94 |  | 89 | 90 | 0.008901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_6139-3_0_5_line_95 |  | 90 | 121 | 0.046378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_6139-3_0_5_line_96 |  | 92 | 93 | 0.063252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_6139-3_0_5_line_97 |  | 93 | 122 | 0.049796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6139-3_0_5_line_98 |  | 93 | 123 | 0.034598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_6139-3_0_5_line_99 |  | 94 | 95 | 0.021871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
100 | LV_6139-3_0_5_line_100 |  | 95 | 96 | 0.037052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
101 | LV_6139-3_0_5_line_101 |  | 96 | 97 | 0.0097226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_6139-3_0_5_line_102 |  | 97 | 98 | 0.016431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_6139-3_0_5_line_103 |  | 98 | 99 | 0.11845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
104 | LV_6139-3_0_5_line_104 |  | 99 | 109 | 0.084228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6139-3_0_5_line_105 |  | 99 | 110 | 0.16597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6139-3_0_5_line_106 |  | 100 | 101 | 0.0089212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6139-3_0_5_line_107 |  | 100 | 102 | 0.0084328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6139-3_0_5_line_108 |  | 101 | 103 | 0.034952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6139-3_0_5_line_109 |  | 102 | 104 | 0.0027383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_6139-3_0_5_line_110 |  | 103 | 105 | 0.0085891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_6139-3_0_5_line_111 |  | 104 | 106 | 0.026003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_6139-3_0_5_line_112 |  | 105 | 107 | 0.016436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_6139-3_0_5_line_113 |  | 106 | 108 | 0.017925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_6139-3_0_5_line_114 |  | 107 | 111 | 0.0075567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_6139-3_0_5_line_115 |  | 108 | 116 | 0.0033369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_6139-3_0_5_line_116 |  | 109 | 111 | 0.0074875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_6139-3_0_5_line_117 |  | 110 | 112 | 0.048907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_6139-3_0_5_line_118 |  | 110 | 113 | 0.0201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_6139-3_0_5_line_119 |  | 112 | 114 | 0.051413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_6139-3_0_5_line_120 |  | 113 | 115 | 0.0034567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_6139-3_0_5_line_121 |  | 115 | 118 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_6139-3_0_5_line_122 |  | 117 | 118 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_6139-3_0_5_line_123 |  | 117 | 119 | 0.00076307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_6139-3_0_5_line_124 |  | 121 | 124 | 0.049453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
125 | LV_6139-3_0_5_line_125 |  | 121 | 125 | 0.029707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
126 | LV_6139-3_0_5_line_126 |  | 122 | 126 | 0.043898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_6139-3_0_5_line_127 |  | 123 | 127 | 0.0047124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_6139-3_0_5_line_128 |  | 124 | 128 | 0.037939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_6139-3_0_5_line_129 |  | 125 | 129 | 0.0071871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_6139-3_0_5_line_130 |  | 126 | 142 | 0.00053315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_6139-3_0_5_line_131 |  | 127 | 130 | 0.0010391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_6139-3_0_5_line_132 |  | 129 | 130 | 0.0061575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
133 | LV_6139-3_0_5_line_133 |  | 132 | 133 | 0.042532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_6139-3_0_5_line_134 |  | 133 | 134 | 0.10367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_6139-3_0_5_line_135 |  | 134 | 135 | 0.005107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_6139-3_0_5_line_136 |  | 135 | 136 | 0.070388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_6139-3_0_5_line_137 |  | 136 | 138 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_6139-3_0_5_line_138 |  | 137 | 138 | 0.1026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_6139-3_0_5_line_139 |  | 137 | 139 | 0.013365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_6139-3_0_5_line_140 |  | 138 | 140 | 0.02642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_6139-3_0_5_line_141 |  | 140 | 141 | 0.00014694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_6139-3_0_5_line_142 |  | 142 | 143 | 0.030028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6139-3_0_5_trafo_68 | 0.63 MVA 20/0.4 kV | 144 | 82 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2585149.2212 | 1108932.8746 | 2585155.455 | 1108928.3792 | 2585159.498 | 1108925.5456 | 2585163.0007 | 1108923.058 | 2585166.5088 | 1108919.6032 | 2585171.6451 | 1108915.0661 | 2585176.2416 | 1108911.0639 | 2585179.2802 | 1108909.2538
1 | 2584999.9858 | 1109224.9336 | 2585149.2212 | 1108932.8746
2 | 2584999.9858 | 1109224.9336 | 2584984.9746 | 1109281.3609
3 | 2584971.6459 | 1109303.1949 | 2584982.5437 | 1109290.4985 | 2584984.9746 | 1109281.3609
4 | 2584948.2436 | 1109320.7769 | 2584965.1976 | 1109310.7074 | 2584971.6459 | 1109303.1949
5 | 2584872.5623 | 1109457.134 | 2584906.8948 | 1109427.8779 | 2584926.0334 | 1109395.3361 | 2584934.7524 | 1109380.5069 | 2584942.3088 | 1109336.4439 | 2584948.2436 | 1109320.7769
6 | 2584872.5623 | 1109457.134 | 2584866.5586 | 1109472.9347
7 | 2584833.1975 | 1109510.2815 | 2584838.8716 | 1109504.809 | 2584854.094 | 1109491.7532 | 2584866.5586 | 1109472.9347
8 | 2584833.1975 | 1109510.2815 | 2584833.9042 | 1109511.6471 | 2584836.5272 | 1109512.9078 | 2584840.661 | 1109512.6417 | 2584843.1411 | 1109511.6549
9 | 2584831.5323 | 1109511.8976 | 2584833.1975 | 1109510.2815
10 | 2585004.8801 | 1109591.0998 | 2584997.2423 | 1109603.8957 | 2584992.9263 | 1109610.5921
11 | 2585004.8801 | 1109591.0998 | 2585011.3104 | 1109580.3268 | 2585012.5404 | 1109578.2457
12 | 2584981.8053 | 1109627.8468 | 2584992.9263 | 1109610.5921
13 | 2585016.3235 | 1109571.845 | 2585012.5404 | 1109578.2457
14 | 2584971.9024 | 1109640.2392 | 2584980.4063 | 1109630.0173 | 2584981.8053 | 1109627.8468
15 | 2585016.3235 | 1109571.845 | 2585026.0629 | 1109555.3666 | 2585031.266 | 1109545.6539
16 | 2584960.9562 | 1109648.2676 | 2584962.3972 | 1109647.3708 | 2584971.1759 | 1109641.1124 | 2584971.9024 | 1109640.2392
17 | 2585073.4693 | 1109512.7724 | 2585066.2095 | 1109517.7373 | 2585052.9878 | 1109524.3956 | 2585042.7235 | 1109533.1476 | 2585032.7476 | 1109542.8883 | 2585031.266 | 1109545.6539
18 | 2584960.9562 | 1109648.2676 | 2584957.8313 | 1109650.2123
19 | 2585117.2283 | 1109473.2001 | 2585116.3605 | 1109472.2574 | 2585115.0533 | 1109471.827 | 2585112.6589 | 1109472.3443 | 2585110.1981 | 1109474.1513 | 2585108.318 | 1109476.4015 | 2585105.0428 | 1109480.1559 | 2585091.0745 | 1109494.3197 | 2585080.3796 | 1109507.0969 | 2585073.4693 | 1109512.7724
20 | 2584875.6959 | 1109733.7333 | 2584875.8092 | 1109733.6819
21 | 2584904.9446 | 1109720.4681 | 2584875.8092 | 1109733.6819
22 | 2584925.3351 | 1109711.2203 | 2584904.9446 | 1109720.4681
23 | 2584925.3351 | 1109711.2203 | 2584942.0279 | 1109703.6496 | 2584958.6919 | 1109691.9549
24 | 2584975.7159 | 1109680.0076 | 2584958.6919 | 1109691.9549
25 | 2584980.4096 | 1109752.9704 | 2584958.6919 | 1109691.9549
26 | 2584988.2182 | 1109671.2336 | 2584975.7159 | 1109680.0076
27 | 2584980.4096 | 1109752.9704 | 2584990.255 | 1109746.195 | 2584994.3524 | 1109740.6821 | 2585010.8048 | 1109734.7753
28 | 2584942.9382 | 1109786.389 | 2584947.9373 | 1109783.1744 | 2584957.8252 | 1109769.354 | 2584975.2425 | 1109756.5264 | 2584980.4096 | 1109752.9704
29 | 2585213.6699 | 1109816.4815 | 2585214.5625 | 1109816.1091 | 2585224.9531 | 1109812.702
30 | 2585195.1225 | 1109826.7065 | 2585201.8017 | 1109821.432 | 2585213.6699 | 1109816.4815
31 | 2585254.8104 | 1109788.4051 | 2585252.5694 | 1109791.7484 | 2585248.1553 | 1109797.4065 | 2585242.6051 | 1109803.0006 | 2585237.3673 | 1109806.8153 | 2585231.3335 | 1109810.6098 | 2585224.9531 | 1109812.702
32 | 2585224.9531 | 1109812.702 | 2585311.7936 | 1109911.897
33 | 2585195.1225 | 1109826.7065 | 2585187.6866 | 1109822.7895 | 2585178.1573 | 1109825.5032 | 2585170.9148 | 1109831.0904 | 2585161.811 | 1109837.1047
34 | 2585195.1225 | 1109826.7065 | 2585190.8805 | 1109830.0519 | 2585183.6749 | 1109838.0736 | 2585179.5552 | 1109844.0423 | 2585174.5559 | 1109853.6371 | 2585173.1132 | 1109858.1092
35 | 2585254.8104 | 1109788.4051 | 2585256.6079 | 1109785.7233
36 | 2585311.7936 | 1109911.897 | 2585323.9249 | 1109902.2835
37 | 2585114.3286 | 1109767.7143 | 2585161.811 | 1109837.1047
38 | 2585169.7546 | 1109877.2225 | 2585171.1354 | 1109864.2397 | 2585173.1132 | 1109858.1092
39 | 2585179.4637 | 1109731.5623 | 2585175.7395 | 1109734.7195 | 2585164.922 | 1109741.6816
40 | 2585154.7967 | 1109748.1982 | 2585164.922 | 1109741.6816
41 | 2585179.4637 | 1109731.5623 | 2585186.4973 | 1109725.5996 | 2585191.0013 | 1109718.322
42 | 2585127.383 | 1109756.3467 | 2585131.8429 | 1109752.3808 | 2585150.2859 | 1109751.1014 | 2585154.7967 | 1109748.1982
43 | 2585256.6079 | 1109785.7233 | 2585267.5815 | 1109769.3517
44 | 2585359.1155 | 1109878.7467 | 2585353.8664 | 1109878.5559 | 2585323.9249 | 1109902.2835
45 | 2585409.3298 | 1109869.9616 | 2585411.6439 | 1109874.6584 | 2585411.5373 | 1109878.4716 | 2585408.4443 | 1109884.0819 | 2585394.6149 | 1109898.0445 | 2585383.1761 | 1109909.9782 | 2585362.4542 | 1109936.8196 | 2585354.7897 | 1109950.3249
46 | 2585409.3298 | 1109869.9616 | 2585405.5365 | 1109867.1694 | 2585399.5662 | 1109868.4956 | 2585393.3614 | 1109871.8457 | 2585380.8323 | 1109880.3358 | 2585362.2264 | 1109890.7416 | 2585343.4865 | 1109900.0696
47 | 2585118.8785 | 1109763.9093 | 2585115.2954 | 1109767.0956 | 2585114.3286 | 1109767.7143
48 | 2585092.1038 | 1109780.8622 | 2585105.5661 | 1109773.3227 | 2585114.3286 | 1109767.7143
49 | 2585169.7546 | 1109877.2225 | 2585167.5832 | 1109897.639
50 | 2585118.8785 | 1109763.9093 | 2585127.383 | 1109756.3467
51 | 2585267.5815 | 1109769.3517 | 2585269.8474 | 1109765.9712 | 2585273.2984 | 1109758.2811 | 2585274.6076 | 1109743.7596 | 2585276.5779 | 1109737.3405
52 | 2585343.4865 | 1109900.0696 | 2585348.3346 | 1109891.7203 | 2585360.594 | 1109883.6198 | 2585359.8868 | 1109878.7747
53 | 2585343.4865 | 1109900.0696 | 2585329.7883 | 1109913.9209 | 2585312.2774 | 1109935.9967 | 2585309.3057 | 1109943.7411 | 2585307.9008 | 1109953.8607 | 2585308.0576 | 1109957.8122
54 | 2585359.1155 | 1109878.7467 | 2585359.8868 | 1109878.7747 | 2585359.8868 | 1109878.7747
55 | 2585198.482 | 1109698.4211 | 2585198.6597 | 1109699.9459 | 2585193.9251 | 1109713.5977 | 2585191.0013 | 1109718.322
56 | 2585092.1038 | 1109780.8622 | 2585084.4523 | 1109785.1474 | 2585068.5331 | 1109800.6834
57 | 2585165.3529 | 1109917.632 | 2585166.0146 | 1109912.3873 | 2585167.5832 | 1109897.639
58 | 2584942.9173 | 1109826.1646 | 2584959.0374 | 1109811.6319
59 | 2584905.1997 | 1109871.3473 | 2584906.3902 | 1109865.3746 | 2584940.9396 | 1109827.9475 | 2584942.9173 | 1109826.1646
60 | 2584959.0374 | 1109811.6319 | 2584976.7556 | 1109795.6585
61 | 2584905.1997 | 1109871.3473 | 2584917.9197 | 1109865.3124 | 2584927.7542 | 1109859.2539
62 | 2584976.7556 | 1109795.6585 | 2584978.9307 | 1109793.6977
63 | 2584935.0119 | 1109854.7744 | 2584934.0996 | 1109855.3448 | 2584927.7542 | 1109859.2539
64 | 2584935.0119 | 1109854.7744 | 2584969.0126 | 1109833.5135 | 2584969.4898 | 1109833.2169
65 | 2584974.7223 | 1109829.9642 | 2584969.4898 | 1109833.2169
66 | 2584892.0839 | 1109805.3916 | 2584912.9999 | 1109804.6501 | 2584924.2127 | 1109798.4301 | 2584926.1322 | 1109797.1958
67 | 2584926.1322 | 1109797.1958 | 2584942.9382 | 1109786.389
68 | 2584974.7223 | 1109829.9642 | 2585009.0033 | 1109808.6572
69 | 2584974.7223 | 1109829.9642 | 2584987.5699 | 1109831.6664 | 2584988.2215 | 1109845.0937 | 2584991.9956 | 1109850.3938
70 | 2585009.0033 | 1109808.6572 | 2585011.1868 | 1109807.3067 | 2585019.9232 | 1109799.0146
71 | 2585009.0033 | 1109808.6572 | 2585019.4567 | 1109820.2259 | 2585031.0692 | 1109822.4649 | 2585040.5492 | 1109817.7791
72 | 2584991.9956 | 1109850.3938 | 2584994.7727 | 1109854.2937
73 | 2585019.9232 | 1109799.0146 | 2585022.8878 | 1109796.2007
74 | 2585040.5492 | 1109817.7791 | 2585046.5982 | 1109814.7892 | 2585068.5331 | 1109800.6834 | 2585068.5331 | 1109800.6834
75 | 2584994.7727 | 1109854.2937 | 2585000.7066 | 1109862.6269 | 2584995.9685 | 1109874.6224 | 2584998.2615 | 1109879.9861
76 | 2584998.2615 | 1109879.9861 | 2584998.2615 | 1109879.9861 | 2585011.5348 | 1109885.1223 | 2585016.6875 | 1109886.7782
77 | 2585016.6875 | 1109886.7782 | 2585020.2302 | 1109887.9167
78 | 2585020.2302 | 1109887.9167 | 2585047.3672 | 1109921.745
79 | 2585022.8878 | 1109796.2007 | 2585023.5992 | 1109795.5255 | 2585027.3387 | 1109784.72
80 | 2585056.1966 | 1109917.9278 | 2585047.3672 | 1109921.745
81 | 2585000.5349 | 1109951.8509 | 2585007.102 | 1109945.2743 | 2585019.3616 | 1109934.3496 | 2585036.4121 | 1109926.4811 | 2585047.3672 | 1109921.745
82 | 2585165.3529 | 1109917.632 | 2585164.15 | 1109927.1659 | 2585161.846 | 1109931.8632
83 | 2585139.1801 | 1109964.3058 | 2585144.341 | 1109960.3089 | 2585149.4026 | 1109954.0934 | 2585156.338 | 1109943.0931 | 2585161.846 | 1109931.8632
84 | 2585027.3387 | 1109784.72 | 2585028.8012 | 1109780.494 | 2585036.3053 | 1109771.3375 | 2585060.8016 | 1109746.1532 | 2585074.8471 | 1109735.3464 | 2585083.6699 | 1109728.1432 | 2585088.8436 | 1109722.14
85 | 2585012.031 | 1109734.335 | 2585010.8048 | 1109734.7753
86 | 2585012.031 | 1109734.335 | 2585027.7144 | 1109728.7043 | 2585032.2155 | 1109723.9019 | 2585034.3961 | 1109715.1032 | 2585048.8092 | 1109706.0741 | 2585053.6045 | 1109698.3584 | 2585053.6045 | 1109698.3584
87 | 2585053.6045 | 1109698.3584 | 2585059.4131 | 1109694.153 | 2585064.1946 | 1109683.9472 | 2585074.8095 | 1109676.4283 | 2585089.5063 | 1109660.195 | 2585093.582 | 1109645.7888 | 2585101.5701 | 1109632.2846 | 2585106.6162 | 1109625.3743
88 | 2585115.2535 | 1109613.546 | 2585106.6162 | 1109625.3743
89 | 2585108.6309 | 1109699.1802 | 2585088.8436 | 1109722.14
90 | 2585135.0583 | 1109682.9216 | 2585122.539 | 1109689.8726 | 2585110.4472 | 1109697.0727 | 2585108.6309 | 1109699.1802
91 | 2585143.0837 | 1109666.2474 | 2585142.7164 | 1109671.0691 | 2585137.9041 | 1109681.3416 | 2585135.0583 | 1109682.9216
92 | 2585144.5463 | 1109647.0492 | 2585143.0837 | 1109666.2474
93 | 2585124.1004 | 1109599.2237 | 2585123.2513 | 1109602.7497 | 2585116.558 | 1109611.7596 | 2585115.2535 | 1109613.546
94 | 2585124.1004 | 1109599.2237 | 2585126.3968 | 1109596.5611 | 2585129.13 | 1109592.4079 | 2585129.3234 | 1109592.0429
95 | 2585164.2146 | 1109564.0074 | 2585161.5316 | 1109563.447 | 2585156.9948 | 1109566.393 | 2585152.3661 | 1109569.706 | 2585146.9783 | 1109575.3777 | 2585143.4838 | 1109577.932 | 2585138.476 | 1109581.057 | 2585134.6045 | 1109584.2792 | 2585131.4838 | 1109587.9665 | 2585129.3234 | 1109592.0429
96 | 2585179.1163 | 1109486.2654 | 2585117.2283 | 1109473.2001
97 | 2585179.1163 | 1109486.2654 | 2585177.6633 | 1109473.6405 | 2585182.5951 | 1109458.443 | 2585195.7323 | 1109441.9185
98 | 2585179.1163 | 1109486.2654 | 2585183.064 | 1109520.6379
99 | 2584939.6538 | 1109662.357 | 2584945.717 | 1109658.3734 | 2584951.7261 | 1109654.0118 | 2584957.8313 | 1109650.2123
100 | 2584939.6538 | 1109662.357 | 2584916.623 | 1109677.4889 | 2584907.2893 | 1109679.2314
101 | 2584907.2893 | 1109679.2314 | 2584897.7318 | 1109681.0156
102 | 2584881.4926 | 1109682.5418 | 2584887.4099 | 1109682.9425 | 2584897.7318 | 1109681.0156
103 | 2584763.6146 | 1109678.7296 | 2584778.3846 | 1109682.5942 | 2584857.9695 | 1109680.9487 | 2584881.4926 | 1109682.5418
104 | 2584763.6146 | 1109678.7296 | 2584819.8955 | 1109656.8324 | 2584839.2787 | 1109648.2905 | 2584841.4217 | 1109646.7224
105 | 2584763.6146 | 1109678.7296 | 2584756.1377 | 1109680.1936 | 2584746.0915 | 1109680.1635 | 2584729.5027 | 1109678.2823 | 2584722.1938 | 1109681.9915 | 2584713.8901 | 1109686.5148 | 2584716.8234 | 1109682.1496 | 2584719.1962 | 1109673.1614 | 2584731.0523 | 1109661.5367 | 2584746.5922 | 1109649.0134 | 2584764.3646 | 1109633.0049 | 2584785.6578 | 1109600.4239
106 | 2584909.5284 | 1109600.146 | 2584909.5284 | 1109600.146 | 2584901.7109 | 1109604.4441
107 | 2584909.5284 | 1109600.146 | 2584915.1185 | 1109593.8322
108 | 2584875.9012 | 1109626.6989 | 2584875.9012 | 1109626.6989 | 2584885.3578 | 1109613.4353 | 2584901.7109 | 1109604.4441
109 | 2584916.9338 | 1109591.782 | 2584915.1185 | 1109593.8322
110 | 2584875.9012 | 1109626.6989 | 2584868.1047 | 1109630.3028
111 | 2584916.9338 | 1109591.782 | 2584924.7096 | 1109582.9995 | 2584935.4599 | 1109573.6109
112 | 2584853.5625 | 1109637.8382 | 2584856.5806 | 1109635.6296 | 2584868.1047 | 1109630.3028
113 | 2584935.4599 | 1109573.6109 | 2584939.9006 | 1109569.7327 | 2584946.5269 | 1109559.6927
114 | 2584847.4641 | 1109642.3007 | 2584853.5625 | 1109637.8382
115 | 2584948.365 | 1109556.9076 | 2584946.5269 | 1109559.6927
116 | 2584847.4641 | 1109642.3007 | 2584841.4217 | 1109646.7224
117 | 2584785.6578 | 1109600.4239 | 2584792.258 | 1109579.1967 | 2584801.3263 | 1109559.0527 | 2584803.8003 | 1109555.1904
118 | 2584785.6578 | 1109600.4239 | 2584795.3317 | 1109599.8325 | 2584801.7693 | 1109596.8482 | 2584804.3003 | 1109594.7119
119 | 2584831.5323 | 1109511.8976 | 2584803.8003 | 1109555.1904
120 | 2584804.3003 | 1109594.7119 | 2584806.9418 | 1109592.4823
121 | 2584806.9418 | 1109592.4823 | 2584809.2726 | 1109590.515 | 2584816.5439 | 1109584.0713 | 2584822.4171 | 1109577.9826
122 | 2584840.9682 | 1109568.1775 | 2584835.8492 | 1109572.1279 | 2584831.3165 | 1109573.5622 | 2584827.3792 | 1109575.1284 | 2584823.3268 | 1109577.0396 | 2584822.4171 | 1109577.9826
123 | 2584841.5723 | 1109567.7113 | 2584840.9682 | 1109568.1775
124 | 2585164.2146 | 1109564.0074 | 2585154.8236 | 1109575.9586 | 2585148.7812 | 1109595.1497 | 2585147.5887 | 1109609.233
125 | 2585164.2146 | 1109564.0074 | 2585166.649 | 1109560.9109 | 2585180.5465 | 1109539.9441 | 2585180.686 | 1109539.3468
126 | 2585226.8333 | 1109411.2625 | 2585220.4872 | 1109417.9188 | 2585205.1226 | 1109430.1069 | 2585195.7323 | 1109441.9185
127 | 2585183.6017 | 1109525.3195 | 2585183.064 | 1109520.6379
128 | 2585147.5887 | 1109609.233 | 2585145.9802 | 1109628.2286 | 2585144.5463 | 1109647.0492
129 | 2585182.3202 | 1109532.348 | 2585180.686 | 1109539.3468
130 | 2585226.8333 | 1109411.2625 | 2585227.2012 | 1109410.8766
131 | 2585183.7203 | 1109526.3518 | 2585183.6017 | 1109525.3195
132 | 2585183.7203 | 1109526.3518 | 2585183.7203 | 1109526.3518 | 2585182.3202 | 1109532.348
133 | 2585276.5779 | 1109737.3405 | 2585276.5779 | 1109737.3405 | 2585280.8481 | 1109729.6818 | 2585286.6327 | 1109721.8972 | 2585297.0527 | 1109700.2057
134 | 2585340.6269 | 1109616.6883 | 2585328.4918 | 1109625.6807 | 2585324.3376 | 1109627.0804 | 2585313.8787 | 1109632.1639 | 2585310.0555 | 1109636.1975 | 2585305.4731 | 1109645.8356 | 2585305.6796 | 1109654.4616 | 2585307.4435 | 1109667.9196 | 2585305.776 | 1109678.1398 | 2585301.3567 | 1109691.246 | 2585297.0527 | 1109700.2057
135 | 2585344.73 | 1109613.6477 | 2585340.6269 | 1109616.6883
136 | 2585344.73 | 1109613.6477 | 2585347.8926 | 1109611.3042 | 2585354.6976 | 1109606.7409 | 2585361.7248 | 1109601.399 | 2585371.1471 | 1109589.4591 | 2585375.441 | 1109581.9338 | 2585379.2271 | 1109572.1197 | 2585385.4332 | 1109558.4224
137 | 2585391.5155 | 1109543.7759 | 2585386.6142 | 1109555.816 | 2585385.4332 | 1109558.4224
138 | 2585391.5155 | 1109543.7759 | 2585390.8608 | 1109570.1906 | 2585396.7477 | 1109620.4902 | 2585400.7266 | 1109636.0328 | 2585400.3984 | 1109645.5224
139 | 2585399.9318 | 1109658.8794 | 2585400.3221 | 1109647.7285 | 2585400.3984 | 1109645.5224
140 | 2585391.5155 | 1109543.7759 | 2585395.8716 | 1109536.3839 | 2585402.5372 | 1109522.094 | 2585403.3178 | 1109520.1747
141 | 2585403.3178 | 1109520.1747 | 2585403.3731 | 1109520.0386
142 | 2585242.2104 | 1109384.869 | 2585227.2012 | 1109410.8766 | 2585227.2012 | 1109410.8766

## bus_geodata
| x | y | coords
0 | 2585179.2802 | 1108909.2538
1 | 2585149.2212 | 1108932.8746
2 | 2584999.9858 | 1109224.9336
3 | 2584984.9746 | 1109281.3609
4 | 2584971.6459 | 1109303.1949
5 | 2584948.2436 | 1109320.7769
6 | 2584872.5623 | 1109457.134
7 | 2584866.5586 | 1109472.9347
8 | 2584833.1975 | 1109510.2815
9 | 2585004.8801 | 1109591.0998
10 | 2584992.9263 | 1109610.5921
11 | 2585012.5404 | 1109578.2457
12 | 2584981.8053 | 1109627.8468
13 | 2585016.3235 | 1109571.845
14 | 2584971.9024 | 1109640.2392
15 | 2585031.266 | 1109545.6539
16 | 2584960.9562 | 1109648.2676
17 | 2585073.4693 | 1109512.7724
18 | 2584875.8092 | 1109733.6819
19 | 2584875.6959 | 1109733.7333
20 | 2584904.9446 | 1109720.4681
21 | 2584925.3351 | 1109711.2203
22 | 2584958.6919 | 1109691.9549
23 | 2584975.7159 | 1109680.0076
24 | 2584980.4096 | 1109752.9704
25 | 2585213.6699 | 1109816.4815
26 | 2585224.9531 | 1109812.702
27 | 2585195.1225 | 1109826.7065
28 | 2585254.8104 | 1109788.4051
29 | 2585311.7936 | 1109911.897
30 | 2585161.811 | 1109837.1047
31 | 2585173.1132 | 1109858.1092
32 | 2585164.922 | 1109741.6816
33 | 2585179.4637 | 1109731.5623
34 | 2585154.7967 | 1109748.1982
35 | 2585256.6079 | 1109785.7233
36 | 2585323.9249 | 1109902.2835
37 | 2585354.7897 | 1109950.3249
38 | 2585409.3298 | 1109869.9616
39 | 2585114.3286 | 1109767.7143
40 | 2585169.7546 | 1109877.2225
41 | 2585127.383 | 1109756.3467
42 | 2585267.5815 | 1109769.3517
43 | 2585343.4865 | 1109900.0696
44 | 2585359.8868 | 1109878.7747
45 | 2585308.0576 | 1109957.8122
46 | 2585359.1155 | 1109878.7467
47 | 2585191.0013 | 1109718.322
48 | 2585118.8785 | 1109763.9093
49 | 2585092.1038 | 1109780.8622
50 | 2585167.5832 | 1109897.639
51 | 2584942.9173 | 1109826.1646
52 | 2584959.0374 | 1109811.6319
53 | 2584905.1997 | 1109871.3473
54 | 2584976.7556 | 1109795.6585
55 | 2584927.7542 | 1109859.2539
56 | 2584978.9307 | 1109793.6977
57 | 2584935.0119 | 1109854.7744
58 | 2584969.4898 | 1109833.2169
59 | 2584892.0839 | 1109805.3916
60 | 2584926.1322 | 1109797.1958
61 | 2584974.7223 | 1109829.9642
62 | 2585009.0033 | 1109808.6572
63 | 2584991.9956 | 1109850.3938
64 | 2585019.9232 | 1109799.0146
65 | 2585040.5492 | 1109817.7791
66 | 2584994.7727 | 1109854.2937
67 | 2584998.2615 | 1109879.9861
68 | 2585016.6875 | 1109886.7782
69 | 2585020.2302 | 1109887.9167
70 | 2585022.8878 | 1109796.2007
71 | 2585068.5331 | 1109800.6834
72 | 2585047.3672 | 1109921.745
73 | 2585000.5349 | 1109951.8509
74 | 2585056.1966 | 1109917.9278
75 | 2585165.3529 | 1109917.632
76 | 2585161.846 | 1109931.8632
77 | 2585139.1801 | 1109964.3058
78 | 2585027.3387 | 1109784.72
79 | 2584942.9382 | 1109786.389
80 | 2585010.8048 | 1109734.7753
81 | 2585012.031 | 1109734.335
82 | 2585053.6045 | 1109698.3584
83 | 2585106.6162 | 1109625.3743
84 | 2585088.8436 | 1109722.14
85 | 2585108.6309 | 1109699.1802
86 | 2585135.0583 | 1109682.9216
87 | 2585143.0837 | 1109666.2474
88 | 2585115.2535 | 1109613.546
89 | 2585124.1004 | 1109599.2237
90 | 2585129.3234 | 1109592.0429
91 | 2584988.2182 | 1109671.2336
92 | 2585117.2283 | 1109473.2001
93 | 2585179.1163 | 1109486.2654
94 | 2584957.8313 | 1109650.2123
95 | 2584939.6538 | 1109662.357
96 | 2584907.2893 | 1109679.2314
97 | 2584897.7318 | 1109681.0156
98 | 2584881.4926 | 1109682.5418
99 | 2584763.6146 | 1109678.7296
100 | 2584909.5284 | 1109600.146
101 | 2584901.7109 | 1109604.4441
102 | 2584915.1185 | 1109593.8322
103 | 2584875.9012 | 1109626.6989
104 | 2584916.9338 | 1109591.782
105 | 2584868.1047 | 1109630.3028
106 | 2584935.4599 | 1109573.6109
107 | 2584853.5625 | 1109637.8382
108 | 2584946.5269 | 1109559.6927
109 | 2584841.4217 | 1109646.7224
110 | 2584785.6578 | 1109600.4239
111 | 2584847.4641 | 1109642.3007
112 | 2584803.8003 | 1109555.1904
113 | 2584804.3003 | 1109594.7119
114 | 2584831.5323 | 1109511.8976
115 | 2584806.9418 | 1109592.4823
116 | 2584948.365 | 1109556.9076
117 | 2584840.9682 | 1109568.1775
118 | 2584822.4171 | 1109577.9826
119 | 2584841.5723 | 1109567.7113
120 | 2584843.1411 | 1109511.6549
121 | 2585164.2146 | 1109564.0074
122 | 2585195.7323 | 1109441.9185
123 | 2585183.064 | 1109520.6379
124 | 2585147.5887 | 1109609.233
125 | 2585180.686 | 1109539.3468
126 | 2585226.8333 | 1109411.2625
127 | 2585183.6017 | 1109525.3195
128 | 2585144.5463 | 1109647.0492
129 | 2585182.3202 | 1109532.348
130 | 2585183.7203 | 1109526.3518
131 | 2585198.482 | 1109698.4211
132 | 2585276.5779 | 1109737.3405
133 | 2585297.0527 | 1109700.2057
134 | 2585340.6269 | 1109616.6883
135 | 2585344.73 | 1109613.6477
136 | 2585385.4332 | 1109558.4224
137 | 2585400.3984 | 1109645.5224
138 | 2585391.5155 | 1109543.7759
139 | 2585399.9318 | 1109658.8794
140 | 2585403.3178 | 1109520.1747
141 | 2585403.3731 | 1109520.0386
142 | 2585227.2012 | 1109410.8766
143 | 2585242.2104 | 1109384.869
144 | 2585124.1004 | 1109599.2237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1