## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6139-4_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6139-4_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6139-4_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6139-4_0_6_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6139-4_0_6_node_80 | 0.4 | n |  | TRUE
5 | bus_LV_6139-4_0_6_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_6139-4_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6139-4_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6139-4_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_6139-4_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_6139-4_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_6139-4_0_6_node_59 | 0.4 | n |  | TRUE
12 | bus_LV_6139-4_0_6_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_6139-4_0_6_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_6139-4_0_6_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_6139-4_0_6_node_60 | 0.4 | n |  | TRUE
16 | bus_LV_6139-4_0_6_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_6139-4_0_6_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6139-4_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6139-4_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_6139-4_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6139-4_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6139-4_0_6_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_6139-4_0_6_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_6139-4_0_6_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_6139-4_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6139-4_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6139-4_0_6_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_6139-4_0_6_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_6139-4_0_6_node_77 | 0.4 | n |  | TRUE
30 | bus_LV_6139-4_0_6_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_6139-4_0_6_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_6139-4_0_6_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_6139-4_0_6_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_6139-4_0_6_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_6139-4_0_6_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_6139-4_0_6_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_6139-4_0_6_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_6139-4_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_6139-4_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_6139-4_0_6_node_57 | 0.4 | n |  | TRUE
41 | bus_LV_6139-4_0_6_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_6139-4_0_6_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_6139-4_0_6_node_58 | 0.4 | n |  | TRUE
44 | bus_LV_6139-4_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6139-4_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6139-4_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6139-4_0_6_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_6139-4_0_6_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_6139-4_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_6139-4_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_6139-4_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_6139-4_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_6139-4_0_6_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_6139-4_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_6139-4_0_6_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_6139-4_0_6_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_6139-4_0_6_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_6139-4_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_6139-4_0_6_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_6139-4_0_6_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_6139-4_0_6_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_6139-4_0_6_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_6139-4_0_6_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_6139-4_0_6_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_6139-4_0_6_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_6139-4_0_6_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_6139-4_0_6_node_72 | 0.4 | n |  | TRUE
68 | bus_LV_6139-4_0_6_node_71 | 0.4 | n |  | TRUE
69 | bus_LV_6139-4_0_6_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_6139-4_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_6139-4_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_6139-4_0_6_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_6139-4_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6139-4_0_6_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_6139-4_0_6_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_6139-4_0_6_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_6139-4_0_6_node_76 | 0.4 | n |  | TRUE
78 | bus_LV_6139-4_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_6139-4_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6139-4_0_6_node_70 | 0.4 | n |  | TRUE
81 | bus_MV_103_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6139-4_0_6_load_0 | 0 | 0.019495 | 0.004886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6139-4_0_6_load_1 | 1 | 0.050085 | 0.012552 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6139-4_0_6_load_3 | 2 | 0.0091522 | 0.0022938 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6139-4_0_6_load_5 | 3 | 0.0041592 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6139-4_0_6_load_80 | 4 | 0.0042083 | 0.0010547 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6139-4_0_6_load_79 | 5 | 0.004781 | 0.0011982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6139-4_0_6_load_6 | 6 | 0.0036607 | 0.00091747 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6139-4_0_6_load_7 | 7 | 0.0029931 | 0.00075015 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6139-4_0_6_load_8 | 8 | 0.002904 | 0.0007278 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6139-4_0_6_load_9 | 9 | 0.0027739 | 0.0006952 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6139-4_0_6_load_10 | 10 | 0.0025523 | 0.00063966 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6139-4_0_6_load_59 | 11 | 0.0027116 | 0.0006796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6139-4_0_6_load_83 | 12 | 0.002863 | 0.00071754 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6139-4_0_6_load_20 | 14 | 0.0013116 | 0.00032871 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6139-4_0_6_load_18 | 16 | 0.002169 | 0.00054359 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6139-4_0_6_load_11 | 17 | 0.0054356 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6139-4_0_6_load_12 | 18 | 0.0072819 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6139-4_0_6_load_14 | 19 | 0.0015883 | 0.00039807 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6139-4_0_6_load_15 | 20 | 0.0022021 | 0.00055191 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6139-4_0_6_load_16 | 21 | 0.002626 | 0.00065814 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6139-4_0_6_load_43 | 22 | 0.0019911 | 0.00049903 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6139-4_0_6_load_41 | 23 | 0.0031803 | 0.00079706 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6139-4_0_6_load_17 | 24 | 0.0027561 | 0.00069075 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6139-4_0_6_load_19 | 25 | 0.0017951 | 0.0004499 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6139-4_0_6_load_21 | 26 | 0.0018795 | 0.00047105 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6139-4_0_6_load_63 | 27 | 0.0020627 | 0.00051696 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6139-4_0_6_load_64 | 28 | 0.002177 | 0.00054561 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6139-4_0_6_load_84 | 30 | 0.0027753 | 0.00069556 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6139-4_0_6_load_22 | 32 | 0.0073551 | 0.0018434 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6139-4_0_6_load_23 | 33 | 0.011875 | 0.0029763 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6139-4_0_6_load_25 | 35 | 0.0035627 | 0.0008929 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6139-4_0_6_load_26 | 36 | 0.0028776 | 0.00072119 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6139-4_0_6_load_51 | 38 | 0.0046909 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6139-4_0_6_load_31 | 39 | 0.0079432 | 0.0019908 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6139-4_0_6_load_56 | 41 | 0.0059479 | 0.0014907 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6139-4_0_6_load_29 | 42 | 0.016703 | 0.0041863 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6139-4_0_6_load_58 | 43 | 0.0025789 | 0.00064633 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6139-4_0_6_load_28 | 44 | 0.04516 | 0.011318 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6139-4_0_6_load_30 | 45 | 0.0088497 | 0.0022179 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6139-4_0_6_load_32 | 46 | 0.038854 | 0.0097376 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6139-4_0_6_load_78 | 47 | 0.012253 | 0.003071 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6139-4_0_6_load_36 | 49 | 0.0052253 | 0.0013096 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6139-4_0_6_load_34 | 50 | 0.0012102 | 0.00030331 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6139-4_0_6_load_39 | 51 | 0.014473 | 0.0036272 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6139-4_0_6_load_33 | 52 | 0.0092571 | 0.0023201 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6139-4_0_6_load_35 | 53 | 0.0087402 | 0.0021905 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6139-4_0_6_load_37 | 54 | 0.018108 | 0.0045384 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6139-4_0_6_load_62 | 55 | 0.0016279 | 0.00040799 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6139-4_0_6_load_61 | 56 | 0.0025021 | 0.00062709 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6139-4_0_6_load_40 | 57 | 0.0030521 | 0.00076492 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6139-4_0_6_load_42 | 58 | 0.0023085 | 0.00057857 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6139-4_0_6_load_81 | 59 | 0.0020094 | 0.00050359 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6139-4_0_6_load_44 | 60 | 0.0024423 | 0.00061209 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6139-4_0_6_load_45 | 61 | 0.0011641 | 0.00029176 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6139-4_0_6_load_46 | 62 | 0.00115 | 0.00028821 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6139-4_0_6_load_48 | 63 | 0.0011873 | 0.00029758 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6139-4_0_6_load_47 | 64 | 0.00091329 | 0.00022889 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6139-4_0_6_load_50 | 66 | 0.0016018 | 0.00040144 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6139-4_0_6_load_72 | 67 | 0.0014674 | 0.00036776 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6139-4_0_6_load_71 | 68 | 0.0010115 | 0.00025349 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6139-4_0_6_load_52 | 69 | 0.0043984 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6139-4_0_6_load_54 | 70 | 0.0080674 | 0.0020219 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6139-4_0_6_load_65 | 72 | 0.0021394 | 0.00053617 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6139-4_0_6_load_66 | 73 | 0.0018669 | 0.00046788 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6139-4_0_6_load_73 | 74 | 0.0027311 | 0.00068448 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6139-4_0_6_load_67 | 75 | 0.0018462 | 0.00046269 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6139-4_0_6_load_68 | 76 | 0.0017704 | 0.00044371 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6139-4_0_6_load_76 | 77 | 0.0026352 | 0.00066044 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6139-4_0_6_load_74 | 78 | 0.0031734 | 0.00079532 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6139-4_0_6_load_69 | 79 | 0.0022519 | 0.00056437 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6139-4_0_6_load_70 | 80 | 0.00154 | 0.00038597 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6139-4_0_6_line_0 |  | 0 | 1 | 0.029554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6139-4_0_6_line_1 |  | 1 | 2 | 0.034408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6139-4_0_6_line_2 |  | 2 | 3 | 0.0071655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6139-4_0_6_line_3 |  | 3 | 4 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6139-4_0_6_line_4 |  | 4 | 5 | 0.013589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6139-4_0_6_line_5 |  | 5 | 51 | 0.0069908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6139-4_0_6_line_6 |  | 6 | 7 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6139-4_0_6_line_7 |  | 6 | 8 | 0.030938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6139-4_0_6_line_8 |  | 7 | 9 | 0.016795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6139-4_0_6_line_9 |  | 8 | 10 | 0.013831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6139-4_0_6_line_10 |  | 9 | 11 | 0.03426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6139-4_0_6_line_11 |  | 10 | 14 | 0.0013892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6139-4_0_6_line_12 |  | 11 | 15 | 0.038925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6139-4_0_6_line_13 |  | 12 | 13 | 0.081875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6139-4_0_6_line_14 |  | 13 | 29 | 0.001934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6139-4_0_6_line_15 |  | 14 | 16 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6139-4_0_6_line_16 |  | 15 | 71 | 0.074315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6139-4_0_6_line_17 |  | 16 | 24 | 0.0020413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6139-4_0_6_line_18 |  | 17 | 18 | 0.0024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6139-4_0_6_line_19 |  | 18 | 19 | 0.037854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6139-4_0_6_line_20 |  | 19 | 20 | 0.023185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6139-4_0_6_line_21 |  | 20 | 21 | 0.0068083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6139-4_0_6_line_22 |  | 21 | 22 | 0.012744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6139-4_0_6_line_23 |  | 22 | 23 | 0.0075243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6139-4_0_6_line_24 |  | 23 | 59 | 0.067078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6139-4_0_6_line_25 |  | 23 | 57 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6139-4_0_6_line_26 |  | 24 | 25 | 0.021811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6139-4_0_6_line_27 |  | 25 | 26 | 0.0071236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6139-4_0_6_line_28 |  | 26 | 27 | 0.0012557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6139-4_0_6_line_29 |  | 27 | 28 | 0.0081894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6139-4_0_6_line_30 |  | 28 | 72 | 0.040405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6139-4_0_6_line_31 |  | 28 | 30 | 0.037989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6139-4_0_6_line_32 |  | 29 | 30 | 0.023852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6139-4_0_6_line_33 |  | 29 | 31 | 0.028249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6139-4_0_6_line_34 |  | 31 | 74 | 0.026322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6139-4_0_6_line_35 |  | 32 | 33 | 0.0026791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6139-4_0_6_line_36 |  | 32 | 34 | 0.046643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6139-4_0_6_line_37 |  | 33 | 35 | 0.012166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6139-4_0_6_line_38 |  | 34 | 36 | 0.0069057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6139-4_0_6_line_39 |  | 34 | 37 | 0.0157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6139-4_0_6_line_40 |  | 35 | 38 | 0.0091111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6139-4_0_6_line_41 |  | 36 | 39 | 0.044471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6139-4_0_6_line_42 |  | 37 | 40 | 0.02692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6139-4_0_6_line_43 |  | 37 | 41 | 0.02117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6139-4_0_6_line_44 |  | 39 | 42 | 0.031674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6139-4_0_6_line_45 |  | 40 | 43 | 0.013729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6139-4_0_6_line_46 |  | 42 | 44 | 0.0093718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6139-4_0_6_line_47 |  | 44 | 45 | 0.0379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6139-4_0_6_line_48 |  | 45 | 46 | 0.033893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6139-4_0_6_line_49 |  | 45 | 47 | 0.08341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6139-4_0_6_line_50 |  | 46 | 48 | 0.0033663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6139-4_0_6_line_51 |  | 47 | 49 | 0.0031198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6139-4_0_6_line_52 |  | 48 | 51 | 0.014185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6139-4_0_6_line_53 |  | 49 | 50 | 0.019868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6139-4_0_6_line_54 |  | 50 | 52 | 0.015887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6139-4_0_6_line_55 |  | 52 | 53 | 0.0044165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6139-4_0_6_line_56 |  | 53 | 54 | 0.029762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6139-4_0_6_line_57 |  | 54 | 55 | 0.03757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6139-4_0_6_line_58 |  | 55 | 56 | 0.049243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6139-4_0_6_line_59 |  | 56 | 70 | 0.065177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6139-4_0_6_line_60 |  | 57 | 58 | 0.0037509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6139-4_0_6_line_61 |  | 58 | 60 | 0.011215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6139-4_0_6_line_62 |  | 60 | 61 | 0.029631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6139-4_0_6_line_63 |  | 61 | 62 | 0.022289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6139-4_0_6_line_64 |  | 62 | 63 | 0.018228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6139-4_0_6_line_65 |  | 63 | 64 | 0.023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6139-4_0_6_line_66 |  | 64 | 65 | 0.023979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6139-4_0_6_line_67 |  | 65 | 66 | 0.021381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6139-4_0_6_line_68 |  | 66 | 67 | 0.010996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6139-4_0_6_line_69 |  | 67 | 68 | 0.0076079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6139-4_0_6_line_70 |  | 68 | 80 | 0.013174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6139-4_0_6_line_71 |  | 69 | 70 | 0.071836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6139-4_0_6_line_72 |  | 69 | 71 | 0.013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6139-4_0_6_line_73 |  | 72 | 73 | 0.0029558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6139-4_0_6_line_74 |  | 73 | 75 | 0.013529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_6139-4_0_6_line_75 |  | 74 | 78 | 0.016528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6139-4_0_6_line_76 |  | 75 | 76 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_6139-4_0_6_line_77 |  | 75 | 77 | 0.040012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6139-4_0_6_line_78 |  | 76 | 79 | 0.021133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6139-4_0_6_line_79 |  | 79 | 80 | 0.00047569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6139-4_0_6_trafo_78 | 0.63 MVA 20/0.4 kV | 81 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2584162.6774 | 1110309.4911 | 2584174.2369 | 1110282.2913
1 | 2584174.2369 | 1110282.2913 | 2584180.5084 | 1110267.5344 | 2584188.3697 | 1110250.9278 | 2584188.3697 | 1110250.9278
2 | 2584192.048 | 1110244.7785 | 2584188.3697 | 1110250.9278
3 | 2584204.8759 | 1110225.5051 | 2584198.9327 | 1110233.2691 | 2584192.048 | 1110244.7785
4 | 2584213.1356 | 1110214.7149 | 2584204.8759 | 1110225.5051
5 | 2584213.1356 | 1110214.7149 | 2584215.3124 | 1110211.8711 | 2584217.6463 | 1110209.3856
6 | 2584184.0567 | 1109952.0866 | 2584185.0792 | 1109950.876 | 2584197.1375 | 1109940.6987
7 | 2584184.0567 | 1109952.0866 | 2584174.9259 | 1109962.8975 | 2584169.187 | 1109972.7174 | 2584165.5191 | 1109976.6985
8 | 2584210.1803 | 1109930.1586 | 2584208.28 | 1109931.2944 | 2584197.1375 | 1109940.6987
9 | 2584165.5191 | 1109976.6985 | 2584161.7126 | 1109980.83 | 2584153.6532 | 1109982.4105
10 | 2584210.1803 | 1109930.1586 | 2584239.5883 | 1109912.5819
11 | 2584153.6532 | 1109982.4105 | 2584152.29 | 1109982.6778 | 2584152.29 | 1109982.6778
12 | 2584274.0925 | 1109894.6153 | 2584248.146 | 1109907.4672 | 2584239.5883 | 1109912.5819
13 | 2584127.3329 | 1109860.3603 | 2584127.4342 | 1109866.5632 | 2584127.1194 | 1109879.0813 | 2584126.0872 | 1109889.1446 | 2584126.7531 | 1109907.2519 | 2584126.3227 | 1109911.0994 | 2584125.7185 | 1109913.4577 | 2584124.9292 | 1109916.0055 | 2584123.6213 | 1109918.1878 | 2584121.7886 | 1109920.6494 | 2584119.9487 | 1109923.2778 | 2584118.2 | 1109925.3834 | 2584117.4176 | 1109927.5643 | 2584116.1959 | 1109930.2022 | 2584115.6696 | 1109932.8271 | 2584115.2451 | 1109935.9742 | 2584114.1792 | 1109939.1008
14 | 2584112.3922 | 1109938.3496 | 2584114.1792 | 1109939.1008
15 | 2584152.29 | 1109982.6778 | 2584141.055 | 1109982.9519 | 2584141.055 | 1109982.9519
16 | 2584274.0925 | 1109894.6153 | 2584286.3147 | 1109890.5704 | 2584311.7716 | 1109876.5749 | 2584326.3054 | 1109875.8701 | 2584326.454 | 1109879.5382 | 2584327.321 | 1109883.06 | 2584331.9725 | 1109885.8604 | 2584337.0243 | 1109885.0802
17 | 2584141.055 | 1109982.9519 | 2584139.0171 | 1109982.8324
18 | 2584063.5247 | 1110237.8929 | 2584064.4478 | 1110235.5795
19 | 2584069.071 | 1110199.4124 | 2584065.5931 | 1110206.9511 | 2584061.3557 | 1110223.4038 | 2584064.4478 | 1110235.5795 | 2584064.4478 | 1110235.5795
20 | 2584077.8479 | 1110178.1411 | 2584077.3808 | 1110182.0298 | 2584074.499 | 1110188.0626 | 2584071.8165 | 1110193.4613 | 2584069.071 | 1110199.4124
21 | 2584077.775 | 1110171.5289 | 2584078.4696 | 1110172.9669 | 2584077.8479 | 1110178.1411
22 | 2584072.2135 | 1110160.0622 | 2584074.3672 | 1110164.4735 | 2584077.775 | 1110171.5289
23 | 2584069.7493 | 1110152.9667 | 2584071.5702 | 1110158.7447 | 2584072.2135 | 1110160.0622
24 | 2584069.7493 | 1110152.9667 | 2584002.7021 | 1110150.9397
25 | 2584076.8022 | 1110133.6451 | 2584075.2106 | 1110138.5695 | 2584073.7493 | 1110141.1746 | 2584070.6058 | 1110144.6958 | 2584068.9519 | 1110150.4363 | 2584069.7493 | 1110152.9667
26 | 2584117.2437 | 1109981.5555 | 2584139.0171 | 1109982.8324
27 | 2584117.2437 | 1109981.5555 | 2584110.1324 | 1109981.1385
28 | 2584110.1324 | 1109981.1385 | 2584108.8788 | 1109981.065
29 | 2584100.7034 | 1109980.5855 | 2584108.8788 | 1109981.065
30 | 2584100.7034 | 1109980.5855 | 2584073.3905 | 1109978.9837 | 2584060.4924 | 1109977.0306
31 | 2584100.7034 | 1109980.5855 | 2584090.1598 | 1109944.0888
32 | 2584112.3922 | 1109938.3496 | 2584107.0078 | 1109941.9433 | 2584103.9414 | 1109942.4739 | 2584100.8645 | 1109941.9595 | 2584098.7535 | 1109941.4426 | 2584094.7219 | 1109942.2425 | 2584092.6143 | 1109943.0263 | 2584090.1598 | 1109944.0888
33 | 2584091.0497 | 1109921.1195 | 2584094.4743 | 1109921.6218 | 2584099.0649 | 1109924.7112 | 2584106.291 | 1109933.819 | 2584110.551 | 1109937.5652 | 2584112.3922 | 1109938.3496
34 | 2584091.0497 | 1109921.1195 | 2584087.9265 | 1109920.6608 | 2584076.9668 | 1109919.8671 | 2584064.8585 | 1109918.5758
35 | 2584308.7014 | 1110101.3837 | 2584308.7014 | 1110101.3837 | 2584308.7084 | 1110104.0628 | 2584308.7084 | 1110104.0628
36 | 2584343.2749 | 1110081.106 | 2584337.8712 | 1110080.2307 | 2584334.9668 | 1110080.6495 | 2584316.9971 | 1110103.0073 | 2584312.6536 | 1110105.7089 | 2584310.1644 | 1110105.304 | 2584308.7084 | 1110104.0628
37 | 2584308.7014 | 1110101.3837 | 2584314.3598 | 1110090.6141
38 | 2584343.2749 | 1110081.106 | 2584339.9406 | 1110087.1534
39 | 2584353.5446 | 1110069.2067 | 2584343.2749 | 1110081.106
40 | 2584318.5975 | 1110082.5486 | 2584314.3598 | 1110090.6141
41 | 2584315.3211 | 1110123.806 | 2584325.9776 | 1110112.4776 | 2584339.9406 | 1110087.1534
42 | 2584353.5446 | 1110069.2067 | 2584377.2341 | 1110056.2945
43 | 2584353.5446 | 1110069.2067 | 2584367.8306 | 1110053.5842
44 | 2584315.3211 | 1110123.806 | 2584306.0808 | 1110133.6287 | 2584291.3604 | 1110144.3106
45 | 2584377.2341 | 1110056.2945 | 2584379.875 | 1110061.5236 | 2584383.0509 | 1110067.4961 | 2584383.7022 | 1110068.3906
46 | 2584291.3604 | 1110144.3106 | 2584283.7753 | 1110149.8148
47 | 2584253.541 | 1110172.5947 | 2584256.8354 | 1110169.3637 | 2584283.7753 | 1110149.8148
48 | 2584229.3429 | 1110196.3267 | 2584229.3429 | 1110196.3267 | 2584253.541 | 1110172.5947
49 | 2584253.541 | 1110172.5947 | 2584194.6367 | 1110113.5396
50 | 2584227.3564 | 1110199.0444 | 2584229.3429 | 1110196.3267
51 | 2584196.1883 | 1110110.833 | 2584194.6367 | 1110113.5396
52 | 2584227.3564 | 1110199.0444 | 2584217.6463 | 1110209.3856
53 | 2584205.9849 | 1110093.5478 | 2584198.2471 | 1110107.2415 | 2584196.1883 | 1110110.833
54 | 2584205.9849 | 1110093.5478 | 2584205.9849 | 1110093.5478 | 2584218.4708 | 1110083.724
55 | 2584221.9418 | 1110080.9931 | 2584218.4708 | 1110083.724
56 | 2584246.2648 | 1110063.844 | 2584222.472 | 1110080.576 | 2584221.9418 | 1110080.9931
57 | 2584243.2503 | 1110026.3952 | 2584246.2648 | 1110063.844
58 | 2584251.9927 | 1109977.9584 | 2584250.0577 | 1109985.5677 | 2584243.2503 | 1110026.3952
59 | 2584251.9927 | 1109977.9584 | 2584253.0561 | 1109973.7763 | 2584254.0295 | 1109961.8456 | 2584253.7042 | 1109946.75 | 2584256.5727 | 1109941.4288 | 2584261.7554 | 1109937.5355 | 2584280.9184 | 1109928.3174
60 | 2584076.8022 | 1110133.6451 | 2584077.3107 | 1110132.0718 | 2584077.6089 | 1110129.9957
61 | 2584079.6252 | 1110118.9703 | 2584078.3426 | 1110124.8877 | 2584077.6089 | 1110129.9957
62 | 2584079.6252 | 1110118.9703 | 2584079.6252 | 1110118.9703 | 2584077.7492 | 1110110.8379 | 2584075.4925 | 1110099.0157 | 2584075.4681 | 1110089.7667
63 | 2584061.8762 | 1110072.4273 | 2584069.5062 | 1110079.4329 | 2584075.4681 | 1110089.7667 | 2584075.4681 | 1110089.7667
64 | 2584061.8762 | 1110072.4273 | 2584061.8762 | 1110072.4273 | 2584054.2672 | 1110070.4131 | 2584044.4385 | 1110070.617 | 2584043.9365 | 1110070.4591
65 | 2584023.4572 | 1110059.5927 | 2584025.1185 | 1110061.2412 | 2584031.0589 | 1110063.4488 | 2584036.2716 | 1110068.0484 | 2584043.9365 | 1110070.4591
66 | 2584003.3459 | 1110050.7937 | 2584008.0237 | 1110048.8914 | 2584014.8949 | 1110052.3972 | 2584019.912 | 1110056.0746 | 2584023.4572 | 1110059.5927
67 | 2584003.3459 | 1110050.7937 | 2584004.0118 | 1110048.3574 | 2584015.6176 | 1110033.497
68 | 2584018.732 | 1110022.9511 | 2584015.6176 | 1110033.497 | 2584015.6176 | 1110033.497
69 | 2584018.732 | 1110022.9511 | 2584020.8868 | 1110015.6548
70 | 2584024.6181 | 1110003.0202 | 2584020.8868 | 1110015.6548
71 | 2584344.0787 | 1109896.6343 | 2584329.7338 | 1109904.5866 | 2584318.5161 | 1109914.5318 | 2584305.5507 | 1109921.0355 | 2584296.759 | 1109921.9143 | 2584285.8042 | 1109925.9671 | 2584280.9184 | 1109928.3174
72 | 2584344.0787 | 1109896.6343 | 2584342.6828 | 1109891.7577 | 2584337.0243 | 1109885.0802
73 | 2584057.5699 | 1109976.5881 | 2584060.4924 | 1109977.0306
74 | 2584044.1934 | 1109974.5625 | 2584057.5699 | 1109976.5881
75 | 2584049.2928 | 1109913.4259 | 2584057.8112 | 1109917.3164 | 2584063.5402 | 1109918.4352 | 2584064.8585 | 1109918.5758
76 | 2584044.1934 | 1109974.5625 | 2584043.5196 | 1109974.4604 | 2584031.004 | 1109981.397 | 2584030.7383 | 1109982.2965
77 | 2584044.1934 | 1109974.5625 | 2584050.7334 | 1109935.0884
78 | 2584030.7383 | 1109982.2965 | 2584024.7528 | 1110002.564
79 | 2584024.7528 | 1110002.564 | 2584024.6181 | 1110003.0202

## bus_geodata
| x | y | coords
0 | 2584162.6774 | 1110309.4911
1 | 2584174.2369 | 1110282.2913
2 | 2584188.3697 | 1110250.9278
3 | 2584192.048 | 1110244.7785
4 | 2584204.8759 | 1110225.5051
5 | 2584213.1356 | 1110214.7149
6 | 2584184.0567 | 1109952.0866
7 | 2584197.1375 | 1109940.6987
8 | 2584165.5191 | 1109976.6985
9 | 2584210.1803 | 1109930.1586
10 | 2584153.6532 | 1109982.4105
11 | 2584239.5883 | 1109912.5819
12 | 2584127.3329 | 1109860.3603
13 | 2584114.1792 | 1109939.1008
14 | 2584152.29 | 1109982.6778
15 | 2584274.0925 | 1109894.6153
16 | 2584141.055 | 1109982.9519
17 | 2584063.5247 | 1110237.8929
18 | 2584064.4478 | 1110235.5795
19 | 2584069.071 | 1110199.4124
20 | 2584077.8479 | 1110178.1411
21 | 2584077.775 | 1110171.5289
22 | 2584072.2135 | 1110160.0622
23 | 2584069.7493 | 1110152.9667
24 | 2584139.0171 | 1109982.8324
25 | 2584117.2437 | 1109981.5555
26 | 2584110.1324 | 1109981.1385
27 | 2584108.8788 | 1109981.065
28 | 2584100.7034 | 1109980.5855
29 | 2584112.3922 | 1109938.3496
30 | 2584090.1598 | 1109944.0888
31 | 2584091.0497 | 1109921.1195
32 | 2584308.7084 | 1110104.0628
33 | 2584308.7014 | 1110101.3837
34 | 2584343.2749 | 1110081.106
35 | 2584314.3598 | 1110090.6141
36 | 2584339.9406 | 1110087.1534
37 | 2584353.5446 | 1110069.2067
38 | 2584318.5975 | 1110082.5486
39 | 2584315.3211 | 1110123.806
40 | 2584377.2341 | 1110056.2945
41 | 2584367.8306 | 1110053.5842
42 | 2584291.3604 | 1110144.3106
43 | 2584383.7022 | 1110068.3906
44 | 2584283.7753 | 1110149.8148
45 | 2584253.541 | 1110172.5947
46 | 2584229.3429 | 1110196.3267
47 | 2584194.6367 | 1110113.5396
48 | 2584227.3564 | 1110199.0444
49 | 2584196.1883 | 1110110.833
50 | 2584205.9849 | 1110093.5478
51 | 2584217.6463 | 1110209.3856
52 | 2584218.4708 | 1110083.724
53 | 2584221.9418 | 1110080.9931
54 | 2584246.2648 | 1110063.844
55 | 2584243.2503 | 1110026.3952
56 | 2584251.9927 | 1109977.9584
57 | 2584076.8022 | 1110133.6451
58 | 2584077.6089 | 1110129.9957
59 | 2584002.7021 | 1110150.9397
60 | 2584079.6252 | 1110118.9703
61 | 2584075.4681 | 1110089.7667
62 | 2584061.8762 | 1110072.4273
63 | 2584043.9365 | 1110070.4591
64 | 2584023.4572 | 1110059.5927
65 | 2584003.3459 | 1110050.7937
66 | 2584015.6175 | 1110033.497
67 | 2584018.732 | 1110022.9511
68 | 2584020.8868 | 1110015.6548
69 | 2584344.0787 | 1109896.6343
70 | 2584280.9184 | 1109928.3174
71 | 2584337.0243 | 1109885.0802
72 | 2584060.4924 | 1109977.0306
73 | 2584057.5699 | 1109976.5881
74 | 2584064.8585 | 1109918.5758
75 | 2584044.1934 | 1109974.5625
76 | 2584030.7383 | 1109982.2965
77 | 2584050.7334 | 1109935.0884
78 | 2584049.2928 | 1109913.4259
79 | 2584024.7528 | 1110002.564
80 | 2584024.6181 | 1110003.0202
81 | 2584117.7702 | 1110357.7886

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1