## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6140-11_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6140-11_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6140-11_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6140-11_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6140-11_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6140-11_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6140-11_0_5_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_6140-11_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6140-11_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_6140-11_0_5_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_6140-11_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6140-11_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6140-11_0_5_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6140-11_0_5_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6140-11_0_5_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6140-11_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6140-11_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6140-11_0_5_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_6140-11_0_5_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_6140-11_0_5_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_6140-11_0_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_6140-11_0_5_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6140-11_0_5_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6140-11_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6140-11_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6140-11_0_5_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_6140-11_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_6140-11_0_5_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6140-11_0_5_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6140-11_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_6140-11_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6140-11_0_5_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6140-11_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_6140-11_0_5_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6140-11_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_6140-11_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_6140-11_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_6140-11_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_6140-11_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_6140-11_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6140-11_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_6140-11_0_5_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_6140-11_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_6140-11_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_6140-11_0_5_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_6140-11_0_5_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_6140-11_0_5_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_6140-11_0_5_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_6140-11_0_5_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_6140-11_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_6140-11_0_5_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_6140-11_0_5_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_6140-11_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6140-11_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_6140-11_0_5_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_6140-11_0_5_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_6140-11_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6140-11_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_6140-11_0_5_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_6140-11_0_5_node_89 | 0.4 | n |  | TRUE
60 | bus_LV_6140-11_0_5_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_6140-11_0_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_6140-11_0_5_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_6140-11_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_6140-11_0_5_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6140-11_0_5_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_6140-11_0_5_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_6140-11_0_5_node_53 | 0.4 | n |  | TRUE
68 | bus_LV_6140-11_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_6140-11_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_6140-11_0_5_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6140-11_0_5_node_97 | 0.4 | n |  | TRUE
72 | bus_LV_6140-11_0_5_node_98 | 0.4 | n |  | TRUE
73 | bus_LV_6140-11_0_5_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_6140-11_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_6140-11_0_5_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_6140-11_0_5_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_6140-11_0_5_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6140-11_0_5_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_6140-11_0_5_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6140-11_0_5_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6140-11_0_5_node_72 | 0.4 | n |  | TRUE
82 | bus_LV_6140-11_0_5_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_6140-11_0_5_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_6140-11_0_5_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_6140-11_0_5_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_6140-11_0_5_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_6140-11_0_5_node_83 | 0.4 | n |  | TRUE
88 | bus_LV_6140-11_0_5_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_6140-11_0_5_node_85 | 0.4 | n |  | TRUE
90 | bus_LV_6140-11_0_5_node_87 | 0.4 | n |  | TRUE
91 | bus_LV_6140-11_0_5_node_94 | 0.4 | n |  | TRUE
92 | bus_LV_6140-11_0_5_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_6140-11_0_5_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_6140-11_0_5_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_6140-11_0_5_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_6140-11_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_6140-11_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_MV_104_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6140-11_0_5_load_0 | 0 | 0.015831 | 0.0039676 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6140-11_0_5_load_1 | 1 | 0.0010079 | 0.00025259 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6140-11_0_5_load_4 | 4 | 0.0035613 | 0.00089255 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6140-11_0_5_load_5 | 5 | 0.00053918 | 0.00013513 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6140-11_0_5_load_10 | 6 | 0.0012941 | 0.00032434 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6140-11_0_5_load_7 | 7 | 0.0039713 | 0.00099531 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6140-11_0_5_load_21 | 8 | 0.00032886 | 8.2421e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6140-11_0_5_load_18 | 9 | 0.00072271 | 0.00018113 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6140-11_0_5_load_8 | 10 | 0.0052228 | 0.001309 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6140-11_0_5_load_9 | 11 | 0.0031978 | 0.00080145 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6140-11_0_5_load_11 | 12 | 0.0036184 | 0.00090685 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6140-11_0_5_load_16 | 13 | 0.00079811 | 0.00020002 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6140-11_0_5_load_13 | 15 | 0.0053109 | 0.001331 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6140-11_0_5_load_14 | 16 | 0.005832 | 0.0014616 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6140-11_0_5_load_61 | 17 | 0.069049 | 0.017305 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6140-11_0_5_load_56 | 19 | 0.016649 | 0.0041725 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6140-11_0_5_load_27 | 20 | 0.014312 | 0.003587 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6140-11_0_5_load_20 | 21 | 0.0056949 | 0.0014273 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6140-11_0_5_load_15 | 22 | 0.018264 | 0.0045775 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6140-11_0_5_load_25 | 26 | 0.0013372 | 0.00033513 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6140-11_0_5_load_22 | 27 | 0.0012569 | 0.000315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6140-11_0_5_load_34 | 28 | 0.011313 | 0.0028352 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6140-11_0_5_load_28 | 29 | 0.0030435 | 0.00076277 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6140-11_0_5_load_23 | 30 | 0.0012826 | 0.00032144 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6140-11_0_5_load_59 | 32 | 0.012007 | 0.0030093 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6140-11_0_5_load_47 | 33 | 0.012652 | 0.0031709 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6140-11_0_5_load_29 | 34 | 0.0098116 | 0.002459 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6140-11_0_5_load_30 | 35 | 0.0088086 | 0.0022076 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6140-11_0_5_load_31 | 36 | 0.0049439 | 0.0012391 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6140-11_0_5_load_32 | 37 | 0.011991 | 0.0030052 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6140-11_0_5_load_33 | 38 | 0.0055959 | 0.0014025 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6140-11_0_5_load_36 | 39 | 0.0049731 | 0.0012464 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6140-11_0_5_load_37 | 40 | 0.0058202 | 0.0014587 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6140-11_0_5_load_38 | 44 | 0.0075943 | 0.0019033 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6140-11_0_5_load_39 | 45 | 0.013309 | 0.0033356 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6140-11_0_5_load_42 | 47 | 0.004308 | 0.0010797 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6140-11_0_5_load_76 | 48 | 0.004344 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6140-11_0_5_load_74 | 50 | 0.0033248 | 0.00083327 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6140-11_0_5_load_46 | 52 | 0.0043876 | 0.0010996 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6140-11_0_5_load_43 | 53 | 0.0095346 | 0.0023896 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6140-11_0_5_load_44 | 55 | 0.0070452 | 0.0017657 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6140-11_0_5_load_48 | 56 | 0.014775 | 0.003703 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6140-11_0_5_load_60 | 57 | 0.015935 | 0.0039936 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6140-11_0_5_load_58 | 58 | 0.0048924 | 0.0012261 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6140-11_0_5_load_89 | 59 | 0.0066357 | 0.0016631 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6140-11_0_5_load_86 | 60 | 0.0044511 | 0.0011155 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6140-11_0_5_load_79 | 62 | 0.0023937 | 0.00059993 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6140-11_0_5_load_66 | 63 | 0.0039261 | 0.00098398 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6140-11_0_5_load_62 | 64 | 0.0012223 | 0.00030633 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6140-11_0_5_load_77 | 65 | 0.0024583 | 0.00061612 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6140-11_0_5_load_52 | 66 | 0.019201 | 0.0048123 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6140-11_0_5_load_53 | 67 | 0.01639 | 0.0041078 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6140-11_0_5_load_54 | 68 | 0.0039345 | 0.00098607 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6140-11_0_5_load_55 | 69 | 0.018153 | 0.0045495 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6140-11_0_5_load_97 | 71 | 0.0018057 | 0.00045254 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6140-11_0_5_load_98 | 72 | 0.0016712 | 0.00041884 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6140-11_0_5_load_63 | 73 | 0.0013131 | 0.00032911 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6140-11_0_5_load_65 | 74 | 0.00044248 | 0.0001109 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6140-11_0_5_load_67 | 75 | 0.00087422 | 0.0002191 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6140-11_0_5_load_81 | 76 | 0.0012626 | 0.00031643 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6140-11_0_5_load_68 | 77 | 0.0012433 | 0.00031159 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6140-11_0_5_load_82 | 78 | 0.0037077 | 0.00092923 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6140-11_0_5_load_69 | 79 | 0.0036549 | 0.000916 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6140-11_0_5_load_70 | 80 | 0.010489 | 0.0026287 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6140-11_0_5_load_100 | 82 | 0.0038848 | 0.00097362 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6140-11_0_5_load_73 | 84 | 0.010065 | 0.0025225 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6140-11_0_5_load_78 | 85 | 0.0024911 | 0.00062432 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6140-11_0_5_load_80 | 86 | 0.0014672 | 0.00036771 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6140-11_0_5_load_83 | 87 | 0.0045581 | 0.0011424 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6140-11_0_5_load_84 | 88 | 0.0049625 | 0.0012437 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6140-11_0_5_load_94 | 91 | 0.0086255 | 0.0021618 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6140-11_0_5_load_91 | 92 | 0.006126 | 0.0015353 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6140-11_0_5_load_95 | 93 | 0.0029771 | 0.00074614 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6140-11_0_5_load_92 | 94 | 0.0058785 | 0.0014733 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6140-11_0_5_load_90 | 95 | 0.0069589 | 0.0017441 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6140-11_0_5_load_93 | 96 | 0.0049337 | 0.0012365 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6140-11_0_5_load_96 | 97 | 0.0051656 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6140-11_0_5_line_0 |  | 0 | 1 | 0.0021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6140-11_0_5_line_1 |  | 0 | 2 | 0.046741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6140-11_0_5_line_2 |  | 1 | 3 | 0.02186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6140-11_0_5_line_3 |  | 2 | 4 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6140-11_0_5_line_4 |  | 2 | 5 | 0.051901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6140-11_0_5_line_5 |  | 3 | 6 | 0.024805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6140-11_0_5_line_6 |  | 3 | 7 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6140-11_0_5_line_7 |  | 5 | 8 | 0.0069331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6140-11_0_5_line_8 |  | 6 | 9 | 0.01678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6140-11_0_5_line_9 |  | 7 | 10 | 0.012194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6140-11_0_5_line_10 |  | 9 | 13 | 0.0010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6140-11_0_5_line_11 |  | 10 | 11 | 0.011752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6140-11_0_5_line_12 |  | 11 | 12 | 0.0026954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6140-11_0_5_line_13 |  | 13 | 22 | 0.0068172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6140-11_0_5_line_14 |  | 14 | 15 | 0.016294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6140-11_0_5_line_15 |  | 14 | 16 | 0.057247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6140-11_0_5_line_16 |  | 15 | 17 | 0.017239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_6140-11_0_5_line_17 |  | 16 | 18 | 0.022916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6140-11_0_5_line_18 |  | 17 | 19 | 0.01748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6140-11_0_5_line_19 |  | 18 | 20 | 0.037551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6140-11_0_5_line_20 |  | 18 | 21 | 0.026074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6140-11_0_5_line_21 |  | 19 | 68 | 0.015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6140-11_0_5_line_22 |  | 20 | 32 | 0.019385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6140-11_0_5_line_23 |  | 21 | 23 | 0.033213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6140-11_0_5_line_24 |  | 22 | 23 | 0.047059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6140-11_0_5_line_25 |  | 23 | 24 | 0.016636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6140-11_0_5_line_26 |  | 24 | 25 | 0.034132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6140-11_0_5_line_27 |  | 24 | 26 | 0.017889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6140-11_0_5_line_28 |  | 24 | 27 | 0.053143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6140-11_0_5_line_29 |  | 25 | 28 | 0.046299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6140-11_0_5_line_30 |  | 26 | 29 | 0.017905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6140-11_0_5_line_31 |  | 27 | 30 | 0.026507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6140-11_0_5_line_32 |  | 28 | 31 | 0.059181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6140-11_0_5_line_33 |  | 31 | 40 | 0.035856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6140-11_0_5_line_34 |  | 31 | 39 | 0.027836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6140-11_0_5_line_35 |  | 32 | 33 | 0.030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6140-11_0_5_line_36 |  | 33 | 54 | 0.0090611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6140-11_0_5_line_37 |  | 34 | 35 | 0.011285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6140-11_0_5_line_38 |  | 34 | 36 | 0.018719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6140-11_0_5_line_39 |  | 35 | 37 | 0.021323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6140-11_0_5_line_40 |  | 37 | 38 | 0.0089234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6140-11_0_5_line_41 |  | 38 | 39 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6140-11_0_5_line_42 |  | 40 | 41 | 0.023558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6140-11_0_5_line_43 |  | 41 | 42 | 0.028432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6140-11_0_5_line_44 |  | 41 | 43 | 0.010323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6140-11_0_5_line_45 |  | 42 | 61 | 0.041593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6140-11_0_5_line_46 |  | 42 | 62 | 0.014956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6140-11_0_5_line_47 |  | 43 | 48 | 0.019175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6140-11_0_5_line_48 |  | 43 | 46 | 0.022542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6140-11_0_5_line_49 |  | 44 | 45 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6140-11_0_5_line_50 |  | 44 | 46 | 0.083313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6140-11_0_5_line_51 |  | 46 | 47 | 0.020368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6140-11_0_5_line_52 |  | 47 | 49 | 0.0058232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6140-11_0_5_line_53 |  | 48 | 50 | 0.017447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6140-11_0_5_line_54 |  | 49 | 51 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6140-11_0_5_line_55 |  | 49 | 52 | 0.022257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6140-11_0_5_line_56 |  | 50 | 84 | 0.032147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6140-11_0_5_line_57 |  | 51 | 59 | 0.04029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6140-11_0_5_line_58 |  | 51 | 60 | 0.014323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6140-11_0_5_line_59 |  | 52 | 55 | 0.0045344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6140-11_0_5_line_60 |  | 53 | 54 | 0.031893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6140-11_0_5_line_61 |  | 54 | 56 | 0.010978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6140-11_0_5_line_62 |  | 56 | 57 | 0.021994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6140-11_0_5_line_63 |  | 57 | 58 | 0.086014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6140-11_0_5_line_64 |  | 58 | 70 | 0.050155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6140-11_0_5_line_65 |  | 59 | 95 | 0.022759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6140-11_0_5_line_66 |  | 60 | 89 | 0.013184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6140-11_0_5_line_67 |  | 61 | 63 | 0.017342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6140-11_0_5_line_68 |  | 61 | 64 | 0.038987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6140-11_0_5_line_69 |  | 62 | 65 | 0.0031948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6140-11_0_5_line_70 |  | 63 | 76 | 0.022697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6140-11_0_5_line_71 |  | 64 | 73 | 0.0088101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6140-11_0_5_line_72 |  | 65 | 85 | 0.012141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6140-11_0_5_line_73 |  | 66 | 67 | 0.017829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6140-11_0_5_line_74 |  | 66 | 68 | 0.020719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6140-11_0_5_line_75 |  | 67 | 69 | 0.017539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6140-11_0_5_line_76 |  | 70 | 71 | 0.19707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6140-11_0_5_line_77 |  | 71 | 72 | 0.020161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6140-11_0_5_line_78 |  | 73 | 74 | 0.0078609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6140-11_0_5_line_79 |  | 74 | 75 | 0.0038892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6140-11_0_5_line_80 |  | 75 | 77 | 0.0084957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6140-11_0_5_line_81 |  | 76 | 78 | 0.01764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6140-11_0_5_line_82 |  | 79 | 80 | 0.014766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6140-11_0_5_line_83 |  | 80 | 81 | 0.03804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6140-11_0_5_line_84 |  | 81 | 82 | 0.077831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6140-11_0_5_line_85 |  | 81 | 83 | 0.020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6140-11_0_5_line_86 |  | 83 | 84 | 0.055905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6140-11_0_5_line_87 |  | 85 | 86 | 0.02422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6140-11_0_5_line_88 |  | 87 | 88 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6140-11_0_5_line_89 |  | 87 | 89 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6140-11_0_5_line_90 |  | 89 | 90 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6140-11_0_5_line_91 |  | 90 | 91 | 0.036348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6140-11_0_5_line_92 |  | 90 | 92 | 0.0094956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6140-11_0_5_line_93 |  | 91 | 93 | 0.014695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6140-11_0_5_line_94 |  | 92 | 94 | 0.062481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6140-11_0_5_line_95 |  | 93 | 97 | 0.0050591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6140-11_0_5_line_96 |  | 94 | 96 | 0.027081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6140-11_0_5_trafo_59 | 0.63 MVA 20/0.4 kV | 98 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2579727.8366 | 1113102.3217 | 2579729.8633 | 1113101.5984
1 | 2579695.9676 | 1113129.2905 | 2579696.7111 | 1113120.7393 | 2579698.9308 | 1113114.7622 | 2579702.0569 | 1113111.8836 | 2579705.1563 | 1113110.2501 | 2579709.9011 | 1113108.7223 | 2579727.8366 | 1113102.3217
2 | 2579750.385 | 1113094.1013 | 2579749.3982 | 1113094.6271 | 2579729.8633 | 1113101.5984
3 | 2579695.9676 | 1113129.2905 | 2579697.4379 | 1113141.625
4 | 2579695.9676 | 1113129.2905 | 2579687.0215 | 1113126.3191 | 2579676.0328 | 1113110.815 | 2579669.5109 | 1113100.6764 | 2579661.9609 | 1113092.1131
5 | 2579750.385 | 1113094.1013 | 2579758.2182 | 1113089.9507 | 2579768.5984 | 1113077.8531
6 | 2579750.385 | 1113094.1013 | 2579757.3615 | 1113108.5518 | 2579757.9436 | 1113108.8549
7 | 2579661.9609 | 1113092.1131 | 2579660.5792 | 1113090.5459 | 2579656.868 | 1113087.4332
8 | 2579768.5984 | 1113077.8531 | 2579779.5251 | 1113065.1184
9 | 2579757.9436 | 1113108.8549 | 2579765.3152 | 1113112.6938 | 2579768.9444 | 1113114.0739
10 | 2579780.199 | 1113064.333 | 2579779.5251 | 1113065.1184
11 | 2579768.9444 | 1113114.0739 | 2579778.3846 | 1113117.6636 | 2579779.9301 | 1113118.2468
12 | 2579782.4519 | 1113119.1983 | 2579779.9301 | 1113118.2468
13 | 2579780.199 | 1113064.333 | 2579784.6383 | 1113059.1592
14 | 2579856.4166 | 1113108.865 | 2579857.5524 | 1113108.9835 | 2579872.2527 | 1113112.6567
15 | 2579856.4166 | 1113108.865 | 2579855.209 | 1113105.7119 | 2579854.5509 | 1113102.9461 | 2579859.8172 | 1113072.5022 | 2579863.7545 | 1113052.7597
16 | 2579888.9351 | 1113116.9963 | 2579883.4322 | 1113115.4449 | 2579873.4452 | 1113112.9547 | 2579872.2527 | 1113112.6567
17 | 2579868.3422 | 1113030.3083 | 2579866.6236 | 1113038.3736 | 2579863.7545 | 1113052.7597
18 | 2579905.7594 | 1113121.7398 | 2579888.9351 | 1113116.9963
19 | 2579868.3422 | 1113030.3083 | 2579905.2912 | 1113037.0076
20 | 2579868.3422 | 1113030.3083 | 2579842.6442 | 1113025.8963
21 | 2579921.1417 | 1113126.0909 | 2579915.0356 | 1113124.3552 | 2579905.7594 | 1113121.7398
22 | 2579905.2912 | 1113037.0076 | 2579924.3654 | 1113040.466
23 | 2579809.9104 | 1113020.2763 | 2579842.6442 | 1113025.8963
24 | 2579809.9104 | 1113020.2763 | 2579803.6946 | 1113036.9498 | 2579784.6383 | 1113059.1592
25 | 2579809.9104 | 1113020.2763 | 2579812.5819 | 1113003.8592
26 | 2579812.5819 | 1113003.8592 | 2579817.5251 | 1112987.7235 | 2579824.702 | 1112972.025
27 | 2579812.5819 | 1113003.8592 | 2579830.1301 | 1113007.3364
28 | 2579812.5819 | 1113003.8592 | 2579794.5192 | 1113000.1066 | 2579760.5778 | 1112992.9176
29 | 2579824.702 | 1112972.025 | 2579836.1035 | 1112963.1936 | 2579865.3369 | 1112950.4827
30 | 2579847.6938 | 1113010.8167 | 2579830.1301 | 1113007.3364
31 | 2579760.5778 | 1112992.9176 | 2579738.9775 | 1112988.3425 | 2579734.6459 | 1112987.4251
32 | 2579919.4204 | 1112926.4532 | 2579866.7376 | 1112949.8736 | 2579865.3369 | 1112950.4827
33 | 2579919.4204 | 1112926.4532 | 2579923.855 | 1112924.4819 | 2579953.6832 | 1112916.0285
34 | 2579919.4204 | 1112926.4532 | 2579927.5469 | 1112947.6811 | 2579927.4224 | 1112952.7854
35 | 2579954.2523 | 1113045.8849 | 2579924.3654 | 1113040.466
36 | 2579963.168 | 1113047.5014 | 2579954.2523 | 1113045.8849
37 | 2579901.2354 | 1112998.2101 | 2579907.1486 | 1112988.5988
38 | 2579890.391 | 1113013.4487 | 2579898.5726 | 1113002.5382 | 2579901.2354 | 1112998.2101
39 | 2579907.1486 | 1112988.5988 | 2579918.322 | 1112970.4373
40 | 2579922.9979 | 1112962.8371 | 2579918.322 | 1112970.4373
41 | 2579922.9979 | 1112962.8371 | 2579927.3498 | 1112955.7636 | 2579927.4224 | 1112952.7854
42 | 2579975.1386 | 1112907.5698 | 2579971.921 | 1112910.8599 | 2579953.6832 | 1112916.0285
43 | 2579975.1386 | 1112907.5698 | 2579951.1746 | 1112892.1639
44 | 2579975.1386 | 1112907.5698 | 2579983.9847 | 1112912.932
45 | 2579951.1746 | 1112892.1639 | 2579916.1109 | 1112869.6359
46 | 2579951.1746 | 1112892.1639 | 2579958.9487 | 1112879.3872
47 | 2579983.9847 | 1112912.932 | 2579994.1115 | 1112896.6487
48 | 2580003.302 | 1112924.6405 | 2579983.9847 | 1112912.932
49 | 2579959.7334 | 1112995.6438 | 2579943.997 | 1113019.6891
50 | 2580003.302 | 1112924.6405 | 2579968.52 | 1112982.2178 | 2579959.7334 | 1112995.6438
51 | 2580003.302 | 1112924.6405 | 2580020.7197 | 1112935.1989
52 | 2580025.6995 | 1112938.2175 | 2580020.7197 | 1112935.1989
53 | 2580003.3257 | 1112881.8329 | 2579994.1115 | 1112896.6487
54 | 2580040.4505 | 1112947.1621 | 2580025.6995 | 1112938.2175
55 | 2580025.6995 | 1112938.2175 | 2580014.1076 | 1112957.2175
56 | 2580020.303 | 1112854.5344 | 2580003.3257 | 1112881.8329
57 | 2580040.4505 | 1112947.1621 | 2580061.3734 | 1112912.7307
58 | 2580040.4505 | 1112947.1621 | 2580052.7013 | 1112954.583
59 | 2580011.7459 | 1112961.0884 | 2580014.1076 | 1112957.2175
60 | 2579963.168 | 1113047.5014 | 2579965.4684 | 1113035.4878 | 2579969.09 | 1113025.9488 | 2579974.4362 | 1113018.1466
61 | 2579963.168 | 1113047.5014 | 2579973.9699 | 1113049.4602
62 | 2579973.9699 | 1113049.4602 | 2579995.6107 | 1113053.3844
63 | 2579995.6107 | 1113053.3844 | 2580013.618 | 1113056.6498 | 2580080.245 | 1113068.7261
64 | 2580129.5949 | 1113077.6774 | 2580128.9071 | 1113077.5462 | 2580080.245 | 1113068.7261
65 | 2580072.0768 | 1112892.686 | 2580067.3296 | 1112902.929 | 2580061.3734 | 1112912.7307
66 | 2580063.9777 | 1112961.4136 | 2580052.7013 | 1112954.583
67 | 2579916.1109 | 1112869.6359 | 2579922.1203 | 1112860.4558 | 2579925.6082 | 1112855.1258
68 | 2579916.1109 | 1112869.6359 | 2579906.4973 | 1112863.4537 | 2579888.9575 | 1112852.1842 | 2579883.3139 | 1112848.5567
69 | 2579961.2038 | 1112877.1243 | 2579958.9487 | 1112879.3872 | 2579958.9487 | 1112879.3872
70 | 2579925.6082 | 1112855.1258 | 2579938.0362 | 1112836.134
71 | 2579883.3139 | 1112848.5567 | 2579875.9027 | 1112843.7931
72 | 2579961.2038 | 1112877.1243 | 2579964.984 | 1112873.3309 | 2579970.6874 | 1112869.6545 | 2579970.6874 | 1112869.6545
73 | 2579941.0765 | 1113131.7363 | 2579958.2666 | 1113136.468
74 | 2579941.0765 | 1113131.7363 | 2579938.6918 | 1113131.0798 | 2579921.1417 | 1113126.0909
75 | 2579958.2666 | 1113136.468 | 2579975.1763 | 1113141.1226
76 | 2580129.5949 | 1113077.6774 | 2580128.6425 | 1113274.7479
77 | 2580128.6425 | 1113274.7479 | 2580133.8384 | 1113278.0076 | 2580142.8554 | 1113283.9142 | 2580145.9536 | 1113284.8883
78 | 2579869.29 | 1112839.5427 | 2579875.9027 | 1112843.7931
79 | 2579866.0184 | 1112837.4398 | 2579869.29 | 1112839.5427
80 | 2579866.0184 | 1112837.4398 | 2579858.8717 | 1112832.8462
81 | 2579947.6954 | 1112821.3735 | 2579938.0362 | 1112836.134
82 | 2579988.1373 | 1112768.1158 | 2580000.6237 | 1112775.9971
83 | 2580032.7913 | 1112796.3012 | 2580000.6237 | 1112775.9971
84 | 2579987.168 | 1112848.078 | 2579997.8497 | 1112852.6338 | 2580032.7913 | 1112796.3012
85 | 2580032.7913 | 1112796.3012 | 2580049.8272 | 1112807.0613
86 | 2580049.8272 | 1112807.0613 | 2580020.303 | 1112854.5344
87 | 2579970.6874 | 1112869.6545 | 2579977.3379 | 1112867.4203 | 2579983.3075 | 1112867.1448 | 2579987.5747 | 1112868.2312 | 2579990.878 | 1112862.2587
88 | 2580056.058 | 1112977.2012 | 2580044.8056 | 1112995.1013
89 | 2580063.9777 | 1112961.4136 | 2580060.2233 | 1112970.575 | 2580056.058 | 1112977.2012
90 | 2580063.9777 | 1112961.4136 | 2580066.0982 | 1112962.6962 | 2580079.0079 | 1112970.7464
91 | 2580079.0079 | 1112970.7464 | 2580074.3137 | 1112980.6446 | 2580061.0552 | 1113002.3015
92 | 2580079.0079 | 1112970.7464 | 2580087.0477 | 1112975.7991
93 | 2580061.0552 | 1113002.3015 | 2580057.1286 | 1113008.7154 | 2580054.6778 | 1113015.458
94 | 2580087.0477 | 1112975.7991 | 2580139.9487 | 1113009.0453
95 | 2580052.9495 | 1113020.2127 | 2580054.6778 | 1113015.458
96 | 2580139.9487 | 1113009.0453 | 2580162.8776 | 1113023.4552

## bus_geodata
| x | y | coords
0 | 2579727.8366 | 1113102.3217
1 | 2579729.8633 | 1113101.5984
2 | 2579695.9676 | 1113129.2905
3 | 2579750.385 | 1113094.1013
4 | 2579697.4379 | 1113141.625
5 | 2579661.9609 | 1113092.1131
6 | 2579768.5984 | 1113077.8531
7 | 2579757.9436 | 1113108.8549
8 | 2579656.868 | 1113087.4332
9 | 2579779.5251 | 1113065.1184
10 | 2579768.9444 | 1113114.0739
11 | 2579779.9301 | 1113118.2468
12 | 2579782.4519 | 1113119.1983
13 | 2579780.199 | 1113064.333
14 | 2579856.4166 | 1113108.865
15 | 2579872.2527 | 1113112.6567
16 | 2579863.7545 | 1113052.7597
17 | 2579888.9351 | 1113116.9963
18 | 2579868.3422 | 1113030.3083
19 | 2579905.7594 | 1113121.7398
20 | 2579905.2912 | 1113037.0076
21 | 2579842.6442 | 1113025.8963
22 | 2579784.6383 | 1113059.1592
23 | 2579809.9104 | 1113020.2763
24 | 2579812.5819 | 1113003.8592
25 | 2579824.702 | 1112972.025
26 | 2579830.1301 | 1113007.3364
27 | 2579760.5778 | 1112992.9176
28 | 2579865.3369 | 1112950.4827
29 | 2579847.6938 | 1113010.8167
30 | 2579734.6459 | 1112987.4251
31 | 2579919.4204 | 1112926.4532
32 | 2579924.3654 | 1113040.466
33 | 2579954.2523 | 1113045.8849
34 | 2579901.2354 | 1112998.2101
35 | 2579907.1486 | 1112988.5988
36 | 2579890.391 | 1113013.4487
37 | 2579918.322 | 1112970.4373
38 | 2579922.9979 | 1112962.8371
39 | 2579927.4224 | 1112952.7854
40 | 2579953.6832 | 1112916.0285
41 | 2579975.1386 | 1112907.5698
42 | 2579951.1746 | 1112892.1639
43 | 2579983.9847 | 1112912.932
44 | 2579959.7334 | 1112995.6438
45 | 2579943.997 | 1113019.6891
46 | 2580003.302 | 1112924.6405
47 | 2580020.7197 | 1112935.1989
48 | 2579994.1115 | 1112896.6487
49 | 2580025.6994 | 1112938.2175
50 | 2580003.3257 | 1112881.8329
51 | 2580040.4505 | 1112947.1621
52 | 2580014.1076 | 1112957.2175
53 | 2579974.4362 | 1113018.1466
54 | 2579963.168 | 1113047.5014
55 | 2580011.7459 | 1112961.0884
56 | 2579973.9699 | 1113049.4602
57 | 2579995.6107 | 1113053.3844
58 | 2580080.245 | 1113068.7261
59 | 2580061.3734 | 1112912.7307
60 | 2580052.7013 | 1112954.583
61 | 2579916.1109 | 1112869.6359
62 | 2579958.9487 | 1112879.3872
63 | 2579925.6082 | 1112855.1258
64 | 2579883.3139 | 1112848.5567
65 | 2579961.2038 | 1112877.1242
66 | 2579941.0765 | 1113131.7363
67 | 2579958.2666 | 1113136.468
68 | 2579921.1417 | 1113126.0909
69 | 2579975.1763 | 1113141.1226
70 | 2580129.5949 | 1113077.6774
71 | 2580128.6425 | 1113274.7479
72 | 2580145.9536 | 1113284.8883
73 | 2579875.9027 | 1112843.7931
74 | 2579869.29 | 1112839.5427
75 | 2579866.0184 | 1112837.4398
76 | 2579938.0362 | 1112836.134
77 | 2579858.8717 | 1112832.8462
78 | 2579947.6954 | 1112821.3735
79 | 2579988.1374 | 1112768.1158
80 | 2580000.6237 | 1112775.9971
81 | 2580032.7913 | 1112796.3012
82 | 2579987.168 | 1112848.078
83 | 2580049.8272 | 1112807.0613
84 | 2580020.303 | 1112854.5344
85 | 2579970.6874 | 1112869.6545
86 | 2579990.878 | 1112862.2587
87 | 2580056.058 | 1112977.2012
88 | 2580044.8056 | 1112995.1013
89 | 2580063.9777 | 1112961.4136
90 | 2580079.0079 | 1112970.7464
91 | 2580061.0552 | 1113002.3015
92 | 2580087.0477 | 1112975.7991
93 | 2580054.6778 | 1113015.458
94 | 2580139.9487 | 1113009.0453
95 | 2580072.0768 | 1112892.686
96 | 2580162.8776 | 1113023.4552
97 | 2580052.9495 | 1113020.2127
98 | 2579963.168 | 1113047.5014

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1