## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6140-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6140-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6140-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6140-12_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_6140-12_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_6140-12_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_6140-12_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_6140-12_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_6140-12_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6140-12_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_6140-12_0_4_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_6140-12_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6140-12_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6140-12_0_4_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_6140-12_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6140-12_0_4_node_94 | 0.4 | n |  | TRUE
16 | bus_LV_6140-12_0_4_node_91 | 0.4 | n |  | TRUE
17 | bus_LV_6140-12_0_4_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_6140-12_0_4_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_6140-12_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_6140-12_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6140-12_0_4_node_62 | 0.4 | n |  | TRUE
22 | bus_LV_6140-12_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_6140-12_0_4_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_6140-12_0_4_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_6140-12_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6140-12_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_6140-12_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_6140-12_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_6140-12_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_6140-12_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_6140-12_0_4_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6140-12_0_4_node_40 | 0.4 | n |  | TRUE
33 | bus_LV_6140-12_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6140-12_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_6140-12_0_4_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6140-12_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_6140-12_0_4_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6140-12_0_4_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_6140-12_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_6140-12_0_4_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_6140-12_0_4_node_89 | 0.4 | n |  | TRUE
42 | bus_LV_6140-12_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6140-12_0_4_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_6140-12_0_4_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_6140-12_0_4_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6140-12_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_6140-12_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_6140-12_0_4_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_6140-12_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_6140-12_0_4_node_57 | 0.4 | n |  | TRUE
51 | bus_LV_6140-12_0_4_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_6140-12_0_4_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_6140-12_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_6140-12_0_4_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_6140-12_0_4_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_6140-12_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_6140-12_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_6140-12_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_6140-12_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_6140-12_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_6140-12_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_6140-12_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_6140-12_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_6140-12_0_4_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_6140-12_0_4_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_6140-12_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6140-12_0_4_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_6140-12_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_6140-12_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_6140-12_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_6140-12_0_4_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_6140-12_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_LV_6140-12_0_4_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_6140-12_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_6140-12_0_4_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_6140-12_0_4_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6140-12_0_4_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_6140-12_0_4_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_6140-12_0_4_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_6140-12_0_4_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_6140-12_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_6140-12_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_6140-12_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_6140-12_0_4_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_6140-12_0_4_node_99 | 0.4 | n |  | TRUE
86 | bus_LV_6140-12_0_4_node_97 | 0.4 | n |  | TRUE
87 | bus_LV_6140-12_0_4_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_6140-12_0_4_node_98 | 0.4 | n |  | TRUE
89 | bus_LV_6140-12_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_6140-12_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_6140-12_0_4_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_6140-12_0_4_node_102 | 0.4 | n |  | TRUE
93 | bus_LV_6140-12_0_4_node_103 | 0.4 | n |  | TRUE
94 | bus_LV_6140-12_0_4_node_101 | 0.4 | n |  | TRUE
95 | bus_LV_6140-12_0_4_node_93 | 0.4 | n |  | TRUE
96 | bus_LV_6140-12_0_4_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_6140-12_0_4_node_95 | 0.4 | n |  | TRUE
98 | bus_MV_104_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6140-12_0_4_load_0 | 0 | 0.0052142 | 0.0013068 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6140-12_0_4_load_1 | 1 | 0.0063096 | 0.0015813 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6140-12_0_4_load_4 | 3 | 0.0033416 | 0.00083748 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6140-12_0_4_load_5 | 4 | 0.0073436 | 0.0018405 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6140-12_0_4_load_7 | 6 | 0.0057663 | 0.0014452 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6140-12_0_4_load_15 | 9 | 0.0022832 | 0.00057222 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6140-12_0_4_load_13 | 10 | 0.0035427 | 0.0008879 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6140-12_0_4_load_9 | 12 | 0.0024106 | 0.00060416 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6140-12_0_4_load_10 | 14 | 0.0037157 | 0.00093124 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6140-12_0_4_load_94 | 15 | 0.0059335 | 0.0014871 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6140-12_0_4_load_91 | 16 | 0.004773 | 0.0011962 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6140-12_0_4_load_92 | 18 | 0.001538 | 0.00038547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6140-12_0_4_load_16 | 19 | 0.0036942 | 0.00092585 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6140-12_0_4_load_17 | 20 | 0.0044294 | 0.0011101 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6140-12_0_4_load_62 | 21 | 0.0085535 | 0.0021437 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6140-12_0_4_load_63 | 22 | 0.0053941 | 0.0013519 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6140-12_0_4_load_54 | 23 | 0.0088575 | 0.0022199 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6140-12_0_4_load_53 | 24 | 0.0067443 | 0.0016903 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6140-12_0_4_load_19 | 25 | 0.0063729 | 0.0015972 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6140-12_0_4_load_20 | 26 | 0.0076454 | 0.0019161 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6140-12_0_4_load_22 | 28 | 0.0054154 | 0.0013572 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6140-12_0_4_load_23 | 29 | 0.0058799 | 0.0014736 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6140-12_0_4_load_34 | 30 | 0.0026922 | 0.00067473 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6140-12_0_4_load_39 | 31 | 0.011974 | 0.003001 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6140-12_0_4_load_52 | 34 | 0.0038675 | 0.00096928 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6140-12_0_4_load_25 | 36 | 0.0034139 | 0.0008556 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6140-12_0_4_load_90 | 40 | 0.0079606 | 0.0019951 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6140-12_0_4_load_89 | 41 | 0.0074928 | 0.0018779 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6140-12_0_4_load_28 | 43 | 0.0056177 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6140-12_0_4_load_29 | 44 | 0.017842 | 0.0044716 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6140-12_0_4_load_31 | 46 | 0.015312 | 0.0038376 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6140-12_0_4_load_33 | 48 | 0.0048876 | 0.001225 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6140-12_0_4_load_38 | 49 | 0.0092078 | 0.0023077 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6140-12_0_4_load_57 | 50 | 0.0033564 | 0.00084118 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6140-12_0_4_load_56 | 53 | 0.0085489 | 0.0021426 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6140-12_0_4_load_61 | 54 | 0.0043095 | 0.0010801 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6140-12_0_4_load_58 | 55 | 0.0080691 | 0.0020223 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6140-12_0_4_load_37 | 57 | 0.020384 | 0.0051087 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6140-12_0_4_load_44 | 58 | 0.0073517 | 0.0018425 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6140-12_0_4_load_41 | 59 | 0.0096866 | 0.0024277 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6140-12_0_4_load_42 | 60 | 0.0055714 | 0.0013963 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6140-12_0_4_load_43 | 61 | 0.0044423 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6140-12_0_4_load_45 | 62 | 0.0074137 | 0.0018581 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6140-12_0_4_load_48 | 64 | 0.0081956 | 0.002054 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6140-12_0_4_load_49 | 65 | 0.0064459 | 0.0016155 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6140-12_0_4_load_55 | 66 | 0.00665 | 0.0016666 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6140-12_0_4_load_59 | 67 | 0.0078516 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6140-12_0_4_load_67 | 68 | 0.0033215 | 0.00083244 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6140-12_0_4_load_64 | 70 | 0.0030883 | 0.00077399 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6140-12_0_4_load_65 | 71 | 0.0092877 | 0.0023277 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6140-12_0_4_load_71 | 73 | 0.0034053 | 0.00085344 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6140-12_0_4_load_74 | 74 | 0.0028918 | 0.00072475 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6140-12_0_4_load_70 | 75 | 0.0046595 | 0.0011678 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6140-12_0_4_load_72 | 76 | 0.002179 | 0.0005461 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6140-12_0_4_load_79 | 78 | 0.00049279 | 0.0001235 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6140-12_0_4_load_76 | 79 | 0.0059148 | 0.0014824 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6140-12_0_4_load_80 | 80 | 0.00050918 | 0.00012761 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6140-12_0_4_load_77 | 81 | 0.0049204 | 0.0012332 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6140-12_0_4_load_78 | 82 | 0.012203 | 0.0030583 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6140-12_0_4_load_81 | 83 | 0.0015379 | 0.00038544 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6140-12_0_4_load_97 | 86 | 0.0015375 | 0.00038532 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6140-12_0_4_load_87 | 87 | 0.001538 | 0.00038545 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6140-12_0_4_load_98 | 88 | 0.0015376 | 0.00038536 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6140-12_0_4_load_83 | 89 | 0.015707 | 0.0039365 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6140-12_0_4_load_88 | 91 | 0.0015377 | 0.0003854 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6140-12_0_4_load_102 | 92 | 0.001538 | 0.00038546 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6140-12_0_4_load_103 | 93 | 0.0015381 | 0.00038549 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6140-12_0_4_load_96 | 96 | 0.0015378 | 0.00038541 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6140-12_0_4_load_95 | 97 | 0.0059332 | 0.001487 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6140-12_0_4_line_0 |  | 0 | 1 | 0.014349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6140-12_0_4_line_1 |  | 0 | 2 | 0.010306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6140-12_0_4_line_2 |  | 2 | 3 | 0.013931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6140-12_0_4_line_3 |  | 2 | 4 | 0.025426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6140-12_0_4_line_4 |  | 3 | 5 | 0.032262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6140-12_0_4_line_5 |  | 5 | 6 | 0.0075666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6140-12_0_4_line_6 |  | 5 | 7 | 0.023885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6140-12_0_4_line_7 |  | 6 | 8 | 0.024155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6140-12_0_4_line_8 |  | 7 | 9 | 0.024475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6140-12_0_4_line_9 |  | 7 | 10 | 0.014253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6140-12_0_4_line_10 |  | 8 | 11 | 0.018132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6140-12_0_4_line_11 |  | 8 | 12 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6140-12_0_4_line_12 |  | 10 | 13 | 0.016737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6140-12_0_4_line_13 |  | 11 | 15 | 0.018807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6140-12_0_4_line_14 |  | 11 | 16 | 0.017019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6140-12_0_4_line_15 |  | 12 | 14 | 0.010016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6140-12_0_4_line_16 |  | 13 | 19 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6140-12_0_4_line_17 |  | 13 | 20 | 0.017665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6140-12_0_4_line_18 |  | 15 | 17 | 0.022381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6140-12_0_4_line_19 |  | 16 | 18 | 0.015053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6140-12_0_4_line_20 |  | 17 | 94 | 0.006608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6140-12_0_4_line_21 |  | 17 | 92 | 0.030862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6140-12_0_4_line_22 |  | 18 | 95 | 0.0072278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6140-12_0_4_line_23 |  | 19 | 21 | 0.0099697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6140-12_0_4_line_24 |  | 21 | 22 | 0.0092437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6140-12_0_4_line_25 |  | 22 | 70 | 0.013501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6140-12_0_4_line_26 |  | 23 | 24 | 0.019073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6140-12_0_4_line_27 |  | 24 | 62 | 0.022066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6140-12_0_4_line_28 |  | 25 | 26 | 0.0096292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6140-12_0_4_line_29 |  | 25 | 27 | 0.02269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6140-12_0_4_line_30 |  | 26 | 28 | 0.0216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6140-12_0_4_line_31 |  | 27 | 29 | 0.016391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6140-12_0_4_line_32 |  | 28 | 30 | 0.023863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6140-12_0_4_line_33 |  | 29 | 31 | 0.012081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6140-12_0_4_line_34 |  | 31 | 32 | 0.01972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6140-12_0_4_line_35 |  | 32 | 35 | 0.034876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6140-12_0_4_line_36 |  | 32 | 49 | 0.008561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6140-12_0_4_line_37 |  | 33 | 34 | 0.038143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6140-12_0_4_line_38 |  | 33 | 35 | 0.016209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6140-12_0_4_line_39 |  | 34 | 63 | 0.0073951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6140-12_0_4_line_40 |  | 35 | 58 | 0.027152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6140-12_0_4_line_41 |  | 36 | 37 | 0.021379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6140-12_0_4_line_42 |  | 37 | 38 | 0.029575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6140-12_0_4_line_43 |  | 38 | 39 | 0.029804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6140-12_0_4_line_44 |  | 38 | 40 | 0.02306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6140-12_0_4_line_45 |  | 39 | 41 | 0.019185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6140-12_0_4_line_46 |  | 39 | 42 | 0.029389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6140-12_0_4_line_47 |  | 42 | 57 | 0.056774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6140-12_0_4_line_48 |  | 43 | 44 | 0.045549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6140-12_0_4_line_49 |  | 43 | 45 | 0.018837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6140-12_0_4_line_50 |  | 44 | 46 | 0.0088139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6140-12_0_4_line_51 |  | 45 | 47 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6140-12_0_4_line_52 |  | 45 | 48 | 0.036577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6140-12_0_4_line_53 |  | 46 | 49 | 0.015199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6140-12_0_4_line_54 |  | 47 | 50 | 0.033762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6140-12_0_4_line_55 |  | 47 | 51 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6140-12_0_4_line_56 |  | 48 | 52 | 0.016883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6140-12_0_4_line_57 |  | 50 | 53 | 0.018669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6140-12_0_4_line_58 |  | 51 | 54 | 0.0016918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6140-12_0_4_line_59 |  | 51 | 55 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6140-12_0_4_line_60 |  | 52 | 56 | 0.042875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6140-12_0_4_line_61 |  | 52 | 57 | 0.039508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6140-12_0_4_line_62 |  | 53 | 66 | 0.024514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6140-12_0_4_line_63 |  | 54 | 68 | 0.0077175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6140-12_0_4_line_64 |  | 55 | 67 | 0.045302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6140-12_0_4_line_65 |  | 56 | 72 | 0.028835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6140-12_0_4_line_66 |  | 56 | 73 | 0.020556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6140-12_0_4_line_67 |  | 58 | 60 | 0.0015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6140-12_0_4_line_68 |  | 59 | 60 | 0.027395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6140-12_0_4_line_69 |  | 59 | 61 | 0.011778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6140-12_0_4_line_70 |  | 61 | 62 | 0.038092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6140-12_0_4_line_71 |  | 63 | 65 | 0.032995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6140-12_0_4_line_72 |  | 64 | 65 | 0.019895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6140-12_0_4_line_73 |  | 68 | 69 | 0.0099967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_6140-12_0_4_line_74 |  | 69 | 71 | 0.052462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6140-12_0_4_line_75 |  | 69 | 70 | 0.0039756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6140-12_0_4_line_76 |  | 72 | 74 | 0.038939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6140-12_0_4_line_77 |  | 73 | 75 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6140-12_0_4_line_78 |  | 75 | 76 | 0.011121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6140-12_0_4_line_79 |  | 77 | 78 | 0.037738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6140-12_0_4_line_80 |  | 77 | 79 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6140-12_0_4_line_81 |  | 78 | 80 | 0.00064908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6140-12_0_4_line_82 |  | 79 | 81 | 0.0074239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6140-12_0_4_line_83 |  | 80 | 83 | 0.028888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6140-12_0_4_line_84 |  | 81 | 82 | 0.017273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6140-12_0_4_line_85 |  | 83 | 84 | 0.01882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6140-12_0_4_line_86 |  | 84 | 85 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6140-12_0_4_line_87 |  | 84 | 86 | 0.03362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6140-12_0_4_line_88 |  | 85 | 87 | 4.1901e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6140-12_0_4_line_89 |  | 86 | 88 | 0.0020168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6140-12_0_4_line_90 |  | 87 | 90 | 0.021566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6140-12_0_4_line_91 |  | 88 | 96 | 0.01976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6140-12_0_4_line_92 |  | 89 | 90 | 0.04138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6140-12_0_4_line_93 |  | 91 | 92 | 0.019451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6140-12_0_4_line_94 |  | 93 | 94 | 0.014384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6140-12_0_4_line_95 |  | 95 | 96 | 0.010835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6140-12_0_4_line_96 |  | 95 | 97 | 0.026091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6140-12_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 98 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2580101.626 | 1112907.1231 | 2580093.8973 | 1112919.2124
1 | 2580107.1772 | 1112898.4398 | 2580101.626 | 1112907.1231
2 | 2580107.1772 | 1112898.4398 | 2580114.7206 | 1112886.728
3 | 2580128.9555 | 1112911.6635 | 2580107.1772 | 1112898.4398
4 | 2580132.1902 | 1112859.6047 | 2580114.7206 | 1112886.728
5 | 2580132.1902 | 1112859.6047 | 2580125.8843 | 1112855.4227
6 | 2580152.5223 | 1112872.233 | 2580132.1902 | 1112859.6047
7 | 2580105.6172 | 1112842.2836 | 2580115.1606 | 1112848.3107 | 2580125.8843 | 1112855.4227
8 | 2580152.5223 | 1112872.233 | 2580140.0788 | 1112893.3086
9 | 2580152.5223 | 1112872.233 | 2580164.6323 | 1112879.75
10 | 2580105.6172 | 1112842.2836 | 2580090.2534 | 1112832.585
11 | 2580105.6172 | 1112842.2836 | 2580097.0481 | 1112856.0559
12 | 2580178.8524 | 1112888.5769 | 2580164.6323 | 1112879.75
13 | 2580090.2534 | 1112832.585 | 2580074.3497 | 1112822.5465
14 | 2580090.2534 | 1112832.585 | 2580099.5922 | 1112818.3573
15 | 2580089.03 | 1112857.4125 | 2580090.9737 | 1112858.9402 | 2580092.7129 | 1112859.3346 | 2580094.2412 | 1112859.0295 | 2580095.7752 | 1112858.1017 | 2580097.0481 | 1112856.0559
16 | 2580178.8524 | 1112888.5769 | 2580194.4765 | 1112898.4591
17 | 2580169.8191 | 1112903.7696 | 2580178.8524 | 1112888.5769
18 | 2580055.4233 | 1112810.6001 | 2580074.3497 | 1112822.5465
19 | 2580099.5922 | 1112818.3573 | 2580107.8521 | 1112805.7733
20 | 2580055.4233 | 1112810.6001 | 2580049.8272 | 1112807.0613
21 | 2580055.4233 | 1112810.6001 | 2580072.471 | 1112784.8745
22 | 2580111.8182 | 1112799.7309 | 2580107.8521 | 1112805.7733
23 | 2580202.9023 | 1112903.7884 | 2580194.4765 | 1112898.4591
24 | 2580202.9023 | 1112903.7884 | 2580210.7145 | 1112908.7296
25 | 2580210.7145 | 1112908.7296 | 2580222.125 | 1112915.9468
26 | 2580137.6308 | 1113007.5886 | 2580153.7796 | 1113017.7375
27 | 2580153.7796 | 1113017.7375 | 2580172.4621 | 1113029.4788
28 | 2580320.0362 | 1113036.025 | 2580323.9862 | 1113027.2432
29 | 2580310.7288 | 1113056.7178 | 2580320.0362 | 1113036.025
30 | 2580333.6236 | 1113007.9177 | 2580325.7963 | 1113023.2187 | 2580323.9862 | 1113027.2432
31 | 2580310.7288 | 1113056.7178 | 2580295.5727 | 1113050.4763
32 | 2580333.6236 | 1113007.9177 | 2580339.6953 | 1112996.0488 | 2580343.8687 | 1112986.3794
33 | 2580284.4023 | 1113045.8761 | 2580295.5727 | 1113050.4763
34 | 2580265.8204 | 1113039.1224 | 2580284.4023 | 1113045.8761
35 | 2580265.9189 | 1113073.9727 | 2580265.6269 | 1113060.2446 | 2580265.4521 | 1113044.5819 | 2580265.8204 | 1113039.1224
36 | 2580265.8204 | 1113039.1224 | 2580266.401 | 1113030.5811
37 | 2580267.941 | 1113090.0519 | 2580254.0855 | 1113097.2675 | 2580248.46 | 1113103.5223 | 2580246.6443 | 1113110.3872 | 2580246.2083 | 1113117.3818
38 | 2580267.941 | 1113090.0519 | 2580265.9189 | 1113073.9727
39 | 2580246.9383 | 1113124.6934 | 2580246.0573 | 1113119.805 | 2580246.2083 | 1113117.3818
40 | 2580265.9189 | 1113073.9727 | 2580249.792 | 1113073.9366 | 2580241.8409 | 1113072.8398 | 2580239.2725 | 1113071.2913
41 | 2580451.5286 | 1112963.4804 | 2580442.8495 | 1112983.0181
42 | 2580451.5286 | 1112963.4804 | 2580424.4565 | 1112951.3955
43 | 2580397.2373 | 1112939.2556 | 2580398.823 | 1112939.9619 | 2580424.4565 | 1112951.3955
44 | 2580424.4565 | 1112951.3955 | 2580413.9257 | 1112971.9103
45 | 2580397.2373 | 1112939.2556 | 2580389.8121 | 1112956.9451
46 | 2580370.3351 | 1112927.2481 | 2580397.2373 | 1112939.2556
47 | 2580370.3351 | 1112927.2481 | 2580318.4436 | 1112904.2154
48 | 2580273.6478 | 1112961.4071 | 2580268.5915 | 1113006.6742
49 | 2580275.7389 | 1112942.6864 | 2580273.6478 | 1112961.4071
50 | 2580268.5915 | 1113006.6742 | 2580267.6131 | 1113015.4336
51 | 2580275.7389 | 1112942.6864 | 2580266.5905 | 1112941.6047 | 2580260.4661 | 1112939.4236
52 | 2580275.7389 | 1112942.6864 | 2580279.964 | 1112906.3542
53 | 2580266.401 | 1113030.5811 | 2580267.1468 | 1113019.6083 | 2580267.6131 | 1113015.4336
54 | 2580260.4661 | 1112939.4236 | 2580253.544 | 1112953.0641 | 2580243.4087 | 1112968.4998
55 | 2580241.8855 | 1112928.4456 | 2580257.6978 | 1112938.4433 | 2580260.4661 | 1112939.4236
56 | 2580281.9142 | 1112889.5843 | 2580279.964 | 1112906.3542
57 | 2580243.4087 | 1112968.4998 | 2580233.162 | 1112984.1052
58 | 2580241.8855 | 1112928.4456 | 2580240.4557 | 1112927.5412
59 | 2580241.8855 | 1112928.4456 | 2580239.8295 | 1112935.0556 | 2580235.138 | 1112942.3439
60 | 2580281.9142 | 1112889.5843 | 2580285.2275 | 1112858.7692 | 2580286.5328 | 1112846.9591
61 | 2580281.9142 | 1112889.5843 | 2580287.6175 | 1112890.5328 | 2580318.4436 | 1112904.2154
62 | 2580219.7068 | 1113004.5968 | 2580233.162 | 1112984.1052
63 | 2580233.9334 | 1112923.4158 | 2580240.4557 | 1112927.5412
64 | 2580235.138 | 1112942.3439 | 2580210.6175 | 1112980.4366
65 | 2580286.5328 | 1112846.9591 | 2580287.8981 | 1112834.5707 | 2580288.5507 | 1112828.6545 | 2580278.5465 | 1112825.7413
66 | 2580286.5328 | 1112846.9591 | 2580282.3004 | 1112847.0396 | 2580267.4976 | 1112853.9185
67 | 2580237.9443 | 1113070.4905 | 2580239.2725 | 1113071.2913
68 | 2580214.6866 | 1113056.0151 | 2580232.415 | 1113067.1568 | 2580237.9443 | 1113070.4905
69 | 2580214.6866 | 1113056.0151 | 2580204.714 | 1113049.7478
70 | 2580204.714 | 1113049.7478 | 2580172.4621 | 1113029.4788
71 | 2580246.9383 | 1113124.6934 | 2580239.8229 | 1113126.4287 | 2580231.1041 | 1113124.3784 | 2580225.8117 | 1113121.461 | 2580217.6432 | 1113114.5941
72 | 2580202.3569 | 1113101.8699 | 2580203.0496 | 1113102.3261 | 2580217.6432 | 1113114.5941
73 | 2580225.4849 | 1112918.0719 | 2580233.9334 | 1112923.4158
74 | 2580225.4849 | 1112918.0719 | 2580220.5245 | 1112926.9481 | 2580196.7525 | 1112961.9284
75 | 2580225.4849 | 1112918.0719 | 2580222.125 | 1112915.9468
76 | 2580278.5465 | 1112825.7413 | 2580275.8387 | 1112829.1184 | 2580244.5194 | 1112843.8488
77 | 2580250.7018 | 1112861.7236 | 2580267.4976 | 1112853.9185
78 | 2580250.7018 | 1112861.7236 | 2580240.6168 | 1112866.4101
79 | 2580220.9417 | 1112790.3566 | 2580188.9871 | 1112770.2794
80 | 2580220.9417 | 1112790.3566 | 2580216.1052 | 1112796.9979 | 2580211.5056 | 1112800.4849
81 | 2580188.9871 | 1112770.2794 | 2580188.4375 | 1112769.9341
82 | 2580211.5056 | 1112800.4849 | 2580208.7857 | 1112802.5469 | 2580205.317 | 1112804.5604
83 | 2580188.4375 | 1112769.9341 | 2580175.0906 | 1112761.5482 | 2580164.0269 | 1112754.4868
84 | 2580201.6643 | 1112816.6884 | 2580197.8848 | 1112808.8747 | 2580205.317 | 1112804.5604
85 | 2580148.1624 | 1112744.3615 | 2580164.0269 | 1112754.4868
86 | 2580131.6474 | 1112734.6221 | 2580145.3527 | 1112742.5698 | 2580148.1624 | 1112744.3615
87 | 2580148.1624 | 1112744.3615 | 2580129.7137 | 1112772.4677
88 | 2580131.6111 | 1112734.601 | 2580131.6474 | 1112734.6221
89 | 2580129.7137 | 1112772.4677 | 2580128.607 | 1112774.1537
90 | 2580112.9505 | 1112723.7893 | 2580131.6111 | 1112734.601
91 | 2580128.607 | 1112774.1537 | 2580117.7636 | 1112790.6732
92 | 2580112.9505 | 1112723.7893 | 2580111.1164 | 1112722.7282 | 2580077.8391 | 1112701.8934
93 | 2580072.471 | 1112784.8745 | 2580083.2155 | 1112768.6606
94 | 2580049.8272 | 1112807.0613 | 2580037.6658 | 1112799.38
95 | 2580111.8182 | 1112799.7309 | 2580117.7636 | 1112790.6732
96 | 2580111.8182 | 1112799.7309 | 2580134.4348 | 1112812.739

## bus_geodata
| x | y | coords
0 | 2580101.626 | 1112907.1231
1 | 2580093.8973 | 1112919.2124
2 | 2580107.1772 | 1112898.4398
3 | 2580114.7206 | 1112886.728
4 | 2580128.9555 | 1112911.6635
5 | 2580132.1902 | 1112859.6047
6 | 2580125.8843 | 1112855.4227
7 | 2580152.5223 | 1112872.233
8 | 2580105.6172 | 1112842.2836
9 | 2580140.0788 | 1112893.3086
10 | 2580164.6323 | 1112879.75
11 | 2580090.2534 | 1112832.585
12 | 2580097.0481 | 1112856.0559
13 | 2580178.8524 | 1112888.5769
14 | 2580089.03 | 1112857.4125
15 | 2580074.3497 | 1112822.5465
16 | 2580099.5922 | 1112818.3573
17 | 2580055.4233 | 1112810.6001
18 | 2580107.8521 | 1112805.7733
19 | 2580194.4765 | 1112898.4591
20 | 2580169.8191 | 1112903.7696
21 | 2580202.9023 | 1112903.7884
22 | 2580210.7145 | 1112908.7296
23 | 2580137.6308 | 1113007.5886
24 | 2580153.7796 | 1113017.7375
25 | 2580320.0362 | 1113036.025
26 | 2580323.9862 | 1113027.2432
27 | 2580310.7288 | 1113056.7178
28 | 2580333.6236 | 1113007.9177
29 | 2580295.5727 | 1113050.4763
30 | 2580343.8687 | 1112986.3794
31 | 2580284.4023 | 1113045.8761
32 | 2580265.8204 | 1113039.1224
33 | 2580267.941 | 1113090.0519
34 | 2580246.2083 | 1113117.3818
35 | 2580265.9189 | 1113073.9727
36 | 2580442.8495 | 1112983.0181
37 | 2580451.5286 | 1112963.4804
38 | 2580424.4565 | 1112951.3955
39 | 2580397.2373 | 1112939.2556
40 | 2580413.9257 | 1112971.9103
41 | 2580389.8121 | 1112956.9451
42 | 2580370.3351 | 1112927.2481
43 | 2580273.6478 | 1112961.4071
44 | 2580268.5915 | 1113006.6742
45 | 2580275.7389 | 1112942.6864
46 | 2580267.6131 | 1113015.4336
47 | 2580260.4661 | 1112939.4236
48 | 2580279.964 | 1112906.3542
49 | 2580266.401 | 1113030.5811
50 | 2580243.4087 | 1112968.4998
51 | 2580241.8855 | 1112928.4456
52 | 2580281.9142 | 1112889.5843
53 | 2580233.162 | 1112984.1052
54 | 2580240.4557 | 1112927.5412
55 | 2580235.138 | 1112942.3439
56 | 2580286.5328 | 1112846.9591
57 | 2580318.4436 | 1112904.2154
58 | 2580239.2725 | 1113071.2913
59 | 2580214.6865 | 1113056.0151
60 | 2580237.9443 | 1113070.4905
61 | 2580204.714 | 1113049.7478
62 | 2580172.4621 | 1113029.4788
63 | 2580246.9383 | 1113124.6934
64 | 2580202.3569 | 1113101.8699
65 | 2580217.6432 | 1113114.5941
66 | 2580219.7068 | 1113004.5968
67 | 2580210.6175 | 1112980.4366
68 | 2580233.9334 | 1112923.4158
69 | 2580225.4849 | 1112918.0719
70 | 2580222.125 | 1112915.9468
71 | 2580196.7525 | 1112961.9284
72 | 2580278.5465 | 1112825.7413
73 | 2580267.4976 | 1112853.9185
74 | 2580244.5194 | 1112843.8488
75 | 2580250.7018 | 1112861.7236
76 | 2580240.6168 | 1112866.4101
77 | 2580220.9417 | 1112790.3566
78 | 2580188.9871 | 1112770.2794
79 | 2580211.5056 | 1112800.4849
80 | 2580188.4375 | 1112769.9341
81 | 2580205.317 | 1112804.5604
82 | 2580201.6643 | 1112816.6884
83 | 2580164.0269 | 1112754.4868
84 | 2580148.1624 | 1112744.3615
85 | 2580131.6474 | 1112734.6221
86 | 2580129.7137 | 1112772.4677
87 | 2580131.6111 | 1112734.601
88 | 2580128.607 | 1112774.1537
89 | 2580077.8391 | 1112701.8934
90 | 2580112.9505 | 1112723.7893
91 | 2580083.2155 | 1112768.6606
92 | 2580072.471 | 1112784.8745
93 | 2580037.6658 | 1112799.38
94 | 2580049.8272 | 1112807.0613
95 | 2580111.8182 | 1112799.7309
96 | 2580117.7636 | 1112790.6732
97 | 2580134.4348 | 1112812.739
98 | 2580241.8855 | 1112928.4456

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1