## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6141-10_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6141-10_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6141-10_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6141-10_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6141-10_0_5_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_6141-10_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6141-10_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_6141-10_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6141-10_0_5_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_6141-10_0_5_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_6141-10_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6141-10_0_5_node_36 | 0.4 | n |  | TRUE
12 | bus_LV_6141-10_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6141-10_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6141-10_0_5_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_6141-10_0_5_node_55 | 0.4 | n |  | TRUE
16 | bus_LV_6141-10_0_5_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_6141-10_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6141-10_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6141-10_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_6141-10_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_6141-10_0_5_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_6141-10_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6141-10_0_5_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_6141-10_0_5_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_6141-10_0_5_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6141-10_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_6141-10_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_6141-10_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_6141-10_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_6141-10_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_6141-10_0_5_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_6141-10_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_6141-10_0_5_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_6141-10_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_6141-10_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_6141-10_0_5_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_6141-10_0_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_6141-10_0_5_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6141-10_0_5_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_6141-10_0_5_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_6141-10_0_5_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_6141-10_0_5_node_62 | 0.4 | n |  | TRUE
43 | bus_LV_6141-10_0_5_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_6141-10_0_5_node_61 | 0.4 | n |  | TRUE
45 | bus_LV_6141-10_0_5_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_6141-10_0_5_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6141-10_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_6141-10_0_5_node_66 | 0.4 | n |  | TRUE
49 | bus_LV_6141-10_0_5_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_6141-10_0_5_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_6141-10_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_6141-10_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_6141-10_0_5_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_6141-10_0_5_node_35 | 0.4 | n |  | TRUE
55 | bus_LV_6141-10_0_5_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_6141-10_0_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_6141-10_0_5_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_6141-10_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_6141-10_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6141-10_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6141-10_0_5_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_6141-10_0_5_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_6141-10_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_MV_104_0_node_214 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6141-10_0_5_load_0 | 0 | 0.0061178 | 0.0015333 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6141-10_0_5_load_1 | 1 | 0.0051561 | 0.0012922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6141-10_0_5_load_3 | 3 | 0.0053813 | 0.0013487 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6141-10_0_5_load_4 | 5 | 0.0071072 | 0.0017812 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6141-10_0_5_load_22 | 6 | 0.029469 | 0.0073855 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6141-10_0_5_load_5 | 7 | 0.0039209 | 0.00098268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6141-10_0_5_load_33 | 8 | 0.012502 | 0.0031333 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6141-10_0_5_load_6 | 10 | 0.0060455 | 0.0015151 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6141-10_0_5_load_7 | 12 | 0.0056448 | 0.0014147 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6141-10_0_5_load_8 | 13 | 0.0041352 | 0.0010364 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6141-10_0_5_load_55 | 15 | 0.0032936 | 0.00082545 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6141-10_0_5_load_57 | 16 | 0.0032486 | 0.00081417 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6141-10_0_5_load_13 | 18 | 0.0026114 | 0.00065448 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6141-10_0_5_load_9 | 19 | 0.0038678 | 0.00096936 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6141-10_0_5_load_10 | 21 | 0.00076763 | 0.00019239 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6141-10_0_5_load_12 | 22 | 0.0047132 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6141-10_0_5_load_56 | 23 | 0.0032774 | 0.00082139 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6141-10_0_5_load_38 | 25 | 0.0018033 | 0.00045194 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6141-10_0_5_load_14 | 26 | 0.0079193 | 0.0019848 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6141-10_0_5_load_15 | 27 | 0.0092586 | 0.0023204 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6141-10_0_5_load_19 | 28 | 0.0040067 | 0.0010042 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6141-10_0_5_load_49 | 29 | 0.0041416 | 0.001038 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6141-10_0_5_load_16 | 30 | 0.0043327 | 0.0010859 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6141-10_0_5_load_20 | 34 | 0.075625 | 0.018953 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6141-10_0_5_load_42 | 36 | 0.0062199 | 0.0015589 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6141-10_0_5_load_43 | 37 | 0.0049209 | 0.0012333 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6141-10_0_5_load_39 | 38 | 0.0084574 | 0.0021196 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6141-10_0_5_load_47 | 39 | 0.0030421 | 0.00076242 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6141-10_0_5_load_70 | 40 | 0.0022194 | 0.00055625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6141-10_0_5_load_61 | 44 | 0.0095813 | 0.0024013 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6141-10_0_5_load_65 | 45 | 0.00059751 | 0.00014975 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6141-10_0_5_load_66 | 48 | 0.02616 | 0.0065563 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6141-10_0_5_load_54 | 49 | 0.0030601 | 0.00076693 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6141-10_0_5_load_69 | 53 | 0.0012396 | 0.00031068 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6141-10_0_5_load_58 | 56 | 0.035 | 0.0087719 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6141-10_0_5_load_72 | 57 | 0.01102 | 0.002762 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6141-10_0_5_load_53 | 58 | 0.002219 | 0.00055613 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6141-10_0_5_load_51 | 59 | 0.0018399 | 0.00046113 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6141-10_0_5_load_52 | 60 | 0.0073345 | 0.0018382 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6141-10_0_5_load_40 | 62 | 0.0016959 | 0.00042504 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6141-10_0_5_load_46 | 63 | 0.0023986 | 0.00060114 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6141-10_0_5_line_0 |  | 0 | 1 | 0.031267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6141-10_0_5_line_1 |  | 0 | 2 | 0.011043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6141-10_0_5_line_2 |  | 1 | 3 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6141-10_0_5_line_3 |  | 1 | 4 | 0.043949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6141-10_0_5_line_4 |  | 2 | 5 | 0.011284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6141-10_0_5_line_5 |  | 2 | 6 | 0.044971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6141-10_0_5_line_6 |  | 3 | 7 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6141-10_0_5_line_7 |  | 4 | 8 | 0.023668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6141-10_0_5_line_8 |  | 5 | 9 | 0.095351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6141-10_0_5_line_9 |  | 7 | 10 | 0.027149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6141-10_0_5_line_10 |  | 8 | 51 | 0.023112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6141-10_0_5_line_11 |  | 9 | 11 | 0.053303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6141-10_0_5_line_12 |  | 10 | 12 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6141-10_0_5_line_13 |  | 11 | 27 | 0.073959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6141-10_0_5_line_14 |  | 12 | 13 | 0.016886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6141-10_0_5_line_15 |  | 13 | 17 | 0.029953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6141-10_0_5_line_16 |  | 14 | 15 | 0.032109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6141-10_0_5_line_17 |  | 14 | 16 | 0.014908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6141-10_0_5_line_18 |  | 15 | 50 | 0.00091502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6141-10_0_5_line_19 |  | 16 | 20 | 0.038055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6141-10_0_5_line_20 |  | 17 | 18 | 0.034287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6141-10_0_5_line_21 |  | 17 | 19 | 0.020861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6141-10_0_5_line_22 |  | 18 | 25 | 0.018826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6141-10_0_5_line_23 |  | 18 | 24 | 0.037531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6141-10_0_5_line_24 |  | 19 | 21 | 0.030388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6141-10_0_5_line_25 |  | 20 | 23 | 0.017839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6141-10_0_5_line_26 |  | 20 | 24 | 0.025552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6141-10_0_5_line_27 |  | 21 | 22 | 0.00047464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6141-10_0_5_line_28 |  | 24 | 29 | 0.022312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6141-10_0_5_line_29 |  | 25 | 28 | 0.040015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6141-10_0_5_line_30 |  | 26 | 27 | 0.072634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6141-10_0_5_line_31 |  | 28 | 39 | 0.047541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6141-10_0_5_line_32 |  | 29 | 58 | 0.0073443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6141-10_0_5_line_33 |  | 30 | 31 | 0.039612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6141-10_0_5_line_34 |  | 30 | 32 | 0.04267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6141-10_0_5_line_35 |  | 31 | 33 | 0.037555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6141-10_0_5_line_36 |  | 32 | 34 | 0.13017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6141-10_0_5_line_37 |  | 32 | 35 | 0.072608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6141-10_0_5_line_38 |  | 33 | 36 | 0.021411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6141-10_0_5_line_39 |  | 33 | 37 | 0.041587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6141-10_0_5_line_40 |  | 33 | 38 | 0.029137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6141-10_0_5_line_41 |  | 35 | 40 | 0.04692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6141-10_0_5_line_42 |  | 35 | 41 | 0.15565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6141-10_0_5_line_43 |  | 36 | 61 | 0.036303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6141-10_0_5_line_44 |  | 37 | 39 | 0.023397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6141-10_0_5_line_45 |  | 38 | 62 | 0.034913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6141-10_0_5_line_46 |  | 41 | 45 | 0.056498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6141-10_0_5_line_47 |  | 42 | 43 | 0.069929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6141-10_0_5_line_48 |  | 42 | 44 | 0.030647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6141-10_0_5_line_49 |  | 43 | 45 | 0.062039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6141-10_0_5_line_50 |  | 46 | 47 | 0.10997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6141-10_0_5_line_51 |  | 46 | 48 | 0.056784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6141-10_0_5_line_52 |  | 47 | 49 | 0.0023908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6141-10_0_5_line_53 |  | 48 | 57 | 0.1867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6141-10_0_5_line_54 |  | 49 | 50 | 0.023213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6141-10_0_5_line_55 |  | 51 | 52 | 0.056226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6141-10_0_5_line_56 |  | 52 | 53 | 0.011975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6141-10_0_5_line_57 |  | 54 | 55 | 0.011979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6141-10_0_5_line_58 |  | 54 | 56 | 0.096064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6141-10_0_5_line_59 |  | 55 | 60 | 0.01492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6141-10_0_5_line_60 |  | 55 | 61 | 0.023703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6141-10_0_5_line_61 |  | 59 | 60 | 0.027168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6141-10_0_5_line_62 |  | 61 | 63 | 0.12873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6141-10_0_5_trafo_50 | 0.63 MVA 20/0.4 kV | 64 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2579088.9165 | 1110671.6617 | 2579063.8309 | 1110652.9986
1 | 2579097.7766 | 1110678.2534 | 2579088.9165 | 1110671.6617
2 | 2579063.8309 | 1110652.9986 | 2579045.675 | 1110639.491
3 | 2579084.3729 | 1110614.1456 | 2579063.8309 | 1110652.9986
4 | 2579097.7766 | 1110678.2534 | 2579106.8082 | 1110685.0184
5 | 2579123.3316 | 1110641.2494 | 2579097.7766 | 1110678.2534
6 | 2579030.0977 | 1110627.9019 | 2579045.675 | 1110639.491
7 | 2579084.3729 | 1110614.1456 | 2579097.4291 | 1110594.4046
8 | 2579183.3905 | 1110741.8228 | 2579144.1637 | 1110712.9993 | 2579106.8082 | 1110685.0184
9 | 2579030.0977 | 1110627.9019 | 2579008.3154 | 1110611.6964
10 | 2579094.772 | 1110578.1582 | 2579104.0118 | 1110584.4516 | 2579097.4291 | 1110594.4046
11 | 2579150.7448 | 1110784.0232 | 2579183.3905 | 1110741.8228
12 | 2578992.4138 | 1110599.866 | 2579008.3154 | 1110611.6964
13 | 2579150.7448 | 1110784.0232 | 2579147.2452 | 1110781.9453 | 2579107.1708 | 1110758.2053 | 2579087.1654 | 1110746.2403
14 | 2578992.4138 | 1110599.866 | 2578978.8657 | 1110589.7866
15 | 2578954.8343 | 1110571.9078 | 2578978.8657 | 1110589.7866
16 | 2579009.3432 | 1110564.2809 | 2579011.9592 | 1110561.0702 | 2579013.8247 | 1110559.8076 | 2579027.6609 | 1110539.0936 | 2579028.1034 | 1110538.4207
17 | 2579009.3432 | 1110564.2809 | 2579006.0598 | 1110562.1802 | 2578997.0544 | 1110555.8453
18 | 2579028.1034 | 1110538.4207 | 2579028.6063 | 1110537.6563
19 | 2578965.929 | 1110533.9501 | 2578997.0544 | 1110555.8453
20 | 2578954.8343 | 1110571.9078 | 2578926.6842 | 1110552.3331
21 | 2578954.8343 | 1110571.9078 | 2578943.061 | 1110589.1291
22 | 2578911.2279 | 1110541.5853 | 2578926.6842 | 1110552.3331
23 | 2578944.8152 | 1110519.472 | 2578926.6842 | 1110552.3331
24 | 2578925.911 | 1110614.2152 | 2578943.061 | 1110589.1291
25 | 2578965.929 | 1110533.9501 | 2578975.7556 | 1110519.0612
26 | 2578965.929 | 1110533.9501 | 2578944.8152 | 1110519.472
27 | 2578925.911 | 1110614.2152 | 2578925.6431 | 1110614.6071
28 | 2578944.8152 | 1110519.472 | 2578956.9482 | 1110500.7473
29 | 2578911.2279 | 1110541.5853 | 2578878.3747 | 1110518.7403
30 | 2579025.1065 | 1110708.5051 | 2579027.9313 | 1110710.356 | 2579062.9297 | 1110731.7453 | 2579087.1654 | 1110746.2403
31 | 2578874.4776 | 1110471.3591 | 2578878.3747 | 1110518.7403
32 | 2578956.9482 | 1110500.7473 | 2578960.9419 | 1110494.5839
33 | 2578793.6923 | 1110461.7941 | 2578771.1381 | 1110494.3586
34 | 2578746.8427 | 1110529.437 | 2578771.1381 | 1110494.3586
35 | 2578820.3733 | 1110435.365 | 2578793.6923 | 1110461.7941
36 | 2578746.8427 | 1110529.437 | 2578759.2652 | 1110537.5974 | 2578763.5103 | 1110540.6507 | 2578789.5769 | 1110561.614 | 2578845.8134 | 1110608.229 | 2578848.6765 | 1110610.3821
37 | 2578705.754 | 1110589.3006 | 2578729.307 | 1110554.7559 | 2578746.8427 | 1110529.437
38 | 2578820.3733 | 1110435.365 | 2578832.3878 | 1110417.6432
39 | 2578820.3733 | 1110435.365 | 2578825.1368 | 1110438.6389 | 2578854.9784 | 1110458.4283
40 | 2578820.3733 | 1110435.365 | 2578796.3524 | 1110418.8736
41 | 2578742.1435 | 1110619.0428 | 2578711.0932 | 1110593.6728 | 2578705.754 | 1110589.3006
42 | 2578705.754 | 1110589.3006 | 2578665.636 | 1110648.116 | 2578681.4486 | 1110660.1217 | 2578717.1109 | 1110689.7219 | 2578722.3817 | 1110683.4891 | 2578728.7518 | 1110675.6627
43 | 2578852.7595 | 1110387.5943 | 2578832.3878 | 1110417.6432
44 | 2578874.4776 | 1110471.3591 | 2578854.9784 | 1110458.4283
45 | 2578796.3524 | 1110418.8736 | 2578767.5698 | 1110399.113
46 | 2578728.7518 | 1110675.6627 | 2578772.1911 | 1110711.7889
47 | 2578819.8905 | 1110751.4581 | 2578814.439 | 1110756.8355 | 2578806.5775 | 1110764.6003 | 2578845.2659 | 1110798.1703
48 | 2578845.2659 | 1110798.1703 | 2578824.3567 | 1110820.5769
49 | 2578819.8905 | 1110751.4581 | 2578772.1911 | 1110711.7889
50 | 2579024.8177 | 1110514.7246 | 2579028.629 | 1110508.6083 | 2579032.3557 | 1110502.6146 | 2579034.4612 | 1110503.719 | 2579038.6532 | 1110504.8605 | 2579041.7681 | 1110505.161 | 2579044.3249 | 1110504.9187 | 2579046.2701 | 1110504.3783 | 2579048.0518 | 1110503.4383 | 2579050.2171 | 1110501.73 | 2579051.841 | 1110499.8678 | 2579053.2787 | 1110497.7952 | 2579057.1272 | 1110500.1608 | 2579090.8802 | 1110449.4852 | 2579092.7263 | 1110447.0665 | 2579095.1151 | 1110445.1572
51 | 2579095.1151 | 1110445.1572 | 2579098.0176 | 1110444.3579 | 2579100.725 | 1110445.2267 | 2579114.0701 | 1110452.1174 | 2579133.658 | 1110461.1208 | 2579147.0052 | 1110466.3996
52 | 2579024.8177 | 1110514.7246 | 2579025.7095 | 1110515.6331 | 2579026.4618 | 1110516.4599
53 | 2579147.0052 | 1110466.3996 | 2579203.5016 | 1110288.4492
54 | 2579028.6063 | 1110537.6563 | 2579029.1904 | 1110536.7538 | 2579030.4565 | 1110534.2148 | 2579031.1143 | 1110532.2782 | 2579031.777 | 1110529.5523 | 2579031.4976 | 1110526.952 | 2579030.8858 | 1110524.3528 | 2579030.0812 | 1110521.821 | 2579028.8675 | 1110519.424 | 2579027.5245 | 1110517.6278 | 2579026.4618 | 1110516.4599
55 | 2579050.777 | 1110567.3275 | 2579056.3881 | 1110558.8371 | 2579058.5517 | 1110556.6396 | 2579060.6741 | 1110555.9319 | 2579062.9866 | 1110556.5575 | 2579094.772 | 1110578.1582
56 | 2579040.8863 | 1110560.5362 | 2579050.777 | 1110567.3275
57 | 2578872.3481 | 1110401.0214 | 2578876.0986 | 1110395.2276 | 2578880.3504 | 1110398.003
58 | 2578880.3504 | 1110398.003 | 2578880.3825 | 1110396.1464 | 2578883.7547 | 1110390.4429 | 2578883.8136 | 1110389.5978 | 2578812.1338 | 1110340.7637
59 | 2578872.3481 | 1110401.0214 | 2578884.6371 | 1110409.4822
60 | 2578852.7595 | 1110387.5943 | 2578872.3481 | 1110401.0214
61 | 2578907.014 | 1110424.8884 | 2578884.6371 | 1110409.4822
62 | 2578852.7595 | 1110387.5943 | 2578746.5876 | 1110314.8077

## bus_geodata
| x | y | coords
0 | 2579088.9165 | 1110671.6617
1 | 2579063.8309 | 1110652.9986
2 | 2579097.7766 | 1110678.2534
3 | 2579045.675 | 1110639.491
4 | 2579084.3729 | 1110614.1456
5 | 2579106.8082 | 1110685.0184
6 | 2579123.3316 | 1110641.2494
7 | 2579030.0977 | 1110627.9019
8 | 2579097.4291 | 1110594.4046
9 | 2579183.3905 | 1110741.8228
10 | 2579008.3154 | 1110611.6964
11 | 2579150.7448 | 1110784.0232
12 | 2578992.4138 | 1110599.866
13 | 2578978.8657 | 1110589.7866
14 | 2579009.3432 | 1110564.2809
15 | 2579028.1035 | 1110538.4207
16 | 2578997.0544 | 1110555.8453
17 | 2578954.8343 | 1110571.9078
18 | 2578926.6842 | 1110552.3331
19 | 2578943.061 | 1110589.1291
20 | 2578965.929 | 1110533.9501
21 | 2578925.911 | 1110614.2152
22 | 2578925.6431 | 1110614.6071
23 | 2578975.7556 | 1110519.0612
24 | 2578944.8152 | 1110519.472
25 | 2578911.2279 | 1110541.5853
26 | 2579025.1065 | 1110708.5051
27 | 2579087.1654 | 1110746.2403
28 | 2578878.3747 | 1110518.7403
29 | 2578956.9482 | 1110500.7473
30 | 2578771.1381 | 1110494.3586
31 | 2578793.6923 | 1110461.7941
32 | 2578746.8427 | 1110529.437
33 | 2578820.3733 | 1110435.365
34 | 2578848.6765 | 1110610.3821
35 | 2578705.754 | 1110589.3006
36 | 2578832.3878 | 1110417.6432
37 | 2578854.9784 | 1110458.4283
38 | 2578796.3524 | 1110418.8736
39 | 2578874.4776 | 1110471.3591
40 | 2578742.1435 | 1110619.0428
41 | 2578728.7518 | 1110675.6627
42 | 2578845.2659 | 1110798.1703
43 | 2578819.8905 | 1110751.4581
44 | 2578824.3567 | 1110820.5769
45 | 2578772.1911 | 1110711.7889
46 | 2579095.1151 | 1110445.1572
47 | 2579024.8177 | 1110514.7246
48 | 2579147.0052 | 1110466.3996
49 | 2579026.4618 | 1110516.4599
50 | 2579028.6063 | 1110537.6563
51 | 2579094.772 | 1110578.1582
52 | 2579050.777 | 1110567.3275
53 | 2579040.8863 | 1110560.5362
54 | 2578880.3504 | 1110398.003
55 | 2578872.3481 | 1110401.0214
56 | 2578812.1338 | 1110340.7637
57 | 2579203.5016 | 1110288.4492
58 | 2578960.9419 | 1110494.5839
59 | 2578907.014 | 1110424.8884
60 | 2578884.6371 | 1110409.4822
61 | 2578852.7595 | 1110387.5943
62 | 2578767.5698 | 1110399.113
63 | 2578746.5876 | 1110314.8077
64 | 2578944.8152 | 1110519.472

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1