## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6141-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6141-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6141-1_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6141-1_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6141-1_0_5_node_66 | 0.4 | n |  | TRUE
5 | bus_LV_6141-1_0_5_node_65 | 0.4 | n |  | TRUE
6 | bus_LV_6141-1_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_6141-1_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_6141-1_0_5_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6141-1_0_5_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6141-1_0_5_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_6141-1_0_5_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_6141-1_0_5_node_78 | 0.4 | n |  | TRUE
13 | bus_LV_6141-1_0_5_node_82 | 0.4 | n |  | TRUE
14 | bus_LV_6141-1_0_5_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_6141-1_0_5_node_81 | 0.4 | n |  | TRUE
16 | bus_LV_6141-1_0_5_node_76 | 0.4 | n |  | TRUE
17 | bus_LV_6141-1_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_6141-1_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6141-1_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6141-1_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_6141-1_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6141-1_0_5_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_6141-1_0_5_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_6141-1_0_5_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_6141-1_0_5_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_6141-1_0_5_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_6141-1_0_5_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_6141-1_0_5_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_6141-1_0_5_node_49 | 0.4 | n |  | TRUE
30 | bus_LV_6141-1_0_5_node_47 | 0.4 | n |  | TRUE
31 | bus_LV_6141-1_0_5_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_6141-1_0_5_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_6141-1_0_5_node_61 | 0.4 | n |  | TRUE
34 | bus_LV_6141-1_0_5_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_6141-1_0_5_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_6141-1_0_5_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_6141-1_0_5_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_6141-1_0_5_node_52 | 0.4 | n |  | TRUE
39 | bus_LV_6141-1_0_5_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_6141-1_0_5_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_6141-1_0_5_node_56 | 0.4 | n |  | TRUE
42 | bus_LV_6141-1_0_5_node_145 | 0.4 | n |  | TRUE
43 | bus_LV_6141-1_0_5_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_6141-1_0_5_node_143 | 0.4 | n |  | TRUE
45 | bus_LV_6141-1_0_5_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6141-1_0_5_node_91 | 0.4 | n |  | TRUE
47 | bus_LV_6141-1_0_5_node_92 | 0.4 | n |  | TRUE
48 | bus_LV_6141-1_0_5_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_6141-1_0_5_node_80 | 0.4 | n |  | TRUE
50 | bus_LV_6141-1_0_5_node_140 | 0.4 | n |  | TRUE
51 | bus_LV_6141-1_0_5_node_139 | 0.4 | n |  | TRUE
52 | bus_LV_6141-1_0_5_node_150 | 0.4 | n |  | TRUE
53 | bus_LV_6141-1_0_5_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_6141-1_0_5_node_96 | 0.4 | n |  | TRUE
55 | bus_LV_6141-1_0_5_node_141 | 0.4 | n |  | TRUE
56 | bus_LV_6141-1_0_5_node_100 | 0.4 | n |  | TRUE
57 | bus_LV_6141-1_0_5_node_142 | 0.4 | n |  | TRUE
58 | bus_LV_6141-1_0_5_node_98 | 0.4 | n |  | TRUE
59 | bus_LV_6141-1_0_5_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_6141-1_0_5_node_99 | 0.4 | n |  | TRUE
61 | bus_LV_6141-1_0_5_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_6141-1_0_5_node_102 | 0.4 | n |  | TRUE
63 | bus_LV_6141-1_0_5_node_103 | 0.4 | n |  | TRUE
64 | bus_LV_6141-1_0_5_node_104 | 0.4 | n |  | TRUE
65 | bus_LV_6141-1_0_5_node_146 | 0.4 | n |  | TRUE
66 | bus_LV_6141-1_0_5_node_144 | 0.4 | n |  | TRUE
67 | bus_LV_6141-1_0_5_node_155 | 0.4 | n |  | TRUE
68 | bus_LV_6141-1_0_5_node_149 | 0.4 | n |  | TRUE
69 | bus_LV_6141-1_0_5_node_147 | 0.4 | n |  | TRUE
70 | bus_LV_6141-1_0_5_node_154 | 0.4 | n |  | TRUE
71 | bus_LV_6141-1_0_5_node_153 | 0.4 | n |  | TRUE
72 | bus_LV_6141-1_0_5_node_148 | 0.4 | n |  | TRUE
73 | bus_LV_6141-1_0_5_node_156 | 0.4 | n |  | TRUE
74 | bus_LV_6141-1_0_5_node_157 | 0.4 | n |  | TRUE
75 | bus_LV_6141-1_0_5_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_6141-1_0_5_node_151 | 0.4 | n |  | TRUE
77 | bus_LV_6141-1_0_5_node_152 | 0.4 | n |  | TRUE
78 | bus_MV_102_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6141-1_0_5_load_0 | 0 | 0.0031288 | 0.00078415 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6141-1_0_5_load_1 | 1 | 0.00407 | 0.00102 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6141-1_0_5_load_2 | 2 | 0.0018097 | 0.00045355 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6141-1_0_5_load_3 | 3 | 0.0011202 | 0.00028075 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6141-1_0_5_load_66 | 4 | 0.0032083 | 0.00080408 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6141-1_0_5_load_65 | 5 | 0.0011211 | 0.00028098 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6141-1_0_5_load_5 | 6 | 0.0033656 | 0.00084349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6141-1_0_5_load_6 | 7 | 0.0098844 | 0.0024773 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6141-1_0_5_load_7 | 8 | 0.019786 | 0.0049589 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6141-1_0_5_load_8 | 9 | 0.0063604 | 0.0015941 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6141-1_0_5_load_63 | 11 | 0.0089802 | 0.0022506 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6141-1_0_5_load_82 | 13 | 0.0007229 | 0.00018118 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6141-1_0_5_load_64 | 14 | 0.0053232 | 0.0013341 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6141-1_0_5_load_76 | 16 | 0.0010929 | 0.0002739 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6141-1_0_5_load_10 | 17 | 0.018562 | 0.004652 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6141-1_0_5_load_11 | 18 | 0.0023902 | 0.00059903 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6141-1_0_5_load_12 | 19 | 0.0051279 | 0.0012852 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6141-1_0_5_load_13 | 20 | 0.0026254 | 0.00065799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6141-1_0_5_load_14 | 21 | 0.0042525 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6141-1_0_5_load_60 | 22 | 0.0008726 | 0.00021869 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6141-1_0_5_load_59 | 23 | 0.0010313 | 0.00025846 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6141-1_0_5_load_42 | 24 | 0.0060907 | 0.0015265 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6141-1_0_5_load_43 | 25 | 0.0026532 | 0.00066495 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6141-1_0_5_load_44 | 26 | 0.0010995 | 0.00027556 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6141-1_0_5_load_45 | 27 | 0.009643 | 0.0024168 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6141-1_0_5_load_46 | 28 | 0.0017391 | 0.00043587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6141-1_0_5_load_47 | 30 | 0.003869 | 0.00096967 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6141-1_0_5_load_48 | 32 | 0.0030519 | 0.00076488 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6141-1_0_5_load_61 | 33 | 0.0065657 | 0.0016455 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6141-1_0_5_load_53 | 35 | 0.047696 | 0.011954 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6141-1_0_5_load_50 | 36 | 0.0018914 | 0.00047402 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6141-1_0_5_load_51 | 37 | 0.00088907 | 0.00022282 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6141-1_0_5_load_54 | 39 | 0.0046877 | 0.0011748 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6141-1_0_5_load_55 | 40 | 0.0011144 | 0.00027929 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6141-1_0_5_load_56 | 41 | 0.010329 | 0.0025888 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6141-1_0_5_load_145 | 42 | 0.0067259 | 0.0016857 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6141-1_0_5_load_57 | 43 | 0.013431 | 0.0033661 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6141-1_0_5_load_58 | 45 | 0.0071115 | 0.0017823 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6141-1_0_5_load_92 | 47 | 0.0018165 | 0.00045526 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6141-1_0_5_load_94 | 48 | 0.0033789 | 0.00084682 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6141-1_0_5_load_139 | 51 | 0.0020098 | 0.00050369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6141-1_0_5_load_150 | 52 | 0.0026229 | 0.00065735 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6141-1_0_5_load_141 | 55 | 0.00087935 | 0.00022039 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6141-1_0_5_load_100 | 56 | 0.00083599 | 0.00020952 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6141-1_0_5_load_142 | 57 | 0.0016501 | 0.00041356 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6141-1_0_5_load_97 | 59 | 0.0055508 | 0.0013912 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6141-1_0_5_load_99 | 60 | 0.00075165 | 0.00018838 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6141-1_0_5_load_101 | 61 | 0.010358 | 0.002596 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6141-1_0_5_load_103 | 63 | 0.0055942 | 0.001402 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6141-1_0_5_load_104 | 64 | 0.0060449 | 0.001515 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6141-1_0_5_load_146 | 65 | 0.0051262 | 0.0012848 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6141-1_0_5_load_149 | 68 | 0.0026495 | 0.00066402 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6141-1_0_5_load_147 | 69 | 0.0036067 | 0.00090392 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6141-1_0_5_load_154 | 70 | 0.0020422 | 0.00051181 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6141-1_0_5_load_153 | 71 | 0.0029109 | 0.00072954 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6141-1_0_5_load_148 | 72 | 0.0027049 | 0.00067792 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6141-1_0_5_load_156 | 73 | 0.00056428 | 0.00014142 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6141-1_0_5_load_158 | 75 | 0.0037477 | 0.00093927 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6141-1_0_5_load_151 | 76 | 0.00295 | 0.00073933 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6141-1_0_5_load_152 | 77 | 0.012425 | 0.0031141 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6141-1_0_5_line_0 |  | 0 | 1 | 0.069981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6141-1_0_5_line_1 |  | 0 | 2 | 0.028323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6141-1_0_5_line_2 |  | 1 | 3 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6141-1_0_5_line_3 |  | 3 | 4 | 0.019823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6141-1_0_5_line_4 |  | 4 | 5 | 0.00333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6141-1_0_5_line_5 |  | 5 | 20 | 0.025893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6141-1_0_5_line_6 |  | 6 | 7 | 0.11011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6141-1_0_5_line_7 |  | 6 | 8 | 0.089125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6141-1_0_5_line_8 |  | 7 | 9 | 0.058491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6141-1_0_5_line_9 |  | 8 | 10 | 0.025825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6141-1_0_5_line_10 |  | 9 | 11 | 0.01732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6141-1_0_5_line_11 |  | 10 | 12 | 0.064681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6141-1_0_5_line_12 |  | 10 | 13 | 0.021755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6141-1_0_5_line_13 |  | 11 | 14 | 0.025944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6141-1_0_5_line_14 |  | 12 | 15 | 0.059536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6141-1_0_5_line_15 |  | 12 | 16 | 0.034022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6141-1_0_5_line_16 |  | 14 | 45 | 0.019575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6141-1_0_5_line_17 |  | 15 | 51 | 0.039219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6141-1_0_5_line_18 |  | 17 | 18 | 0.0062872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6141-1_0_5_line_19 |  | 17 | 19 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_6141-1_0_5_line_20 |  | 18 | 20 | 0.023119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6141-1_0_5_line_21 |  | 19 | 21 | 0.038747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6141-1_0_5_line_22 |  | 21 | 22 | 0.080422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6141-1_0_5_line_23 |  | 22 | 23 | 0.0089259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6141-1_0_5_line_24 |  | 23 | 32 | 0.020874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6141-1_0_5_line_25 |  | 24 | 25 | 0.031052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6141-1_0_5_line_26 |  | 24 | 26 | 0.02031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_6141-1_0_5_line_27 |  | 25 | 27 | 0.11424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6141-1_0_5_line_28 |  | 26 | 28 | 0.0098742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6141-1_0_5_line_29 |  | 27 | 29 | 0.073816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6141-1_0_5_line_30 |  | 28 | 30 | 0.012506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6141-1_0_5_line_31 |  | 29 | 31 | 0.028465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6141-1_0_5_line_32 |  | 30 | 32 | 0.043139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6141-1_0_5_line_33 |  | 31 | 34 | 0.1271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6141-1_0_5_line_34 |  | 31 | 35 | 0.05917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6141-1_0_5_line_35 |  | 32 | 33 | 0.053392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6141-1_0_5_line_36 |  | 34 | 46 | 0.016471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6141-1_0_5_line_37 |  | 34 | 47 | 0.0015547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6141-1_0_5_line_38 |  | 36 | 37 | 0.028041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6141-1_0_5_line_39 |  | 36 | 38 | 0.010792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6141-1_0_5_line_40 |  | 38 | 39 | 0.028678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_6141-1_0_5_line_41 |  | 38 | 40 | 0.016704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6141-1_0_5_line_42 |  | 39 | 41 | 0.03469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_6141-1_0_5_line_43 |  | 40 | 42 | 0.039052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_6141-1_0_5_line_44 |  | 41 | 43 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6141-1_0_5_line_45 |  | 42 | 44 | 0.039398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6141-1_0_5_line_46 |  | 43 | 45 | 0.0050327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6141-1_0_5_line_47 |  | 44 | 66 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6141-1_0_5_line_48 |  | 44 | 57 | 0.068306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6141-1_0_5_line_49 |  | 46 | 48 | 0.018375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6141-1_0_5_line_50 |  | 48 | 53 | 0.078163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6141-1_0_5_line_51 |  | 49 | 50 | 0.020588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6141-1_0_5_line_52 |  | 49 | 51 | 0.045566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6141-1_0_5_line_53 |  | 50 | 52 | 0.089857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6141-1_0_5_line_54 |  | 52 | 67 | 0.046572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6141-1_0_5_line_55 |  | 52 | 68 | 0.049686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6141-1_0_5_line_56 |  | 53 | 54 | 0.007213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_6141-1_0_5_line_57 |  | 54 | 55 | 0.029615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6141-1_0_5_line_58 |  | 54 | 56 | 0.031862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6141-1_0_5_line_59 |  | 55 | 57 | 0.029075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6141-1_0_5_line_60 |  | 56 | 58 | 0.027137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6141-1_0_5_line_61 |  | 58 | 60 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6141-1_0_5_line_62 |  | 58 | 59 | 0.036893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6141-1_0_5_line_63 |  | 60 | 61 | 0.031388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6141-1_0_5_line_64 |  | 62 | 63 | 0.017456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6141-1_0_5_line_65 |  | 62 | 64 | 0.048905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6141-1_0_5_line_66 |  | 63 | 65 | 0.0079905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6141-1_0_5_line_67 |  | 65 | 66 | 0.031992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6141-1_0_5_line_68 |  | 66 | 69 | 0.047842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6141-1_0_5_line_69 |  | 67 | 73 | 0.016216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6141-1_0_5_line_70 |  | 67 | 74 | 0.065706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6141-1_0_5_line_71 |  | 68 | 72 | 0.049501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6141-1_0_5_line_72 |  | 69 | 70 | 0.025415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6141-1_0_5_line_73 |  | 70 | 71 | 0.020793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6141-1_0_5_line_74 |  | 71 | 76 | 0.0060174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6141-1_0_5_line_75 |  | 74 | 75 | 0.04586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6141-1_0_5_line_76 |  | 76 | 77 | 0.025332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6141-1_0_5_trafo_57 | 0.63 MVA 20/0.4 kV | 78 | 43 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2578316.9053 | 1109717.4212 | 2578324.0547 | 1109724.4699 | 2578360.3929 | 1109759.4905 | 2578367.2074 | 1109766.0727
1 | 2578316.9053 | 1109717.4212 | 2578296.7363 | 1109697.5364
2 | 2578367.2074 | 1109766.0727 | 2578376.1882 | 1109774.7474
3 | 2578390.5929 | 1109788.364 | 2578384.564 | 1109782.8378 | 2578376.1882 | 1109774.7474
4 | 2578390.5929 | 1109788.364 | 2578393.0476 | 1109790.6141
5 | 2578412.1352 | 1109808.1102 | 2578393.0476 | 1109790.6141
6 | 2578310.5246 | 1109886.6537 | 2578311.7897 | 1109887.7178 | 2578353.9475 | 1109921.05 | 2578398.0253 | 1109953.4659
7 | 2578310.5246 | 1109886.6537 | 2578242.3213 | 1109829.2812
8 | 2578445.1456 | 1109988.1193 | 2578398.0253 | 1109953.4659
9 | 2578222.5584 | 1109812.6568 | 2578242.3213 | 1109829.2812
10 | 2578459.0988 | 1109998.3808 | 2578445.1456 | 1109988.1193
11 | 2578188.4858 | 1109861.5709 | 2578194.7663 | 1109858.8357 | 2578202.3575 | 1109857.441 | 2578202.2045 | 1109853.5952 | 2578203.333 | 1109847.2212 | 2578206.9008 | 1109837.9926 | 2578208.2635 | 1109834.4526 | 2578214.9837 | 1109822.9337 | 2578222.5584 | 1109812.6568
12 | 2578222.5584 | 1109812.6568 | 2578205.7161 | 1109798.8861
13 | 2578459.0988 | 1109998.3808 | 2578459.9546 | 1109999.0101 | 2578480.1211 | 1110013.5845
14 | 2578147.7347 | 1109903.4169 | 2578155.3248 | 1109891.0388 | 2578162.9306 | 1109880.8618 | 2578172.1836 | 1109871.0012 | 2578181.4506 | 1109864.998 | 2578188.4858 | 1109861.5709
15 | 2578188.4858 | 1109861.5709 | 2578179.4148 | 1109864.0605 | 2578163.9329 | 1109869.5414 | 2578156.8786 | 1109871.9681 | 2578156.1817 | 1109872.1917
16 | 2578495.9864 | 1110025.0503 | 2578480.1211 | 1110013.5845
17 | 2578147.7347 | 1109903.4169 | 2578180.1322 | 1109925.5195
18 | 2578433.5792 | 1109828.2221 | 2578429.1556 | 1109823.7544
19 | 2578433.5792 | 1109828.2221 | 2578447.3629 | 1109842.1432 | 2578449.2271 | 1109843.9977
20 | 2578412.1352 | 1109808.1102 | 2578428.695 | 1109823.2892 | 2578429.1556 | 1109823.7544
21 | 2578449.2271 | 1109843.9977 | 2578475.4212 | 1109870.0571 | 2578476.7282 | 1109871.2915
22 | 2578535.5911 | 1109926.0694 | 2578502.9048 | 1109895.0495 | 2578491.0528 | 1109884.8199 | 2578476.7282 | 1109871.2915
23 | 2578535.5911 | 1109926.0694 | 2578542.0656 | 1109932.2138
24 | 2578542.0656 | 1109932.2138 | 2578546.4344 | 1109936.3599 | 2578557.2042 | 1109946.5856
25 | 2578619.6291 | 1110005.4895 | 2578642.3313 | 1110026.6758
26 | 2578619.6291 | 1110005.4895 | 2578604.7805 | 1109991.6325
27 | 2578642.3313 | 1110026.6758 | 2578644.8715 | 1110029.0464 | 2578672.3444 | 1110053.6283 | 2578689.8662 | 1110070.008 | 2578696.7756 | 1110076.8759 | 2578704.1343 | 1110086.2658 | 2578716.6923 | 1110104.0971 | 2578720.5301 | 1110109.2621
28 | 2578597.5616 | 1109984.8955 | 2578604.7805 | 1109991.6325
29 | 2578771.1515 | 1110162.5236 | 2578749.1951 | 1110144.0582 | 2578732.3293 | 1110125.1415 | 2578720.5301 | 1110109.2621
30 | 2578597.5616 | 1109984.8955 | 2578597.0116 | 1109984.3823 | 2578588.4879 | 1109976.2892
31 | 2578761.6394 | 1110175.7637 | 2578767.9461 | 1110176.1194 | 2578770.6434 | 1110176.2656 | 2578773.9917 | 1110176.9319 | 2578775.0741 | 1110170.5027 | 2578775.0629 | 1110167.3234 | 2578774.0581 | 1110165.0591 | 2578771.1515 | 1110162.5236
32 | 2578557.2042 | 1109946.5856 | 2578588.4879 | 1109976.2892
33 | 2578716.7984 | 1110294.2141 | 2578718.8426 | 1110291.0275 | 2578721.8575 | 1110284.836 | 2578739.8389 | 1110243.2408 | 2578745.4261 | 1110228.0246 | 2578756.241 | 1110198.5718 | 2578761.3019 | 1110180.8563 | 2578761.6394 | 1110175.7637
34 | 2578761.6394 | 1110175.7637 | 2578740.9509 | 1110175.0138 | 2578726.6978 | 1110173.8634 | 2578711.2876 | 1110171.1164 | 2578703.2148 | 1110168.4068
35 | 2578557.2042 | 1109946.5856 | 2578597.7993 | 1109911.9052
36 | 2578703.1966 | 1110284.8684 | 2578705.8767 | 1110286.7044 | 2578716.7984 | 1110294.2141
37 | 2578716.7984 | 1110294.2141 | 2578718.0747 | 1110295.1018
38 | 2578596.2325 | 1110097.339 | 2578573.4294 | 1110081.0206
39 | 2578564.6835 | 1110074.6977 | 2578572.6632 | 1110080.4723 | 2578573.4294 | 1110081.0206
40 | 2578564.6835 | 1110074.6977 | 2578541.4398 | 1110057.8994
41 | 2578564.6835 | 1110074.6977 | 2578555.7215 | 1110088.7946
42 | 2578541.4398 | 1110057.8994 | 2578513.3241 | 1110037.5802
43 | 2578534.6706 | 1110121.6855 | 2578537.6958 | 1110117.1481 | 2578555.7215 | 1110088.7946
44 | 2578500.0654 | 1110027.9982 | 2578513.3241 | 1110037.5802
45 | 2578512.8152 | 1110154.4663 | 2578534.6706 | 1110121.6855
46 | 2578495.9864 | 1110025.0503 | 2578500.0654 | 1110027.9982
47 | 2578499.0821 | 1110145.3106 | 2578512.8152 | 1110154.4663
48 | 2578512.8152 | 1110154.4663 | 2578569.2225 | 1110192.9875
49 | 2578703.1966 | 1110284.8684 | 2578688.0551 | 1110274.4588
50 | 2578623.6454 | 1110230.1776 | 2578688.0551 | 1110274.4588
51 | 2578234.7765 | 1109962.8769 | 2578225.5579 | 1109956.5403 | 2578217.7725 | 1109951.199
52 | 2578217.7725 | 1109951.199 | 2578180.1322 | 1109925.5195
53 | 2578234.7765 | 1109962.8769 | 2578205.0429 | 1109997.6682 | 2578203.445 | 1110002.4319 | 2578203.7771 | 1110008.8005 | 2578205.2504 | 1110012.3303 | 2578208.1907 | 1110015.5436 | 2578228.4286 | 1110029.3674
54 | 2578228.4286 | 1110029.3674 | 2578185.0733 | 1110046.3758
55 | 2578228.4286 | 1110029.3674 | 2578269.4567 | 1110057.3924
56 | 2578623.6454 | 1110230.1776 | 2578617.6887 | 1110226.0856
57 | 2578617.6887 | 1110226.0856 | 2578593.2327 | 1110209.3843
58 | 2578617.6887 | 1110226.0856 | 2578606.5509 | 1110242.7222 | 2578606.4269 | 1110244.7904 | 2578606.3137 | 1110249.9155 | 2578603.7265 | 1110253.7704
59 | 2578593.2327 | 1110209.3843 | 2578569.2225 | 1110192.9875
60 | 2578588.6039 | 1110276.3026 | 2578603.7265 | 1110253.7704
61 | 2578588.6039 | 1110276.3026 | 2578579.6635 | 1110270.175
62 | 2578588.6039 | 1110276.3026 | 2578619.0354 | 1110297.1587
63 | 2578579.6635 | 1110270.175 | 2578553.7732 | 1110252.4299
64 | 2578466.6342 | 1110192.7055 | 2578476.4954 | 1110178.3018
65 | 2578466.6342 | 1110192.7055 | 2578426.4151 | 1110164.883
66 | 2578481.0094 | 1110171.7085 | 2578476.4954 | 1110178.3018
67 | 2578499.0821 | 1110145.3106 | 2578481.0094 | 1110171.7085
68 | 2578499.0821 | 1110145.3106 | 2578459.7086 | 1110118.1332
69 | 2578187.6808 | 1110060.1399 | 2578183.8918 | 1110057.3077 | 2578183.0467 | 1110054.3871 | 2578183.1205 | 1110051.2853 | 2578183.6984 | 1110048.693 | 2578185.0733 | 1110046.3758
70 | 2578139.7836 | 1110072.208 | 2578169.843 | 1110035.8366 | 2578185.0733 | 1110046.3758
71 | 2578269.4567 | 1110057.3924 | 2578291.0472 | 1110072.1402 | 2578310.3179 | 1110085.3339
72 | 2578438.7925 | 1110103.6959 | 2578459.7086 | 1110118.1332
73 | 2578438.7925 | 1110103.6959 | 2578421.6801 | 1110091.8842
74 | 2578416.7279 | 1110088.4659 | 2578421.6801 | 1110091.8842
75 | 2578178.0258 | 1110097.6825 | 2578153.2308 | 1110081.1638 | 2578139.7836 | 1110072.208
76 | 2578416.7279 | 1110088.4659 | 2578395.8803 | 1110074.076

## bus_geodata
| x | y | coords
0 | 2578316.9053 | 1109717.4212
1 | 2578367.2074 | 1109766.0727
2 | 2578296.7363 | 1109697.5364
3 | 2578376.1882 | 1109774.7474
4 | 2578390.5929 | 1109788.364
5 | 2578393.0476 | 1109790.6141
6 | 2578310.5246 | 1109886.6537
7 | 2578398.0253 | 1109953.4659
8 | 2578242.3213 | 1109829.2812
9 | 2578445.1456 | 1109988.1193
10 | 2578222.5584 | 1109812.6568
11 | 2578459.0988 | 1109998.3808
12 | 2578188.4858 | 1109861.5709
13 | 2578205.7161 | 1109798.8861
14 | 2578480.1211 | 1110013.5845
15 | 2578147.7347 | 1109903.4169
16 | 2578156.1817 | 1109872.1917
17 | 2578433.5792 | 1109828.2221
18 | 2578429.1556 | 1109823.7544
19 | 2578449.2271 | 1109843.9977
20 | 2578412.1352 | 1109808.1102
21 | 2578476.7282 | 1109871.2915
22 | 2578535.5911 | 1109926.0694
23 | 2578542.0656 | 1109932.2138
24 | 2578619.6291 | 1110005.4895
25 | 2578642.3313 | 1110026.6758
26 | 2578604.7805 | 1109991.6325
27 | 2578720.5301 | 1110109.2621
28 | 2578597.5616 | 1109984.8955
29 | 2578771.1515 | 1110162.5236
30 | 2578588.4879 | 1109976.2892
31 | 2578761.6394 | 1110175.7637
32 | 2578557.2042 | 1109946.5856
33 | 2578597.7993 | 1109911.9052
34 | 2578716.7984 | 1110294.2141
35 | 2578703.2148 | 1110168.4068
36 | 2578573.4294 | 1110081.0206
37 | 2578596.2325 | 1110097.339
38 | 2578564.6835 | 1110074.6977
39 | 2578541.4398 | 1110057.8994
40 | 2578555.7215 | 1110088.7946
41 | 2578513.3241 | 1110037.5802
42 | 2578534.6706 | 1110121.6855
43 | 2578500.0654 | 1110027.9982
44 | 2578512.8152 | 1110154.4663
45 | 2578495.9864 | 1110025.0503
46 | 2578703.1966 | 1110284.8684
47 | 2578718.0747 | 1110295.1018
48 | 2578688.0551 | 1110274.4588
49 | 2578217.7725 | 1109951.199
50 | 2578234.7765 | 1109962.8769
51 | 2578180.1322 | 1109925.5195
52 | 2578228.4286 | 1110029.3674
53 | 2578623.6454 | 1110230.1776
54 | 2578617.6887 | 1110226.0856
55 | 2578593.2327 | 1110209.3843
56 | 2578603.7265 | 1110253.7704
57 | 2578569.2225 | 1110192.9875
58 | 2578588.6039 | 1110276.3026
59 | 2578619.0354 | 1110297.1587
60 | 2578579.6635 | 1110270.175
61 | 2578553.7732 | 1110252.4299
62 | 2578466.6342 | 1110192.7055
63 | 2578476.4954 | 1110178.3018
64 | 2578426.4151 | 1110164.883
65 | 2578481.0094 | 1110171.7085
66 | 2578499.0821 | 1110145.3106
67 | 2578185.0733 | 1110046.3758
68 | 2578269.4567 | 1110057.3924
69 | 2578459.7086 | 1110118.1332
70 | 2578438.7925 | 1110103.6959
71 | 2578421.6801 | 1110091.8842
72 | 2578310.3179 | 1110085.3339
73 | 2578187.6808 | 1110060.1399
74 | 2578139.7836 | 1110072.208
75 | 2578178.0258 | 1110097.6825
76 | 2578416.7279 | 1110088.4659
77 | 2578395.8803 | 1110074.076
78 | 2578564.6835 | 1110074.6977

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1