## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6154-13_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6154-13_0_9_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6154-13_0_9_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_6154-13_0_9_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_6154-13_0_9_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6154-13_0_9_node_40 | 0.4 | n |  | TRUE
6 | bus_LV_6154-13_0_9_node_72 | 0.4 | n |  | TRUE
7 | bus_LV_6154-13_0_9_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_6154-13_0_9_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_6154-13_0_9_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6154-13_0_9_node_93 | 0.4 | n |  | TRUE
11 | bus_LV_6154-13_0_9_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6154-13_0_9_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_6154-13_0_9_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6154-13_0_9_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_6154-13_0_9_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_6154-13_0_9_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_6154-13_0_9_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_6154-13_0_9_node_100 | 0.4 | n |  | TRUE
19 | bus_LV_6154-13_0_9_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_6154-13_0_9_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6154-13_0_9_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_6154-13_0_9_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_6154-13_0_9_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_6154-13_0_9_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_6154-13_0_9_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_6154-13_0_9_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_6154-13_0_9_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_6154-13_0_9_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_6154-13_0_9_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_6154-13_0_9_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_6154-13_0_9_node_92 | 0.4 | n |  | TRUE
32 | bus_LV_6154-13_0_9_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_6154-13_0_9_node_91 | 0.4 | n |  | TRUE
34 | bus_LV_6154-13_0_9_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_6154-13_0_9_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_6154-13_0_9_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_6154-13_0_9_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6154-13_0_9_node_88 | 0.4 | n |  | TRUE
39 | bus_LV_6154-13_0_9_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_6154-13_0_9_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_6154-13_0_9_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_6154-13_0_9_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_6154-13_0_9_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6154-13_0_9_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_6154-13_0_9_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6154-13_0_9_node_19 | 0.4 | n |  | TRUE
47 | bus_LV_6154-13_0_9_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_6154-13_0_9_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_6154-13_0_9_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6154-13_0_9_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_6154-13_0_9_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_6154-13_0_9_node_90 | 0.4 | n |  | TRUE
53 | bus_LV_6154-13_0_9_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6154-13_0_9_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_6154-13_0_9_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_6154-13_0_9_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_6154-13_0_9_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6154-13_0_9_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6154-13_0_9_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_6154-13_0_9_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6154-13_0_9_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_6154-13_0_9_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_6154-13_0_9_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_6154-13_0_9_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6154-13_0_9_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_6154-13_0_9_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_6154-13_0_9_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6154-13_0_9_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_6154-13_0_9_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_6154-13_0_9_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_6154-13_0_9_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_6154-13_0_9_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_6154-13_0_9_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_6154-13_0_9_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_6154-13_0_9_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_6154-13_0_9_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6154-13_0_9_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_6154-13_0_9_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6154-13_0_9_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6154-13_0_9_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6154-13_0_9_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_6154-13_0_9_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_6154-13_0_9_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_6154-13_0_9_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_6154-13_0_9_node_66 | 0.4 | n |  | TRUE
86 | bus_LV_6154-13_0_9_node_102 | 0.4 | n |  | TRUE
87 | bus_LV_6154-13_0_9_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_6154-13_0_9_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6154-13_0_9_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_6154-13_0_9_node_79 | 0.4 | n |  | TRUE
91 | bus_LV_6154-13_0_9_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_6154-13_0_9_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_6154-13_0_9_node_98 | 0.4 | n |  | TRUE
94 | bus_LV_6154-13_0_9_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_6154-13_0_9_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_6154-13_0_9_node_97 | 0.4 | n |  | TRUE
97 | bus_LV_6154-13_0_9_node_96 | 0.4 | n |  | TRUE
98 | bus_MV_79_0_node_150 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6154-13_0_9_load_0 | 0 | 0.0061601 | 0.0015439 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6154-13_0_9_load_40 | 5 | 0.0064785 | 0.0016237 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6154-13_0_9_load_93 | 10 | 0.00097231 | 0.00024368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6154-13_0_9_load_15 | 12 | 0.0079146 | 0.0019836 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6154-13_0_9_load_12 | 13 | 0.010389 | 0.0026037 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6154-13_0_9_load_31 | 14 | 0.0009859 | 0.00024709 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6154-13_0_9_load_30 | 15 | 0.002738 | 0.00068622 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6154-13_0_9_load_101 | 17 | 0.00090464 | 0.00022672 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6154-13_0_9_load_100 | 18 | 0.0011144 | 0.00027931 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6154-13_0_9_load_29 | 21 | 0.004005 | 0.0010037 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6154-13_0_9_load_38 | 24 | 0.007217 | 0.0018087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6154-13_0_9_load_36 | 25 | 0.0056989 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6154-13_0_9_load_89 | 26 | 0.00093703 | 0.00023484 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6154-13_0_9_load_73 | 28 | 0.0086076 | 0.0021573 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6154-13_0_9_load_71 | 29 | 0.0080617 | 0.0020205 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6154-13_0_9_load_99 | 30 | 0.0009187 | 0.00023025 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6154-13_0_9_load_92 | 31 | 0.00088141 | 0.0002209 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6154-13_0_9_load_34 | 32 | 0.0036469 | 0.000914 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6154-13_0_9_load_91 | 33 | 0.00090324 | 0.00022637 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6154-13_0_9_load_16 | 36 | 0.038008 | 0.0095256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6154-13_0_9_load_28 | 37 | 0.0218 | 0.0054635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6154-13_0_9_load_41 | 39 | 0.0024723 | 0.00061961 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6154-13_0_9_load_23 | 40 | 0.0059385 | 0.0014883 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6154-13_0_9_load_35 | 42 | 0.0030532 | 0.00076519 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6154-13_0_9_load_25 | 44 | 0.015397 | 0.0038588 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6154-13_0_9_load_24 | 45 | 0.0041414 | 0.0010379 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6154-13_0_9_load_19 | 46 | 0.015593 | 0.0039079 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6154-13_0_9_load_20 | 47 | 0.0051441 | 0.0012892 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6154-13_0_9_load_22 | 48 | 0.0036003 | 0.00090231 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6154-13_0_9_load_33 | 49 | 0.0028917 | 0.00072474 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6154-13_0_9_load_85 | 51 | 0.0013857 | 0.0003473 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6154-13_0_9_load_90 | 52 | 0.0010457 | 0.00026207 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6154-13_0_9_load_39 | 53 | 0.0082828 | 0.0020759 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6154-13_0_9_load_42 | 54 | 0.0071608 | 0.0017947 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6154-13_0_9_load_43 | 55 | 0.01374 | 0.0034436 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6154-13_0_9_load_44 | 56 | 0.0049895 | 0.0012505 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6154-13_0_9_load_45 | 57 | 0.009136 | 0.0022897 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6154-13_0_9_load_46 | 58 | 0.016891 | 0.0042334 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6154-13_0_9_load_47 | 59 | 0.007531 | 0.0018874 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6154-13_0_9_load_52 | 61 | 0.0055977 | 0.0014029 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6154-13_0_9_load_49 | 62 | 0.008751 | 0.0021932 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6154-13_0_9_load_50 | 64 | 0.0062138 | 0.0015573 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6154-13_0_9_load_51 | 65 | 0.0078112 | 0.0019577 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6154-13_0_9_load_53 | 66 | 0.0099762 | 0.0025003 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6154-13_0_9_load_54 | 67 | 0.0065439 | 0.00164 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6154-13_0_9_load_61 | 68 | 0.0080169 | 0.0020092 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6154-13_0_9_load_57 | 69 | 0.008019 | 0.0020098 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6154-13_0_9_load_55 | 70 | 0.0086699 | 0.0021729 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6154-13_0_9_load_56 | 71 | 0.016804 | 0.0042115 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6154-13_0_9_load_58 | 72 | 0.006345 | 0.0015902 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6154-13_0_9_load_80 | 76 | 0.011535 | 0.0028908 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6154-13_0_9_load_67 | 78 | 0.0060785 | 0.0015234 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6154-13_0_9_load_74 | 79 | 0.0065623 | 0.0016447 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6154-13_0_9_load_78 | 80 | 0.0096488 | 0.0024182 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6154-13_0_9_load_62 | 81 | 0.0033718 | 0.00084506 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6154-13_0_9_load_63 | 82 | 0.0022423 | 0.00056197 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6154-13_0_9_load_64 | 83 | 0.0028161 | 0.00070577 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6154-13_0_9_load_65 | 84 | 0.0028145 | 0.00070539 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6154-13_0_9_load_66 | 85 | 0.0027938 | 0.0007002 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6154-13_0_9_load_102 | 86 | 0.0079914 | 0.0020028 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6154-13_0_9_load_70 | 87 | 0.0059684 | 0.0014958 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6154-13_0_9_load_75 | 88 | 0.0045443 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6154-13_0_9_load_77 | 89 | 0.0082627 | 0.0020708 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6154-13_0_9_load_79 | 90 | 0.018833 | 0.00472 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6154-13_0_9_load_81 | 91 | 0.0010744 | 0.00026928 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6154-13_0_9_load_94 | 95 | 0.00088692 | 0.00022228 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6154-13_0_9_load_97 | 96 | 0.00086185 | 0.000216 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6154-13_0_9_load_96 | 97 | 0.00096099 | 0.00024085 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6154-13_0_9_line_0 |  | 0 | 1 | 0.056001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6154-13_0_9_line_1 |  | 1 | 2 | 0.20338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6154-13_0_9_line_2 |  | 1 | 3 | 0.22077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6154-13_0_9_line_3 |  | 2 | 24 | 0.055844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6154-13_0_9_line_4 |  | 2 | 25 | 0.047486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6154-13_0_9_line_5 |  | 3 | 26 | 0.034473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6154-13_0_9_line_6 |  | 3 | 11 | 0.062267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6154-13_0_9_line_7 |  | 4 | 5 | 0.15203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6154-13_0_9_line_8 |  | 4 | 6 | 0.24625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6154-13_0_9_line_9 |  | 5 | 27 | 0.044319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6154-13_0_9_line_10 |  | 6 | 28 | 0.017632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6154-13_0_9_line_11 |  | 6 | 29 | 0.021702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6154-13_0_9_line_12 |  | 7 | 8 | 0.036236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6154-13_0_9_line_13 |  | 7 | 9 | 0.061058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6154-13_0_9_line_14 |  | 7 | 10 | 0.037438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6154-13_0_9_line_15 |  | 8 | 30 | 0.017215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6154-13_0_9_line_16 |  | 9 | 14 | 0.010046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6154-13_0_9_line_17 |  | 9 | 15 | 0.017346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6154-13_0_9_line_18 |  | 10 | 31 | 0.011291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6154-13_0_9_line_19 |  | 11 | 12 | 0.01955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6154-13_0_9_line_20 |  | 11 | 13 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6154-13_0_9_line_21 |  | 12 | 32 | 0.022932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6154-13_0_9_line_22 |  | 14 | 33 | 0.0090154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6154-13_0_9_line_23 |  | 15 | 22 | 0.034003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6154-13_0_9_line_24 |  | 16 | 17 | 0.020676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6154-13_0_9_line_25 |  | 16 | 18 | 0.016348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6154-13_0_9_line_26 |  | 18 | 34 | 0.033397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6154-13_0_9_line_27 |  | 19 | 20 | 0.019017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6154-13_0_9_line_28 |  | 19 | 21 | 0.075931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6154-13_0_9_line_29 |  | 20 | 35 | 0.09676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6154-13_0_9_line_30 |  | 20 | 36 | 0.10616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6154-13_0_9_line_31 |  | 21 | 37 | 0.093634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6154-13_0_9_line_32 |  | 22 | 23 | 0.029984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6154-13_0_9_line_33 |  | 23 | 38 | 0.039089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6154-13_0_9_line_34 |  | 24 | 39 | 0.033554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6154-13_0_9_line_35 |  | 25 | 27 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6154-13_0_9_line_36 |  | 26 | 38 | 0.02636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6154-13_0_9_line_37 |  | 27 | 53 | 0.049054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6154-13_0_9_line_38 |  | 29 | 87 | 0.0078765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6154-13_0_9_line_39 |  | 30 | 96 | 0.011182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6154-13_0_9_line_40 |  | 31 | 95 | 0.0019894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6154-13_0_9_line_41 |  | 32 | 42 | 0.0032715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6154-13_0_9_line_42 |  | 33 | 50 | 0.010936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6154-13_0_9_line_43 |  | 34 | 93 | 0.032388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6154-13_0_9_line_44 |  | 35 | 43 | 0.19771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6154-13_0_9_line_45 |  | 35 | 44 | 0.068752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6154-13_0_9_line_46 |  | 38 | 51 | 0.0016401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6154-13_0_9_line_47 |  | 39 | 54 | 0.00067003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6154-13_0_9_line_48 |  | 40 | 41 | 0.021436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6154-13_0_9_line_49 |  | 41 | 45 | 0.028417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6154-13_0_9_line_50 |  | 41 | 46 | 0.00037899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6154-13_0_9_line_51 |  | 42 | 49 | 0.015039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6154-13_0_9_line_52 |  | 43 | 45 | 0.078232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6154-13_0_9_line_53 |  | 46 | 47 | 0.031349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6154-13_0_9_line_54 |  | 47 | 48 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6154-13_0_9_line_55 |  | 48 | 49 | 0.0026372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6154-13_0_9_line_56 |  | 50 | 52 | 0.0082448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6154-13_0_9_line_57 |  | 51 | 92 | 0.02823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6154-13_0_9_line_58 |  | 54 | 55 | 0.0038783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_6154-13_0_9_line_59 |  | 55 | 56 | 0.029915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_6154-13_0_9_line_60 |  | 56 | 57 | 0.0023042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6154-13_0_9_line_61 |  | 57 | 58 | 0.0070673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6154-13_0_9_line_62 |  | 58 | 59 | 0.0086996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6154-13_0_9_line_63 |  | 59 | 60 | 0.016895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6154-13_0_9_line_64 |  | 60 | 61 | 0.002332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6154-13_0_9_line_65 |  | 60 | 62 | 0.049965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6154-13_0_9_line_66 |  | 61 | 63 | 0.029927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6154-13_0_9_line_67 |  | 62 | 64 | 0.017566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6154-13_0_9_line_68 |  | 63 | 68 | 0.014501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6154-13_0_9_line_69 |  | 63 | 69 | 0.040372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6154-13_0_9_line_70 |  | 64 | 65 | 0.0070945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6154-13_0_9_line_71 |  | 65 | 66 | 0.011974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6154-13_0_9_line_72 |  | 66 | 67 | 0.013802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6154-13_0_9_line_73 |  | 67 | 70 | 0.0072574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6154-13_0_9_line_74 |  | 68 | 76 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6154-13_0_9_line_75 |  | 69 | 72 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6154-13_0_9_line_76 |  | 70 | 71 | 0.012544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6154-13_0_9_line_77 |  | 72 | 73 | 0.034863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6154-13_0_9_line_78 |  | 73 | 74 | 0.12543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6154-13_0_9_line_79 |  | 73 | 75 | 0.078359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6154-13_0_9_line_80 |  | 74 | 77 | 0.02001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6154-13_0_9_line_81 |  | 74 | 78 | 0.017274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6154-13_0_9_line_82 |  | 75 | 79 | 0.025575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6154-13_0_9_line_83 |  | 76 | 80 | 0.0177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6154-13_0_9_line_84 |  | 77 | 86 | 0.030378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6154-13_0_9_line_85 |  | 78 | 85 | 0.016202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6154-13_0_9_line_86 |  | 79 | 88 | 0.036192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6154-13_0_9_line_87 |  | 80 | 89 | 0.0071273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6154-13_0_9_line_88 |  | 81 | 82 | 0.0014896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6154-13_0_9_line_89 |  | 81 | 83 | 0.016375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6154-13_0_9_line_90 |  | 82 | 84 | 0.0036904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6154-13_0_9_line_91 |  | 83 | 85 | 0.00075626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6154-13_0_9_line_92 |  | 89 | 90 | 0.021841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6154-13_0_9_line_93 |  | 91 | 92 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6154-13_0_9_line_94 |  | 93 | 94 | 0.0363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6154-13_0_9_line_95 |  | 94 | 95 | 0.030823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6154-13_0_9_line_96 |  | 96 | 97 | 0.0098717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6154-13_0_9_trafo_10 | 0.63 MVA 20/0.4 kV | 98 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2555509.4201 | 1137391.6405 | 2555496.5913 | 1137337.1288
1 | 2555509.4201 | 1137391.6405 | 2555495.8379 | 1137414.9972 | 2555500.2337 | 1137418.5443 | 2555506.8964 | 1137423.8534 | 2555520.1989 | 1137434.4828 | 2555533.1068 | 1137444.804 | 2555540.0733 | 1137450.6333 | 2555544.196 | 1137453.6711 | 2555554.9565 | 1137437.8058 | 2555577.7319 | 1137404.0316 | 2555609.0049 | 1137359.367
2 | 2555509.4201 | 1137391.6405 | 2555495.8379 | 1137414.9972 | 2555500.2337 | 1137418.5443 | 2555506.8964 | 1137423.8534 | 2555520.1989 | 1137434.4828 | 2555533.1068 | 1137444.804 | 2555540.0733 | 1137450.6333 | 2555544.196 | 1137453.6711 | 2555532.206 | 1137471.7911 | 2555527.5424 | 1137478.8403 | 2555524.9786 | 1137482.7168 | 2555522.327 | 1137487.2164 | 2555548.2807 | 1137515.1169 | 2555556.8219 | 1137525.8483 | 2555562.5648 | 1137534.755 | 2555567.8069 | 1137545.633 | 2555563.8892 | 1137549.5194 | 2555560.1386 | 1137553.1045 | 2555557.2282 | 1137555.883 | 2555555.3795 | 1137557.6419
3 | 2555609.0049 | 1137359.367 | 2555610.2455 | 1137357.557 | 2555640.5063 | 1137313.2559
4 | 2555609.0049 | 1137359.367 | 2555574.0483 | 1137327.2277
5 | 2555555.3795 | 1137557.6419 | 2555530.4548 | 1137581.4561
6 | 2555555.3795 | 1137557.6419 | 2555557.2282 | 1137555.883 | 2555560.1386 | 1137553.1045 | 2555563.8892 | 1137549.5194 | 2555567.8069 | 1137545.633 | 2555573.9574 | 1137537.8503 | 2555600.7563 | 1137560.4643
7 | 2555428.6871 | 1137211.3114 | 2555462.2365 | 1137232.0739 | 2555463.7086 | 1137235.5648 | 2555460.6983 | 1137246.6928 | 2555468.4495 | 1137262.8771 | 2555483.8228 | 1137276.7595 | 2555513.832 | 1137289.0775 | 2555515.8845 | 1137287.8283 | 2555519.3406 | 1137280.8103 | 2555522.4332 | 1137279.7647 | 2555531.7609 | 1137288.3424
8 | 2555428.6871 | 1137211.3114 | 2555485.8939 | 1137116.7287 | 2555493.9048 | 1137103.4961 | 2555528.3039 | 1137123.6524 | 2555555.4475 | 1137139.5492 | 2555562.2267 | 1137141.8336 | 2555603.7564 | 1137146.2631
9 | 2555564.3833 | 1137318.3416 | 2555531.7609 | 1137288.3424
10 | 2555603.7564 | 1137146.2631 | 2555600.4145 | 1137159.4055 | 2555599.4108 | 1137163.3515
11 | 2555603.7564 | 1137146.2631 | 2555606.2735 | 1137152.7145 | 2555619.6655 | 1137158.9607
12 | 2555454.7111 | 1137441.915 | 2555480.2647 | 1137467.6726
13 | 2555480.2647 | 1137467.6726 | 2555505.2816 | 1137492.6562 | 2555484.6165 | 1137507.9389
14 | 2555480.2647 | 1137467.6726 | 2555449.7138 | 1137489.3118
15 | 2555454.7111 | 1137441.915 | 2555440.5425 | 1137451.6924
16 | 2555484.6165 | 1137507.9389 | 2555476.3188 | 1137513.6013
17 | 2555484.6165 | 1137507.9389 | 2555494.4307 | 1137522.2418
18 | 2555440.7441 | 1137496.1638 | 2555446.8302 | 1137491.3542 | 2555449.7138 | 1137489.3118
19 | 2555600.7563 | 1137560.4643 | 2555615.2906 | 1137573.54
20 | 2555600.7563 | 1137560.4643 | 2555612.3099 | 1137550.4085
21 | 2555615.2906 | 1137573.54 | 2555632.339 | 1137588.8775
22 | 2555476.3188 | 1137513.6013 | 2555468.8721 | 1137518.683
23 | 2555513.6694 | 1137550.2794 | 2555494.4307 | 1137522.2418
24 | 2555398.6823 | 1137437.4828 | 2555414.5878 | 1137424.2725
25 | 2555398.6823 | 1137437.4828 | 2555386.2112 | 1137448.0523
26 | 2555364.9158 | 1137473.4292 | 2555371.0727 | 1137463.4117 | 2555375.0053 | 1137458.4467 | 2555379.6009 | 1137453.6547 | 2555386.2112 | 1137448.0523
27 | 2555607.8138 | 1137773.7551 | 2555588.9103 | 1137771.2264
28 | 2555588.9103 | 1137771.2264 | 2555583.9384 | 1137786.5043 | 2555578.8404 | 1137799.304 | 2555574.1273 | 1137812.1231 | 2555561.8092 | 1137842.121
29 | 2555607.8138 | 1137773.7551 | 2555605.4664 | 1137782.9771 | 2555599.5053 | 1137800.7746 | 2555591.1511 | 1137816.3887 | 2555591.4532 | 1137827.0919 | 2555608.0446 | 1137845.7459 | 2555609.8804 | 1137846.4327 | 2555612.5138 | 1137846.7912 | 2555615.7542 | 1137846.0114 | 2555619.3278 | 1137845.5626 | 2555622.9086 | 1137846.081
30 | 2555607.8138 | 1137773.7551 | 2555649.5448 | 1137779.9953 | 2555656.156 | 1137780.4691 | 2555660.519 | 1137779.6143 | 2555668.1468 | 1137775.0225 | 2555692.1709 | 1137753.1901 | 2555700.3047 | 1137745.0182
31 | 2555561.8092 | 1137842.121 | 2555531.018 | 1137917.1062 | 2555525.1793 | 1137928.2417
32 | 2555489.0804 | 1137567.5365 | 2555513.6694 | 1137550.2794
33 | 2555489.0804 | 1137567.5365 | 2555511.3957 | 1137599.6659
34 | 2555640.5063 | 1137313.2559 | 2555659.4323 | 1137285.5487
35 | 2555564.3833 | 1137318.3416 | 2555574.0483 | 1137327.2277
36 | 2555511.3957 | 1137599.6659 | 2555530.4548 | 1137581.4561
37 | 2555564.3833 | 1137318.3416 | 2555599.634 | 1137284.1308
38 | 2555626.8037 | 1137162.2901 | 2555619.6655 | 1137158.9607
39 | 2555431.3389 | 1137458.0435 | 2555440.5425 | 1137451.6924
40 | 2555440.7441 | 1137496.1638 | 2555439.1832 | 1137497.3972
41 | 2555634.7711 | 1137591.0655 | 2555632.339 | 1137588.8775
42 | 2555460.4695 | 1137525.6821 | 2555468.8721 | 1137518.683
43 | 2555389.6725 | 1137494.3899 | 2555364.9158 | 1137473.4292
44 | 2555622.9086 | 1137846.081 | 2555633.3447 | 1137836.3769 | 2555681.2239 | 1137789.6671 | 2555756.8802 | 1137715.6063 | 2555764.8015 | 1137708.0109
45 | 2555622.9086 | 1137846.081 | 2555611.8001 | 1137856.4014 | 2555609.6931 | 1137858.5847 | 2555602.5933 | 1137865.9186 | 2555586.1665 | 1137888.3401 | 2555579.3585 | 1137898.8856
46 | 2555511.3957 | 1137599.6659 | 2555510.2037 | 1137600.7924
47 | 2555659.8102 | 1137284.9954 | 2555659.4323 | 1137285.5487
48 | 2555685.4981 | 1137636.7017 | 2555701.6511 | 1137622.6096
49 | 2555685.4981 | 1137636.7017 | 2555706.6291 | 1137655.7019
50 | 2555685.4981 | 1137636.7017 | 2555685.2164 | 1137636.4482
51 | 2555634.7711 | 1137591.0655 | 2555645.9517 | 1137601.1241
52 | 2555764.8015 | 1137708.0109 | 2555757.5689 | 1137701.5052 | 2555706.6291 | 1137655.7019
53 | 2555685.2164 | 1137636.4482 | 2555661.9105 | 1137615.4813
54 | 2555647.9123 | 1137602.8879 | 2555661.9105 | 1137615.4813
55 | 2555645.9517 | 1137601.1241 | 2555647.9123 | 1137602.8879
56 | 2555460.4695 | 1137525.6821 | 2555465.1223 | 1137532.4886
57 | 2555489.685 | 1137620.1813 | 2555510.2037 | 1137600.7924
58 | 2555661.9977 | 1137281.793 | 2555659.8102 | 1137284.9954
59 | 2555661.9977 | 1137281.793 | 2555678.8711 | 1137257.0908
60 | 2555678.8711 | 1137257.0908 | 2555680.1707 | 1137255.1881
61 | 2555684.157 | 1137249.3524 | 2555680.1707 | 1137255.1881
62 | 2555684.157 | 1137249.3524 | 2555689.0639 | 1137242.1687
63 | 2555698.5932 | 1137228.2181 | 2555689.0639 | 1137242.1687
64 | 2555698.5932 | 1137228.2181 | 2555699.9087 | 1137226.2926
65 | 2555698.5932 | 1137228.2181 | 2555659.9996 | 1137214.9841 | 2555650.8495 | 1137214.4574
66 | 2555716.7915 | 1137201.5817 | 2555699.9087 | 1137226.2926
67 | 2555650.8495 | 1137214.4574 | 2555633.3129 | 1137213.4481
68 | 2555716.7915 | 1137201.5817 | 2555730.0054 | 1137207.5536
69 | 2555716.7915 | 1137201.5817 | 2555739.561 | 1137168.2432
70 | 2555633.3129 | 1137213.4481 | 2555626.2301 | 1137213.0404
71 | 2555614.2755 | 1137212.3523 | 2555626.2301 | 1137213.0404
72 | 2555614.2755 | 1137212.3523 | 2555600.4961 | 1137211.5592
73 | 2555593.2507 | 1137211.1421 | 2555600.4961 | 1137211.5592
74 | 2555742.5215 | 1137213.2101 | 2555730.0054 | 1137207.5536
75 | 2555739.561 | 1137168.2432 | 2555753.3993 | 1137147.9816
76 | 2555580.7271 | 1137210.4213 | 2555593.2507 | 1137211.1421
77 | 2555773.0615 | 1137119.1928 | 2555753.3993 | 1137147.9816
78 | 2555773.0615 | 1137119.1928 | 2555749.438 | 1137106.9489 | 2555703.9142 | 1137085.6391 | 2555675.8717 | 1137125.2768
79 | 2555773.0615 | 1137119.1928 | 2555777.6101 | 1137121.5495 | 2555783.0824 | 1137123.9772 | 2555797.7164 | 1137130.4732 | 2555832.3925 | 1137131.9085 | 2555843.885 | 1137131.7575 | 2555848.9236 | 1137131.6872
80 | 2555675.8717 | 1137125.2768 | 2555664.3061 | 1137141.6259
81 | 2555675.8717 | 1137125.2768 | 2555676.2719 | 1137142.5458
82 | 2555848.9236 | 1137131.6872 | 2555843.7271 | 1137156.7291
83 | 2555758.6507 | 1137220.4995 | 2555742.5215 | 1137213.2101
84 | 2555652.6487 | 1137169.526 | 2555661.3443 | 1137145.8165 | 2555664.3061 | 1137141.6259
85 | 2555676.2719 | 1137142.5458 | 2555676.4355 | 1137149.6074 | 2555675.19 | 1137158.6607
86 | 2555843.7271 | 1137156.7291 | 2555836.3735 | 1137192.1665
87 | 2555765.1455 | 1137223.4348 | 2555758.6507 | 1137220.4995
88 | 2555671.4521 | 1137175.3236 | 2555671.0172 | 1137176.7483
89 | 2555671.4521 | 1137175.3236 | 2555674.0841 | 1137166.7001 | 2555675.087 | 1137159.41
90 | 2555671.0172 | 1137176.7483 | 2555669.9399 | 1137180.2779
91 | 2555675.087 | 1137159.41 | 2555675.19 | 1137158.6607
92 | 2555785.0482 | 1137232.4295 | 2555765.1455 | 1137223.4348
93 | 2555489.685 | 1137620.1813 | 2555491.6371 | 1137626.1811 | 2555492.8454 | 1137628.3399 | 2555496.1935 | 1137631.6209
94 | 2555416.8605 | 1137518.5232 | 2555389.6725 | 1137494.3899
95 | 2555416.8605 | 1137518.5232 | 2555424.0844 | 1137510.2766 | 2555431.2665 | 1137503.6534 | 2555439.1832 | 1137497.3972
96 | 2555423.214 | 1137463.6504 | 2555431.3389 | 1137458.0435

## bus_geodata
| x | y | coords
0 | 2555496.5913 | 1137337.1288
1 | 2555509.4201 | 1137391.6405
2 | 2555609.0049 | 1137359.367
3 | 2555555.3795 | 1137557.6419
4 | 2555428.6871 | 1137211.3114
5 | 2555531.7609 | 1137288.3424
6 | 2555603.7564 | 1137146.2631
7 | 2555480.2647 | 1137467.6726
8 | 2555454.7111 | 1137441.915
9 | 2555484.6165 | 1137507.9389
10 | 2555449.7138 | 1137489.3118
11 | 2555600.7563 | 1137560.4643
12 | 2555615.2906 | 1137573.54
13 | 2555612.3099 | 1137550.4085
14 | 2555476.3188 | 1137513.6013
15 | 2555494.4307 | 1137522.2418
16 | 2555398.6823 | 1137437.4828
17 | 2555414.5878 | 1137424.2725
18 | 2555386.2112 | 1137448.0523
19 | 2555588.9103 | 1137771.2264
20 | 2555607.8138 | 1137773.7551
21 | 2555561.8092 | 1137842.121
22 | 2555513.6694 | 1137550.2794
23 | 2555489.0804 | 1137567.5365
24 | 2555640.5063 | 1137313.2559
25 | 2555574.0483 | 1137327.2277
26 | 2555530.4548 | 1137581.4561
27 | 2555564.3833 | 1137318.3416
28 | 2555599.4108 | 1137163.3515
29 | 2555619.6655 | 1137158.9607
30 | 2555440.5425 | 1137451.6924
31 | 2555440.7441 | 1137496.1638
32 | 2555632.339 | 1137588.8775
33 | 2555468.8721 | 1137518.683
34 | 2555364.9158 | 1137473.4292
35 | 2555622.9086 | 1137846.081
36 | 2555700.3047 | 1137745.0182
37 | 2555525.1793 | 1137928.2417
38 | 2555511.3957 | 1137599.6659
39 | 2555659.4323 | 1137285.5487
40 | 2555701.6511 | 1137622.6096
41 | 2555685.4981 | 1137636.7017
42 | 2555634.7711 | 1137591.0655
43 | 2555764.8015 | 1137708.0109
44 | 2555579.3585 | 1137898.8856
45 | 2555706.6291 | 1137655.7019
46 | 2555685.2164 | 1137636.4482
47 | 2555661.9105 | 1137615.4813
48 | 2555647.9123 | 1137602.8879
49 | 2555645.9517 | 1137601.1241
50 | 2555460.4695 | 1137525.6821
51 | 2555510.2037 | 1137600.7924
52 | 2555465.1223 | 1137532.4886
53 | 2555599.634 | 1137284.1308
54 | 2555659.8102 | 1137284.9954
55 | 2555661.9977 | 1137281.793
56 | 2555678.8711 | 1137257.0908
57 | 2555680.1707 | 1137255.1881
58 | 2555684.157 | 1137249.3524
59 | 2555689.0639 | 1137242.1687
60 | 2555698.5932 | 1137228.2181
61 | 2555699.9087 | 1137226.2926
62 | 2555650.8495 | 1137214.4574
63 | 2555716.7915 | 1137201.5817
64 | 2555633.3129 | 1137213.4481
65 | 2555626.2301 | 1137213.0404
66 | 2555614.2755 | 1137212.3523
67 | 2555600.4961 | 1137211.5592
68 | 2555730.0054 | 1137207.5536
69 | 2555739.561 | 1137168.2432
70 | 2555593.2507 | 1137211.1421
71 | 2555580.7271 | 1137210.4213
72 | 2555753.3993 | 1137147.9816
73 | 2555773.0615 | 1137119.1928
74 | 2555675.8717 | 1137125.2768
75 | 2555848.9236 | 1137131.6872
76 | 2555742.5215 | 1137213.2101
77 | 2555664.3061 | 1137141.6259
78 | 2555676.2719 | 1137142.5458
79 | 2555843.7271 | 1137156.7291
80 | 2555758.6507 | 1137220.4995
81 | 2555671.4521 | 1137175.3236
82 | 2555671.0172 | 1137176.7483
83 | 2555675.087 | 1137159.41
84 | 2555669.9399 | 1137180.2779
85 | 2555675.19 | 1137158.6607
86 | 2555652.6487 | 1137169.526
87 | 2555626.8037 | 1137162.2901
88 | 2555836.3735 | 1137192.1665
89 | 2555765.1455 | 1137223.4348
90 | 2555785.0482 | 1137232.4295
91 | 2555496.1935 | 1137631.6209
92 | 2555489.685 | 1137620.1813
93 | 2555389.6725 | 1137494.3899
94 | 2555416.8605 | 1137518.5232
95 | 2555439.1832 | 1137497.3972
96 | 2555431.3389 | 1137458.0435
97 | 2555423.214 | 1137463.6504
98 | 2555577.7319 | 1137404.0316

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1