## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6154-15_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6154-15_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6154-15_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6154-15_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6154-15_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6154-15_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_6154-15_0_6_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_6154-15_0_6_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6154-15_0_6_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_6154-15_0_6_node_101 | 0.4 | n |  | TRUE
10 | bus_LV_6154-15_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6154-15_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_6154-15_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_6154-15_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_6154-15_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_6154-15_0_6_node_86 | 0.4 | n |  | TRUE
16 | bus_LV_6154-15_0_6_node_102 | 0.4 | n |  | TRUE
17 | bus_LV_6154-15_0_6_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_6154-15_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_6154-15_0_6_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_6154-15_0_6_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_6154-15_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6154-15_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6154-15_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_6154-15_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6154-15_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6154-15_0_6_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6154-15_0_6_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6154-15_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6154-15_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_6154-15_0_6_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_6154-15_0_6_node_76 | 0.4 | n |  | TRUE
32 | bus_LV_6154-15_0_6_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_6154-15_0_6_node_94 | 0.4 | n |  | TRUE
34 | bus_LV_6154-15_0_6_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6154-15_0_6_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_6154-15_0_6_node_111 | 0.4 | n |  | TRUE
37 | bus_LV_6154-15_0_6_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_6154-15_0_6_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_6154-15_0_6_node_79 | 0.4 | n |  | TRUE
40 | bus_LV_6154-15_0_6_node_92 | 0.4 | n |  | TRUE
41 | bus_LV_6154-15_0_6_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_6154-15_0_6_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6154-15_0_6_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_6154-15_0_6_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_6154-15_0_6_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_6154-15_0_6_node_25 | 0.4 | n |  | TRUE
47 | bus_LV_6154-15_0_6_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_6154-15_0_6_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6154-15_0_6_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_6154-15_0_6_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6154-15_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_6154-15_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6154-15_0_6_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6154-15_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6154-15_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6154-15_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6154-15_0_6_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_6154-15_0_6_node_68 | 0.4 | n |  | TRUE
59 | bus_LV_6154-15_0_6_node_69 | 0.4 | n |  | TRUE
60 | bus_LV_6154-15_0_6_node_36 | 0.4 | n |  | TRUE
61 | bus_LV_6154-15_0_6_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_6154-15_0_6_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_6154-15_0_6_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6154-15_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_6154-15_0_6_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_6154-15_0_6_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_6154-15_0_6_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_6154-15_0_6_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_6154-15_0_6_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_6154-15_0_6_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_6154-15_0_6_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_6154-15_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_6154-15_0_6_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_6154-15_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_6154-15_0_6_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_6154-15_0_6_node_55 | 0.4 | n |  | TRUE
77 | bus_LV_6154-15_0_6_node_66 | 0.4 | n |  | TRUE
78 | bus_LV_6154-15_0_6_node_65 | 0.4 | n |  | TRUE
79 | bus_LV_6154-15_0_6_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_6154-15_0_6_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_6154-15_0_6_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_6154-15_0_6_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_6154-15_0_6_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_6154-15_0_6_node_70 | 0.4 | n |  | TRUE
85 | bus_LV_6154-15_0_6_node_71 | 0.4 | n |  | TRUE
86 | bus_LV_6154-15_0_6_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_6154-15_0_6_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_6154-15_0_6_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_6154-15_0_6_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_6154-15_0_6_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_6154-15_0_6_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_6154-15_0_6_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_6154-15_0_6_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_6154-15_0_6_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_6154-15_0_6_node_85 | 0.4 | n |  | TRUE
96 | bus_LV_6154-15_0_6_node_87 | 0.4 | n |  | TRUE
97 | bus_LV_6154-15_0_6_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_6154-15_0_6_node_103 | 0.4 | n |  | TRUE
99 | bus_LV_6154-15_0_6_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_6154-15_0_6_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_6154-15_0_6_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_6154-15_0_6_node_95 | 0.4 | n |  | TRUE
103 | bus_LV_6154-15_0_6_node_97 | 0.4 | n |  | TRUE
104 | bus_LV_6154-15_0_6_node_99 | 0.4 | n |  | TRUE
105 | bus_LV_6154-15_0_6_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_6154-15_0_6_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_6154-15_0_6_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_6154-15_0_6_node_108 | 0.4 | n |  | TRUE
109 | bus_LV_6154-15_0_6_node_109 | 0.4 | n |  | TRUE
110 | bus_LV_6154-15_0_6_node_110 | 0.4 | n |  | TRUE
111 | bus_MV_79_0_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6154-15_0_6_load_0 | 0 | 0.0050982 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6154-15_0_6_load_1 | 1 | 0.011182 | 0.0028025 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6154-15_0_6_load_2 | 2 | 0.0065079 | 0.001631 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6154-15_0_6_load_3 | 3 | 0.0037897 | 0.00094979 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6154-15_0_6_load_4 | 4 | 0.0040651 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6154-15_0_6_load_100 | 6 | 0.0063521 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6154-15_0_6_load_13 | 7 | 0.0041628 | 0.0010433 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6154-15_0_6_load_10 | 8 | 0.0036675 | 0.00091915 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6154-15_0_6_load_101 | 9 | 0.0025831 | 0.00064738 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6154-15_0_6_load_5 | 10 | 0.01298 | 0.0032531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6154-15_0_6_load_6 | 11 | 0.0033203 | 0.00083215 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6154-15_0_6_load_7 | 12 | 0.0045309 | 0.0011355 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6154-15_0_6_load_8 | 13 | 0.006382 | 0.0015995 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6154-15_0_6_load_9 | 14 | 0.0067816 | 0.0016996 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6154-15_0_6_load_102 | 16 | 0.002802 | 0.00070225 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6154-15_0_6_load_11 | 18 | 0.0069851 | 0.0017506 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6154-15_0_6_load_98 | 19 | 0.005071 | 0.0012709 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6154-15_0_6_load_14 | 21 | 0.0087292 | 0.0021877 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6154-15_0_6_load_15 | 22 | 0.0060621 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6154-15_0_6_load_16 | 23 | 0.012445 | 0.0031191 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6154-15_0_6_load_17 | 26 | 0.019787 | 0.0049591 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6154-15_0_6_load_76 | 31 | 0.0039012 | 0.00097773 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6154-15_0_6_load_81 | 32 | 0.0033296 | 0.00083446 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6154-15_0_6_load_94 | 33 | 0.0021355 | 0.0005352 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6154-15_0_6_load_51 | 35 | 0.0033736 | 0.0008455 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6154-15_0_6_load_111 | 36 | 0.01063 | 0.002664 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6154-15_0_6_load_74 | 38 | 0.0027398 | 0.00068667 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6154-15_0_6_load_79 | 39 | 0.0016096 | 0.00040339 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6154-15_0_6_load_92 | 40 | 0.0015219 | 0.00038142 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6154-15_0_6_load_50 | 41 | 0.0041423 | 0.0010382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6154-15_0_6_load_34 | 42 | 0.0034036 | 0.00085301 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6154-15_0_6_load_52 | 43 | 0.0095539 | 0.0023944 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6154-15_0_6_load_23 | 44 | 0.01456 | 0.0036492 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6154-15_0_6_load_24 | 45 | 0.015405 | 0.0038608 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6154-15_0_6_load_26 | 47 | 0.01043 | 0.002614 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6154-15_0_6_load_27 | 48 | 0.013197 | 0.0033074 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6154-15_0_6_load_28 | 49 | 0.01059 | 0.0026541 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6154-15_0_6_load_47 | 50 | 0.013641 | 0.0034189 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6154-15_0_6_load_46 | 51 | 0.0092849 | 0.002327 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6154-15_0_6_load_29 | 52 | 0.010151 | 0.002544 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6154-15_0_6_load_31 | 54 | 0.017294 | 0.0043343 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6154-15_0_6_load_32 | 55 | 0.0084114 | 0.0021081 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6154-15_0_6_load_35 | 57 | 0.011425 | 0.0028634 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6154-15_0_6_load_68 | 58 | 0.0026165 | 0.00065575 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6154-15_0_6_load_69 | 59 | 0.0068591 | 0.0017191 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6154-15_0_6_load_36 | 60 | 0.011987 | 0.0030041 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6154-15_0_6_load_37 | 61 | 0.0086531 | 0.0021687 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6154-15_0_6_load_48 | 64 | 0.0089893 | 0.0022529 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6154-15_0_6_load_45 | 65 | 0.0071773 | 0.0017988 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6154-15_0_6_load_43 | 66 | 0.0096504 | 0.0024186 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6154-15_0_6_load_39 | 67 | 0.0077868 | 0.0019516 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6154-15_0_6_load_40 | 68 | 0.0020648 | 0.00051749 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6154-15_0_6_load_41 | 69 | 0.0071071 | 0.0017812 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6154-15_0_6_load_42 | 70 | 0.005444 | 0.0013644 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6154-15_0_6_load_67 | 73 | 0.0018386 | 0.0004608 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6154-15_0_6_load_53 | 74 | 0.0022712 | 0.00056923 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6154-15_0_6_load_54 | 75 | 0.0050705 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6154-15_0_6_load_55 | 76 | 0.0058082 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6154-15_0_6_load_66 | 77 | 0.002248 | 0.00056341 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6154-15_0_6_load_65 | 78 | 0.0051415 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6154-15_0_6_load_59 | 79 | 0.0054539 | 0.0013669 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6154-15_0_6_load_61 | 80 | 0.0039881 | 0.00099951 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6154-15_0_6_load_58 | 81 | 0.013021 | 0.0032633 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6154-15_0_6_load_63 | 82 | 0.0019849 | 0.00049746 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6154-15_0_6_load_70 | 84 | 0.0017541 | 0.00043963 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6154-15_0_6_load_72 | 86 | 0.00368 | 0.00092228 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6154-15_0_6_load_73 | 87 | 0.00077903 | 0.00019524 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6154-15_0_6_load_75 | 88 | 0.007547 | 0.0018915 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6154-15_0_6_load_77 | 89 | 0.0032669 | 0.00081877 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6154-15_0_6_load_78 | 90 | 0.0023779 | 0.00059597 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6154-15_0_6_load_91 | 92 | 0.0069791 | 0.0017491 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6154-15_0_6_load_82 | 93 | 0.013447 | 0.0033701 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6154-15_0_6_load_83 | 94 | 0.0032475 | 0.00081391 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6154-15_0_6_load_85 | 95 | 0.0027541 | 0.00069024 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6154-15_0_6_load_87 | 96 | 0.0071224 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6154-15_0_6_load_88 | 97 | 0.0017335 | 0.00043444 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6154-15_0_6_load_103 | 98 | 0.0062582 | 0.0015685 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6154-15_0_6_load_89 | 99 | 0.0063773 | 0.0015983 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6154-15_0_6_load_90 | 100 | 0.0055743 | 0.0013971 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6154-15_0_6_load_93 | 101 | 0.0019032 | 0.00047699 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6154-15_0_6_load_95 | 102 | 0.0059033 | 0.0014795 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6154-15_0_6_load_97 | 103 | 0.006459 | 0.0016188 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6154-15_0_6_load_99 | 104 | 0.0071574 | 0.0017938 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6154-15_0_6_load_105 | 105 | 0.0045585 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6154-15_0_6_load_106 | 106 | 0.0067153 | 0.001683 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6154-15_0_6_load_107 | 107 | 0.0024266 | 0.00060816 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6154-15_0_6_load_110 | 110 | 0.0061289 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6154-15_0_6_line_0 |  | 0 | 1 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6154-15_0_6_line_1 |  | 0 | 2 | 0.0029739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6154-15_0_6_line_2 |  | 1 | 3 | 0.01795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6154-15_0_6_line_3 |  | 2 | 4 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6154-15_0_6_line_4 |  | 3 | 5 | 0.020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6154-15_0_6_line_5 |  | 4 | 6 | 0.0048487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6154-15_0_6_line_6 |  | 5 | 7 | 0.011224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6154-15_0_6_line_7 |  | 5 | 8 | 0.0064296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6154-15_0_6_line_8 |  | 6 | 9 | 0.0050786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6154-15_0_6_line_9 |  | 7 | 19 | 0.029532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6154-15_0_6_line_10 |  | 8 | 18 | 0.030019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6154-15_0_6_line_11 |  | 9 | 16 | 0.013794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6154-15_0_6_line_12 |  | 10 | 11 | 0.030172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6154-15_0_6_line_13 |  | 10 | 12 | 0.033722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6154-15_0_6_line_14 |  | 11 | 13 | 0.044167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6154-15_0_6_line_15 |  | 12 | 14 | 0.023858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6154-15_0_6_line_16 |  | 14 | 15 | 0.0084981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6154-15_0_6_line_17 |  | 15 | 16 | 0.005914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6154-15_0_6_line_18 |  | 15 | 17 | 0.020372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6154-15_0_6_line_19 |  | 17 | 96 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6154-15_0_6_line_20 |  | 17 | 93 | 0.034314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_6154-15_0_6_line_21 |  | 19 | 20 | 0.017797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6154-15_0_6_line_22 |  | 20 | 104 | 0.020009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6154-15_0_6_line_23 |  | 20 | 102 | 0.050836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6154-15_0_6_line_24 |  | 21 | 22 | 0.041227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6154-15_0_6_line_25 |  | 22 | 23 | 0.0057272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6154-15_0_6_line_26 |  | 23 | 24 | 0.028928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_6154-15_0_6_line_27 |  | 24 | 25 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6154-15_0_6_line_28 |  | 24 | 26 | 0.014919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_6154-15_0_6_line_29 |  | 25 | 34 | 0.011034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6154-15_0_6_line_30 |  | 25 | 35 | 0.012639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6154-15_0_6_line_31 |  | 26 | 27 | 0.03828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_6154-15_0_6_line_32 |  | 27 | 28 | 0.01467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_6154-15_0_6_line_33 |  | 27 | 29 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_6154-15_0_6_line_34 |  | 28 | 30 | 0.010071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_6154-15_0_6_line_35 |  | 28 | 31 | 0.026181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6154-15_0_6_line_36 |  | 29 | 32 | 0.029546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6154-15_0_6_line_37 |  | 29 | 33 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6154-15_0_6_line_38 |  | 30 | 36 | 0.032914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6154-15_0_6_line_39 |  | 30 | 37 | 0.059698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6154-15_0_6_line_40 |  | 31 | 38 | 0.0056068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6154-15_0_6_line_41 |  | 32 | 39 | 0.02607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6154-15_0_6_line_42 |  | 33 | 40 | 0.010636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6154-15_0_6_line_43 |  | 34 | 41 | 0.014906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6154-15_0_6_line_44 |  | 34 | 42 | 0.019464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6154-15_0_6_line_45 |  | 35 | 43 | 0.057074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6154-15_0_6_line_46 |  | 37 | 81 | 0.017455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_6154-15_0_6_line_47 |  | 38 | 88 | 0.013081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6154-15_0_6_line_48 |  | 39 | 89 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6154-15_0_6_line_49 |  | 40 | 101 | 0.0049173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_6154-15_0_6_line_50 |  | 41 | 73 | 0.014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6154-15_0_6_line_51 |  | 42 | 56 | 0.01478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6154-15_0_6_line_52 |  | 43 | 74 | 0.015208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6154-15_0_6_line_53 |  | 44 | 45 | 0.025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6154-15_0_6_line_54 |  | 44 | 46 | 0.026345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6154-15_0_6_line_55 |  | 45 | 47 | 0.024916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6154-15_0_6_line_56 |  | 46 | 48 | 0.048511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6154-15_0_6_line_57 |  | 47 | 49 | 0.024955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6154-15_0_6_line_58 |  | 48 | 50 | 0.02091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
59 | LV_6154-15_0_6_line_59 |  | 50 | 51 | 0.02391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
60 | LV_6154-15_0_6_line_60 |  | 51 | 64 | 0.065518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
61 | LV_6154-15_0_6_line_61 |  | 52 | 53 | 0.029322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6154-15_0_6_line_62 |  | 52 | 54 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6154-15_0_6_line_63 |  | 53 | 55 | 0.0322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6154-15_0_6_line_64 |  | 55 | 56 | 0.047469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6154-15_0_6_line_65 |  | 56 | 57 | 0.014464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6154-15_0_6_line_66 |  | 57 | 58 | 0.012529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6154-15_0_6_line_67 |  | 58 | 59 | 0.034716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6154-15_0_6_line_68 |  | 60 | 61 | 0.040406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6154-15_0_6_line_69 |  | 61 | 62 | 0.018803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6154-15_0_6_line_70 |  | 62 | 63 | 0.029059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_6154-15_0_6_line_71 |  | 62 | 64 | 0.041351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_6154-15_0_6_line_72 |  | 63 | 65 | 0.010831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
73 | LV_6154-15_0_6_line_73 |  | 63 | 66 | 0.017832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6154-15_0_6_line_74 |  | 65 | 71 | 0.079005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_6154-15_0_6_line_75 |  | 66 | 69 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6154-15_0_6_line_76 |  | 67 | 68 | 0.01564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6154-15_0_6_line_77 |  | 67 | 69 | 0.011985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6154-15_0_6_line_78 |  | 68 | 70 | 0.016157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6154-15_0_6_line_79 |  | 71 | 72 | 0.044908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_6154-15_0_6_line_80 |  | 72 | 75 | 0.0093012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_6154-15_0_6_line_81 |  | 75 | 76 | 0.039365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_6154-15_0_6_line_82 |  | 76 | 77 | 0.05089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_6154-15_0_6_line_83 |  | 77 | 78 | 0.024518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
84 | LV_6154-15_0_6_line_84 |  | 78 | 83 | 0.014247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
85 | LV_6154-15_0_6_line_85 |  | 79 | 80 | 0.0045431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
86 | LV_6154-15_0_6_line_86 |  | 79 | 81 | 0.035178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
87 | LV_6154-15_0_6_line_87 |  | 80 | 82 | 0.0029132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
88 | LV_6154-15_0_6_line_88 |  | 82 | 83 | 0.037361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
89 | LV_6154-15_0_6_line_89 |  | 84 | 85 | 0.023338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6154-15_0_6_line_90 |  | 85 | 86 | 0.018836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6154-15_0_6_line_91 |  | 85 | 87 | 0.00021808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6154-15_0_6_line_92 |  | 86 | 88 | 0.019128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6154-15_0_6_line_93 |  | 89 | 90 | 0.0026866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6154-15_0_6_line_94 |  | 90 | 91 | 0.019763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6154-15_0_6_line_95 |  | 91 | 92 | 0.053886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6154-15_0_6_line_96 |  | 93 | 94 | 0.0058748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_6154-15_0_6_line_97 |  | 94 | 95 | 0.00051507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_6154-15_0_6_line_98 |  | 95 | 97 | 0.025668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_6154-15_0_6_line_99 |  | 96 | 98 | 0.02506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6154-15_0_6_line_100 |  | 97 | 99 | 0.0021457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_6154-15_0_6_line_101 |  | 99 | 100 | 0.017547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_6154-15_0_6_line_102 |  | 100 | 101 | 0.0039757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_6154-15_0_6_line_103 |  | 102 | 103 | 0.0037546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6154-15_0_6_line_104 |  | 103 | 105 | 0.064656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6154-15_0_6_line_105 |  | 104 | 106 | 0.018841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6154-15_0_6_line_106 |  | 106 | 107 | 0.019555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6154-15_0_6_line_107 |  | 107 | 108 | 0.03584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_6154-15_0_6_line_108 |  | 108 | 109 | 0.027822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_6154-15_0_6_line_109 |  | 109 | 110 | 0.046875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6154-15_0_6_trafo_16 | 0.63 MVA 20/0.4 kV | 111 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2556611.21 | 1134650.052 | 2556596.8922 | 1134650.1263
1 | 2556611.21 | 1134650.052 | 2556614.1839 | 1134650.0366
2 | 2556579.1759 | 1134647.2402 | 2556596.8922 | 1134650.1263 | 2556596.8922 | 1134650.1263
3 | 2556627.3157 | 1134652.3671 | 2556618.9799 | 1134650.0117 | 2556614.1839 | 1134650.0366
4 | 2556558.5656 | 1134646.0337 | 2556578.1372 | 1134647.071 | 2556579.1759 | 1134647.2402
5 | 2556627.3157 | 1134652.3671 | 2556631.9817 | 1134653.6855
6 | 2556558.5656 | 1134646.0337 | 2556547.4996 | 1134647.9111
7 | 2556558.5656 | 1134646.0337 | 2556552.6692 | 1134643.47
8 | 2556636.7715 | 1134655.3692 | 2556632.6379 | 1134653.8709 | 2556631.9817 | 1134653.6855
9 | 2556520.1531 | 1134658.5854 | 2556540.9779 | 1134649.0176 | 2556547.4996 | 1134647.9111
10 | 2556552.6692 | 1134643.47 | 2556546.1664 | 1134640.6426 | 2556527.4216 | 1134627.4396
11 | 2556636.7715 | 1134655.3692 | 2556642.5921 | 1134657.4789 | 2556649.1823 | 1134661.2709
12 | 2556699.6846 | 1134618.8209 | 2556700.4278 | 1134617.5427 | 2556704.4139 | 1134611.0329 | 2556710.3699 | 1134606.6101 | 2556722.0952 | 1134599.6386
13 | 2556699.6846 | 1134618.8209 | 2556693.6313 | 1134629.2308 | 2556682.4142 | 1134644.8083 | 2556680.6492 | 1134646.5567
14 | 2556752.7629 | 1134569.9038 | 2556752.6629 | 1134570.3324 | 2556747.8385 | 1134581.2281 | 2556742.8404 | 1134586.1554 | 2556737.415 | 1134590.5299 | 2556722.0952 | 1134599.6386
15 | 2556660.1524 | 1134658.0905 | 2556668.48 | 1134654.9803 | 2556676.1402 | 1134651.0232 | 2556680.6492 | 1134646.5567
16 | 2556654.3083 | 1134664.2203 | 2556659.8909 | 1134658.1882 | 2556660.1524 | 1134658.0905
17 | 2556654.3083 | 1134664.2203 | 2556649.1823 | 1134661.2709
18 | 2556667.305 | 1134679.9349 | 2556654.3083 | 1134664.2203
19 | 2556667.305 | 1134679.9349 | 2556659.0302 | 1134689.3308
20 | 2556667.305 | 1134679.9349 | 2556673.5481 | 1134685.4817 | 2556680.1033 | 1134689.47 | 2556695.528 | 1134699.2975 | 2556695.528 | 1134699.2975
21 | 2556503.9811 | 1134666.0154 | 2556520.1531 | 1134658.5854
22 | 2556503.9811 | 1134666.0154 | 2556490.9815 | 1134667.0098 | 2556484.6419 | 1134664.1096 | 2556484.6419 | 1134664.1096
23 | 2556503.9811 | 1134666.0154 | 2556503.66 | 1134673.7661 | 2556500.9111 | 1134697.0423 | 2556501.3915 | 1134701.7413 | 2556505.9185 | 1134707.3003 | 2556510.6493 | 1134713.4364
24 | 2556779.6501 | 1134651.6268 | 2556771.2614 | 1134649.1615 | 2556749.595 | 1134639.3563 | 2556741.1008 | 1134637.4682
25 | 2556785.1449 | 1134653.2417 | 2556779.6501 | 1134651.6268
26 | 2556811.6022 | 1134664.7914 | 2556790.9054 | 1134654.9347 | 2556785.1449 | 1134653.2417
27 | 2556818.292 | 1134652.1369 | 2556811.6022 | 1134664.7914
28 | 2556811.6022 | 1134664.7914 | 2556805.0083 | 1134678.1742
29 | 2556818.292 | 1134652.1369 | 2556823.1157 | 1134642.2084
30 | 2556818.292 | 1134652.1369 | 2556829.9752 | 1134656.9575
31 | 2556788.5802 | 1134712.7476 | 2556799.2069 | 1134689.9486 | 2556805.0083 | 1134678.1742
32 | 2556788.5802 | 1134712.7476 | 2556792.0394 | 1134714.3125 | 2556794.6752 | 1134714.8272 | 2556797.7832 | 1134714.6492 | 2556802.8582 | 1134714.0125
33 | 2556788.5802 | 1134712.7476 | 2556782.115 | 1134725.5672
34 | 2556812.6295 | 1134711.4634 | 2556802.8582 | 1134714.0125
35 | 2556802.8582 | 1134714.0125 | 2556805.5108 | 1134717.94 | 2556806.4992 | 1134722.6909 | 2556803.7481 | 1134739.0504
36 | 2556782.115 | 1134725.5672 | 2556768.7076 | 1134751.8958
37 | 2556782.115 | 1134725.5672 | 2556778.586 | 1134723.925 | 2556771.6196 | 1134722.6743 | 2556763.0784 | 1134720.6665
38 | 2556812.6295 | 1134711.4634 | 2556812.0597 | 1134699.6059 | 2556821.2132 | 1134680.6528
39 | 2556812.6295 | 1134711.4634 | 2556821.8429 | 1134709.4519 | 2556833.5912 | 1134707.8225 | 2556842.8964 | 1134710.0348 | 2556852.1143 | 1134712.948 | 2556869.7948 | 1134720.7699
40 | 2556802.8183 | 1134744.5795 | 2556803.7481 | 1134739.0504
41 | 2556757.0395 | 1134775.2083 | 2556760.5478 | 1134768.1325 | 2556763.0209 | 1134763.1344 | 2556765.1605 | 1134758.8614 | 2556768.7076 | 1134751.8958
42 | 2556752.7242 | 1134718.2326 | 2556763.0784 | 1134720.6665
43 | 2556823.1157 | 1134642.2084 | 2556810.3572 | 1134634.501
44 | 2556823.1157 | 1134642.2084 | 2556831.6212 | 1134624.7016
45 | 2556829.9752 | 1134656.9575 | 2556838.7632 | 1134660.5835 | 2556848.1609 | 1134660.6496 | 2556883.9954 | 1134673.796
46 | 2556869.7948 | 1134720.7699 | 2556865.7083 | 1134737.74
47 | 2556802.8183 | 1134744.5795 | 2556801.2509 | 1134753.9 | 2556800.7492 | 1134757.4951
48 | 2556750.0145 | 1134789.3767 | 2556757.0395 | 1134775.2083
49 | 2556752.7242 | 1134718.2326 | 2556747.9373 | 1134717.1073
50 | 2556797.9925 | 1134627.0315 | 2556810.3572 | 1134634.501
51 | 2556838.0799 | 1134611.4077 | 2556831.6212 | 1134624.7016
52 | 2556898.2724 | 1134679.0337 | 2556883.9954 | 1134673.796
53 | 2556906.1224 | 1134460.3062 | 2556904.4742 | 1134465.8248 | 2556900.5982 | 1134485.245
54 | 2556921.9397 | 1134443.4996 | 2556910.1642 | 1134446.7743 | 2556906.1224 | 1134460.3062
55 | 2556900.5982 | 1134485.245 | 2556895.7217 | 1134509.6787
56 | 2556921.9397 | 1134443.4996 | 2556943.9484 | 1134458.0831 | 2556950.5893 | 1134463.2828 | 2556954.2525 | 1134470.7716 | 2556954.6317 | 1134476.0961
57 | 2556895.7217 | 1134509.6787 | 2556890.8374 | 1134534.1509
58 | 2556956.2066 | 1134496.9453 | 2556955.9806 | 1134495.0383 | 2556954.6317 | 1134476.0961
59 | 2556958.5885 | 1134520.7189 | 2556958.5032 | 1134516.32 | 2556956.2066 | 1134496.9453
60 | 2556958.5885 | 1134520.7189 | 2556958.8323 | 1134533.293 | 2556958.0691 | 1134541.7361 | 2556960.5998 | 1134550.1557 | 2556967.4196 | 1134565.337 | 2556967.7708 | 1134571.4043 | 2556967.0583 | 1134584.3369
61 | 2556871.5729 | 1134539.1421 | 2556884.0531 | 1134547.268 | 2556897.6037 | 1134552.2269
62 | 2556907.4424 | 1134555.8273 | 2556897.6037 | 1134552.2269
63 | 2556871.5729 | 1134539.1421 | 2556858.6775 | 1134568.647
64 | 2556838.0799 | 1134611.4077 | 2556855.6936 | 1134575.4743 | 2556858.6775 | 1134568.647
65 | 2556838.0799 | 1134611.4077 | 2556826.0046 | 1134603.446
66 | 2556815.5446 | 1134596.5494 | 2556826.0046 | 1134603.446
67 | 2556783.2361 | 1134599.7058 | 2556796.9454 | 1134595.6944 | 2556803.1124 | 1134592.782 | 2556809.5917 | 1134592.6244 | 2556815.5446 | 1134596.5494
68 | 2556908.1482 | 1134607.1389 | 2556925.5848 | 1134613.127 | 2556946.5011 | 1134619.8482
69 | 2556964.4021 | 1134625.6005 | 2556946.5011 | 1134619.8482
70 | 2556962.2772 | 1134654.5749 | 2556964.4021 | 1134625.6005
71 | 2556964.4021 | 1134625.6005 | 2556965.9449 | 1134604.5453 | 2556967.0583 | 1134584.3369
72 | 2556962.2772 | 1134654.5749 | 2556962.0144 | 1134665.4028
73 | 2556962.2772 | 1134654.5749 | 2556945.5391 | 1134648.4254
74 | 2556962.0144 | 1134665.4028 | 2556951.8471 | 1134743.7505
75 | 2556945.5391 | 1134648.4254 | 2556927.8652 | 1134641.932
76 | 2556916.6159 | 1134637.7991 | 2556901.9355 | 1134632.4055
77 | 2556916.6159 | 1134637.7991 | 2556927.8652 | 1134641.932
78 | 2556886.7699 | 1134626.8337 | 2556901.9355 | 1134632.4055
79 | 2556941.758 | 1134786.9002 | 2556947.1623 | 1134777.4346 | 2556951.8471 | 1134743.7505
80 | 2556941.758 | 1134786.9002 | 2556937.148 | 1134794.9787
81 | 2556937.148 | 1134794.9787 | 2556917.6373 | 1134829.1685
82 | 2556867.1661 | 1134835.6802 | 2556917.6373 | 1134829.1685
83 | 2556867.1661 | 1134835.6802 | 2556847.8091 | 1134820.632
84 | 2556836.5611 | 1134811.8878 | 2556847.8091 | 1134820.632
85 | 2556853.6526 | 1134775.4198 | 2556855.5806 | 1134771.3061
86 | 2556865.7083 | 1134737.74 | 2556865.0189 | 1134740.6031 | 2556859.1656 | 1134763.6568 | 2556855.5806 | 1134771.3061
87 | 2556852.4163 | 1134778.0577 | 2556853.6526 | 1134775.4198
88 | 2556836.5611 | 1134811.8878 | 2556852.4163 | 1134778.0577
89 | 2556796.7373 | 1134795.2313 | 2556801.717 | 1134797.4189 | 2556808.1645 | 1134800.3742 | 2556818.1663 | 1134804.4658
90 | 2556796.7373 | 1134795.2313 | 2556797.7807 | 1134780.8276 | 2556798.2723 | 1134776.4605
91 | 2556796.7373 | 1134795.2313 | 2556796.7127 | 1134795.448
92 | 2556800.7492 | 1134757.4951 | 2556798.9817 | 1134770.1579 | 2556798.2723 | 1134776.4605
93 | 2556750.0145 | 1134789.3767 | 2556748.8211 | 1134791.7836
94 | 2556740.042 | 1134809.4897 | 2556748.8211 | 1134791.7836
95 | 2556740.042 | 1134809.4897 | 2556721.0515 | 1134801.422 | 2556700.5527 | 1134792.309 | 2556691.2241 | 1134786.8288
96 | 2556695.528 | 1134699.2975 | 2556700.711 | 1134702.0633
97 | 2556701.1654 | 1134702.3058 | 2556700.711 | 1134702.0633
98 | 2556724.8859 | 1134711.7851 | 2556711.2116 | 1134707.6669 | 2556701.1654 | 1134702.3058
99 | 2556644.3903 | 1134709.5559 | 2556651.6096 | 1134697.7569 | 2556659.0302 | 1134689.3308
100 | 2556724.8859 | 1134711.7851 | 2556726.9405 | 1134712.4039
101 | 2556726.9405 | 1134712.4039 | 2556728.6969 | 1134712.9329 | 2556744.0609 | 1134716.2252
102 | 2556747.9373 | 1134717.1073 | 2556745.4621 | 1134716.5255 | 2556744.0609 | 1134716.2252
103 | 2556512.9417 | 1134716.4099 | 2556510.6493 | 1134713.4364
104 | 2556512.9417 | 1134716.4099 | 2556568.2652 | 1134749.8725
105 | 2556484.6419 | 1134664.1096 | 2556481.6686 | 1134656.3049 | 2556484.5844 | 1134646.2289
106 | 2556490.0202 | 1134627.445 | 2556484.5844 | 1134646.2289
107 | 2556499.9829 | 1134593.018 | 2556490.0202 | 1134627.445
108 | 2556499.9829 | 1134593.018 | 2556514.7777 | 1134581.6054 | 2556517.979 | 1134573.0112
109 | 2556563.2401 | 1134582.3785 | 2556553.8281 | 1134583.5581 | 2556538.5537 | 1134580.7668 | 2556517.979 | 1134573.0112

## bus_geodata
| x | y | coords
0 | 2556611.21 | 1134650.052
1 | 2556596.8922 | 1134650.1263
2 | 2556614.1839 | 1134650.0366
3 | 2556579.1759 | 1134647.2402
4 | 2556627.3157 | 1134652.3671
5 | 2556558.5656 | 1134646.0337
6 | 2556631.9817 | 1134653.6855
7 | 2556547.4996 | 1134647.9111
8 | 2556552.6692 | 1134643.47
9 | 2556636.7715 | 1134655.3692
10 | 2556699.6846 | 1134618.8209
11 | 2556722.0952 | 1134599.6386
12 | 2556680.6492 | 1134646.5567
13 | 2556752.7629 | 1134569.9038
14 | 2556660.1524 | 1134658.0905
15 | 2556654.3083 | 1134664.2203
16 | 2556649.1823 | 1134661.2709
17 | 2556667.305 | 1134679.9349
18 | 2556527.4216 | 1134627.4396
19 | 2556520.1531 | 1134658.5854
20 | 2556503.9811 | 1134666.0154
21 | 2556741.1008 | 1134637.4682
22 | 2556779.6501 | 1134651.6268
23 | 2556785.1449 | 1134653.2417
24 | 2556811.6022 | 1134664.7914
25 | 2556818.292 | 1134652.1369
26 | 2556805.0083 | 1134678.1742
27 | 2556788.5802 | 1134712.7476
28 | 2556802.8582 | 1134714.0125
29 | 2556782.115 | 1134725.5672
30 | 2556812.6295 | 1134711.4634
31 | 2556803.7481 | 1134739.0504
32 | 2556768.7076 | 1134751.8958
33 | 2556763.0784 | 1134720.6665
34 | 2556823.1157 | 1134642.2084
35 | 2556829.9752 | 1134656.9575
36 | 2556821.2132 | 1134680.6528
37 | 2556869.7948 | 1134720.7699
38 | 2556802.8183 | 1134744.5795
39 | 2556757.0395 | 1134775.2083
40 | 2556752.7242 | 1134718.2326
41 | 2556810.3572 | 1134634.501
42 | 2556831.6212 | 1134624.7016
43 | 2556883.9954 | 1134673.796
44 | 2556906.1224 | 1134460.3062
45 | 2556900.5982 | 1134485.245
46 | 2556921.9397 | 1134443.4996
47 | 2556895.7217 | 1134509.6787
48 | 2556954.6317 | 1134476.0961
49 | 2556890.8374 | 1134534.1509
50 | 2556956.2066 | 1134496.9453
51 | 2556958.5885 | 1134520.7189
52 | 2556897.6037 | 1134552.2269
53 | 2556871.5729 | 1134539.1421
54 | 2556907.4424 | 1134555.8273
55 | 2556858.6775 | 1134568.647
56 | 2556838.0799 | 1134611.4077
57 | 2556826.0046 | 1134603.446
58 | 2556815.5446 | 1134596.5494
59 | 2556783.2361 | 1134599.7058
60 | 2556908.1482 | 1134607.1389
61 | 2556946.5011 | 1134619.8482
62 | 2556964.4021 | 1134625.6005
63 | 2556962.2772 | 1134654.5749
64 | 2556967.0583 | 1134584.3369
65 | 2556962.0144 | 1134665.4028
66 | 2556945.5391 | 1134648.4254
67 | 2556916.6159 | 1134637.7991
68 | 2556901.9355 | 1134632.4055
69 | 2556927.8652 | 1134641.932
70 | 2556886.7699 | 1134626.8337
71 | 2556951.8471 | 1134743.7505
72 | 2556941.758 | 1134786.9002
73 | 2556797.9925 | 1134627.0315
74 | 2556898.2724 | 1134679.0337
75 | 2556937.148 | 1134794.9787
76 | 2556917.6373 | 1134829.1685
77 | 2556867.1661 | 1134835.6802
78 | 2556847.8091 | 1134820.632
79 | 2556855.5806 | 1134771.3061
80 | 2556853.6526 | 1134775.4198
81 | 2556865.7083 | 1134737.74
82 | 2556852.4163 | 1134778.0577
83 | 2556836.5611 | 1134811.8878
84 | 2556818.1663 | 1134804.4658
85 | 2556796.7373 | 1134795.2313
86 | 2556798.2723 | 1134776.4605
87 | 2556796.7127 | 1134795.448
88 | 2556800.7492 | 1134757.4951
89 | 2556750.0145 | 1134789.3767
90 | 2556748.8211 | 1134791.7836
91 | 2556740.042 | 1134809.4897
92 | 2556691.2241 | 1134786.8288
93 | 2556695.528 | 1134699.2975
94 | 2556700.711 | 1134702.0633
95 | 2556701.1654 | 1134702.3058
96 | 2556659.0302 | 1134689.3308
97 | 2556724.8859 | 1134711.7851
98 | 2556644.3903 | 1134709.5559
99 | 2556726.9405 | 1134712.4039
100 | 2556744.0609 | 1134716.2252
101 | 2556747.9373 | 1134717.1073
102 | 2556510.6493 | 1134713.4364
103 | 2556512.9417 | 1134716.4099
104 | 2556484.6419 | 1134664.1096
105 | 2556568.2652 | 1134749.8725
106 | 2556484.5844 | 1134646.2289
107 | 2556490.0202 | 1134627.445
108 | 2556499.9829 | 1134593.018
109 | 2556517.979 | 1134573.0112
110 | 2556563.2401 | 1134582.3785
111 | 2556811.6022 | 1134664.7914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1