## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6158-1_1_4_node_140 | 0.4 | n |  | TRUE
1 | bus_LV_6158-1_1_4_node_104 | 0.4 | n |  | TRUE
2 | bus_LV_6158-1_1_4_node_70 | 0.4 | n |  | TRUE
3 | bus_LV_6158-1_1_4_node_64 | 0.4 | n |  | TRUE
4 | bus_LV_6158-1_1_4_node_101 | 0.4 | n |  | TRUE
5 | bus_LV_6158-1_1_4_node_87 | 0.4 | n |  | TRUE
6 | bus_LV_6158-1_1_4_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_6158-1_1_4_node_117 | 0.4 | n |  | TRUE
8 | bus_LV_6158-1_1_4_node_116 | 0.4 | n |  | TRUE
9 | bus_LV_6158-1_1_4_node_69 | 0.4 | n |  | TRUE
10 | bus_LV_6158-1_1_4_node_132 | 0.4 | n |  | TRUE
11 | bus_LV_6158-1_1_4_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_6158-1_1_4_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_6158-1_1_4_node_71 | 0.4 | n |  | TRUE
14 | bus_LV_6158-1_1_4_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_6158-1_1_4_node_67 | 0.4 | n |  | TRUE
16 | bus_LV_6158-1_1_4_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_6158-1_1_4_node_92 | 0.4 | n |  | TRUE
18 | bus_LV_6158-1_1_4_node_121 | 0.4 | n |  | TRUE
19 | bus_LV_6158-1_1_4_node_115 | 0.4 | n |  | TRUE
20 | bus_LV_6158-1_1_4_node_133 | 0.4 | n |  | TRUE
21 | bus_LV_6158-1_1_4_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_6158-1_1_4_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_6158-1_1_4_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_6158-1_1_4_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_6158-1_1_4_node_89 | 0.4 | n |  | TRUE
26 | bus_LV_6158-1_1_4_node_82 | 0.4 | n |  | TRUE
27 | bus_LV_6158-1_1_4_node_90 | 0.4 | n |  | TRUE
28 | bus_LV_6158-1_1_4_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_6158-1_1_4_node_84 | 0.4 | n |  | TRUE
30 | bus_LV_6158-1_1_4_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_6158-1_1_4_node_86 | 0.4 | n |  | TRUE
32 | bus_LV_6158-1_1_4_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_6158-1_1_4_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_6158-1_1_4_node_94 | 0.4 | n |  | TRUE
35 | bus_LV_6158-1_1_4_node_99 | 0.4 | n |  | TRUE
36 | bus_LV_6158-1_1_4_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_6158-1_1_4_node_100 | 0.4 | n |  | TRUE
38 | bus_LV_6158-1_1_4_node_108 | 0.4 | n |  | TRUE
39 | bus_LV_6158-1_1_4_node_91 | 0.4 | n |  | TRUE
40 | bus_LV_6158-1_1_4_node_111 | 0.4 | n |  | TRUE
41 | bus_LV_6158-1_1_4_node_95 | 0.4 | n |  | TRUE
42 | bus_LV_6158-1_1_4_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_6158-1_1_4_node_97 | 0.4 | n |  | TRUE
44 | bus_LV_6158-1_1_4_node_112 | 0.4 | n |  | TRUE
45 | bus_LV_6158-1_1_4_node_102 | 0.4 | n |  | TRUE
46 | bus_LV_6158-1_1_4_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_6158-1_1_4_node_129 | 0.4 | n |  | TRUE
48 | bus_LV_6158-1_1_4_node_128 | 0.4 | n |  | TRUE
49 | bus_LV_6158-1_1_4_node_131 | 0.4 | n |  | TRUE
50 | bus_LV_6158-1_1_4_node_138 | 0.4 | n |  | TRUE
51 | bus_LV_6158-1_1_4_node_125 | 0.4 | n |  | TRUE
52 | bus_LV_6158-1_1_4_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_6158-1_1_4_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_6158-1_1_4_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_6158-1_1_4_node_109 | 0.4 | n |  | TRUE
56 | bus_LV_6158-1_1_4_node_118 | 0.4 | n |  | TRUE
57 | bus_LV_6158-1_1_4_node_119 | 0.4 | n |  | TRUE
58 | bus_LV_6158-1_1_4_node_113 | 0.4 | n |  | TRUE
59 | bus_LV_6158-1_1_4_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_6158-1_1_4_node_122 | 0.4 | n |  | TRUE
61 | bus_LV_6158-1_1_4_node_120 | 0.4 | n |  | TRUE
62 | bus_LV_6158-1_1_4_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_6158-1_1_4_node_124 | 0.4 | n |  | TRUE
64 | bus_LV_6158-1_1_4_node_126 | 0.4 | n |  | TRUE
65 | bus_LV_6158-1_1_4_node_130 | 0.4 | n |  | TRUE
66 | bus_LV_6158-1_1_4_node_127 | 0.4 | n |  | TRUE
67 | bus_LV_6158-1_1_4_node_137 | 0.4 | n |  | TRUE
68 | bus_LV_6158-1_1_4_node_134 | 0.4 | n |  | TRUE
69 | bus_LV_6158-1_1_4_node_135 | 0.4 | n |  | TRUE
70 | bus_LV_6158-1_1_4_node_136 | 0.4 | n |  | TRUE
71 | bus_MV_105_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6158-1_1_4_load_140 | 0 | 0.0013125 | 0.00032895 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6158-1_1_4_load_70 | 2 | 0.00085167 | 0.00021345 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6158-1_1_4_load_101 | 4 | 0.0039096 | 0.00097985 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6158-1_1_4_load_116 | 8 | 0.0012258 | 0.00030723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6158-1_1_4_load_132 | 10 | 0.0040041 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6158-1_1_4_load_65 | 11 | 0.00085284 | 0.00021374 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6158-1_1_4_load_66 | 12 | 0.0013136 | 0.00032921 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6158-1_1_4_load_71 | 13 | 0.002746 | 0.00068822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6158-1_1_4_load_67 | 15 | 0.0051063 | 0.0012798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6158-1_1_4_load_72 | 16 | 0.0025508 | 0.00063929 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6158-1_1_4_load_92 | 17 | 0.0027743 | 0.0006953 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6158-1_1_4_load_121 | 18 | 0.0013768 | 0.00034506 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6158-1_1_4_load_115 | 19 | 0.0040322 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6158-1_1_4_load_133 | 20 | 0.0039556 | 0.00099138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6158-1_1_4_load_79 | 21 | 0.0030282 | 0.00075894 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6158-1_1_4_load_80 | 22 | 0.0029754 | 0.0007457 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6158-1_1_4_load_98 | 23 | 0.0036437 | 0.00091319 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6158-1_1_4_load_81 | 24 | 0.0034664 | 0.00086877 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6158-1_1_4_load_89 | 25 | 0.010347 | 0.0025931 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6158-1_1_4_load_82 | 26 | 0.003353 | 0.00084034 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6158-1_1_4_load_90 | 27 | 0.002763 | 0.00069247 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6158-1_1_4_load_84 | 29 | 0.0030251 | 0.00075817 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6158-1_1_4_load_85 | 30 | 0.0046782 | 0.0011725 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6158-1_1_4_load_93 | 32 | 0.0025049 | 0.00062778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6158-1_1_4_load_88 | 33 | 0.0043847 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6158-1_1_4_load_94 | 34 | 0.0034538 | 0.0008656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6158-1_1_4_load_99 | 35 | 0.0012123 | 0.00030384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6158-1_1_4_load_110 | 36 | 0.00091593 | 0.00022955 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6158-1_1_4_load_108 | 38 | 0.0013304 | 0.00033342 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6158-1_1_4_load_91 | 39 | 0.002491 | 0.00062431 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6158-1_1_4_load_111 | 40 | 0.0028665 | 0.0007184 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6158-1_1_4_load_95 | 41 | 0.0023884 | 0.00059858 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6158-1_1_4_load_96 | 42 | 0.0044652 | 0.0011191 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6158-1_1_4_load_97 | 43 | 0.0047474 | 0.0011898 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6158-1_1_4_load_112 | 44 | 0.003258 | 0.00081654 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6158-1_1_4_load_102 | 45 | 0.0014122 | 0.00035393 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6158-1_1_4_load_128 | 48 | 0.0050556 | 0.001267 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6158-1_1_4_load_131 | 49 | 0.0028962 | 0.00072585 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6158-1_1_4_load_138 | 50 | 0.002983 | 0.0007476 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6158-1_1_4_load_125 | 51 | 0.0032605 | 0.00081717 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6158-1_1_4_load_105 | 52 | 0.0025165 | 0.00063068 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6158-1_1_4_load_106 | 53 | 0.0023594 | 0.00059132 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6158-1_1_4_load_107 | 54 | 0.0017262 | 0.00043262 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6158-1_1_4_load_109 | 55 | 0.0011994 | 0.00030061 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6158-1_1_4_load_118 | 56 | 0.0016128 | 0.00040421 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6158-1_1_4_load_119 | 57 | 0.0018574 | 0.00046551 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6158-1_1_4_load_113 | 58 | 0.0027548 | 0.00069041 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6158-1_1_4_load_114 | 59 | 0.0029134 | 0.00073018 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6158-1_1_4_load_120 | 61 | 0.0032542 | 0.00081558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6158-1_1_4_load_123 | 62 | 0.0034328 | 0.00086034 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6158-1_1_4_load_124 | 63 | 0.0036736 | 0.0009207 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6158-1_1_4_load_126 | 64 | 0.0034126 | 0.00085527 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6158-1_1_4_load_130 | 65 | 0.0036905 | 0.00092492 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6158-1_1_4_load_127 | 66 | 0.0016574 | 0.00041539 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6158-1_1_4_load_134 | 68 | 0.0022887 | 0.00057359 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6158-1_1_4_load_135 | 69 | 0.0034368 | 0.00086133 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6158-1_1_4_load_136 | 70 | 0.0037852 | 0.00094867 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6158-1_1_4_line_0 |  | 0 | 1 | 0.051929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6158-1_1_4_line_1 |  | 1 | 46 | 0.3884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6158-1_1_4_line_2 |  | 2 | 3 | 0.071711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6158-1_1_4_line_3 |  | 3 | 13 | 0.0097731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6158-1_1_4_line_4 |  | 4 | 5 | 0.13035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6158-1_1_4_line_5 |  | 5 | 35 | 0.047011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6158-1_1_4_line_6 |  | 5 | 31 | 0.11096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6158-1_1_4_line_7 |  | 6 | 7 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6158-1_1_4_line_8 |  | 6 | 8 | 0.09605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6158-1_1_4_line_9 |  | 7 | 18 | 0.02415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6158-1_1_4_line_10 |  | 7 | 9 | 0.05246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6158-1_1_4_line_11 |  | 8 | 19 | 0.023994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6158-1_1_4_line_12 |  | 9 | 10 | 0.088735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6158-1_1_4_line_13 |  | 10 | 20 | 0.031158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6158-1_1_4_line_14 |  | 11 | 12 | 0.050027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6158-1_1_4_line_15 |  | 12 | 15 | 0.11139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6158-1_1_4_line_16 |  | 13 | 14 | 0.021901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6158-1_1_4_line_17 |  | 14 | 21 | 0.0056277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6158-1_1_4_line_18 |  | 14 | 22 | 0.016854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6158-1_1_4_line_19 |  | 15 | 16 | 0.1179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6158-1_1_4_line_20 |  | 16 | 17 | 0.024193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6158-1_1_4_line_21 |  | 17 | 23 | 0.018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6158-1_1_4_line_22 |  | 18 | 60 | 0.056099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6158-1_1_4_line_23 |  | 19 | 59 | 0.044805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6158-1_1_4_line_24 |  | 21 | 24 | 0.027391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6158-1_1_4_line_25 |  | 22 | 25 | 0.0065957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6158-1_1_4_line_26 |  | 23 | 40 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6158-1_1_4_line_27 |  | 24 | 26 | 0.0026923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6158-1_1_4_line_28 |  | 25 | 27 | 0.01388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6158-1_1_4_line_29 |  | 26 | 28 | 0.0042346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6158-1_1_4_line_30 |  | 27 | 39 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6158-1_1_4_line_31 |  | 28 | 29 | 0.015512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6158-1_1_4_line_32 |  | 28 | 30 | 0.022297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6158-1_1_4_line_33 |  | 29 | 31 | 0.10258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_6158-1_1_4_line_34 |  | 30 | 32 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6158-1_1_4_line_35 |  | 31 | 33 | 0.018506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6158-1_1_4_line_36 |  | 32 | 34 | 0.0094573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6158-1_1_4_line_37 |  | 33 | 36 | 0.085079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6158-1_1_4_line_38 |  | 34 | 41 | 0.013338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6158-1_1_4_line_39 |  | 35 | 37 | 0.010718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6158-1_1_4_line_40 |  | 36 | 38 | 0.0042332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6158-1_1_4_line_41 |  | 37 | 45 | 0.01218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6158-1_1_4_line_42 |  | 38 | 53 | 0.0002033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6158-1_1_4_line_43 |  | 40 | 44 | 0.017367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6158-1_1_4_line_44 |  | 41 | 42 | 0.0066227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6158-1_1_4_line_45 |  | 42 | 43 | 0.018743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6158-1_1_4_line_46 |  | 44 | 58 | 0.0042833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6158-1_1_4_line_47 |  | 46 | 47 | 0.01621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6158-1_1_4_line_48 |  | 46 | 48 | 0.025375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6158-1_1_4_line_49 |  | 47 | 49 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_6158-1_1_4_line_50 |  | 47 | 50 | 0.010347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6158-1_1_4_line_51 |  | 48 | 51 | 0.035256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6158-1_1_4_line_52 |  | 49 | 65 | 0.010197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6158-1_1_4_line_53 |  | 50 | 67 | 0.016644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6158-1_1_4_line_54 |  | 51 | 61 | 0.026674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6158-1_1_4_line_55 |  | 52 | 53 | 0.039914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6158-1_1_4_line_56 |  | 52 | 54 | 0.047491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6158-1_1_4_line_57 |  | 54 | 55 | 0.032507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6158-1_1_4_line_58 |  | 55 | 56 | 0.048131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6158-1_1_4_line_59 |  | 56 | 57 | 0.026937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6158-1_1_4_line_60 |  | 57 | 61 | 0.027515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6158-1_1_4_line_61 |  | 58 | 59 | 0.05302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6158-1_1_4_line_62 |  | 60 | 62 | 0.0088212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6158-1_1_4_line_63 |  | 60 | 63 | 0.032841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6158-1_1_4_line_64 |  | 62 | 64 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6158-1_1_4_line_65 |  | 63 | 65 | 0.042705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6158-1_1_4_line_66 |  | 64 | 66 | 0.0016836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6158-1_1_4_line_67 |  | 67 | 70 | 0.023459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6158-1_1_4_line_68 |  | 68 | 69 | 0.011521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6158-1_1_4_line_69 |  | 68 | 70 | 0.010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6158-1_1_4_trafo_115 | 0.63 MVA 20/0.4 kV | 71 | 19 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2555220.2445 | 1129273.047 | 2555231.981 | 1129274.683 | 2555242.9782 | 1129278.4255 | 2555255.8991 | 1129284.9997 | 2555265.1445 | 1129287.2879 | 2555269.5767 | 1129287.0025
1 | 2555095.9912 | 1129457.1319 | 2555083.7115 | 1129440.437 | 2555065.8536 | 1129425.6513 | 2555062.191 | 1129422.0656 | 2555059.258 | 1129417.1405 | 2555052.3129 | 1129399.9945 | 2555049.4879 | 1129394.0681 | 2555042.6925 | 1129390.7948 | 2555041.337 | 1129388.7595 | 2555038.7233 | 1129380.1745 | 2555038.5109 | 1129377.5192 | 2555041.1113 | 1129377.0885 | 2555043.2655 | 1129376.7278 | 2555046.2505 | 1129376.2164 | 2555059.7903 | 1129373.8476 | 2555086.1632 | 1129383.8452 | 2555101.072 | 1129385.3239 | 2555111.3235 | 1129382.0459 | 2555112.3152 | 1129374.5347 | 2555203.8304 | 1129373.8096 | 2555208.6766 | 1129372.9064 | 2555211.6533 | 1129371.2724 | 2555214.5011 | 1129368.8833 | 2555216.7131 | 1129364.8982 | 2555209.2002 | 1129326.2119 | 2555208.8495 | 1129294.5649 | 2555210.2619 | 1129288.6958 | 2555213.7179 | 1129282.1112 | 2555220.2445 | 1129273.047
2 | 2555690.1422 | 1129543.5604 | 2555701.0443 | 1129544.9588 | 2555727.4945 | 1129551.0455 | 2555757.995 | 1129565.0896
3 | 2555690.1422 | 1129543.5604 | 2555680.4269 | 1129542.4991
4 | 2555411.805 | 1129437.1457 | 2555390.9607 | 1129427.7839 | 2555387.2201 | 1129425.0768 | 2555384.3666 | 1129421.4961 | 2555382.9052 | 1129417.6382 | 2555382.8784 | 1129414.0143 | 2555384.1052 | 1129410.1255 | 2555390.6118 | 1129399.3718 | 2555392.8481 | 1129396.5761 | 2555398.0564 | 1129393.5916 | 2555402.9062 | 1129392.1217 | 2555410.2567 | 1129391.3225 | 2555447.0491 | 1129394.7857 | 2555459.6966 | 1129393.6139 | 2555461.8533 | 1129393.1306
5 | 2555411.805 | 1129437.1457 | 2555397.6451 | 1129436.9169 | 2555374.2095 | 1129433.3773 | 2555365.2533 | 1129431.5137
6 | 2555510.5329 | 1129487.0201 | 2555500.0444 | 1129479.0711 | 2555491.4723 | 1129475.0768 | 2555458.385 | 1129461.1027 | 2555432.9843 | 1129444.9376 | 2555411.805 | 1129437.1457
7 | 2555239.0284 | 1129548.4602 | 2555246.7379 | 1129550.3818 | 2555255.1031 | 1129550.3642 | 2555264.6128 | 1129547.8368
8 | 2555264.6128 | 1129547.8368 | 2555273.3467 | 1129543.5365 | 2555280.4253 | 1129542.4501 | 2555287.5362 | 1129543.6424 | 2555309.1942 | 1129550.5744 | 2555318.7573 | 1129552.1266 | 2555347.8041 | 1129557.2252 | 2555357.8269 | 1129557.3643
9 | 2555239.0284 | 1129548.4602 | 2555221.0344 | 1129540.1562 | 2555217.3036 | 1129537.9531
10 | 2555239.0284 | 1129548.4602 | 2555232.6701 | 1129551.1088 | 2555228.3275 | 1129550.3184 | 2555216.7204 | 1129545.2797 | 2555207.4844 | 1129542.1356 | 2555199.7111 | 1129540.9594 | 2555188.6926 | 1129540.5077
11 | 2555381.3835 | 1129561.1552 | 2555380.7616 | 1129560.9722 | 2555366.0849 | 1129557.4789 | 2555357.8269 | 1129557.3643
12 | 2555188.6926 | 1129540.5077 | 2555160.2967 | 1129541.1301 | 2555102.1956 | 1129543.4412 | 2555100.0213 | 1129543.6626
13 | 2555100.0213 | 1129543.6626 | 2555069.024 | 1129546.8185
14 | 2555797.0917 | 1129685.9903 | 2555792.0219 | 1129685.5635 | 2555785.3668 | 1129683.4779 | 2555761.7805 | 1129662.3845 | 2555756.7036 | 1129658.6171
15 | 2555756.7036 | 1129658.6171 | 2555755.995 | 1129658.0914 | 2555738.3868 | 1129646.5813 | 2555732.2294 | 1129641.9908 | 2555728.3977 | 1129638.3726 | 2555719.73 | 1129624.4624 | 2555716.397 | 1129621.6188 | 2555711.0948 | 1129619.1676 | 2555703.2937 | 1129618.3578 | 2555661.3946 | 1129622.1029
16 | 2555658.8193 | 1129538.966 | 2555661.5117 | 1129539.5243 | 2555677.4608 | 1129542.1751 | 2555680.4269 | 1129542.4991
17 | 2555658.8193 | 1129538.966 | 2555653.308 | 1129537.8274
18 | 2555658.8193 | 1129538.966 | 2555657.3037 | 1129546.5477 | 2555654.4273 | 1129555.2049
19 | 2555661.3946 | 1129622.1029 | 2555645.6993 | 1129623.5059 | 2555624.7068 | 1129626.3173 | 2555604.3206 | 1129626.723 | 2555578.2596 | 1129616.9766 | 2555552.4256 | 1129608.7738 | 2555547.014 | 1129607.1581
20 | 2555547.014 | 1129607.1581 | 2555537.7812 | 1129604.4017 | 2555523.5551 | 1129601.3118
21 | 2555523.5551 | 1129601.3118 | 2555521.8416 | 1129600.9396 | 2555505.8608 | 1129595.8423
22 | 2555165.5741 | 1129517.4342 | 2555172.1712 | 1129520.9982 | 2555191.9644 | 1129525.7313 | 2555204.1527 | 1129530.1875 | 2555217.3036 | 1129537.9531
23 | 2555381.3835 | 1129561.1552 | 2555393.3215 | 1129564.67 | 2555399.0234 | 1129569.0746 | 2555409.1692 | 1129576.5256 | 2555418.2124 | 1129580.6943 | 2555420.6762 | 1129581.5533
24 | 2555653.308 | 1129537.8274 | 2555639.5945 | 1129534.9942 | 2555627.456 | 1129529.3471
25 | 2555652.3476 | 1129561.4642 | 2555654.4273 | 1129555.2049
26 | 2555505.8608 | 1129595.8423 | 2555493.3521 | 1129591.8525
27 | 2555625.0149 | 1129528.2115 | 2555627.456 | 1129529.3471
28 | 2555652.3476 | 1129561.4642 | 2555649.1874 | 1129570.9755 | 2555647.6367 | 1129574.5072
29 | 2555621.1754 | 1129526.4253 | 2555625.0149 | 1129528.2115
30 | 2555642.8312 | 1129585.4519 | 2555647.6367 | 1129574.5072
31 | 2555621.1754 | 1129526.4253 | 2555607.1098 | 1129519.8854
32 | 2555621.1754 | 1129526.4253 | 2555610.0826 | 1129529.4751 | 2555610.3169 | 1129534.098 | 2555608.3935 | 1129536.5023 | 2555606.852 | 1129537.4252 | 2555605.7477 | 1129538.0892 | 2555605.7477 | 1129538.0892
33 | 2555510.5329 | 1129487.0201 | 2555513.6644 | 1129488.62 | 2555534.5024 | 1129495.0919 | 2555568.9016 | 1129502.1198 | 2555580.9208 | 1129507.712 | 2555585.8136 | 1129509.9882 | 2555597.168 | 1129515.2629 | 2555607.1098 | 1129519.8854
34 | 2555601.903 | 1129550.5797 | 2555605.7477 | 1129538.0892
35 | 2555510.5329 | 1129487.0201 | 2555502.5563 | 1129487.5236 | 2555497.4516 | 1129486.7942 | 2555492.2675 | 1129485.4425
36 | 2555601.903 | 1129550.5797 | 2555599.1208 | 1129559.6185
37 | 2555408.1228 | 1129476.2938 | 2555415.442 | 1129476.8836 | 2555450.6084 | 1129477.2129 | 2555468.5947 | 1129479.27 | 2555492.2675 | 1129485.4425
38 | 2555599.1208 | 1129559.6185 | 2555595.1968 | 1129572.3667
39 | 2555354.7602 | 1129429.3302 | 2555365.2533 | 1129431.5137
40 | 2555408.1228 | 1129476.2938 | 2555403.9032 | 1129475.9537
41 | 2555354.7602 | 1129429.3302 | 2555346.5306 | 1129438.3291
42 | 2555403.7006 | 1129475.9373 | 2555403.9032 | 1129475.9537
43 | 2555493.3521 | 1129591.8525 | 2555488.1858 | 1129590.2046 | 2555476.2851 | 1129589.1808
44 | 2555595.1968 | 1129572.3667 | 2555593.2485 | 1129578.6963
45 | 2555589.7047 | 1129594.8476 | 2555586.8189 | 1129589.9886 | 2555592.3344 | 1129581.6659 | 2555593.2485 | 1129578.6963
46 | 2555472.0212 | 1129589.587 | 2555476.2851 | 1129589.1808 | 2555476.2851 | 1129589.1808
47 | 2555095.9912 | 1129457.1319 | 2555079.7417 | 1129456.6082
48 | 2555095.9912 | 1129457.1319 | 2555121.1825 | 1129460.1762
49 | 2555079.7417 | 1129456.6082 | 2555093.8728 | 1129471.9881
50 | 2555079.7417 | 1129456.6082 | 2555069.4354 | 1129455.6964
51 | 2555155.8301 | 1129466.6568 | 2555153.6632 | 1129466.3966 | 2555122.074 | 1129460.2839 | 2555121.1825 | 1129460.1762
52 | 2555093.8728 | 1129471.9881 | 2555100.7719 | 1129479.4967 | 2555100.7719 | 1129479.4967
53 | 2555052.8559 | 1129454.2295 | 2555069.4354 | 1129455.6964
54 | 2555182.3137 | 1129469.8369 | 2555155.8301 | 1129466.6568
55 | 2555364.0267 | 1129471.782 | 2555377.0351 | 1129473.7883 | 2555403.7006 | 1129475.9373
56 | 2555364.0267 | 1129471.782 | 2555317.9551 | 1129464.6765 | 2555317.0805 | 1129464.6563
57 | 2555284.5821 | 1129463.9083 | 2555317.0805 | 1129464.6563
58 | 2555284.5821 | 1129463.9083 | 2555279.9652 | 1129463.802 | 2555267.837 | 1129463.3028 | 2555249.4088 | 1129463.9843 | 2555236.5298 | 1129465.1766
59 | 2555236.5298 | 1129465.1766 | 2555209.7071 | 1129467.6598
60 | 2555209.7071 | 1129467.6598 | 2555184.0015 | 1129470.0396 | 2555182.3137 | 1129469.8369
61 | 2555472.0212 | 1129589.587 | 2555452.631 | 1129591.4344 | 2555446.5007 | 1129590.557 | 2555420.6762 | 1129581.5533
62 | 2555165.5741 | 1129517.4342 | 2555174.3925 | 1129517.657
63 | 2555165.5741 | 1129517.4342 | 2555155.9362 | 1129511.0137 | 2555150.9831 | 1129507.8934 | 2555144.7213 | 1129503.8378 | 2555139.6933 | 1129501.0071 | 2555137.6748 | 1129500.1962
64 | 2555193.0217 | 1129518.1706 | 2555178.8333 | 1129517.7692 | 2555174.3925 | 1129517.657
65 | 2555137.6748 | 1129500.1962 | 2555116.8706 | 1129491.8388 | 2555100.7719 | 1129479.4967
66 | 2555194.7047 | 1129518.2182 | 2555193.0217 | 1129518.1706
67 | 2555052.8559 | 1129454.2295 | 2555048.6803 | 1129477.3143
68 | 2555046.2832 | 1129487.1731 | 2555046.0325 | 1129487.4863 | 2555045.466 | 1129487.9575 | 2555044.8604 | 1129488.3511 | 2555044.1694 | 1129488.6452 | 2555043.3238 | 1129488.885 | 2555042.4541 | 1129488.9804 | 2555035.2991 | 1129489.0576
69 | 2555046.2832 | 1129487.1731 | 2555046.5515 | 1129486.8377 | 2555046.9618 | 1129486.0787 | 2555047.2482 | 1129485.2317 | 2555048.6803 | 1129477.3143

## bus_geodata
| x | y | coords
0 | 2555269.5767 | 1129287.0025
1 | 2555220.2445 | 1129273.047
2 | 2555757.995 | 1129565.0896
3 | 2555690.1422 | 1129543.5604
4 | 2555461.8533 | 1129393.1306
5 | 2555411.805 | 1129437.1457
6 | 2555264.6128 | 1129547.8368
7 | 2555239.0284 | 1129548.4602
8 | 2555357.8269 | 1129557.3643
9 | 2555188.6926 | 1129540.5077
10 | 2555100.0213 | 1129543.6626
11 | 2555797.0917 | 1129685.9903
12 | 2555756.7036 | 1129658.6171
13 | 2555680.4269 | 1129542.4991
14 | 2555658.8193 | 1129538.966
15 | 2555661.3946 | 1129622.1029
16 | 2555547.014 | 1129607.1581
17 | 2555523.5551 | 1129601.3118
18 | 2555217.3036 | 1129537.9531
19 | 2555381.3835 | 1129561.1552
20 | 2555069.024 | 1129546.8185
21 | 2555653.308 | 1129537.8274
22 | 2555654.4273 | 1129555.2049
23 | 2555505.8608 | 1129595.8423
24 | 2555627.456 | 1129529.3471
25 | 2555652.3476 | 1129561.4642
26 | 2555625.0149 | 1129528.2115
27 | 2555647.6367 | 1129574.5072
28 | 2555621.1754 | 1129526.4253
29 | 2555607.1098 | 1129519.8854
30 | 2555605.7477 | 1129538.0892
31 | 2555510.5329 | 1129487.0201
32 | 2555601.903 | 1129550.5797
33 | 2555492.2675 | 1129485.4425
34 | 2555599.1208 | 1129559.6185
35 | 2555365.2533 | 1129431.5137
36 | 2555408.1228 | 1129476.2938
37 | 2555354.7602 | 1129429.3302
38 | 2555403.9032 | 1129475.9537
39 | 2555642.8312 | 1129585.4519
40 | 2555493.3521 | 1129591.8525
41 | 2555595.1968 | 1129572.3667
42 | 2555593.2485 | 1129578.6963
43 | 2555589.7047 | 1129594.8476
44 | 2555476.2851 | 1129589.1808
45 | 2555346.5306 | 1129438.3291
46 | 2555095.9913 | 1129457.1319
47 | 2555079.7417 | 1129456.6082
48 | 2555121.1825 | 1129460.1762
49 | 2555093.8728 | 1129471.9881
50 | 2555069.4354 | 1129455.6964
51 | 2555155.8301 | 1129466.6568
52 | 2555364.0267 | 1129471.782
53 | 2555403.7006 | 1129475.9373
54 | 2555317.0805 | 1129464.6563
55 | 2555284.5821 | 1129463.9083
56 | 2555236.5298 | 1129465.1766
57 | 2555209.7071 | 1129467.6598
58 | 2555472.0212 | 1129589.587
59 | 2555420.6762 | 1129581.5533
60 | 2555165.5741 | 1129517.4343
61 | 2555182.3137 | 1129469.8369
62 | 2555174.3925 | 1129517.657
63 | 2555137.6748 | 1129500.1962
64 | 2555193.0217 | 1129518.1706
65 | 2555100.7719 | 1129479.4967
66 | 2555194.7047 | 1129518.2182
67 | 2555052.8559 | 1129454.2295
68 | 2555046.2832 | 1129487.1731
69 | 2555035.2991 | 1129489.0576
70 | 2555048.6803 | 1129477.3143
71 | 2555264.6128 | 1129547.8368

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1