## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6158-4_1_5_node_13 | 0.4 | n |  | TRUE
1 | bus_LV_6158-4_1_5_node_14 | 0.4 | n |  | TRUE
2 | bus_LV_6158-4_1_5_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_6158-4_1_5_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_6158-4_1_5_node_28 | 0.4 | n |  | TRUE
5 | bus_LV_6158-4_1_5_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_6158-4_1_5_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_6158-4_1_5_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6158-4_1_5_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_6158-4_1_5_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_6158-4_1_5_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_6158-4_1_5_node_57 | 0.4 | n |  | TRUE
12 | bus_LV_6158-4_1_5_node_100 | 0.4 | n |  | TRUE
13 | bus_LV_6158-4_1_5_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_6158-4_1_5_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_6158-4_1_5_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6158-4_1_5_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6158-4_1_5_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_6158-4_1_5_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_6158-4_1_5_node_91 | 0.4 | n |  | TRUE
20 | bus_LV_6158-4_1_5_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_6158-4_1_5_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_6158-4_1_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_6158-4_1_5_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_6158-4_1_5_node_72 | 0.4 | n |  | TRUE
25 | bus_LV_6158-4_1_5_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_6158-4_1_5_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_6158-4_1_5_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_6158-4_1_5_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_6158-4_1_5_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_6158-4_1_5_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_6158-4_1_5_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_6158-4_1_5_node_189 | 0.4 | n |  | TRUE
33 | bus_LV_6158-4_1_5_node_90 | 0.4 | n |  | TRUE
34 | bus_LV_6158-4_1_5_node_69 | 0.4 | n |  | TRUE
35 | bus_LV_6158-4_1_5_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_6158-4_1_5_node_41 | 0.4 | n |  | TRUE
37 | bus_LV_6158-4_1_5_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_6158-4_1_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_6158-4_1_5_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_6158-4_1_5_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_6158-4_1_5_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_6158-4_1_5_node_55 | 0.4 | n |  | TRUE
43 | bus_LV_6158-4_1_5_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_6158-4_1_5_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_6158-4_1_5_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_6158-4_1_5_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_6158-4_1_5_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6158-4_1_5_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_6158-4_1_5_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_6158-4_1_5_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_6158-4_1_5_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_6158-4_1_5_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_6158-4_1_5_node_99 | 0.4 | n |  | TRUE
54 | bus_LV_6158-4_1_5_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_6158-4_1_5_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_6158-4_1_5_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_6158-4_1_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_6158-4_1_5_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_6158-4_1_5_node_62 | 0.4 | n |  | TRUE
60 | bus_LV_6158-4_1_5_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_6158-4_1_5_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_6158-4_1_5_node_96 | 0.4 | n |  | TRUE
63 | bus_LV_6158-4_1_5_node_80 | 0.4 | n |  | TRUE
64 | bus_LV_6158-4_1_5_node_65 | 0.4 | n |  | TRUE
65 | bus_LV_6158-4_1_5_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6158-4_1_5_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_6158-4_1_5_node_83 | 0.4 | n |  | TRUE
68 | bus_LV_6158-4_1_5_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_6158-4_1_5_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_6158-4_1_5_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_6158-4_1_5_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_6158-4_1_5_node_78 | 0.4 | n |  | TRUE
73 | bus_LV_6158-4_1_5_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_6158-4_1_5_node_81 | 0.4 | n |  | TRUE
75 | bus_LV_6158-4_1_5_node_82 | 0.4 | n |  | TRUE
76 | bus_LV_6158-4_1_5_node_95 | 0.4 | n |  | TRUE
77 | bus_LV_6158-4_1_5_node_92 | 0.4 | n |  | TRUE
78 | bus_LV_6158-4_1_5_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_6158-4_1_5_node_94 | 0.4 | n |  | TRUE
80 | bus_LV_6158-4_1_5_node_85 | 0.4 | n |  | TRUE
81 | bus_LV_6158-4_1_5_node_87 | 0.4 | n |  | TRUE
82 | bus_LV_6158-4_1_5_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_6158-4_1_5_node_89 | 0.4 | n |  | TRUE
84 | bus_LV_6158-4_1_5_node_97 | 0.4 | n |  | TRUE
85 | bus_LV_6158-4_1_5_node_98 | 0.4 | n |  | TRUE
86 | bus_MV_105_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6158-4_1_5_load_13 | 0 | 0.0073531 | 0.0018429 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6158-4_1_5_load_14 | 1 | 0.0014882 | 0.00037299 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6158-4_1_5_load_28 | 4 | 0.0069115 | 0.0017322 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6158-4_1_5_load_16 | 5 | 0.0083812 | 0.0021005 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6158-4_1_5_load_19 | 8 | 0.0027154 | 0.00068055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6158-4_1_5_load_20 | 9 | 0.0035182 | 0.00088174 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6158-4_1_5_load_33 | 10 | 0.0054158 | 0.0013573 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6158-4_1_5_load_57 | 11 | 0.0050208 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6158-4_1_5_load_100 | 12 | 0.0092402 | 0.0023158 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6158-4_1_5_load_22 | 13 | 0.0048865 | 0.0012247 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6158-4_1_5_load_23 | 14 | 0.0030609 | 0.00076713 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6158-4_1_5_load_24 | 15 | 0.0028748 | 0.00072048 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6158-4_1_5_load_25 | 16 | 0.0030621 | 0.00076744 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6158-4_1_5_load_26 | 17 | 0.0030596 | 0.00076682 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6158-4_1_5_load_34 | 18 | 0.0030636 | 0.0007678 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6158-4_1_5_load_91 | 19 | 0.0059809 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6158-4_1_5_load_27 | 20 | 0.0051676 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6158-4_1_5_load_30 | 22 | 0.018673 | 0.0046799 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6158-4_1_5_load_31 | 23 | 0.0042203 | 0.0010577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6158-4_1_5_load_72 | 24 | 0.0048221 | 0.0012085 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6158-4_1_5_load_32 | 25 | 0.007063 | 0.0017702 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6158-4_1_5_load_45 | 26 | 0.0029078 | 0.00072876 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6158-4_1_5_load_35 | 27 | 0.0083134 | 0.0020835 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6158-4_1_5_load_36 | 28 | 0.0081706 | 0.0020477 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6158-4_1_5_load_37 | 29 | 0.0047883 | 0.0012001 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6158-4_1_5_load_39 | 31 | 0.0058599 | 0.0014686 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6158-4_1_5_load_189 | 32 | 0.012834 | 0.0032164 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6158-4_1_5_load_69 | 34 | 0.0048336 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6158-4_1_5_load_40 | 35 | 0.0031397 | 0.00078687 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6158-4_1_5_load_41 | 36 | 0.00343 | 0.00085963 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6158-4_1_5_load_44 | 38 | 0.0038294 | 0.00095974 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6158-4_1_5_load_46 | 40 | 0.0039262 | 0.00098399 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6158-4_1_5_load_86 | 43 | 0.0035828 | 0.00089793 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6158-4_1_5_load_49 | 44 | 0.0037209 | 0.00093254 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6158-4_1_5_load_51 | 46 | 0.0027103 | 0.00067925 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6158-4_1_5_load_52 | 47 | 0.0056608 | 0.0014187 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6158-4_1_5_load_84 | 48 | 0.0043225 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6158-4_1_5_load_53 | 50 | 0.0045447 | 0.001139 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6158-4_1_5_load_54 | 51 | 0.0077745 | 0.0019485 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6158-4_1_5_load_56 | 52 | 0.008255 | 0.0020689 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6158-4_1_5_load_99 | 53 | 0.0068885 | 0.0017264 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6158-4_1_5_load_58 | 54 | 0.0043499 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6158-4_1_5_load_59 | 55 | 0.010544 | 0.0026425 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6158-4_1_5_load_67 | 56 | 0.0035414 | 0.00088756 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6158-4_1_5_load_60 | 57 | 0.0027717 | 0.00069465 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6158-4_1_5_load_61 | 58 | 0.0027982 | 0.00070129 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6158-4_1_5_load_62 | 59 | 0.0054793 | 0.0013732 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6158-4_1_5_load_63 | 60 | 0.0037237 | 0.00093324 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6158-4_1_5_load_96 | 62 | 0.0046683 | 0.00117 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6158-4_1_5_load_65 | 64 | 0.0078516 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6158-4_1_5_load_66 | 65 | 0.0045421 | 0.0011383 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6158-4_1_5_load_68 | 66 | 0.0054252 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6158-4_1_5_load_70 | 68 | 0.0035441 | 0.00088823 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6158-4_1_5_load_73 | 69 | 0.0052175 | 0.0013076 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6158-4_1_5_load_74 | 70 | 0.0042396 | 0.0010625 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6158-4_1_5_load_78 | 72 | 0.0057344 | 0.0014372 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6158-4_1_5_load_79 | 73 | 0.004307 | 0.0010794 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6158-4_1_5_load_81 | 74 | 0.0048973 | 0.0012274 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6158-4_1_5_load_82 | 75 | 0.0049437 | 0.001239 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6158-4_1_5_load_92 | 77 | 0.002818 | 0.00070626 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6158-4_1_5_load_93 | 78 | 0.0094869 | 0.0023776 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6158-4_1_5_load_94 | 79 | 0.0041226 | 0.0010332 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6158-4_1_5_load_85 | 80 | 0.0035787 | 0.00089692 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6158-4_1_5_load_87 | 81 | 0.0046723 | 0.001171 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6158-4_1_5_load_88 | 82 | 0.0052688 | 0.0013205 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6158-4_1_5_load_89 | 83 | 0.0066981 | 0.0016787 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6158-4_1_5_load_97 | 84 | 0.0069924 | 0.0017524 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6158-4_1_5_load_98 | 85 | 0.0036688 | 0.00091948 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6158-4_1_5_line_0 |  | 0 | 1 | 0.023468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6158-4_1_5_line_1 |  | 1 | 2 | 0.0097309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6158-4_1_5_line_2 |  | 2 | 3 | 0.050188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6158-4_1_5_line_3 |  | 2 | 4 | 0.017536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6158-4_1_5_line_4 |  | 3 | 12 | 0.041033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6158-4_1_5_line_5 |  | 3 | 7 | 0.031708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_6158-4_1_5_line_6 |  | 4 | 20 | 0.020788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6158-4_1_5_line_7 |  | 5 | 6 | 0.11013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6158-4_1_5_line_8 |  | 5 | 7 | 0.043925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6158-4_1_5_line_9 |  | 6 | 8 | 0.1512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6158-4_1_5_line_10 |  | 7 | 9 | 0.03202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6158-4_1_5_line_11 |  | 8 | 10 | 0.061952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_6158-4_1_5_line_12 |  | 9 | 11 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6158-4_1_5_line_13 |  | 10 | 26 | 0.064128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6158-4_1_5_line_14 |  | 10 | 25 | 0.013953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6158-4_1_5_line_15 |  | 11 | 54 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_6158-4_1_5_line_16 |  | 12 | 76 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6158-4_1_5_line_17 |  | 13 | 14 | 0.016597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6158-4_1_5_line_18 |  | 13 | 15 | 0.0045785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6158-4_1_5_line_19 |  | 14 | 16 | 0.0012507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6158-4_1_5_line_20 |  | 15 | 17 | 0.035605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6158-4_1_5_line_21 |  | 16 | 18 | 0.010585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6158-4_1_5_line_22 |  | 17 | 19 | 0.02131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_6158-4_1_5_line_23 |  | 18 | 25 | 0.021525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6158-4_1_5_line_24 |  | 19 | 33 | 0.011418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6158-4_1_5_line_25 |  | 20 | 21 | 0.0053693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6158-4_1_5_line_26 |  | 21 | 22 | 0.011823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6158-4_1_5_line_27 |  | 21 | 23 | 0.032074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6158-4_1_5_line_28 |  | 22 | 24 | 0.02761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6158-4_1_5_line_29 |  | 24 | 39 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6158-4_1_5_line_30 |  | 26 | 40 | 0.025113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6158-4_1_5_line_31 |  | 27 | 28 | 0.02707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6158-4_1_5_line_32 |  | 27 | 29 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6158-4_1_5_line_33 |  | 28 | 30 | 0.016234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6158-4_1_5_line_34 |  | 29 | 31 | 0.0050318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6158-4_1_5_line_35 |  | 30 | 32 | 0.022118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6158-4_1_5_line_36 |  | 30 | 33 | 0.02477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_6158-4_1_5_line_37 |  | 31 | 34 | 0.013872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6158-4_1_5_line_38 |  | 33 | 82 | 0.01401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6158-4_1_5_line_39 |  | 35 | 36 | 0.022578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6158-4_1_5_line_40 |  | 35 | 37 | 0.016084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6158-4_1_5_line_41 |  | 37 | 38 | 0.015935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6158-4_1_5_line_42 |  | 38 | 39 | 0.0067094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6158-4_1_5_line_43 |  | 39 | 68 | 0.014399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6158-4_1_5_line_44 |  | 40 | 41 | 0.0087728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6158-4_1_5_line_45 |  | 41 | 42 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_6158-4_1_5_line_46 |  | 41 | 43 | 0.024835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6158-4_1_5_line_47 |  | 42 | 50 | 0.048249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6158-4_1_5_line_48 |  | 43 | 80 | 0.0014914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6158-4_1_5_line_49 |  | 44 | 45 | 0.012567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6158-4_1_5_line_50 |  | 45 | 46 | 0.02884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6158-4_1_5_line_51 |  | 45 | 47 | 0.004617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6158-4_1_5_line_52 |  | 46 | 48 | 0.0098805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6158-4_1_5_line_53 |  | 47 | 49 | 0.014331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6158-4_1_5_line_54 |  | 48 | 60 | 0.038412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6158-4_1_5_line_55 |  | 49 | 71 | 0.008487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6158-4_1_5_line_56 |  | 50 | 51 | 0.0034415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6158-4_1_5_line_57 |  | 51 | 52 | 0.021276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6158-4_1_5_line_58 |  | 52 | 53 | 0.031279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6158-4_1_5_line_59 |  | 53 | 85 | 0.021978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6158-4_1_5_line_60 |  | 54 | 55 | 0.011232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_6158-4_1_5_line_61 |  | 55 | 56 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6158-4_1_5_line_62 |  | 56 | 64 | 0.056825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6158-4_1_5_line_63 |  | 57 | 58 | 0.0043635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6158-4_1_5_line_64 |  | 57 | 59 | 0.020787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6158-4_1_5_line_65 |  | 58 | 60 | 0.012232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6158-4_1_5_line_66 |  | 59 | 61 | 0.021626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6158-4_1_5_line_67 |  | 61 | 62 | 0.015196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6158-4_1_5_line_68 |  | 61 | 63 | 0.014468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6158-4_1_5_line_69 |  | 63 | 75 | 0.011319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6158-4_1_5_line_70 |  | 63 | 72 | 0.033942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6158-4_1_5_line_71 |  | 64 | 65 | 0.022415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6158-4_1_5_line_72 |  | 65 | 66 | 0.024339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6158-4_1_5_line_73 |  | 66 | 67 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6158-4_1_5_line_74 |  | 67 | 78 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6158-4_1_5_line_75 |  | 67 | 79 | 0.058561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6158-4_1_5_line_76 |  | 69 | 70 | 0.02081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6158-4_1_5_line_77 |  | 69 | 71 | 0.013875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6158-4_1_5_line_78 |  | 72 | 73 | 0.02299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6158-4_1_5_line_79 |  | 73 | 74 | 0.011969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6158-4_1_5_line_80 |  | 74 | 76 | 0.025479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6158-4_1_5_line_81 |  | 75 | 77 | 0.018389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6158-4_1_5_line_82 |  | 80 | 81 | 0.0062859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6158-4_1_5_line_83 |  | 82 | 83 | 0.00066626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6158-4_1_5_line_84 |  | 84 | 85 | 5.797e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6158-4_1_5_trafo_65 | 0.63 MVA 20/0.4 kV | 86 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2556706.4186 | 1130097.831 | 2556706.4186 | 1130097.831 | 2556705.9619 | 1130099.6574 | 2556706.9552 | 1130121.2197
1 | 2556714.7185 | 1130093.1134 | 2556709.3804 | 1130095.1861 | 2556707.809 | 1130096.2424 | 2556706.4186 | 1130097.831
2 | 2556707.3481 | 1130043.8633 | 2556710.1069 | 1130049.4241 | 2556712.8899 | 1130066.9353 | 2556714.7185 | 1130093.1134
3 | 2556714.7185 | 1130093.1134 | 2556715.3103 | 1130101.5246 | 2556716.0315 | 1130110.5997
4 | 2556707.3481 | 1130043.8633 | 2556705.386 | 1130048.4242 | 2556703.0269 | 1130051.3315 | 2556699.9497 | 1130053.9883 | 2556697.0821 | 1130055.7987 | 2556693.3018 | 1130057.082 | 2556689.7389 | 1130057.5301 | 2556686.2489 | 1130057.4106 | 2556682.7539 | 1130056.5797 | 2556679.1236 | 1130055.1606 | 2556675.494 | 1130052.7522 | 2556674.0615 | 1130051.4356
5 | 2556707.3481 | 1130043.8633 | 2556708.829 | 1130037.7162 | 2556709.233 | 1130031.7658 | 2556708.5494 | 1130015.9404 | 2556708.6007 | 1130012.3604
6 | 2556716.0315 | 1130110.5997 | 2556717.6781 | 1130131.3223
7 | 2556666.0151 | 1129867.7366 | 2556677.5624 | 1129884.0064 | 2556692.323 | 1129911.1921 | 2556701.0293 | 1129936.2091 | 2556703.8572 | 1129949.2399 | 2556706.3926 | 1129968.5003
8 | 2556708.6007 | 1130012.3604 | 2556706.733 | 1129971.086 | 2556706.3926 | 1129968.5003
9 | 2556666.0151 | 1129867.7366 | 2556677.2474 | 1129866.9666 | 2556683.0938 | 1129870.2152 | 2556692.4683 | 1129882.0984 | 2556717.1524 | 1129898.9521 | 2556749.3983 | 1129923.0776 | 2556779.5633 | 1129945.9842 | 2556787.8857 | 1129951.6751
10 | 2556708.6007 | 1130012.3604 | 2556740.6197 | 1130012.573
11 | 2556831.3541 | 1129993.5448 | 2556830.4029 | 1129990.654 | 2556820.5247 | 1129973.994 | 2556787.8857 | 1129951.6751
12 | 2556768.8873 | 1130017.6312 | 2556765.9464 | 1130015.9064 | 2556762.0523 | 1130014.2113 | 2556758.7429 | 1130013.5013 | 2556752.8523 | 1130012.6542 | 2556740.6197 | 1130012.573
13 | 2556831.3541 | 1129993.5448 | 2556858.9623 | 1129935.6639
14 | 2556831.3541 | 1129993.5448 | 2556835.7152 | 1130006.7988
15 | 2556768.8873 | 1130017.6312 | 2556769.5044 | 1130017.9931 | 2556772.265 | 1130020.5858 | 2556775.5905 | 1130024.6196 | 2556777.4707 | 1130027.9633 | 2556777.6831 | 1130028.629
16 | 2556666.3262 | 1130041.7346 | 2556672.3616 | 1130049.8732 | 2556674.0615 | 1130051.4356
17 | 2556847.8591 | 1130037.7894 | 2556850.5113 | 1130050.5964 | 2556851.0023 | 1130054.0802
18 | 2556851.6413 | 1130058.6139 | 2556851.0023 | 1130054.0802
19 | 2556847.6055 | 1130036.5647 | 2556847.8591 | 1130037.7894
20 | 2556857.9041 | 1130093.6435 | 2556853.9112 | 1130074.7177 | 2556851.6413 | 1130058.6139
21 | 2556847.6055 | 1130036.5647 | 2556847.5275 | 1130036.1881 | 2556843.2564 | 1130026.9249
22 | 2556857.9041 | 1130093.6435 | 2556859.3724 | 1130100.603 | 2556861.4301 | 1130114.6502
23 | 2556843.2564 | 1130026.9249 | 2556840.048 | 1130019.9667 | 2556835.7152 | 1130006.7988
24 | 2556862.1878 | 1130125.9403 | 2556862.6601 | 1130123.0466 | 2556861.4301 | 1130114.6502
25 | 2556717.6808 | 1130136.67 | 2556717.9183 | 1130134.3449 | 2556717.6781 | 1130131.3223
26 | 2556717.6808 | 1130136.67 | 2556717.2686 | 1130139.341 | 2556716.6197 | 1130141.2133 | 2556715.5148 | 1130142.8776 | 2556712.257 | 1130146.855
27 | 2556717.6808 | 1130136.67 | 2556711.7056 | 1130141.193 | 2556699.0269 | 1130151.7672 | 2556694.0832 | 1130158.1459
28 | 2556712.257 | 1130146.855 | 2556694.7618 | 1130168.2142
29 | 2556688.2651 | 1130176.1458 | 2556694.7618 | 1130168.2142
30 | 2556858.9623 | 1129935.6639 | 2556871.7978 | 1129942.6111 | 2556879.7506 | 1129949.4943
31 | 2556826.2011 | 1130117.3306 | 2556826.275 | 1130117.6375 | 2556834.4951 | 1130141.5687 | 2556835.3109 | 1130142.7678
32 | 2556826.2011 | 1130117.3306 | 2556823.9492 | 1130107.9825 | 2556822.9103 | 1130099.9801
33 | 2556849.5893 | 1130146.6744 | 2556844.9464 | 1130147.9638 | 2556840.4112 | 1130147.0736 | 2556836.5423 | 1130144.5778 | 2556835.3109 | 1130142.7678
34 | 2556822.9103 | 1130099.9801 | 2556822.2625 | 1130094.9902
35 | 2556849.5893 | 1130146.6744 | 2556845.7014 | 1130155.5178 | 2556842.319 | 1130160.7336 | 2556836.8025 | 1130163.6968
36 | 2556862.1878 | 1130125.9403 | 2556857.7205 | 1130137.7672 | 2556853.7158 | 1130143.1986 | 2556849.5893 | 1130146.6744
37 | 2556820.2187 | 1130081.2763 | 2556820.9819 | 1130085.1254 | 2556822.2625 | 1130094.9902
38 | 2556862.1878 | 1130125.9403 | 2556864.3012 | 1130132.8176 | 2556862.5833 | 1130138.1437 | 2556862.0696 | 1130139.2489
39 | 2556655.2584 | 1130192.4342 | 2556650.805 | 1130194.7245 | 2556636.1741 | 1130204.4532
40 | 2556670.1072 | 1130189.4942 | 2556666.7555 | 1130188.2399 | 2556664.8055 | 1130188.0538 | 2556662.7529 | 1130188.5799 | 2556655.2584 | 1130192.4342
41 | 2556670.1072 | 1130189.4942 | 2556683.5006 | 1130180.8602
42 | 2556688.2651 | 1130176.1458 | 2556685.8882 | 1130178.7087 | 2556683.5006 | 1130180.8602
43 | 2556688.2651 | 1130176.1458 | 2556676.9254 | 1130167.2721
44 | 2556886.3839 | 1129955.2355 | 2556879.7506 | 1129949.4943
45 | 2556906.8383 | 1129975.2884 | 2556886.3839 | 1129955.2355
46 | 2556886.3839 | 1129955.2355 | 2556892.8952 | 1129973.9318 | 2556895.4996 | 1129978.2439
47 | 2556906.8383 | 1129975.2884 | 2556913.6293 | 1129984.6336 | 2556928.9074 | 1130007.903 | 2556932.3586 | 1130016.063
48 | 2556896.2707 | 1129979.5206 | 2556895.4996 | 1129978.2439
49 | 2556584.5232 | 1130127.6224 | 2556585.6924 | 1130131.6828 | 2556585.6808 | 1130133.2837 | 2556584.9462 | 1130136.0904 | 2556583.3177 | 1130139.5672
50 | 2556584.5232 | 1130127.6224 | 2556572.9503 | 1130147.327 | 2556570.1616 | 1130152.6266
51 | 2556584.5232 | 1130127.6224 | 2556586.3281 | 1130123.3729
52 | 2556570.1616 | 1130152.6266 | 2556565.5607 | 1130161.3705
53 | 2556591.9303 | 1130110.1824 | 2556586.3281 | 1130123.3729
54 | 2556598.7006 | 1130180.7921 | 2556565.5607 | 1130161.3705
55 | 2556591.9303 | 1130110.1824 | 2556595.8504 | 1130102.6503
56 | 2556932.3586 | 1130016.063 | 2556933.3653 | 1130018.4433 | 2556933.6298 | 1130019.2586
57 | 2556933.6298 | 1130019.2586 | 2556935.9091 | 1130026.2847 | 2556936.8089 | 1130036.8726 | 2556936.6591 | 1130040.1325
58 | 2556933.3314 | 1130071.1937 | 2556936.0757 | 1130052.8304 | 2556936.6591 | 1130040.1325
59 | 2556933.3314 | 1130071.1937 | 2556930.083 | 1130092.9305
60 | 2556780.1584 | 1130039.5659 | 2556778.7235 | 1130031.8897 | 2556777.6831 | 1130028.629
61 | 2556781.9999 | 1130049.417 | 2556780.1584 | 1130039.5659
62 | 2556786.5473 | 1130105.8962 | 2556786.7242 | 1130086.4158 | 2556785.3233 | 1130068.2833 | 2556783.449 | 1130057.1688 | 2556781.9999 | 1130049.417
63 | 2556610.5664 | 1130169.1894 | 2556607.4465 | 1130172.24
64 | 2556610.5664 | 1130169.1894 | 2556617.0028 | 1130162.8957 | 2556618.8032 | 1130161.5709 | 2556627.4777 | 1130157.5769
65 | 2556598.7006 | 1130180.7921 | 2556607.4465 | 1130172.24
66 | 2556645.8902 | 1130146.4128 | 2556644.6121 | 1130147.5448 | 2556640.2603 | 1130150.7333 | 2556636.2046 | 1130153.3416 | 2556631.7537 | 1130155.6081 | 2556627.4777 | 1130157.5769
67 | 2556645.8902 | 1130146.4128 | 2556637.9945 | 1130133.4185
68 | 2556653.6448 | 1130134.4287 | 2556651.6017 | 1130139.5016 | 2556647.8341 | 1130144.6869 | 2556645.8902 | 1130146.4128
69 | 2556653.6448 | 1130134.4287 | 2556654.037 | 1130140.7736 | 2556653.1951 | 1130145.6635
70 | 2556653.6448 | 1130134.4287 | 2556654.8594 | 1130129.8288 | 2556657.2931 | 1130100.746
71 | 2556786.5473 | 1130105.8962 | 2556786.5434 | 1130106.3273 | 2556786.2716 | 1130123.2046 | 2556785.9655 | 1130126.7086 | 2556785.6298 | 1130128.2599
72 | 2556785.6298 | 1130128.2599 | 2556785.2498 | 1130130.0154 | 2556783.7713 | 1130134.3504 | 2556780.6936 | 1130141.2316 | 2556778.9279 | 1130144.1902 | 2556774.4915 | 1130149.5782
73 | 2556764.8958 | 1130161.533 | 2556773.6059 | 1130150.6539 | 2556774.4915 | 1130149.5782
74 | 2556764.8958 | 1130161.533 | 2556783.0813 | 1130155.2105
75 | 2556764.8958 | 1130161.533 | 2556757.205 | 1130169.5366 | 2556732.7818 | 1130193.1461 | 2556729.9204 | 1130196.8908 | 2556726.5497 | 1130204.9975
76 | 2556599.5444 | 1130089.294 | 2556600.4293 | 1130083.93 | 2556601.4266 | 1130075.8854 | 2556601.6244 | 1130068.6208
77 | 2556595.8504 | 1130102.6503 | 2556597.5168 | 1130097.6802 | 2556599.278 | 1130090.9086 | 2556599.5444 | 1130089.294
78 | 2556657.2931 | 1130100.746 | 2556658.2001 | 1130089.9065 | 2556659.1775 | 1130077.8329
79 | 2556659.1775 | 1130077.8329 | 2556660.1432 | 1130065.903
80 | 2556666.3262 | 1130041.7346 | 2556662.0351 | 1130049.1025 | 2556661.2985 | 1130051.6313 | 2556660.1432 | 1130065.903
81 | 2556644.7518 | 1130161.6177 | 2556650.2855 | 1130154.6188 | 2556651.3484 | 1130152.4767 | 2556652.7875 | 1130148.0308 | 2556653.1951 | 1130145.6635
82 | 2556899.5206 | 1129984.9012 | 2556896.2707 | 1129979.5206
83 | 2556861.7888 | 1130139.8531 | 2556862.0696 | 1130139.2489
84 | 2556930.0744 | 1130092.9879 | 2556930.083 | 1130092.9305

## bus_geodata
| x | y | coords
0 | 2556706.9552 | 1130121.2197
1 | 2556706.4186 | 1130097.8309
2 | 2556714.7185 | 1130093.1134
3 | 2556707.3481 | 1130043.8633
4 | 2556716.0315 | 1130110.5997
5 | 2556706.3926 | 1129968.5003
6 | 2556666.0151 | 1129867.7366
7 | 2556708.6007 | 1130012.3604
8 | 2556787.8857 | 1129951.6751
9 | 2556740.6197 | 1130012.573
10 | 2556831.3541 | 1129993.5448
11 | 2556768.8873 | 1130017.6312
12 | 2556674.0615 | 1130051.4355
13 | 2556851.0023 | 1130054.0802
14 | 2556847.8591 | 1130037.7894
15 | 2556851.6413 | 1130058.6139
16 | 2556847.6055 | 1130036.5647
17 | 2556857.9041 | 1130093.6435
18 | 2556843.2564 | 1130026.9249
19 | 2556861.4301 | 1130114.6502
20 | 2556717.6781 | 1130131.3223
21 | 2556717.6808 | 1130136.67
22 | 2556712.257 | 1130146.855
23 | 2556694.0832 | 1130158.1459
24 | 2556694.7618 | 1130168.2142
25 | 2556835.7152 | 1130006.7988
26 | 2556858.9623 | 1129935.6639
27 | 2556826.2011 | 1130117.3306
28 | 2556835.3109 | 1130142.7678
29 | 2556822.9103 | 1130099.9801
30 | 2556849.5893 | 1130146.6744
31 | 2556822.2625 | 1130094.9902
32 | 2556836.8025 | 1130163.6968
33 | 2556862.1878 | 1130125.9403
34 | 2556820.2187 | 1130081.2763
35 | 2556655.2584 | 1130192.4342
36 | 2556636.1741 | 1130204.4532
37 | 2556670.1072 | 1130189.4942
38 | 2556683.5006 | 1130180.8602
39 | 2556688.2651 | 1130176.1458
40 | 2556879.7506 | 1129949.4943
41 | 2556886.3839 | 1129955.2355
42 | 2556906.8383 | 1129975.2884
43 | 2556895.4996 | 1129978.2439
44 | 2556583.3177 | 1130139.5672
45 | 2556584.5232 | 1130127.6224
46 | 2556570.1616 | 1130152.6266
47 | 2556586.3281 | 1130123.3729
48 | 2556565.5607 | 1130161.3705
49 | 2556591.9303 | 1130110.1824
50 | 2556932.3586 | 1130016.063
51 | 2556933.6298 | 1130019.2586
52 | 2556936.6591 | 1130040.1325
53 | 2556933.3314 | 1130071.1937
54 | 2556777.6831 | 1130028.629
55 | 2556780.1584 | 1130039.5659
56 | 2556781.9999 | 1130049.417
57 | 2556610.5664 | 1130169.1894
58 | 2556607.4465 | 1130172.24
59 | 2556627.4777 | 1130157.5769
60 | 2556598.7006 | 1130180.7921
61 | 2556645.8902 | 1130146.4128
62 | 2556637.9945 | 1130133.4185
63 | 2556653.6448 | 1130134.4287
64 | 2556786.5473 | 1130105.8962
65 | 2556785.6298 | 1130128.2599
66 | 2556774.4915 | 1130149.5782
67 | 2556764.8958 | 1130161.533
68 | 2556676.9254 | 1130167.2721
69 | 2556599.5444 | 1130089.294
70 | 2556601.6244 | 1130068.6208
71 | 2556595.8504 | 1130102.6503
72 | 2556657.2931 | 1130100.746
73 | 2556659.1775 | 1130077.8329
74 | 2556660.1432 | 1130065.903
75 | 2556653.1951 | 1130145.6635
76 | 2556666.3262 | 1130041.7346
77 | 2556644.7518 | 1130161.6177
78 | 2556783.0813 | 1130155.2105
79 | 2556726.5497 | 1130204.9975
80 | 2556896.2707 | 1129979.5206
81 | 2556899.5206 | 1129984.9012
82 | 2556862.0696 | 1130139.2489
83 | 2556861.7888 | 1130139.8531
84 | 2556930.0744 | 1130092.9879
85 | 2556930.083 | 1130092.9305
86 | 2556764.8958 | 1130161.533

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1