## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6159-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6159-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6159-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6159-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6159-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6159-18_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_6159-18_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6159-18_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_6159-18_0_4_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_6159-18_0_4_node_82 | 0.4 | n |  | TRUE
10 | bus_LV_6159-18_0_4_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_6159-18_0_4_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_6159-18_0_4_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_6159-18_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_6159-18_0_4_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_6159-18_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6159-18_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6159-18_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6159-18_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6159-18_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_6159-18_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_6159-18_0_4_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6159-18_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_6159-18_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_6159-18_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_6159-18_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_6159-18_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_6159-18_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_6159-18_0_4_node_58 | 0.4 | n |  | TRUE
29 | bus_LV_6159-18_0_4_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_6159-18_0_4_node_59 | 0.4 | n |  | TRUE
31 | bus_LV_6159-18_0_4_node_61 | 0.4 | n |  | TRUE
32 | bus_LV_6159-18_0_4_node_56 | 0.4 | n |  | TRUE
33 | bus_LV_6159-18_0_4_node_49 | 0.4 | n |  | TRUE
34 | bus_LV_6159-18_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_6159-18_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_6159-18_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6159-18_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_6159-18_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_6159-18_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_6159-18_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_6159-18_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_6159-18_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6159-18_0_4_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_6159-18_0_4_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_6159-18_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_6159-18_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_6159-18_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_6159-18_0_4_node_84 | 0.4 | n |  | TRUE
49 | bus_LV_6159-18_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_6159-18_0_4_node_68 | 0.4 | n |  | TRUE
51 | bus_LV_6159-18_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_6159-18_0_4_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_6159-18_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_6159-18_0_4_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6159-18_0_4_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_6159-18_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_6159-18_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_6159-18_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_6159-18_0_4_node_78 | 0.4 | n |  | TRUE
60 | bus_LV_6159-18_0_4_node_70 | 0.4 | n |  | TRUE
61 | bus_LV_6159-18_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_6159-18_0_4_node_79 | 0.4 | n |  | TRUE
63 | bus_LV_6159-18_0_4_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_6159-18_0_4_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_6159-18_0_4_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_6159-18_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_6159-18_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_6159-18_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_6159-18_0_4_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_6159-18_0_4_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_6159-18_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_6159-18_0_4_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_6159-18_0_4_node_75 | 0.4 | n |  | TRUE
74 | bus_LV_6159-18_0_4_node_76 | 0.4 | n |  | TRUE
75 | bus_LV_6159-18_0_4_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_6159-18_0_4_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_6159-18_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_MV_106_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6159-18_0_4_load_0 | 0 | 0.0068767 | 0.0017235 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6159-18_0_4_load_1 | 1 | 0.0072053 | 0.0018058 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6159-18_0_4_load_2 | 2 | 0.010084 | 0.0025273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6159-18_0_4_load_25 | 7 | 0.0082671 | 0.0020719 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6159-18_0_4_load_26 | 8 | 0.0073963 | 0.0018537 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6159-18_0_4_load_82 | 9 | 0.010381 | 0.0026017 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6159-18_0_4_load_66 | 10 | 0.0086378 | 0.0021648 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6159-18_0_4_load_5 | 13 | 0.0075054 | 0.001881 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6159-18_0_4_load_6 | 14 | 0.0038863 | 0.00097399 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6159-18_0_4_load_7 | 15 | 0.0045044 | 0.0011289 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6159-18_0_4_load_8 | 16 | 0.007084 | 0.0017754 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6159-18_0_4_load_9 | 17 | 0.0030694 | 0.00076927 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6159-18_0_4_load_10 | 18 | 0.0061398 | 0.0015388 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6159-18_0_4_load_12 | 22 | 0.0050813 | 0.0012735 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6159-18_0_4_load_13 | 23 | 0.018147 | 0.004548 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6159-18_0_4_load_14 | 24 | 0.0071675 | 0.0017964 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6159-18_0_4_load_58 | 28 | 0.0051017 | 0.0012786 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6159-18_0_4_load_51 | 29 | 0.010678 | 0.0026761 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6159-18_0_4_load_59 | 30 | 0.0055418 | 0.0013889 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6159-18_0_4_load_61 | 31 | 0.029231 | 0.0073261 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6159-18_0_4_load_56 | 32 | 0.0037771 | 0.00094663 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6159-18_0_4_load_39 | 34 | 0.0099321 | 0.0024892 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6159-18_0_4_load_19 | 35 | 0.0044865 | 0.0011244 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6159-18_0_4_load_30 | 36 | 0.0076138 | 0.0019082 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6159-18_0_4_load_28 | 37 | 0.010454 | 0.00262 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6159-18_0_4_load_65 | 38 | 0.0043265 | 0.0010843 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6159-18_0_4_load_29 | 39 | 0.0045408 | 0.001138 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6159-18_0_4_load_40 | 40 | 0.0065429 | 0.0016398 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6159-18_0_4_load_31 | 41 | 0.006958 | 0.0017438 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6159-18_0_4_load_32 | 42 | 0.0055074 | 0.0013803 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6159-18_0_4_load_33 | 43 | 0.0057138 | 0.001432 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6159-18_0_4_load_35 | 45 | 0.0093886 | 0.002353 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6159-18_0_4_load_84 | 48 | 0.0034775 | 0.00087153 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6159-18_0_4_load_68 | 50 | 0.0077819 | 0.0019503 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6159-18_0_4_load_47 | 51 | 0.0086462 | 0.0021669 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6159-18_0_4_load_42 | 52 | 0.0098351 | 0.0024649 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6159-18_0_4_load_60 | 53 | 0.010443 | 0.0026174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6159-18_0_4_load_41 | 54 | 0.0079605 | 0.0019951 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6159-18_0_4_load_62 | 55 | 0.0051529 | 0.0012914 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6159-18_0_4_load_45 | 57 | 0.013135 | 0.0032919 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6159-18_0_4_load_46 | 58 | 0.0045055 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6159-18_0_4_load_78 | 59 | 0.0045055 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6159-18_0_4_load_70 | 60 | 0.0088781 | 0.0022251 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6159-18_0_4_load_48 | 61 | 0.01378 | 0.0034535 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6159-18_0_4_load_79 | 62 | 0.0045026 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6159-18_0_4_load_69 | 63 | 0.0086476 | 0.0021673 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6159-18_0_4_load_50 | 64 | 0.0049269 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6159-18_0_4_load_52 | 65 | 0.010793 | 0.0027051 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6159-18_0_4_load_55 | 66 | 0.018695 | 0.0046855 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6159-18_0_4_load_57 | 67 | 0.0036322 | 0.00091031 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6159-18_0_4_load_63 | 68 | 0.013868 | 0.0034757 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6159-18_0_4_load_64 | 69 | 0.012359 | 0.0030974 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6159-18_0_4_load_71 | 70 | 0.0065338 | 0.0016375 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6159-18_0_4_load_72 | 71 | 0.0063609 | 0.0015942 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6159-18_0_4_load_83 | 72 | 0.0049873 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6159-18_0_4_load_75 | 73 | 0.0016686 | 0.00041818 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6159-18_0_4_load_76 | 74 | 0.0016698 | 0.00041848 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6159-18_0_4_load_77 | 75 | 0.0045039 | 0.0011288 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6159-18_0_4_load_80 | 76 | 0.0045055 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6159-18_0_4_load_81 | 77 | 0.0045022 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6159-18_0_4_line_0 |  | 0 | 1 | 0.041914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6159-18_0_4_line_1 |  | 0 | 2 | 0.001215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_6159-18_0_4_line_2 |  | 1 | 3 | 0.02049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6159-18_0_4_line_3 |  | 2 | 4 | 0.00072077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_6159-18_0_4_line_4 |  | 3 | 5 | 0.046111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6159-18_0_4_line_5 |  | 3 | 6 | 0.035397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6159-18_0_4_line_6 |  | 4 | 7 | 0.029873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6159-18_0_4_line_7 |  | 4 | 8 | 0.01853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6159-18_0_4_line_8 |  | 5 | 9 | 0.017115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6159-18_0_4_line_9 |  | 6 | 10 | 0.027939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6159-18_0_4_line_10 |  | 7 | 11 | 0.029609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_6159-18_0_4_line_11 |  | 8 | 12 | 0.0029598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6159-18_0_4_line_12 |  | 10 | 38 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6159-18_0_4_line_13 |  | 11 | 39 | 0.0090878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6159-18_0_4_line_14 |  | 11 | 37 | 0.022784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6159-18_0_4_line_15 |  | 12 | 34 | 0.027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6159-18_0_4_line_16 |  | 12 | 40 | 0.028321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6159-18_0_4_line_17 |  | 13 | 14 | 0.014246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6159-18_0_4_line_18 |  | 13 | 15 | 0.023429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6159-18_0_4_line_19 |  | 14 | 16 | 0.0068299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6159-18_0_4_line_20 |  | 15 | 17 | 0.0019455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6159-18_0_4_line_21 |  | 16 | 18 | 0.059004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6159-18_0_4_line_22 |  | 17 | 19 | 0.020714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6159-18_0_4_line_23 |  | 19 | 20 | 0.02471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6159-18_0_4_line_24 |  | 19 | 21 | 0.03351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6159-18_0_4_line_25 |  | 20 | 36 | 0.015225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6159-18_0_4_line_26 |  | 20 | 37 | 0.0089116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6159-18_0_4_line_27 |  | 21 | 35 | 0.041062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6159-18_0_4_line_28 |  | 22 | 23 | 0.01957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6159-18_0_4_line_29 |  | 22 | 24 | 0.017221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6159-18_0_4_line_30 |  | 23 | 25 | 0.04084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6159-18_0_4_line_31 |  | 25 | 26 | 0.039029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_6159-18_0_4_line_32 |  | 25 | 27 | 0.03966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6159-18_0_4_line_33 |  | 26 | 28 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6159-18_0_4_line_34 |  | 26 | 29 | 0.025686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_6159-18_0_4_line_35 |  | 26 | 30 | 0.018703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_6159-18_0_4_line_36 |  | 27 | 31 | 0.032894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6159-18_0_4_line_37 |  | 28 | 32 | 0.028152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_6159-18_0_4_line_38 |  | 29 | 33 | 0.019361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6159-18_0_4_line_39 |  | 30 | 34 | 0.03778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6159-18_0_4_line_40 |  | 32 | 66 | 0.037087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6159-18_0_4_line_41 |  | 32 | 65 | 0.048999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6159-18_0_4_line_42 |  | 33 | 61 | 0.020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6159-18_0_4_line_43 |  | 33 | 57 | 0.013877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6159-18_0_4_line_44 |  | 34 | 53 | 0.026087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6159-18_0_4_line_45 |  | 39 | 41 | 0.030713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6159-18_0_4_line_46 |  | 40 | 54 | 0.0029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6159-18_0_4_line_47 |  | 42 | 43 | 0.0016478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6159-18_0_4_line_48 |  | 42 | 44 | 0.019172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6159-18_0_4_line_49 |  | 43 | 45 | 0.018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6159-18_0_4_line_50 |  | 44 | 46 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6159-18_0_4_line_51 |  | 44 | 47 | 0.064646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6159-18_0_4_line_52 |  | 46 | 48 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6159-18_0_4_line_53 |  | 46 | 49 | 0.029422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6159-18_0_4_line_54 |  | 47 | 50 | 0.029132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6159-18_0_4_line_55 |  | 49 | 51 | 0.013254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6159-18_0_4_line_56 |  | 49 | 52 | 0.0062216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6159-18_0_4_line_57 |  | 51 | 60 | 0.012524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6159-18_0_4_line_58 |  | 52 | 56 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6159-18_0_4_line_59 |  | 53 | 55 | 0.032133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6159-18_0_4_line_60 |  | 55 | 68 | 0.00048636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6159-18_0_4_line_61 |  | 56 | 57 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6159-18_0_4_line_62 |  | 56 | 58 | 0.011967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6159-18_0_4_line_63 |  | 58 | 59 | 0.0061033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6159-18_0_4_line_64 |  | 59 | 62 | 0.0060997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6159-18_0_4_line_65 |  | 60 | 63 | 0.020937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6159-18_0_4_line_66 |  | 61 | 64 | 0.0066308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6159-18_0_4_line_67 |  | 62 | 77 | 0.0060977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6159-18_0_4_line_68 |  | 63 | 70 | 0.012265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6159-18_0_4_line_69 |  | 66 | 67 | 0.004602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6159-18_0_4_line_70 |  | 68 | 69 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6159-18_0_4_line_71 |  | 70 | 71 | 0.021303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6159-18_0_4_line_72 |  | 70 | 72 | 0.029487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6159-18_0_4_line_73 |  | 73 | 74 | 0.006102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6159-18_0_4_line_74 |  | 74 | 75 | 0.0060993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6159-18_0_4_line_75 |  | 75 | 76 | 0.0060993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6159-18_0_4_line_76 |  | 76 | 77 | 0.006102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6159-18_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 78 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2557587.1538 | 1132149.6129 | 2557589.7818 | 1132144.8669 | 2557603.9637 | 1132111.2471
1 | 2557587.1538 | 1132149.6129 | 2557586.5652 | 1132150.6758
2 | 2557611.6866 | 1132092.2749 | 2557610.1992 | 1132096.4653 | 2557603.9637 | 1132111.2471
3 | 2557586.5652 | 1132150.6758 | 2557586.216 | 1132151.3064
4 | 2557582.8231 | 1132068.5324 | 2557585.7803 | 1132069.7122 | 2557607.7006 | 1132078.3958 | 2557615.2235 | 1132081.7335 | 2557611.6866 | 1132092.2749
5 | 2557611.6866 | 1132092.2749 | 2557615.2235 | 1132081.7335 | 2557617.101 | 1132076.0841 | 2557617.457 | 1132075.2478 | 2557619.4643 | 1132070.5424 | 2557620.3034 | 1132068.3243 | 2557622.6308 | 1132062.0603 | 2557623.8184 | 1132059.0393
6 | 2557586.216 | 1132151.3064 | 2557571.9106 | 1132177.5315
7 | 2557586.216 | 1132151.3064 | 2557602.4975 | 1132160.1544
8 | 2557582.8231 | 1132068.5324 | 2557572.0837 | 1132081.8815
9 | 2557623.8184 | 1132059.0393 | 2557649.4483 | 1132070.161
10 | 2557557.5714 | 1132203.4346 | 2557561.3367 | 1132196.9159 | 2557571.9106 | 1132177.5315
11 | 2557605.0981 | 1132161.5677 | 2557602.4975 | 1132160.1544
12 | 2557663.5192 | 1132076.2669 | 2557649.4483 | 1132070.161
13 | 2557557.5714 | 1132203.4346 | 2557552.8767 | 1132211.2158
14 | 2557557.5714 | 1132203.4346 | 2557553.1886 | 1132202.087 | 2557535.0568 | 1132200.5282
15 | 2557605.0981 | 1132161.5677 | 2557630.8062 | 1132172.437
16 | 2557605.0981 | 1132161.5677 | 2557603.7012 | 1132166.569 | 2557600.4105 | 1132174.8964 | 2557594.8474 | 1132187.9337
17 | 2557482.6224 | 1132155.6324 | 2557481.474 | 1132152.7115 | 2557477.6396 | 1132142.2866
18 | 2557482.6224 | 1132155.6324 | 2557486.2252 | 1132164.7953 | 2557492.3031 | 1132176.9429
19 | 2557475.2819 | 1132135.8765 | 2557477.6396 | 1132142.2866
20 | 2557493.1736 | 1132178.6827 | 2557492.3031 | 1132176.9429
21 | 2557475.2819 | 1132135.8765 | 2557488.5584 | 1132078.3853
22 | 2557501.4863 | 1132197.649 | 2557497.9394 | 1132189.2808 | 2557494.8938 | 1132182.1208 | 2557493.1736 | 1132178.6827
23 | 2557526.178 | 1132199.7649 | 2557501.4863 | 1132197.649
24 | 2557468.1797 | 1132195.6495 | 2557474.4119 | 1132197.2174 | 2557490.2073 | 1132197.7507 | 2557501.4863 | 1132197.649
25 | 2557526.178 | 1132199.7649 | 2557525.5688 | 1132202.9153 | 2557521.6375 | 1132214.271
26 | 2557526.178 | 1132199.7649 | 2557535.0568 | 1132200.5282
27 | 2557468.1797 | 1132195.6495 | 2557465.4866 | 1132181.7058 | 2557457.0751 | 1132156.1957
28 | 2557641.0536 | 1132135.5481 | 2557659.1386 | 1132143.0265
29 | 2557637.3831 | 1132122.7377 | 2557634.397 | 1132131.224 | 2557634.8805 | 1132132.0989 | 2557635.6813 | 1132133.1938 | 2557637.4274 | 1132134.0486 | 2557641.0536 | 1132135.5481
30 | 2557696.8787 | 1132158.6326 | 2557659.1386 | 1132143.0265
31 | 2557682.5972 | 1132194.9625 | 2557696.8787 | 1132158.6326
32 | 2557713.1558 | 1132122.4666 | 2557708.6891 | 1132132.2029 | 2557696.8787 | 1132158.6326
33 | 2557682.5972 | 1132194.9625 | 2557693.4272 | 1132198.8996 | 2557703.4623 | 1132203.1058
34 | 2557682.5972 | 1132194.9625 | 2557672.7717 | 1132218.6945
35 | 2557682.5972 | 1132194.9625 | 2557665.4117 | 1132187.5828
36 | 2557713.1558 | 1132122.4666 | 2557743.3245 | 1132135.5768
37 | 2557729.4217 | 1132213.9969 | 2557720.6864 | 1132210.3253 | 2557703.4623 | 1132203.1058
38 | 2557665.3656 | 1132236.5825 | 2557672.7717 | 1132218.6945
39 | 2557630.8062 | 1132172.437 | 2557635.7045 | 1132174.826 | 2557665.4117 | 1132187.5828
40 | 2557730.8264 | 1132241.9737 | 2557733.9064 | 1132235.5789 | 2557739.1042 | 1132224.7036 | 2557740.5288 | 1132220.3358 | 2557739.7294 | 1132218.3292 | 2557729.4217 | 1132213.9969
41 | 2557729.4217 | 1132213.9969 | 2557777.686 | 1132205.5415
42 | 2557665.3656 | 1132236.5825 | 2557684.2572 | 1132244.4602
43 | 2557665.3656 | 1132236.5825 | 2557664.9719 | 1132237.5302 | 2557660.344 | 1132249.5183
44 | 2557630.8062 | 1132172.437 | 2557622.2205 | 1132192.0296 | 2557620.5722 | 1132196.4264
45 | 2557538.1951 | 1132238.1761 | 2557547.7842 | 1132219.6562 | 2557552.8767 | 1132211.2158
46 | 2557593.6828 | 1132190.6628 | 2557594.8474 | 1132187.9337
47 | 2557609.5832 | 1132319.0229 | 2557608.0669 | 1132318.3777
48 | 2557627.2239 | 1132326.5297 | 2557609.5832 | 1132319.0229
49 | 2557591.3224 | 1132311.2522 | 2557608.0669 | 1132318.3777
50 | 2557633.0997 | 1132314.6602 | 2557627.2239 | 1132326.5297
51 | 2557627.2239 | 1132326.5297 | 2557612.8901 | 1132362.9713 | 2557602.9307 | 1132386.4311
52 | 2557633.0997 | 1132314.6602 | 2557646.3956 | 1132320.025
53 | 2557633.0997 | 1132314.6602 | 2557644.6123 | 1132287.5765
54 | 2557602.9307 | 1132386.4311 | 2557629.7953 | 1132397.6997
55 | 2557644.6123 | 1132287.5765 | 2557656.8473 | 1132292.6716
56 | 2557644.6123 | 1132287.5765 | 2557644.938 | 1132286.8183 | 2557647.0821 | 1132281.8662
57 | 2557656.8473 | 1132292.6716 | 2557668.4085 | 1132297.4861
58 | 2557654.2267 | 1132265.3643 | 2557647.0821 | 1132281.8662
59 | 2557620.5722 | 1132196.4264 | 2557613.8844 | 1132214.2662 | 2557608.7713 | 1132226.3059
60 | 2557608.5812 | 1132226.7536 | 2557608.7713 | 1132226.3059
61 | 2557654.2267 | 1132265.3643 | 2557660.344 | 1132249.5183
62 | 2557654.2267 | 1132265.3643 | 2557665.3506 | 1132269.7762
63 | 2557665.3506 | 1132269.7762 | 2557671.0239 | 1132272.0263
64 | 2557671.0239 | 1132272.0263 | 2557676.6939 | 1132274.2751
65 | 2557687.7367 | 1132305.5351 | 2557668.4085 | 1132297.4861
66 | 2557690.3772 | 1132247.0123 | 2557684.2572 | 1132244.4602
67 | 2557682.3621 | 1132276.5232 | 2557676.6939 | 1132274.2751
68 | 2557699.0595 | 1132310.2503 | 2557687.7367 | 1132305.5351
69 | 2557728.8295 | 1132246.1199 | 2557730.8264 | 1132241.9737
70 | 2557602.122 | 1132241.963 | 2557608.5812 | 1132226.7536
71 | 2557699.0595 | 1132310.2503 | 2557718.5259 | 1132318.9025
72 | 2557699.0595 | 1132310.2503 | 2557686.6667 | 1132337.0065
73 | 2557705.0457 | 1132285.5198 | 2557699.3736 | 1132283.2701
74 | 2557693.7039 | 1132281.0215 | 2557699.3736 | 1132283.2701
75 | 2557688.0343 | 1132278.7728 | 2557693.7039 | 1132281.0215
76 | 2557688.0343 | 1132278.7728 | 2557682.3621 | 1132276.5232

## bus_geodata
| x | y | coords
0 | 2557587.1538 | 1132149.6129
1 | 2557603.9637 | 1132111.2471
2 | 2557586.5652 | 1132150.6758
3 | 2557611.6866 | 1132092.2749
4 | 2557586.216 | 1132151.3064
5 | 2557582.8231 | 1132068.5324
6 | 2557623.8184 | 1132059.0393
7 | 2557571.9106 | 1132177.5315
8 | 2557602.4975 | 1132160.1544
9 | 2557572.0837 | 1132081.8815
10 | 2557649.4483 | 1132070.161
11 | 2557557.5714 | 1132203.4346
12 | 2557605.0981 | 1132161.5677
13 | 2557482.6224 | 1132155.6324
14 | 2557477.6396 | 1132142.2866
15 | 2557492.3031 | 1132176.9429
16 | 2557475.2819 | 1132135.8765
17 | 2557493.1736 | 1132178.6827
18 | 2557488.5584 | 1132078.3853
19 | 2557501.4863 | 1132197.6489
20 | 2557526.178 | 1132199.7649
21 | 2557468.1797 | 1132195.6495
22 | 2557641.0536 | 1132135.5481
23 | 2557659.1386 | 1132143.0265
24 | 2557637.3831 | 1132122.7377
25 | 2557696.8787 | 1132158.6326
26 | 2557682.5972 | 1132194.9625
27 | 2557713.1558 | 1132122.4666
28 | 2557703.4623 | 1132203.1058
29 | 2557672.7717 | 1132218.6945
30 | 2557665.4117 | 1132187.5828
31 | 2557743.3245 | 1132135.5768
32 | 2557729.4217 | 1132213.9969
33 | 2557665.3656 | 1132236.5825
34 | 2557630.8062 | 1132172.437
35 | 2557457.0751 | 1132156.1957
36 | 2557521.6375 | 1132214.271
37 | 2557535.0568 | 1132200.5282
38 | 2557663.5192 | 1132076.2669
39 | 2557552.8767 | 1132211.2158
40 | 2557594.8474 | 1132187.9337
41 | 2557538.1951 | 1132238.1761
42 | 2557609.5832 | 1132319.0229
43 | 2557608.0669 | 1132318.3777
44 | 2557627.2239 | 1132326.5297
45 | 2557591.3224 | 1132311.2522
46 | 2557633.0997 | 1132314.6602
47 | 2557602.9307 | 1132386.4311
48 | 2557646.3956 | 1132320.025
49 | 2557644.6123 | 1132287.5765
50 | 2557629.7953 | 1132397.6997
51 | 2557656.8473 | 1132292.6716
52 | 2557647.0821 | 1132281.8662
53 | 2557620.5722 | 1132196.4264
54 | 2557593.6828 | 1132190.6628
55 | 2557608.7713 | 1132226.3059
56 | 2557654.2267 | 1132265.3643
57 | 2557660.344 | 1132249.5183
58 | 2557665.3506 | 1132269.7762
59 | 2557671.0239 | 1132272.0263
60 | 2557668.4085 | 1132297.4861
61 | 2557684.2572 | 1132244.4602
62 | 2557676.6939 | 1132274.2751
63 | 2557687.7367 | 1132305.5351
64 | 2557690.3772 | 1132247.0123
65 | 2557777.686 | 1132205.5415
66 | 2557730.8264 | 1132241.9737
67 | 2557728.8295 | 1132246.1199
68 | 2557608.5812 | 1132226.7536
69 | 2557602.122 | 1132241.963
70 | 2557699.0595 | 1132310.2503
71 | 2557718.5259 | 1132318.9025
72 | 2557686.6667 | 1132337.0065
73 | 2557705.0457 | 1132285.5198
74 | 2557699.3736 | 1132283.2701
75 | 2557693.7039 | 1132281.0215
76 | 2557688.0343 | 1132278.7728
77 | 2557682.3621 | 1132276.5232
78 | 2557630.8062 | 1132172.437

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1