## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6159-1_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6159-1_0_2_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_6159-1_0_2_node_21 | 0.4 | n |  | TRUE
3 | bus_LV_6159-1_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_6159-1_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_6159-1_0_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_6159-1_0_2_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_6159-1_0_2_node_1 | 0.4 | n |  | TRUE
8 | bus_LV_6159-1_0_2_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_6159-1_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6159-1_0_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_6159-1_0_2_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_6159-1_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6159-1_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_6159-1_0_2_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_6159-1_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6159-1_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6159-1_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6159-1_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6159-1_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6159-1_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6159-1_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6159-1_0_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_6159-1_0_2_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_6159-1_0_2_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_6159-1_0_2_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_6159-1_0_2_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_6159-1_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6159-1_0_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_6159-1_0_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_6159-1_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6159-1_0_2_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6159-1_0_2_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_6159-1_0_2_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_6159-1_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_6159-1_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_6159-1_0_2_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_6159-1_0_2_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6159-1_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6159-1_0_2_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6159-1_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6159-1_0_2_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_6159-1_0_2_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_6159-1_0_2_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_6159-1_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6159-1_0_2_node_56 | 0.4 | n |  | TRUE
46 | bus_LV_6159-1_0_2_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_6159-1_0_2_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6159-1_0_2_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_6159-1_0_2_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_6159-1_0_2_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_6159-1_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6159-1_0_2_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_6159-1_0_2_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_6159-1_0_2_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6159-1_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_6159-1_0_2_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_6159-1_0_2_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_6159-1_0_2_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_6159-1_0_2_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_6159-1_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_6159-1_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6159-1_0_2_node_58 | 0.4 | n |  | TRUE
63 | bus_MV_79_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6159-1_0_2_load_0 | 0 | 0.0012583 | 0.00031535 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6159-1_0_2_load_4 | 1 | 0.0013517 | 0.00033876 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6159-1_0_2_load_5 | 3 | 0.0020561 | 0.0005153 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6159-1_0_2_load_22 | 5 | 0.0090716 | 0.0022735 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6159-1_0_2_load_20 | 6 | 0.0065268 | 0.0016358 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6159-1_0_2_load_6 | 9 | 0.001254 | 0.00031427 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6159-1_0_2_load_17 | 10 | 0.0023458 | 0.00058792 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6159-1_0_2_load_19 | 11 | 0.0013512 | 0.00033863 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6159-1_0_2_load_8 | 12 | 0.0025017 | 0.00062698 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6159-1_0_2_load_16 | 13 | 0.0016223 | 0.00040658 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6159-1_0_2_load_7 | 14 | 0.0023367 | 0.00058562 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6159-1_0_2_load_9 | 15 | 0.0018971 | 0.00047545 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6159-1_0_2_load_10 | 16 | 0.0037543 | 0.00094091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6159-1_0_2_load_11 | 17 | 0.0050799 | 0.0012731 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6159-1_0_2_load_13 | 19 | 0.0037836 | 0.00094827 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6159-1_0_2_load_15 | 21 | 0.0086473 | 0.0021672 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6159-1_0_2_load_47 | 23 | 0.0035424 | 0.0008878 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6159-1_0_2_load_36 | 24 | 0.0029617 | 0.00074227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6159-1_0_2_load_49 | 25 | 0.0029535 | 0.00074022 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6159-1_0_2_load_62 | 26 | 0.0030549 | 0.00076563 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6159-1_0_2_load_34 | 28 | 0.0023695 | 0.00059384 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6159-1_0_2_load_50 | 29 | 0.0027373 | 0.00068604 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6159-1_0_2_load_27 | 30 | 0.001532 | 0.00038394 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6159-1_0_2_load_25 | 31 | 0.0015188 | 0.00038064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6159-1_0_2_load_63 | 33 | 0.0021074 | 0.00052816 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6159-1_0_2_load_28 | 34 | 0.0018312 | 0.00045893 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6159-1_0_2_load_29 | 35 | 0.0018906 | 0.00047384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6159-1_0_2_load_30 | 36 | 0.0029961 | 0.00075088 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6159-1_0_2_load_31 | 37 | 0.003865 | 0.00096866 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6159-1_0_2_load_44 | 39 | 0.001739 | 0.00043585 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6159-1_0_2_load_61 | 41 | 0.0021922 | 0.00054941 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6159-1_0_2_load_46 | 43 | 0.0031646 | 0.00079311 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6159-1_0_2_load_39 | 44 | 0.0024277 | 0.00060844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6159-1_0_2_load_33 | 46 | 0.0034574 | 0.00086651 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6159-1_0_2_load_35 | 47 | 0.002727 | 0.00068344 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6159-1_0_2_load_48 | 49 | 0.0060376 | 0.0015132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6159-1_0_2_load_45 | 50 | 0.0023679 | 0.00059345 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6159-1_0_2_load_38 | 51 | 0.0036104 | 0.00090485 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6159-1_0_2_load_40 | 52 | 0.0021338 | 0.00053478 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6159-1_0_2_load_42 | 53 | 0.0025415 | 0.00063697 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6159-1_0_2_load_52 | 55 | 0.0026004 | 0.00065173 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6159-1_0_2_load_60 | 56 | 0.0029947 | 0.00075055 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6159-1_0_2_load_53 | 57 | 0.0031683 | 0.00079406 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6159-1_0_2_load_54 | 58 | 0.0037514 | 0.00094018 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6159-1_0_2_load_55 | 59 | 0.0044152 | 0.0011066 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6159-1_0_2_load_59 | 60 | 0.0034348 | 0.00086083 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6159-1_0_2_load_57 | 61 | 0.0033036 | 0.00082796 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6159-1_0_2_load_58 | 62 | 0.003763 | 0.00094311 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6159-1_0_2_line_0 |  | 0 | 1 | 0.037587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6159-1_0_2_line_1 |  | 0 | 2 | 0.25865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6159-1_0_2_line_2 |  | 1 | 3 | 0.023449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6159-1_0_2_line_3 |  | 1 | 4 | 0.054455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6159-1_0_2_line_4 |  | 2 | 5 | 0.023382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6159-1_0_2_line_5 |  | 2 | 6 | 0.046854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6159-1_0_2_line_6 |  | 4 | 9 | 0.035033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6159-1_0_2_line_7 |  | 4 | 7 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6159-1_0_2_line_8 |  | 6 | 30 | 0.051217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6159-1_0_2_line_9 |  | 7 | 8 | 0.02963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6159-1_0_2_line_10 |  | 8 | 10 | 0.043039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6159-1_0_2_line_11 |  | 9 | 11 | 0.0083767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6159-1_0_2_line_12 |  | 10 | 12 | 0.050141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6159-1_0_2_line_13 |  | 10 | 13 | 0.026231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6159-1_0_2_line_14 |  | 12 | 15 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6159-1_0_2_line_15 |  | 12 | 14 | 0.023052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6159-1_0_2_line_16 |  | 16 | 17 | 0.016467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6159-1_0_2_line_17 |  | 16 | 18 | 0.032999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6159-1_0_2_line_18 |  | 17 | 19 | 0.022765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6159-1_0_2_line_19 |  | 18 | 20 | 0.00883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6159-1_0_2_line_20 |  | 18 | 21 | 0.033581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6159-1_0_2_line_21 |  | 19 | 22 | 0.021974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6159-1_0_2_line_22 |  | 20 | 23 | 0.0096977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6159-1_0_2_line_23 |  | 20 | 24 | 0.024551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6159-1_0_2_line_24 |  | 21 | 25 | 0.014973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6159-1_0_2_line_25 |  | 22 | 26 | 0.021107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6159-1_0_2_line_26 |  | 22 | 27 | 0.015612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6159-1_0_2_line_27 |  | 24 | 28 | 0.013718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6159-1_0_2_line_28 |  | 25 | 29 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6159-1_0_2_line_29 |  | 26 | 33 | 0.08295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6159-1_0_2_line_30 |  | 27 | 32 | 0.048542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6159-1_0_2_line_31 |  | 28 | 46 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6159-1_0_2_line_32 |  | 30 | 31 | 0.013483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6159-1_0_2_line_33 |  | 31 | 32 | 0.029651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6159-1_0_2_line_34 |  | 34 | 35 | 0.0068341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6159-1_0_2_line_35 |  | 34 | 36 | 0.0064822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6159-1_0_2_line_36 |  | 35 | 37 | 0.01702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6159-1_0_2_line_37 |  | 36 | 38 | 0.0065712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6159-1_0_2_line_38 |  | 37 | 39 | 0.01105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6159-1_0_2_line_39 |  | 38 | 40 | 0.002436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6159-1_0_2_line_40 |  | 38 | 41 | 0.011802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6159-1_0_2_line_41 |  | 39 | 42 | 0.0062222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6159-1_0_2_line_42 |  | 40 | 43 | 0.015418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6159-1_0_2_line_43 |  | 40 | 44 | 0.013514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6159-1_0_2_line_44 |  | 41 | 45 | 0.026814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6159-1_0_2_line_45 |  | 42 | 50 | 0.017862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6159-1_0_2_line_46 |  | 42 | 53 | 0.011064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6159-1_0_2_line_47 |  | 43 | 54 | 0.016277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6159-1_0_2_line_48 |  | 44 | 51 | 0.013359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6159-1_0_2_line_49 |  | 45 | 60 | 0.0038157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6159-1_0_2_line_50 |  | 45 | 58 | 0.012469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6159-1_0_2_line_51 |  | 46 | 47 | 0.025921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6159-1_0_2_line_52 |  | 47 | 48 | 0.0059118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6159-1_0_2_line_53 |  | 48 | 49 | 0.018276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6159-1_0_2_line_54 |  | 48 | 50 | 0.01728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6159-1_0_2_line_55 |  | 52 | 53 | 0.0063992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6159-1_0_2_line_56 |  | 54 | 55 | 0.021632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6159-1_0_2_line_57 |  | 55 | 56 | 0.011999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6159-1_0_2_line_58 |  | 57 | 58 | 0.0011164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6159-1_0_2_line_59 |  | 57 | 59 | 0.022839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6159-1_0_2_line_60 |  | 60 | 61 | 0.021862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6159-1_0_2_line_61 |  | 61 | 62 | 0.001853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6159-1_0_2_trafo_11 | 0.63 MVA 20/0.4 kV | 63 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2553801.2382 | 1132673.097 | 2553766.0632 | 1132659.8484
1 | 2553508.9612 | 1132688.0764 | 2553766.0632 | 1132659.8484
2 | 2553803.4228 | 1132696.3062 | 2553801.4406 | 1132687.8059 | 2553801.0445 | 1132677.3146 | 2553801.2382 | 1132673.097
3 | 2553830.3179 | 1132630.3551 | 2553827.8181 | 1132633.6759 | 2553821.7491 | 1132642.438 | 2553812.7179 | 1132650.4225 | 2553803.5583 | 1132657.7408 | 2553802.3541 | 1132659.3398 | 2553801.79 | 1132661.0783 | 2553801.2382 | 1132673.097
4 | 2553508.9612 | 1132688.0764 | 2553510.3423 | 1132711.4111
5 | 2553508.9612 | 1132688.0764 | 2553488.1586 | 1132686.058 | 2553478.8751 | 1132687.2414 | 2553470.8805 | 1132688.8261 | 2553464.7218 | 1132694.6048
6 | 2553830.3179 | 1132630.3551 | 2553830.7711 | 1132631.2298 | 2553830.0768 | 1132633.0583 | 2553826.9236 | 1132643.5434 | 2553826.0387 | 1132647.619 | 2553825.353 | 1132650.5702 | 2553825.5879 | 1132653.0919 | 2553825.8878 | 1132655.0573 | 2553826.8888 | 1132657.084 | 2553828.1573 | 1132657.8525 | 2553830.5553 | 1132658.3232 | 2553833.7222 | 1132657.6653
7 | 2553838.0994 | 1132620.0235 | 2553830.3179 | 1132630.3551
8 | 2553459.9168 | 1132745.5956 | 2553464.7218 | 1132694.6048
9 | 2553867.8075 | 1132620.7298 | 2553850.8514 | 1132620.3483 | 2553838.0994 | 1132620.0235
10 | 2553867.8075 | 1132620.7298 | 2553895.2384 | 1132653.8944
11 | 2553840.7323 | 1132654.1765 | 2553838.5525 | 1132654.0487 | 2553836.8626 | 1132654.5508 | 2553835.3942 | 1132655.8293 | 2553833.7222 | 1132657.6653
12 | 2553895.2384 | 1132653.8944 | 2553942.624 | 1132637.5029
13 | 2553895.2384 | 1132653.8944 | 2553894.8408 | 1132661.255 | 2553892.0803 | 1132678.8074 | 2553892.081 | 1132679.8989
14 | 2553942.624 | 1132637.5029 | 2553938.8518 | 1132629.5357 | 2553935.1835 | 1132618.5422
15 | 2553942.624 | 1132637.5029 | 2553943.32 | 1132638.973 | 2553944.9265 | 1132643.6632 | 2553948.1878 | 1132659.8053
16 | 2553334.6911 | 1132806.7995 | 2553327.3401 | 1132811.8434 | 2553321.5757 | 1132816.722
17 | 2553299.479 | 1132840.7408 | 2553309.2999 | 1132826.4907 | 2553317.0527 | 1132820.5498 | 2553321.5757 | 1132816.722
18 | 2553334.6911 | 1132806.7995 | 2553342.4648 | 1132801.4655 | 2553353.4842 | 1132793.9525
19 | 2553290.8245 | 1132841.586 | 2553296.3956 | 1132840.2422 | 2553299.479 | 1132840.7408
20 | 2553299.479 | 1132840.7408 | 2553308.0357 | 1132843.1646 | 2553314.8171 | 1132846.0025 | 2553320.4085 | 1132848.2603 | 2553326.3252 | 1132849.7931 | 2553331.4468 | 1132850.6594
21 | 2553369.7159 | 1132779.2543 | 2553358.3635 | 1132790.6258 | 2553353.4842 | 1132793.9525
22 | 2553290.8245 | 1132841.586 | 2553297.9726 | 1132848.1397
23 | 2553290.8245 | 1132841.586 | 2553283.3241 | 1132845.3238 | 2553269.7715 | 1132847.9302 | 2553267.4112 | 1132848.1417
24 | 2553331.4468 | 1132850.6594 | 2553332.1069 | 1132850.7711 | 2553339.0535 | 1132852.0735 | 2553346.0848 | 1132850.3633
25 | 2553354.6442 | 1132764.6634 | 2553365.1259 | 1132773.0866 | 2553369.7159 | 1132779.2543
26 | 2553380.8327 | 1132768.2627 | 2553369.7159 | 1132779.2543
27 | 2553253.7411 | 1132849.2808 | 2553256.7312 | 1132849.0986 | 2553267.4112 | 1132848.1417
28 | 2553346.0848 | 1132850.3633 | 2553357.1806 | 1132847.6643 | 2553361.0753 | 1132846.963
29 | 2553354.6442 | 1132764.6634 | 2553293.6038 | 1132708.4958
30 | 2553417.9522 | 1132736.8596 | 2553380.8327 | 1132768.2627
31 | 2553236.352 | 1132849.0289 | 2553240.4254 | 1132850.0922 | 2553253.7411 | 1132849.2808
32 | 2553459.9168 | 1132745.5956 | 2553450.6563 | 1132744.7555 | 2553446.7794 | 1132743.1797
33 | 2553417.9522 | 1132736.8596 | 2553428.5251 | 1132739.1569 | 2553440.8326 | 1132740.7626 | 2553446.7794 | 1132743.1797
34 | 2553129.1951 | 1132839.2728 | 2553135.5226 | 1132840.1682 | 2553135.9631 | 1132840.2197
35 | 2553129.1951 | 1132839.2728 | 2553125.3953 | 1132838.7351 | 2553122.7629 | 1132838.4817
36 | 2553152.8833 | 1132842.0105 | 2553150.3253 | 1132841.8985 | 2553135.9631 | 1132840.2197
37 | 2553116.4877 | 1132836.7366 | 2553120.372 | 1132838.2517 | 2553122.7629 | 1132838.4817
38 | 2553152.8833 | 1132842.0105 | 2553163.0479 | 1132842.4555 | 2553163.9225 | 1132842.4075
39 | 2553116.515 | 1132834.3018 | 2553116.4877 | 1132836.7366
40 | 2553116.4877 | 1132836.7366 | 2553106.9518 | 1132840.057 | 2553105.2487 | 1132839.99
41 | 2553170.1354 | 1132842.0669 | 2553163.9225 | 1132842.4075
42 | 2553116.515 | 1132834.3018 | 2553113.5641 | 1132832.0347 | 2553104.6176 | 1132824.4998
43 | 2553116.515 | 1132834.3018 | 2553120.7706 | 1132829.1216 | 2553123.7052 | 1132827.3201 | 2553126.8388 | 1132826.3619 | 2553126.9272 | 1132826.3464
44 | 2553078.4917 | 1132838.3553 | 2553090.895 | 1132839.426 | 2553105.2487 | 1132839.99
45 | 2553170.1354 | 1132842.0669 | 2553181.6401 | 1132841.4439 | 2553187.9757 | 1132841.6841
46 | 2553170.1354 | 1132842.0669 | 2553167.6755 | 1132834.6155 | 2553165.5323 | 1132832.2163
47 | 2553092.1677 | 1132814.0141 | 2553104.6176 | 1132824.4998
48 | 2553140.1478 | 1132824.5432 | 2553135.1959 | 1132824.8962 | 2553126.9272 | 1132826.3464
49 | 2553078.4917 | 1132838.3553 | 2553074.6761 | 1132838.3318
50 | 2553078.4917 | 1132838.3553 | 2553078.2703 | 1132847.495 | 2553078.2416 | 1132850.8214
51 | 2553236.352 | 1132849.0289 | 2553226.6939 | 1132846.5079 | 2553211.0469 | 1132843.4668
52 | 2553205.2437 | 1132842.3389 | 2553211.0469 | 1132843.4668
53 | 2553205.2437 | 1132842.3389 | 2553198.5254 | 1132825.3423
54 | 2553205.2437 | 1132842.3389 | 2553187.9757 | 1132841.6841
55 | 2553165.5323 | 1132832.2163 | 2553162.9613 | 1132829.3383 | 2553160.7596 | 1132828.0716
56 | 2553092.1677 | 1132814.0141 | 2553074.2197 | 1132815.7102 | 2553070.6451 | 1132815.2485
57 | 2553059.1632 | 1132812.0588 | 2553065.8581 | 1132814.6302 | 2553070.6451 | 1132815.2485
58 | 2553078.232 | 1132851.9378 | 2553078.2416 | 1132850.8214
59 | 2553078.1671 | 1132874.7766 | 2553078.1286 | 1132863.9046 | 2553078.232 | 1132851.9378
60 | 2553052.8355 | 1132837.3976 | 2553072.1169 | 1132838.316 | 2553074.6761 | 1132838.3318
61 | 2553052.8355 | 1132837.3976 | 2553050.9846 | 1132837.3094

## bus_geodata
| x | y | coords
0 | 2553766.0632 | 1132659.8484
1 | 2553801.2382 | 1132673.097
2 | 2553508.9612 | 1132688.0764
3 | 2553803.4228 | 1132696.3062
4 | 2553830.3179 | 1132630.3551
5 | 2553510.3423 | 1132711.4111
6 | 2553464.7218 | 1132694.6048
7 | 2553838.0994 | 1132620.0235
8 | 2553867.8075 | 1132620.7298
9 | 2553833.7222 | 1132657.6653
10 | 2553895.2384 | 1132653.8944
11 | 2553840.7323 | 1132654.1765
12 | 2553942.624 | 1132637.5029
13 | 2553892.081 | 1132679.8989
14 | 2553948.1878 | 1132659.8053
15 | 2553935.1835 | 1132618.5422
16 | 2553321.5757 | 1132816.722
17 | 2553334.6911 | 1132806.7995
18 | 2553299.479 | 1132840.7408
19 | 2553353.4842 | 1132793.9525
20 | 2553290.8245 | 1132841.586
21 | 2553331.4468 | 1132850.6594
22 | 2553369.7159 | 1132779.2543
23 | 2553297.9726 | 1132848.1397
24 | 2553267.4112 | 1132848.1417
25 | 2553346.0848 | 1132850.3633
26 | 2553354.6442 | 1132764.6634
27 | 2553380.8327 | 1132768.2627
28 | 2553253.7411 | 1132849.2808
29 | 2553361.0753 | 1132846.963
30 | 2553459.9168 | 1132745.5956
31 | 2553446.7794 | 1132743.1797
32 | 2553417.9522 | 1132736.8596
33 | 2553293.6038 | 1132708.4958
34 | 2553129.1951 | 1132839.2728
35 | 2553135.9631 | 1132840.2197
36 | 2553122.7629 | 1132838.4817
37 | 2553152.8833 | 1132842.0105
38 | 2553116.4877 | 1132836.7366
39 | 2553163.9225 | 1132842.4075
40 | 2553116.515 | 1132834.3018
41 | 2553105.2487 | 1132839.99
42 | 2553170.1354 | 1132842.0669
43 | 2553104.6176 | 1132824.4998
44 | 2553126.9272 | 1132826.3464
45 | 2553078.4917 | 1132838.3553
46 | 2553236.352 | 1132849.0289
47 | 2553211.0469 | 1132843.4668
48 | 2553205.2437 | 1132842.3389
49 | 2553198.5254 | 1132825.3423
50 | 2553187.9757 | 1132841.6841
51 | 2553140.1478 | 1132824.5432
52 | 2553160.7596 | 1132828.0716
53 | 2553165.5323 | 1132832.2163
54 | 2553092.1677 | 1132814.0141
55 | 2553070.6451 | 1132815.2485
56 | 2553059.1632 | 1132812.0588
57 | 2553078.232 | 1132851.9378
58 | 2553078.2416 | 1132850.8214
59 | 2553078.1671 | 1132874.7766
60 | 2553074.6761 | 1132838.3318
61 | 2553052.8355 | 1132837.3976
62 | 2553050.9846 | 1132837.3094
63 | 2553369.7159 | 1132779.2543

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1