## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6159-5_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6159-5_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6159-5_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6159-5_0_4_node_121 | 0.4 | n |  | TRUE
4 | bus_LV_6159-5_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_6159-5_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6159-5_0_4_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_6159-5_0_4_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_6159-5_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_6159-5_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6159-5_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_6159-5_0_4_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_6159-5_0_4_node_43 | 0.4 | n |  | TRUE
13 | bus_LV_6159-5_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6159-5_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_6159-5_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_6159-5_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6159-5_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6159-5_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6159-5_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6159-5_0_4_node_112 | 0.4 | n |  | TRUE
21 | bus_LV_6159-5_0_4_node_49 | 0.4 | n |  | TRUE
22 | bus_LV_6159-5_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6159-5_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_6159-5_0_4_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_6159-5_0_4_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_6159-5_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_6159-5_0_4_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_6159-5_0_4_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6159-5_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_6159-5_0_4_node_99 | 0.4 | n |  | TRUE
31 | bus_LV_6159-5_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_6159-5_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_6159-5_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_6159-5_0_4_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_6159-5_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_6159-5_0_4_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_6159-5_0_4_node_111 | 0.4 | n |  | TRUE
38 | bus_LV_6159-5_0_4_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_6159-5_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_6159-5_0_4_node_118 | 0.4 | n |  | TRUE
41 | bus_LV_6159-5_0_4_node_119 | 0.4 | n |  | TRUE
42 | bus_LV_6159-5_0_4_node_120 | 0.4 | n |  | TRUE
43 | bus_LV_6159-5_0_4_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_6159-5_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6159-5_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_6159-5_0_4_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_6159-5_0_4_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_6159-5_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_6159-5_0_4_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_6159-5_0_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_6159-5_0_4_node_34 | 0.4 | n |  | TRUE
52 | bus_LV_6159-5_0_4_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_6159-5_0_4_node_90 | 0.4 | n |  | TRUE
54 | bus_LV_6159-5_0_4_node_94 | 0.4 | n |  | TRUE
55 | bus_LV_6159-5_0_4_node_95 | 0.4 | n |  | TRUE
56 | bus_LV_6159-5_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_6159-5_0_4_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_6159-5_0_4_node_115 | 0.4 | n |  | TRUE
59 | bus_LV_6159-5_0_4_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_6159-5_0_4_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_6159-5_0_4_node_38 | 0.4 | n |  | TRUE
62 | bus_LV_6159-5_0_4_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_6159-5_0_4_node_96 | 0.4 | n |  | TRUE
64 | bus_LV_6159-5_0_4_node_40 | 0.4 | n |  | TRUE
65 | bus_LV_6159-5_0_4_node_41 | 0.4 | n |  | TRUE
66 | bus_LV_6159-5_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_6159-5_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_6159-5_0_4_node_47 | 0.4 | n |  | TRUE
69 | bus_LV_6159-5_0_4_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_6159-5_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_6159-5_0_4_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_6159-5_0_4_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_6159-5_0_4_node_50 | 0.4 | n |  | TRUE
74 | bus_LV_6159-5_0_4_node_56 | 0.4 | n |  | TRUE
75 | bus_LV_6159-5_0_4_node_97 | 0.4 | n |  | TRUE
76 | bus_LV_6159-5_0_4_node_104 | 0.4 | n |  | TRUE
77 | bus_LV_6159-5_0_4_node_117 | 0.4 | n |  | TRUE
78 | bus_LV_6159-5_0_4_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_6159-5_0_4_node_55 | 0.4 | n |  | TRUE
80 | bus_LV_6159-5_0_4_node_53 | 0.4 | n |  | TRUE
81 | bus_LV_6159-5_0_4_node_98 | 0.4 | n |  | TRUE
82 | bus_LV_6159-5_0_4_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_6159-5_0_4_node_100 | 0.4 | n |  | TRUE
84 | bus_LV_6159-5_0_4_node_116 | 0.4 | n |  | TRUE
85 | bus_LV_6159-5_0_4_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_6159-5_0_4_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_6159-5_0_4_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_6159-5_0_4_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_6159-5_0_4_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_6159-5_0_4_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_6159-5_0_4_node_67 | 0.4 | n |  | TRUE
92 | bus_LV_6159-5_0_4_node_69 | 0.4 | n |  | TRUE
93 | bus_LV_6159-5_0_4_node_81 | 0.4 | n |  | TRUE
94 | bus_LV_6159-5_0_4_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_6159-5_0_4_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_6159-5_0_4_node_72 | 0.4 | n |  | TRUE
97 | bus_LV_6159-5_0_4_node_73 | 0.4 | n |  | TRUE
98 | bus_LV_6159-5_0_4_node_74 | 0.4 | n |  | TRUE
99 | bus_LV_6159-5_0_4_node_75 | 0.4 | n |  | TRUE
100 | bus_LV_6159-5_0_4_node_76 | 0.4 | n |  | TRUE
101 | bus_LV_6159-5_0_4_node_109 | 0.4 | n |  | TRUE
102 | bus_LV_6159-5_0_4_node_80 | 0.4 | n |  | TRUE
103 | bus_LV_6159-5_0_4_node_108 | 0.4 | n |  | TRUE
104 | bus_LV_6159-5_0_4_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_6159-5_0_4_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_6159-5_0_4_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_6159-5_0_4_node_106 | 0.4 | n |  | TRUE
108 | bus_LV_6159-5_0_4_node_107 | 0.4 | n |  | TRUE
109 | bus_MV_106_0_node_98 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6159-5_0_4_load_0 | 0 | 0.0046557 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6159-5_0_4_load_1 | 1 | 0.010736 | 0.0026908 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6159-5_0_4_load_121 | 3 | 0.001204 | 0.00030175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6159-5_0_4_load_83 | 6 | 0.0066324 | 0.0016622 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6159-5_0_4_load_4 | 8 | 0.0080545 | 0.0020186 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6159-5_0_4_load_113 | 11 | 0.0056109 | 0.0014062 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6159-5_0_4_load_7 | 13 | 0.0091655 | 0.0022971 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6159-5_0_4_load_8 | 14 | 0.01221 | 0.00306 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6159-5_0_4_load_9 | 15 | 0.0086512 | 0.0021682 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6159-5_0_4_load_11 | 17 | 0.0018427 | 0.00046183 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6159-5_0_4_load_112 | 20 | 0.0048916 | 0.001226 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6159-5_0_4_load_16 | 22 | 0.0030014 | 0.00075222 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6159-5_0_4_load_14 | 23 | 0.004752 | 0.001191 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6159-5_0_4_load_58 | 24 | 0.0030882 | 0.00077397 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6159-5_0_4_load_17 | 27 | 0.0051728 | 0.0012964 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6159-5_0_4_load_18 | 28 | 0.0037085 | 0.00092944 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6159-5_0_4_load_25 | 29 | 0.0056176 | 0.0014079 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6159-5_0_4_load_99 | 30 | 0.0026324 | 0.00065975 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6159-5_0_4_load_19 | 31 | 0.003848 | 0.0009644 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6159-5_0_4_load_24 | 36 | 0.0073479 | 0.0018416 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6159-5_0_4_load_111 | 37 | 0.01148 | 0.0028773 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6159-5_0_4_load_110 | 38 | 0.015243 | 0.0038201 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6159-5_0_4_load_26 | 39 | 0.0074203 | 0.0018597 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6159-5_0_4_load_118 | 40 | 0.0051313 | 0.001286 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6159-5_0_4_load_120 | 42 | 0.0037853 | 0.00094869 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6159-5_0_4_load_27 | 43 | 0.008801 | 0.0022057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6159-5_0_4_load_28 | 44 | 0.007134 | 0.001788 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6159-5_0_4_load_29 | 45 | 0.018852 | 0.0047247 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6159-5_0_4_load_30 | 46 | 0.002055 | 0.00051503 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6159-5_0_4_load_31 | 47 | 0.0019526 | 0.00048937 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6159-5_0_4_load_32 | 48 | 0.0063127 | 0.0015821 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6159-5_0_4_load_33 | 49 | 0.010198 | 0.0025558 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6159-5_0_4_load_91 | 50 | 0.0020214 | 0.00050661 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6159-5_0_4_load_35 | 52 | 0.0054574 | 0.0013677 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6159-5_0_4_load_90 | 53 | 0.0013348 | 0.00033453 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6159-5_0_4_load_95 | 55 | 0.0044604 | 0.0011179 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6159-5_0_4_load_36 | 56 | 0.0031762 | 0.00079604 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6159-5_0_4_load_115 | 58 | 0.0089745 | 0.0022492 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6159-5_0_4_load_37 | 59 | 0.0052213 | 0.0013086 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6159-5_0_4_load_92 | 60 | 0.0015153 | 0.00037976 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6159-5_0_4_load_38 | 61 | 0.0030821 | 0.00077244 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6159-5_0_4_load_93 | 62 | 0.0020018 | 0.00050169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6159-5_0_4_load_96 | 63 | 0.0011001 | 0.0002757 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6159-5_0_4_load_40 | 64 | 0.0088005 | 0.0022056 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6159-5_0_4_load_44 | 67 | 0.0053285 | 0.0013355 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6159-5_0_4_load_47 | 68 | 0.0066359 | 0.0016631 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6159-5_0_4_load_45 | 69 | 0.0048853 | 0.0012244 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6159-5_0_4_load_51 | 70 | 0.0052675 | 0.0013202 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6159-5_0_4_load_105 | 71 | 0.0044 | 0.0011028 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6159-5_0_4_load_97 | 75 | 0.00261 | 0.00065412 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6159-5_0_4_load_104 | 76 | 0.0043038 | 0.0010786 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6159-5_0_4_load_117 | 77 | 0.0053762 | 0.0013474 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6159-5_0_4_load_55 | 79 | 0.010528 | 0.0026385 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6159-5_0_4_load_53 | 80 | 0.010418 | 0.0026111 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6159-5_0_4_load_98 | 81 | 0.0049584 | 0.0012427 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6159-5_0_4_load_57 | 82 | 0.0067738 | 0.0016977 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6159-5_0_4_load_100 | 83 | 0.0040937 | 0.001026 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6159-5_0_4_load_116 | 84 | 0.0071927 | 0.0018027 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6159-5_0_4_load_68 | 87 | 0.0027824 | 0.00069733 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6159-5_0_4_load_79 | 88 | 0.005681 | 0.0014238 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6159-5_0_4_load_78 | 89 | 0.0030516 | 0.00076481 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6159-5_0_4_load_66 | 90 | 0.0027391 | 0.00068648 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6159-5_0_4_load_67 | 91 | 0.0027229 | 0.00068243 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6159-5_0_4_load_69 | 92 | 0.0038994 | 0.00097728 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6159-5_0_4_load_77 | 94 | 0.0035771 | 0.0008965 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6159-5_0_4_load_71 | 95 | 0.0061758 | 0.0015478 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6159-5_0_4_load_72 | 96 | 0.0039396 | 0.00098735 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6159-5_0_4_load_74 | 98 | 0.0039871 | 0.00099926 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6159-5_0_4_load_75 | 99 | 0.0052904 | 0.0013259 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6159-5_0_4_load_76 | 100 | 0.011123 | 0.0027876 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6159-5_0_4_load_109 | 101 | 0.0065378 | 0.0016385 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6159-5_0_4_load_80 | 102 | 0.0054416 | 0.0013638 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6159-5_0_4_load_108 | 103 | 0.0065387 | 0.0016388 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6159-5_0_4_load_101 | 104 | 0.0028105 | 0.00070437 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6159-5_0_4_load_102 | 105 | 0.0051659 | 0.0012947 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6159-5_0_4_load_103 | 106 | 0.0022289 | 0.00055863 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6159-5_0_4_load_106 | 107 | 0.0013306 | 0.00033348 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6159-5_0_4_load_107 | 108 | 0.0013298 | 0.00033329 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6159-5_0_4_line_0 |  | 0 | 1 | 0.055449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6159-5_0_4_line_1 |  | 0 | 2 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6159-5_0_4_line_2 |  | 0 | 3 | 0.034302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_6159-5_0_4_line_3 |  | 2 | 4 | 0.007877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_6159-5_0_4_line_4 |  | 3 | 5 | 0.1171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6159-5_0_4_line_5 |  | 4 | 6 | 0.02073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6159-5_0_4_line_6 |  | 5 | 8 | 0.063297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_6159-5_0_4_line_7 |  | 6 | 7 | 0.035444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_6159-5_0_4_line_8 |  | 7 | 93 | 0.071766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_6159-5_0_4_line_9 |  | 8 | 9 | 0.0031393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6159-5_0_4_line_10 |  | 9 | 10 | 0.075506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_6159-5_0_4_line_11 |  | 10 | 11 | 0.010186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6159-5_0_4_line_12 |  | 10 | 12 | 0.063401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6159-5_0_4_line_13 |  | 12 | 68 | 0.022323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6159-5_0_4_line_14 |  | 12 | 69 | 0.034595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6159-5_0_4_line_15 |  | 12 | 65 | 0.075359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6159-5_0_4_line_16 |  | 13 | 14 | 0.031149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6159-5_0_4_line_17 |  | 13 | 15 | 0.023723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6159-5_0_4_line_18 |  | 14 | 16 | 0.055392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_6159-5_0_4_line_19 |  | 15 | 17 | 0.015318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_6159-5_0_4_line_20 |  | 16 | 18 | 0.039573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6159-5_0_4_line_21 |  | 17 | 19 | 0.018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6159-5_0_4_line_22 |  | 18 | 20 | 0.015012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6159-5_0_4_line_23 |  | 18 | 21 | 0.072695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6159-5_0_4_line_24 |  | 19 | 22 | 0.037312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6159-5_0_4_line_25 |  | 19 | 23 | 0.011902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_6159-5_0_4_line_26 |  | 21 | 24 | 0.011099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6159-5_0_4_line_27 |  | 21 | 25 | 0.050561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_6159-5_0_4_line_28 |  | 23 | 26 | 0.02058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_6159-5_0_4_line_29 |  | 25 | 73 | 0.014709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6159-5_0_4_line_30 |  | 25 | 69 | 0.037885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6159-5_0_4_line_31 |  | 26 | 27 | 0.030212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6159-5_0_4_line_32 |  | 26 | 28 | 0.013095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_6159-5_0_4_line_33 |  | 27 | 29 | 0.0081693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6159-5_0_4_line_34 |  | 28 | 30 | 0.018626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6159-5_0_4_line_35 |  | 29 | 39 | 0.023586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6159-5_0_4_line_36 |  | 30 | 40 | 0.030311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6159-5_0_4_line_37 |  | 31 | 32 | 0.020179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6159-5_0_4_line_38 |  | 31 | 33 | 0.012925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6159-5_0_4_line_39 |  | 32 | 34 | 0.05088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6159-5_0_4_line_40 |  | 33 | 35 | 0.025764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6159-5_0_4_line_41 |  | 33 | 36 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6159-5_0_4_line_42 |  | 34 | 37 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6159-5_0_4_line_43 |  | 35 | 40 | 0.027273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6159-5_0_4_line_44 |  | 35 | 41 | 0.05079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6159-5_0_4_line_45 |  | 37 | 38 | 0.00036627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6159-5_0_4_line_46 |  | 39 | 43 | 0.033819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6159-5_0_4_line_47 |  | 41 | 42 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6159-5_0_4_line_48 |  | 43 | 44 | 0.030243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6159-5_0_4_line_49 |  | 44 | 45 | 0.033929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6159-5_0_4_line_50 |  | 46 | 47 | 0.025522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6159-5_0_4_line_51 |  | 46 | 48 | 0.003066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6159-5_0_4_line_52 |  | 47 | 49 | 0.0030304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6159-5_0_4_line_53 |  | 47 | 50 | 0.068946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6159-5_0_4_line_54 |  | 48 | 51 | 0.044854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6159-5_0_4_line_55 |  | 49 | 52 | 0.026691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6159-5_0_4_line_56 |  | 50 | 53 | 0.021622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6159-5_0_4_line_57 |  | 51 | 54 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6159-5_0_4_line_58 |  | 51 | 55 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6159-5_0_4_line_59 |  | 52 | 56 | 0.018235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6159-5_0_4_line_60 |  | 53 | 60 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6159-5_0_4_line_61 |  | 54 | 57 | 0.038015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_6159-5_0_4_line_62 |  | 54 | 58 | 0.029781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_6159-5_0_4_line_63 |  | 56 | 59 | 0.0052903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6159-5_0_4_line_64 |  | 57 | 84 | 0.020852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6159-5_0_4_line_65 |  | 57 | 74 | 0.006481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6159-5_0_4_line_66 |  | 59 | 61 | 0.027744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6159-5_0_4_line_67 |  | 60 | 62 | 0.041658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6159-5_0_4_line_68 |  | 62 | 63 | 0.031309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6159-5_0_4_line_69 |  | 64 | 65 | 0.027076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6159-5_0_4_line_70 |  | 64 | 66 | 0.016613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6159-5_0_4_line_71 |  | 66 | 67 | 0.039805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6159-5_0_4_line_72 |  | 67 | 70 | 0.035647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6159-5_0_4_line_73 |  | 68 | 71 | 0.0084511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6159-5_0_4_line_74 |  | 70 | 72 | 0.015534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6159-5_0_4_line_75 |  | 71 | 76 | 0.0016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6159-5_0_4_line_76 |  | 72 | 82 | 0.015042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6159-5_0_4_line_77 |  | 73 | 74 | 0.015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_6159-5_0_4_line_78 |  | 73 | 75 | 0.011313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6159-5_0_4_line_79 |  | 74 | 77 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6159-5_0_4_line_80 |  | 74 | 78 | 0.061266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6159-5_0_4_line_81 |  | 75 | 81 | 0.0221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6159-5_0_4_line_82 |  | 76 | 105 | 0.0086414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6159-5_0_4_line_83 |  | 78 | 79 | 0.005381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6159-5_0_4_line_84 |  | 78 | 80 | 0.025329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6159-5_0_4_line_85 |  | 82 | 83 | 0.034447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6159-5_0_4_line_86 |  | 85 | 86 | 0.038167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6159-5_0_4_line_87 |  | 85 | 87 | 0.016612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6159-5_0_4_line_88 |  | 86 | 88 | 0.020897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6159-5_0_4_line_89 |  | 86 | 89 | 0.013152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6159-5_0_4_line_90 |  | 87 | 90 | 0.0019736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6159-5_0_4_line_91 |  | 88 | 93 | 0.019227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6159-5_0_4_line_92 |  | 89 | 94 | 0.025315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6159-5_0_4_line_93 |  | 90 | 91 | 0.030065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6159-5_0_4_line_94 |  | 91 | 92 | 0.00070618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6159-5_0_4_line_95 |  | 93 | 100 | 0.040281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_6159-5_0_4_line_96 |  | 95 | 96 | 0.016359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6159-5_0_4_line_97 |  | 95 | 97 | 0.007257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6159-5_0_4_line_98 |  | 96 | 98 | 0.0085945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6159-5_0_4_line_99 |  | 97 | 99 | 0.021042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6159-5_0_4_line_100 |  | 97 | 100 | 0.01601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
101 | LV_6159-5_0_4_line_101 |  | 98 | 101 | 0.020445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_6159-5_0_4_line_102 |  | 99 | 102 | 0.020463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_6159-5_0_4_line_103 |  | 101 | 103 | 0.011212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_6159-5_0_4_line_104 |  | 103 | 107 | 0.021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_6159-5_0_4_line_105 |  | 104 | 105 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_6159-5_0_4_line_106 |  | 104 | 106 | 0.005234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_6159-5_0_4_line_107 |  | 107 | 108 | 0.011237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6159-5_0_4_trafo_115 | 0.63 MVA 20/0.4 kV | 109 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2557515.1156 | 1131530.5121 | 2557522.4233 | 1131572.0485 | 2557531.0094 | 1131570.9986 | 2557534.2571 | 1131570.7422 | 2557535.6051 | 1131570.5149
1 | 2557555.4462 | 1131567.169 | 2557535.6051 | 1131570.5149
2 | 2557535.6051 | 1131570.5149 | 2557508.127 | 1131591.0478
3 | 2557556.2976 | 1131560.1372 | 2557556.1214 | 1131560.2607 | 2557555.4562 | 1131560.9435 | 2557554.9383 | 1131561.7476 | 2557554.5749 | 1131562.6284 | 2557554.389 | 1131563.5635 | 2557554.3802 | 1131564.5085 | 2557554.5563 | 1131565.4521 | 2557554.909 | 1131566.339 | 2557555.4152 | 1131567.1359 | 2557555.4462 | 1131567.169
4 | 2557508.127 | 1131591.0478 | 2557481.8196 | 1131705.1582
5 | 2557556.2976 | 1131560.1372 | 2557555.3733 | 1131557.9092 | 2557553.6073 | 1131549.8842 | 2557553.0162 | 1131539.8006
6 | 2557481.8196 | 1131705.1582 | 2557479.609 | 1131699.6043 | 2557475.8723 | 1131694.9394 | 2557471.7763 | 1131692.8116 | 2557449.4206 | 1131685.9436 | 2557437.5378 | 1131682.4702 | 2557427.6876 | 1131677.666
7 | 2557551.9547 | 1131504.3837 | 2557552.102 | 1131524.2039 | 2557553.0162 | 1131539.8006
8 | 2557550.1404 | 1131432.6598 | 2557551.9547 | 1131504.3837
9 | 2557424.866 | 1131676.2898 | 2557427.6876 | 1131677.666
10 | 2557356.0912 | 1131645.1266 | 2557424.866 | 1131676.2898
11 | 2557345.8921 | 1131644.5429 | 2557356.0912 | 1131645.1266
12 | 2557356.0912 | 1131645.1266 | 2557357.3867 | 1131607.2981 | 2557356.6555 | 1131598.6322 | 2557354.5613 | 1131589.9759 | 2557352.8355 | 1131582.2175
13 | 2557352.8355 | 1131582.2175 | 2557336.8297 | 1131583.7315 | 2557330.5846 | 1131583.8284
14 | 2557352.8355 | 1131582.2175 | 2557344.0543 | 1131564.4038 | 2557335.883 | 1131552.1421
15 | 2557352.8355 | 1131582.2175 | 2557354.5613 | 1131589.9759 | 2557356.6555 | 1131598.6322 | 2557363.6686 | 1131599.4719 | 2557371.3329 | 1131603.0973 | 2557382.6846 | 1131619.6589 | 2557384.5669 | 1131614.6986 | 2557385.7473 | 1131609.5765 | 2557386.646 | 1131597.2861
16 | 2557201.5401 | 1131540.5515 | 2557198.0439 | 1131556.0342 | 2557194.4862 | 1131570.8907
17 | 2557201.5401 | 1131540.5515 | 2557202.8816 | 1131534.6112 | 2557206.6012 | 1131517.3752
18 | 2557190.5077 | 1131625.7456 | 2557189.4108 | 1131620.9176 | 2557188.9241 | 1131612.0276 | 2557190.0015 | 1131600.0138 | 2557193.9158 | 1131573.2723 | 2557194.4862 | 1131570.8907
19 | 2557209.4215 | 1131502.3248 | 2557208.1821 | 1131510.0499 | 2557206.6012 | 1131517.3752
20 | 2557190.5077 | 1131625.7456 | 2557193.6047 | 1131629.2032 | 2557202.8512 | 1131631.1719 | 2557206.9104 | 1131625.9181 | 2557213.0051 | 1131617.7818 | 2557218.4319 | 1131611.0176
21 | 2557211.3721 | 1131484.3141 | 2557210.2837 | 1131496.9505 | 2557209.4215 | 1131502.3248
22 | 2557217.6946 | 1131596.1041 | 2557217.4052 | 1131605.2331 | 2557218.4319 | 1131611.0176
23 | 2557269.1604 | 1131558.8201 | 2557253.8058 | 1131575.0706 | 2557218.4319 | 1131611.0176
24 | 2557211.3721 | 1131484.3141 | 2557205.9489 | 1131485.0974 | 2557194.2593 | 1131495.8748 | 2557185.676 | 1131502.7503 | 2557183.3269 | 1131498.3426
25 | 2557211.3721 | 1131484.3141 | 2557213.7272 | 1131472.6471
26 | 2557269.1604 | 1131558.8201 | 2557267.541 | 1131569.8001
27 | 2557269.1604 | 1131558.8201 | 2557283.9293 | 1131542.4849 | 2557296.3501 | 1131532.7475 | 2557301.9029 | 1131530.6849 | 2557308.6688 | 1131529.2251
28 | 2557217.7992 | 1131452.4744 | 2557213.7272 | 1131472.6471
29 | 2557306.0252 | 1131514.7587 | 2557308.6688 | 1131529.2251
30 | 2557308.6688 | 1131529.2251 | 2557314.4077 | 1131529.5291 | 2557319.9406 | 1131531.1908 | 2557325.3201 | 1131537.2892 | 2557333.2594 | 1131548.2052 | 2557335.883 | 1131552.1421
31 | 2557217.7992 | 1131452.4744 | 2557218.4167 | 1131449.424 | 2557221.0622 | 1131422.4534
32 | 2557217.7992 | 1131452.4744 | 2557204.9915 | 1131449.7453
33 | 2557221.0622 | 1131422.4534 | 2557221.8597 | 1131414.3231
34 | 2557195.4255 | 1131438.8929 | 2557194.2926 | 1131444.1814 | 2557194.7544 | 1131446.3237 | 2557195.663 | 1131447.3956 | 2557203.7632 | 1131449.4836 | 2557204.9915 | 1131449.7453
35 | 2557224.1724 | 1131390.8508 | 2557224.068 | 1131391.81 | 2557221.8597 | 1131414.3231
36 | 2557195.4255 | 1131438.8929 | 2557165.6388 | 1131433.2794
37 | 2557129.762 | 1131493.8431 | 2557138.7817 | 1131475.7919
38 | 2557140.6936 | 1131463.1052 | 2557140.7152 | 1131466.151 | 2557140.2112 | 1131471.0794 | 2557138.7817 | 1131475.7919
39 | 2557129.762 | 1131493.8431 | 2557126.9113 | 1131496.8649 | 2557117.1617 | 1131509.7186 | 2557106.8358 | 1131518.4076 | 2557097.9852 | 1131526.6525 | 2557095.2202 | 1131530.8966
40 | 2557140.6936 | 1131463.1052 | 2557140.6534 | 1131457.4582 | 2557142.151 | 1131437.4039
41 | 2557140.6936 | 1131463.1052 | 2557142.1341 | 1131463.1839 | 2557143.8352 | 1131462.0045 | 2557147.6477 | 1131455.6186 | 2557148.3588 | 1131453.417
42 | 2557095.2202 | 1131530.8966 | 2557096.8594 | 1131531.8521 | 2557098.5601 | 1131532.7849 | 2557100.7755 | 1131533.5362 | 2557105.2806 | 1131533.5931 | 2557108.732 | 1131532.7459 | 2557111.4458 | 1131531.0479
43 | 2557142.151 | 1131437.4039 | 2557156.6108 | 1131439.3466 | 2557161.2828 | 1131439.0466 | 2557163.435 | 1131438.4866 | 2557164.5901 | 1131437.4111 | 2557165.6388 | 1131433.2794
44 | 2557142.151 | 1131437.4039 | 2557142.2991 | 1131435.5019 | 2557143.0383 | 1131413.83 | 2557143.771 | 1131403.1638 | 2557143.7952 | 1131393.5809 | 2557144.501 | 1131386.7057
45 | 2557111.6698 | 1131530.7581 | 2557111.4458 | 1131531.0479 | 2557111.4458 | 1131531.0479
46 | 2557224.1724 | 1131390.8508 | 2557227.8299 | 1131357.2304
47 | 2557144.501 | 1131386.7057 | 2557148.0576 | 1131386.5582 | 2557150.0257 | 1131385.0212 | 2557152.5201 | 1131381.6906 | 2557155.9147 | 1131379.3431
48 | 2557231.9706 | 1131327.2746 | 2557231.2524 | 1131333.1958 | 2557228.0439 | 1131355.2631 | 2557227.8299 | 1131357.2304
49 | 2557231.9706 | 1131327.2746 | 2557232.1836 | 1131325.5186 | 2557234.1811 | 1131317.2669 | 2557237.1343 | 1131296.1018 | 2557236.9919 | 1131293.8059
50 | 2557300.1667 | 1131392.9495 | 2557301.0676 | 1131372.5767 | 2557301.3388 | 1131367.4545
51 | 2557300.1667 | 1131392.9495 | 2557300.0312 | 1131396.0124
52 | 2557301.499 | 1131364.4284 | 2557301.3388 | 1131367.4545
53 | 2557301.3388 | 1131367.4545 | 2557369.8522 | 1131375.1665
54 | 2557299.0178 | 1131440.8483 | 2557299.2689 | 1131413.2546 | 2557300.0123 | 1131396.4408 | 2557300.0312 | 1131396.0124
55 | 2557301.499 | 1131364.4284 | 2557302.9014 | 1131337.946 | 2557302.9138 | 1131337.7752
56 | 2557370.1208 | 1131353.7043 | 2557368.6799 | 1131366.2951 | 2557369.8522 | 1131375.1665
57 | 2557299.0178 | 1131440.8483 | 2557299.329 | 1131448.9058 | 2557299.8481 | 1131454.7829
58 | 2557289.7448 | 1131434.0883 | 2557294.1544 | 1131439.1374 | 2557299.0178 | 1131440.8483
59 | 2557302.9138 | 1131337.7752 | 2557304.2356 | 1131319.5877
60 | 2557370.1208 | 1131353.7043 | 2557370.3479 | 1131351.7203 | 2557372.4035 | 1131332.0623 | 2557372.4105 | 1131332.0349
61 | 2557303.6428 | 1131492.5976 | 2557301.0361 | 1131468.1257 | 2557299.8481 | 1131454.7829
62 | 2557323.0792 | 1131448.1039 | 2557322.215 | 1131453.3016 | 2557321.5148 | 1131455.5521 | 2557320.1749 | 1131456.6288 | 2557317.5672 | 1131457.0141 | 2557308.2194 | 1131456.002 | 2557299.8481 | 1131454.7829
63 | 2557304.5343 | 1131314.3068 | 2557304.4591 | 1131316.5129 | 2557304.2356 | 1131319.5877
64 | 2557322.8424 | 1131487.5257 | 2557313.0386 | 1131487.3506 | 2557308.8708 | 1131488.1694 | 2557303.6428 | 1131492.5976
65 | 2557303.6428 | 1131492.5976 | 2557304.6045 | 1131499.0051
66 | 2557304.5343 | 1131314.3068 | 2557304.9309 | 1131302.6803 | 2557305.9676 | 1131287.0538 | 2557306.0141 | 1131286.6062
67 | 2557372.4105 | 1131332.0349 | 2557377.6706 | 1131311.359 | 2557381.7614 | 1131291.452
68 | 2557381.7614 | 1131291.452 | 2557386.1126 | 1131270.2783 | 2557387.9776 | 1131260.7663
69 | 2557386.646 | 1131597.2861 | 2557385.2926 | 1131583.3886 | 2557385.1625 | 1131570.2769
70 | 2557384.9977 | 1131553.6644 | 2557385.1625 | 1131570.2769
71 | 2557384.9977 | 1131553.6644 | 2557384.663 | 1131538.9926 | 2557384.7399 | 1131527.0081 | 2557384.6284 | 1131524.2964 | 2557384.1637 | 1131513.8763
72 | 2557384.1637 | 1131513.8763 | 2557383.1824 | 1131491.8678 | 2557381.7255 | 1131478.329
73 | 2557330.5846 | 1131583.8284 | 2557322.1345 | 1131583.9596
74 | 2557380.1744 | 1131462.8743 | 2557380.4295 | 1131466.2853 | 2557381.7255 | 1131478.329
75 | 2557320.4547 | 1131583.9857 | 2557322.1345 | 1131583.9596
76 | 2557380.1744 | 1131462.8743 | 2557365.8541 | 1131462.1307 | 2557365.1548 | 1131462.0604
77 | 2557304.6045 | 1131499.0051 | 2557304.8619 | 1131503.8058 | 2557306.0252 | 1131514.7587
78 | 2557306.0252 | 1131514.7587 | 2557300.8224 | 1131515.1291 | 2557298.3436 | 1131517.4033 | 2557296.9698 | 1131519.7654
79 | 2557304.6045 | 1131499.0051 | 2557308.9219 | 1131498.6522 | 2557314.4373 | 1131503.271 | 2557321.2367 | 1131513.0612 | 2557323.5462 | 1131515.146
80 | 2557267.0746 | 1131472.0795 | 2557272.506 | 1131470.2845 | 2557278.6583 | 1131470.2298 | 2557284.0225 | 1131471.9927 | 2557289.2362 | 1131475.3241 | 2557292.4096 | 1131479.7817 | 2557298.0171 | 1131491.9704 | 2557301.1749 | 1131499.6742 | 2557304.8619 | 1131503.8058 | 2557304.6045 | 1131499.0051
81 | 2557277.7013 | 1131527.4992 | 2557281.3203 | 1131527.4846 | 2557285.5001 | 1131527.266 | 2557290.8717 | 1131525.7272 | 2557295.3766 | 1131522.5047 | 2557296.9698 | 1131519.7654
82 | 2557320.4547 | 1131583.9857 | 2557311.8143 | 1131584.1198
83 | 2557267.0746 | 1131472.0795 | 2557264.6986 | 1131476.9099
84 | 2557267.0746 | 1131472.0795 | 2557242.4854 | 1131466.0033
85 | 2557341.7053 | 1131448.2352 | 2557341.3433 | 1131452.2768 | 2557341.1093 | 1131457.2921 | 2557341.8445 | 1131458.8988 | 2557344.4541 | 1131459.8698 | 2557350.0339 | 1131460.5418 | 2557365.1548 | 1131462.0604
86 | 2557547.4254 | 1131354.4168 | 2557547.7023 | 1131359.8398 | 2557548.7491 | 1131392.5603
87 | 2557547.4254 | 1131354.4168 | 2557530.8189 | 1131353.9926
88 | 2557548.7491 | 1131392.5603 | 2557549.4737 | 1131413.4448
89 | 2557548.7491 | 1131392.5603 | 2557535.6077 | 1131392.0228
90 | 2557528.846 | 1131353.9422 | 2557530.8189 | 1131353.9926
91 | 2557550.1404 | 1131432.6598 | 2557549.4737 | 1131413.4448
92 | 2557510.3143 | 1131390.9884 | 2557535.6077 | 1131392.0228
93 | 2557528.846 | 1131353.9422 | 2557516.7255 | 1131353.6326 | 2557498.7917 | 1131354.1253
94 | 2557498.7917 | 1131354.1253 | 2557498.0858 | 1131354.1446
95 | 2557550.1404 | 1131432.6598 | 2557509.8835 | 1131431.281
96 | 2557488.4189 | 1131435.4011 | 2557487.4537 | 1131437.3928 | 2557487.9535 | 1131446.0159 | 2557488.747 | 1131451.467
97 | 2557493.8828 | 1131430.733 | 2557490.2735 | 1131433.2263 | 2557488.5619 | 1131435.106 | 2557488.4189 | 1131435.4011
98 | 2557488.747 | 1131451.467 | 2557489.3859 | 1131455.8553 | 2557489.8398 | 1131459.9904
99 | 2557493.8828 | 1131430.733 | 2557494.1747 | 1131427.3514 | 2557493.9413 | 1131421.5501 | 2557493.5187 | 1131418.407 | 2557491.8263 | 1131415.3729 | 2557488.8604 | 1131414.1154 | 2557486.9128 | 1131413.7879
100 | 2557493.8828 | 1131430.733 | 2557509.8835 | 1131431.281
101 | 2557491.9825 | 1131480.3225 | 2557491.4514 | 1131474.6726 | 2557489.8398 | 1131459.9904
102 | 2557478.3972 | 1131397.981 | 2557478.9489 | 1131406.3258 | 2557479.5528 | 1131408.9784 | 2557480.6531 | 1131411.0384 | 2557481.7471 | 1131412.2091 | 2557484.4197 | 1131413.3686 | 2557486.9128 | 1131413.7879
103 | 2557493.0319 | 1131491.485 | 2557491.9825 | 1131480.3225
104 | 2557495.6428 | 1131513.1587 | 2557493.1996 | 1131493.2697 | 2557493.0319 | 1131491.485
105 | 2557301.2113 | 1131588.509 | 2557309.4915 | 1131588.8387 | 2557311.8143 | 1131584.1198 | 2557311.8143 | 1131584.1198
106 | 2557295.9815 | 1131588.3007 | 2557301.2113 | 1131588.509
107 | 2557495.6428 | 1131513.1587 | 2557497.0128 | 1131524.3119

## bus_geodata
| x | y | coords
0 | 2557535.6051 | 1131570.5149
1 | 2557515.1156 | 1131530.5121
2 | 2557555.4462 | 1131567.169
3 | 2557508.127 | 1131591.0478
4 | 2557556.2976 | 1131560.1372
5 | 2557481.8196 | 1131705.1582
6 | 2557553.0162 | 1131539.8006
7 | 2557551.9547 | 1131504.3837
8 | 2557427.6876 | 1131677.666
9 | 2557424.866 | 1131676.2898
10 | 2557356.0912 | 1131645.1266
11 | 2557345.8921 | 1131644.5429
12 | 2557352.8355 | 1131582.2175
13 | 2557201.5401 | 1131540.5515
14 | 2557194.4862 | 1131570.8907
15 | 2557206.6012 | 1131517.3752
16 | 2557190.5077 | 1131625.7456
17 | 2557209.4215 | 1131502.3248
18 | 2557218.4319 | 1131611.0176
19 | 2557211.3721 | 1131484.3141
20 | 2557217.6946 | 1131596.1041
21 | 2557269.1604 | 1131558.8201
22 | 2557183.3269 | 1131498.3426
23 | 2557213.7272 | 1131472.6471
24 | 2557267.541 | 1131569.8001
25 | 2557308.6688 | 1131529.2251
26 | 2557217.7992 | 1131452.4744
27 | 2557221.0622 | 1131422.4534
28 | 2557204.9915 | 1131449.7453
29 | 2557221.8597 | 1131414.3231
30 | 2557195.4255 | 1131438.8929
31 | 2557138.7817 | 1131475.7919
32 | 2557129.762 | 1131493.8431
33 | 2557140.6936 | 1131463.1052
34 | 2557095.2202 | 1131530.8966
35 | 2557142.151 | 1131437.4039
36 | 2557148.3588 | 1131453.417
37 | 2557111.4458 | 1131531.0479
38 | 2557111.6698 | 1131530.7581
39 | 2557224.1724 | 1131390.8508
40 | 2557165.6388 | 1131433.2794
41 | 2557144.501 | 1131386.7057
42 | 2557155.9147 | 1131379.3431
43 | 2557227.8299 | 1131357.2304
44 | 2557231.9706 | 1131327.2746
45 | 2557236.9919 | 1131293.8059
46 | 2557300.1667 | 1131392.9495
47 | 2557301.3388 | 1131367.4545
48 | 2557300.0312 | 1131396.0124
49 | 2557301.499 | 1131364.4284
50 | 2557369.8522 | 1131375.1665
51 | 2557299.0178 | 1131440.8483
52 | 2557302.9138 | 1131337.7752
53 | 2557370.1208 | 1131353.7043
54 | 2557299.8481 | 1131454.7829
55 | 2557289.7448 | 1131434.0883
56 | 2557304.2356 | 1131319.5877
57 | 2557303.6428 | 1131492.5976
58 | 2557323.0792 | 1131448.1039
59 | 2557304.5343 | 1131314.3068
60 | 2557372.4105 | 1131332.0349
61 | 2557306.0141 | 1131286.6062
62 | 2557381.7614 | 1131291.452
63 | 2557387.9776 | 1131260.7663
64 | 2557385.1625 | 1131570.2769
65 | 2557386.646 | 1131597.2861
66 | 2557384.9977 | 1131553.6644
67 | 2557384.1637 | 1131513.8763
68 | 2557330.5846 | 1131583.8284
69 | 2557335.883 | 1131552.1421
70 | 2557381.7255 | 1131478.329
71 | 2557322.1345 | 1131583.9596
72 | 2557380.1744 | 1131462.8743
73 | 2557306.0252 | 1131514.7587
74 | 2557304.6045 | 1131499.0051
75 | 2557296.9698 | 1131519.7654
76 | 2557320.4547 | 1131583.9857
77 | 2557323.5462 | 1131515.146
78 | 2557267.0746 | 1131472.0795
79 | 2557264.6986 | 1131476.9099
80 | 2557242.4854 | 1131466.0033
81 | 2557277.7013 | 1131527.4992
82 | 2557365.1548 | 1131462.0604
83 | 2557341.7053 | 1131448.2352
84 | 2557322.8424 | 1131487.5257
85 | 2557547.4254 | 1131354.4168
86 | 2557548.7491 | 1131392.5603
87 | 2557530.8189 | 1131353.9926
88 | 2557549.4737 | 1131413.4448
89 | 2557535.6077 | 1131392.0228
90 | 2557528.846 | 1131353.9422
91 | 2557498.7917 | 1131354.1253
92 | 2557498.0858 | 1131354.1446
93 | 2557550.1404 | 1131432.6598
94 | 2557510.3143 | 1131390.9884
95 | 2557488.4189 | 1131435.4011
96 | 2557488.747 | 1131451.467
97 | 2557493.8828 | 1131430.733
98 | 2557489.8398 | 1131459.9904
99 | 2557486.9128 | 1131413.7879
100 | 2557509.8835 | 1131431.281
101 | 2557491.9825 | 1131480.3225
102 | 2557478.3972 | 1131397.981
103 | 2557493.0319 | 1131491.485
104 | 2557301.2113 | 1131588.509
105 | 2557311.8143 | 1131584.1198
106 | 2557295.9815 | 1131588.3007
107 | 2557495.6428 | 1131513.1587
108 | 2557497.0128 | 1131524.3119
109 | 2557299.8481 | 1131454.7829

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1