## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6173-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6173-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6173-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6173-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6173-1_0_6_node_30 | 0.4 | n |  | TRUE
5 | bus_LV_6173-1_0_6_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_6173-1_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_6173-1_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_6173-1_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6173-1_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6173-1_0_6_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6173-1_0_6_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_6173-1_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6173-1_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_6173-1_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_6173-1_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_6173-1_0_6_node_25 | 0.4 | n |  | TRUE
17 | bus_LV_6173-1_0_6_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_6173-1_0_6_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_6173-1_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6173-1_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_6173-1_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_6173-1_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_6173-1_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_6173-1_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_6173-1_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_6173-1_0_6_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6173-1_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_6173-1_0_6_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_6173-1_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_6173-1_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_6173-1_0_6_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_6173-1_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_6173-1_0_6_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_6173-1_0_6_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_6173-1_0_6_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_6173-1_0_6_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_6173-1_0_6_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_6173-1_0_6_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_6173-1_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_6173-1_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_6173-1_0_6_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6173-1_0_6_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_6173-1_0_6_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_6173-1_0_6_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_6173-1_0_6_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_6173-1_0_6_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_6173-1_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6173-1_0_6_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_6173-1_0_6_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_6173-1_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_6173-1_0_6_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_6173-1_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_6173-1_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_6173-1_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_6173-1_0_6_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_6173-1_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6173-1_0_6_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_6173-1_0_6_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6173-1_0_6_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_6173-1_0_6_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_6173-1_0_6_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_6173-1_0_6_node_60 | 0.4 | n |  | TRUE
63 | bus_LV_6173-1_0_6_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_6173-1_0_6_node_62 | 0.4 | n |  | TRUE
65 | bus_LV_6173-1_0_6_node_63 | 0.4 | n |  | TRUE
66 | bus_LV_6173-1_0_6_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_6173-1_0_6_node_73 | 0.4 | n |  | TRUE
68 | bus_LV_6173-1_0_6_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_6173-1_0_6_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_6173-1_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_6173-1_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6173-1_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_6173-1_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_6173-1_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6173-1_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6173-1_0_6_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_6173-1_0_6_node_77 | 0.4 | n |  | TRUE
78 | bus_LV_6173-1_0_6_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_6173-1_0_6_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_6173-1_0_6_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_6173-1_0_6_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_6173-1_0_6_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_6173-1_0_6_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_6173-1_0_6_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_6173-1_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_6173-1_0_6_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_6173-1_0_6_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_6173-1_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_6173-1_0_6_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_6173-1_0_6_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_6173-1_0_6_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_6173-1_0_6_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_6173-1_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_6173-1_0_6_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_6173-1_0_6_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_6173-1_0_6_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_6173-1_0_6_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_6173-1_0_6_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_6173-1_0_6_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_6173-1_0_6_node_100 | 0.4 | n |  | TRUE
101 | bus_LV_6173-1_0_6_node_101 | 0.4 | n |  | TRUE
102 | bus_LV_6173-1_0_6_node_102 | 0.4 | n |  | TRUE
103 | bus_MV_87_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6173-1_0_6_load_0 | 0 | 0.00058232 | 0.00014594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6173-1_0_6_load_1 | 1 | 0.00060352 | 0.00015126 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6173-1_0_6_load_3 | 3 | 0.00057022 | 0.00014291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6173-1_0_6_load_30 | 4 | 0.015436 | 0.0038686 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6173-1_0_6_load_29 | 5 | 0.00497 | 0.0012456 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6173-1_0_6_load_4 | 6 | 0.0006741 | 0.00016894 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6173-1_0_6_load_5 | 7 | 0.00059801 | 0.00014988 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6173-1_0_6_load_7 | 9 | 0.0014786 | 0.00037057 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6173-1_0_6_load_8 | 10 | 0.0011093 | 0.000278 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6173-1_0_6_load_12 | 11 | 0.00050549 | 0.00012669 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6173-1_0_6_load_9 | 12 | 0.00085321 | 0.00021383 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6173-1_0_6_load_10 | 13 | 0.0009082 | 0.00022762 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6173-1_0_6_load_11 | 14 | 0.0011524 | 0.00028882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6173-1_0_6_load_24 | 15 | 0.00049393 | 0.00012379 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6173-1_0_6_load_25 | 16 | 0.0011453 | 0.00028703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6173-1_0_6_load_27 | 18 | 0.0050438 | 0.0012641 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6173-1_0_6_load_13 | 19 | 0.00096183 | 0.00024106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6173-1_0_6_load_14 | 20 | 0.0011492 | 0.00028803 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6173-1_0_6_load_15 | 21 | 0.00074393 | 0.00018645 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6173-1_0_6_load_19 | 25 | 0.00088929 | 0.00022288 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6173-1_0_6_load_21 | 26 | 0.0014426 | 0.00036155 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6173-1_0_6_load_20 | 28 | 0.00066716 | 0.00016721 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6173-1_0_6_load_22 | 29 | 0.00082189 | 0.00020599 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6173-1_0_6_load_23 | 30 | 0.0013974 | 0.00035022 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6173-1_0_6_load_40 | 31 | 0.0064954 | 0.0016279 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6173-1_0_6_load_39 | 32 | 0.005645 | 0.0014148 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6173-1_0_6_load_36 | 33 | 0.0026562 | 0.00066571 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6173-1_0_6_load_31 | 34 | 0.0050168 | 0.0012573 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6173-1_0_6_load_33 | 36 | 0.0030642 | 0.00076796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6173-1_0_6_load_34 | 37 | 0.0039821 | 0.000998 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6173-1_0_6_load_37 | 39 | 0.0029184 | 0.00073141 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6173-1_0_6_load_38 | 40 | 0.0097933 | 0.0024544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6173-1_0_6_load_41 | 41 | 0.0016392 | 0.00041082 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6173-1_0_6_load_42 | 42 | 0.0090881 | 0.0022777 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6173-1_0_6_load_43 | 43 | 0.023182 | 0.00581 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6173-1_0_6_load_64 | 44 | 0.0036795 | 0.00092217 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6173-1_0_6_load_65 | 45 | 0.023224 | 0.0058205 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6173-1_0_6_load_44 | 46 | 0.0040471 | 0.0010143 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6173-1_0_6_load_45 | 47 | 0.0027273 | 0.00068353 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6173-1_0_6_load_46 | 48 | 0.0065408 | 0.0016393 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6173-1_0_6_load_47 | 49 | 0.0014308 | 0.0003586 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6173-1_0_6_load_48 | 50 | 0.0026294 | 0.00065898 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6173-1_0_6_load_49 | 51 | 0.0019413 | 0.00048653 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6173-1_0_6_load_50 | 52 | 0.0026057 | 0.00065304 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6173-1_0_6_load_51 | 53 | 0.0039555 | 0.00099133 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6173-1_0_6_load_52 | 54 | 0.0027489 | 0.00068895 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6173-1_0_6_load_53 | 55 | 0.0049943 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6173-1_0_6_load_54 | 56 | 0.0057284 | 0.0014357 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6173-1_0_6_load_55 | 57 | 0.0058307 | 0.0014613 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6173-1_0_6_load_56 | 58 | 0.005481 | 0.0013737 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6173-1_0_6_load_57 | 59 | 0.0057536 | 0.001442 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6173-1_0_6_load_58 | 60 | 0.0040934 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6173-1_0_6_load_59 | 61 | 0.0056672 | 0.0014203 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6173-1_0_6_load_60 | 62 | 0.0026987 | 0.00067636 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6173-1_0_6_load_61 | 63 | 0.010954 | 0.0027452 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6173-1_0_6_load_62 | 64 | 0.0029374 | 0.00073617 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6173-1_0_6_load_63 | 65 | 0.012721 | 0.0031881 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6173-1_0_6_load_74 | 66 | 0.005335 | 0.0013371 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6173-1_0_6_load_73 | 67 | 0.0048379 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6173-1_0_6_load_75 | 68 | 0.0067322 | 0.0016872 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6173-1_0_6_load_72 | 69 | 0.0056552 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6173-1_0_6_load_66 | 70 | 0.0083468 | 0.0020919 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6173-1_0_6_load_67 | 71 | 0.0082948 | 0.0020789 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6173-1_0_6_load_68 | 72 | 0.029045 | 0.0072792 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6173-1_0_6_load_69 | 73 | 0.0060788 | 0.0015235 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6173-1_0_6_load_70 | 74 | 0.0031579 | 0.00079144 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6173-1_0_6_load_71 | 75 | 0.012202 | 0.0030582 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6173-1_0_6_load_76 | 76 | 0.012162 | 0.003048 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6173-1_0_6_load_77 | 77 | 0.0064548 | 0.0016177 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6173-1_0_6_load_78 | 78 | 0.0069276 | 0.0017362 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6173-1_0_6_load_79 | 79 | 0.0094878 | 0.0023779 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6173-1_0_6_load_84 | 80 | 0.0087208 | 0.0021856 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6173-1_0_6_load_82 | 81 | 0.010489 | 0.0026289 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6173-1_0_6_load_80 | 82 | 0.0090894 | 0.002278 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6173-1_0_6_load_81 | 83 | 0.0078752 | 0.0019737 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6173-1_0_6_load_83 | 84 | 0.0092851 | 0.0023271 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6173-1_0_6_load_85 | 85 | 0.0090327 | 0.0022638 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6173-1_0_6_load_86 | 86 | 0.0038317 | 0.00096031 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6173-1_0_6_load_87 | 87 | 0.0066178 | 0.0016586 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6173-1_0_6_load_88 | 88 | 0.002861 | 0.00071704 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6173-1_0_6_load_89 | 89 | 0.0072852 | 0.0018258 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6173-1_0_6_load_90 | 90 | 0.0080395 | 0.0020149 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6173-1_0_6_load_91 | 91 | 0.0081292 | 0.0020374 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6173-1_0_6_load_92 | 92 | 0.0015665 | 0.00039261 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6173-1_0_6_load_93 | 93 | 0.0027505 | 0.00068934 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6173-1_0_6_load_94 | 94 | 0.0027031 | 0.00067746 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6173-1_0_6_load_95 | 95 | 0.0026429 | 0.00066238 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6173-1_0_6_load_99 | 96 | 0.0018943 | 0.00047475 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6173-1_0_6_load_97 | 97 | 0.0025077 | 0.0006285 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6173-1_0_6_load_96 | 98 | 0.0045512 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6173-1_0_6_load_98 | 99 | 0.0029349 | 0.00073555 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_6173-1_0_6_load_100 | 100 | 0.0056092 | 0.0014058 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_6173-1_0_6_load_101 | 101 | 0.0022409 | 0.00056163 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_6173-1_0_6_load_102 | 102 | 0.0025301 | 0.00063411 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 72 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6173-1_0_6_line_0 |  | 0 | 1 | 0.12638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6173-1_0_6_line_1 |  | 0 | 2 | 0.035281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6173-1_0_6_line_2 |  | 1 | 3 | 0.02222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6173-1_0_6_line_3 |  | 2 | 4 | 0.6399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_6173-1_0_6_line_4 |  | 3 | 6 | 0.031942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6173-1_0_6_line_5 |  | 4 | 5 | 0.042982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_6173-1_0_6_line_6 |  | 5 | 17 | 0.036143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6173-1_0_6_line_7 |  | 6 | 7 | 0.10073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6173-1_0_6_line_8 |  | 7 | 8 | 0.012826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6173-1_0_6_line_9 |  | 8 | 9 | 0.053181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6173-1_0_6_line_10 |  | 8 | 10 | 0.0052829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6173-1_0_6_line_11 |  | 9 | 11 | 0.021169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6173-1_0_6_line_12 |  | 10 | 12 | 0.020519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6173-1_0_6_line_13 |  | 12 | 13 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6173-1_0_6_line_14 |  | 13 | 14 | 0.12778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6173-1_0_6_line_15 |  | 14 | 15 | 0.050605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6173-1_0_6_line_16 |  | 15 | 16 | 0.026444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6173-1_0_6_line_17 |  | 16 | 27 | 0.091655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6173-1_0_6_line_18 |  | 17 | 18 | 0.12561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6173-1_0_6_line_19 |  | 18 | 31 | 0.11223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6173-1_0_6_line_20 |  | 19 | 20 | 0.049938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6173-1_0_6_line_21 |  | 19 | 21 | 0.11843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6173-1_0_6_line_22 |  | 20 | 22 | 0.04448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6173-1_0_6_line_23 |  | 21 | 23 | 0.046372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6173-1_0_6_line_24 |  | 22 | 24 | 0.043244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6173-1_0_6_line_25 |  | 23 | 25 | 0.026982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6173-1_0_6_line_26 |  | 24 | 26 | 0.071891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6173-1_0_6_line_27 |  | 25 | 27 | 0.049749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6173-1_0_6_line_28 |  | 26 | 28 | 0.0080221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6173-1_0_6_line_29 |  | 28 | 29 | 0.051039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6173-1_0_6_line_30 |  | 29 | 30 | 0.0016431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6173-1_0_6_line_31 |  | 31 | 32 | 0.023177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6173-1_0_6_line_32 |  | 32 | 33 | 0.069883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6173-1_0_6_line_33 |  | 33 | 41 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_6173-1_0_6_line_34 |  | 33 | 38 | 0.12494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6173-1_0_6_line_35 |  | 34 | 35 | 0.019754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6173-1_0_6_line_36 |  | 35 | 36 | 0.036931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6173-1_0_6_line_37 |  | 36 | 37 | 0.04424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6173-1_0_6_line_38 |  | 37 | 38 | 0.04846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6173-1_0_6_line_39 |  | 38 | 39 | 0.035744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6173-1_0_6_line_40 |  | 38 | 40 | 0.023239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6173-1_0_6_line_41 |  | 41 | 42 | 0.015484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6173-1_0_6_line_42 |  | 42 | 43 | 0.023785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6173-1_0_6_line_43 |  | 43 | 44 | 0.0091355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6173-1_0_6_line_44 |  | 44 | 45 | 0.01017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6173-1_0_6_line_45 |  | 45 | 70 | 0.0077845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6173-1_0_6_line_46 |  | 46 | 47 | 0.010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6173-1_0_6_line_47 |  | 46 | 48 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6173-1_0_6_line_48 |  | 47 | 49 | 0.006505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6173-1_0_6_line_49 |  | 49 | 50 | 0.012993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6173-1_0_6_line_50 |  | 50 | 51 | 0.00076806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6173-1_0_6_line_51 |  | 51 | 52 | 0.01672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6173-1_0_6_line_52 |  | 52 | 53 | 0.00076387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6173-1_0_6_line_53 |  | 53 | 54 | 0.016686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6173-1_0_6_line_54 |  | 54 | 55 | 0.017506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6173-1_0_6_line_55 |  | 55 | 56 | 0.00098071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6173-1_0_6_line_56 |  | 56 | 57 | 0.017899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6173-1_0_6_line_57 |  | 57 | 58 | 0.0001826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6173-1_0_6_line_58 |  | 58 | 59 | 0.016255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6173-1_0_6_line_59 |  | 59 | 60 | 0.0013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6173-1_0_6_line_60 |  | 60 | 61 | 0.013347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6173-1_0_6_line_61 |  | 61 | 62 | 0.00082305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6173-1_0_6_line_62 |  | 62 | 63 | 0.014462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6173-1_0_6_line_63 |  | 63 | 64 | 0.014034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6173-1_0_6_line_64 |  | 63 | 65 | 0.0071547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6173-1_0_6_line_65 |  | 64 | 66 | 0.00088359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6173-1_0_6_line_66 |  | 65 | 67 | 0.00089192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6173-1_0_6_line_67 |  | 66 | 68 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6173-1_0_6_line_68 |  | 67 | 69 | 0.012573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_6173-1_0_6_line_69 |  | 68 | 76 | 5.4122e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_6173-1_0_6_line_70 |  | 69 | 75 | 0.00081808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_6173-1_0_6_line_71 |  | 70 | 71 | 0.014226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_6173-1_0_6_line_72 |  | 71 | 72 | 0.0077536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_6173-1_0_6_line_73 |  | 72 | 73 | 0.0077617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_6173-1_0_6_line_74 |  | 73 | 74 | 0.0077735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_6173-1_0_6_line_75 |  | 74 | 75 | 0.00028511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_6173-1_0_6_line_76 |  | 76 | 77 | 0.00041507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_6173-1_0_6_line_77 |  | 77 | 78 | 0.015483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6173-1_0_6_line_78 |  | 78 | 79 | 0.011094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6173-1_0_6_line_79 |  | 79 | 80 | 0.0025597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6173-1_0_6_line_80 |  | 80 | 81 | 0.0052072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6173-1_0_6_line_81 |  | 81 | 82 | 0.0077252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6173-1_0_6_line_82 |  | 82 | 83 | 0.0027546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6173-1_0_6_line_83 |  | 83 | 84 | 0.014974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6173-1_0_6_line_84 |  | 84 | 85 | 0.0054632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6173-1_0_6_line_85 |  | 85 | 86 | 0.011976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6173-1_0_6_line_86 |  | 86 | 87 | 0.0042107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6173-1_0_6_line_87 |  | 87 | 88 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6173-1_0_6_line_88 |  | 88 | 89 | 0.0083659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6173-1_0_6_line_89 |  | 89 | 90 | 0.019643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6173-1_0_6_line_90 |  | 90 | 91 | 0.0031257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6173-1_0_6_line_91 |  | 91 | 92 | 0.00028138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6173-1_0_6_line_92 |  | 92 | 93 | 0.009968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6173-1_0_6_line_93 |  | 93 | 94 | 0.00027279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6173-1_0_6_line_94 |  | 94 | 95 | 0.0039988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6173-1_0_6_line_95 |  | 95 | 96 | 0.0051177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6173-1_0_6_line_96 |  | 96 | 97 | 0.0020442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6173-1_0_6_line_97 |  | 97 | 98 | 0.0090393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6173-1_0_6_line_98 |  | 98 | 99 | 0.0025968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6173-1_0_6_line_99 |  | 99 | 100 | 0.019803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6173-1_0_6_line_100 |  | 100 | 101 | 0.0052558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6173-1_0_6_line_101 |  | 101 | 102 | 0.16098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6173-1_0_6_trafo_68 | 0.63 MVA 20/0.4 kV | 103 | 72 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2644024.982 | 1132909.4057 | 2644025.0508 | 1132909.8226 | 2644025.6517 | 1132926.6801 | 2644021.6348 | 1132931.7312 | 2644026.9128 | 1132948.0335 | 2644033.1684 | 1132961.1635 | 2644037.0242 | 1132972.9421 | 2644041.3421 | 1133014.2947 | 2644045.6469 | 1133028.8891 | 2644045.3031 | 1133030.6256
1 | 2644019.0771 | 1132876.9956 | 2644019.5794 | 1132884.1474 | 2644026.1207 | 1132891.8879 | 2644023.5909 | 1132900.9852 | 2644024.982 | 1132909.4057
2 | 2644045.3031 | 1133030.6256 | 2644040.9873 | 1133052.4228
3 | 2644569.9288 | 1132551.3574 | 2644019.0771 | 1132876.9956
4 | 2644060.4993 | 1133077.7077 | 2644053.2989 | 1133068.0093 | 2644040.9873 | 1133052.4228 | 2644040.9873 | 1133052.4228
5 | 2644569.9288 | 1132551.3574 | 2644572.4319 | 1132552.1483 | 2644601.2461 | 1132565.1229 | 2644608.9176 | 1132569.3438
6 | 2644640.317 | 1132587.2336 | 2644625.5149 | 1132578.4755 | 2644608.9176 | 1132569.3438
7 | 2644060.4993 | 1133077.7077 | 2644062.4853 | 1133080.3826 | 2644067.494 | 1133082.887 | 2644083.3762 | 1133106.048 | 2644086.4152 | 1133120.0217 | 2644089.8556 | 1133129.6295 | 2644098.0872 | 1133129.3338 | 2644112.2366 | 1133130.4042 | 2644128.482 | 1133134.6186
8 | 2644140.8969 | 1133137.8393 | 2644128.482 | 1133134.6186
9 | 2644140.8969 | 1133137.8393 | 2644141.5605 | 1133150.2839 | 2644143.2614 | 1133157.7112 | 2644146.9365 | 1133164.675 | 2644145.8405 | 1133173.5048 | 2644142.762 | 1133174.4495 | 2644138.6132 | 1133176.4758 | 2644137.3393 | 1133181.2023 | 2644137.1295 | 1133184.7909
10 | 2644140.8969 | 1133137.8393 | 2644146.0775 | 1133138.8744
11 | 2644137.1295 | 1133184.7909 | 2644137.1106 | 1133185.1137 | 2644136.6469 | 1133191.6915 | 2644137.8441 | 1133197.4698 | 2644144.4143 | 1133200.1303 | 2644144.2291 | 1133201.3787
12 | 2644165.7582 | 1133144.4429 | 2644156.3172 | 1133140.9202 | 2644146.0775 | 1133138.8744
13 | 2644165.7582 | 1133144.4429 | 2644177.3761 | 1133148.778 | 2644184.9021 | 1133152.8255
14 | 2644184.9021 | 1133152.8255 | 2644204.7436 | 1133163.4966 | 2644235.9019 | 1133191.4276 | 2644268.6349 | 1133245.7314
15 | 2644268.6349 | 1133245.7314 | 2644288.1384 | 1133278.0877 | 2644296.4346 | 1133287.8683
16 | 2644296.4346 | 1133287.8683 | 2644313.5406 | 1133308.035
17 | 2644365.493 | 1133382.4303 | 2644361.6948 | 1133369.2179 | 2644350.7009 | 1133353.6293 | 2644333.8166 | 1133331.9388 | 2644313.5406 | 1133308.035
18 | 2644640.317 | 1132587.2336 | 2644633.3932 | 1132574.0091 | 2644619.9003 | 1132555.8002 | 2644588.3463 | 1132521.8056 | 2644572.7748 | 1132505.6381 | 2644565.8265 | 1132495.704 | 2644567.824 | 1132488.9244
19 | 2644663.3836 | 1132430.0784 | 2644567.824 | 1132488.9244
20 | 2644168.3275 | 1133308.8433 | 2644170.9137 | 1133309.402 | 2644179.3865 | 1133312.9434 | 2644185.9037 | 1133315.459 | 2644193.7541 | 1133317.7954 | 2644201.9224 | 1133319.8116 | 2644206.3483 | 1133320.9223 | 2644210.4132 | 1133320.8854 | 2644215.9437 | 1133322.9144
21 | 2644311.0126 | 1133391.4622 | 2644307.6193 | 1133386.6638 | 2644290.283 | 1133372.0182 | 2644271.8476 | 1133359.2322 | 2644258.6214 | 1133352.0206 | 2644253.7902 | 1133348.4278 | 2644242.3767 | 1133336.4938 | 2644230.7368 | 1133329.1938 | 2644221.8526 | 1133325.0823 | 2644215.9437 | 1133322.9144
22 | 2644146.4701 | 1133344.4859 | 2644150.0096 | 1133340.4875 | 2644152.0061 | 1133336.9558 | 2644154.912 | 1133329.073 | 2644159.7799 | 1133313.9341 | 2644161.3869 | 1133311.0443 | 2644164.703 | 1133309.1676 | 2644167.8777 | 1133308.7461 | 2644168.3275 | 1133308.8433
23 | 2644349.6074 | 1133414.5414 | 2644344.0876 | 1133412.4888 | 2644340.3669 | 1133408.6484 | 2644337.1946 | 1133406.6575 | 2644333.9398 | 1133406.4557 | 2644328.5299 | 1133405.171 | 2644319.8961 | 1133400.5164 | 2644313.3564 | 1133394.7766 | 2644311.0126 | 1133391.4622
24 | 2644145.1001 | 1133386.6197 | 2644143.9032 | 1133385.0102 | 2644141.6865 | 1133377.5902 | 2644142.7977 | 1133366.6816 | 2644145.1482 | 1133355.7932 | 2644146.2564 | 1133346.3409 | 2644146.4701 | 1133344.4859
25 | 2644349.6074 | 1133414.5414 | 2644344.492 | 1133404.5877 | 2644341.1492 | 1133397.504 | 2644339.1272 | 1133389.8077
26 | 2644145.1001 | 1133386.6197 | 2644148.8123 | 1133391.6383 | 2644167.2469 | 1133411.9388 | 2644180.179 | 1133422.5276 | 2644194.8042 | 1133438.3038
27 | 2644365.493 | 1133382.4303 | 2644354.4179 | 1133372.6663 | 2644350.901 | 1133370.4283 | 2644346.0213 | 1133369.2697 | 2644341.8184 | 1133370.2838 | 2644338.2372 | 1133373.6593 | 2644336.946 | 1133378.619 | 2644337.4796 | 1133383.5366 | 2644339.1272 | 1133389.8077
28 | 2644199.4077 | 1133444.8594 | 2644195.546 | 1133439.1039 | 2644194.8042 | 1133438.3038
29 | 2644199.4077 | 1133444.8594 | 2644209.428 | 1133459.7938 | 2644225.3626 | 1133483.9894 | 2644228.1651 | 1133486.9583
30 | 2644229.293 | 1133488.1532 | 2644228.1651 | 1133486.9583
31 | 2644663.3836 | 1132430.0784 | 2644677.8328 | 1132442.6253 | 2644681.3641 | 1132444.5897
32 | 2644736.3835 | 1132401.5023 | 2644681.3641 | 1132444.5897
33 | 2644736.3835 | 1132401.5023 | 2644730.3414 | 1132396.8121 | 2644719.3226 | 1132385.3552
34 | 2644834.0537 | 1132479.4002 | 2644767.6454 | 1132425.7696 | 2644736.3835 | 1132401.5023
35 | 2644916.5087 | 1132579.2521 | 2644930.3645 | 1132565.1724
36 | 2644916.5087 | 1132579.2521 | 2644892.805 | 1132550.932
37 | 2644892.805 | 1132550.932 | 2644876.2763 | 1132531.1843 | 2644865.0032 | 1132516.5305
38 | 2644834.0537 | 1132479.4002 | 2644842.3274 | 1132487.0543 | 2644865.0032 | 1132516.5305
39 | 2644832.2088 | 1132443.7126 | 2644834.0537 | 1132479.4002
40 | 2644834.0537 | 1132479.4002 | 2644831.0712 | 1132497.4429 | 2644827.8712 | 1132501.2211
41 | 2644708.5895 | 1132374.1955 | 2644719.3226 | 1132385.3552
42 | 2644692.8405 | 1132356.4013 | 2644700.0392 | 1132365.3053 | 2644708.5895 | 1132374.1955
43 | 2644687.0969 | 1132349.2971 | 2644692.8405 | 1132356.4013
44 | 2644687.0969 | 1132349.2971 | 2644680.7027 | 1132341.3881
45 | 2644675.8085 | 1132335.3346 | 2644680.7027 | 1132341.3881
46 | 2644761.7643 | 1132348.7038 | 2644759.7142 | 1132344.8027 | 2644755.6266 | 1132339.7697
47 | 2644772.0326 | 1132368.7729 | 2644767.8607 | 1132360.3043 | 2644761.7643 | 1132348.7038
48 | 2644755.6266 | 1132339.7697 | 2644751.5257 | 1132334.7202
49 | 2644742.7165 | 1132325.1794 | 2644749.7955 | 1132332.5897 | 2644751.5257 | 1132334.7202
50 | 2644742.186 | 1132324.624 | 2644742.7165 | 1132325.1794
51 | 2644742.186 | 1132324.624 | 2644732.1696 | 1132314.1388 | 2644730.5051 | 1132312.6704
52 | 2644729.9323 | 1132312.1651 | 2644730.5051 | 1132312.6704
53 | 2644717.4189 | 1132301.1265 | 2644729.9323 | 1132312.1651
54 | 2644717.4189 | 1132301.1265 | 2644711.3402 | 1132295.7642 | 2644703.9418 | 1132289.966
55 | 2644703.1699 | 1132289.361 | 2644703.9418 | 1132289.966
56 | 2644689.4228 | 1132277.9048 | 2644698.6099 | 1132285.7873 | 2644703.1699 | 1132289.361
57 | 2644689.2843 | 1132277.7859 | 2644689.4228 | 1132277.9048
58 | 2644689.2843 | 1132277.7859 | 2644684.4558 | 1132273.6431 | 2644678.8946 | 1132271.8567 | 2644675.1217 | 1132273.3352
59 | 2644675.1217 | 1132273.3352 | 2644673.8395 | 1132273.8377
60 | 2644661.4126 | 1132278.7075 | 2644673.8395 | 1132273.8377
61 | 2644660.6463 | 1132279.0078 | 2644661.4126 | 1132278.7075
62 | 2644647.1814 | 1132284.2844 | 2644660.6463 | 1132279.0078
63 | 2644647.1814 | 1132284.2844 | 2644642.6464 | 1132275.9578 | 2644638.9691 | 1132273.2742
64 | 2644647.1814 | 1132284.2844 | 2644651.121 | 1132290.2568
65 | 2644638.2553 | 1132272.7533 | 2644638.9691 | 1132273.2742
66 | 2644651.121 | 1132290.2568 | 2644651.6121 | 1132291.0014
67 | 2644638.2553 | 1132272.7533 | 2644625.3758 | 1132263.354
68 | 2644657.7712 | 1132301.8995 | 2644656.1052 | 1132297.8128 | 2644651.6121 | 1132291.0014
69 | 2644625.3321 | 1132263.3221 | 2644625.3758 | 1132263.354
70 | 2644657.7712 | 1132301.8995 | 2644658.08 | 1132302.6571
71 | 2644675.8085 | 1132335.3346 | 2644670.1924 | 1132328.3881 | 2644667.1413 | 1132324.0629
72 | 2644667.1413 | 1132324.0629 | 2644662.6719 | 1132317.7271 | 2644662.6719 | 1132317.7271
73 | 2644661.0997 | 1132310.1263 | 2644662.6719 | 1132317.7271
74 | 2644661.0997 | 1132310.1263 | 2644661.0736 | 1132310.0002 | 2644658.1877 | 1132302.9211
75 | 2644658.08 | 1132302.6571 | 2644658.1877 | 1132302.9211
76 | 2644624.9969 | 1132263.0774 | 2644625.3321 | 1132263.3221
77 | 2644624.9969 | 1132263.0774 | 2644612.4899 | 1132253.95
78 | 2644612.4899 | 1132253.95 | 2644603.5285 | 1132247.4101 | 2644603.5285 | 1132247.4101
79 | 2644601.691 | 1132245.6281 | 2644603.5285 | 1132247.4101
80 | 2644597.9529 | 1132242.003 | 2644601.691 | 1132245.6281
81 | 2644592.4073 | 1132236.6248 | 2644597.9529 | 1132242.003
82 | 2644592.4073 | 1132236.6248 | 2644590.4298 | 1132234.7071
83 | 2644590.4298 | 1132234.7071 | 2644579.6807 | 1132224.2827
84 | 2644575.7589 | 1132220.4793 | 2644579.6807 | 1132224.2827
85 | 2644575.7589 | 1132220.4793 | 2644567.1615 | 1132212.1416
86 | 2644567.1615 | 1132212.1416 | 2644564.1388 | 1132209.2102
87 | 2644553.8037 | 1132200.1694 | 2644561.8644 | 1132207.0045 | 2644564.1388 | 1132209.2102
88 | 2644553.8037 | 1132200.1694 | 2644547.423 | 1132194.7588
89 | 2644547.423 | 1132194.7588 | 2644532.4408 | 1132182.0545
90 | 2644530.0568 | 1132180.033 | 2644532.4408 | 1132182.0545
91 | 2644529.8422 | 1132179.851 | 2644530.0568 | 1132180.033
92 | 2644529.8422 | 1132179.851 | 2644524.7154 | 1132175.5037 | 2644522.4277 | 1132173.2006
93 | 2644522.2355 | 1132173.0071 | 2644522.4277 | 1132173.2006
94 | 2644522.2355 | 1132173.0071 | 2644519.4174 | 1132170.1701
95 | 2644519.4174 | 1132170.1701 | 2644515.8109 | 1132166.5392
96 | 2644514.3702 | 1132165.0889 | 2644515.8109 | 1132166.5392
97 | 2644507.755 | 1132158.9904 | 2644509.1087 | 1132159.7919 | 2644514.3702 | 1132165.0889
98 | 2644507.755 | 1132158.9904 | 2644505.5205 | 1132157.6673
99 | 2644488.4005 | 1132147.715 | 2644499.1657 | 1132153.9046 | 2644505.5205 | 1132157.6673
100 | 2644483.8442 | 1132145.0953 | 2644488.4005 | 1132147.715
101 | 2644483.8442 | 1132145.0953 | 2644379.8772 | 1132267.9938

## bus_geodata
| x | y | coords
0 | 2644024.982 | 1132909.4057
1 | 2644045.3031 | 1133030.6256
2 | 2644019.0771 | 1132876.9956
3 | 2644040.9873 | 1133052.4228
4 | 2644569.9288 | 1132551.3574
5 | 2644608.9176 | 1132569.3438
6 | 2644060.4993 | 1133077.7077
7 | 2644128.482 | 1133134.6186
8 | 2644140.8969 | 1133137.8393
9 | 2644137.1295 | 1133184.7909
10 | 2644146.0775 | 1133138.8744
11 | 2644144.2291 | 1133201.3787
12 | 2644165.7582 | 1133144.4429
13 | 2644184.9021 | 1133152.8255
14 | 2644268.6349 | 1133245.7314
15 | 2644296.4346 | 1133287.8683
16 | 2644313.5406 | 1133308.035
17 | 2644640.317 | 1132587.2336
18 | 2644567.824 | 1132488.9244
19 | 2644215.9437 | 1133322.9144
20 | 2644168.3275 | 1133308.8433
21 | 2644311.0126 | 1133391.4622
22 | 2644146.4701 | 1133344.4859
23 | 2644349.6074 | 1133414.5414
24 | 2644145.1001 | 1133386.6197
25 | 2644339.1272 | 1133389.8077
26 | 2644194.8042 | 1133438.3038
27 | 2644365.493 | 1133382.4303
28 | 2644199.4077 | 1133444.8594
29 | 2644228.1651 | 1133486.9583
30 | 2644229.293 | 1133488.1532
31 | 2644663.3836 | 1132430.0784
32 | 2644681.3641 | 1132444.5897
33 | 2644736.3835 | 1132401.5023
34 | 2644930.3645 | 1132565.1724
35 | 2644916.5087 | 1132579.2521
36 | 2644892.805 | 1132550.932
37 | 2644865.0032 | 1132516.5305
38 | 2644834.0537 | 1132479.4002
39 | 2644832.2088 | 1132443.7126
40 | 2644827.8712 | 1132501.2211
41 | 2644719.3226 | 1132385.3552
42 | 2644708.5895 | 1132374.1955
43 | 2644692.8405 | 1132356.4013
44 | 2644687.0969 | 1132349.2971
45 | 2644680.7027 | 1132341.3881
46 | 2644761.7643 | 1132348.7038
47 | 2644755.6266 | 1132339.7697
48 | 2644772.0326 | 1132368.7729
49 | 2644751.5257 | 1132334.7202
50 | 2644742.7165 | 1132325.1794
51 | 2644742.186 | 1132324.624
52 | 2644730.5051 | 1132312.6704
53 | 2644729.9323 | 1132312.1651
54 | 2644717.4189 | 1132301.1265
55 | 2644703.9418 | 1132289.966
56 | 2644703.1699 | 1132289.361
57 | 2644689.4228 | 1132277.9048
58 | 2644689.2843 | 1132277.7859
59 | 2644675.1217 | 1132273.3352
60 | 2644673.8395 | 1132273.8377
61 | 2644661.4126 | 1132278.7075
62 | 2644660.6463 | 1132279.0078
63 | 2644647.1814 | 1132284.2844
64 | 2644638.9691 | 1132273.2742
65 | 2644651.121 | 1132290.2568
66 | 2644638.2553 | 1132272.7533
67 | 2644651.6121 | 1132291.0014
68 | 2644625.3758 | 1132263.354
69 | 2644657.7712 | 1132301.8995
70 | 2644675.8085 | 1132335.3346
71 | 2644667.1413 | 1132324.0629
72 | 2644662.6719 | 1132317.7271
73 | 2644661.0997 | 1132310.1263
74 | 2644658.1877 | 1132302.9211
75 | 2644658.08 | 1132302.6571
76 | 2644625.3321 | 1132263.3221
77 | 2644624.9969 | 1132263.0774
78 | 2644612.4899 | 1132253.95
79 | 2644603.5285 | 1132247.4101
80 | 2644601.691 | 1132245.6281
81 | 2644597.9529 | 1132242.003
82 | 2644592.4073 | 1132236.6248
83 | 2644590.4298 | 1132234.7071
84 | 2644579.6807 | 1132224.2827
85 | 2644575.7589 | 1132220.4793
86 | 2644567.1615 | 1132212.1416
87 | 2644564.1388 | 1132209.2102
88 | 2644553.8037 | 1132200.1694
89 | 2644547.423 | 1132194.7588
90 | 2644532.4408 | 1132182.0545
91 | 2644530.0568 | 1132180.033
92 | 2644529.8422 | 1132179.851
93 | 2644522.4277 | 1132173.2006
94 | 2644522.2355 | 1132173.0071
95 | 2644519.4174 | 1132170.17
96 | 2644515.8109 | 1132166.5392
97 | 2644514.3702 | 1132165.0889
98 | 2644507.755 | 1132158.9904
99 | 2644505.5205 | 1132157.6673
100 | 2644488.4005 | 1132147.715
101 | 2644483.8442 | 1132145.0953
102 | 2644379.8772 | 1132267.9938
103 | 2644647.1814 | 1132284.2844

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1