## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6173-3_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6173-3_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6173-3_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6173-3_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6173-3_0_10_node_81 | 0.4 | n |  | TRUE
5 | bus_LV_6173-3_0_10_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_6173-3_0_10_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_6173-3_0_10_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_6173-3_0_10_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6173-3_0_10_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_6173-3_0_10_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_6173-3_0_10_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6173-3_0_10_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6173-3_0_10_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6173-3_0_10_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6173-3_0_10_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6173-3_0_10_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_6173-3_0_10_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_6173-3_0_10_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_6173-3_0_10_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6173-3_0_10_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6173-3_0_10_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6173-3_0_10_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_6173-3_0_10_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6173-3_0_10_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6173-3_0_10_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6173-3_0_10_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6173-3_0_10_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_6173-3_0_10_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_6173-3_0_10_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_6173-3_0_10_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_6173-3_0_10_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_6173-3_0_10_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_6173-3_0_10_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_6173-3_0_10_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6173-3_0_10_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_6173-3_0_10_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_6173-3_0_10_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_6173-3_0_10_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_6173-3_0_10_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6173-3_0_10_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_6173-3_0_10_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_6173-3_0_10_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_6173-3_0_10_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_6173-3_0_10_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_6173-3_0_10_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_6173-3_0_10_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6173-3_0_10_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_6173-3_0_10_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_6173-3_0_10_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_6173-3_0_10_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_6173-3_0_10_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_6173-3_0_10_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_6173-3_0_10_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_6173-3_0_10_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_6173-3_0_10_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_6173-3_0_10_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_6173-3_0_10_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6173-3_0_10_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_6173-3_0_10_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_6173-3_0_10_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_6173-3_0_10_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_6173-3_0_10_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_6173-3_0_10_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_6173-3_0_10_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_6173-3_0_10_node_78 | 0.4 | n |  | TRUE
66 | bus_LV_6173-3_0_10_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_6173-3_0_10_node_54 | 0.4 | n |  | TRUE
68 | bus_LV_6173-3_0_10_node_79 | 0.4 | n |  | TRUE
69 | bus_LV_6173-3_0_10_node_76 | 0.4 | n |  | TRUE
70 | bus_LV_6173-3_0_10_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_6173-3_0_10_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_6173-3_0_10_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_6173-3_0_10_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_6173-3_0_10_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_6173-3_0_10_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_6173-3_0_10_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_6173-3_0_10_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_6173-3_0_10_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_6173-3_0_10_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_6173-3_0_10_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_6173-3_0_10_node_71 | 0.4 | n |  | TRUE
82 | bus_MV_87_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6173-3_0_10_load_0 | 0 | 0.0028582 | 0.00071633 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6173-3_0_10_load_2 | 2 | 0.040851 | 0.010238 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6173-3_0_10_load_81 | 4 | 0.0016861 | 0.00042258 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6173-3_0_10_load_30 | 5 | 0.011646 | 0.0029188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6173-3_0_10_load_28 | 7 | 0.0032992 | 0.00082687 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6173-3_0_10_load_6 | 8 | 0.047127 | 0.011811 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6173-3_0_10_load_4 | 10 | 0.015373 | 0.0038528 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6173-3_0_10_load_7 | 11 | 0.009095 | 0.0022794 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6173-3_0_10_load_8 | 12 | 0.010534 | 0.00264 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6173-3_0_10_load_9 | 13 | 0.0054678 | 0.0013704 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6173-3_0_10_load_10 | 14 | 0.028041 | 0.0070279 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6173-3_0_10_load_12 | 16 | 0.0012418 | 0.00031122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6173-3_0_10_load_14 | 18 | 0.0024592 | 0.00061634 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6173-3_0_10_load_17 | 19 | 0.0031901 | 0.00079951 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6173-3_0_10_load_21 | 20 | 0.0014203 | 0.00035596 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6173-3_0_10_load_16 | 21 | 0.017023 | 0.0042663 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6173-3_0_10_load_20 | 22 | 0.0011862 | 0.00029729 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6173-3_0_10_load_18 | 23 | 0.0045758 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6173-3_0_10_load_19 | 24 | 0.0016636 | 0.00041694 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6173-3_0_10_load_22 | 25 | 0.0054943 | 0.001377 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6173-3_0_10_load_23 | 26 | 0.011879 | 0.0029771 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6173-3_0_10_load_35 | 31 | 0.00084546 | 0.00021189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6173-3_0_10_load_32 | 32 | 0.0011056 | 0.00027709 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6173-3_0_10_load_47 | 33 | 0.0035023 | 0.00087777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6173-3_0_10_load_33 | 34 | 0.011256 | 0.0028211 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6173-3_0_10_load_46 | 35 | 0.0029556 | 0.00074073 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6173-3_0_10_load_29 | 36 | 0.0069643 | 0.0017454 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6173-3_0_10_load_44 | 38 | 0.015141 | 0.0037946 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6173-3_0_10_load_43 | 39 | 0.013808 | 0.0034605 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6173-3_0_10_load_80 | 40 | 0.013585 | 0.0034047 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6173-3_0_10_load_41 | 41 | 0.0083005 | 0.0020803 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6173-3_0_10_load_38 | 45 | 0.011521 | 0.0028874 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6173-3_0_10_load_37 | 46 | 0.014978 | 0.0037537 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6173-3_0_10_load_45 | 47 | 0.0047973 | 0.0012023 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6173-3_0_10_load_58 | 48 | 0.0021827 | 0.00054703 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6173-3_0_10_load_55 | 49 | 0.0086019 | 0.0021559 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6173-3_0_10_load_42 | 51 | 0.011893 | 0.0029805 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6173-3_0_10_load_69 | 52 | 0.0049468 | 0.0012398 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6173-3_0_10_load_60 | 53 | 0.0035772 | 0.00089653 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6173-3_0_10_load_56 | 54 | 0.0088557 | 0.0022194 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6173-3_0_10_load_70 | 55 | 0.019765 | 0.0049535 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6173-3_0_10_load_48 | 56 | 0.011158 | 0.0027965 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6173-3_0_10_load_49 | 57 | 0.0073774 | 0.001849 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6173-3_0_10_load_50 | 58 | 0.0075855 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6173-3_0_10_load_51 | 59 | 0.0083359 | 0.0020892 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6173-3_0_10_load_63 | 61 | 0.0033464 | 0.00083869 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6173-3_0_10_load_65 | 62 | 0.0063407 | 0.0015891 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6173-3_0_10_load_59 | 63 | 0.0027922 | 0.0006998 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6173-3_0_10_load_53 | 64 | 0.0064866 | 0.0016257 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6173-3_0_10_load_77 | 66 | 0.004035 | 0.0010113 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6173-3_0_10_load_54 | 67 | 0.0068717 | 0.0017222 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6173-3_0_10_load_76 | 69 | 0.018477 | 0.0046308 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6173-3_0_10_load_57 | 70 | 0.0014188 | 0.00035559 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6173-3_0_10_load_75 | 71 | 0.0083002 | 0.0020802 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6173-3_0_10_load_61 | 72 | 0.0009536 | 0.00023899 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6173-3_0_10_load_62 | 73 | 0.0054043 | 0.0013545 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6173-3_0_10_load_64 | 74 | 0.0026146 | 0.00065528 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6173-3_0_10_load_67 | 76 | 0.0057634 | 0.0014445 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6173-3_0_10_load_68 | 77 | 0.011927 | 0.0029892 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6173-3_0_10_load_82 | 78 | 0.00626 | 0.0015689 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6173-3_0_10_load_73 | 80 | 0.0061057 | 0.0015302 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6173-3_0_10_load_71 | 81 | 0.0060797 | 0.0015237 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6173-3_0_10_line_0 |  | 0 | 1 | 0.042854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6173-3_0_10_line_1 |  | 1 | 2 | 0.03228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_6173-3_0_10_line_2 |  | 1 | 3 | 0.14112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6173-3_0_10_line_3 |  | 1 | 4 | 0.22558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6173-3_0_10_line_4 |  | 3 | 8 | 0.086246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_6173-3_0_10_line_5 |  | 5 | 6 | 0.4512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_6173-3_0_10_line_6 |  | 5 | 7 | 0.039035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_6173-3_0_10_line_7 |  | 6 | 18 | 0.11513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_6173-3_0_10_line_8 |  | 7 | 36 | 0.089226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_6173-3_0_10_line_9 |  | 8 | 9 | 0.030252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_6173-3_0_10_line_10 |  | 9 | 11 | 0.0094709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_6173-3_0_10_line_11 |  | 9 | 10 | 0.014734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6173-3_0_10_line_12 |  | 11 | 12 | 0.023047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_6173-3_0_10_line_13 |  | 12 | 13 | 0.028455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_6173-3_0_10_line_14 |  | 13 | 14 | 0.042149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_6173-3_0_10_line_15 |  | 14 | 15 | 0.042305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_6173-3_0_10_line_16 |  | 15 | 16 | 0.0053859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_6173-3_0_10_line_17 |  | 15 | 17 | 0.01282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6173-3_0_10_line_18 |  | 16 | 18 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_6173-3_0_10_line_19 |  | 17 | 19 | 0.031251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6173-3_0_10_line_20 |  | 17 | 20 | 0.052586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6173-3_0_10_line_21 |  | 20 | 22 | 0.015135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6173-3_0_10_line_22 |  | 21 | 22 | 0.050745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6173-3_0_10_line_23 |  | 22 | 24 | 0.011362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6173-3_0_10_line_24 |  | 23 | 24 | 0.021904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6173-3_0_10_line_25 |  | 25 | 26 | 0.0069329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6173-3_0_10_line_26 |  | 25 | 27 | 0.010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6173-3_0_10_line_27 |  | 26 | 28 | 0.0091598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6173-3_0_10_line_28 |  | 27 | 29 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6173-3_0_10_line_29 |  | 28 | 30 | 0.048132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6173-3_0_10_line_30 |  | 29 | 31 | 0.005822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6173-3_0_10_line_31 |  | 29 | 32 | 0.021484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6173-3_0_10_line_32 |  | 30 | 33 | 0.026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6173-3_0_10_line_33 |  | 32 | 34 | 0.048174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6173-3_0_10_line_34 |  | 33 | 35 | 0.022418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6173-3_0_10_line_35 |  | 34 | 42 | 0.049944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6173-3_0_10_line_36 |  | 35 | 47 | 0.026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6173-3_0_10_line_37 |  | 36 | 37 | 0.031224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_6173-3_0_10_line_38 |  | 37 | 38 | 0.038279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6173-3_0_10_line_39 |  | 37 | 39 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_6173-3_0_10_line_40 |  | 38 | 40 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6173-3_0_10_line_41 |  | 39 | 41 | 0.010052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
42 | LV_6173-3_0_10_line_42 |  | 41 | 50 | 0.0093476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
43 | LV_6173-3_0_10_line_43 |  | 42 | 43 | 0.011167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6173-3_0_10_line_44 |  | 43 | 44 | 0.00702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_6173-3_0_10_line_45 |  | 43 | 45 | 0.021064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_6173-3_0_10_line_46 |  | 44 | 48 | 0.040837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6173-3_0_10_line_47 |  | 44 | 49 | 0.01888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_6173-3_0_10_line_48 |  | 45 | 50 | 0.022048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_6173-3_0_10_line_49 |  | 46 | 47 | 0.028851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6173-3_0_10_line_50 |  | 48 | 53 | 0.0093854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6173-3_0_10_line_51 |  | 49 | 54 | 0.023248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
52 | LV_6173-3_0_10_line_52 |  | 50 | 51 | 0.032444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6173-3_0_10_line_53 |  | 51 | 52 | 0.077033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6173-3_0_10_line_54 |  | 52 | 55 | 0.020557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6173-3_0_10_line_55 |  | 53 | 72 | 0.015779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6173-3_0_10_line_56 |  | 54 | 70 | 0.033739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_6173-3_0_10_line_57 |  | 55 | 81 | 0.0093794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6173-3_0_10_line_58 |  | 56 | 57 | 2.6883e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6173-3_0_10_line_59 |  | 56 | 58 | 0.022674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6173-3_0_10_line_60 |  | 57 | 59 | 0.022317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6173-3_0_10_line_61 |  | 58 | 60 | 0.021855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6173-3_0_10_line_62 |  | 59 | 64 | 0.018326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6173-3_0_10_line_63 |  | 60 | 65 | 0.068741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6173-3_0_10_line_64 |  | 60 | 66 | 0.016286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6173-3_0_10_line_65 |  | 61 | 62 | 0.043214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_6173-3_0_10_line_66 |  | 61 | 63 | 0.027537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_6173-3_0_10_line_67 |  | 62 | 67 | 0.081276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
68 | LV_6173-3_0_10_line_68 |  | 63 | 70 | 0.028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_6173-3_0_10_line_69 |  | 64 | 67 | 0.0095995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6173-3_0_10_line_70 |  | 65 | 68 | 0.089079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6173-3_0_10_line_71 |  | 66 | 69 | 0.061054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6173-3_0_10_line_72 |  | 68 | 78 | 0.059711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6173-3_0_10_line_73 |  | 69 | 71 | 0.01625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6173-3_0_10_line_74 |  | 72 | 73 | 0.032087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6173-3_0_10_line_75 |  | 73 | 74 | 0.0086951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6173-3_0_10_line_76 |  | 74 | 75 | 0.031909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6173-3_0_10_line_77 |  | 75 | 76 | 0.03885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6173-3_0_10_line_78 |  | 75 | 77 | 0.010975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6173-3_0_10_line_79 |  | 76 | 79 | 0.030099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6173-3_0_10_line_80 |  | 79 | 80 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6173-3_0_10_trafo_30 | 0.63 MVA 20/0.4 kV | 82 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2645024.3293 | 1132325.5012 | 2645053.6357 | 1132356.7685
1 | 2645050.1288 | 1132306.0055 | 2645026.8613 | 1132323.5857 | 2645024.3293 | 1132325.5012
2 | 2644932.6499 | 1132218.2199 | 2644960.979 | 1132255.1161 | 2644971.9772 | 1132268.1156 | 2644995.6829 | 1132296.1507 | 2645024.3293 | 1132325.5012
3 | 2645024.3293 | 1132325.5012 | 2644832.2088 | 1132443.7126
4 | 2644932.6499 | 1132218.2199 | 2644931.9069 | 1132208.376 | 2644935.3001 | 1132196.2506 | 2644935.3598 | 1132188.2247 | 2644915.3162 | 1132162.5515 | 2644899.1241 | 1132145.9561
5 | 2644393.4293 | 1131620.1384 | 2644632.6758 | 1132002.6885
6 | 2644368.3375 | 1131590.2381 | 2644368.3975 | 1131590.3217 | 2644391.4421 | 1131617.9049 | 2644393.4293 | 1131620.1384
7 | 2644632.6758 | 1132002.6885 | 2644656.7876 | 1132014.6615 | 2644715.0681 | 1132038.4486 | 2644724.8508 | 1132042.0561 | 2644738.7622 | 1132047.1942
8 | 2644368.3375 | 1131590.2381 | 2644355.4548 | 1131572.2842 | 2644349.8236 | 1131564.1943 | 2644333.4474 | 1131538.6723 | 2644319.945 | 1131515.3516
9 | 2644870.7033 | 1132136.8405 | 2644879.0036 | 1132137.8582 | 2644883.6884 | 1132138.4377 | 2644899.1241 | 1132145.9561
10 | 2644870.7033 | 1132136.8405 | 2644864.4985 | 1132129.6853
11 | 2644870.7033 | 1132136.8405 | 2644877.3533 | 1132144.4382 | 2644880.1195 | 1132148.1603
12 | 2644847.9307 | 1132113.675 | 2644863.2905 | 1132128.2923 | 2644864.4985 | 1132129.6853
13 | 2644847.9307 | 1132113.675 | 2644840.2619 | 1132106.3769 | 2644826.2329 | 1132095.31
14 | 2644826.2329 | 1132095.31 | 2644814.8401 | 1132086.3227 | 2644791.3034 | 1132071.8344
15 | 2644753.6306 | 1132052.6856 | 2644782.5947 | 1132066.4737 | 2644791.3034 | 1132071.8344
16 | 2644753.6306 | 1132052.6856 | 2644748.5782 | 1132050.8196
17 | 2644756.1644 | 1132040.1201 | 2644753.6306 | 1132052.6856
18 | 2644738.7622 | 1132047.1942 | 2644748.5782 | 1132050.8196
19 | 2644756.1644 | 1132040.1201 | 2644752.8931 | 1132036.8498 | 2644728.1826 | 1132026.7396
20 | 2644756.1644 | 1132040.1201 | 2644764.4794 | 1131988.1955
21 | 2644764.4794 | 1131988.1955 | 2644753.7034 | 1131977.568
22 | 2644714.7781 | 1132010.1233 | 2644753.7034 | 1131977.568
23 | 2644745.786 | 1131969.42 | 2644751.6835 | 1131975.576 | 2644753.7034 | 1131977.568
24 | 2644730.6334 | 1131953.6031 | 2644745.786 | 1131969.42
25 | 2644330.8875 | 1131648.3542 | 2644333.1771 | 1131650.1053 | 2644334.792 | 1131652.4961 | 2644335.1007 | 1131653.6199
26 | 2644321.2788 | 1131649.251 | 2644322.2239 | 1131648.4797 | 2644325.0421 | 1131647.4443 | 2644328.0378 | 1131647.3995 | 2644330.8875 | 1131648.3542
27 | 2644333.22 | 1131662.1006 | 2644334.3073 | 1131660.8301 | 2644335.3895 | 1131658.1589 | 2644335.557 | 1131655.2809 | 2644335.1007 | 1131653.6199
28 | 2644313.4557 | 1131639.7554 | 2644321.2788 | 1131649.251
29 | 2644298.0191 | 1131689.8903 | 2644321.6282 | 1131663.572 | 2644324.2527 | 1131664.7918 | 2644327.1225 | 1131665.113 | 2644329.9529 | 1131664.5001 | 2644332.4356 | 1131663.0175 | 2644333.22 | 1131662.1006
30 | 2644313.4557 | 1131639.7554 | 2644317.3836 | 1131635.4487
31 | 2644313.4557 | 1131639.7554 | 2644299.7631 | 1131623.2006
32 | 2644298.0191 | 1131689.8903 | 2644284.5598 | 1131667.363
33 | 2644299.7631 | 1131623.2006 | 2644299.1446 | 1131622.4529 | 2644279.7455 | 1131596.4753 | 2644271.8325 | 1131583.9892
34 | 2644273.0619 | 1131648.1187 | 2644284.5598 | 1131667.363
35 | 2644247.2283 | 1131540.5754 | 2644260.6842 | 1131566.3982 | 2644271.8325 | 1131583.9892
36 | 2644260.5218 | 1131624.9847 | 2644270.6875 | 1131644.1446 | 2644273.0619 | 1131648.1187
37 | 2644306.4344 | 1131487.2147 | 2644318.186 | 1131512.3136 | 2644319.945 | 1131515.3516
38 | 2644306.4344 | 1131487.2147 | 2644298.9646 | 1131466.2492 | 2644294.4157 | 1131450.8862
39 | 2644306.4344 | 1131487.2147 | 2644293.4588 | 1131494.1574
40 | 2644294.4157 | 1131450.8862 | 2644292.0437 | 1131442.8755 | 2644287.9091 | 1131427.4396
41 | 2644284.9064 | 1131499.425 | 2644290.9189 | 1131495.5165 | 2644293.4588 | 1131494.1574
42 | 2644277.0692 | 1131504.5197 | 2644284.9064 | 1131499.425
43 | 2644242.6132 | 1131530.4031 | 2644247.2283 | 1131540.5754
44 | 2644239.5871 | 1131524.0666 | 2644242.6132 | 1131530.4031
45 | 2644242.6132 | 1131530.4031 | 2644256.6952 | 1131519.0892 | 2644259.1353 | 1131517.3443
46 | 2644239.5871 | 1131524.0666 | 2644224.1493 | 1131486.2601
47 | 2644239.5871 | 1131524.0666 | 2644221.4631 | 1131529.3543
48 | 2644277.0692 | 1131504.5197 | 2644259.1353 | 1131517.3443
49 | 2644248.2046 | 1131598.9396 | 2644252.823 | 1131610.4744 | 2644260.5218 | 1131624.9847
50 | 2644224.1493 | 1131486.2601 | 2644220.6013 | 1131477.5712
51 | 2644221.4631 | 1131529.3543 | 2644219.8861 | 1131529.8144 | 2644211.8051 | 1131525.0084 | 2644204.5897 | 1131517.663 | 2644203.2177 | 1131516.339
52 | 2644277.0692 | 1131504.5197 | 2644266.5335 | 1131473.8341
53 | 2644240.0007 | 1131402.5108 | 2644247.7056 | 1131431.1561 | 2644252.8315 | 1131435.7182 | 2644260.5348 | 1131456.3629 | 2644266.5335 | 1131473.8341
54 | 2644240.0007 | 1131402.5108 | 2644234.6613 | 1131382.6598
55 | 2644220.6013 | 1131477.5712 | 2644218.5795 | 1131472.62 | 2644215.8468 | 1131462.5529
56 | 2644203.2177 | 1131516.339 | 2644194.9093 | 1131508.3209 | 2644178.362 | 1131498.7284 | 2644175.7919 | 1131497.0568
57 | 2644232.2251 | 1131373.6023 | 2644234.6613 | 1131382.6598
58 | 2644038.6109 | 1131543.2329 | 2644038.6101 | 1131543.2598
59 | 2644038.6101 | 1131543.2598 | 2644038.177 | 1131557.8811 | 2644038.506 | 1131565.9204
60 | 2644040.2984 | 1131521.0123 | 2644038.9939 | 1131530.3062 | 2644038.6109 | 1131543.2329
61 | 2644042.0897 | 1131587.358 | 2644038.8765 | 1131574.9727 | 2644038.506 | 1131565.9204
62 | 2644040.2984 | 1131521.0123 | 2644041.3898 | 1131513.2371 | 2644050.3083 | 1131507.7437 | 2644050.3083 | 1131507.7437
63 | 2643984.2635 | 1131615.5517 | 2643994.4799 | 1131602.0413 | 2644002.1691 | 1131595.0937 | 2644015.8565 | 1131588.1897 | 2644030.7309 | 1131587.4754 | 2644042.0897 | 1131587.358
64 | 2644042.0897 | 1131587.358 | 2644050.7809 | 1131585.5648 | 2644057.9231 | 1131587.5438
65 | 2644132.1754 | 1131462.097 | 2644121.7189 | 1131452.1689 | 2644107.2602 | 1131439.1346 | 2644102.8302 | 1131435.2225 | 2644100.3036 | 1131432.92
66 | 2644153.4075 | 1131479.5454 | 2644140.9752 | 1131470.4521 | 2644132.1754 | 1131462.097
67 | 2644100.3036 | 1131432.92 | 2644052.0166 | 1131498.2974
68 | 2644175.7919 | 1131497.0568 | 2644167.3335 | 1131491.5553 | 2644155.1452 | 1131480.8164 | 2644153.4075 | 1131479.5454
69 | 2644052.0166 | 1131498.2974 | 2644050.3083 | 1131507.7437
70 | 2643926.07 | 1131637.1511 | 2643941.3062 | 1131643.854 | 2643960.2671 | 1131648.7276 | 2643978.2309 | 1131649.881 | 2643981.0227 | 1131634.4712 | 2643984.2635 | 1131615.5517
71 | 2644110.8962 | 1131606.5452 | 2644098.5243 | 1131608.5577 | 2644088.3977 | 1131609.7179 | 2644082.4522 | 1131603.5047 | 2644074.0395 | 1131595.6171 | 2644063.7605 | 1131589.1612 | 2644057.9231 | 1131587.5438
72 | 2643926.07 | 1131637.1511 | 2643944.059 | 1131633.7911 | 2643948.4194 | 1131630.321 | 2643949.9029 | 1131625.3848 | 2643951.2338 | 1131612.8436 | 2643957.963 | 1131596.0061
73 | 2644126.9513 | 1131604.043 | 2644122.7241 | 1131604.6211 | 2644110.8962 | 1131606.5452
74 | 2644215.8468 | 1131462.5529 | 2644207.4413 | 1131431.5869
75 | 2644205.1635 | 1131423.1954 | 2644207.4413 | 1131431.5869
76 | 2644198.794 | 1131391.934 | 2644204.5349 | 1131420.8797 | 2644205.1635 | 1131423.1954
77 | 2644198.794 | 1131391.934 | 2644194.4608 | 1131369.5131 | 2644192.1302 | 1131353.6692
78 | 2644187.9754 | 1131393.956 | 2644198.794 | 1131391.934
79 | 2644188.018 | 1131323.8537 | 2644188.5427 | 1131327.9152 | 2644189.9344 | 1131338.742 | 2644192.1302 | 1131353.6692
80 | 2644188.018 | 1131323.8537 | 2644206.3983 | 1131318.3888

## bus_geodata
| x | y | coords
0 | 2645053.6357 | 1132356.7685
1 | 2645024.3293 | 1132325.5012
2 | 2645050.1288 | 1132306.0055
3 | 2644932.6499 | 1132218.2199
4 | 2644832.2088 | 1132443.7126
5 | 2644393.4293 | 1131620.1384
6 | 2644632.6758 | 1132002.6885
7 | 2644368.3375 | 1131590.2381
8 | 2644899.1241 | 1132145.9561
9 | 2644870.7033 | 1132136.8405
10 | 2644880.1195 | 1132148.1603
11 | 2644864.4985 | 1132129.6853
12 | 2644847.9307 | 1132113.675
13 | 2644826.2329 | 1132095.31
14 | 2644791.3034 | 1132071.8344
15 | 2644753.6306 | 1132052.6856
16 | 2644748.5782 | 1132050.8196
17 | 2644756.1644 | 1132040.1201
18 | 2644738.7622 | 1132047.1942
19 | 2644728.1826 | 1132026.7396
20 | 2644764.4794 | 1131988.1955
21 | 2644714.7781 | 1132010.1233
22 | 2644753.7034 | 1131977.568
23 | 2644730.6334 | 1131953.6031
24 | 2644745.786 | 1131969.42
25 | 2644330.8875 | 1131648.3542
26 | 2644335.1007 | 1131653.6199
27 | 2644321.2788 | 1131649.251
28 | 2644333.22 | 1131662.1006
29 | 2644313.4557 | 1131639.7554
30 | 2644298.0191 | 1131689.8903
31 | 2644317.3836 | 1131635.4487
32 | 2644299.7631 | 1131623.2006
33 | 2644284.5598 | 1131667.363
34 | 2644271.8325 | 1131583.9892
35 | 2644273.0619 | 1131648.1187
36 | 2644319.945 | 1131515.3516
37 | 2644306.4344 | 1131487.2147
38 | 2644294.4157 | 1131450.8862
39 | 2644293.4588 | 1131494.1574
40 | 2644287.9091 | 1131427.4396
41 | 2644284.9064 | 1131499.425
42 | 2644247.2283 | 1131540.5754
43 | 2644242.6132 | 1131530.4031
44 | 2644239.5871 | 1131524.0666
45 | 2644259.1353 | 1131517.3443
46 | 2644248.2046 | 1131598.9396
47 | 2644260.5218 | 1131624.9847
48 | 2644224.1493 | 1131486.2601
49 | 2644221.4631 | 1131529.3543
50 | 2644277.0692 | 1131504.5197
51 | 2644266.5335 | 1131473.8341
52 | 2644240.0007 | 1131402.5108
53 | 2644220.6013 | 1131477.5712
54 | 2644203.2177 | 1131516.339
55 | 2644234.6613 | 1131382.6598
56 | 2644038.6101 | 1131543.2598
57 | 2644038.6109 | 1131543.2329
58 | 2644038.506 | 1131565.9204
59 | 2644040.2984 | 1131521.0123
60 | 2644042.0897 | 1131587.358
61 | 2644132.1754 | 1131462.097
62 | 2644100.3036 | 1131432.92
63 | 2644153.4075 | 1131479.5454
64 | 2644050.3083 | 1131507.7437
65 | 2643984.2635 | 1131615.5517
66 | 2644057.9231 | 1131587.5438
67 | 2644052.0166 | 1131498.2974
68 | 2643926.07 | 1131637.1511
69 | 2644110.8962 | 1131606.5452
70 | 2644175.7919 | 1131497.0568
71 | 2644126.9513 | 1131604.043
72 | 2644215.8468 | 1131462.5529
73 | 2644207.4413 | 1131431.5868
74 | 2644205.1635 | 1131423.1954
75 | 2644198.794 | 1131391.934
76 | 2644192.1302 | 1131353.6692
77 | 2644187.9754 | 1131393.956
78 | 2643957.963 | 1131596.0061
79 | 2644188.018 | 1131323.8537
80 | 2644206.3983 | 1131318.3888
81 | 2644232.2251 | 1131373.6023
82 | 2644306.4344 | 1131487.2147

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1