## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6177-1_1_4_node_100 | 0.4 | n |  | TRUE
1 | bus_LV_6177-1_1_4_node_99 | 0.4 | n |  | TRUE
2 | bus_LV_6177-1_1_4_node_31 | 0.4 | n |  | TRUE
3 | bus_LV_6177-1_1_4_node_32 | 0.4 | n |  | TRUE
4 | bus_LV_6177-1_1_4_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_6177-1_1_4_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_6177-1_1_4_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_6177-1_1_4_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_6177-1_1_4_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_6177-1_1_4_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_6177-1_1_4_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_6177-1_1_4_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_6177-1_1_4_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_6177-1_1_4_node_65 | 0.4 | n |  | TRUE
14 | bus_LV_6177-1_1_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_6177-1_1_4_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_6177-1_1_4_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_6177-1_1_4_node_68 | 0.4 | n |  | TRUE
18 | bus_LV_6177-1_1_4_node_64 | 0.4 | n |  | TRUE
19 | bus_LV_6177-1_1_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_6177-1_1_4_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_6177-1_1_4_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_6177-1_1_4_node_52 | 0.4 | n |  | TRUE
23 | bus_LV_6177-1_1_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_6177-1_1_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_6177-1_1_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_6177-1_1_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_6177-1_1_4_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_6177-1_1_4_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_6177-1_1_4_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_6177-1_1_4_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_6177-1_1_4_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_6177-1_1_4_node_47 | 0.4 | n |  | TRUE
33 | bus_LV_6177-1_1_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_6177-1_1_4_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_6177-1_1_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_6177-1_1_4_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_6177-1_1_4_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_6177-1_1_4_node_57 | 0.4 | n |  | TRUE
39 | bus_LV_6177-1_1_4_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_6177-1_1_4_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_6177-1_1_4_node_60 | 0.4 | n |  | TRUE
42 | bus_LV_6177-1_1_4_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_6177-1_1_4_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_6177-1_1_4_node_74 | 0.4 | n |  | TRUE
45 | bus_LV_6177-1_1_4_node_75 | 0.4 | n |  | TRUE
46 | bus_LV_6177-1_1_4_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_6177-1_1_4_node_84 | 0.4 | n |  | TRUE
48 | bus_LV_6177-1_1_4_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_6177-1_1_4_node_87 | 0.4 | n |  | TRUE
50 | bus_LV_6177-1_1_4_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_6177-1_1_4_node_85 | 0.4 | n |  | TRUE
52 | bus_LV_6177-1_1_4_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_6177-1_1_4_node_104 | 0.4 | n |  | TRUE
54 | bus_LV_6177-1_1_4_node_98 | 0.4 | n |  | TRUE
55 | bus_LV_6177-1_1_4_node_94 | 0.4 | n |  | TRUE
56 | bus_LV_6177-1_1_4_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_6177-1_1_4_node_78 | 0.4 | n |  | TRUE
58 | bus_LV_6177-1_1_4_node_79 | 0.4 | n |  | TRUE
59 | bus_LV_6177-1_1_4_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_6177-1_1_4_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_6177-1_1_4_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_6177-1_1_4_node_90 | 0.4 | n |  | TRUE
63 | bus_LV_6177-1_1_4_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_6177-1_1_4_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_6177-1_1_4_node_105 | 0.4 | n |  | TRUE
66 | bus_LV_6177-1_1_4_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_6177-1_1_4_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_6177-1_1_4_node_95 | 0.4 | n |  | TRUE
69 | bus_LV_6177-1_1_4_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_6177-1_1_4_node_101 | 0.4 | n |  | TRUE
71 | bus_LV_6177-1_1_4_node_92 | 0.4 | n |  | TRUE
72 | bus_LV_6177-1_1_4_node_106 | 0.4 | n |  | TRUE
73 | bus_LV_6177-1_1_4_node_107 | 0.4 | n |  | TRUE
74 | bus_LV_6177-1_1_4_node_108 | 0.4 | n |  | TRUE
75 | bus_LV_6177-1_1_4_node_109 | 0.4 | n |  | TRUE
76 | bus_LV_6177-1_1_4_node_111 | 0.4 | n |  | TRUE
77 | bus_LV_6177-1_1_4_node_110 | 0.4 | n |  | TRUE
78 | bus_LV_6177-1_1_4_node_112 | 0.4 | n |  | TRUE
79 | bus_LV_6177-1_1_4_node_113 | 0.4 | n |  | TRUE
80 | bus_LV_6177-1_1_4_node_114 | 0.4 | n |  | TRUE
81 | bus_MV_87_1_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6177-1_1_4_load_100 | 0 | 0.0014245 | 0.00035702 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6177-1_1_4_load_99 | 1 | 0.0015136 | 0.00037935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6177-1_1_4_load_31 | 2 | 0.0034918 | 0.00087514 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6177-1_1_4_load_32 | 3 | 0.0016494 | 0.00041339 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6177-1_1_4_load_34 | 5 | 0.0043483 | 0.0010898 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6177-1_1_4_load_55 | 7 | 0.0029989 | 0.00075158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6177-1_1_4_load_56 | 8 | 0.003725 | 0.00093356 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6177-1_1_4_load_54 | 9 | 0.0027362 | 0.00068575 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6177-1_1_4_load_40 | 10 | 0.0056282 | 0.0014106 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6177-1_1_4_load_66 | 11 | 0.0040692 | 0.0010198 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6177-1_1_4_load_67 | 12 | 0.0043474 | 0.0010896 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6177-1_1_4_load_65 | 13 | 0.0045547 | 0.0011415 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6177-1_1_4_load_39 | 14 | 0.0056542 | 0.0014171 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6177-1_1_4_load_36 | 15 | 0.0028982 | 0.00072635 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6177-1_1_4_load_53 | 16 | 0.0033215 | 0.00083244 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6177-1_1_4_load_68 | 17 | 0.0039853 | 0.00099881 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6177-1_1_4_load_64 | 18 | 0.0037656 | 0.00094374 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6177-1_1_4_load_37 | 19 | 0.0015068 | 0.00037764 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6177-1_1_4_load_42 | 21 | 0.0077632 | 0.0019457 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6177-1_1_4_load_52 | 22 | 0.0028557 | 0.00071571 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6177-1_1_4_load_50 | 23 | 0.0060934 | 0.0015271 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6177-1_1_4_load_63 | 24 | 0.0052898 | 0.0013257 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6177-1_1_4_load_62 | 25 | 0.003867 | 0.00096915 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6177-1_1_4_load_97 | 26 | 0.00089044 | 0.00022316 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6177-1_1_4_load_44 | 27 | 0.0032133 | 0.00080534 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6177-1_1_4_load_69 | 29 | 0.005795 | 0.0014524 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6177-1_1_4_load_45 | 30 | 0.0041289 | 0.0010348 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6177-1_1_4_load_46 | 31 | 0.0030614 | 0.00076726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6177-1_1_4_load_47 | 32 | 0.0019475 | 0.00048808 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6177-1_1_4_load_48 | 33 | 0.0025962 | 0.00065067 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6177-1_1_4_load_51 | 35 | 0.0035721 | 0.00089526 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6177-1_1_4_load_72 | 36 | 0.0015464 | 0.00038756 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6177-1_1_4_load_57 | 38 | 0.0033823 | 0.00084768 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6177-1_1_4_load_58 | 39 | 0.003618 | 0.00090676 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6177-1_1_4_load_59 | 40 | 0.0034356 | 0.00086104 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6177-1_1_4_load_60 | 41 | 0.0034678 | 0.00086911 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6177-1_1_4_load_61 | 42 | 0.0020019 | 0.00050172 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6177-1_1_4_load_73 | 43 | 0.0052999 | 0.0013283 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6177-1_1_4_load_74 | 44 | 0.00094308 | 0.00023636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6177-1_1_4_load_75 | 45 | 0.0023915 | 0.00059936 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6177-1_1_4_load_76 | 46 | 0.0029058 | 0.00072827 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6177-1_1_4_load_84 | 47 | 0.0016036 | 0.00040191 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6177-1_1_4_load_85 | 51 | 0.0019781 | 0.00049577 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6177-1_1_4_load_103 | 52 | 0.0017942 | 0.00044967 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6177-1_1_4_load_104 | 53 | 0.0019087 | 0.00047836 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6177-1_1_4_load_98 | 54 | 0.0012839 | 0.00032177 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6177-1_1_4_load_94 | 55 | 0.0013783 | 0.00034544 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6177-1_1_4_load_78 | 57 | 0.0015194 | 0.0003808 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6177-1_1_4_load_79 | 58 | 0.0020418 | 0.00051173 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6177-1_1_4_load_81 | 59 | 0.0012704 | 0.00031839 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6177-1_1_4_load_82 | 60 | 0.0018481 | 0.00046319 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6177-1_1_4_load_90 | 62 | 0.0022753 | 0.00057024 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6177-1_1_4_load_89 | 63 | 0.0013865 | 0.00034749 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6177-1_1_4_load_91 | 64 | 0.0016935 | 0.00042442 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6177-1_1_4_load_105 | 65 | 0.0038908 | 0.00097513 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6177-1_1_4_load_93 | 66 | 0.0016696 | 0.00041843 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6177-1_1_4_load_86 | 67 | 0.0015192 | 0.00038076 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6177-1_1_4_load_95 | 68 | 0.0020684 | 0.00051839 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6177-1_1_4_load_96 | 69 | 0.00085427 | 0.0002141 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6177-1_1_4_load_101 | 70 | 0.0011627 | 0.00029139 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6177-1_1_4_load_92 | 71 | 0.0021843 | 0.00054745 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6177-1_1_4_load_106 | 72 | 0.0062457 | 0.0015653 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6177-1_1_4_load_107 | 73 | 0.0014675 | 0.00036778 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6177-1_1_4_load_108 | 74 | 0.0015022 | 0.00037648 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6177-1_1_4_load_109 | 75 | 0.00085951 | 0.00021541 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6177-1_1_4_load_111 | 76 | 0.0017013 | 0.00042637 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6177-1_1_4_load_110 | 77 | 0.0025003 | 0.00062662 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6177-1_1_4_load_112 | 78 | 0.0016867 | 0.00042274 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6177-1_1_4_load_114 | 80 | 0.001534 | 0.00038447 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6177-1_1_4_line_0 |  | 0 | 1 | 0.0013968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6177-1_1_4_line_1 |  | 1 | 70 | 0.0048913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6177-1_1_4_line_2 |  | 2 | 3 | 0.02599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6177-1_1_4_line_3 |  | 2 | 4 | 0.014272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6177-1_1_4_line_4 |  | 3 | 5 | 0.013306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6177-1_1_4_line_5 |  | 4 | 6 | 0.004527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6177-1_1_4_line_6 |  | 5 | 10 | 0.020639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6177-1_1_4_line_7 |  | 6 | 14 | 0.027404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6177-1_1_4_line_8 |  | 6 | 15 | 0.012169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6177-1_1_4_line_9 |  | 7 | 8 | 0.014606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6177-1_1_4_line_10 |  | 7 | 9 | 0.0052425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6177-1_1_4_line_11 |  | 8 | 13 | 0.0010169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6177-1_1_4_line_12 |  | 8 | 21 | 0.1354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6177-1_1_4_line_13 |  | 9 | 16 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6177-1_1_4_line_14 |  | 11 | 12 | 0.0072059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6177-1_1_4_line_15 |  | 11 | 13 | 0.014036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6177-1_1_4_line_16 |  | 12 | 17 | 0.011358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6177-1_1_4_line_17 |  | 15 | 19 | 0.015309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6177-1_1_4_line_18 |  | 16 | 22 | 0.0072481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6177-1_1_4_line_19 |  | 17 | 18 | 0.0066431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6177-1_1_4_line_20 |  | 18 | 24 | 0.014649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6177-1_1_4_line_21 |  | 19 | 20 | 0.030854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6177-1_1_4_line_22 |  | 20 | 21 | 0.024572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6177-1_1_4_line_23 |  | 22 | 23 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6177-1_1_4_line_24 |  | 23 | 33 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6177-1_1_4_line_25 |  | 24 | 25 | 0.051098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6177-1_1_4_line_26 |  | 24 | 26 | 0.28194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_6177-1_1_4_line_27 |  | 25 | 41 | 0.010079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6177-1_1_4_line_28 |  | 26 | 69 | 0.0059811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6177-1_1_4_line_29 |  | 26 | 63 | 0.0064305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6177-1_1_4_line_30 |  | 27 | 28 | 0.12768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6177-1_1_4_line_31 |  | 28 | 29 | 0.12658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6177-1_1_4_line_32 |  | 29 | 37 | 0.085528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6177-1_1_4_line_33 |  | 30 | 31 | 0.0021577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6177-1_1_4_line_34 |  | 30 | 32 | 0.002213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6177-1_1_4_line_35 |  | 31 | 33 | 0.0053889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6177-1_1_4_line_36 |  | 32 | 34 | 0.14447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6177-1_1_4_line_37 |  | 34 | 35 | 0.077408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6177-1_1_4_line_38 |  | 35 | 36 | 0.11805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6177-1_1_4_line_39 |  | 36 | 37 | 0.10511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6177-1_1_4_line_40 |  | 38 | 39 | 0.016341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6177-1_1_4_line_41 |  | 38 | 40 | 0.018033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6177-1_1_4_line_42 |  | 39 | 41 | 0.0051494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6177-1_1_4_line_43 |  | 40 | 42 | 0.0053817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6177-1_1_4_line_44 |  | 43 | 44 | 0.0020136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6177-1_1_4_line_45 |  | 43 | 45 | 0.010556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6177-1_1_4_line_46 |  | 44 | 46 | 0.01709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6177-1_1_4_line_47 |  | 46 | 47 | 0.0097082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6177-1_1_4_line_48 |  | 47 | 51 | 0.0052861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6177-1_1_4_line_49 |  | 48 | 49 | 0.15343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6177-1_1_4_line_50 |  | 48 | 50 | 0.20284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6177-1_1_4_line_51 |  | 49 | 52 | 0.031867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6177-1_1_4_line_52 |  | 49 | 53 | 0.031086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6177-1_1_4_line_53 |  | 50 | 54 | 0.19124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6177-1_1_4_line_54 |  | 50 | 55 | 0.1455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6177-1_1_4_line_55 |  | 50 | 56 | 0.1499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6177-1_1_4_line_56 |  | 51 | 67 | 0.0075433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6177-1_1_4_line_57 |  | 52 | 70 | 0.0059288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6177-1_1_4_line_58 |  | 54 | 65 | 0.014353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6177-1_1_4_line_59 |  | 55 | 66 | 0.068291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6177-1_1_4_line_60 |  | 56 | 60 | 0.070661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6177-1_1_4_line_61 |  | 56 | 57 | 0.03445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6177-1_1_4_line_62 |  | 57 | 58 | 0.044777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6177-1_1_4_line_63 |  | 58 | 59 | 0.019364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6177-1_1_4_line_64 |  | 59 | 61 | 0.019255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6177-1_1_4_line_65 |  | 60 | 62 | 0.0029426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6177-1_1_4_line_66 |  | 61 | 63 | 0.023075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6177-1_1_4_line_67 |  | 62 | 64 | 0.027592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6177-1_1_4_line_68 |  | 64 | 71 | 0.022885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6177-1_1_4_line_69 |  | 65 | 72 | 0.08337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6177-1_1_4_line_70 |  | 67 | 68 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6177-1_1_4_line_71 |  | 68 | 69 | 0.0006957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6177-1_1_4_line_72 |  | 72 | 73 | 0.06022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6177-1_1_4_line_73 |  | 73 | 74 | 0.050352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6177-1_1_4_line_74 |  | 74 | 75 | 0.016408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6177-1_1_4_line_75 |  | 75 | 76 | 0.0097483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6177-1_1_4_line_76 |  | 76 | 77 | 0.016614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6177-1_1_4_line_77 |  | 77 | 78 | 0.0029222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6177-1_1_4_line_78 |  | 78 | 79 | 0.038413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6177-1_1_4_line_79 |  | 79 | 80 | 0.083778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6177-1_1_4_trafo_63 | 0.63 MVA 20/0.4 kV | 81 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2651118.9019 | 1136038.0007 | 2651118.9019 | 1136038.0007 | 2651119.1942 | 1136039.3666
1 | 2651118.9019 | 1136038.0007 | 2651119.6872 | 1136033.1728
2 | 2650561.2126 | 1135770.8343 | 2650576.1161 | 1135776.9872 | 2650585.5887 | 1135779.7457 | 2650585.5887 | 1135779.7457
3 | 2650549.0814 | 1135763.4317 | 2650557.8113 | 1135769.4301 | 2650561.2126 | 1135770.8343
4 | 2650595.5507 | 1135788.5668 | 2650585.5887 | 1135779.7457
5 | 2650549.0814 | 1135763.4317 | 2650551.9044 | 1135759.8868
6 | 2650595.5507 | 1135788.5668 | 2650603.4091 | 1135795.5253 | 2650607.7006 | 1135801.3198 | 2650609.119 | 1135803.8856
7 | 2650551.9044 | 1135759.8868 | 2650531.4745 | 1135741.6218
8 | 2650551.9044 | 1135759.8868 | 2650557.5085 | 1135756.8766 | 2650562.1347 | 1135753.3662
9 | 2650590.4874 | 1135582.0411 | 2650604.8891 | 1135584.4727
10 | 2650585.3181 | 1135581.1683 | 2650590.4874 | 1135582.0411
11 | 2650604.8891 | 1135584.4727 | 2650605.8918 | 1135584.642
12 | 2650604.8891 | 1135584.4727 | 2650577.8637 | 1135717.1484
13 | 2650572.4942 | 1135579.003 | 2650585.3181 | 1135581.1683
14 | 2650619.7323 | 1135586.9789 | 2650626.1551 | 1135588.0633 | 2650626.8347 | 1135588.1945
15 | 2650619.7323 | 1135586.9789 | 2650605.8918 | 1135584.642
16 | 2650637.9869 | 1135590.3482 | 2650626.8347 | 1135588.1945
17 | 2650562.1347 | 1135753.3662 | 2650574.3303 | 1135744.1118
18 | 2650572.4942 | 1135579.003 | 2650565.3473 | 1135577.7963
19 | 2650637.9869 | 1135590.3482 | 2650644.5094 | 1135591.6078
20 | 2650644.5094 | 1135591.6078 | 2650644.5094 | 1135591.6078 | 2650658.1271 | 1135591.0438 | 2650659.0925 | 1135590.7145
21 | 2650600.0109 | 1135727.1835 | 2650591.402 | 1135731.547 | 2650586.2863 | 1135735.0393 | 2650574.3303 | 1135744.1118
22 | 2650600.0109 | 1135727.1835 | 2650595.2582 | 1135723.1638 | 2650577.8637 | 1135717.1484
23 | 2650552.5262 | 1135575.6316 | 2650565.3473 | 1135577.7963
24 | 2650542.6608 | 1135573.3902 | 2650542.6608 | 1135573.3902 | 2650549.1878 | 1135575.0679 | 2650552.5262 | 1135575.6316
25 | 2650644.8467 | 1135574.3863 | 2650646.2806 | 1135574.9362 | 2650652.9361 | 1135576.8818 | 2650659.6097 | 1135576.671 | 2650666.566 | 1135575.7844 | 2650670.5146 | 1135575.673 | 2650672.4127 | 1135576.9118 | 2650673.0739 | 1135578.8183 | 2650673.1862 | 1135581.9431 | 2650672.7602 | 1135584.1073 | 2650670.8359 | 1135585.9922 | 2650665.5049 | 1135588.5266 | 2650659.0925 | 1135590.7145
26 | 2650659.0925 | 1135590.7145 | 2650929.0575 | 1135672.0122
27 | 2650635.4362 | 1135570.7774 | 2650644.8467 | 1135574.3863
28 | 2650932.4612 | 1135676.8459 | 2650930.5667 | 1135674.6435 | 2650929.0551 | 1135672.2963 | 2650929.0575 | 1135672.0122
29 | 2650929.0575 | 1135672.0122 | 2650929.0657 | 1135671.0401 | 2650929.9796 | 1135669.4359 | 2650931.6616 | 1135666.2393
30 | 2650276.1277 | 1135502.9307 | 2650283.0117 | 1135504.2665 | 2650289.9029 | 1135506.5806 | 2650304.2728 | 1135513.6594 | 2650355.177 | 1135541.4421 | 2650361.6215 | 1135544.7198 | 2650366.4632 | 1135545.4827 | 2650371.3261 | 1135544.6228 | 2650379.263 | 1135540.5757 | 2650391.4031 | 1135534.8924
31 | 2650276.1277 | 1135502.9307 | 2650275.696 | 1135475.2794 | 2650272.748 | 1135458.713 | 2650268.1692 | 1135439.2981 | 2650267.5355 | 1135432.2225 | 2650267.7202 | 1135426.6656 | 2650269.7922 | 1135422.7363 | 2650272.9365 | 1135421.2728 | 2650276.8917 | 1135421.3057 | 2650281.6367 | 1135423.5241 | 2650297.9099 | 1135431.2524 | 2650311.2546 | 1135436.5738
32 | 2650392.6075 | 1135458.3775 | 2650384.8297 | 1135459.9468 | 2650375.5807 | 1135458.9137 | 2650365.7821 | 1135457.3423 | 2650347.995 | 1135451.2243 | 2650311.2546 | 1135436.5738
33 | 2650537.8825 | 1135567.7107 | 2650538.7441 | 1135569.6889
34 | 2650537.8825 | 1135567.7107 | 2650536.9988 | 1135565.6818
35 | 2650538.7441 | 1135569.6889 | 2650538.7441 | 1135569.6889 | 2650542.6608 | 1135573.3902
36 | 2650616.3908 | 1135452.9223 | 2650616.7645 | 1135456.9942 | 2650613.8065 | 1135468.3753 | 2650607.1905 | 1135478.2251 | 2650597.2372 | 1135496.0621 | 2650583.0651 | 1135513.1858 | 2650575.6631 | 1135519.5049 | 2650557.3019 | 1135532.3802 | 2650548.6618 | 1135540.4455 | 2650538.894 | 1135551.7697 | 2650535.1603 | 1135558.3864 | 2650536.0713 | 1135563.5522 | 2650536.9988 | 1135565.6818
37 | 2650616.3908 | 1135452.9223 | 2650613.5522 | 1135450.0414 | 2650609.3331 | 1135450.284 | 2650601.6847 | 1135452.9325 | 2650593.6285 | 1135455.5775 | 2650587.9055 | 1135456.2077 | 2650583.824 | 1135455.6288 | 2650579.7527 | 1135453.8383 | 2650575.1431 | 1135451.0872 | 2650557.6756 | 1135438.9903 | 2650552.1421 | 1135433.5189 | 2650550.4489 | 1135430.0734
38 | 2650550.4489 | 1135430.0734 | 2650549.7284 | 1135428.6073 | 2650548.6843 | 1135423.7071 | 2650550.2384 | 1135416.3941 | 2650555.3513 | 1135407.7546 | 2650558.6774 | 1135401.1234 | 2650559.8055 | 1135395.9746 | 2650559.2918 | 1135392.991 | 2650557.2654 | 1135390.5283 | 2650553.1874 | 1135389.5381 | 2650546.2351 | 1135390.8362 | 2650536.4044 | 1135394.0112 | 2650512.489 | 1135403.8609 | 2650492.127 | 1135412.1062 | 2650486.9119 | 1135414.0165
39 | 2650392.6075 | 1135458.3775 | 2650402.8593 | 1135453.5827 | 2650414.2189 | 1135446.0736 | 2650428.0523 | 1135437.2288 | 2650441.461 | 1135429.47 | 2650454.4518 | 1135422.9194 | 2650476.5575 | 1135417.8124 | 2650480.3476 | 1135416.4211 | 2650486.9119 | 1135414.0165
40 | 2650616.3065 | 1135561.055 | 2650630.655 | 1135568.8756
41 | 2650616.3065 | 1135561.055 | 2650612.1027 | 1135558.7637 | 2650601.1297 | 1135551.3457
42 | 2650635.4362 | 1135570.7774 | 2650631.0773 | 1135569.1058 | 2650630.655 | 1135568.8756
43 | 2650597.3526 | 1135547.5121 | 2650601.1297 | 1135551.3457
44 | 2650938.6241 | 1135720.2019 | 2650938.6241 | 1135720.2019 | 2650936.7681 | 1135719.421
45 | 2650938.6241 | 1135720.2019 | 2650948.3861 | 1135724.2196
46 | 2650924.4217 | 1135709.1923 | 2650925.7492 | 1135713.0118 | 2650927.9734 | 1135715.7209 | 2650936.7681 | 1135719.421
47 | 2650924.4217 | 1135709.1923 | 2650923.9086 | 1135707.7158 | 2650923.6543 | 1135705.9238 | 2650924.4774 | 1135704.1409 | 2650926.4485 | 1135700.2391
48 | 2650926.4485 | 1135700.2391 | 2650928.8321 | 1135695.5209
49 | 2651137.5419 | 1136000.3387 | 2651141.1596 | 1135992.9321 | 2651146.7106 | 1135970.7564 | 2651145.1615 | 1135959.2262 | 2651138.2419 | 1135947.6505 | 2651125.1283 | 1135936.0113 | 2651115.3093 | 1135926.0564 | 2651108.8496 | 1135908.3036 | 2651096.3532 | 1135872.8128 | 2651093.0248 | 1135864.2024
50 | 2651093.0248 | 1135864.2024 | 2651101.1477 | 1135843.6381 | 2651122.0905 | 1135807.6075 | 2651130.5416 | 1135784.6448 | 2651135.6529 | 1135765.3447 | 2651142.0282 | 1135743.9986 | 2651149.1744 | 1135728.84 | 2651160.3859 | 1135720.6974 | 2651171.8351 | 1135685.4092 | 2651176.4402 | 1135685.9151
51 | 2651137.5419 | 1136000.3387 | 2651126.4869 | 1136019.1439 | 2651125.607 | 1136020.3704 | 2651120.639 | 1136027.3209
52 | 2651137.5419 | 1136000.3387 | 2651120.0489 | 1135988.8403 | 2651114.0784 | 1135980.6287
53 | 2651176.4402 | 1135685.9151 | 2651180.0306 | 1135686.3013 | 2651185.3342 | 1135688.8364 | 2651190.626 | 1135691.8495 | 2651195.9033 | 1135696.5744 | 2651202.1049 | 1135703.0192 | 2651209.0768 | 1135711.1825 | 2651218.2087 | 1135722.3324 | 2651221.4586 | 1135726.5732 | 2651227.8378 | 1135730.207 | 2651234.5444 | 1135732.4428 | 2651241.1141 | 1135732.6652 | 2651247.8472 | 1135731.7774 | 2651255.3756 | 1135729.6624 | 2651263.6957 | 1135725.8309 | 2651272.4942 | 1135721.859 | 2651286.3103 | 1135715.1172 | 2651296.1963 | 1135711.766 | 2651303.2474 | 1135710.5808 | 2651315.2974 | 1135709.7493 | 2651324.5179 | 1135710.4502 | 2651335.6172 | 1135711.0114 | 2651342.9534 | 1135713.4083 | 2651344.4429 | 1135714.0406
54 | 2651176.4402 | 1135685.9151 | 2651175.7352 | 1135681.9404 | 2651171.9845 | 1135679.5852 | 2651166.4302 | 1135677.5705 | 2651159.4204 | 1135677.5111 | 2651155.293 | 1135676.9314 | 2651152.2503 | 1135675.4827 | 2651151.376 | 1135673.3186 | 2651150.5166 | 1135668.4755 | 2651150.5546 | 1135663.9957 | 2651149.1399 | 1135661.1267 | 2651145.7507 | 1135657.8741 | 2651109.6657 | 1135633.5673 | 2651101.2457 | 1135630.0943 | 2651094.4388 | 1135627.88 | 2651086.7299 | 1135625.8471 | 2651080.2875 | 1135622.3909 | 2651069.3787 | 1135616.5623 | 2651060.6444 | 1135612.7726
55 | 2651030.1101 | 1135690.3135 | 2651042.5546 | 1135681.9476 | 2651050.621 | 1135678.992 | 2651058.3612 | 1135678.2236 | 2651069.5223 | 1135676.9506 | 2651095.0041 | 1135678.4111 | 2651170.6588 | 1135685.2881 | 2651171.8351 | 1135685.4092 | 2651176.4402 | 1135685.9151
56 | 2650932.2335 | 1135688.788 | 2650928.8321 | 1135695.5209
57 | 2651119.6872 | 1136033.1728 | 2651120.639 | 1136027.3209
58 | 2651344.4429 | 1135714.0406 | 2651349.3404 | 1135716.1195 | 2651357.576 | 1135719.8298
59 | 2651010.658 | 1135651.5377 | 2651038.1044 | 1135617.5542 | 2651042.6314 | 1135613.6571 | 2651047.6835 | 1135611.3652 | 2651053.2437 | 1135611.7791 | 2651059.7104 | 1135612.3673 | 2651060.6444 | 1135612.7726
60 | 2651030.1101 | 1135690.3135 | 2651002.091 | 1135690.4327 | 2650988.1115 | 1135683.7334 | 2650988.2893 | 1135661.7568 | 2650992.8548 | 1135659.3476
61 | 2651030.1101 | 1135690.3135 | 2651019.148 | 1135692.6333 | 2651010.7914 | 1135694.4082 | 2650996.0984 | 1135694.9205
62 | 2650996.0984 | 1135694.9205 | 2650987.6914 | 1135695.2137 | 2650973.6625 | 1135690.7263 | 2650963.4046 | 1135685.2814 | 2650956.0667 | 1135678.4549
63 | 2650944.0999 | 1135663.4597 | 2650947.423 | 1135669.6163 | 2650953.4559 | 1135676.0261 | 2650956.0667 | 1135678.4549
64 | 2650940.068 | 1135644.797 | 2650942.4981 | 1135660.4923 | 2650944.0999 | 1135663.4597
65 | 2650995.4572 | 1135657.9743 | 2650992.8548 | 1135659.3476
66 | 2650940.068 | 1135644.797 | 2650935.9444 | 1135654.7118 | 2650933.2642 | 1135663.1936 | 2650931.6616 | 1135666.2393
67 | 2650995.4572 | 1135657.9743 | 2651000.0461 | 1135655.5528 | 2650990.6238 | 1135639.5427 | 2650990.7326 | 1135635.7181
68 | 2650990.7326 | 1135635.7181 | 2650990.8973 | 1135629.9289 | 2650999.1123 | 1135614.939
69 | 2651357.576 | 1135719.8298 | 2651361.3374 | 1135721.5243 | 2651372.7191 | 1135725.9789 | 2651384.1099 | 1135729.3553 | 2651393.6313 | 1135731.7708 | 2651404.4215 | 1135732.4852 | 2651438.8786 | 1135734.2969
70 | 2650932.2335 | 1135688.788 | 2650934.4317 | 1135684.4368 | 2650935.5401 | 1135681.6669 | 2650935.4569 | 1135680.5879 | 2650934.8341 | 1135679.6043 | 2650932.9149 | 1135677.3733
71 | 2650932.9149 | 1135677.3733 | 2650932.4612 | 1135676.8459
72 | 2651438.8786 | 1135734.2969 | 2651478.8462 | 1135736.3984 | 2651495.4229 | 1135736.2284 | 2651499.0411 | 1135736.31
73 | 2651499.0411 | 1135736.31 | 2651506.5326 | 1135736.4788 | 2651510.594 | 1135736.6691 | 2651516.5286 | 1135738.276 | 2651520.8828 | 1135741.1257 | 2651526.4743 | 1135745.0644 | 2651533.1525 | 1135751.5135 | 2651539.3626 | 1135760.9747
74 | 2651548.366 | 1135774.6916 | 2651539.3626 | 1135760.9747
75 | 2651548.366 | 1135774.6916 | 2651548.8998 | 1135775.5048 | 2651552.9225 | 1135780.2194 | 2651555.0345 | 1135781.6978
76 | 2651568.3295 | 1135791.6465 | 2651561.9411 | 1135786.5329 | 2651555.0345 | 1135781.6978
77 | 2651568.3295 | 1135791.6465 | 2651570.6109 | 1135793.4726
78 | 2651601.9371 | 1135815.7006 | 2651594.5852 | 1135810.6685 | 2651570.7992 | 1135793.6233 | 2651570.6109 | 1135793.4726
79 | 2651601.9371 | 1135815.7006 | 2651571.6595 | 1135840.6663 | 2651553.798 | 1135853.465 | 2651539.4063 | 1135870.8403

## bus_geodata
| x | y | coords
0 | 2651119.1942 | 1136039.3666
1 | 2651118.9019 | 1136038.0007
2 | 2650561.2126 | 1135770.8343
3 | 2650585.5887 | 1135779.7457
4 | 2650549.0814 | 1135763.4317
5 | 2650595.5507 | 1135788.5668
6 | 2650551.9044 | 1135759.8868
7 | 2650590.4874 | 1135582.0411
8 | 2650604.8891 | 1135584.4727
9 | 2650585.3181 | 1135581.1683
10 | 2650609.119 | 1135803.8856
11 | 2650619.7323 | 1135586.9789
12 | 2650626.8347 | 1135588.1945
13 | 2650605.8918 | 1135584.642
14 | 2650531.4745 | 1135741.6218
15 | 2650562.1347 | 1135753.3662
16 | 2650572.4942 | 1135579.003
17 | 2650637.9869 | 1135590.3482
18 | 2650644.5094 | 1135591.6078
19 | 2650574.3303 | 1135744.1118
20 | 2650600.0109 | 1135727.1835
21 | 2650577.8637 | 1135717.1484
22 | 2650565.3473 | 1135577.7963
23 | 2650552.5262 | 1135575.6316
24 | 2650659.0925 | 1135590.7145
25 | 2650644.8467 | 1135574.3863
26 | 2650929.0575 | 1135672.0122
27 | 2650391.4031 | 1135534.8924
28 | 2650276.1277 | 1135502.9307
29 | 2650311.2546 | 1135436.5738
30 | 2650537.8825 | 1135567.7107
31 | 2650538.7441 | 1135569.6889
32 | 2650536.9988 | 1135565.6818
33 | 2650542.6608 | 1135573.3902
34 | 2650616.3908 | 1135452.9223
35 | 2650550.4489 | 1135430.0734
36 | 2650486.9119 | 1135414.0165
37 | 2650392.6075 | 1135458.3775
38 | 2650616.3065 | 1135561.055
39 | 2650630.655 | 1135568.8756
40 | 2650601.1297 | 1135551.3457
41 | 2650635.4362 | 1135570.7774
42 | 2650597.3526 | 1135547.5121
43 | 2650938.6241 | 1135720.2019
44 | 2650936.7681 | 1135719.421
45 | 2650948.3861 | 1135724.2196
46 | 2650924.4217 | 1135709.1923
47 | 2650926.4485 | 1135700.2391
48 | 2651093.0248 | 1135864.2024
49 | 2651137.5419 | 1136000.3387
50 | 2651176.4402 | 1135685.9151
51 | 2650928.8321 | 1135695.5209
52 | 2651120.639 | 1136027.3209
53 | 2651114.0784 | 1135980.6287
54 | 2651344.4429 | 1135714.0406
55 | 2651060.6444 | 1135612.7726
56 | 2651030.1101 | 1135690.3135
57 | 2650996.0984 | 1135694.9205
58 | 2650956.0667 | 1135678.4549
59 | 2650944.0999 | 1135663.4597
60 | 2650992.8548 | 1135659.3476
61 | 2650940.068 | 1135644.7969
62 | 2650995.4572 | 1135657.9743
63 | 2650931.6616 | 1135666.2393
64 | 2650990.7326 | 1135635.7181
65 | 2651357.576 | 1135719.8298
66 | 2651010.658 | 1135651.5377
67 | 2650932.2335 | 1135688.788
68 | 2650932.9149 | 1135677.3733
69 | 2650932.4612 | 1135676.8459
70 | 2651119.6872 | 1136033.1728
71 | 2650999.1123 | 1135614.939
72 | 2651438.8786 | 1135734.2969
73 | 2651499.0411 | 1135736.31
74 | 2651539.3626 | 1135760.9747
75 | 2651548.366 | 1135774.6916
76 | 2651555.0345 | 1135781.6978
77 | 2651568.3295 | 1135791.6465
78 | 2651570.6109 | 1135793.4726
79 | 2651601.9371 | 1135815.7006
80 | 2651539.4063 | 1135870.8403
81 | 2650599.4714 | 1135538.0249

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1