## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6177-3_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6177-3_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6177-3_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6177-3_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6177-3_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6177-3_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6177-3_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6177-3_0_7_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_6177-3_0_7_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_6177-3_0_7_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_6177-3_0_7_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_6177-3_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_6177-3_0_7_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_6177-3_0_7_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6177-3_0_7_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_6177-3_0_7_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_6177-3_0_7_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6177-3_0_7_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6177-3_0_7_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_6177-3_0_7_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6177-3_0_7_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_6177-3_0_7_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_6177-3_0_7_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_6177-3_0_7_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_6177-3_0_7_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_6177-3_0_7_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_6177-3_0_7_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_6177-3_0_7_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_6177-3_0_7_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_6177-3_0_7_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_6177-3_0_7_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_6177-3_0_7_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_6177-3_0_7_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_6177-3_0_7_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_6177-3_0_7_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6177-3_0_7_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_6177-3_0_7_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_6177-3_0_7_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_6177-3_0_7_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_6177-3_0_7_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_6177-3_0_7_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_6177-3_0_7_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_6177-3_0_7_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_6177-3_0_7_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_6177-3_0_7_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_6177-3_0_7_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_6177-3_0_7_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_6177-3_0_7_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_6177-3_0_7_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_6177-3_0_7_node_63 | 0.4 | n |  | TRUE
50 | bus_LV_6177-3_0_7_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_6177-3_0_7_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_6177-3_0_7_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_6177-3_0_7_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_6177-3_0_7_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_6177-3_0_7_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_6177-3_0_7_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6177-3_0_7_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_6177-3_0_7_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_6177-3_0_7_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_6177-3_0_7_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_6177-3_0_7_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_6177-3_0_7_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_6177-3_0_7_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_6177-3_0_7_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_6177-3_0_7_node_82 | 0.4 | n |  | TRUE
66 | bus_LV_6177-3_0_7_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6177-3_0_7_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_6177-3_0_7_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_6177-3_0_7_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_6177-3_0_7_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_6177-3_0_7_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_6177-3_0_7_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_6177-3_0_7_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6177-3_0_7_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_6177-3_0_7_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_6177-3_0_7_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_6177-3_0_7_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_6177-3_0_7_node_88 | 0.4 | n |  | TRUE
79 | bus_LV_6177-3_0_7_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_6177-3_0_7_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_6177-3_0_7_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_6177-3_0_7_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_6177-3_0_7_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_6177-3_0_7_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_6177-3_0_7_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_6177-3_0_7_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_6177-3_0_7_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_6177-3_0_7_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_6177-3_0_7_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_6177-3_0_7_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_6177-3_0_7_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_87_1_node_223 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6177-3_0_7_load_0 | 0 | 0.0077688 | 0.0019471 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6177-3_0_7_load_1 | 1 | 0.0037878 | 0.00094932 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6177-3_0_7_load_2 | 2 | 0.0054469 | 0.0013651 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6177-3_0_7_load_4 | 4 | 0.010327 | 0.0025882 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6177-3_0_7_load_5 | 5 | 0.0057488 | 0.0014408 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6177-3_0_7_load_6 | 6 | 0.0085887 | 0.0021525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6177-3_0_7_load_13 | 7 | 0.0077314 | 0.0019377 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6177-3_0_7_load_11 | 8 | 0.0051927 | 0.0013014 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6177-3_0_7_load_7 | 9 | 0.0027453 | 0.00068803 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6177-3_0_7_load_8 | 10 | 0.0068836 | 0.0017252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6177-3_0_7_load_10 | 12 | 0.014546 | 0.0036455 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6177-3_0_7_load_12 | 13 | 0.0035998 | 0.00090219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6177-3_0_7_load_28 | 14 | 0.0027538 | 0.00069015 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6177-3_0_7_load_27 | 15 | 0.008338 | 0.0020897 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6177-3_0_7_load_14 | 16 | 0.0098032 | 0.0024569 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6177-3_0_7_load_15 | 17 | 0.014517 | 0.0036384 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6177-3_0_7_load_16 | 18 | 0.019359 | 0.0048518 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6177-3_0_7_load_17 | 19 | 0.0087552 | 0.0021943 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6177-3_0_7_load_40 | 21 | 0.0026148 | 0.00065532 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6177-3_0_7_load_18 | 23 | 0.0066765 | 0.0016733 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6177-3_0_7_load_19 | 24 | 0.0064285 | 0.0016111 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6177-3_0_7_load_21 | 26 | 0.0051377 | 0.0012876 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6177-3_0_7_load_22 | 27 | 0.0054916 | 0.0013763 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6177-3_0_7_load_23 | 28 | 0.0066318 | 0.0016621 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6177-3_0_7_load_24 | 29 | 0.0071288 | 0.0017866 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6177-3_0_7_load_32 | 30 | 0.003196 | 0.000801 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6177-3_0_7_load_25 | 31 | 0.0060845 | 0.0015249 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6177-3_0_7_load_26 | 32 | 0.0025032 | 0.00062735 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6177-3_0_7_load_29 | 33 | 0.0051058 | 0.0012796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6177-3_0_7_load_30 | 34 | 0.0042069 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6177-3_0_7_load_31 | 35 | 0.006818 | 0.0017088 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6177-3_0_7_load_35 | 36 | 0.0029427 | 0.0007375 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6177-3_0_7_load_36 | 37 | 0.0078392 | 0.0019647 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6177-3_0_7_load_37 | 38 | 0.0067375 | 0.0016886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6177-3_0_7_load_42 | 40 | 0.0075856 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6177-3_0_7_load_38 | 41 | 0.006426 | 0.0016105 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6177-3_0_7_load_44 | 42 | 0.0050673 | 0.00127 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6177-3_0_7_load_45 | 43 | 0.0035843 | 0.00089831 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6177-3_0_7_load_39 | 44 | 0.007057 | 0.0017686 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6177-3_0_7_load_58 | 45 | 0.0041904 | 0.0010502 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6177-3_0_7_load_59 | 46 | 0.0020572 | 0.00051559 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6177-3_0_7_load_41 | 47 | 0.0067281 | 0.0016862 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6177-3_0_7_load_51 | 48 | 0.0053161 | 0.0013324 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6177-3_0_7_load_63 | 49 | 0.0025114 | 0.00062941 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6177-3_0_7_load_50 | 50 | 0.005947 | 0.0014905 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6177-3_0_7_load_64 | 51 | 0.013566 | 0.0033999 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6177-3_0_7_load_46 | 52 | 0.025915 | 0.0064949 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6177-3_0_7_load_47 | 53 | 0.007534 | 0.0018882 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6177-3_0_7_load_48 | 54 | 0.005519 | 0.0013832 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6177-3_0_7_load_55 | 56 | 0.011785 | 0.0029536 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6177-3_0_7_load_52 | 57 | 0.01594 | 0.0039949 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6177-3_0_7_load_56 | 58 | 0.0057501 | 0.0014411 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6177-3_0_7_load_53 | 59 | 0.010946 | 0.0027434 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6177-3_0_7_load_54 | 60 | 0.0042306 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6177-3_0_7_load_86 | 61 | 0.0095567 | 0.0023951 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6177-3_0_7_load_89 | 62 | 0.0015503 | 0.00038855 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6177-3_0_7_load_57 | 63 | 0.0074479 | 0.0018666 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6177-3_0_7_load_87 | 64 | 0.0024034 | 0.00060235 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6177-3_0_7_load_60 | 66 | 0.002183 | 0.00054711 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6177-3_0_7_load_61 | 67 | 0.0047627 | 0.0011937 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6177-3_0_7_load_62 | 68 | 0.002848 | 0.00071379 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6177-3_0_7_load_69 | 70 | 0.0065577 | 0.0016435 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6177-3_0_7_load_67 | 71 | 0.0080601 | 0.0020201 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6177-3_0_7_load_65 | 72 | 0.0086573 | 0.0021697 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6177-3_0_7_load_66 | 73 | 0.0076183 | 0.0019093 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6177-3_0_7_load_70 | 74 | 0.0051117 | 0.0012811 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6177-3_0_7_load_71 | 75 | 0.0060421 | 0.0015143 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6177-3_0_7_load_72 | 76 | 0.0054681 | 0.0013704 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6177-3_0_7_load_73 | 77 | 0.0036763 | 0.00092137 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6177-3_0_7_load_88 | 78 | 0.0020616 | 0.00051669 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6177-3_0_7_load_74 | 79 | 0.015086 | 0.0037808 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6177-3_0_7_load_75 | 80 | 0.0081394 | 0.0020399 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6177-3_0_7_load_76 | 81 | 0.0070048 | 0.0017556 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6177-3_0_7_load_77 | 82 | 0.0083159 | 0.0020842 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6177-3_0_7_load_78 | 83 | 0.0078198 | 0.0019598 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6177-3_0_7_load_79 | 84 | 0.0060685 | 0.0015209 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6177-3_0_7_load_80 | 85 | 0.0053589 | 0.0013431 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6177-3_0_7_load_81 | 86 | 0.002269 | 0.00056867 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6177-3_0_7_load_84 | 88 | 0.0036562 | 0.00091633 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6177-3_0_7_load_83 | 89 | 0.001726 | 0.00043258 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6177-3_0_7_load_91 | 91 | 0.013183 | 0.003304 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6177-3_0_7_line_0 |  | 0 | 1 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6177-3_0_7_line_1 |  | 1 | 2 | 0.029014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6177-3_0_7_line_2 |  | 2 | 3 | 0.0099078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6177-3_0_7_line_3 |  | 3 | 4 | 0.002819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6177-3_0_7_line_4 |  | 4 | 5 | 0.014325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6177-3_0_7_line_5 |  | 5 | 6 | 0.0025046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6177-3_0_7_line_6 |  | 6 | 7 | 0.00075912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6177-3_0_7_line_7 |  | 7 | 8 | 0.018079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6177-3_0_7_line_8 |  | 8 | 11 | 0.0065023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6177-3_0_7_line_9 |  | 9 | 10 | 0.013092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6177-3_0_7_line_10 |  | 9 | 11 | 0.039664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6177-3_0_7_line_11 |  | 10 | 12 | 0.0065341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6177-3_0_7_line_12 |  | 11 | 13 | 0.022591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6177-3_0_7_line_13 |  | 13 | 14 | 0.0078351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6177-3_0_7_line_14 |  | 14 | 15 | 0.001313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6177-3_0_7_line_15 |  | 15 | 26 | 0.0079347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6177-3_0_7_line_16 |  | 16 | 17 | 0.0084695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6177-3_0_7_line_17 |  | 16 | 18 | 0.072966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6177-3_0_7_line_18 |  | 17 | 19 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6177-3_0_7_line_19 |  | 19 | 20 | 0.015605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6177-3_0_7_line_20 |  | 20 | 21 | 0.037083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6177-3_0_7_line_21 |  | 20 | 22 | 0.051529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6177-3_0_7_line_22 |  | 21 | 40 | 0.035246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6177-3_0_7_line_23 |  | 22 | 36 | 0.0070292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6177-3_0_7_line_24 |  | 22 | 37 | 0.010982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_6177-3_0_7_line_25 |  | 22 | 30 | 0.012588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6177-3_0_7_line_26 |  | 23 | 24 | 0.0044048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6177-3_0_7_line_27 |  | 23 | 25 | 0.0056553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6177-3_0_7_line_28 |  | 24 | 26 | 0.0068171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6177-3_0_7_line_29 |  | 25 | 27 | 0.0078676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6177-3_0_7_line_30 |  | 25 | 28 | 0.012293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_6177-3_0_7_line_31 |  | 27 | 29 | 0.002176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6177-3_0_7_line_32 |  | 28 | 30 | 0.0069938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6177-3_0_7_line_33 |  | 29 | 31 | 0.0020641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6177-3_0_7_line_34 |  | 31 | 32 | 0.010047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6177-3_0_7_line_35 |  | 32 | 33 | 0.00065808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6177-3_0_7_line_36 |  | 33 | 34 | 0.020332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6177-3_0_7_line_37 |  | 34 | 35 | 0.0081195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6177-3_0_7_line_38 |  | 36 | 38 | 0.0086424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6177-3_0_7_line_39 |  | 37 | 39 | 0.0031514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6177-3_0_7_line_40 |  | 38 | 41 | 0.0046357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6177-3_0_7_line_41 |  | 39 | 42 | 0.0091786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6177-3_0_7_line_42 |  | 39 | 43 | 0.020515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6177-3_0_7_line_43 |  | 40 | 47 | 0.013148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6177-3_0_7_line_44 |  | 41 | 44 | 0.0070042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6177-3_0_7_line_45 |  | 42 | 48 | 0.0037158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6177-3_0_7_line_46 |  | 43 | 49 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6177-3_0_7_line_47 |  | 44 | 45 | 0.019676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6177-3_0_7_line_48 |  | 45 | 46 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6177-3_0_7_line_49 |  | 46 | 66 | 0.019179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6177-3_0_7_line_50 |  | 48 | 50 | 0.012818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6177-3_0_7_line_51 |  | 49 | 51 | 0.0056226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6177-3_0_7_line_52 |  | 50 | 54 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6177-3_0_7_line_53 |  | 52 | 53 | 0.01408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6177-3_0_7_line_54 |  | 52 | 54 | 0.0010939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6177-3_0_7_line_55 |  | 53 | 55 | 0.0054651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6177-3_0_7_line_56 |  | 55 | 56 | 0.035581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6177-3_0_7_line_57 |  | 55 | 57 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6177-3_0_7_line_58 |  | 56 | 58 | 0.042905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6177-3_0_7_line_59 |  | 57 | 59 | 0.015553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6177-3_0_7_line_60 |  | 58 | 63 | 0.049802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6177-3_0_7_line_61 |  | 59 | 60 | 0.015308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6177-3_0_7_line_62 |  | 60 | 61 | 0.088736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6177-3_0_7_line_63 |  | 61 | 62 | 0.30138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6177-3_0_7_line_64 |  | 62 | 90 | 0.0029694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6177-3_0_7_line_65 |  | 63 | 64 | 0.0058349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6177-3_0_7_line_66 |  | 64 | 65 | 0.037267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6177-3_0_7_line_67 |  | 65 | 87 | 0.032372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6177-3_0_7_line_68 |  | 65 | 86 | 0.02181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6177-3_0_7_line_69 |  | 66 | 67 | 0.020401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6177-3_0_7_line_70 |  | 67 | 68 | 0.015351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6177-3_0_7_line_71 |  | 68 | 69 | 0.010356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6177-3_0_7_line_72 |  | 69 | 70 | 0.0098801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6177-3_0_7_line_73 |  | 69 | 71 | 0.017997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6177-3_0_7_line_74 |  | 70 | 74 | 0.0059463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6177-3_0_7_line_75 |  | 71 | 73 | 0.029545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6177-3_0_7_line_76 |  | 72 | 73 | 0.021966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6177-3_0_7_line_77 |  | 74 | 75 | 0.031605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6177-3_0_7_line_78 |  | 75 | 76 | 0.078079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6177-3_0_7_line_79 |  | 76 | 77 | 0.010289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6177-3_0_7_line_80 |  | 77 | 78 | 0.04647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6177-3_0_7_line_81 |  | 79 | 80 | 0.058055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6177-3_0_7_line_82 |  | 80 | 81 | 0.041539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6177-3_0_7_line_83 |  | 81 | 82 | 0.022736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6177-3_0_7_line_84 |  | 82 | 83 | 0.0025747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6177-3_0_7_line_85 |  | 83 | 84 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6177-3_0_7_line_86 |  | 84 | 85 | 0.0018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6177-3_0_7_line_87 |  | 85 | 86 | 0.016329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6177-3_0_7_line_88 |  | 87 | 88 | 0.046193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6177-3_0_7_line_89 |  | 88 | 89 | 0.017329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6177-3_0_7_line_90 |  | 90 | 91 | 0.0065748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6177-3_0_7_trafo_43 | 0.63 MVA 20/0.4 kV | 92 | 39 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2650405.4859 | 1136004.2134 | 2650400.2561 | 1136000.8013 | 2650393.5853 | 1135997.7357
1 | 2650393.5853 | 1135997.7357 | 2650375.175 | 1135989.2751 | 2650369.0188 | 1135984.6992 | 2650368.0723 | 1135984.1746
2 | 2650359.4063 | 1135979.3719 | 2650368.0723 | 1135984.1746
3 | 2650359.4063 | 1135979.3719 | 2650359.7587 | 1135976.575
4 | 2650359.7587 | 1135976.575 | 2650361.5496 | 1135962.3619
5 | 2650361.5496 | 1135962.3619 | 2650361.8627 | 1135959.877
6 | 2650361.9576 | 1135959.1238 | 2650361.8627 | 1135959.877
7 | 2650368.3405 | 1135942.5876 | 2650367.5206 | 1135944.7437 | 2650362.8094 | 1135952.364 | 2650361.9576 | 1135959.1238
8 | 2650370.6518 | 1135936.51 | 2650368.3405 | 1135942.5876
9 | 2650386.4118 | 1135965.579 | 2650399.5002 | 1135965.2727
10 | 2650370.6518 | 1135936.51 | 2650377.4345 | 1135941.6247 | 2650377.0769 | 1135947.5915 | 2650378.6896 | 1135964.5805 | 2650380.119 | 1135965.7263 | 2650386.4118 | 1135965.579
11 | 2650406.0325 | 1135965.1198 | 2650399.5002 | 1135965.2727
12 | 2650370.6518 | 1135936.51 | 2650372.2253 | 1135932.3654 | 2650373.4385 | 1135925.294 | 2650371.4076 | 1135920.6191 | 2650369.4623 | 1135915.8226 | 2650368.8469 | 1135915.4683
13 | 2650368.8469 | 1135915.4683 | 2650362.0569 | 1135911.5587 | 2650362.0569 | 1135911.5587
14 | 2650360.7864 | 1135911.2275 | 2650362.0569 | 1135911.5587
15 | 2650360.7864 | 1135911.2275 | 2650355.4921 | 1135909.8475 | 2650353.1857 | 1135908.9819
16 | 2650409.8396 | 1135911.8284 | 2650412.6945 | 1135916.4501 | 2650414.2023 | 1135919.0866
17 | 2650447.4978 | 1135983.7371 | 2650438.7181 | 1135960.7458 | 2650433.1407 | 1135950.4494 | 2650421.97 | 1135932.6692 | 2650414.2023 | 1135919.0866
18 | 2650401.9841 | 1135899.3782 | 2650404.5632 | 1135903.2865 | 2650409.8396 | 1135911.8284
19 | 2650391.2538 | 1135888.1899 | 2650399.5175 | 1135895.6404 | 2650401.9841 | 1135899.3782
20 | 2650391.2538 | 1135888.1899 | 2650389.7002 | 1135881.6402 | 2650388.3484 | 1135878.5718 | 2650385.0008 | 1135875.8424 | 2650373.379 | 1135870.5984 | 2650371.1383 | 1135867.089 | 2650371.1675 | 1135863.5874 | 2650372.7355 | 1135861.9552
21 | 2650391.2538 | 1135888.1899 | 2650383.265 | 1135883.7543 | 2650371.1416 | 1135879.6178 | 2650342.7512 | 1135870.8433
22 | 2650402.6189 | 1135879.1503 | 2650399.5466 | 1135876.4752 | 2650376.5545 | 1135861.6758 | 2650372.7355 | 1135861.9552 | 2650372.7355 | 1135861.9552
23 | 2650342.7512 | 1135870.8433 | 2650335.81 | 1135869.7344
24 | 2650342.7512 | 1135870.8433 | 2650346.5143 | 1135860.5263
25 | 2650342.7512 | 1135870.8433 | 2650340.1519 | 1135883.1598
26 | 2650346.8034 | 1135906.5863 | 2650342.6795 | 1135905.0384
27 | 2650337.8723 | 1135902.2746 | 2650339.5289 | 1135903.8559 | 2650342.6795 | 1135905.0384
28 | 2650346.8034 | 1135906.5863 | 2650353.1857 | 1135908.9819
29 | 2650337.8723 | 1135902.2746 | 2650331.8405 | 1135902.1577 | 2650330.1128 | 1135901.5406
30 | 2650337.8723 | 1135902.2746 | 2650337.7793 | 1135899.5836 | 2650339.1469 | 1135890.0808
31 | 2650328.0635 | 1135900.8087 | 2650330.1128 | 1135901.5406
32 | 2650340.1519 | 1135883.1598 | 2650340.1235 | 1135883.2946 | 2650339.1469 | 1135890.0808
33 | 2650328.0635 | 1135900.8087 | 2650326.1197 | 1135900.1144
34 | 2650326.1197 | 1135900.1144 | 2650316.6581 | 1135896.7352
35 | 2650316.0384 | 1135896.5138 | 2650316.6581 | 1135896.7352
36 | 2650316.0384 | 1135896.5138 | 2650313.4199 | 1135895.5786 | 2650300.7272 | 1135896.0399 | 2650295.9646 | 1135895.1234
37 | 2650287.9914 | 1135893.5889 | 2650295.9646 | 1135895.1234
38 | 2650327.2758 | 1135868.371 | 2650335.81 | 1135869.7344
39 | 2650347.5942 | 1135857.5657 | 2650346.5143 | 1135860.5263
40 | 2650327.2758 | 1135868.371 | 2650324.1773 | 1135867.876 | 2650322.7461 | 1135867.4339
41 | 2650347.5942 | 1135857.5657 | 2650350.7416 | 1135848.9436
42 | 2650347.5942 | 1135857.5657 | 2650329.4661 | 1135847.9611
43 | 2650411.3101 | 1135888.713 | 2650409.6918 | 1135885.3088 | 2650402.6189 | 1135879.1503
44 | 2650316.0538 | 1135865.3668 | 2650322.7461 | 1135867.4339
45 | 2650352.0158 | 1135845.453 | 2650350.7416 | 1135848.9436
46 | 2650313.8168 | 1135842.3765 | 2650319.7799 | 1135845.2054 | 2650329.4527 | 1135847.954 | 2650329.4661 | 1135847.9611
47 | 2650297.2059 | 1135859.7244 | 2650302.7635 | 1135861.261 | 2650306.793 | 1135862.5063 | 2650316.0538 | 1135865.3668
48 | 2650297.2059 | 1135859.7244 | 2650280.7167 | 1135855.1655
49 | 2650261.9623 | 1135851.6034 | 2650270.02 | 1135852.2061 | 2650276.4382 | 1135853.9826 | 2650280.7167 | 1135855.1655
50 | 2650352.0158 | 1135845.453 | 2650355.8234 | 1135835.0225 | 2650356.2303 | 1135833.3568
51 | 2650309.6157 | 1135838.6396 | 2650313.8168 | 1135842.3765
52 | 2650356.2303 | 1135833.3568 | 2650359.8238 | 1135818.6492
53 | 2650360.0834 | 1135817.5866 | 2650363.4252 | 1135803.9088
54 | 2650360.0834 | 1135817.5866 | 2650359.8238 | 1135818.6492
55 | 2650364.7223 | 1135798.5999 | 2650363.4252 | 1135803.9088
56 | 2650364.7223 | 1135798.5999 | 2650389.7328 | 1135790.0928 | 2650394.6022 | 1135788.4326 | 2650398.4644 | 1135787.3231
57 | 2650364.7223 | 1135798.5999 | 2650364.2818 | 1135784.2984
58 | 2650398.4644 | 1135787.3231 | 2650410.5846 | 1135783.8412 | 2650439.7022 | 1135775.4794
59 | 2650364.2818 | 1135784.2984 | 2650363.803 | 1135768.753
60 | 2650487.5589 | 1135780.9364 | 2650472.1172 | 1135774.272 | 2650456.447 | 1135771.8732 | 2650440.5286 | 1135775.2421 | 2650439.7022 | 1135775.4794
61 | 2650363.803 | 1135768.753 | 2650363.602 | 1135762.2272 | 2650362.9065 | 1135753.4752
62 | 2650362.9065 | 1135753.4752 | 2650396.12 | 1135671.1896
63 | 2650396.12 | 1135671.1896 | 2650140.2685 | 1135511.9121
64 | 2650137.3643 | 1135511.2936 | 2650140.2685 | 1135511.9121
65 | 2650492.9161 | 1135783.2485 | 2650487.5589 | 1135780.9364
66 | 2650529.5319 | 1135783.2341 | 2650511.2287 | 1135786.5273 | 2650494.943 | 1135784.1233 | 2650492.9161 | 1135783.2485
67 | 2650529.5319 | 1135783.2341 | 2650541.3388 | 1135771.8825 | 2650549.0814 | 1135763.4317 | 2650551.9044 | 1135759.8868
68 | 2650529.5319 | 1135783.2341 | 2650528.3259 | 1135786.6703 | 2650523.7917 | 1135804.2641
69 | 2650261.9623 | 1135851.6034 | 2650241.6185 | 1135850.0818
70 | 2650227.4433 | 1135844.5457 | 2650233.8085 | 1135847.4692 | 2650239.0824 | 1135849.8921 | 2650241.6185 | 1135850.0818
71 | 2650218.0325 | 1135840.2232 | 2650227.4433 | 1135844.5457
72 | 2650218.0325 | 1135840.2232 | 2650209.7769 | 1135834.7955
73 | 2650218.0325 | 1135840.2232 | 2650214.2657 | 1135849.9526 | 2650210.6389 | 1135853.9578 | 2650208.7136 | 1135854.9373
74 | 2650209.7769 | 1135834.7955 | 2650204.8082 | 1135831.5288
75 | 2650196.6912 | 1135880.7823 | 2650199.09 | 1135871.4043 | 2650203.23 | 1135859.3547 | 2650206.4892 | 1135856.0689 | 2650208.7136 | 1135854.9373
76 | 2650191.2477 | 1135902.0635 | 2650196.6912 | 1135880.7823
77 | 2650176.9608 | 1135817.8745 | 2650183.6195 | 1135819.0486 | 2650190.4189 | 1135821.2618 | 2650196.4889 | 1135826.0591 | 2650204.8082 | 1135831.5288
78 | 2650176.9608 | 1135817.8745 | 2650157.0876 | 1135814.3704 | 2650145.1937 | 1135814.9831 | 2650124.4364 | 1135819.1687 | 2650104.7702 | 1135820.762 | 2650099.6934 | 1135820.4937
79 | 2650089.5579 | 1135819.0235 | 2650094.2942 | 1135820.2082 | 2650099.6934 | 1135820.4937
80 | 2650089.5579 | 1135819.0235 | 2650084.5495 | 1135817.7707 | 2650060.8564 | 1135806.6575 | 2650046.3328 | 1135802.3905 | 2650046.3328 | 1135802.3905
81 | 2650512.1319 | 1135946.4842 | 2650509.3402 | 1135943.3598 | 2650499.9049 | 1135930.6522 | 2650495.7679 | 1135920.1788 | 2650490.7392 | 1135905.0067 | 2650489.6187 | 1135894.2723
82 | 2650489.6187 | 1135894.2723 | 2650489.1433 | 1135889.7187 | 2650492.8798 | 1135873.5304 | 2650497.8537 | 1135858.453 | 2650499.9329 | 1135854.4957
83 | 2650511.4062 | 1135834.8837 | 2650503.8902 | 1135846.9641 | 2650499.9329 | 1135854.4957
84 | 2650511.4062 | 1135834.8837 | 2650512.7664 | 1135832.6975 | 2650512.7664 | 1135832.6975
85 | 2650512.7664 | 1135832.6975 | 2650517.7624 | 1135821.3351
86 | 2650517.7624 | 1135821.3351 | 2650518.4869 | 1135819.6874
87 | 2650518.4869 | 1135819.6874 | 2650518.5083 | 1135819.6387 | 2650522.6712 | 1135808.6122 | 2650523.7917 | 1135804.2641
88 | 2650551.9044 | 1135759.8868 | 2650520.6499 | 1135731.9443 | 2650517.7074 | 1135728.8517
89 | 2650505.7626 | 1135716.2972 | 2650517.7074 | 1135728.8517
90 | 2650137.3643 | 1135511.2936 | 2650131.4942 | 1135508.3323

## bus_geodata
| x | y | coords
0 | 2650405.4859 | 1136004.2134
1 | 2650393.5853 | 1135997.7357
2 | 2650368.0723 | 1135984.1746
3 | 2650359.4063 | 1135979.3719
4 | 2650359.7587 | 1135976.575
5 | 2650361.5496 | 1135962.3619
6 | 2650361.8627 | 1135959.877
7 | 2650361.9576 | 1135959.1238
8 | 2650368.3405 | 1135942.5876
9 | 2650386.4118 | 1135965.579
10 | 2650399.5002 | 1135965.2727
11 | 2650370.6518 | 1135936.51
12 | 2650406.0325 | 1135965.1198
13 | 2650368.8469 | 1135915.4683
14 | 2650362.0569 | 1135911.5587
15 | 2650360.7864 | 1135911.2275
16 | 2650414.2023 | 1135919.0866
17 | 2650409.8396 | 1135911.8284
18 | 2650447.4978 | 1135983.7371
19 | 2650401.9841 | 1135899.3782
20 | 2650391.2538 | 1135888.1899
21 | 2650372.7355 | 1135861.9552
22 | 2650342.7512 | 1135870.8433
23 | 2650342.6795 | 1135905.0384
24 | 2650346.8034 | 1135906.5863
25 | 2650337.8723 | 1135902.2746
26 | 2650353.1857 | 1135908.9819
27 | 2650330.1128 | 1135901.5406
28 | 2650339.1469 | 1135890.0808
29 | 2650328.0635 | 1135900.8087
30 | 2650340.1519 | 1135883.1598
31 | 2650326.1197 | 1135900.1144
32 | 2650316.6581 | 1135896.7352
33 | 2650316.0384 | 1135896.5138
34 | 2650295.9646 | 1135895.1234
35 | 2650287.9914 | 1135893.5889
36 | 2650335.81 | 1135869.7344
37 | 2650346.5143 | 1135860.5263
38 | 2650327.2758 | 1135868.371
39 | 2650347.5942 | 1135857.5657
40 | 2650402.6189 | 1135879.1503
41 | 2650322.7461 | 1135867.4339
42 | 2650350.7416 | 1135848.9436
43 | 2650329.4661 | 1135847.9611
44 | 2650316.0538 | 1135865.3668
45 | 2650297.2059 | 1135859.7244
46 | 2650280.7167 | 1135855.1655
47 | 2650411.3101 | 1135888.713
48 | 2650352.0158 | 1135845.453
49 | 2650313.8168 | 1135842.3765
50 | 2650356.2303 | 1135833.3568
51 | 2650309.6157 | 1135838.6396
52 | 2650360.0834 | 1135817.5866
53 | 2650363.4252 | 1135803.9088
54 | 2650359.8238 | 1135818.6492
55 | 2650364.7223 | 1135798.5999
56 | 2650398.4644 | 1135787.3231
57 | 2650364.2818 | 1135784.2984
58 | 2650439.7022 | 1135775.4794
59 | 2650363.803 | 1135768.753
60 | 2650362.9065 | 1135753.4752
61 | 2650396.12 | 1135671.1896
62 | 2650140.2685 | 1135511.9121
63 | 2650487.5589 | 1135780.9364
64 | 2650492.9161 | 1135783.2485
65 | 2650529.5319 | 1135783.2341
66 | 2650261.9623 | 1135851.6034
67 | 2650241.6185 | 1135850.0818
68 | 2650227.4433 | 1135844.5457
69 | 2650218.0325 | 1135840.2232
70 | 2650209.7769 | 1135834.7955
71 | 2650208.7136 | 1135854.9373
72 | 2650191.2477 | 1135902.0635
73 | 2650196.6912 | 1135880.7823
74 | 2650204.8082 | 1135831.5288
75 | 2650176.9608 | 1135817.8745
76 | 2650099.6934 | 1135820.4936
77 | 2650089.5579 | 1135819.0235
78 | 2650046.3328 | 1135802.3905
79 | 2650512.1319 | 1135946.4842
80 | 2650489.6187 | 1135894.2723
81 | 2650499.9329 | 1135854.4957
82 | 2650511.4062 | 1135834.8837
83 | 2650512.7664 | 1135832.6975
84 | 2650517.7624 | 1135821.3351
85 | 2650518.4869 | 1135819.6874
86 | 2650523.7917 | 1135804.2641
87 | 2650551.9044 | 1135759.8868
88 | 2650517.7074 | 1135728.8517
89 | 2650505.7626 | 1135716.2972
90 | 2650137.3643 | 1135511.2936
91 | 2650131.4942 | 1135508.3323
92 | 2650342.7512 | 1135870.8433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1