## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_619-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_619-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_619-10_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_619-10_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_619-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_619-10_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_619-10_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_619-10_0_3_node_95 | 0.4 | n |  | TRUE
8 | bus_LV_619-10_0_3_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_619-10_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_619-10_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_619-10_0_3_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_619-10_0_3_node_97 | 0.4 | n |  | TRUE
13 | bus_LV_619-10_0_3_node_98 | 0.4 | n |  | TRUE
14 | bus_LV_619-10_0_3_node_99 | 0.4 | n |  | TRUE
15 | bus_LV_619-10_0_3_node_100 | 0.4 | n |  | TRUE
16 | bus_LV_619-10_0_3_node_101 | 0.4 | n |  | TRUE
17 | bus_LV_619-10_0_3_node_109 | 0.4 | n |  | TRUE
18 | bus_LV_619-10_0_3_node_116 | 0.4 | n |  | TRUE
19 | bus_LV_619-10_0_3_node_114 | 0.4 | n |  | TRUE
20 | bus_LV_619-10_0_3_node_135 | 0.4 | n |  | TRUE
21 | bus_LV_619-10_0_3_node_93 | 0.4 | n |  | TRUE
22 | bus_LV_619-10_0_3_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_619-10_0_3_node_96 | 0.4 | n |  | TRUE
24 | bus_LV_619-10_0_3_node_119 | 0.4 | n |  | TRUE
25 | bus_LV_619-10_0_3_node_120 | 0.4 | n |  | TRUE
26 | bus_LV_619-10_0_3_node_115 | 0.4 | n |  | TRUE
27 | bus_LV_619-10_0_3_node_136 | 0.4 | n |  | TRUE
28 | bus_LV_619-10_0_3_node_9 | 0.4 | n |  | TRUE
29 | bus_LV_619-10_0_3_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_619-10_0_3_node_11 | 0.4 | n |  | TRUE
31 | bus_LV_619-10_0_3_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_619-10_0_3_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_619-10_0_3_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_619-10_0_3_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_619-10_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_619-10_0_3_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_619-10_0_3_node_118 | 0.4 | n |  | TRUE
38 | bus_LV_619-10_0_3_node_122 | 0.4 | n |  | TRUE
39 | bus_LV_619-10_0_3_node_68 | 0.4 | n |  | TRUE
40 | bus_LV_619-10_0_3_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_619-10_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_619-10_0_3_node_121 | 0.4 | n |  | TRUE
43 | bus_LV_619-10_0_3_node_123 | 0.4 | n |  | TRUE
44 | bus_LV_619-10_0_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_619-10_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_619-10_0_3_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_619-10_0_3_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_619-10_0_3_node_19 | 0.4 | n |  | TRUE
49 | bus_LV_619-10_0_3_node_20 | 0.4 | n |  | TRUE
50 | bus_LV_619-10_0_3_node_21 | 0.4 | n |  | TRUE
51 | bus_LV_619-10_0_3_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_619-10_0_3_node_23 | 0.4 | n |  | TRUE
53 | bus_LV_619-10_0_3_node_24 | 0.4 | n |  | TRUE
54 | bus_LV_619-10_0_3_node_25 | 0.4 | n |  | TRUE
55 | bus_LV_619-10_0_3_node_26 | 0.4 | n |  | TRUE
56 | bus_LV_619-10_0_3_node_91 | 0.4 | n |  | TRUE
57 | bus_LV_619-10_0_3_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_619-10_0_3_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_619-10_0_3_node_86 | 0.4 | n |  | TRUE
60 | bus_LV_619-10_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_619-10_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_619-10_0_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_619-10_0_3_node_69 | 0.4 | n |  | TRUE
64 | bus_LV_619-10_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_619-10_0_3_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_619-10_0_3_node_73 | 0.4 | n |  | TRUE
67 | bus_LV_619-10_0_3_node_74 | 0.4 | n |  | TRUE
68 | bus_LV_619-10_0_3_node_75 | 0.4 | n |  | TRUE
69 | bus_LV_619-10_0_3_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_619-10_0_3_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_619-10_0_3_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_619-10_0_3_node_83 | 0.4 | n |  | TRUE
73 | bus_LV_619-10_0_3_node_84 | 0.4 | n |  | TRUE
74 | bus_LV_619-10_0_3_node_85 | 0.4 | n |  | TRUE
75 | bus_LV_619-10_0_3_node_138 | 0.4 | n |  | TRUE
76 | bus_LV_619-10_0_3_node_105 | 0.4 | n |  | TRUE
77 | bus_LV_619-10_0_3_node_103 | 0.4 | n |  | TRUE
78 | bus_LV_619-10_0_3_node_108 | 0.4 | n |  | TRUE
79 | bus_LV_619-10_0_3_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_619-10_0_3_node_104 | 0.4 | n |  | TRUE
81 | bus_LV_619-10_0_3_node_107 | 0.4 | n |  | TRUE
82 | bus_LV_619-10_0_3_node_111 | 0.4 | n |  | TRUE
83 | bus_LV_619-10_0_3_node_117 | 0.4 | n |  | TRUE
84 | bus_LV_619-10_0_3_node_127 | 0.4 | n |  | TRUE
85 | bus_LV_619-10_0_3_node_133 | 0.4 | n |  | TRUE
86 | bus_LV_619-10_0_3_node_128 | 0.4 | n |  | TRUE
87 | bus_LV_619-10_0_3_node_126 | 0.4 | n |  | TRUE
88 | bus_LV_619-10_0_3_node_134 | 0.4 | n |  | TRUE
89 | bus_LV_619-10_0_3_node_124 | 0.4 | n |  | TRUE
90 | bus_LV_619-10_0_3_node_125 | 0.4 | n |  | TRUE
91 | bus_LV_619-10_0_3_node_129 | 0.4 | n |  | TRUE
92 | bus_LV_619-10_0_3_node_132 | 0.4 | n |  | TRUE
93 | bus_LV_619-10_0_3_node_130 | 0.4 | n |  | TRUE
94 | bus_LV_619-10_0_3_node_131 | 0.4 | n |  | TRUE
95 | bus_LV_619-10_0_3_node_137 | 0.4 | n |  | TRUE
96 | bus_MV_107_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_619-10_0_3_load_0 | 0 | 0.00055856 | 0.00013999 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_619-10_0_3_load_1 | 1 | 0.00076304 | 0.00019124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_619-10_0_3_load_2 | 3 | 0.0002307 | 5.7819e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_619-10_0_3_load_5 | 5 | 0.0011763 | 0.00029481 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_619-10_0_3_load_95 | 7 | 0.00014803 | 3.7099e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_619-10_0_3_load_94 | 8 | 0.0021003 | 0.00052638 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_619-10_0_3_load_8 | 10 | 0.00065456 | 0.00016405 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_619-10_0_3_load_110 | 11 | 0.00055246 | 0.00013846 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_619-10_0_3_load_97 | 12 | 0.00073756 | 0.00018485 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_619-10_0_3_load_98 | 13 | 0.0016615 | 0.0004164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_619-10_0_3_load_99 | 14 | 0.00010705 | 2.6829e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_619-10_0_3_load_100 | 15 | 0.00062002 | 0.00015539 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_619-10_0_3_load_101 | 16 | 0.00055206 | 0.00013836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_619-10_0_3_load_114 | 19 | 0.00030967 | 7.7611e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_619-10_0_3_load_135 | 20 | 0.001402 | 0.00035138 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_619-10_0_3_load_93 | 21 | 0.0014019 | 0.00035135 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_619-10_0_3_load_96 | 23 | 0.00062078 | 0.00015558 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_619-10_0_3_load_119 | 24 | 0.0010477 | 0.00026258 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_619-10_0_3_load_120 | 25 | 0.0027141 | 0.00068021 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_619-10_0_3_load_115 | 26 | 0.002296 | 0.00057544 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_619-10_0_3_load_136 | 27 | 0.00081651 | 0.00020464 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_619-10_0_3_load_9 | 28 | 0.00077752 | 0.00019487 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_619-10_0_3_load_13 | 32 | 0.0023336 | 0.00058484 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_619-10_0_3_load_15 | 34 | 0.0048837 | 0.001224 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_619-10_0_3_load_16 | 35 | 0.0014248 | 0.00035708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_619-10_0_3_load_17 | 36 | 0.00024028 | 6.0219e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_619-10_0_3_load_122 | 38 | 0.00053578 | 0.00013428 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_619-10_0_3_load_80 | 40 | 0.0056333 | 0.0014118 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_619-10_0_3_load_27 | 41 | 0.0011855 | 0.00029712 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_619-10_0_3_load_123 | 43 | 0.00051774 | 0.00012976 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_619-10_0_3_load_70 | 44 | 0.011063 | 0.0027727 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_619-10_0_3_load_66 | 45 | 0.0010442 | 0.0002617 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_619-10_0_3_load_81 | 46 | 0.0015041 | 0.00037697 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_619-10_0_3_load_18 | 47 | 0.00026338 | 6.6008e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_619-10_0_3_load_19 | 48 | 0.00028101 | 7.0428e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_619-10_0_3_load_21 | 50 | 0.00034234 | 8.5798e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_619-10_0_3_load_23 | 52 | 0.0014817 | 0.00037136 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_619-10_0_3_load_24 | 53 | 0.0018415 | 0.00046152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_619-10_0_3_load_25 | 54 | 0.0005933 | 0.00014869 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_619-10_0_3_load_26 | 55 | 0.0005812 | 0.00014566 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_619-10_0_3_load_91 | 56 | 0.00033016 | 8.2746e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_619-10_0_3_load_63 | 60 | 0.0028181 | 0.00070628 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_619-10_0_3_load_67 | 62 | 0.0026181 | 0.00065617 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_619-10_0_3_load_69 | 63 | 0.0089141 | 0.0022341 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_619-10_0_3_load_71 | 64 | 0.0026024 | 0.00065222 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_619-10_0_3_load_72 | 65 | 0.0022183 | 0.00055595 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_619-10_0_3_load_73 | 66 | 0.002788 | 0.00069874 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_619-10_0_3_load_74 | 67 | 0.004017 | 0.0010068 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_619-10_0_3_load_75 | 68 | 0.0021619 | 0.00054183 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_619-10_0_3_load_78 | 69 | 0.0019645 | 0.00049236 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_619-10_0_3_load_79 | 70 | 0.0024712 | 0.00061935 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_619-10_0_3_load_82 | 71 | 0.00063658 | 0.00015954 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_619-10_0_3_load_83 | 72 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_619-10_0_3_load_84 | 73 | 0.00061954 | 0.00015527 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_619-10_0_3_load_85 | 74 | 0.0002826 | 7.0827e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_619-10_0_3_load_138 | 75 | 0.0010523 | 0.00026372 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_619-10_0_3_load_103 | 77 | 0.00021545 | 5.3997e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_619-10_0_3_load_108 | 78 | 0.00085312 | 0.00021381 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_619-10_0_3_load_102 | 79 | 0.0012385 | 0.00031039 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_619-10_0_3_load_104 | 80 | 0.00029425 | 7.3746e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_619-10_0_3_load_107 | 81 | 0.00019809 | 4.9645e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_619-10_0_3_load_111 | 82 | 0.00094885 | 0.00023781 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_619-10_0_3_load_117 | 83 | 0.00064015 | 0.00016044 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_619-10_0_3_load_133 | 85 | 0.0022479 | 0.00056337 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_619-10_0_3_load_128 | 86 | 0.0002899 | 7.2655e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_619-10_0_3_load_126 | 87 | 0.00077922 | 0.00019529 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_619-10_0_3_load_134 | 88 | 0.00034563 | 8.6624e-05 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_619-10_0_3_load_124 | 89 | 0.00097789 | 0.00024508 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_619-10_0_3_load_125 | 90 | 0.00081495 | 0.00020424 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_619-10_0_3_load_132 | 92 | 0.00046698 | 0.00011704 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_619-10_0_3_load_130 | 93 | 0.00071714 | 0.00017973 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_619-10_0_3_load_131 | 94 | 0.00096311 | 0.00024138 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_619-10_0_3_load_137 | 95 | 0.0025263 | 0.00063315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_619-10_0_3_line_0 |  | 0 | 1 | 0.035913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_619-10_0_3_line_1 |  | 0 | 2 | 0.1938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_619-10_0_3_line_2 |  | 1 | 3 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_619-10_0_3_line_3 |  | 2 | 4 | 0.057373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_619-10_0_3_line_4 |  | 2 | 5 | 0.12594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_619-10_0_3_line_5 |  | 3 | 6 | 0.035486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_619-10_0_3_line_6 |  | 4 | 9 | 0.12359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_619-10_0_3_line_7 |  | 4 | 10 | 0.10794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_619-10_0_3_line_8 |  | 5 | 11 | 0.17658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_619-10_0_3_line_9 |  | 6 | 7 | 0.18862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_619-10_0_3_line_10 |  | 6 | 8 | 0.039612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_619-10_0_3_line_11 |  | 7 | 12 | 0.01264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_619-10_0_3_line_12 |  | 9 | 18 | 0.082819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_619-10_0_3_line_13 |  | 9 | 19 | 0.010107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_619-10_0_3_line_14 |  | 10 | 20 | 0.020286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_619-10_0_3_line_15 |  | 11 | 23 | 0.099492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_619-10_0_3_line_16 |  | 11 | 21 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_619-10_0_3_line_17 |  | 12 | 13 | 0.019847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_619-10_0_3_line_18 |  | 13 | 14 | 0.0136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_619-10_0_3_line_19 |  | 14 | 15 | 0.016082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_619-10_0_3_line_20 |  | 15 | 16 | 0.00039692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_619-10_0_3_line_21 |  | 16 | 17 | 0.16095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_619-10_0_3_line_22 |  | 17 | 78 | 0.043679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_619-10_0_3_line_23 |  | 18 | 24 | 0.038075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_619-10_0_3_line_24 |  | 18 | 25 | 0.014073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_619-10_0_3_line_25 |  | 19 | 26 | 0.022377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_619-10_0_3_line_26 |  | 20 | 27 | 0.014124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_619-10_0_3_line_27 |  | 21 | 22 | 0.13278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_619-10_0_3_line_28 |  | 22 | 56 | 0.11012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_619-10_0_3_line_29 |  | 23 | 76 | 0.10864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_619-10_0_3_line_30 |  | 25 | 84 | 0.022816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_619-10_0_3_line_31 |  | 26 | 83 | 0.031852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_619-10_0_3_line_32 |  | 27 | 95 | 0.0029427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_619-10_0_3_line_33 |  | 28 | 29 | 0.026647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_619-10_0_3_line_34 |  | 28 | 30 | 0.060216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_619-10_0_3_line_35 |  | 29 | 31 | 0.007567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_619-10_0_3_line_36 |  | 30 | 32 | 0.0080452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_619-10_0_3_line_37 |  | 30 | 33 | 0.17967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_619-10_0_3_line_38 |  | 31 | 34 | 0.20001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_619-10_0_3_line_39 |  | 31 | 35 | 0.12308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_619-10_0_3_line_40 |  | 32 | 36 | 0.026458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_619-10_0_3_line_41 |  | 33 | 37 | 0.02228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_619-10_0_3_line_42 |  | 33 | 38 | 0.014163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_619-10_0_3_line_43 |  | 34 | 39 | 0.097448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_619-10_0_3_line_44 |  | 35 | 40 | 0.046948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_619-10_0_3_line_45 |  | 36 | 41 | 0.013662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_619-10_0_3_line_46 |  | 37 | 42 | 0.018645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_619-10_0_3_line_47 |  | 38 | 43 | 0.013747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_619-10_0_3_line_48 |  | 39 | 44 | 0.0099051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_619-10_0_3_line_49 |  | 39 | 45 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_619-10_0_3_line_50 |  | 40 | 46 | 0.0017764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_619-10_0_3_line_51 |  | 42 | 85 | 0.018569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_619-10_0_3_line_52 |  | 42 | 83 | 0.0019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_619-10_0_3_line_53 |  | 43 | 89 | 0.018992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_619-10_0_3_line_54 |  | 44 | 61 | 0.016796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_619-10_0_3_line_55 |  | 45 | 62 | 0.021356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_619-10_0_3_line_56 |  | 47 | 48 | 0.0087949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_619-10_0_3_line_57 |  | 47 | 49 | 0.13493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_619-10_0_3_line_58 |  | 48 | 50 | 0.035486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_619-10_0_3_line_59 |  | 49 | 51 | 0.019493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_619-10_0_3_line_60 |  | 49 | 52 | 0.051577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_619-10_0_3_line_61 |  | 51 | 53 | 0.15587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_619-10_0_3_line_62 |  | 51 | 54 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_619-10_0_3_line_63 |  | 52 | 55 | 0.025425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_619-10_0_3_line_64 |  | 53 | 56 | 0.053999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_619-10_0_3_line_65 |  | 55 | 57 | 0.034943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_619-10_0_3_line_66 |  | 56 | 58 | 0.18567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_619-10_0_3_line_67 |  | 57 | 59 | 0.089173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_619-10_0_3_line_68 |  | 58 | 75 | 0.18646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_619-10_0_3_line_69 |  | 59 | 73 | 0.069355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_619-10_0_3_line_70 |  | 60 | 61 | 0.02701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_619-10_0_3_line_71 |  | 62 | 63 | 0.035215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_619-10_0_3_line_72 |  | 63 | 64 | 0.043276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_619-10_0_3_line_73 |  | 64 | 65 | 0.0073841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_619-10_0_3_line_74 |  | 65 | 66 | 0.022404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_619-10_0_3_line_75 |  | 66 | 67 | 0.0024615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_619-10_0_3_line_76 |  | 67 | 68 | 0.017996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_619-10_0_3_line_77 |  | 68 | 69 | 0.020792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_619-10_0_3_line_78 |  | 69 | 70 | 0.021652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_619-10_0_3_line_79 |  | 71 | 72 | 0.0045881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_619-10_0_3_line_80 |  | 71 | 73 | 0.18174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_619-10_0_3_line_81 |  | 73 | 74 | 0.0086354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_619-10_0_3_line_82 |  | 76 | 77 | 0.091599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_619-10_0_3_line_83 |  | 77 | 79 | 0.0086823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_619-10_0_3_line_84 |  | 78 | 81 | 0.013586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_619-10_0_3_line_85 |  | 79 | 80 | 0.018184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_619-10_0_3_line_86 |  | 81 | 82 | 0.133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_619-10_0_3_line_87 |  | 84 | 86 | 0.013075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_619-10_0_3_line_88 |  | 84 | 87 | 0.014172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_619-10_0_3_line_89 |  | 85 | 88 | 0.0072115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_619-10_0_3_line_90 |  | 86 | 91 | 0.0083977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_619-10_0_3_line_91 |  | 89 | 90 | 0.0016701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_619-10_0_3_line_92 |  | 91 | 92 | 0.10145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_619-10_0_3_line_93 |  | 91 | 93 | 0.010946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_619-10_0_3_line_94 |  | 93 | 94 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_619-10_0_3_trafo_132 | 0.63 MVA 20/0.4 kV | 96 | 92 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2615874.8248 | 1185511.8697 | 2615882.2193 | 1185521.4892 | 2615899.1954 | 1185538.1419
1 | 2615717.7856 | 1185398.3042 | 2615874.8248 | 1185511.8697
2 | 2615906.6653 | 1185545.4695 | 2615899.1954 | 1185538.1419
3 | 2615717.7856 | 1185398.3042 | 2615720.7161 | 1185369.0967 | 2615728.822 | 1185342.2818
4 | 2615717.7856 | 1185398.3042 | 2615713.3083 | 1185403.2507 | 2615711.2371 | 1185413.2393 | 2615706.8767 | 1185437.7073 | 2615705.403 | 1185443.8733 | 2615702.941 | 1185445.7012 | 2615699.0589 | 1185444.8684 | 2615696.0167 | 1185440.9473 | 2615678.879 | 1185419.6804 | 2615668.4571 | 1185412.9275 | 2615659.6438 | 1185409.6807 | 2615653.3203 | 1185408.597 | 2615647.1613 | 1185408.8255 | 2615643.1938 | 1185410.1113
5 | 2615934.7684 | 1185567.063 | 2615910.4574 | 1185549.1893 | 2615906.6653 | 1185545.4695
6 | 2615749.4273 | 1185222.618 | 2615749.0485 | 1185236.1018 | 2615747.4341 | 1185293.0605 | 2615742.2586 | 1185316.8926 | 2615728.822 | 1185342.2818
7 | 2615728.822 | 1185342.2818 | 2615718.3695 | 1185338.4191 | 2615708.3824 | 1185328.7546 | 2615684.9305 | 1185296.8658 | 2615668.0118 | 1185270.4969 | 2615661.6703 | 1185260.332
8 | 2615643.1938 | 1185410.1113 | 2615576.0427 | 1185573.4228
9 | 2615934.7684 | 1185567.063 | 2615958.8127 | 1185584.7359 | 2616001.1784 | 1185614.086 | 2616055.2858 | 1185635.597 | 2616102.909 | 1185647.183
10 | 2615934.7684 | 1185567.063 | 2615934.0261 | 1185573.6088 | 2615934.7504 | 1185579.625 | 2615930.6287 | 1185585.7284 | 2615924.2869 | 1185591.6257 | 2615918.4057 | 1185590.7653 | 2615913.8631 | 1185588.6855
11 | 2616114.4847 | 1185652.1291 | 2616105.7394 | 1185647.8716 | 2616102.909 | 1185647.183
12 | 2615749.4273 | 1185222.618 | 2615736.7826 | 1185219.4388 | 2615723.6441 | 1185212.4564 | 2615679.896 | 1185179.0137
13 | 2615749.4273 | 1185222.618 | 2615749.7159 | 1185212.5155
14 | 2615661.6703 | 1185260.332 | 2615650.9326 | 1185243.1204
15 | 2615576.0427 | 1185573.4228 | 2615595.9318 | 1185670.9064
16 | 2615576.0427 | 1185573.4228 | 2615565.1121 | 1185567.1504 | 2615557.4928 | 1185565.5058
17 | 2616132.3291 | 1185660.8163 | 2616132.3291 | 1185660.8163 | 2616114.4847 | 1185652.1291
18 | 2616132.3291 | 1185660.8163 | 2616142.9099 | 1185669.3602
19 | 2616142.9099 | 1185669.3602 | 2616155.4219 | 1185679.4634
20 | 2616155.7307 | 1185679.7127 | 2616155.4219 | 1185679.4634
21 | 2616301.5356 | 1185745.9614 | 2616276.4159 | 1185734.3206 | 2616242.3692 | 1185722.2 | 2616201.9288 | 1185706.8718 | 2616169.5559 | 1185690.8763 | 2616155.7307 | 1185679.7127
22 | 2616301.5356 | 1185745.9614 | 2616304.8314 | 1185757.4429 | 2616306.3608 | 1185770.3316 | 2616303.3291 | 1185788.8399
23 | 2615651.7834 | 1185204.587 | 2615668.2171 | 1185191.7343 | 2615679.896 | 1185179.0137
24 | 2615679.896 | 1185179.0137 | 2615667.7391 | 1185171.925
25 | 2615750.3595 | 1185190.148 | 2615749.7382 | 1185211.7354 | 2615749.7159 | 1185212.5155
26 | 2615643.4566 | 1185231.1371 | 2615650.9326 | 1185243.1204
27 | 2615434.1446 | 1185517.8873 | 2615452.1187 | 1185522.7471 | 2615478.9886 | 1185534.3111 | 2615502.1872 | 1185546.0992 | 2615525.8834 | 1185557.2995 | 2615545.2519 | 1185562.8635 | 2615557.4928 | 1185565.5058
28 | 2615328.1575 | 1185547.7572 | 2615434.1446 | 1185517.8873
29 | 2615557.415 | 1185772.4928 | 2615595.9318 | 1185670.9064
30 | 2615648.0292 | 1185160.4321 | 2615667.7391 | 1185171.925
31 | 2615750.3595 | 1185190.148 | 2615760.5783 | 1185175.5005 | 2615768.1425 | 1185163.7288
32 | 2615641.8991 | 1185228.6405 | 2615643.4566 | 1185231.1371
33 | 2615636.007 | 1184935.4508 | 2615648.9808 | 1184944.4114 | 2615656.9543 | 1184951.814
34 | 2615694.8565 | 1184996.7581 | 2615695.0049 | 1184992.5563 | 2615692.3303 | 1184988.047 | 2615682.2666 | 1184975.3141 | 2615656.9543 | 1184951.814
35 | 2615630.7323 | 1184930.012 | 2615636.007 | 1184935.4508
36 | 2615694.8565 | 1184996.7581 | 2615702.2687 | 1184999.0342 | 2615702.5081 | 1184999.2003
37 | 2615694.8565 | 1184996.7581 | 2615679.2607 | 1185001.2419 | 2615671.7515 | 1185003.9905 | 2615681.3984 | 1185021.4358 | 2615694.1507 | 1185039.0893 | 2615722.9835 | 1185076.9843 | 2615732.1862 | 1185089.0813 | 2615740.5345 | 1185100.9982 | 2615746.3811 | 1185112.3861 | 2615749.9162 | 1185123.4122 | 2615751.9381 | 1185135.2236
38 | 2615630.7323 | 1184930.012 | 2615607.3804 | 1184908.7959 | 2615587.8348 | 1184888.3235 | 2615575.3963 | 1184873.0167 | 2615567.0549 | 1184861.0889 | 2615556.9295 | 1184848.445 | 2615546.6172 | 1184837.2347 | 2615537.5464 | 1184829.9186 | 2615526.164 | 1184822.2519 | 2615508.008 | 1184813.1448 | 2615482.6724 | 1184799.5483
39 | 2615630.7323 | 1184930.012 | 2615619.1973 | 1184928.3145 | 2615594.4255 | 1184921.9358 | 2615570.3915 | 1184913.5803 | 2615547.9777 | 1184904.3286 | 2615523.7664 | 1184893.6272 | 2615514.7115 | 1184890.2145
40 | 2615725.6278 | 1185011.7683 | 2615712.8957 | 1185006.4102 | 2615702.5081 | 1184999.2003
41 | 2615751.2998 | 1185157.4891 | 2615751.9381 | 1185135.2236
42 | 2615751.9381 | 1185135.2236 | 2615741.8663 | 1185128.6716 | 2615740.2372 | 1185127.2722
43 | 2615405.9092 | 1184740.756 | 2615416.7522 | 1184750.5555 | 2615431.7136 | 1184767.436 | 2615453.0228 | 1184782.0983 | 2615476.3484 | 1184796.1544 | 2615482.6724 | 1184799.5483
44 | 2615484.7195 | 1184913.4431 | 2615486.3044 | 1184907.2377 | 2615489.6001 | 1184895.8958 | 2615494.286 | 1184889.9826 | 2615500.9393 | 1184887.7097 | 2615509.3027 | 1184888.1759 | 2615514.7115 | 1184890.2145
45 | 2615739.0799 | 1185012.3929 | 2615728.0205 | 1185012.7752 | 2615725.6278 | 1185011.7683
46 | 2615769.2144 | 1185162.0606 | 2615758.5791 | 1185157.9528 | 2615751.2998 | 1185157.4891
47 | 2615740.2372 | 1185127.2722 | 2615729.8093 | 1185118.3147
48 | 2615405.9092 | 1184740.756 | 2615397.1073 | 1184736.2131
49 | 2615405.9092 | 1184740.756 | 2615417.6616 | 1184744.1657 | 2615426.9289 | 1184745.8523
50 | 2615484.7195 | 1184913.4431 | 2615484.2799 | 1184915.1642
51 | 2615769.2144 | 1185162.0606 | 2615782.3974 | 1185148.9831
52 | 2615769.2144 | 1185162.0606 | 2615768.1425 | 1185163.7288
53 | 2615715.4026 | 1185105.9395 | 2615729.8093 | 1185118.3147
54 | 2615382.0821 | 1184728.711 | 2615389.6743 | 1184732.3768 | 2615397.1073 | 1184736.2131
55 | 2615426.9289 | 1184745.8523 | 2615447.94 | 1184749.6762
56 | 2615157.1847 | 1185760.8912 | 2615150.9753 | 1185767.1197
57 | 2615163.482 | 1185639.7399 | 2615170.8119 | 1185656.2336 | 2615183.7754 | 1185699.1219 | 2615185.653 | 1185711.044 | 2615185.5213 | 1185723.8948 | 2615181.2994 | 1185733.7781 | 2615174.6669 | 1185743.3553 | 2615157.1847 | 1185760.8912
58 | 2615139.6518 | 1185798.0282 | 2615138.6768 | 1185790.0555 | 2615139.1047 | 1185780.7184 | 2615143.4695 | 1185774.6485 | 2615150.9753 | 1185767.1197
59 | 2615155.2779 | 1185624.9226 | 2615154.6497 | 1185628.9454 | 2615155.3521 | 1185634.8613 | 2615163.482 | 1185639.7399
60 | 2615163.482 | 1185639.7399 | 2615171.301 | 1185640.8157 | 2615191.2685 | 1185650.9714 | 2615210.5573 | 1185659.9657
61 | 2615155.2779 | 1185624.9226 | 2615160.9129 | 1185620.5901 | 2615167.9521 | 1185619.2405 | 2615177.6448 | 1185621.7329 | 2615193.6525 | 1185625.5753 | 2615204.5322 | 1185626.3699 | 2615216.2701 | 1185625.8327 | 2615227.7086 | 1185622.9379 | 2615245.4691 | 1185615.6569 | 2615270.7416 | 1185598.1674 | 2615299.6183 | 1185587.635
62 | 2615155.2779 | 1185624.9226 | 2615146.8729 | 1185618.5638
63 | 2615234.1765 | 1185669.3673 | 2615212.4347 | 1185660.8411 | 2615210.5573 | 1185659.9657
64 | 2615328.1575 | 1185547.7572 | 2615326.583 | 1185557.1771 | 2615325.6614 | 1185568.4917 | 2615314.2891 | 1185581.2583 | 2615300.8281 | 1185587.1938 | 2615299.6183 | 1185587.635
65 | 2615269.0552 | 1185667.2435 | 2615234.1765 | 1185669.3673
66 | 2615342.5815 | 1185367.3526 | 2615352.4414 | 1185400.1059 | 2615355.3634 | 1185436.2543 | 2615349.5977 | 1185458.8069 | 2615337.9204 | 1185489.3485 | 2615328.1575 | 1185547.7572
67 | 2615266.5135 | 1185739.5746 | 2615259.2911 | 1185728.9841 | 2615254.8455 | 1185718.712 | 2615246.5167 | 1185711.0758 | 2615244.001 | 1185707.1118 | 2615243.5479 | 1185702.2081 | 2615245.5666 | 1185694.5648 | 2615252.2383 | 1185687.6448 | 2615262.2196 | 1185678.5987 | 2615269.0552 | 1185667.2435
68 | 2615342.5815 | 1185367.3526 | 2615167.9117 | 1185432.599
69 | 2615266.5135 | 1185739.5746 | 2615206.4721 | 1185774.2904
70 | 2615382.0821 | 1184728.711 | 2615375.0013 | 1184722.0005 | 2615359.2134 | 1184715.0383
71 | 2615447.94 | 1184749.6762 | 2615482.5854 | 1184755.9816
72 | 2615524.9903 | 1184764.6012 | 2615518.2574 | 1184763.0341 | 2615486.3107 | 1184756.6596 | 2615482.5854 | 1184755.9816
73 | 2615532.1822 | 1184766.2751 | 2615524.9903 | 1184764.6012
74 | 2615532.1822 | 1184766.2751 | 2615554.0026 | 1184771.3537
75 | 2615554.0026 | 1184771.3537 | 2615556.4 | 1184771.9116
76 | 2615556.4 | 1184771.9116 | 2615573.9271 | 1184775.991
77 | 2615593.9028 | 1184781.7474 | 2615588.2913 | 1184779.9573 | 2615574.0448 | 1184776.0184 | 2615573.9271 | 1184775.991
78 | 2615593.9028 | 1184781.7474 | 2615614.5307 | 1184788.3279
79 | 2615305.5148 | 1185926.6719 | 2615307.1679 | 1185930.9519
80 | 2615206.4721 | 1185774.2904 | 2615305.5148 | 1185926.6719
81 | 2615206.4721 | 1185774.2904 | 2615198.9964 | 1185778.6128 | 2615198.9964 | 1185778.6128
82 | 2615557.415 | 1185772.4928 | 2615571.6371 | 1185776.1204 | 2615595.646 | 1185786.9215 | 2615619.1156 | 1185799.7113 | 2615631.4495 | 1185807.503 | 2615633.6307 | 1185816.5204
83 | 2615633.5257 | 1185825.0637 | 2615634.3259 | 1185819.3944 | 2615633.6307 | 1185816.5204
84 | 2616302.4824 | 1185802.1333 | 2616301.5811 | 1185799.5116 | 2616303.3291 | 1185788.8399
85 | 2615633.5257 | 1185825.0637 | 2615631.675 | 1185838.1751 | 2615632.4802 | 1185843.0519
86 | 2616302.4824 | 1185802.1333 | 2616325.8122 | 1185933.069
87 | 2615648.0292 | 1185160.4321 | 2615636.6656 | 1185153.9651
88 | 2615648.0292 | 1185160.4321 | 2615650.4757 | 1185155.8139 | 2615656.615 | 1185149.3072
89 | 2615782.3974 | 1185148.9831 | 2615787.5171 | 1185143.9044
90 | 2615629.3671 | 1185149.8114 | 2615636.6656 | 1185153.9651
91 | 2615715.4026 | 1185105.9395 | 2615714.1358 | 1185104.8513
92 | 2615629.3671 | 1185149.8114 | 2615581.4437 | 1185128.0313 | 2615538.2087 | 1185105.388
93 | 2615629.3671 | 1185149.8114 | 2615627.8109 | 1185143.682 | 2615624.9386 | 1185140.0604
94 | 2615616.979 | 1185130.0245 | 2615624.9386 | 1185140.0604

## bus_geodata
| x | y | coords
0 | 2615874.8248 | 1185511.8697
1 | 2615899.1954 | 1185538.1419
2 | 2615717.7856 | 1185398.3042
3 | 2615906.6653 | 1185545.4695
4 | 2615728.822 | 1185342.2818
5 | 2615643.1938 | 1185410.1113
6 | 2615934.7684 | 1185567.063
7 | 2616102.909 | 1185647.183
8 | 2615913.8631 | 1185588.6855
9 | 2615749.4273 | 1185222.618
10 | 2615661.6703 | 1185260.332
11 | 2615576.0427 | 1185573.4228
12 | 2616114.4847 | 1185652.1291
13 | 2616132.3291 | 1185660.8163
14 | 2616142.9099 | 1185669.3601
15 | 2616155.4219 | 1185679.4634
16 | 2616155.7307 | 1185679.7127
17 | 2616301.5356 | 1185745.9614
18 | 2615679.896 | 1185179.0137
19 | 2615749.7159 | 1185212.5155
20 | 2615650.9326 | 1185243.1204
21 | 2615557.4928 | 1185565.5058
22 | 2615434.1446 | 1185517.8873
23 | 2615595.9318 | 1185670.9064
24 | 2615651.7834 | 1185204.587
25 | 2615667.7391 | 1185171.925
26 | 2615750.3595 | 1185190.148
27 | 2615643.4566 | 1185231.1371
28 | 2615656.9543 | 1184951.814
29 | 2615636.007 | 1184935.4508
30 | 2615694.8565 | 1184996.7581
31 | 2615630.7323 | 1184930.012
32 | 2615702.5081 | 1184999.2003
33 | 2615751.9381 | 1185135.2236
34 | 2615482.6724 | 1184799.5483
35 | 2615514.7115 | 1184890.2145
36 | 2615725.6278 | 1185011.7683
37 | 2615751.2998 | 1185157.4891
38 | 2615740.2372 | 1185127.2722
39 | 2615405.9092 | 1184740.756
40 | 2615484.7195 | 1184913.4431
41 | 2615739.0799 | 1185012.3929
42 | 2615769.2144 | 1185162.0606
43 | 2615729.8093 | 1185118.3147
44 | 2615397.1073 | 1184736.2131
45 | 2615426.9289 | 1184745.8523
46 | 2615484.2799 | 1184915.1642
47 | 2615157.1847 | 1185760.8912
48 | 2615150.9753 | 1185767.1197
49 | 2615163.482 | 1185639.7399
50 | 2615139.6518 | 1185798.0282
51 | 2615155.2779 | 1185624.9226
52 | 2615210.5573 | 1185659.9657
53 | 2615299.6183 | 1185587.635
54 | 2615146.8729 | 1185618.5638
55 | 2615234.1765 | 1185669.3673
56 | 2615328.1575 | 1185547.7572
57 | 2615269.0552 | 1185667.2435
58 | 2615342.5815 | 1185367.3526
59 | 2615266.5135 | 1185739.5746
60 | 2615359.2134 | 1184715.0383
61 | 2615382.0821 | 1184728.711
62 | 2615447.94 | 1184749.6762
63 | 2615482.5854 | 1184755.9816
64 | 2615524.9903 | 1184764.6012
65 | 2615532.1822 | 1184766.2751
66 | 2615554.0026 | 1184771.3537
67 | 2615556.4 | 1184771.9116
68 | 2615573.9271 | 1184775.991
69 | 2615593.9028 | 1184781.7474
70 | 2615614.5307 | 1184788.3279
71 | 2615305.5148 | 1185926.6719
72 | 2615307.1679 | 1185930.9519
73 | 2615206.4721 | 1185774.2904
74 | 2615198.9964 | 1185778.6128
75 | 2615167.9117 | 1185432.599
76 | 2615557.415 | 1185772.4928
77 | 2615633.6307 | 1185816.5204
78 | 2616303.3291 | 1185788.8399
79 | 2615633.5257 | 1185825.0637
80 | 2615632.4802 | 1185843.0519
81 | 2616302.4824 | 1185802.1333
82 | 2616325.8122 | 1185933.069
83 | 2615768.1425 | 1185163.7288
84 | 2615648.0292 | 1185160.4321
85 | 2615782.3974 | 1185148.9831
86 | 2615636.6656 | 1185153.9651
87 | 2615656.615 | 1185149.3072
88 | 2615787.5171 | 1185143.9044
89 | 2615715.4026 | 1185105.9395
90 | 2615714.1358 | 1185104.8513
91 | 2615629.3671 | 1185149.8114
92 | 2615538.2087 | 1185105.388
93 | 2615624.9386 | 1185140.0604
94 | 2615616.979 | 1185130.0245
95 | 2615641.8991 | 1185228.6405
96 | 2615629.3671 | 1185149.8114

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1