## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_619-1_1_3_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_619-1_1_3_node_129 | 0.4 | n |  | TRUE
2 | bus_LV_619-1_1_3_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_619-1_1_3_node_126 | 0.4 | n |  | TRUE
4 | bus_LV_619-1_1_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_619-1_1_3_node_131 | 0.4 | n |  | TRUE
6 | bus_LV_619-1_1_3_node_132 | 0.4 | n |  | TRUE
7 | bus_LV_619-1_1_3_node_146 | 0.4 | n |  | TRUE
8 | bus_LV_619-1_1_3_node_133 | 0.4 | n |  | TRUE
9 | bus_LV_619-1_1_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_619-1_1_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_619-1_1_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_619-1_1_3_node_104 | 0.4 | n |  | TRUE
13 | bus_LV_619-1_1_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_619-1_1_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_619-1_1_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_619-1_1_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_619-1_1_3_node_119 | 0.4 | n |  | TRUE
18 | bus_LV_619-1_1_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_619-1_1_3_node_134 | 0.4 | n |  | TRUE
20 | bus_LV_619-1_1_3_node_135 | 0.4 | n |  | TRUE
21 | bus_LV_619-1_1_3_node_136 | 0.4 | n |  | TRUE
22 | bus_LV_619-1_1_3_node_137 | 0.4 | n |  | TRUE
23 | bus_LV_619-1_1_3_node_138 | 0.4 | n |  | TRUE
24 | bus_LV_619-1_1_3_node_152 | 0.4 | n |  | TRUE
25 | bus_LV_619-1_1_3_node_154 | 0.4 | n |  | TRUE
26 | bus_LV_619-1_1_3_node_139 | 0.4 | n |  | TRUE
27 | bus_LV_619-1_1_3_node_127 | 0.4 | n |  | TRUE
28 | bus_LV_619-1_1_3_node_141 | 0.4 | n |  | TRUE
29 | bus_LV_619-1_1_3_node_140 | 0.4 | n |  | TRUE
30 | bus_LV_619-1_1_3_node_142 | 0.4 | n |  | TRUE
31 | bus_LV_619-1_1_3_node_143 | 0.4 | n |  | TRUE
32 | bus_LV_619-1_1_3_node_157 | 0.4 | n |  | TRUE
33 | bus_LV_619-1_1_3_node_144 | 0.4 | n |  | TRUE
34 | bus_LV_619-1_1_3_node_123 | 0.4 | n |  | TRUE
35 | bus_LV_619-1_1_3_node_145 | 0.4 | n |  | TRUE
36 | bus_LV_619-1_1_3_node_150 | 0.4 | n |  | TRUE
37 | bus_LV_619-1_1_3_node_147 | 0.4 | n |  | TRUE
38 | bus_LV_619-1_1_3_node_148 | 0.4 | n |  | TRUE
39 | bus_LV_619-1_1_3_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_619-1_1_3_node_151 | 0.4 | n |  | TRUE
41 | bus_LV_619-1_1_3_node_153 | 0.4 | n |  | TRUE
42 | bus_LV_619-1_1_3_node_155 | 0.4 | n |  | TRUE
43 | bus_LV_619-1_1_3_node_156 | 0.4 | n |  | TRUE
44 | bus_LV_619-1_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_619-1_1_3_node_100 | 0.4 | n |  | TRUE
46 | bus_LV_619-1_1_3_node_101 | 0.4 | n |  | TRUE
47 | bus_LV_619-1_1_3_node_102 | 0.4 | n |  | TRUE
48 | bus_LV_619-1_1_3_node_108 | 0.4 | n |  | TRUE
49 | bus_LV_619-1_1_3_node_116 | 0.4 | n |  | TRUE
50 | bus_LV_619-1_1_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_619-1_1_3_node_117 | 0.4 | n |  | TRUE
52 | bus_LV_619-1_1_3_node_105 | 0.4 | n |  | TRUE
53 | bus_LV_619-1_1_3_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_619-1_1_3_node_107 | 0.4 | n |  | TRUE
55 | bus_LV_619-1_1_3_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_619-1_1_3_node_115 | 0.4 | n |  | TRUE
57 | bus_LV_619-1_1_3_node_109 | 0.4 | n |  | TRUE
58 | bus_LV_619-1_1_3_node_110 | 0.4 | n |  | TRUE
59 | bus_LV_619-1_1_3_node_114 | 0.4 | n |  | TRUE
60 | bus_LV_619-1_1_3_node_112 | 0.4 | n |  | TRUE
61 | bus_LV_619-1_1_3_node_113 | 0.4 | n |  | TRUE
62 | bus_LV_619-1_1_3_node_120 | 0.4 | n |  | TRUE
63 | bus_LV_619-1_1_3_node_124 | 0.4 | n |  | TRUE
64 | bus_LV_619-1_1_3_node_125 | 0.4 | n |  | TRUE
65 | bus_MV_94_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_619-1_1_3_load_128 | 0 | 0.0009613 | 0.00024093 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_619-1_1_3_load_129 | 1 | 0.00071099 | 0.00017819 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_619-1_1_3_load_130 | 2 | 0.0023673 | 0.00059329 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_619-1_1_3_load_7 | 4 | 0.026382 | 0.0066118 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_619-1_1_3_load_131 | 5 | 0.00028887 | 7.2398e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_619-1_1_3_load_133 | 8 | 0.002462 | 0.00061703 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_619-1_1_3_load_6 | 9 | 0.079241 | 0.01986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_619-1_1_3_load_8 | 10 | 0.029442 | 0.0073788 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_619-1_1_3_load_9 | 11 | 0.014367 | 0.0036008 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_619-1_1_3_load_104 | 12 | 0.00076876 | 0.00019267 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_619-1_1_3_load_10 | 13 | 0.012671 | 0.0031755 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_619-1_1_3_load_11 | 14 | 0.016737 | 0.0041948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_619-1_1_3_load_12 | 15 | 0.016669 | 0.0041776 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_619-1_1_3_load_13 | 16 | 0.044688 | 0.0112 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_619-1_1_3_load_119 | 17 | 0.0011734 | 0.00029409 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_619-1_1_3_load_14 | 18 | 0.0023612 | 0.00059177 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_619-1_1_3_load_134 | 19 | 0.00048494 | 0.00012154 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_619-1_1_3_load_135 | 20 | 0.00032662 | 8.1859e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_619-1_1_3_load_136 | 21 | 0.00040564 | 0.00010166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_619-1_1_3_load_137 | 22 | 0.00082367 | 0.00020643 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_619-1_1_3_load_138 | 23 | 0.00090296 | 0.0002263 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_619-1_1_3_load_152 | 24 | 0.0012284 | 0.00030787 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_619-1_1_3_load_154 | 25 | 0.00051217 | 0.00012836 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_619-1_1_3_load_139 | 26 | 0.00015313 | 3.8378e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_619-1_1_3_load_127 | 27 | 0.00029085 | 7.2894e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_619-1_1_3_load_141 | 28 | 0.00066415 | 0.00016645 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_619-1_1_3_load_140 | 29 | 0.0003641 | 9.1252e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_619-1_1_3_load_142 | 30 | 0.00029181 | 7.3136e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_619-1_1_3_load_144 | 33 | 0.0021871 | 0.00054815 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_619-1_1_3_load_123 | 34 | 0.0034068 | 0.00085382 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_619-1_1_3_load_145 | 35 | 0.00062417 | 0.00015643 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_619-1_1_3_load_150 | 36 | 0.00034631 | 8.6795e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_619-1_1_3_load_148 | 38 | 0.00033331 | 8.3536e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_619-1_1_3_load_151 | 40 | 0.00041226 | 0.00010332 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_619-1_1_3_load_153 | 41 | 0.00066369 | 0.00016634 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_619-1_1_3_load_155 | 42 | 0.00069006 | 0.00017295 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_619-1_1_3_load_156 | 43 | 0.00031337 | 7.8538e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_619-1_1_3_load_99 | 44 | 0.0019026 | 0.00047684 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_619-1_1_3_load_100 | 45 | 0.0050988 | 0.0012779 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_619-1_1_3_load_108 | 48 | 0.00028752 | 7.206e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_619-1_1_3_load_116 | 49 | 0.0025779 | 0.00064608 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_619-1_1_3_load_117 | 51 | 0.00074017 | 0.0001855 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_619-1_1_3_load_105 | 52 | 0.0015932 | 0.0003993 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_619-1_1_3_load_106 | 53 | 0.0026418 | 0.00066211 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_619-1_1_3_load_118 | 55 | 0.0016524 | 0.00041413 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_619-1_1_3_load_115 | 56 | 0.001855 | 0.00046492 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_619-1_1_3_load_109 | 57 | 0.0026203 | 0.0006567 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_619-1_1_3_load_110 | 58 | 0.0016427 | 0.0004117 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_619-1_1_3_load_114 | 59 | 0.0016435 | 0.0004119 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_619-1_1_3_load_112 | 60 | 0.0015642 | 0.00039203 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_619-1_1_3_load_113 | 61 | 0.00054418 | 0.00013638 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_619-1_1_3_load_120 | 62 | 0.00056587 | 0.00014182 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_619-1_1_3_load_124 | 63 | 0.0011942 | 0.0002993 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_619-1_1_3_load_125 | 64 | 0.00034128 | 8.5532e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_619-1_1_3_line_0 |  | 0 | 1 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_619-1_1_3_line_1 |  | 0 | 2 | 0.14334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_619-1_1_3_line_2 |  | 1 | 3 | 0.044815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_619-1_1_3_line_3 |  | 2 | 4 | 0.13667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_619-1_1_3_line_4 |  | 3 | 5 | 0.023493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_619-1_1_3_line_5 |  | 3 | 64 | 0.0062984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_619-1_1_3_line_6 |  | 4 | 11 | 0.035638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_619-1_1_3_line_7 |  | 4 | 9 | 0.096392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_619-1_1_3_line_8 |  | 5 | 6 | 0.056612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_619-1_1_3_line_9 |  | 5 | 7 | 0.16131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_619-1_1_3_line_10 |  | 6 | 8 | 0.091485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_619-1_1_3_line_11 |  | 7 | 36 | 0.02136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_619-1_1_3_line_12 |  | 7 | 35 | 0.044991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_619-1_1_3_line_13 |  | 9 | 10 | 0.031997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_619-1_1_3_line_14 |  | 10 | 12 | 0.14399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_619-1_1_3_line_15 |  | 11 | 13 | 0.0012879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_619-1_1_3_line_16 |  | 12 | 52 | 0.01063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_619-1_1_3_line_17 |  | 13 | 14 | 0.0005535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_619-1_1_3_line_18 |  | 14 | 15 | 0.032811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_619-1_1_3_line_19 |  | 15 | 16 | 0.036249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_619-1_1_3_line_20 |  | 15 | 17 | 0.057317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_619-1_1_3_line_21 |  | 16 | 18 | 0.010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_619-1_1_3_line_22 |  | 17 | 55 | 0.050138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_619-1_1_3_line_23 |  | 19 | 20 | 0.0047753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_619-1_1_3_line_24 |  | 19 | 21 | 0.019276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_619-1_1_3_line_25 |  | 20 | 22 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_619-1_1_3_line_26 |  | 21 | 23 | 0.0068283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_619-1_1_3_line_27 |  | 22 | 24 | 0.022269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_619-1_1_3_line_28 |  | 23 | 25 | 0.0059152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_619-1_1_3_line_29 |  | 24 | 41 | 0.0026921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_619-1_1_3_line_30 |  | 25 | 42 | 0.024173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_619-1_1_3_line_31 |  | 26 | 27 | 0.0047281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_619-1_1_3_line_32 |  | 26 | 28 | 0.0025639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_619-1_1_3_line_33 |  | 27 | 63 | 0.0093118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_619-1_1_3_line_34 |  | 28 | 29 | 0.055269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_619-1_1_3_line_35 |  | 29 | 30 | 0.019193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_619-1_1_3_line_36 |  | 30 | 31 | 0.02588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_619-1_1_3_line_37 |  | 31 | 32 | 0.014789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_619-1_1_3_line_38 |  | 32 | 43 | 0.019589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_619-1_1_3_line_39 |  | 33 | 34 | 0.11784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_619-1_1_3_line_40 |  | 33 | 35 | 0.0030049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_619-1_1_3_line_41 |  | 34 | 63 | 0.0016483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_619-1_1_3_line_42 |  | 37 | 38 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_619-1_1_3_line_43 |  | 37 | 39 | 0.065073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_619-1_1_3_line_44 |  | 38 | 40 | 0.0089142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_619-1_1_3_line_45 |  | 39 | 41 | 0.083835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_619-1_1_3_line_46 |  | 42 | 43 | 0.00042491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_619-1_1_3_line_47 |  | 44 | 45 | 0.0064964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_619-1_1_3_line_48 |  | 44 | 46 | 0.070582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_619-1_1_3_line_49 |  | 46 | 47 | 0.006779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_619-1_1_3_line_50 |  | 47 | 48 | 0.055735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_619-1_1_3_line_51 |  | 47 | 49 | 0.018212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_619-1_1_3_line_52 |  | 48 | 52 | 0.007335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_619-1_1_3_line_53 |  | 49 | 50 | 0.032543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_619-1_1_3_line_54 |  | 50 | 51 | 0.043458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_619-1_1_3_line_55 |  | 51 | 62 | 0.038942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_619-1_1_3_line_56 |  | 53 | 54 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_619-1_1_3_line_57 |  | 54 | 55 | 0.01823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_619-1_1_3_line_58 |  | 54 | 56 | 0.037459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_619-1_1_3_line_59 |  | 56 | 61 | 0.0019458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_619-1_1_3_line_60 |  | 57 | 58 | 0.020893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_619-1_1_3_line_61 |  | 58 | 59 | 0.23874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_619-1_1_3_line_62 |  | 59 | 60 | 0.16086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_619-1_1_3_line_63 |  | 60 | 61 | 0.0059698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_619-1_1_3_trafo_7 | 0.63 MVA 20/0.4 kV | 65 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2613991.4934 | 1188349.7786 | 2613987.252 | 1188360.3261
1 | 2613981.0734 | 1188503.5373 | 2613987.252 | 1188360.3261
2 | 2614007.1422 | 1188307.7923 | 2614000.362 | 1188327.1311 | 2613993.3561 | 1188345.1464 | 2613991.4934 | 1188349.7786
3 | 2613846.5838 | 1188479.2388 | 2613981.0734 | 1188503.5373
4 | 2614007.1422 | 1188307.7923 | 2614010.9173 | 1188288.3799 | 2614011.3192 | 1188284.6844
5 | 2614007.1422 | 1188307.7923 | 2614009.3037 | 1188313.7083
6 | 2613846.5838 | 1188479.2388 | 2613845.9726 | 1188443.6056
7 | 2613849.3466 | 1188575.5761 | 2613847.4841 | 1188538.7767 | 2613847.3572 | 1188524.3244 | 2613846.5838 | 1188479.2388
8 | 2614014.9246 | 1188228.2689 | 2614014.9471 | 1188251.3255 | 2614011.3192 | 1188284.6844
9 | 2614172.5862 | 1188280.877 | 2614011.3192 | 1188284.6844
10 | 2614014.9246 | 1188228.2689 | 2613976.6226 | 1188233.1046 | 2613966.2329 | 1188233.4473 | 2613958.0499 | 1188232.8057 | 2613951.6355 | 1188232.6352 | 2613923.7806 | 1188232.1615
11 | 2614188.1041 | 1188295.5991 | 2614172.5862 | 1188280.877
12 | 2614172.5862 | 1188280.877 | 2614170.0876 | 1188292.4327 | 2614165.9851 | 1188304.9184 | 2614168.011 | 1188312.6828 | 2614176.1352 | 1188321.5163
13 | 2613850.9639 | 1188607.5317 | 2613849.3466 | 1188575.5761
14 | 2613850.9639 | 1188607.5317 | 2613771.5557 | 1188727.6474
15 | 2613845.9505 | 1188442.3179 | 2613845.9726 | 1188443.6056
16 | 2613771.4374 | 1188738.275 | 2613771.5101 | 1188728.079 | 2613771.5557 | 1188727.6474
17 | 2613845.9505 | 1188442.3179 | 2613845.941 | 1188441.7645
18 | 2613845.941 | 1188441.7645 | 2613845.3782 | 1188408.958
19 | 2613845.3782 | 1188408.958 | 2613845.1852 | 1188397.7088 | 2613843.9245 | 1188372.742
20 | 2613845.3782 | 1188408.958 | 2613788.117 | 1188406.4184
21 | 2613843.4087 | 1188362.5265 | 2613843.9245 | 1188372.742
22 | 2613779.8502 | 1188455.6619 | 2613779.9441 | 1188449.2414 | 2613780.5509 | 1188440.7273 | 2613781.7829 | 1188432.3035 | 2613783.7119 | 1188422.6584 | 2613786.0982 | 1188413.1367 | 2613788.117 | 1188406.4184
23 | 2614314.9019 | 1188443.8048 | 2614314.1131 | 1188445.4649 | 2614313.0192 | 1188448.191
24 | 2614305.4736 | 1188465.9258 | 2614310.2537 | 1188455.0829 | 2614313.0192 | 1188448.191
25 | 2614314.9019 | 1188443.8048 | 2614319.9698 | 1188433.139 | 2614321.9011 | 1188428.8631
26 | 2614302.7191 | 1188472.1739 | 2614305.4736 | 1188465.9258
27 | 2614321.9011 | 1188428.8631 | 2614325.8281 | 1188420.1684 | 2614329.9204 | 1188412.0628 | 2614331.5718 | 1188408.8099
28 | 2614300.347 | 1188477.5926 | 2614300.6677 | 1188476.8271 | 2614302.7191 | 1188472.1739
29 | 2614332.7905 | 1188406.4094 | 2614331.5718 | 1188408.8099
30 | 2614300.347 | 1188477.5926 | 2614291.0055 | 1188499.8881
31 | 2614197.0784 | 1188452.11 | 2614193.6426 | 1188448.8619
32 | 2614197.0784 | 1188452.11 | 2614198.9415 | 1188453.8714
33 | 2614193.6426 | 1188448.8619 | 2614186.876 | 1188442.4648
34 | 2614198.9415 | 1188453.8714 | 2614239.104 | 1188491.8406
35 | 2614253.0509 | 1188505.0259 | 2614239.104 | 1188491.8406
36 | 2614271.8569 | 1188522.8049 | 2614253.0509 | 1188505.0259
37 | 2614285.7395 | 1188519.1804 | 2614279.0111 | 1188522.8663 | 2614271.8569 | 1188522.8049
38 | 2614285.7395 | 1188519.1804 | 2614286.6955 | 1188514.8915 | 2614290.5192 | 1188501.0489 | 2614290.8413 | 1188500.28
39 | 2614185.6783 | 1188441.3324 | 2614178.1694 | 1188323.7281
40 | 2614178.1694 | 1188323.7281 | 2614176.1352 | 1188321.5163
41 | 2614185.6783 | 1188441.3324 | 2614186.876 | 1188442.4648
42 | 2614316.9942 | 1188347.0981 | 2614308.4895 | 1188353.5034 | 2614306.3999 | 1188355.6525
43 | 2614380.2099 | 1188337.9553 | 2614369.2898 | 1188336.9175 | 2614355.2783 | 1188336.784 | 2614345.1478 | 1188337.2712 | 2614336.0355 | 1188339.395 | 2614324.3713 | 1188343.3359 | 2614316.9942 | 1188347.0981
44 | 2614300.1857 | 1188362.0437 | 2614306.3999 | 1188355.6525
45 | 2614380.2099 | 1188337.9553 | 2614377.1531 | 1188343.562 | 2614371.2424 | 1188349.6844 | 2614366.0717 | 1188355.7752 | 2614363.2045 | 1188358.6254 | 2614357.972 | 1188365.0385 | 2614350.5822 | 1188374.0923 | 2614344.3356 | 1188383.5712 | 2614341.715 | 1188388.6009 | 2614336.8482 | 1188398.4167 | 2614332.7905 | 1188406.4094
46 | 2614290.8413 | 1188500.28 | 2614291.0055 | 1188499.8881
47 | 2613813.4444 | 1188756.8546 | 2613817.3609 | 1188755.8542 | 2613819.8142 | 1188755.9218
48 | 2613778.6342 | 1188807.7147 | 2613783.9486 | 1188805.0699 | 2613785.1972 | 1188802.7049 | 2613786.8364 | 1188776.3727 | 2613788.0932 | 1188770.4169 | 2613792.2763 | 1188765.5906 | 2613798.1581 | 1188761.6576 | 2613807.3102 | 1188758.4214 | 2613813.4444 | 1188756.8546
49 | 2613777.8107 | 1188800.9871 | 2613778.6342 | 1188807.7147
50 | 2613777.8107 | 1188800.9871 | 2613774.0264 | 1188771.5964 | 2613772.7848 | 1188760.9102 | 2613771.9709 | 1188749.9692 | 2613771.754 | 1188745.6019
51 | 2613777.8107 | 1188800.9871 | 2613774.1659 | 1188807.2487 | 2613774.1519 | 1188813.3629 | 2613774.5312 | 1188818.2007
52 | 2613771.4374 | 1188738.275 | 2613771.4314 | 1188739.1068 | 2613771.754 | 1188745.6019
53 | 2613774.6842 | 1188850.6837 | 2613775.546 | 1188830.7085 | 2613774.9522 | 1188823.5701 | 2613774.5312 | 1188818.2007
54 | 2613774.6842 | 1188850.6837 | 2613762.9162 | 1188850.5567 | 2613747.064 | 1188848.7862 | 2613731.329 | 1188849.1282
55 | 2613692.6591 | 1188853.6901 | 2613696.099 | 1188853.1611 | 2613718.5358 | 1188850.4552 | 2613731.329 | 1188849.1282 | 2613731.329 | 1188849.1282
56 | 2613780.1621 | 1188473.8881 | 2613781.384 | 1188481.5102
57 | 2613780.1621 | 1188473.8881 | 2613779.8174 | 1188457.9012 | 2613779.8502 | 1188455.6619
58 | 2613780.1621 | 1188473.8881 | 2613776.4802 | 1188472.9681 | 2613773.3104 | 1188468.2695 | 2613766.4014 | 1188451.0336 | 2613763.6346 | 1188446.825 | 2613759.5542 | 1188446.7268 | 2613759.2779 | 1188446.8637
59 | 2613757.5344 | 1188447.7277 | 2613759.2779 | 1188446.8637
60 | 2613403.6975 | 1188391.03 | 2613402.3365 | 1188390.7799 | 2613398.714 | 1188390.5384 | 2613395.891 | 1188390.9212 | 2613383.3981 | 1188394.6246
61 | 2613606.0741 | 1188517.6745 | 2613403.6975 | 1188391.03
62 | 2613752.1855 | 1188450.3785 | 2613606.0741 | 1188517.6745
63 | 2613757.5344 | 1188447.7277 | 2613752.1855 | 1188450.3785 | 2613752.1855 | 1188450.3785

## bus_geodata
| x | y | coords
0 | 2613987.252 | 1188360.3261
1 | 2613991.4934 | 1188349.7786
2 | 2613981.0734 | 1188503.5373
3 | 2614007.1422 | 1188307.7923
4 | 2613846.5838 | 1188479.2388
5 | 2614011.3192 | 1188284.6844
6 | 2614014.9246 | 1188228.2689
7 | 2614172.5862 | 1188280.877
8 | 2613923.7806 | 1188232.1615
9 | 2613849.3466 | 1188575.5761
10 | 2613850.9639 | 1188607.5317
11 | 2613845.9726 | 1188443.6056
12 | 2613771.5557 | 1188727.6474
13 | 2613845.9505 | 1188442.3179
14 | 2613845.941 | 1188441.7645
15 | 2613845.3782 | 1188408.958
16 | 2613843.9245 | 1188372.742
17 | 2613788.117 | 1188406.4184
18 | 2613843.4087 | 1188362.5265
19 | 2614313.0192 | 1188448.191
20 | 2614314.9019 | 1188443.8048
21 | 2614305.4736 | 1188465.9258
22 | 2614321.9011 | 1188428.8631
23 | 2614302.7191 | 1188472.1739
24 | 2614331.5718 | 1188408.8099
25 | 2614300.347 | 1188477.5926
26 | 2614197.0784 | 1188452.11
27 | 2614193.6426 | 1188448.8619
28 | 2614198.9415 | 1188453.8714
29 | 2614239.104 | 1188491.8406
30 | 2614253.0509 | 1188505.0259
31 | 2614271.8569 | 1188522.8049
32 | 2614285.7395 | 1188519.1804
33 | 2614178.1694 | 1188323.7281
34 | 2614185.6783 | 1188441.3324
35 | 2614176.1353 | 1188321.5163
36 | 2614188.1041 | 1188295.5991
37 | 2614316.9942 | 1188347.0981
38 | 2614306.3999 | 1188355.6525
39 | 2614380.2099 | 1188337.9553
40 | 2614300.1857 | 1188362.0437
41 | 2614332.7905 | 1188406.4094
42 | 2614291.0055 | 1188499.8881
43 | 2614290.8413 | 1188500.28
44 | 2613813.4444 | 1188756.8546
45 | 2613819.8142 | 1188755.9218
46 | 2613778.6342 | 1188807.7147
47 | 2613777.8107 | 1188800.9871
48 | 2613771.754 | 1188745.6019
49 | 2613774.5312 | 1188818.2007
50 | 2613774.6842 | 1188850.6837
51 | 2613731.329 | 1188849.1282
52 | 2613771.4374 | 1188738.275
53 | 2613781.384 | 1188481.5102
54 | 2613780.1621 | 1188473.8881
55 | 2613779.8502 | 1188455.6619
56 | 2613759.2779 | 1188446.8637
57 | 2613383.3981 | 1188394.6246
58 | 2613403.6975 | 1188391.03
59 | 2613606.0741 | 1188517.6745
60 | 2613752.1855 | 1188450.3785
61 | 2613757.5344 | 1188447.7277
62 | 2613692.6591 | 1188853.6901
63 | 2614186.876 | 1188442.4648
64 | 2614009.3037 | 1188313.7083
65 | 2613846.125 | 1188452.4951

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1