## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_619-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_619-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_619-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_619-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_619-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_619-5_0_5_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_619-5_0_5_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_619-5_0_5_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_619-5_0_5_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_619-5_0_5_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_619-5_0_5_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_619-5_0_5_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_619-5_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_619-5_0_5_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_619-5_0_5_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_619-5_0_5_node_64 | 0.4 | n |  | TRUE
16 | bus_LV_619-5_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_619-5_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_619-5_0_5_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_619-5_0_5_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_619-5_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_619-5_0_5_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_619-5_0_5_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_619-5_0_5_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_619-5_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_619-5_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_619-5_0_5_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_619-5_0_5_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_619-5_0_5_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_619-5_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_619-5_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_619-5_0_5_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_619-5_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_619-5_0_5_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_619-5_0_5_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_619-5_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_619-5_0_5_node_104 | 0.4 | n |  | TRUE
37 | bus_LV_619-5_0_5_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_619-5_0_5_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_619-5_0_5_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_619-5_0_5_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_619-5_0_5_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_619-5_0_5_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_619-5_0_5_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_619-5_0_5_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_619-5_0_5_node_97 | 0.4 | n |  | TRUE
46 | bus_LV_619-5_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_619-5_0_5_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_619-5_0_5_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_619-5_0_5_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_619-5_0_5_node_60 | 0.4 | n |  | TRUE
51 | bus_LV_619-5_0_5_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_619-5_0_5_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_619-5_0_5_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_619-5_0_5_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_619-5_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_619-5_0_5_node_75 | 0.4 | n |  | TRUE
57 | bus_LV_619-5_0_5_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_619-5_0_5_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_619-5_0_5_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_619-5_0_5_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_619-5_0_5_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_619-5_0_5_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_619-5_0_5_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_619-5_0_5_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_619-5_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_619-5_0_5_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_619-5_0_5_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_619-5_0_5_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_619-5_0_5_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_619-5_0_5_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_619-5_0_5_node_48 | 0.4 | n |  | TRUE
72 | bus_LV_619-5_0_5_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_619-5_0_5_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_619-5_0_5_node_57 | 0.4 | n |  | TRUE
75 | bus_LV_619-5_0_5_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_619-5_0_5_node_50 | 0.4 | n |  | TRUE
77 | bus_LV_619-5_0_5_node_51 | 0.4 | n |  | TRUE
78 | bus_LV_619-5_0_5_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_619-5_0_5_node_53 | 0.4 | n |  | TRUE
80 | bus_LV_619-5_0_5_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_619-5_0_5_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_619-5_0_5_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_619-5_0_5_node_56 | 0.4 | n |  | TRUE
84 | bus_LV_619-5_0_5_node_58 | 0.4 | n |  | TRUE
85 | bus_LV_619-5_0_5_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_619-5_0_5_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_619-5_0_5_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_619-5_0_5_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_619-5_0_5_node_72 | 0.4 | n |  | TRUE
90 | bus_LV_619-5_0_5_node_65 | 0.4 | n |  | TRUE
91 | bus_LV_619-5_0_5_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_619-5_0_5_node_83 | 0.4 | n |  | TRUE
93 | bus_LV_619-5_0_5_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_619-5_0_5_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_619-5_0_5_node_98 | 0.4 | n |  | TRUE
96 | bus_LV_619-5_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_619-5_0_5_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_619-5_0_5_node_101 | 0.4 | n |  | TRUE
99 | bus_LV_619-5_0_5_node_102 | 0.4 | n |  | TRUE
100 | bus_LV_619-5_0_5_node_103 | 0.4 | n |  | TRUE
101 | bus_LV_619-5_0_5_node_107 | 0.4 | n |  | TRUE
102 | bus_MV_94_0_node_80 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_619-5_0_5_load_0 | 0 | 0.0020347 | 0.00050994 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_619-5_0_5_load_1 | 1 | 0.0011427 | 0.00028639 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_619-5_0_5_load_4 | 4 | 0.0045109 | 0.0011305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_619-5_0_5_load_81 | 6 | 0.0017805 | 0.00044625 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_619-5_0_5_load_78 | 7 | 0.003803 | 0.00095312 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_619-5_0_5_load_36 | 8 | 0.0020356 | 0.00051017 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_619-5_0_5_load_35 | 9 | 0.0022118 | 0.00055432 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_619-5_0_5_load_37 | 10 | 0.0047208 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_619-5_0_5_load_66 | 11 | 0.0011076 | 0.00027759 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_619-5_0_5_load_5 | 12 | 0.017146 | 0.0042972 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_619-5_0_5_load_47 | 13 | 0.0053149 | 0.001332 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_619-5_0_5_load_46 | 14 | 0.0016577 | 0.00041547 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_619-5_0_5_load_64 | 15 | 0.001198 | 0.00030025 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_619-5_0_5_load_6 | 16 | 0.010586 | 0.002653 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_619-5_0_5_load_7 | 17 | 0.0061785 | 0.0015485 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_619-5_0_5_load_8 | 18 | 0.017257 | 0.004325 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_619-5_0_5_load_9 | 19 | 0.024187 | 0.0060619 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_619-5_0_5_load_10 | 20 | 0.015937 | 0.0039941 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_619-5_0_5_load_73 | 21 | 0.0046557 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_619-5_0_5_load_25 | 24 | 0.0025577 | 0.00064103 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_619-5_0_5_load_11 | 25 | 0.0030771 | 0.0007712 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_619-5_0_5_load_12 | 26 | 0.0048833 | 0.0012239 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_619-5_0_5_load_13 | 27 | 0.0027338 | 0.00068515 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_619-5_0_5_load_14 | 28 | 0.0041755 | 0.0010465 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_619-5_0_5_load_16 | 30 | 0.0050278 | 0.0012601 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_619-5_0_5_load_17 | 33 | 0.0045004 | 0.0011279 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_619-5_0_5_load_92 | 34 | 0.007744 | 0.0019408 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_619-5_0_5_load_62 | 37 | 0.0076044 | 0.0019059 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_619-5_0_5_load_19 | 38 | 0.01064 | 0.0026666 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_619-5_0_5_load_33 | 41 | 0.0012046 | 0.00030189 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_619-5_0_5_load_29 | 42 | 0.006024 | 0.0015097 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_619-5_0_5_load_20 | 43 | 0.0025377 | 0.000636 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_619-5_0_5_load_28 | 44 | 0.0045234 | 0.0011337 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_619-5_0_5_load_97 | 45 | 0.0055109 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_619-5_0_5_load_24 | 47 | 0.0042965 | 0.0010768 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_619-5_0_5_load_26 | 48 | 0.0070865 | 0.0017761 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_619-5_0_5_load_61 | 49 | 0.033023 | 0.0082763 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_619-5_0_5_load_60 | 50 | 0.0055398 | 0.0013884 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_619-5_0_5_load_30 | 51 | 0.0023534 | 0.00058982 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_619-5_0_5_load_32 | 52 | 0.001712 | 0.00042906 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_619-5_0_5_load_67 | 54 | 0.0016876 | 0.00042296 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_619-5_0_5_load_77 | 55 | 0.0041107 | 0.0010302 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_619-5_0_5_load_75 | 56 | 0.0032192 | 0.0008068 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_619-5_0_5_load_68 | 57 | 0.0052823 | 0.0013239 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_619-5_0_5_load_71 | 58 | 0.030049 | 0.0075311 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_619-5_0_5_load_82 | 59 | 0.00088381 | 0.0002215 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_619-5_0_5_load_69 | 60 | 0.0022371 | 0.00056068 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_619-5_0_5_load_39 | 61 | 0.027423 | 0.0068728 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_619-5_0_5_load_44 | 63 | 0.043225 | 0.010833 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_619-5_0_5_load_45 | 64 | 0.0283 | 0.0070926 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_619-5_0_5_load_94 | 66 | 0.0043848 | 0.0010989 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_619-5_0_5_load_93 | 68 | 0.0077734 | 0.0019482 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_619-5_0_5_load_90 | 69 | 0.0053157 | 0.0013322 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_619-5_0_5_load_79 | 70 | 0.027327 | 0.0068489 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_619-5_0_5_load_49 | 72 | 0.0038351 | 0.00096116 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_619-5_0_5_load_63 | 73 | 0.0017789 | 0.00044583 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_619-5_0_5_load_57 | 74 | 0.00054154 | 0.00013572 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_619-5_0_5_load_55 | 75 | 0.0015466 | 0.00038762 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_619-5_0_5_load_50 | 76 | 0.0016508 | 0.00041374 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_619-5_0_5_load_51 | 77 | 0.0017812 | 0.00044641 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_619-5_0_5_load_52 | 78 | 0.0013964 | 0.00034998 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_619-5_0_5_load_76 | 80 | 0.0024648 | 0.00061773 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_619-5_0_5_load_74 | 81 | 0.0016121 | 0.00040402 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_619-5_0_5_load_54 | 82 | 0.003362 | 0.00084258 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_619-5_0_5_load_89 | 86 | 0.0088767 | 0.0022247 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_619-5_0_5_load_84 | 87 | 0.0061514 | 0.0015417 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_619-5_0_5_load_87 | 88 | 0.00053005 | 0.00013284 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_619-5_0_5_load_72 | 89 | 0.0025988 | 0.00065132 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_619-5_0_5_load_65 | 90 | 0.0019261 | 0.00048272 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_619-5_0_5_load_83 | 92 | 0.0017453 | 0.00043743 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_619-5_0_5_load_96 | 94 | 0.0097008 | 0.0024313 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_619-5_0_5_load_98 | 95 | 0.01137 | 0.0028497 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_619-5_0_5_load_99 | 96 | 0.012982 | 0.0032536 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_619-5_0_5_load_101 | 98 | 0.017019 | 0.0042654 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_619-5_0_5_load_103 | 100 | 0.01052 | 0.0026365 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_619-5_0_5_load_107 | 101 | 0.0035417 | 0.00088764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_619-5_0_5_line_0 |  | 0 | 1 | 0.025624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_619-5_0_5_line_1 |  | 0 | 2 | 0.047063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_619-5_0_5_line_2 |  | 2 | 3 | 0.023314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_619-5_0_5_line_3 |  | 2 | 4 | 0.067241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_619-5_0_5_line_4 |  | 3 | 11 | 0.027919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_619-5_0_5_line_5 |  | 4 | 12 | 0.037098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_619-5_0_5_line_6 |  | 4 | 9 | 0.059375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_619-5_0_5_line_7 |  | 5 | 6 | 0.021248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_619-5_0_5_line_8 |  | 5 | 7 | 0.015979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_619-5_0_5_line_9 |  | 5 | 8 | 0.0027853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_619-5_0_5_line_10 |  | 6 | 59 | 0.00026632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_619-5_0_5_line_11 |  | 7 | 60 | 0.0067785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_619-5_0_5_line_12 |  | 8 | 9 | 0.0034827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_619-5_0_5_line_13 |  | 9 | 10 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_619-5_0_5_line_14 |  | 11 | 15 | 0.024261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_619-5_0_5_line_15 |  | 13 | 14 | 0.023611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_619-5_0_5_line_16 |  | 14 | 71 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_619-5_0_5_line_17 |  | 15 | 73 | 0.018985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_619-5_0_5_line_18 |  | 16 | 17 | 0.015686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_619-5_0_5_line_19 |  | 16 | 18 | 0.027363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_619-5_0_5_line_20 |  | 17 | 19 | 0.056613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_619-5_0_5_line_21 |  | 18 | 20 | 0.0025354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_619-5_0_5_line_22 |  | 19 | 21 | 0.06263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_619-5_0_5_line_23 |  | 20 | 22 | 0.029062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_619-5_0_5_line_24 |  | 22 | 23 | 0.014434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_619-5_0_5_line_25 |  | 22 | 24 | 0.010711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_619-5_0_5_line_26 |  | 23 | 49 | 0.015262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_619-5_0_5_line_27 |  | 23 | 50 | 0.014412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_619-5_0_5_line_28 |  | 24 | 47 | 0.0055803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_619-5_0_5_line_29 |  | 25 | 26 | 0.0018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_619-5_0_5_line_30 |  | 25 | 27 | 0.018888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_619-5_0_5_line_31 |  | 26 | 28 | 0.018163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_619-5_0_5_line_32 |  | 27 | 29 | 0.021007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_619-5_0_5_line_33 |  | 28 | 30 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_619-5_0_5_line_34 |  | 29 | 31 | 0.003855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_619-5_0_5_line_35 |  | 29 | 32 | 0.038141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_619-5_0_5_line_36 |  | 30 | 33 | 0.017837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_619-5_0_5_line_37 |  | 31 | 34 | 0.021853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_619-5_0_5_line_38 |  | 32 | 38 | 0.018243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_619-5_0_5_line_39 |  | 33 | 39 | 0.017723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_619-5_0_5_line_40 |  | 34 | 44 | 0.01313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_619-5_0_5_line_41 |  | 35 | 36 | 0.029595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_619-5_0_5_line_42 |  | 35 | 37 | 0.033355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_619-5_0_5_line_43 |  | 36 | 45 | 0.02173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_619-5_0_5_line_44 |  | 37 | 46 | 0.041183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_619-5_0_5_line_45 |  | 38 | 43 | 0.025217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_619-5_0_5_line_46 |  | 39 | 40 | 0.033486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_619-5_0_5_line_47 |  | 40 | 41 | 0.0095109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_619-5_0_5_line_48 |  | 40 | 42 | 0.0089661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_619-5_0_5_line_49 |  | 41 | 54 | 0.012491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_619-5_0_5_line_50 |  | 42 | 51 | 0.010598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_619-5_0_5_line_51 |  | 44 | 48 | 0.0055906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_619-5_0_5_line_52 |  | 46 | 65 | 0.028737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_619-5_0_5_line_53 |  | 46 | 50 | 0.030425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_619-5_0_5_line_54 |  | 47 | 48 | 0.0099544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_619-5_0_5_line_55 |  | 49 | 58 | 0.021757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_619-5_0_5_line_56 |  | 51 | 52 | 0.024094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_619-5_0_5_line_57 |  | 52 | 53 | 0.031354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_619-5_0_5_line_58 |  | 53 | 55 | 0.024145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_619-5_0_5_line_59 |  | 53 | 56 | 0.010549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_619-5_0_5_line_60 |  | 54 | 57 | 0.00032677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_619-5_0_5_line_61 |  | 56 | 81 | 0.016582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_619-5_0_5_line_62 |  | 57 | 60 | 0.018053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_619-5_0_5_line_63 |  | 58 | 89 | 0.04133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_619-5_0_5_line_64 |  | 61 | 62 | 0.01518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_619-5_0_5_line_65 |  | 62 | 63 | 0.037942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_619-5_0_5_line_66 |  | 62 | 64 | 0.028414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_619-5_0_5_line_67 |  | 63 | 67 | 0.012061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_619-5_0_5_line_68 |  | 65 | 66 | 0.013605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_619-5_0_5_line_69 |  | 66 | 68 | 0.024401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_619-5_0_5_line_70 |  | 67 | 69 | 0.022936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_619-5_0_5_line_71 |  | 67 | 70 | 0.0034521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_619-5_0_5_line_72 |  | 68 | 93 | 0.02018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_619-5_0_5_line_73 |  | 70 | 89 | 5.6546e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_619-5_0_5_line_74 |  | 71 | 72 | 0.0079916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_619-5_0_5_line_75 |  | 72 | 74 | 0.0080039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_619-5_0_5_line_76 |  | 73 | 90 | 0.0089163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_619-5_0_5_line_77 |  | 74 | 75 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_619-5_0_5_line_78 |  | 75 | 82 | 0.034303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_619-5_0_5_line_79 |  | 76 | 77 | 0.0016609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_619-5_0_5_line_80 |  | 76 | 78 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_619-5_0_5_line_81 |  | 78 | 79 | 0.008533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_619-5_0_5_line_82 |  | 79 | 80 | 0.010667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_619-5_0_5_line_83 |  | 79 | 81 | 0.0096472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_619-5_0_5_line_84 |  | 82 | 83 | 0.033295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_619-5_0_5_line_85 |  | 83 | 84 | 0.019677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_619-5_0_5_line_86 |  | 84 | 85 | 0.035744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_619-5_0_5_line_87 |  | 84 | 86 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_619-5_0_5_line_88 |  | 85 | 87 | 0.022333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_619-5_0_5_line_89 |  | 86 | 88 | 0.013132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_619-5_0_5_line_90 |  | 88 | 91 | 0.027042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_619-5_0_5_line_91 |  | 90 | 91 | 0.042807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_619-5_0_5_line_92 |  | 91 | 92 | 0.0036845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_619-5_0_5_line_93 |  | 93 | 94 | 0.028633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_619-5_0_5_line_94 |  | 94 | 95 | 0.026745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_619-5_0_5_line_95 |  | 95 | 96 | 0.0045482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_619-5_0_5_line_96 |  | 96 | 97 | 0.024444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_619-5_0_5_line_97 |  | 97 | 98 | 0.037194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_619-5_0_5_line_98 |  | 98 | 99 | 0.057789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_619-5_0_5_line_99 |  | 99 | 100 | 0.048363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_619-5_0_5_line_100 |  | 99 | 101 | 0.079482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_619-5_0_5_trafo_61 | 0.63 MVA 20/0.4 kV | 102 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2613448.5547 | 1187436.514 | 2613425.6556 | 1187425.0143
1 | 2613478.8136 | 1187470.1149 | 2613473.4514 | 1187459.5529 | 2613470.6671 | 1187452.6653 | 2613465.9509 | 1187446.6294 | 2613450.9653 | 1187437.7246 | 2613448.5547 | 1187436.514
2 | 2613487.6143 | 1187491.7014 | 2613482.6204 | 1187480.2398 | 2613478.8136 | 1187470.1149
3 | 2613478.8136 | 1187470.1149 | 2613477.4137 | 1187441.1967 | 2613476.0514 | 1187409.088 | 2613475.2592 | 1187402.9876
4 | 2613487.6143 | 1187491.7014 | 2613489.176 | 1187502.8663 | 2613491.8201 | 1187511.032 | 2613495.9419 | 1187517.9616
5 | 2613461.6247 | 1187369.3215 | 2613471.1741 | 1187383.019 | 2613474.6116 | 1187398.0012 | 2613475.2592 | 1187402.9876
6 | 2613533.6353 | 1187392.1445 | 2613475.2592 | 1187402.9876
7 | 2613536.1297 | 1187397.8948 | 2613538.0357 | 1187405.2251 | 2613543.1389 | 1187412.1736 | 2613545.9072 | 1187416.4004
8 | 2613536.1297 | 1187397.8948 | 2613547.0718 | 1187393.4171 | 2613550.963 | 1187391.958
9 | 2613536.1297 | 1187397.8948 | 2613535.0213 | 1187395.3395
10 | 2613546.0531 | 1187416.6232 | 2613545.9072 | 1187416.4004
11 | 2613550.963 | 1187391.958 | 2613557.3101 | 1187389.5782
12 | 2613533.6353 | 1187392.1445 | 2613535.0213 | 1187395.3395
13 | 2613527.6699 | 1187373.9967 | 2613532.1377 | 1187388.6921 | 2613533.6353 | 1187392.1445
14 | 2613495.9419 | 1187517.9616 | 2613503.2351 | 1187530.2232 | 2613506.0775 | 1187538.3894 | 2613506.3198 | 1187539.7147
15 | 2613558.0661 | 1187531.5361 | 2613549.3097 | 1187510.7055 | 2613550.2375 | 1187510.2947
16 | 2613571.5446 | 1187542.172 | 2613563.3643 | 1187539.9079 | 2613558.0661 | 1187531.5361
17 | 2613509.734 | 1187558.3897 | 2613506.3198 | 1187539.7147
18 | 2613641.4549 | 1187429.9988 | 2613641.9602 | 1187429.2947 | 2613644.9901 | 1187425.3773 | 2613648.5075 | 1187421.7611 | 2613652.0358 | 1187418.4739
19 | 2613673.0976 | 1187401.0056 | 2613652.1617 | 1187418.3565 | 2613652.0358 | 1187418.4739
20 | 2613641.4549 | 1187429.9988 | 2613639.6185 | 1187432.5577 | 2613637.5392 | 1187437.8113 | 2613637.1232 | 1187442.9352 | 2613637.9518 | 1187447.6285 | 2613647.7065 | 1187484.2584
21 | 2613675.0497 | 1187399.3877 | 2613673.0976 | 1187401.0056
22 | 2613674.5124 | 1187539.7039 | 2613657.3322 | 1187516.5194 | 2613655.319 | 1187512.8574 | 2613652.1648 | 1187500.9996 | 2613647.7065 | 1187484.2584
23 | 2613700.9374 | 1187389.1633 | 2613689.8065 | 1187389.427 | 2613683.1698 | 1187392.658 | 2613675.0497 | 1187399.3877
24 | 2613700.9374 | 1187389.1633 | 2613702.0565 | 1187403.5512
25 | 2613700.9374 | 1187389.1633 | 2613700.2037 | 1187378.4779
26 | 2613702.0565 | 1187403.5512 | 2613702.2963 | 1187408.81 | 2613703.1891 | 1187418.7676
27 | 2613702.0565 | 1187403.5512 | 2613716.375 | 1187401.9164
28 | 2613700.2037 | 1187378.4779 | 2613699.8214 | 1187372.9107
29 | 2613657.1673 | 1187328.7809 | 2613655.3119 | 1187329.0764
30 | 2613675.8206 | 1187325.8097 | 2613657.1673 | 1187328.7809
31 | 2613637.375 | 1187331.9335 | 2613655.3119 | 1187329.0764
32 | 2613695.9068 | 1187320.2493 | 2613688.7817 | 1187323.5348 | 2613682.9965 | 1187324.6667 | 2613675.8206 | 1187325.8097
33 | 2613637.375 | 1187331.9335 | 2613620.1612 | 1187335.212
34 | 2613698.7388 | 1187322.846 | 2613697.1928 | 1187321.6863 | 2613695.9068 | 1187320.2493
35 | 2613695.9068 | 1187320.2493 | 2613694.2745 | 1187316.8105 | 2613694.0542 | 1187313.0191 | 2613695.2754 | 1187309.4089 | 2613697.7614 | 1187306.5241 | 2613692.919 | 1187298.9981 | 2613688.4328 | 1187285.7699
36 | 2613620.1612 | 1187335.212 | 2613602.6389 | 1187338.5492
37 | 2613698.7388 | 1187322.846 | 2613697.2111 | 1187327.078 | 2613696.4753 | 1187331.9122 | 2613697.2612 | 1187341.9192 | 2613697.5094 | 1187344.3322
38 | 2613688.4328 | 1187285.7699 | 2613687.2879 | 1187279.3417 | 2613685.5754 | 1187267.7537
39 | 2613586.1726 | 1187344.5242 | 2613590.145 | 1187342.132 | 2613594.6888 | 1187340.0634 | 2613600.6876 | 1187338.9208 | 2613602.6389 | 1187338.5492
40 | 2613697.5094 | 1187344.3322 | 2613698.3732 | 1187352.7274 | 2613698.717 | 1187357.405
41 | 2613769.4905 | 1187321.9181 | 2613762.057 | 1187323.2463 | 2613752.824 | 1187324.1923 | 2613739.977 | 1187324.2296
42 | 2613739.977 | 1187324.2296 | 2613742.9427 | 1187357.4523
43 | 2613769.4905 | 1187321.9181 | 2613771.1699 | 1187343.5831
44 | 2613746.6045 | 1187398.4724 | 2613742.9427 | 1187357.4523
45 | 2613681.8889 | 1187242.8073 | 2613685.5754 | 1187267.7537
46 | 2613586.1726 | 1187344.5242 | 2613585.5925 | 1187348.0359 | 2613586.5903 | 1187352.118 | 2613595.4155 | 1187376.2839
47 | 2613595.4155 | 1187376.2839 | 2613586.5339 | 1187379.6859
48 | 2613595.4155 | 1187376.2839 | 2613597.8593 | 1187384.9106
49 | 2613574.7878 | 1187383.9162 | 2613578.1902 | 1187382.8818 | 2613586.5339 | 1187379.6859
50 | 2613597.8593 | 1187384.9106 | 2613600.7479 | 1187395.1071
51 | 2613699.1268 | 1187362.9805 | 2613698.717 | 1187357.405
52 | 2613746.6045 | 1187398.4724 | 2613761.9946 | 1187397.1735 | 2613775.2628 | 1187396.3813
53 | 2613746.6045 | 1187398.4724 | 2613735.3722 | 1187399.7474 | 2613716.375 | 1187401.9164
54 | 2613699.1268 | 1187362.9805 | 2613699.3204 | 1187365.614 | 2613699.8214 | 1187372.9107
55 | 2613703.1891 | 1187418.7676 | 2613704.3868 | 1187432.1269 | 2613706.4025 | 1187440.2238
56 | 2613600.7479 | 1187395.1071 | 2613600.8798 | 1187395.573 | 2613606.355 | 1187416.7964 | 2613606.8457 | 1187418.4155
57 | 2613615.0788 | 1187448.6439 | 2613612.8519 | 1187438.2334 | 2613606.8457 | 1187418.4155
58 | 2613615.0788 | 1187448.6439 | 2613621.9889 | 1187469.4592 | 2613622.643 | 1187471.5727
59 | 2613615.0788 | 1187448.6439 | 2613604.9937 | 1187451.7371
60 | 2613574.7878 | 1187383.9162 | 2613574.4752 | 1187384.0112
61 | 2613589.1796 | 1187456.7227 | 2613597.2688 | 1187454.1064 | 2613604.9937 | 1187451.7371
62 | 2613574.4752 | 1187384.0112 | 2613562.2199 | 1187387.7372 | 2613557.3101 | 1187389.5782
63 | 2613719.8861 | 1187479.164 | 2613714.8387 | 1187468.6587 | 2613708.8091 | 1187449.8907 | 2613706.4025 | 1187440.2238
64 | 2613769.6521 | 1187471.2185 | 2613767.8787 | 1187456.142
65 | 2613769.6521 | 1187471.2185 | 2613746.8225 | 1187473.3007 | 2613732.3321 | 1187477.2458
66 | 2613769.6521 | 1187471.2185 | 2613797.9773 | 1187468.9718
67 | 2613721.3835 | 1187482.2807 | 2613731.6779 | 1187477.4239 | 2613732.3321 | 1187477.2458
68 | 2613775.2628 | 1187396.3813 | 2613784.06 | 1187395.79 | 2613788.829 | 1187395.363
69 | 2613813.1332 | 1187393.187 | 2613788.829 | 1187395.363
70 | 2613721.3835 | 1187482.2807 | 2613730.5606 | 1187503.3005
71 | 2613721.3835 | 1187482.2807 | 2613719.8885 | 1187479.1691
72 | 2613832.084 | 1187388.6187 | 2613828.247 | 1187391.8338 | 2613813.1332 | 1187393.187
73 | 2613719.8861 | 1187479.164 | 2613719.8885 | 1187479.1691
74 | 2613571.5446 | 1187542.172 | 2613573.1686 | 1187549.3127 | 2613573.606 | 1187549.8184
75 | 2613573.606 | 1187549.8184 | 2613578.8423 | 1187555.8718
76 | 2613511.3375 | 1187567.1606 | 2613509.734 | 1187558.3897
77 | 2613584.2542 | 1187565.2922 | 2613581.1273 | 1187558.5133 | 2613578.8423 | 1187555.8718
78 | 2613599.0922 | 1187596.1924 | 2613598.0266 | 1187594.6481 | 2613588.6578 | 1187574.8388 | 2613584.2542 | 1187565.2922
79 | 2613560.8416 | 1187437.3749 | 2613559.7416 | 1187436.1305
80 | 2613560.8416 | 1187437.3749 | 2613567.8193 | 1187445.2687 | 2613575.0564 | 1187454.1468
81 | 2613580.4479 | 1187460.7608 | 2613575.0564 | 1187454.1468
82 | 2613576.9722 | 1187469.5686 | 2613576.3702 | 1187465.8876 | 2613578.0115 | 1187462.0226 | 2613580.4479 | 1187460.7608
83 | 2613580.4479 | 1187460.7608 | 2613586.6191 | 1187457.5508 | 2613589.1796 | 1187456.7227
84 | 2613618.001 | 1187623.5972 | 2613599.0922 | 1187596.1924
85 | 2613618.001 | 1187623.5972 | 2613601.5941 | 1187612.6655
86 | 2613578.1223 | 1187639.2819 | 2613587.8584 | 1187631.5554 | 2613601.5941 | 1187612.6655
87 | 2613601.5941 | 1187612.6655 | 2613597.8386 | 1187610.3002 | 2613585.5057 | 1187601.6933
88 | 2613578.1223 | 1187639.2819 | 2613576.3872 | 1187637.4437 | 2613568.8099 | 1187638.4494 | 2613563.0774 | 1187640.0595 | 2613560.1504 | 1187634.5854
89 | 2613585.5057 | 1187601.6933 | 2613574.7364 | 1187594.1777
90 | 2613552.5588 | 1187578.7038 | 2613572.9557 | 1187592.935 | 2613574.7364 | 1187594.1777
91 | 2613552.5588 | 1187578.7038 | 2613511.3375 | 1187567.1606
92 | 2613552.5588 | 1187578.7038 | 2613554.4376 | 1187581.8733
93 | 2613832.084 | 1187388.6187 | 2613829.1307 | 1187360.1388
94 | 2613826.3722 | 1187333.5368 | 2613829.1307 | 1187360.1388
95 | 2613826.3722 | 1187333.5368 | 2613825.9031 | 1187329.0128
96 | 2613823.3819 | 1187304.6994 | 2613825.9031 | 1187329.0128
97 | 2613823.3819 | 1187304.6994 | 2613858.0311 | 1187291.1789
98 | 2613910.9842 | 1187268.2157 | 2613898.6635 | 1187274.8573 | 2613891.7831 | 1187277.7874 | 2613885.8038 | 1187280.3416 | 2613858.0311 | 1187291.1789
99 | 2613910.9842 | 1187268.2157 | 2613914.2346 | 1187274.5932 | 2613915.3829 | 1187279.4762 | 2613915.9312 | 1187315.6613
100 | 2613910.9842 | 1187268.2157 | 2613931.6532 | 1187191.468

## bus_geodata
| x | y | coords
0 | 2613448.5547 | 1187436.514
1 | 2613425.6556 | 1187425.0143
2 | 2613478.8136 | 1187470.1149
3 | 2613487.6143 | 1187491.7014
4 | 2613475.2592 | 1187402.9876
5 | 2613536.1297 | 1187397.8948
6 | 2613545.9072 | 1187416.4004
7 | 2613550.963 | 1187391.958
8 | 2613535.0213 | 1187395.3395
9 | 2613533.6353 | 1187392.1445
10 | 2613527.6699 | 1187373.9967
11 | 2613495.9419 | 1187517.9616
12 | 2613461.6247 | 1187369.3215
13 | 2613550.2375 | 1187510.2947
14 | 2613558.0661 | 1187531.5361
15 | 2613506.3198 | 1187539.7147
16 | 2613652.0358 | 1187418.4739
17 | 2613641.4549 | 1187429.9988
18 | 2613673.0976 | 1187401.0056
19 | 2613647.7065 | 1187484.2584
20 | 2613675.0497 | 1187399.3877
21 | 2613674.5124 | 1187539.7039
22 | 2613700.9374 | 1187389.1633
23 | 2613702.0565 | 1187403.5512
24 | 2613700.2037 | 1187378.4779
25 | 2613657.1673 | 1187328.7809
26 | 2613655.3119 | 1187329.0764
27 | 2613675.8206 | 1187325.8097
28 | 2613637.375 | 1187331.9335
29 | 2613695.9068 | 1187320.2493
30 | 2613620.1612 | 1187335.212
31 | 2613698.7388 | 1187322.846
32 | 2613688.4328 | 1187285.7699
33 | 2613602.6389 | 1187338.5492
34 | 2613697.5094 | 1187344.3322
35 | 2613739.977 | 1187324.2296
36 | 2613769.4905 | 1187321.9181
37 | 2613742.9427 | 1187357.4523
38 | 2613685.5754 | 1187267.7537
39 | 2613586.1726 | 1187344.5242
40 | 2613595.4155 | 1187376.2839
41 | 2613586.5339 | 1187379.6859
42 | 2613597.8593 | 1187384.9106
43 | 2613681.8889 | 1187242.8073
44 | 2613698.717 | 1187357.405
45 | 2613771.1699 | 1187343.5831
46 | 2613746.6045 | 1187398.4724
47 | 2613699.8214 | 1187372.9107
48 | 2613699.1268 | 1187362.9805
49 | 2613703.1891 | 1187418.7676
50 | 2613716.375 | 1187401.9164
51 | 2613600.7479 | 1187395.1071
52 | 2613606.8457 | 1187418.4155
53 | 2613615.0788 | 1187448.6439
54 | 2613574.7878 | 1187383.9162
55 | 2613622.643 | 1187471.5727
56 | 2613604.9937 | 1187451.7371
57 | 2613574.4752 | 1187384.0112
58 | 2613706.4025 | 1187440.2238
59 | 2613546.0531 | 1187416.6232
60 | 2613557.3101 | 1187389.5782
61 | 2613767.8787 | 1187456.142
62 | 2613769.6521 | 1187471.2185
63 | 2613732.3321 | 1187477.2458
64 | 2613797.9773 | 1187468.9718
65 | 2613775.2628 | 1187396.3813
66 | 2613788.829 | 1187395.363
67 | 2613721.3835 | 1187482.2807
68 | 2613813.1332 | 1187393.187
69 | 2613730.5606 | 1187503.3005
70 | 2613719.8885 | 1187479.1691
71 | 2613571.5446 | 1187542.172
72 | 2613573.606 | 1187549.8184
73 | 2613509.734 | 1187558.3897
74 | 2613578.8423 | 1187555.8718
75 | 2613584.2542 | 1187565.2922
76 | 2613560.8416 | 1187437.3749
77 | 2613559.7416 | 1187436.1305
78 | 2613575.0564 | 1187454.1468
79 | 2613580.4479 | 1187460.7608
80 | 2613576.9722 | 1187469.5686
81 | 2613589.1796 | 1187456.7227
82 | 2613599.0922 | 1187596.1924
83 | 2613618.001 | 1187623.5972
84 | 2613601.5941 | 1187612.6655
85 | 2613578.1223 | 1187639.2819
86 | 2613585.5057 | 1187601.6933
87 | 2613560.1504 | 1187634.5854
88 | 2613574.7364 | 1187594.1777
89 | 2613719.8861 | 1187479.164
90 | 2613511.3375 | 1187567.1606
91 | 2613552.5588 | 1187578.7038
92 | 2613554.4376 | 1187581.8733
93 | 2613832.084 | 1187388.6187
94 | 2613829.1307 | 1187360.1388
95 | 2613826.3722 | 1187333.5368
96 | 2613825.9031 | 1187329.0128
97 | 2613823.3819 | 1187304.6994
98 | 2613858.0311 | 1187291.1789
99 | 2613910.9842 | 1187268.2157
100 | 2613915.9312 | 1187315.6613
101 | 2613931.6532 | 1187191.468
102 | 2613702.0565 | 1187403.5512

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1