## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6191-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6191-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6191-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6191-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6191-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6191-3_0_5_node_79 | 0.4 | n |  | TRUE
6 | bus_LV_6191-3_0_5_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_6191-3_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6191-3_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_6191-3_0_5_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_6191-3_0_5_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_6191-3_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_6191-3_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_6191-3_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_6191-3_0_5_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_6191-3_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_6191-3_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_6191-3_0_5_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_6191-3_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_6191-3_0_5_node_60 | 0.4 | n |  | TRUE
20 | bus_LV_6191-3_0_5_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6191-3_0_5_node_70 | 0.4 | n |  | TRUE
22 | bus_LV_6191-3_0_5_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_6191-3_0_5_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_6191-3_0_5_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_6191-3_0_5_node_64 | 0.4 | n |  | TRUE
26 | bus_LV_6191-3_0_5_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_6191-3_0_5_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_6191-3_0_5_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_6191-3_0_5_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_6191-3_0_5_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_6191-3_0_5_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_6191-3_0_5_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_6191-3_0_5_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_6191-3_0_5_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_6191-3_0_5_node_15 | 0.4 | n |  | TRUE
36 | bus_LV_6191-3_0_5_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_6191-3_0_5_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_6191-3_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_6191-3_0_5_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_6191-3_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_6191-3_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_6191-3_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_6191-3_0_5_node_23 | 0.4 | n |  | TRUE
44 | bus_LV_6191-3_0_5_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_6191-3_0_5_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_6191-3_0_5_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_6191-3_0_5_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6191-3_0_5_node_27 | 0.4 | n |  | TRUE
49 | bus_LV_6191-3_0_5_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_6191-3_0_5_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_6191-3_0_5_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_6191-3_0_5_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_6191-3_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_6191-3_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_6191-3_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_6191-3_0_5_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_6191-3_0_5_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_6191-3_0_5_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_6191-3_0_5_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_6191-3_0_5_node_41 | 0.4 | n |  | TRUE
61 | bus_LV_6191-3_0_5_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_6191-3_0_5_node_38 | 0.4 | n |  | TRUE
63 | bus_LV_6191-3_0_5_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_6191-3_0_5_node_83 | 0.4 | n |  | TRUE
65 | bus_LV_6191-3_0_5_node_44 | 0.4 | n |  | TRUE
66 | bus_LV_6191-3_0_5_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_6191-3_0_5_node_45 | 0.4 | n |  | TRUE
68 | bus_LV_6191-3_0_5_node_46 | 0.4 | n |  | TRUE
69 | bus_LV_6191-3_0_5_node_47 | 0.4 | n |  | TRUE
70 | bus_LV_6191-3_0_5_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_6191-3_0_5_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_6191-3_0_5_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_6191-3_0_5_node_54 | 0.4 | n |  | TRUE
74 | bus_LV_6191-3_0_5_node_55 | 0.4 | n |  | TRUE
75 | bus_LV_6191-3_0_5_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_6191-3_0_5_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_6191-3_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_6191-3_0_5_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_6191-3_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_6191-3_0_5_node_72 | 0.4 | n |  | TRUE
81 | bus_LV_6191-3_0_5_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_6191-3_0_5_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_6191-3_0_5_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_6191-3_0_5_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_6191-3_0_5_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_6191-3_0_5_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_6191-3_0_5_node_76 | 0.4 | n |  | TRUE
88 | bus_LV_6191-3_0_5_node_77 | 0.4 | n |  | TRUE
89 | bus_LV_6191-3_0_5_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_6191-3_0_5_node_90 | 0.4 | n |  | TRUE
91 | bus_LV_6191-3_0_5_node_91 | 0.4 | n |  | TRUE
92 | bus_LV_6191-3_0_5_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_6191-3_0_5_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_6191-3_0_5_node_94 | 0.4 | n |  | TRUE
95 | bus_MV_108_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6191-3_0_5_load_0 | 0 | 0.0041015 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6191-3_0_5_load_2 | 2 | 0.0030498 | 0.00076436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6191-3_0_5_load_4 | 4 | 0.0024701 | 0.00061906 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6191-3_0_5_load_79 | 5 | 0.011213 | 0.0028103 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6191-3_0_5_load_78 | 6 | 0.014797 | 0.0037085 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6191-3_0_5_load_10 | 7 | 0.0030932 | 0.00077524 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6191-3_0_5_load_13 | 8 | 0.0029907 | 0.00074954 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6191-3_0_5_load_11 | 9 | 0.0013528 | 0.00033905 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6191-3_0_5_load_14 | 10 | 0.0066243 | 0.0016602 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6191-3_0_5_load_5 | 11 | 0.0070971 | 0.0017787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6191-3_0_5_load_9 | 16 | 0.0030054 | 0.00075324 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6191-3_0_5_load_61 | 17 | 0.0029609 | 0.00074207 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6191-3_0_5_load_62 | 18 | 0.0023778 | 0.00059594 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6191-3_0_5_load_60 | 19 | 0.0038852 | 0.00097373 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6191-3_0_5_load_70 | 21 | 0.0028257 | 0.00070819 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6191-3_0_5_load_66 | 22 | 0.0052322 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6191-3_0_5_load_71 | 23 | 0.0065279 | 0.001636 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6191-3_0_5_load_65 | 24 | 0.001888 | 0.00047318 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6191-3_0_5_load_64 | 25 | 0.0033775 | 0.00084649 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6191-3_0_5_load_73 | 26 | 0.0034646 | 0.00086832 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6191-3_0_5_load_51 | 29 | 0.0013663 | 0.00034242 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6191-3_0_5_load_86 | 30 | 0.0089495 | 0.002243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6191-3_0_5_load_85 | 32 | 0.0028324 | 0.00070986 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6191-3_0_5_load_87 | 33 | 0.0031925 | 0.0008001 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6191-3_0_5_load_15 | 35 | 0.002201 | 0.00055163 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6191-3_0_5_load_16 | 36 | 0.0015445 | 0.00038709 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6191-3_0_5_load_17 | 37 | 0.0047869 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6191-3_0_5_load_18 | 39 | 0.0074787 | 0.0018743 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6191-3_0_5_load_19 | 40 | 0.0070781 | 0.0017739 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6191-3_0_5_load_20 | 41 | 0.0049268 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6191-3_0_5_load_22 | 42 | 0.0052301 | 0.0013108 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6191-3_0_5_load_24 | 44 | 0.0058488 | 0.0014659 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6191-3_0_5_load_25 | 45 | 0.0042098 | 0.0010551 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6191-3_0_5_load_26 | 46 | 0.0042035 | 0.0010535 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6191-3_0_5_load_39 | 47 | 0.0022035 | 0.00055225 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6191-3_0_5_load_27 | 48 | 0.0039544 | 0.00099108 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6191-3_0_5_load_40 | 49 | 0.0021938 | 0.00054982 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6191-3_0_5_load_59 | 50 | 0.0016803 | 0.00042112 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6191-3_0_5_load_58 | 51 | 0.0016215 | 0.00040638 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6191-3_0_5_load_29 | 52 | 0.012298 | 0.0030823 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6191-3_0_5_load_30 | 53 | 0.0035907 | 0.00089992 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6191-3_0_5_load_32 | 55 | 0.0049992 | 0.0012529 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6191-3_0_5_load_33 | 56 | 0.0046792 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6191-3_0_5_load_34 | 57 | 0.0036329 | 0.0009105 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6191-3_0_5_load_35 | 58 | 0.011318 | 0.0028367 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6191-3_0_5_load_41 | 60 | 0.0054423 | 0.001364 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6191-3_0_5_load_37 | 61 | 0.0025713 | 0.00064442 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6191-3_0_5_load_38 | 62 | 0.0091568 | 0.0022949 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6191-3_0_5_load_42 | 63 | 0.0023794 | 0.00059635 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6191-3_0_5_load_83 | 64 | 0.0046909 | 0.0011756 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6191-3_0_5_load_44 | 65 | 0.0017082 | 0.00042811 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6191-3_0_5_load_43 | 66 | 0.0049386 | 0.0012377 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6191-3_0_5_load_45 | 67 | 0.0038541 | 0.00096593 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6191-3_0_5_load_46 | 68 | 0.0013441 | 0.00033687 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6191-3_0_5_load_47 | 69 | 0.002034 | 0.00050976 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6191-3_0_5_load_49 | 70 | 0.0013131 | 0.00032911 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6191-3_0_5_load_52 | 71 | 0.020117 | 0.0050417 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6191-3_0_5_load_53 | 72 | 0.0025532 | 0.00063989 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6191-3_0_5_load_55 | 74 | 0.0023382 | 0.00058601 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6191-3_0_5_load_56 | 75 | 0.0032055 | 0.00080338 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6191-3_0_5_load_57 | 76 | 0.003645 | 0.00091352 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6191-3_0_5_load_82 | 77 | 0.0028226 | 0.0007074 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6191-3_0_5_load_81 | 78 | 0.0019794 | 0.00049607 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6191-3_0_5_load_80 | 79 | 0.0030428 | 0.00076259 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6191-3_0_5_load_72 | 80 | 0.0058066 | 0.0014553 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6191-3_0_5_load_67 | 82 | 0.0030774 | 0.00077128 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6191-3_0_5_load_68 | 83 | 0.0016627 | 0.0004167 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6191-3_0_5_load_69 | 84 | 0.0013382 | 0.00033537 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6191-3_0_5_load_74 | 85 | 0.0034041 | 0.00085314 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6191-3_0_5_load_75 | 86 | 0.0040933 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6191-3_0_5_load_76 | 87 | 0.0028746 | 0.00072043 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6191-3_0_5_load_77 | 88 | 0.014936 | 0.0037434 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6191-3_0_5_load_89 | 89 | 0.0039759 | 0.00099646 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6191-3_0_5_load_91 | 91 | 0.0029923 | 0.00074995 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6191-3_0_5_load_92 | 92 | 0.0027464 | 0.00068831 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6191-3_0_5_load_93 | 93 | 0.0038795 | 0.0009723 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6191-3_0_5_load_94 | 94 | 0.0040313 | 0.0010103 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6191-3_0_5_line_0 |  | 0 | 1 | 0.018282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6191-3_0_5_line_1 |  | 0 | 2 | 0.076523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6191-3_0_5_line_2 |  | 1 | 3 | 0.089158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6191-3_0_5_line_3 |  | 1 | 4 | 0.0031589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6191-3_0_5_line_4 |  | 3 | 7 | 0.10517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6191-3_0_5_line_5 |  | 4 | 8 | 0.0047673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6191-3_0_5_line_6 |  | 5 | 6 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6191-3_0_5_line_7 |  | 6 | 88 | 0.022561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6191-3_0_5_line_8 |  | 7 | 9 | 0.010216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6191-3_0_5_line_9 |  | 8 | 10 | 0.010013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6191-3_0_5_line_10 |  | 9 | 25 | 0.10679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6191-3_0_5_line_11 |  | 10 | 33 | 0.010059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6191-3_0_5_line_12 |  | 11 | 12 | 0.080463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6191-3_0_5_line_13 |  | 11 | 13 | 0.013808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6191-3_0_5_line_14 |  | 12 | 14 | 0.077303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_6191-3_0_5_line_15 |  | 13 | 15 | 0.036722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6191-3_0_5_line_16 |  | 13 | 16 | 0.042756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6191-3_0_5_line_17 |  | 14 | 20 | 0.10955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6191-3_0_5_line_18 |  | 15 | 21 | 0.02675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6191-3_0_5_line_19 |  | 15 | 22 | 0.024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6191-3_0_5_line_20 |  | 16 | 17 | 0.033461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_6191-3_0_5_line_21 |  | 17 | 18 | 0.017767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_6191-3_0_5_line_22 |  | 17 | 19 | 0.034832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6191-3_0_5_line_23 |  | 18 | 27 | 0.011813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_6191-3_0_5_line_24 |  | 20 | 40 | 0.13154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_6191-3_0_5_line_25 |  | 21 | 23 | 0.039397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6191-3_0_5_line_26 |  | 22 | 24 | 0.0056814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6191-3_0_5_line_27 |  | 23 | 80 | 0.005437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6191-3_0_5_line_28 |  | 24 | 82 | 0.016433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6191-3_0_5_line_29 |  | 25 | 26 | 0.01369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_6191-3_0_5_line_30 |  | 25 | 27 | 0.0073706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_6191-3_0_5_line_31 |  | 26 | 85 | 0.0033666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_6191-3_0_5_line_32 |  | 28 | 29 | 0.019685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6191-3_0_5_line_33 |  | 28 | 30 | 0.015822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6191-3_0_5_line_34 |  | 29 | 31 | 0.023726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6191-3_0_5_line_35 |  | 30 | 32 | 0.0029315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6191-3_0_5_line_36 |  | 31 | 38 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6191-3_0_5_line_37 |  | 31 | 37 | 0.025863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6191-3_0_5_line_38 |  | 32 | 81 | 0.06649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6191-3_0_5_line_39 |  | 33 | 34 | 0.01587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6191-3_0_5_line_40 |  | 34 | 89 | 0.025084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6191-3_0_5_line_41 |  | 34 | 90 | 0.043451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6191-3_0_5_line_42 |  | 35 | 36 | 0.12827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6191-3_0_5_line_43 |  | 36 | 37 | 0.082637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6191-3_0_5_line_44 |  | 38 | 70 | 0.054163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6191-3_0_5_line_45 |  | 38 | 68 | 0.040227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6191-3_0_5_line_46 |  | 39 | 40 | 0.025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6191-3_0_5_line_47 |  | 39 | 41 | 0.018202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6191-3_0_5_line_48 |  | 41 | 42 | 0.0064361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_6191-3_0_5_line_49 |  | 42 | 43 | 0.01948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_6191-3_0_5_line_50 |  | 43 | 44 | 0.0072156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6191-3_0_5_line_51 |  | 43 | 45 | 0.0046877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_6191-3_0_5_line_52 |  | 44 | 46 | 0.042855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_6191-3_0_5_line_53 |  | 45 | 47 | 0.0115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_6191-3_0_5_line_54 |  | 46 | 48 | 0.0053508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_6191-3_0_5_line_55 |  | 47 | 49 | 0.041469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_6191-3_0_5_line_56 |  | 48 | 50 | 0.018289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6191-3_0_5_line_57 |  | 49 | 65 | 0.01083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_6191-3_0_5_line_58 |  | 50 | 51 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6191-3_0_5_line_59 |  | 51 | 75 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6191-3_0_5_line_60 |  | 52 | 53 | 0.064832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6191-3_0_5_line_61 |  | 52 | 54 | 0.0067007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6191-3_0_5_line_62 |  | 53 | 55 | 0.01501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6191-3_0_5_line_63 |  | 54 | 56 | 0.07848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_6191-3_0_5_line_64 |  | 54 | 57 | 0.051093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_6191-3_0_5_line_65 |  | 54 | 58 | 0.01188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6191-3_0_5_line_66 |  | 56 | 59 | 0.0051349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6191-3_0_5_line_67 |  | 57 | 60 | 0.0096921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_6191-3_0_5_line_68 |  | 59 | 61 | 0.054769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_6191-3_0_5_line_69 |  | 59 | 62 | 0.020251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6191-3_0_5_line_70 |  | 60 | 63 | 0.010388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6191-3_0_5_line_71 |  | 61 | 64 | 0.012105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6191-3_0_5_line_72 |  | 63 | 66 | 0.0072753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6191-3_0_5_line_73 |  | 65 | 66 | 0.018122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_6191-3_0_5_line_74 |  | 67 | 68 | 0.0090244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6191-3_0_5_line_75 |  | 67 | 69 | 3.5626e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6191-3_0_5_line_76 |  | 71 | 72 | 0.026013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6191-3_0_5_line_77 |  | 71 | 73 | 0.038694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6191-3_0_5_line_78 |  | 72 | 74 | 0.023442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6191-3_0_5_line_79 |  | 73 | 75 | 0.0081938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6191-3_0_5_line_80 |  | 73 | 76 | 0.020454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6191-3_0_5_line_81 |  | 74 | 77 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6191-3_0_5_line_82 |  | 76 | 78 | 0.0094806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6191-3_0_5_line_83 |  | 78 | 79 | 0.0054904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6191-3_0_5_line_84 |  | 80 | 81 | 0.080254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6191-3_0_5_line_85 |  | 82 | 83 | 0.010874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6191-3_0_5_line_86 |  | 83 | 84 | 0.00017821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6191-3_0_5_line_87 |  | 85 | 86 | 0.014019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_6191-3_0_5_line_88 |  | 86 | 87 | 0.022957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6191-3_0_5_line_89 |  | 87 | 88 | 0.0051304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6191-3_0_5_line_90 |  | 90 | 91 | 0.0084289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6191-3_0_5_line_91 |  | 91 | 92 | 0.011331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6191-3_0_5_line_92 |  | 92 | 93 | 0.0048911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6191-3_0_5_line_93 |  | 93 | 94 | 0.0018866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6191-3_0_5_trafo_75 | 0.63 MVA 20/0.4 kV | 95 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2632293.515 | 1129278.9077 | 2632291.2161 | 1129273.7707 | 2632284.4288 | 1129268.165 | 2632282.1906 | 1129265.0307
1 | 2632306.9571 | 1129228.3319 | 2632302.1743 | 1129222.4034 | 2632296.6704 | 1129220.2507 | 2632292.5361 | 1129219.8174 | 2632286.6816 | 1129221.298 | 2632276.3191 | 1129227.4236 | 2632273.2659 | 1129230.8312 | 2632272.2095 | 1129235.3612 | 2632274.0231 | 1129243.3971 | 2632279.7112 | 1129261.5588 | 2632282.1906 | 1129265.0307
2 | 2632293.515 | 1129278.9077 | 2632275.751 | 1129268.9413 | 2632250.482 | 1129252.165 | 2632218.5532 | 1129230.4063
3 | 2632293.515 | 1129278.9077 | 2632296.3141 | 1129280.3719
4 | 2632218.5532 | 1129230.4063 | 2632221.0818 | 1129227.1293 | 2632221.4097 | 1129224.8632 | 2632220.3972 | 1129222.6011 | 2632218.763 | 1129221.3696 | 2632205.5427 | 1129218.8202 | 2632192.6726 | 1129219.9412 | 2632183.5014 | 1129223.6721 | 2632173.2095 | 1129229.576 | 2632141.6593 | 1129253.9428 | 2632137.0953 | 1129258.1494
5 | 2632296.3141 | 1129280.3719 | 2632300.5383 | 1129282.5816
6 | 2632156.2303 | 1129398.5372 | 2632166.9955 | 1129403.052 | 2632174.7665 | 1129403.9529
7 | 2632135.5511 | 1129389.5184 | 2632151.478 | 1129396.5441 | 2632156.2303 | 1129398.5372
8 | 2632137.0953 | 1129258.1494 | 2632129.5834 | 1129265.0732 | 2632129.5834 | 1129265.0732
9 | 2632309.4105 | 1129287.2226 | 2632300.5383 | 1129282.5816
10 | 2632083.5561 | 1129361.4354 | 2632129.5834 | 1129265.0732
11 | 2632318.5531 | 1129291.4146 | 2632310.1763 | 1129287.6232 | 2632309.4105 | 1129287.2226
12 | 2631921.0397 | 1129313.1721 | 2631925.1345 | 1129315.2392 | 2631931.1479 | 1129315.7378 | 2631961.3632 | 1129312.0064 | 2631971.5042 | 1129312.7381 | 2631983.1484 | 1129314.7006 | 2631998.8406 | 1129322.267
13 | 2632011.7157 | 1129326.9243 | 2632006.5059 | 1129325.963 | 2631998.8406 | 1129322.267
14 | 2631917.4589 | 1129390.3919 | 2631921.0397 | 1129313.1721
15 | 2632011.7157 | 1129326.9243 | 2632026.2424 | 1129322.7657 | 2632043.4666 | 1129309.5836
16 | 2632051.2729 | 1129326.4445 | 2632041.563 | 1129325.7816 | 2632031.7726 | 1129328.6868 | 2632023.9724 | 1129331.0356 | 2632019.1153 | 1129331.8548 | 2632014.0281 | 1129331.0053 | 2632011.7157 | 1129326.9243
17 | 2631843.8702 | 1129436.3719 | 2631844.2543 | 1129433.6392 | 2631845.1495 | 1129428.9304 | 2631848.9013 | 1129422.9805 | 2631853.0418 | 1129420.7345 | 2631866.2965 | 1129415.2459 | 2631878.507 | 1129410.5745 | 2631890.9245 | 1129407.5495 | 2631897.1131 | 1129408.4048 | 2631910.5367 | 1129410.332 | 2631917.1456 | 1129410.3669 | 2631920.8811 | 1129407.5074 | 2631923.1817 | 1129402.1612 | 2631921.9665 | 1129397.4191 | 2631920.1308 | 1129393.4964 | 2631917.4589 | 1129390.3919
18 | 2632043.4666 | 1129309.5836 | 2632037.8549 | 1129301.6055 | 2632026.6574 | 1129295.2764 | 2632023.7934 | 1129292.2958
19 | 2632043.4666 | 1129309.5836 | 2632060.6213 | 1129296.4678 | 2632063.2725 | 1129295.7743
20 | 2632046.8752 | 1129359.6155 | 2632051.2729 | 1129326.4445
21 | 2632046.8752 | 1129359.6155 | 2632064.6424 | 1129359.5561
22 | 2632027.8378 | 1129378.3181 | 2632034.8772 | 1129375.1821 | 2632035.283 | 1129359.6542 | 2632046.8752 | 1129359.6155
23 | 2632076.4558 | 1129359.5166 | 2632064.6424 | 1129359.5561
24 | 2631843.8702 | 1129436.3719 | 2631847.2092 | 1129440.0579 | 2631850.8224 | 1129445.802 | 2631854.9535 | 1129454.1279 | 2631858.2177 | 1129458.8586 | 2631862.1805 | 1129461.1139 | 2631871.154 | 1129464.0848 | 2631889.598 | 1129466.3386 | 2631909.4893 | 1129467.2661 | 2631934.5625 | 1129461.3064 | 2631960.2954 | 1129455.1627
25 | 2632023.7934 | 1129292.2958 | 2632006.0115 | 1129273.7898 | 2631997.8671 | 1129269.8448 | 2631993.1932 | 1129270.1432
26 | 2632068.7689 | 1129294.3365 | 2632063.2725 | 1129295.7743
27 | 2631993.1932 | 1129270.1432 | 2631987.7673 | 1129270.4896
28 | 2632068.7689 | 1129294.3365 | 2632072.701 | 1129293.308 | 2632083.76 | 1129293.7668 | 2632084.9622 | 1129294.2609
29 | 2632083.5561 | 1129361.4354 | 2632095.612 | 1129367.9215
30 | 2632076.4558 | 1129359.5166 | 2632083.0715 | 1129361.1747 | 2632083.5561 | 1129361.4354
31 | 2632095.612 | 1129367.9215 | 2632098.5768 | 1129369.5166
32 | 2632006.7749 | 1129210.9958 | 2632019.9463 | 1129196.3672
33 | 2632006.7749 | 1129210.9958 | 2631998.4605 | 1129214.4313 | 2631992.5845 | 1129210.9578
34 | 2632027.237 | 1129174.1077 | 2632022.0165 | 1129194.0679 | 2632019.9463 | 1129196.3672
35 | 2631989.9412 | 1129209.7276 | 2631991.2498 | 1129210.1689 | 2631992.5845 | 1129210.9578
36 | 2632027.237 | 1129174.1077 | 2632030.2701 | 1129162.8181
37 | 2632027.237 | 1129174.1077 | 2632044.7598 | 1129175.9013 | 2632052.6551 | 1129173.5123
38 | 2631953.5354 | 1129221.8534 | 2631955.5531 | 1129220.4856 | 2631956.8052 | 1129218.2244 | 2631949.1906 | 1129213.1372 | 2631944.4597 | 1129208.9991 | 2631950.5619 | 1129207.2748 | 2631971.9413 | 1129208.1103 | 2631984.7523 | 1129207.9779 | 2631989.9412 | 1129209.7276
39 | 2632334.2124 | 1129291.4423 | 2632326.3111 | 1129292.5117 | 2632319.7203 | 1129291.9429 | 2632318.5531 | 1129291.4146
40 | 2632334.2124 | 1129291.4423 | 2632334.5422 | 1129285.9413 | 2632337.5341 | 1129266.6031
41 | 2632334.2124 | 1129291.4423 | 2632339.4456 | 1129292.3485 | 2632342.8146 | 1129294.701 | 2632350.9875 | 1129306.2282 | 2632357.1726 | 1129314.9434 | 2632360.5671 | 1129316.8513 | 2632363.255 | 1129316.9324 | 2632365.0452 | 1129314.9187
42 | 2632131.3841 | 1129184.9724 | 2632140.8704 | 1129184.9152 | 2632181.7767 | 1129184.41 | 2632195.5407 | 1129180.3589 | 2632230.5241 | 1129186.9372 | 2632257.8342 | 1129192.7921
43 | 2632052.6551 | 1129173.5123 | 2632059.6354 | 1129171.4 | 2632070.9895 | 1129172.9054 | 2632091.8448 | 1129175.2837 | 2632104.6029 | 1129185.134 | 2632131.3841 | 1129184.9724
44 | 2632030.2701 | 1129162.8181 | 2632019.1106 | 1129158.0123 | 2632016.247 | 1129151.8162 | 2632022.4609 | 1129149.3812 | 2632027.0035 | 1129149.8166 | 2632026.6137 | 1129144.8676 | 2632019.2108 | 1129139.0589 | 2632012.2483 | 1129132.4849
45 | 2632030.2701 | 1129162.8181 | 2632033.0911 | 1129152.3278 | 2632036.681 | 1129137.7284 | 2632036.95 | 1129126.2018 | 2632036.2758 | 1129123.4846
46 | 2631960.2954 | 1129455.1627 | 2631963.3533 | 1129454.4326 | 2631983.833 | 1129446.8002
47 | 2632001.9057 | 1129448.7673 | 2631984.0298 | 1129446.7269 | 2631983.833 | 1129446.8002
48 | 2632001.9057 | 1129448.7673 | 2632003.637 | 1129448.9649 | 2632008.2927 | 1129448.3698
49 | 2632026.9649 | 1129443.8746 | 2632021.8433 | 1129446.6378 | 2632008.2927 | 1129448.3698
50 | 2632026.9649 | 1129443.8746 | 2632033.3157 | 1129440.4494
51 | 2632026.9649 | 1129443.8746 | 2632029.5395 | 1129444.9888 | 2632031.412 | 1129445.1811
52 | 2632033.3157 | 1129440.4494 | 2632040.9469 | 1129436.3337 | 2632053.341 | 1129434.8319 | 2632066.0932 | 1129435.5219 | 2632074.065 | 1129439.544
53 | 2632031.412 | 1129445.1811 | 2632032.7344 | 1129445.3169 | 2632042.1327 | 1129446.6006 | 2632042.8128 | 1129446.6844
54 | 2632074.065 | 1129439.544 | 2632078.8422 | 1129441.9543
55 | 2632042.8128 | 1129446.6844 | 2632050.9082 | 1129447.681 | 2632054.6258 | 1129448.212 | 2632061.3195 | 1129451.1267 | 2632064.1122 | 1129450.3188 | 2632070.5027 | 1129453.7544 | 2632071.3105 | 1129456.8491 | 2632075.3144 | 1129461.506 | 2632077.5543 | 1129463.1081
56 | 2632078.8422 | 1129441.9543 | 2632079.6985 | 1129442.3863 | 2632091.5599 | 1129449.8196 | 2632094.3391 | 1129451.6573
57 | 2632077.5543 | 1129463.1081 | 2632079.9493 | 1129464.8211 | 2632085.1192 | 1129470.776
58 | 2632102.8694 | 1129457.2979 | 2632094.3391 | 1129451.6573
59 | 2632102.8694 | 1129457.2979 | 2632108.6771 | 1129461.1382 | 2632110.7344 | 1129464.4293
60 | 2632029.8053 | 1129535.7451 | 2632014.1003 | 1129528.5156 | 2632006.8239 | 1129526.5539 | 2631994.3034 | 1129524.3199 | 2631975.3747 | 1129514.7152 | 2631971.0063 | 1129510.5122 | 2631971.0063 | 1129510.5122
61 | 2632035.892 | 1129538.547 | 2632029.8053 | 1129535.7451
62 | 2631971.0063 | 1129510.5122 | 2631959.3367 | 1129501.0725
63 | 2632035.892 | 1129538.547 | 2632053.0341 | 1129548.0424 | 2632072.6202 | 1129557.1062 | 2632081.0099 | 1129558.2846 | 2632089.7613 | 1129556.6079 | 2632100.4641 | 1129554.4302 | 2632109.3773 | 1129555.6559
64 | 2632035.892 | 1129538.547 | 2632044.1724 | 1129535.6338 | 2632060.9524 | 1129527.6964 | 2632064.4789 | 1129525.036 | 2632066.5661 | 1129520.7226 | 2632068.465 | 1129512.6953 | 2632068.489 | 1129508.171 | 2632067.8407 | 1129506.5237
65 | 2632035.892 | 1129538.547 | 2632029.5381 | 1129548.585
66 | 2632113.6138 | 1129558.5576 | 2632109.3773 | 1129555.6559
67 | 2632064.0002 | 1129497.6308 | 2632065.2272 | 1129500.1163 | 2632066.8625 | 1129504.0381 | 2632067.8407 | 1129506.5237
68 | 2632113.6138 | 1129558.5576 | 2632118.1112 | 1129561.6274 | 2632128.6909 | 1129569.5875 | 2632135.3179 | 1129576.326 | 2632144.2741 | 1129581.0537 | 2632151.4796 | 1129583.282 | 2632160.2741 | 1129585.0099
69 | 2632132.8684 | 1129563.2954 | 2632118.6396 | 1129557.8616 | 2632113.6138 | 1129558.5576
70 | 2632064.0002 | 1129497.6308 | 2632064.0002 | 1129497.6308 | 2632066.0668 | 1129491.3831 | 2632069.2749 | 1129489.3328
71 | 2632160.2741 | 1129585.0099 | 2632164.622 | 1129585.8642 | 2632172.1735 | 1129587.2269
72 | 2632074.9381 | 1129484.9064 | 2632073.7262 | 1129486.4879 | 2632069.2749 | 1129489.3328
73 | 2632074.9381 | 1129484.9064 | 2632077.8836 | 1129481.0627 | 2632079.4814 | 1129478.9924 | 2632085.699 | 1129471.4438 | 2632085.1192 | 1129470.776
74 | 2632034.1026 | 1129114.7258 | 2632036.2758 | 1129123.4846
75 | 2632034.094 | 1129114.6913 | 2632034.1026 | 1129114.7258
76 | 2632148.4509 | 1129489.9136 | 2632149.5085 | 1129490.3361 | 2632173.2696 | 1129497.6937
77 | 2632115.0777 | 1129471.3773 | 2632118.8753 | 1129475.7107 | 2632129.4853 | 1129482.3369 | 2632148.4509 | 1129489.9136
78 | 2632173.2696 | 1129497.6937 | 2632179.0231 | 1129499.4752 | 2632194.7874 | 1129506.8863
79 | 2632115.0777 | 1129471.3773 | 2632110.7344 | 1129464.4293
80 | 2632115.0777 | 1129471.3773 | 2632097.6054 | 1129482.0122 | 2632097.6054 | 1129482.0122
81 | 2632194.7874 | 1129506.8863 | 2632204.2558 | 1129511.3376 | 2632214.1102 | 1129519.1657
82 | 2632097.6054 | 1129482.0122 | 2632095.2482 | 1129479.1204 | 2632089.8474 | 1129481.0935
83 | 2632084.6904 | 1129482.9775 | 2632089.8474 | 1129481.0935
84 | 2631953.5354 | 1129221.8534 | 2631956.2509 | 1129224.0021 | 2631960.6374 | 1129230.6397 | 2631961.7678 | 1129242.685 | 2631956.7157 | 1129264.3692 | 2631959.9231 | 1129269.6443 | 2631965.8657 | 1129271.8879 | 2631987.7673 | 1129270.4896
85 | 2632095.0199 | 1129298.3948 | 2632084.9622 | 1129294.2609
86 | 2632095.0199 | 1129298.3948 | 2632095.1847 | 1129298.4625
87 | 2632098.5768 | 1129369.5166 | 2632098.9942 | 1129369.7411 | 2632110.4709 | 1129376.9348
88 | 2632110.4709 | 1129376.9348 | 2632114.2338 | 1129379.2934 | 2632130.3062 | 1129387.2048 | 2632130.8572 | 1129387.4479
89 | 2632130.8572 | 1129387.4479 | 2632135.5511 | 1129389.5184
90 | 2632365.0452 | 1129314.9187 | 2632370.743 | 1129321.1301
91 | 2632370.743 | 1129321.1301 | 2632370.743 | 1129321.1301 | 2632373.0978 | 1129324.4332 | 2632373.9005 | 1129328.4618 | 2632376.1515 | 1129330.6888
92 | 2632376.1515 | 1129330.6888 | 2632379.6285 | 1129334.1288
93 | 2632379.6285 | 1129334.1288 | 2632380.0687 | 1129334.5645 | 2632380.9271 | 1129335.4967

## bus_geodata
| x | y | coords
0 | 2632282.1906 | 1129265.0307
1 | 2632293.515 | 1129278.9077
2 | 2632306.9571 | 1129228.3319
3 | 2632218.5532 | 1129230.4063
4 | 2632296.3141 | 1129280.3719
5 | 2632174.7665 | 1129403.9529
6 | 2632156.2303 | 1129398.5372
7 | 2632137.0953 | 1129258.1494
8 | 2632300.5383 | 1129282.5816
9 | 2632129.5834 | 1129265.0732
10 | 2632309.4105 | 1129287.2226
11 | 2631998.8406 | 1129322.267
12 | 2631921.0397 | 1129313.1721
13 | 2632011.7157 | 1129326.9243
14 | 2631917.4589 | 1129390.3919
15 | 2632043.4666 | 1129309.5836
16 | 2632051.2729 | 1129326.4445
17 | 2632046.8752 | 1129359.6155
18 | 2632064.6424 | 1129359.5561
19 | 2632027.8378 | 1129378.3181
20 | 2631843.8702 | 1129436.3719
21 | 2632023.7934 | 1129292.2958
22 | 2632063.2725 | 1129295.7743
23 | 2631993.1932 | 1129270.1432
24 | 2632068.7689 | 1129294.3365
25 | 2632083.5561 | 1129361.4354
26 | 2632095.612 | 1129367.9215
27 | 2632076.4558 | 1129359.5166
28 | 2632006.7749 | 1129210.9958
29 | 2632019.9463 | 1129196.3672
30 | 2631992.5845 | 1129210.9578
31 | 2632027.237 | 1129174.1077
32 | 2631989.9412 | 1129209.7276
33 | 2632318.5531 | 1129291.4146
34 | 2632334.2124 | 1129291.4423
35 | 2632257.8342 | 1129192.7921
36 | 2632131.3841 | 1129184.9724
37 | 2632052.6551 | 1129173.5123
38 | 2632030.2701 | 1129162.8181
39 | 2631983.833 | 1129446.8002
40 | 2631960.2954 | 1129455.1627
41 | 2632001.9057 | 1129448.7673
42 | 2632008.2927 | 1129448.3698
43 | 2632026.9649 | 1129443.8746
44 | 2632033.3157 | 1129440.4494
45 | 2632031.412 | 1129445.1811
46 | 2632074.065 | 1129439.544
47 | 2632042.8128 | 1129446.6844
48 | 2632078.8422 | 1129441.9543
49 | 2632077.5543 | 1129463.1081
50 | 2632094.3391 | 1129451.6573
51 | 2632102.8694 | 1129457.2979
52 | 2632029.8053 | 1129535.7451
53 | 2631971.0063 | 1129510.5122
54 | 2632035.892 | 1129538.547
55 | 2631959.3367 | 1129501.0725
56 | 2632109.3773 | 1129555.6559
57 | 2632067.8407 | 1129506.5237
58 | 2632029.5381 | 1129548.585
59 | 2632113.6138 | 1129558.5576
60 | 2632064.0002 | 1129497.6308
61 | 2632160.2741 | 1129585.0099
62 | 2632132.8684 | 1129563.2954
63 | 2632069.2749 | 1129489.3328
64 | 2632172.1735 | 1129587.2269
65 | 2632085.1192 | 1129470.776
66 | 2632074.9381 | 1129484.9064
67 | 2632034.1026 | 1129114.7258
68 | 2632036.2758 | 1129123.4846
69 | 2632034.094 | 1129114.6913
70 | 2632012.2483 | 1129132.4849
71 | 2632148.4509 | 1129489.9136
72 | 2632173.2696 | 1129497.6937
73 | 2632115.0777 | 1129471.3773
74 | 2632194.7874 | 1129506.8863
75 | 2632110.7344 | 1129464.4293
76 | 2632097.6054 | 1129482.0122
77 | 2632214.1102 | 1129519.1657
78 | 2632089.8474 | 1129481.0935
79 | 2632084.6904 | 1129482.9775
80 | 2631987.7673 | 1129270.4896
81 | 2631953.5354 | 1129221.8534
82 | 2632084.9622 | 1129294.2609
83 | 2632095.0199 | 1129298.3948
84 | 2632095.1847 | 1129298.4625
85 | 2632098.5768 | 1129369.5166
86 | 2632110.4709 | 1129376.9348
87 | 2632130.8572 | 1129387.4479
88 | 2632135.5511 | 1129389.5184
89 | 2632337.5341 | 1129266.6031
90 | 2632365.0452 | 1129314.9187
91 | 2632370.743 | 1129321.1301
92 | 2632376.1515 | 1129330.6888
93 | 2632379.6285 | 1129334.1288
94 | 2632380.9271 | 1129335.4967
95 | 2632076.4558 | 1129359.5166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1