## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6193-8_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6193-8_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6193-8_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6193-8_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6193-8_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6193-8_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6193-8_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6193-8_0_5_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_6193-8_0_5_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_6193-8_0_5_node_70 | 0.4 | n |  | TRUE
10 | bus_LV_6193-8_0_5_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_6193-8_0_5_node_92 | 0.4 | n |  | TRUE
12 | bus_LV_6193-8_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_6193-8_0_5_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_6193-8_0_5_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_6193-8_0_5_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_6193-8_0_5_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_6193-8_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_6193-8_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_6193-8_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_6193-8_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_6193-8_0_5_node_63 | 0.4 | n |  | TRUE
22 | bus_LV_6193-8_0_5_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_6193-8_0_5_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_6193-8_0_5_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_6193-8_0_5_node_103 | 0.4 | n |  | TRUE
26 | bus_LV_6193-8_0_5_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_6193-8_0_5_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_6193-8_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_6193-8_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_6193-8_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_6193-8_0_5_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_6193-8_0_5_node_54 | 0.4 | n |  | TRUE
33 | bus_LV_6193-8_0_5_node_58 | 0.4 | n |  | TRUE
34 | bus_LV_6193-8_0_5_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_6193-8_0_5_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_6193-8_0_5_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_6193-8_0_5_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_6193-8_0_5_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_6193-8_0_5_node_73 | 0.4 | n |  | TRUE
40 | bus_LV_6193-8_0_5_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_6193-8_0_5_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_6193-8_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_6193-8_0_5_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_6193-8_0_5_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_6193-8_0_5_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_6193-8_0_5_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_6193-8_0_5_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_6193-8_0_5_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_6193-8_0_5_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_6193-8_0_5_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_6193-8_0_5_node_25 | 0.4 | n |  | TRUE
52 | bus_LV_6193-8_0_5_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_6193-8_0_5_node_27 | 0.4 | n |  | TRUE
54 | bus_LV_6193-8_0_5_node_28 | 0.4 | n |  | TRUE
55 | bus_LV_6193-8_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_6193-8_0_5_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_6193-8_0_5_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_6193-8_0_5_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_6193-8_0_5_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_6193-8_0_5_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_6193-8_0_5_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_6193-8_0_5_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_6193-8_0_5_node_35 | 0.4 | n |  | TRUE
64 | bus_LV_6193-8_0_5_node_36 | 0.4 | n |  | TRUE
65 | bus_LV_6193-8_0_5_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_6193-8_0_5_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_6193-8_0_5_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_6193-8_0_5_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_6193-8_0_5_node_41 | 0.4 | n |  | TRUE
70 | bus_LV_6193-8_0_5_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_6193-8_0_5_node_43 | 0.4 | n |  | TRUE
72 | bus_LV_6193-8_0_5_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_6193-8_0_5_node_45 | 0.4 | n |  | TRUE
74 | bus_LV_6193-8_0_5_node_105 | 0.4 | n |  | TRUE
75 | bus_LV_6193-8_0_5_node_101 | 0.4 | n |  | TRUE
76 | bus_LV_6193-8_0_5_node_46 | 0.4 | n |  | TRUE
77 | bus_LV_6193-8_0_5_node_47 | 0.4 | n |  | TRUE
78 | bus_LV_6193-8_0_5_node_93 | 0.4 | n |  | TRUE
79 | bus_LV_6193-8_0_5_node_108 | 0.4 | n |  | TRUE
80 | bus_LV_6193-8_0_5_node_106 | 0.4 | n |  | TRUE
81 | bus_LV_6193-8_0_5_node_52 | 0.4 | n |  | TRUE
82 | bus_LV_6193-8_0_5_node_88 | 0.4 | n |  | TRUE
83 | bus_LV_6193-8_0_5_node_98 | 0.4 | n |  | TRUE
84 | bus_LV_6193-8_0_5_node_86 | 0.4 | n |  | TRUE
85 | bus_LV_6193-8_0_5_node_97 | 0.4 | n |  | TRUE
86 | bus_LV_6193-8_0_5_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_6193-8_0_5_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_6193-8_0_5_node_79 | 0.4 | n |  | TRUE
89 | bus_LV_6193-8_0_5_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_6193-8_0_5_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_6193-8_0_5_node_75 | 0.4 | n |  | TRUE
92 | bus_LV_6193-8_0_5_node_68 | 0.4 | n |  | TRUE
93 | bus_LV_6193-8_0_5_node_109 | 0.4 | n |  | TRUE
94 | bus_LV_6193-8_0_5_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_6193-8_0_5_node_83 | 0.4 | n |  | TRUE
96 | bus_LV_6193-8_0_5_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_6193-8_0_5_node_80 | 0.4 | n |  | TRUE
98 | bus_LV_6193-8_0_5_node_81 | 0.4 | n |  | TRUE
99 | bus_LV_6193-8_0_5_node_87 | 0.4 | n |  | TRUE
100 | bus_LV_6193-8_0_5_node_89 | 0.4 | n |  | TRUE
101 | bus_LV_6193-8_0_5_node_100 | 0.4 | n |  | TRUE
102 | bus_LV_6193-8_0_5_node_96 | 0.4 | n |  | TRUE
103 | bus_LV_6193-8_0_5_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_6193-8_0_5_node_99 | 0.4 | n |  | TRUE
105 | bus_MV_109_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6193-8_0_5_load_0 | 0 | 0.010885 | 0.0027282 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6193-8_0_5_load_1 | 1 | 0.0014742 | 0.00036948 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6193-8_0_5_load_3 | 3 | 0.0051121 | 0.0012812 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6193-8_0_5_load_4 | 4 | 0.0021886 | 0.00054851 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6193-8_0_5_load_5 | 5 | 0.0018473 | 0.00046297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6193-8_0_5_load_6 | 6 | 0.0020894 | 0.00052366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6193-8_0_5_load_91 | 7 | 0.0027493 | 0.00068904 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6193-8_0_5_load_34 | 8 | 0.0033513 | 0.00083991 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6193-8_0_5_load_70 | 9 | 0.0016346 | 0.00040966 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6193-8_0_5_load_102 | 10 | 0.0092313 | 0.0023136 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6193-8_0_5_load_92 | 11 | 0.0032037 | 0.00080292 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6193-8_0_5_load_32 | 12 | 0.0026276 | 0.00065854 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6193-8_0_5_load_39 | 13 | 0.0015922 | 0.00039905 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6193-8_0_5_load_7 | 15 | 0.016958 | 0.0042501 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6193-8_0_5_load_8 | 16 | 0.0017238 | 0.00043202 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6193-8_0_5_load_10 | 18 | 0.0038582 | 0.00096694 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6193-8_0_5_load_11 | 19 | 0.0026952 | 0.00067549 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6193-8_0_5_load_12 | 20 | 0.0038949 | 0.00097615 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6193-8_0_5_load_63 | 21 | 0.0058958 | 0.0014776 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6193-8_0_5_load_55 | 22 | 0.0043683 | 0.0010948 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6193-8_0_5_load_104 | 23 | 0.0027793 | 0.00069656 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6193-8_0_5_load_56 | 24 | 0.0059315 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6193-8_0_5_load_103 | 25 | 0.0020014 | 0.0005016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6193-8_0_5_load_13 | 26 | 0.0090117 | 0.0022586 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6193-8_0_5_load_14 | 27 | 0.0055563 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6193-8_0_5_load_15 | 28 | 0.0067076 | 0.0016811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6193-8_0_5_load_16 | 29 | 0.015885 | 0.0039811 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6193-8_0_5_load_17 | 30 | 0.0074298 | 0.0018621 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6193-8_0_5_load_85 | 31 | 0.0076863 | 0.0019264 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6193-8_0_5_load_58 | 33 | 0.0062563 | 0.001568 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6193-8_0_5_load_59 | 34 | 0.0078515 | 0.0019678 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6193-8_0_5_load_61 | 36 | 0.0091817 | 0.0023011 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6193-8_0_5_load_62 | 37 | 0.0094086 | 0.002358 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6193-8_0_5_load_84 | 38 | 0.0062721 | 0.0015719 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6193-8_0_5_load_18 | 40 | 0.0018856 | 0.00047258 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6193-8_0_5_load_19 | 41 | 0.0014806 | 0.00037107 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6193-8_0_5_load_21 | 43 | 0.0025808 | 0.00064681 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6193-8_0_5_load_22 | 44 | 0.0066297 | 0.0016616 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6193-8_0_5_load_66 | 45 | 0.0014518 | 0.00036384 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6193-8_0_5_load_29 | 46 | 0.011127 | 0.0027887 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6193-8_0_5_load_67 | 47 | 0.0017115 | 0.00042894 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6193-8_0_5_load_30 | 48 | 0.0081486 | 0.0020422 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6193-8_0_5_load_23 | 49 | 0.0032625 | 0.00081765 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6193-8_0_5_load_24 | 50 | 0.0028048 | 0.00070296 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6193-8_0_5_load_26 | 52 | 0.0013596 | 0.00034075 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6193-8_0_5_load_27 | 53 | 0.0036613 | 0.00091761 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6193-8_0_5_load_33 | 55 | 0.0012854 | 0.00032216 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6193-8_0_5_load_40 | 56 | 0.0031469 | 0.00078868 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6193-8_0_5_load_31 | 58 | 0.0036418 | 0.00091273 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6193-8_0_5_load_48 | 60 | 0.00556 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6193-8_0_5_load_51 | 61 | 0.008367 | 0.002097 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6193-8_0_5_load_50 | 62 | 0.0021932 | 0.00054968 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6193-8_0_5_load_35 | 63 | 0.010952 | 0.0027447 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6193-8_0_5_load_36 | 64 | 0.004392 | 0.0011007 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6193-8_0_5_load_37 | 65 | 0.0036902 | 0.00092486 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6193-8_0_5_load_38 | 66 | 0.0031429 | 0.00078769 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6193-8_0_5_load_69 | 67 | 0.013531 | 0.0033912 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6193-8_0_5_load_76 | 68 | 0.0089111 | 0.0022333 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6193-8_0_5_load_41 | 69 | 0.0072115 | 0.0018074 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6193-8_0_5_load_42 | 70 | 0.0070006 | 0.0017545 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6193-8_0_5_load_43 | 71 | 0.00549 | 0.0013759 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6193-8_0_5_load_44 | 72 | 0.0058529 | 0.0014669 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6193-8_0_5_load_45 | 73 | 0.013289 | 0.0033306 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6193-8_0_5_load_101 | 75 | 0.008275 | 0.0020739 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6193-8_0_5_load_46 | 76 | 0.0062778 | 0.0015734 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6193-8_0_5_load_47 | 77 | 0.017173 | 0.004304 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6193-8_0_5_load_93 | 78 | 0.0068783 | 0.0017239 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6193-8_0_5_load_108 | 79 | 0.016802 | 0.0042109 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6193-8_0_5_load_106 | 80 | 0.012326 | 0.0030892 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6193-8_0_5_load_52 | 81 | 0.0048962 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6193-8_0_5_load_88 | 82 | 0.0045303 | 0.0011354 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6193-8_0_5_load_98 | 83 | 0.0024532 | 0.00061482 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6193-8_0_5_load_86 | 84 | 0.002197 | 0.00055063 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6193-8_0_5_load_97 | 85 | 0.0042208 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6193-8_0_5_load_72 | 86 | 0.0027083 | 0.00067875 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_6193-8_0_5_load_78 | 87 | 0.0059571 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_6193-8_0_5_load_79 | 88 | 0.0072304 | 0.0018121 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_6193-8_0_5_load_57 | 89 | 0.0047964 | 0.0012021 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_6193-8_0_5_load_75 | 91 | 0.0030373 | 0.00076122 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_6193-8_0_5_load_68 | 92 | 0.0027785 | 0.00069635 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_6193-8_0_5_load_109 | 93 | 0.0069983 | 0.0017539 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_6193-8_0_5_load_71 | 94 | 0.0016884 | 0.00042314 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_6193-8_0_5_load_83 | 95 | 0.018312 | 0.0045894 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_6193-8_0_5_load_82 | 96 | 0.004351 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_6193-8_0_5_load_80 | 97 | 0.0035272 | 0.00088399 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_6193-8_0_5_load_81 | 98 | 0.0040822 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_6193-8_0_5_load_87 | 99 | 0.0072814 | 0.0018249 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_6193-8_0_5_load_89 | 100 | 0.0070988 | 0.0017791 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_6193-8_0_5_load_100 | 101 | 0.0074944 | 0.0018783 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_6193-8_0_5_load_96 | 102 | 0.0014876 | 0.00037282 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_6193-8_0_5_load_99 | 104 | 0.0092633 | 0.0023216 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6193-8_0_5_line_0 |  | 0 | 1 | 0.010845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_6193-8_0_5_line_1 |  | 0 | 2 | 0.0088861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_6193-8_0_5_line_2 |  | 1 | 3 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6193-8_0_5_line_3 |  | 2 | 4 | 0.010188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6193-8_0_5_line_4 |  | 2 | 5 | 0.017168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6193-8_0_5_line_5 |  | 2 | 6 | 0.012106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6193-8_0_5_line_6 |  | 3 | 7 | 0.012761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6193-8_0_5_line_7 |  | 4 | 8 | 0.00023867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6193-8_0_5_line_8 |  | 5 | 9 | 0.0056943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6193-8_0_5_line_9 |  | 6 | 10 | 0.019401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_6193-8_0_5_line_10 |  | 7 | 11 | 0.0047328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6193-8_0_5_line_11 |  | 8 | 12 | 0.01658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6193-8_0_5_line_12 |  | 9 | 13 | 0.012728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_6193-8_0_5_line_13 |  | 10 | 14 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_6193-8_0_5_line_14 |  | 11 | 102 | 0.00078298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6193-8_0_5_line_15 |  | 12 | 58 | 0.014088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6193-8_0_5_line_16 |  | 13 | 65 | 0.00048626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_6193-8_0_5_line_17 |  | 14 | 82 | 0.018093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_6193-8_0_5_line_18 |  | 14 | 83 | 0.0078199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6193-8_0_5_line_19 |  | 14 | 81 | 0.042677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6193-8_0_5_line_20 |  | 15 | 16 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6193-8_0_5_line_21 |  | 15 | 17 | 0.038432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6193-8_0_5_line_22 |  | 16 | 18 | 0.032907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6193-8_0_5_line_23 |  | 17 | 19 | 0.0085754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6193-8_0_5_line_24 |  | 17 | 20 | 0.030417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6193-8_0_5_line_25 |  | 18 | 21 | 0.030271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6193-8_0_5_line_26 |  | 19 | 22 | 0.023946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6193-8_0_5_line_27 |  | 20 | 23 | 0.011297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6193-8_0_5_line_28 |  | 22 | 24 | 0.036983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6193-8_0_5_line_29 |  | 23 | 25 | 0.005219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6193-8_0_5_line_30 |  | 24 | 89 | 0.01368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6193-8_0_5_line_31 |  | 25 | 102 | 0.011063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6193-8_0_5_line_32 |  | 26 | 27 | 0.013485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_6193-8_0_5_line_33 |  | 26 | 28 | 0.058165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_6193-8_0_5_line_34 |  | 27 | 29 | 0.0037984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_6193-8_0_5_line_35 |  | 28 | 30 | 0.0052264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_6193-8_0_5_line_36 |  | 29 | 31 | 0.0097269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_6193-8_0_5_line_37 |  | 30 | 32 | 0.061912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_6193-8_0_5_line_38 |  | 31 | 38 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_6193-8_0_5_line_39 |  | 32 | 39 | 0.037226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6193-8_0_5_line_40 |  | 32 | 37 | 0.097002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6193-8_0_5_line_41 |  | 33 | 34 | 0.018288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6193-8_0_5_line_42 |  | 33 | 35 | 0.025809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6193-8_0_5_line_43 |  | 35 | 36 | 0.014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6193-8_0_5_line_44 |  | 35 | 37 | 0.093856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6193-8_0_5_line_45 |  | 37 | 87 | 0.039531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6193-8_0_5_line_46 |  | 38 | 73 | 0.012095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_6193-8_0_5_line_47 |  | 39 | 86 | 0.010661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6193-8_0_5_line_48 |  | 40 | 41 | 0.021223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6193-8_0_5_line_49 |  | 40 | 42 | 0.0068602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6193-8_0_5_line_50 |  | 41 | 43 | 0.0096723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6193-8_0_5_line_51 |  | 42 | 44 | 0.05688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6193-8_0_5_line_52 |  | 43 | 45 | 0.0014422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6193-8_0_5_line_53 |  | 44 | 46 | 0.0097852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6193-8_0_5_line_54 |  | 45 | 47 | 0.0090604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6193-8_0_5_line_55 |  | 46 | 48 | 0.046415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6193-8_0_5_line_56 |  | 47 | 92 | 0.00091767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6193-8_0_5_line_57 |  | 49 | 50 | 0.016643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6193-8_0_5_line_58 |  | 49 | 51 | 0.010349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6193-8_0_5_line_59 |  | 50 | 52 | 0.013434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6193-8_0_5_line_60 |  | 51 | 53 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6193-8_0_5_line_61 |  | 51 | 54 | 0.015018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6193-8_0_5_line_62 |  | 52 | 55 | 0.0067484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6193-8_0_5_line_63 |  | 53 | 56 | 0.0076242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6193-8_0_5_line_64 |  | 54 | 57 | 0.011467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6193-8_0_5_line_65 |  | 55 | 58 | 0.05093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6193-8_0_5_line_66 |  | 57 | 59 | 0.021723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6193-8_0_5_line_67 |  | 57 | 60 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6193-8_0_5_line_68 |  | 59 | 79 | 0.0076962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6193-8_0_5_line_69 |  | 59 | 80 | 0.018986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6193-8_0_5_line_70 |  | 60 | 76 | 0.051428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6193-8_0_5_line_71 |  | 61 | 62 | 0.045349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6193-8_0_5_line_72 |  | 62 | 81 | 0.0034393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6193-8_0_5_line_73 |  | 63 | 64 | 0.01934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6193-8_0_5_line_74 |  | 63 | 65 | 0.040219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6193-8_0_5_line_75 |  | 64 | 66 | 0.0076523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6193-8_0_5_line_76 |  | 66 | 67 | 0.019997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6193-8_0_5_line_77 |  | 67 | 68 | 0.091905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6193-8_0_5_line_78 |  | 69 | 70 | 0.033019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_6193-8_0_5_line_79 |  | 69 | 71 | 0.0011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_6193-8_0_5_line_80 |  | 70 | 72 | 0.025681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6193-8_0_5_line_81 |  | 71 | 73 | 0.010272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6193-8_0_5_line_82 |  | 72 | 74 | 0.026072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6193-8_0_5_line_83 |  | 74 | 75 | 0.060225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_6193-8_0_5_line_84 |  | 75 | 101 | 0.072808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_6193-8_0_5_line_85 |  | 76 | 77 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_6193-8_0_5_line_86 |  | 77 | 78 | 0.088237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6193-8_0_5_line_87 |  | 79 | 93 | 0.039495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6193-8_0_5_line_88 |  | 82 | 84 | 0.0090045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_6193-8_0_5_line_89 |  | 83 | 85 | 0.0026159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6193-8_0_5_line_90 |  | 84 | 99 | 0.039457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_6193-8_0_5_line_91 |  | 85 | 103 | 0.014147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6193-8_0_5_line_92 |  | 86 | 94 | 0.032227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6193-8_0_5_line_93 |  | 87 | 88 | 0.010288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6193-8_0_5_line_94 |  | 89 | 90 | 0.035662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6193-8_0_5_line_95 |  | 90 | 91 | 0.024925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6193-8_0_5_line_96 |  | 90 | 92 | 0.041824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6193-8_0_5_line_97 |  | 91 | 95 | 0.0023097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_6193-8_0_5_line_98 |  | 95 | 96 | 0.03357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_6193-8_0_5_line_99 |  | 96 | 97 | 0.010074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_6193-8_0_5_line_100 |  | 97 | 98 | 0.017365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_6193-8_0_5_line_101 |  | 99 | 100 | 0.019065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_6193-8_0_5_line_102 |  | 100 | 101 | 0.022884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_6193-8_0_5_line_103 |  | 103 | 104 | 0.061527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6193-8_0_5_trafo_37 | 0.63 MVA 20/0.4 kV | 105 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2628866.5757 | 1125848.5908 | 2628861.1491 | 1125848.8915 | 2628855.9731 | 1125847.3159
1 | 2628875.3906 | 1125847.6365 | 2628872.0502 | 1125848.2875 | 2628866.5757 | 1125848.5908
2 | 2628842.8457 | 1125844.8729 | 2628849.3509 | 1125845.3002 | 2628855.9731 | 1125847.3159
3 | 2628875.3906 | 1125847.6365 | 2628875.519 | 1125843.3238 | 2628876.87 | 1125837.6076
4 | 2628875.3906 | 1125847.6365 | 2628877.8497 | 1125852.395 | 2628883.1041 | 1125856.033 | 2628885.3689 | 1125857.8891 | 2628885.2707 | 1125860.3793
5 | 2628875.3906 | 1125847.6365 | 2628884.5323 | 1125845.8569 | 2628887.1623 | 1125844.9184
6 | 2628842.8457 | 1125844.8729 | 2628834.3878 | 1125844.3174 | 2628830.1299 | 1125844.7989
7 | 2628876.87 | 1125837.6076 | 2628876.9249 | 1125837.3754
8 | 2628885.2707 | 1125860.3793 | 2628885.255 | 1125860.7789 | 2628884.7243 | 1125863.7668 | 2628886.2656 | 1125865.4194 | 2628886.2656 | 1125865.4194
9 | 2628887.1623 | 1125844.9184 | 2628905.4342 | 1125838.3977
10 | 2628830.1299 | 1125844.7989 | 2628825.4271 | 1125845.3308 | 2628825.4271 | 1125845.3308
11 | 2628883.4594 | 1125822.3091 | 2628878.3665 | 1125831.2758 | 2628876.9249 | 1125837.3754
12 | 2628886.2656 | 1125865.4194 | 2628894.8206 | 1125870.307 | 2628897.4328 | 1125871.5091
13 | 2628916.0937 | 1125832.9788 | 2628906.2346 | 1125838.1121 | 2628905.4342 | 1125838.3977
14 | 2628825.4271 | 1125845.3308 | 2628825.5433 | 1125846.1051
15 | 2628883.4594 | 1125822.3091 | 2628884.2038 | 1125820.9985 | 2628885.5309 | 1125808.4879
16 | 2628897.8745 | 1125871.7123 | 2628897.4328 | 1125871.5091
17 | 2628916.0937 | 1125832.9788 | 2628919.1584 | 1125840.0303 | 2628924.1162 | 1125849.1773
18 | 2628916.0937 | 1125832.9788 | 2628923.669 | 1125831.0382
19 | 2628916.0937 | 1125832.9788 | 2628909.5362 | 1125790.8083
20 | 2628790.8431 | 1125854.3231 | 2628790.5467 | 1125825.0311
21 | 2628798.8518 | 1125890.7827 | 2628791.0665 | 1125876.3941 | 2628790.8431 | 1125854.3231
22 | 2628790.5467 | 1125825.0311 | 2628790.4844 | 1125818.8737 | 2628790.2127 | 1125792.1262
23 | 2628798.8518 | 1125890.7827 | 2628802.9326 | 1125898.3248
24 | 2628798.8518 | 1125890.7827 | 2628805.6118 | 1125884.167 | 2628813.7836 | 1125870.7659 | 2628818.2886 | 1125868.0459
25 | 2628789.8301 | 1125761.8603 | 2628789.9173 | 1125763.0432 | 2628790.2127 | 1125792.1262
26 | 2628812.0115 | 1125918.9711 | 2628812.9733 | 1125916.3514 | 2628810.7784 | 1125907.9034 | 2628803.9172 | 1125900.1447 | 2628802.9326 | 1125898.3248
27 | 2628827.9596 | 1125862.2068 | 2628818.2886 | 1125868.0459
28 | 2628812.0115 | 1125918.9711 | 2628808.8582 | 1125927.5597 | 2628805.3173 | 1125934.7464 | 2628796.556 | 1125952.527
29 | 2628827.185 | 1125857.0456 | 2628827.9596 | 1125862.2068 | 2628827.9596 | 1125862.2068
30 | 2628790.5097 | 1125964.7979 | 2628796.556 | 1125952.527
31 | 2628827.185 | 1125857.0456 | 2628825.5433 | 1125846.1051
32 | 2629007.5805 | 1125924.3306 | 2629001.333 | 1125930.4569 | 2628998.588 | 1125934.3148
33 | 2629037.8903 | 1125875.4153 | 2629037.8824 | 1125875.4378 | 2629029.7708 | 1125893.8637 | 2629025.7782 | 1125901.9597 | 2629020.8373 | 1125910.1179 | 2629011.9262 | 1125920.0691 | 2629007.5805 | 1125924.3306
34 | 2628998.588 | 1125934.3148 | 2628996.3858 | 1125937.4097
35 | 2629037.8903 | 1125875.4153 | 2629039.6026 | 1125870.4774
36 | 2628990.9882 | 1125945.4975 | 2628993.9072 | 1125940.8933 | 2628996.3858 | 1125937.4097
37 | 2629055.5661 | 1125812.1355 | 2629057.717 | 1125816.837 | 2629056.8948 | 1125822.7472 | 2629047.7785 | 1125846.5375 | 2629044.4865 | 1125856.3933 | 2629039.6026 | 1125870.4774
38 | 2628990.9882 | 1125945.4975 | 2628988.1527 | 1125949.9703 | 2628983.4998 | 1125954.328 | 2628982.0771 | 1125956.7795
39 | 2629032.0189 | 1125797.8933 | 2629036.6464 | 1125800.4723 | 2629042.3176 | 1125800.7663 | 2629052.674 | 1125801.2606 | 2629058.2055 | 1125803.3771 | 2629059.1476 | 1125806.2275 | 2629058.6603 | 1125808.1817 | 2629055.5661 | 1125812.1355
40 | 2629055.5661 | 1125812.1355 | 2629140.8251 | 1125858.3978
41 | 2629154.528 | 1125928.3003 | 2629154.5796 | 1125928.1578 | 2629157.5531 | 1125915.6547 | 2629156.8533 | 1125910.417
42 | 2629140.1464 | 1125946.8532 | 2629148.862 | 1125943.9159 | 2629153.4548 | 1125931.265 | 2629154.528 | 1125928.3003
43 | 2629140.1464 | 1125946.8532 | 2629136.1216 | 1125960.7025
44 | 2629140.1464 | 1125946.8532 | 2629142.1374 | 1125931.9109 | 2629132.6871 | 1125904.9298 | 2629128.0148 | 1125890.8559 | 2629131.7044 | 1125873.6873 | 2629140.8251 | 1125858.3978
45 | 2629140.8251 | 1125858.3978 | 2629151.5023 | 1125840.4992 | 2629164.0839 | 1125826.6781
46 | 2628977.0771 | 1125967.7484 | 2628979.5753 | 1125961.0903 | 2628982.0771 | 1125956.7795
47 | 2629032.0189 | 1125797.8933 | 2629036.5842 | 1125794.1467 | 2629040.0379 | 1125790.8787
48 | 2628695.7491 | 1126014.4314 | 2628699.1953 | 1126014.6605 | 2628711.0026 | 1126016.295 | 2628716.7894 | 1126015.4449
49 | 2628689.5662 | 1126012.0247 | 2628692.8929 | 1126014.2416 | 2628695.7491 | 1126014.4314
50 | 2628716.7894 | 1126015.4449 | 2628726.359 | 1126014.039
51 | 2628689.5662 | 1126012.0247 | 2628692.8368 | 1126001.6795 | 2628697.2048 | 1125984.1804 | 2628699.0825 | 1125976.6522 | 2628701.1363 | 1125967.7463 | 2628699.0537 | 1125964.8461 | 2628691.9817 | 1125962.2738
52 | 2628727.7734 | 1126013.7744 | 2628727.4225 | 1126013.8828 | 2628726.359 | 1126014.039
53 | 2628691.9817 | 1125962.2738 | 2628686.5125 | 1125960.2845 | 2628683.3127 | 1125957.9423
54 | 2628727.7734 | 1126013.7744 | 2628732.0304 | 1126012.4595 | 2628736.4451 | 1126011.1493
55 | 2628653.3787 | 1125923.7838 | 2628658.1553 | 1125934.7376 | 2628665.0421 | 1125943.6079 | 2628673.9317 | 1125951.0759 | 2628683.3127 | 1125957.9423
56 | 2628736.4451 | 1126011.1493 | 2628737.3248 | 1126010.8882
57 | 2628859.3248 | 1125732.3628 | 2628864.3264 | 1125740.1302 | 2628866.576 | 1125745.1879 | 2628866.8857 | 1125747.0315
58 | 2628854.719 | 1125723.1537 | 2628856.7367 | 1125728.3437 | 2628859.3248 | 1125732.3628
59 | 2628873.7585 | 1125755.5272 | 2628869.525 | 1125755.507 | 2628868.0825 | 1125754.1551 | 2628866.8857 | 1125747.0315
60 | 2628854.719 | 1125723.1537 | 2628839.2285 | 1125729.7041
61 | 2628857.5331 | 1125708.4042 | 2628854.719 | 1125723.1537
62 | 2628878.635 | 1125758.956 | 2628876.4539 | 1125755.5401 | 2628873.7585 | 1125755.5272
63 | 2628832.2063 | 1125732.6736 | 2628839.2285 | 1125729.7041
64 | 2628849.0532 | 1125700.66 | 2628857.5331 | 1125708.4042
65 | 2628878.635 | 1125758.956 | 2628880.149 | 1125761.3272 | 2628884.3283 | 1125772.2637 | 2628885.9401 | 1125781.7539 | 2628886.3666 | 1125800.6098 | 2628885.5309 | 1125808.4879
66 | 2628849.0532 | 1125700.66 | 2628832.6424 | 1125686.3748
67 | 2628849.0532 | 1125700.66 | 2628858.8821 | 1125689.2174
68 | 2628832.6424 | 1125686.3748 | 2628826.8374 | 1125681.3217
69 | 2628832.6424 | 1125686.3748 | 2628815.4446 | 1125694.418
70 | 2628892.3961 | 1125650.2092 | 2628888.9918 | 1125654.1715 | 2628873.5604 | 1125672.1292 | 2628858.8821 | 1125689.2174
71 | 2628909.0077 | 1125787.4098 | 2628907.9354 | 1125780.5137 | 2628903.9931 | 1125760.296 | 2628895.118 | 1125744.8991
72 | 2628909.0077 | 1125787.4098 | 2628909.5362 | 1125790.8083
73 | 2628908.7308 | 1125909.1558 | 2628910.1513 | 1125907.2652 | 2628921.0634 | 1125894.6444 | 2628921.252 | 1125894.4227
74 | 2628897.8745 | 1125871.7123 | 2628913.5929 | 1125878.9453 | 2628924.6217 | 1125885.4901 | 2628924.3885 | 1125890.7361 | 2628921.252 | 1125894.4227
75 | 2628908.7308 | 1125909.1558 | 2628904.1341 | 1125915.2735
76 | 2628893.8356 | 1125932.2493 | 2628897.0428 | 1125924.7114 | 2628904.1341 | 1125915.2735
77 | 2628893.8356 | 1125932.2493 | 2628882.8254 | 1125958.127 | 2628883.5179 | 1125964.8336 | 2628890.3445 | 1125984.6427 | 2628896.3369 | 1126008.0607 | 2628899.7021 | 1126019.4909
78 | 2628973.8278 | 1125978.6756 | 2628971.0926 | 1125987.8742 | 2628970.5079 | 1125994.0968 | 2628970.7237 | 1126002.1574 | 2628969.4841 | 1126008.3434 | 2628968.3395 | 1126010.8988
79 | 2628973.8278 | 1125978.6756 | 2628974.1492 | 1125977.5948
80 | 2628968.3395 | 1126010.8988 | 2628967.5365 | 1126012.6918 | 2628959.3057 | 1126023.8803 | 2628957.5184 | 1126031.7868 | 2628957.5484 | 1126033.5074
81 | 2628977.0771 | 1125967.7484 | 2628977.0771 | 1125967.7484 | 2628974.1492 | 1125977.5948
82 | 2628951.0025 | 1126055.0673 | 2628955.0917 | 1126054.1308 | 2628957.4524 | 1126052.0299 | 2628958.5261 | 1126048.2998 | 2628957.6454 | 1126039.0688 | 2628957.5484 | 1126033.5074
83 | 2628951.0025 | 1126055.0673 | 2628948.461 | 1126043.3826 | 2628946.6605 | 1126026.6546 | 2628943.2128 | 1125995.4017
84 | 2628943.2128 | 1125995.4017 | 2628941.2678 | 1125977.7711 | 2628940.672 | 1125965.3621 | 2628942.1594 | 1125950.8731 | 2628945.6762 | 1125939.084 | 2628952.4042 | 1125924.811
85 | 2628892.3961 | 1125650.2092 | 2628895.0606 | 1125647.108 | 2628899.7549 | 1125639.6725
86 | 2628899.7549 | 1125639.6725 | 2628981.7004 | 1125672.3944
87 | 2628826.8374 | 1125681.3217 | 2628800.6805 | 1125658.5534 | 2628797.3412 | 1125655.0821
88 | 2628929.5729 | 1125856.2801 | 2628925.3927 | 1125851.5324 | 2628924.1162 | 1125849.1773
89 | 2628926.2031 | 1125830.3891 | 2628923.669 | 1125831.0382
90 | 2628929.5729 | 1125856.2801 | 2628955.6469 | 1125885.8937
91 | 2628939.9078 | 1125826.8783 | 2628926.2031 | 1125830.3891
92 | 2629060.8338 | 1125766.4198 | 2629049.2433 | 1125782.168 | 2629040.0379 | 1125790.8787
93 | 2629164.0839 | 1125826.6781 | 2629171.0097 | 1125819.0699
94 | 2628777.0024 | 1125997.6877 | 2628781.6124 | 1125982.8578 | 2628783.3323 | 1125979.3642 | 2628790.5097 | 1125964.7979
95 | 2628777.0024 | 1125997.6877 | 2628776.1346 | 1126008.4 | 2628775.2338 | 1126019.5569 | 2628774.5855 | 1126022.4705
96 | 2628777.0024 | 1125997.6877 | 2628748.0685 | 1126007.6998 | 2628737.3248 | 1126010.8882
97 | 2628774.0838 | 1126024.7251 | 2628774.5855 | 1126022.4705
98 | 2628774.0838 | 1126024.7251 | 2628773.3831 | 1126027.8744 | 2628766.5266 | 1126049.9974 | 2628765.2605 | 1126057.0677
99 | 2628764.4471 | 1126067.0755 | 2628764.5157 | 1126061.2267 | 2628765.2605 | 1126057.0677
100 | 2628764.4471 | 1126067.0755 | 2628764.3343 | 1126076.7003 | 2628764.8004 | 1126082.4053 | 2628764.9633 | 1126084.414
101 | 2628960.5858 | 1125903.578 | 2628960.6137 | 1125903.4487 | 2628960.721 | 1125895.512 | 2628957.7114 | 1125888.2384 | 2628955.6469 | 1125885.8937
102 | 2628960.5858 | 1125903.578 | 2628959.0452 | 1125910.7226 | 2628952.4042 | 1125924.811
103 | 2628939.9078 | 1125826.8783 | 2628944.2152 | 1125822.2521 | 2628943.5528 | 1125804.4179 | 2628940.4481 | 1125791.2187 | 2628964.3065 | 1125790.41

## bus_geodata
| x | y | coords
0 | 2628866.5757 | 1125848.5908
1 | 2628855.9731 | 1125847.3159
2 | 2628875.3906 | 1125847.6365
3 | 2628842.8457 | 1125844.8729
4 | 2628876.87 | 1125837.6076
5 | 2628885.2707 | 1125860.3793
6 | 2628887.1623 | 1125844.9184
7 | 2628830.1299 | 1125844.7989
8 | 2628876.9249 | 1125837.3754
9 | 2628886.2656 | 1125865.4194
10 | 2628905.4342 | 1125838.3977
11 | 2628825.4271 | 1125845.3308
12 | 2628883.4594 | 1125822.3091
13 | 2628897.4328 | 1125871.5091
14 | 2628916.0937 | 1125832.9788
15 | 2628790.8431 | 1125854.3231
16 | 2628790.5467 | 1125825.0311
17 | 2628798.8518 | 1125890.7827
18 | 2628790.2127 | 1125792.1262
19 | 2628802.9326 | 1125898.3248
20 | 2628818.2886 | 1125868.0459
21 | 2628789.8301 | 1125761.8603
22 | 2628812.0115 | 1125918.9711
23 | 2628827.9596 | 1125862.2068
24 | 2628796.556 | 1125952.527
25 | 2628827.185 | 1125857.0456
26 | 2629007.5805 | 1125924.3306
27 | 2628998.588 | 1125934.3148
28 | 2629037.8903 | 1125875.4153
29 | 2628996.3858 | 1125937.4097
30 | 2629039.6026 | 1125870.4774
31 | 2628990.9882 | 1125945.4975
32 | 2629055.5661 | 1125812.1355
33 | 2629154.528 | 1125928.3003
34 | 2629156.8533 | 1125910.417
35 | 2629140.1464 | 1125946.8532
36 | 2629136.1216 | 1125960.7025
37 | 2629140.8251 | 1125858.3978
38 | 2628982.0771 | 1125956.7795
39 | 2629032.0189 | 1125797.8933
40 | 2628695.7491 | 1126014.4314
41 | 2628716.7894 | 1126015.4449
42 | 2628689.5662 | 1126012.0247
43 | 2628726.359 | 1126014.039
44 | 2628691.9817 | 1125962.2738
45 | 2628727.7734 | 1126013.7744
46 | 2628683.3127 | 1125957.9423
47 | 2628736.4451 | 1126011.1493
48 | 2628653.3787 | 1125923.7838
49 | 2628859.3248 | 1125732.3628
50 | 2628866.8858 | 1125747.0315
51 | 2628854.719 | 1125723.1537
52 | 2628873.7585 | 1125755.5272
53 | 2628839.2285 | 1125729.7041
54 | 2628857.5331 | 1125708.4042
55 | 2628878.635 | 1125758.956
56 | 2628832.2063 | 1125732.6736
57 | 2628849.0532 | 1125700.66
58 | 2628885.5309 | 1125808.4879
59 | 2628832.6424 | 1125686.3748
60 | 2628858.8821 | 1125689.2174
61 | 2628895.118 | 1125744.8991
62 | 2628909.0077 | 1125787.4098
63 | 2628921.252 | 1125894.4227
64 | 2628908.7308 | 1125909.1558
65 | 2628897.8745 | 1125871.7123
66 | 2628904.1341 | 1125915.2735
67 | 2628893.8356 | 1125932.2493
68 | 2628899.7021 | 1126019.4909
69 | 2628973.8278 | 1125978.6756
70 | 2628968.3395 | 1126010.8988
71 | 2628974.1492 | 1125977.5948
72 | 2628957.5484 | 1126033.5074
73 | 2628977.0771 | 1125967.7484
74 | 2628951.0025 | 1126055.0673
75 | 2628943.2128 | 1125995.4017
76 | 2628892.3961 | 1125650.2092
77 | 2628899.7549 | 1125639.6725
78 | 2628981.7004 | 1125672.3944
79 | 2628826.8374 | 1125681.3217
80 | 2628815.4446 | 1125694.418
81 | 2628909.5362 | 1125790.8083
82 | 2628924.1162 | 1125849.1773
83 | 2628923.669 | 1125831.0382
84 | 2628929.5729 | 1125856.2801
85 | 2628926.2031 | 1125830.3891
86 | 2629040.0379 | 1125790.8787
87 | 2629164.0839 | 1125826.6781
88 | 2629171.0097 | 1125819.0699
89 | 2628790.5097 | 1125964.7979
90 | 2628777.0024 | 1125997.6877
91 | 2628774.5855 | 1126022.4705
92 | 2628737.3248 | 1126010.8882
93 | 2628797.3412 | 1125655.0821
94 | 2629060.8338 | 1125766.4198
95 | 2628774.0838 | 1126024.7251
96 | 2628765.2605 | 1126057.0677
97 | 2628764.4471 | 1126067.0755
98 | 2628764.9633 | 1126084.414
99 | 2628955.6469 | 1125885.8937
100 | 2628960.5858 | 1125903.578
101 | 2628952.4042 | 1125924.811
102 | 2628825.5433 | 1125846.1051
103 | 2628939.9078 | 1125826.8783
104 | 2628964.3065 | 1125790.41
105 | 2628875.3906 | 1125847.6365

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1