## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6194-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6194-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6194-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6194-3_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6194-3_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6194-3_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6194-3_0_6_node_50 | 0.4 | n |  | TRUE
7 | bus_LV_6194-3_0_6_node_53 | 0.4 | n |  | TRUE
8 | bus_LV_6194-3_0_6_node_49 | 0.4 | n |  | TRUE
9 | bus_LV_6194-3_0_6_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_6194-3_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_6194-3_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6194-3_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_6194-3_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_6194-3_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_6194-3_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_6194-3_0_6_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_6194-3_0_6_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_6194-3_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6194-3_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_6194-3_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_6194-3_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_6194-3_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_6194-3_0_6_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_6194-3_0_6_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_6194-3_0_6_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_6194-3_0_6_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_6194-3_0_6_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_6194-3_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_6194-3_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_6194-3_0_6_node_67 | 0.4 | n |  | TRUE
31 | bus_LV_6194-3_0_6_node_68 | 0.4 | n |  | TRUE
32 | bus_LV_6194-3_0_6_node_66 | 0.4 | n |  | TRUE
33 | bus_LV_6194-3_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6194-3_0_6_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_6194-3_0_6_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_6194-3_0_6_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6194-3_0_6_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_6194-3_0_6_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_6194-3_0_6_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_6194-3_0_6_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_6194-3_0_6_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_6194-3_0_6_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_6194-3_0_6_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_6194-3_0_6_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_6194-3_0_6_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6194-3_0_6_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_6194-3_0_6_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_6194-3_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_6194-3_0_6_node_35 | 0.4 | n |  | TRUE
50 | bus_LV_6194-3_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_6194-3_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_6194-3_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_6194-3_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_6194-3_0_6_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_6194-3_0_6_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_6194-3_0_6_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_6194-3_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_6194-3_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_6194-3_0_6_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_6194-3_0_6_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_6194-3_0_6_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_6194-3_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_6194-3_0_6_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_6194-3_0_6_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_6194-3_0_6_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_6194-3_0_6_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_6194-3_0_6_node_65 | 0.4 | n |  | TRUE
68 | bus_MV_109_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6194-3_0_6_load_0 | 0 | 0.021654 | 0.0054269 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6194-3_0_6_load_1 | 1 | 0.0054644 | 0.0013695 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6194-3_0_6_load_3 | 3 | 0.0041219 | 0.001033 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6194-3_0_6_load_4 | 4 | 0.0093958 | 0.0023548 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6194-3_0_6_load_5 | 5 | 0.0050303 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6194-3_0_6_load_50 | 6 | 0.0019863 | 0.00049781 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6194-3_0_6_load_53 | 7 | 0.0037379 | 0.00093681 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6194-3_0_6_load_49 | 8 | 0.010063 | 0.002522 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6194-3_0_6_load_52 | 9 | 0.0064847 | 0.0016252 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6194-3_0_6_load_6 | 10 | 0.015579 | 0.0039046 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6194-3_0_6_load_7 | 11 | 0.0088793 | 0.0022254 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6194-3_0_6_load_8 | 12 | 0.0068862 | 0.0017258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6194-3_0_6_load_9 | 13 | 0.006444 | 0.001615 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6194-3_0_6_load_10 | 14 | 0.010627 | 0.0026635 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6194-3_0_6_load_11 | 15 | 0.013904 | 0.0034847 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6194-3_0_6_load_33 | 16 | 0.0048501 | 0.0012156 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6194-3_0_6_load_31 | 17 | 0.011226 | 0.0028135 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6194-3_0_6_load_12 | 18 | 0.0033083 | 0.00082915 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6194-3_0_6_load_17 | 20 | 0.005831 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6194-3_0_6_load_16 | 21 | 0.0092731 | 0.0023241 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6194-3_0_6_load_51 | 24 | 0.0095646 | 0.0023971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6194-3_0_6_load_43 | 25 | 0.0066219 | 0.0016596 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6194-3_0_6_load_69 | 26 | 0.018518 | 0.0046411 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6194-3_0_6_load_63 | 27 | 0.012734 | 0.0031915 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6194-3_0_6_load_18 | 28 | 0.024576 | 0.0061593 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6194-3_0_6_load_19 | 29 | 0.018404 | 0.0046124 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6194-3_0_6_load_68 | 31 | 0.013834 | 0.0034672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6194-3_0_6_load_66 | 32 | 0.023395 | 0.0058633 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6194-3_0_6_load_20 | 33 | 0.0016872 | 0.00042285 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6194-3_0_6_load_21 | 34 | 0.0024003 | 0.00060158 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6194-3_0_6_load_24 | 37 | 0.0027296 | 0.00068411 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6194-3_0_6_load_36 | 38 | 0.0020727 | 0.00051946 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6194-3_0_6_load_34 | 40 | 0.0084067 | 0.0021069 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6194-3_0_6_load_29 | 41 | 0.0020311 | 0.00050905 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6194-3_0_6_load_25 | 42 | 0.003738 | 0.00093682 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6194-3_0_6_load_26 | 43 | 0.006638 | 0.0016636 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6194-3_0_6_load_28 | 44 | 0.021725 | 0.0054448 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6194-3_0_6_load_30 | 45 | 0.0053352 | 0.0013371 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6194-3_0_6_load_32 | 46 | 0.0083467 | 0.0020919 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6194-3_0_6_load_46 | 47 | 0.0082047 | 0.0020563 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6194-3_0_6_load_44 | 48 | 0.008925 | 0.0022368 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6194-3_0_6_load_35 | 49 | 0.007378 | 0.0018491 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6194-3_0_6_load_37 | 50 | 0.013944 | 0.0034946 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6194-3_0_6_load_38 | 51 | 0.018509 | 0.0046387 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6194-3_0_6_load_39 | 52 | 0.0077646 | 0.001946 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6194-3_0_6_load_40 | 53 | 0.0095327 | 0.0023891 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6194-3_0_6_load_41 | 54 | 0.016979 | 0.0042552 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6194-3_0_6_load_42 | 55 | 0.0055607 | 0.0013936 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6194-3_0_6_load_45 | 56 | 0.0033864 | 0.00084872 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6194-3_0_6_load_47 | 57 | 0.0082776 | 0.0020746 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6194-3_0_6_load_48 | 58 | 0.0085831 | 0.0021511 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6194-3_0_6_load_54 | 59 | 0.0041059 | 0.001029 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6194-3_0_6_load_55 | 60 | 0.0032372 | 0.00081133 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6194-3_0_6_load_57 | 61 | 0.00223 | 0.00055889 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6194-3_0_6_load_58 | 62 | 0.0012638 | 0.00031675 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6194-3_0_6_load_62 | 63 | 0.0049967 | 0.0012523 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6194-3_0_6_load_59 | 64 | 0.0013585 | 0.00034047 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6194-3_0_6_load_61 | 65 | 0.0030527 | 0.00076508 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6194-3_0_6_load_60 | 66 | 0.0013575 | 0.00034021 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6194-3_0_6_load_65 | 67 | 0.0078736 | 0.0019733 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6194-3_0_6_line_0 |  | 0 | 1 | 5.6368e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6194-3_0_6_line_1 |  | 0 | 2 | 0.022265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6194-3_0_6_line_2 |  | 1 | 3 | 0.016231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6194-3_0_6_line_3 |  | 2 | 4 | 0.029449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6194-3_0_6_line_4 |  | 2 | 5 | 0.0083244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6194-3_0_6_line_5 |  | 3 | 6 | 0.010552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6194-3_0_6_line_6 |  | 5 | 7 | 0.010264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6194-3_0_6_line_7 |  | 6 | 8 | 0.012501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_6194-3_0_6_line_8 |  | 7 | 9 | 0.0034907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6194-3_0_6_line_9 |  | 8 | 58 | 0.0051516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_6194-3_0_6_line_10 |  | 9 | 59 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6194-3_0_6_line_11 |  | 10 | 11 | 0.0018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6194-3_0_6_line_12 |  | 10 | 12 | 0.032324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6194-3_0_6_line_13 |  | 11 | 13 | 0.019352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6194-3_0_6_line_14 |  | 13 | 14 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6194-3_0_6_line_15 |  | 14 | 15 | 0.027667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6194-3_0_6_line_16 |  | 15 | 16 | 0.043587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6194-3_0_6_line_17 |  | 16 | 17 | 0.031401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6194-3_0_6_line_18 |  | 17 | 46 | 0.016034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6194-3_0_6_line_19 |  | 17 | 45 | 0.019423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6194-3_0_6_line_20 |  | 18 | 19 | 0.014689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6194-3_0_6_line_21 |  | 18 | 20 | 0.043035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6194-3_0_6_line_22 |  | 19 | 21 | 0.0077457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_6194-3_0_6_line_23 |  | 20 | 22 | 0.059802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6194-3_0_6_line_24 |  | 21 | 23 | 0.0088527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6194-3_0_6_line_25 |  | 22 | 24 | 0.08212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_6194-3_0_6_line_26 |  | 23 | 26 | 0.014954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6194-3_0_6_line_27 |  | 23 | 27 | 0.023639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6194-3_0_6_line_28 |  | 24 | 25 | 0.0062416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6194-3_0_6_line_29 |  | 25 | 55 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_6194-3_0_6_line_30 |  | 26 | 31 | 0.046319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6194-3_0_6_line_31 |  | 27 | 65 | 0.026173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6194-3_0_6_line_32 |  | 28 | 29 | 0.026548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6194-3_0_6_line_33 |  | 29 | 30 | 0.020027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6194-3_0_6_line_34 |  | 30 | 31 | 0.018475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6194-3_0_6_line_35 |  | 30 | 32 | 0.010984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6194-3_0_6_line_36 |  | 32 | 67 | 0.017367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6194-3_0_6_line_37 |  | 33 | 34 | 0.000384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6194-3_0_6_line_38 |  | 34 | 35 | 0.029787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6194-3_0_6_line_39 |  | 35 | 36 | 0.057454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6194-3_0_6_line_40 |  | 35 | 37 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_6194-3_0_6_line_41 |  | 36 | 38 | 0.069699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6194-3_0_6_line_42 |  | 37 | 39 | 0.021663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_6194-3_0_6_line_43 |  | 38 | 40 | 0.033064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_6194-3_0_6_line_44 |  | 39 | 41 | 0.009129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6194-3_0_6_line_45 |  | 39 | 42 | 0.032363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6194-3_0_6_line_46 |  | 40 | 49 | 0.02682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_6194-3_0_6_line_47 |  | 41 | 45 | 0.021657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_6194-3_0_6_line_48 |  | 42 | 43 | 0.027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6194-3_0_6_line_49 |  | 43 | 44 | 0.030485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6194-3_0_6_line_50 |  | 46 | 47 | 0.030766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6194-3_0_6_line_51 |  | 47 | 48 | 0.0058218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_6194-3_0_6_line_52 |  | 48 | 56 | 0.013287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_6194-3_0_6_line_53 |  | 49 | 50 | 0.016481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_6194-3_0_6_line_54 |  | 50 | 51 | 0.0079653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6194-3_0_6_line_55 |  | 51 | 52 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_6194-3_0_6_line_56 |  | 52 | 53 | 0.016168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6194-3_0_6_line_57 |  | 53 | 54 | 0.027183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6194-3_0_6_line_58 |  | 54 | 55 | 0.0091185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6194-3_0_6_line_59 |  | 56 | 57 | 0.0057587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6194-3_0_6_line_60 |  | 57 | 58 | 0.01068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6194-3_0_6_line_61 |  | 59 | 60 | 0.017631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6194-3_0_6_line_62 |  | 61 | 62 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6194-3_0_6_line_63 |  | 61 | 63 | 0.087088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6194-3_0_6_line_64 |  | 62 | 64 | 0.0058827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6194-3_0_6_line_65 |  | 63 | 65 | 0.02302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6194-3_0_6_line_66 |  | 64 | 66 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6194-3_0_6_trafo_39 | 0.63 MVA 20/0.4 kV | 68 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2626132.6863 | 1127146.3871 | 2626132.637 | 1127146.4145
1 | 2626152.0698 | 1127135.4354 | 2626147.1874 | 1127138.3157 | 2626132.6863 | 1127146.3871
2 | 2626118.4553 | 1127154.3081 | 2626132.637 | 1127146.4145
3 | 2626152.0698 | 1127135.4354 | 2626138.7368 | 1127109.1648
4 | 2626152.0698 | 1127135.4354 | 2626159.2377 | 1127131.2025
5 | 2626109.2352 | 1127159.4401 | 2626118.4553 | 1127154.3081
6 | 2626159.2377 | 1127131.2025 | 2626168.0755 | 1127125.9835
7 | 2626098.3123 | 1127165.5198 | 2626109.2352 | 1127159.4401
8 | 2626171.0812 | 1127124.2084 | 2626168.0755 | 1127125.9835
9 | 2626093.811 | 1127168.0252 | 2626098.3123 | 1127165.5198
10 | 2626171.0812 | 1127124.2084 | 2626181.1482 | 1127118.2635
11 | 2626135.1061 | 1127213.7011 | 2626133.278 | 1127213.9529
12 | 2626167.2648 | 1127210.4938 | 2626141.2097 | 1127212.8603 | 2626135.1061 | 1127213.7011
13 | 2626114.3189 | 1127217.4352 | 2626118.0484 | 1127216.0509 | 2626133.278 | 1127213.9529
14 | 2626114.3189 | 1127217.4352 | 2626101.3148 | 1127222.2622
15 | 2626101.3148 | 1127222.2622 | 2626092.7954 | 1127225.4245 | 2626075.4263 | 1127232.0219
16 | 2626075.4263 | 1127232.0219 | 2626050.9783 | 1127241.3081 | 2626044.7702 | 1127242.5153 | 2626038.9887 | 1127241.2565 | 2626036.6102 | 1127236.6392
17 | 2626022.2302 | 1127208.724 | 2626036.6102 | 1127236.6392
18 | 2626022.2302 | 1127208.724 | 2626036.0565 | 1127200.6053
19 | 2626022.2302 | 1127208.724 | 2626005.4822 | 1127218.5596
20 | 2626005.3227 | 1127011.6314 | 2626011.1123 | 1127011.0448 | 2626018.9821 | 1127006.9544
21 | 2626018.9821 | 1127006.9544 | 2626050.8601 | 1127035.8648
22 | 2626005.3227 | 1127011.6314 | 2625998.3137 | 1127014.9285
23 | 2626102.5886 | 1127007.3808 | 2626070.9979 | 1127029.9115 | 2626050.8601 | 1127035.8648
24 | 2625989.6967 | 1127016.678 | 2625996.7751 | 1127015.6523 | 2625998.3137 | 1127014.9285
25 | 2626098.8812 | 1127089.4169 | 2626102.5886 | 1127007.3808
26 | 2625989.6967 | 1127016.678 | 2625976.5183 | 1127023.7451
27 | 2625989.6967 | 1127016.678 | 2625966.3038 | 1127020.0823
28 | 2626093.7688 | 1127092.9975 | 2626098.8812 | 1127089.4169
29 | 2626093.7688 | 1127092.9975 | 2626082.4656 | 1127100.9142
30 | 2625976.5183 | 1127023.7451 | 2625974.3345 | 1127024.9162 | 2625956.2592 | 1127038.7012 | 2625942.4119 | 1127053.1046 | 2625941.5018 | 1127053.773
31 | 2625940.4037 | 1127023.8514 | 2625966.3038 | 1127020.0823
32 | 2625946.577 | 1127063.5726 | 2625972.3156 | 1127057.0665
33 | 2625926.6116 | 1127064.7094 | 2625945.1087 | 1127063.9437 | 2625946.577 | 1127063.5726
34 | 2625926.6116 | 1127064.7094 | 2625941.5018 | 1127053.773
35 | 2625926.6116 | 1127064.7094 | 2625916.9334 | 1127069.9046
36 | 2625901.5166 | 1127077.7004 | 2625902.4911 | 1127077.6571 | 2625916.9334 | 1127069.9046
37 | 2625919.3658 | 1127232.5632 | 2625919.7108 | 1127232.3946
38 | 2625944.0254 | 1127216.1368 | 2625937.474 | 1127223.7125 | 2625919.7108 | 1127232.3946
39 | 2625944.0254 | 1127216.1368 | 2625938.894 | 1127214.2139 | 2625931.3377 | 1127211.747 | 2625920.4904 | 1127214.8355 | 2625905.1007 | 1127224.2299 | 2625900.8221 | 1127224.7007 | 2625897.1445 | 1127223.3843 | 2625892.6886 | 1127218.4629
40 | 2625944.0254 | 1127216.1368 | 2625949.7934 | 1127218.7294 | 2625956.8117 | 1127222.4785
41 | 2625892.6886 | 1127218.4629 | 2625903.2766 | 1127211.1267 | 2625947.0896 | 1127186.1573 | 2625952.8265 | 1127183.3457
42 | 2625976.8353 | 1127228.8058 | 2625969.0518 | 1127229.017 | 2625956.8117 | 1127222.4785
43 | 2625982.5164 | 1127168.7953 | 2625952.8265 | 1127183.3457
44 | 2625976.8353 | 1127228.8058 | 2625982.2837 | 1127228.6625 | 2625985.6873 | 1127227.2666
45 | 2625976.8353 | 1127228.8058 | 2625978.6368 | 1127245.344 | 2625979.6948 | 1127261.0357
46 | 2625982.5164 | 1127168.7953 | 2625986.2162 | 1127166.9821 | 2626004.9954 | 1127154.2292
47 | 2626005.4822 | 1127218.5596 | 2626002.1605 | 1127220.5103 | 2625985.6873 | 1127227.2666
48 | 2625979.6948 | 1127261.0357 | 2625980.4842 | 1127272.7433 | 2625981.2923 | 1127276.5597 | 2625983.0377 | 1127279.2463 | 2625991.3655 | 1127282.3801
49 | 2626020.2318 | 1127292.0598 | 2626010.1711 | 1127289.4567 | 2625991.3655 | 1127282.3801
50 | 2626062.7505 | 1127185.3136 | 2626050.2337 | 1127192.2806 | 2626036.0565 | 1127200.6053
51 | 2626067.8374 | 1127182.4823 | 2626062.7505 | 1127185.3136
52 | 2626067.8374 | 1127182.4823 | 2626079.4471 | 1127176.0203
53 | 2626018.6299 | 1127144.97 | 2626004.9954 | 1127154.2292
54 | 2626018.6299 | 1127144.97 | 2626025.2195 | 1127140.4951
55 | 2626025.2195 | 1127140.4951 | 2626039.39 | 1127130.872
56 | 2626052.7315 | 1127121.7398 | 2626049.3479 | 1127124.1096 | 2626039.39 | 1127130.872
57 | 2626052.7315 | 1127121.7398 | 2626074.9968 | 1127106.1453
58 | 2626074.9968 | 1127106.1453 | 2626082.4656 | 1127100.9142
59 | 2626079.4471 | 1127176.0203 | 2626084.4788 | 1127173.2196
60 | 2626093.811 | 1127168.0252 | 2626084.4788 | 1127173.2196
61 | 2626181.1482 | 1127118.2635 | 2626181.1482 | 1127118.2635 | 2626189.8751 | 1127108.4186 | 2626193.6588 | 1127106.0291
62 | 2625902.8626 | 1126941.339 | 2625913.9065 | 1126936.2487
63 | 2625917.6234 | 1127027.1665 | 2625902.8626 | 1126941.339
64 | 2625919.2491 | 1126933.7862 | 2625913.9065 | 1126936.2487
65 | 2625940.4037 | 1127023.8514 | 2625917.6234 | 1127027.1665
66 | 2625919.2491 | 1126933.7862 | 2625933.434 | 1126927.2482 | 2625941.7155 | 1126925.5493

## bus_geodata
| x | y | coords
0 | 2626132.6863 | 1127146.3871
1 | 2626132.637 | 1127146.4145
2 | 2626152.0698 | 1127135.4354
3 | 2626118.4553 | 1127154.3081
4 | 2626138.7368 | 1127109.1648
5 | 2626159.2377 | 1127131.2025
6 | 2626109.2352 | 1127159.4401
7 | 2626168.0755 | 1127125.9835
8 | 2626098.3123 | 1127165.5198
9 | 2626171.0812 | 1127124.2084
10 | 2626135.1061 | 1127213.7011
11 | 2626133.278 | 1127213.9529
12 | 2626167.2648 | 1127210.4938
13 | 2626114.3189 | 1127217.4352
14 | 2626101.3148 | 1127222.2622
15 | 2626075.4263 | 1127232.0219
16 | 2626036.6102 | 1127236.6392
17 | 2626022.2302 | 1127208.724
18 | 2626018.9821 | 1127006.9544
19 | 2626005.3227 | 1127011.6314
20 | 2626050.8601 | 1127035.8648
21 | 2625998.3137 | 1127014.9285
22 | 2626102.5886 | 1127007.3808
23 | 2625989.6967 | 1127016.678
24 | 2626098.8812 | 1127089.4169
25 | 2626093.7688 | 1127092.9975
26 | 2625976.5183 | 1127023.7451
27 | 2625966.3038 | 1127020.0823
28 | 2625972.3156 | 1127057.0665
29 | 2625946.577 | 1127063.5726
30 | 2625926.6116 | 1127064.7094
31 | 2625941.5018 | 1127053.773
32 | 2625916.9334 | 1127069.9046
33 | 2625919.3658 | 1127232.5632
34 | 2625919.7108 | 1127232.3946
35 | 2625944.0254 | 1127216.1368
36 | 2625892.6886 | 1127218.4629
37 | 2625956.8117 | 1127222.4785
38 | 2625952.8265 | 1127183.3457
39 | 2625976.8353 | 1127228.8058
40 | 2625982.5164 | 1127168.7953
41 | 2625985.6873 | 1127227.2666
42 | 2625979.6948 | 1127261.0357
43 | 2625991.3655 | 1127282.3801
44 | 2626020.2318 | 1127292.0598
45 | 2626005.4822 | 1127218.5596
46 | 2626036.0564 | 1127200.6053
47 | 2626062.7505 | 1127185.3136
48 | 2626067.8374 | 1127182.4823
49 | 2626004.9954 | 1127154.2292
50 | 2626018.6299 | 1127144.97
51 | 2626025.2195 | 1127140.4951
52 | 2626039.39 | 1127130.872
53 | 2626052.7315 | 1127121.7398
54 | 2626074.9968 | 1127106.1453
55 | 2626082.4656 | 1127100.9142
56 | 2626079.4471 | 1127176.0203
57 | 2626084.4788 | 1127173.2196
58 | 2626093.811 | 1127168.0252
59 | 2626181.1482 | 1127118.2635
60 | 2626193.6588 | 1127106.0291
61 | 2625902.8626 | 1126941.339
62 | 2625913.9065 | 1126936.2487
63 | 2625917.6234 | 1127027.1665
64 | 2625919.2491 | 1126933.7862
65 | 2625940.4037 | 1127023.8514
66 | 2625941.7155 | 1126925.5493
67 | 2625901.5166 | 1127077.7004
68 | 2625892.6886 | 1127218.4629

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1