## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6199-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6199-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6199-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6199-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6199-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6199-6_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6199-6_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6199-6_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_6199-6_0_4_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_6199-6_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_6199-6_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_6199-6_0_4_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_6199-6_0_4_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_6199-6_0_4_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_6199-6_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_6199-6_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6199-6_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_6199-6_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_6199-6_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_6199-6_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_6199-6_0_4_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_6199-6_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_6199-6_0_4_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_6199-6_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_6199-6_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_6199-6_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_6199-6_0_4_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_6199-6_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_6199-6_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_6199-6_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_6199-6_0_4_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6199-6_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_6199-6_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_6199-6_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_6199-6_0_4_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_6199-6_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_6199-6_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_6199-6_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_6199-6_0_4_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_6199-6_0_4_node_44 | 0.4 | n |  | TRUE
40 | bus_LV_6199-6_0_4_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_6199-6_0_4_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_6199-6_0_4_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_6199-6_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_6199-6_0_4_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_6199-6_0_4_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_6199-6_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_6199-6_0_4_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_6199-6_0_4_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_6199-6_0_4_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_6199-6_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_6199-6_0_4_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_6199-6_0_4_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_6199-6_0_4_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_6199-6_0_4_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_6199-6_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_6199-6_0_4_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_6199-6_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_6199-6_0_4_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_6199-6_0_4_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_6199-6_0_4_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_6199-6_0_4_node_69 | 0.4 | n |  | TRUE
62 | bus_LV_6199-6_0_4_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_6199-6_0_4_node_70 | 0.4 | n |  | TRUE
64 | bus_LV_6199-6_0_4_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_6199-6_0_4_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_6199-6_0_4_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_6199-6_0_4_node_75 | 0.4 | n |  | TRUE
68 | bus_LV_6199-6_0_4_node_76 | 0.4 | n |  | TRUE
69 | bus_LV_6199-6_0_4_node_78 | 0.4 | n |  | TRUE
70 | bus_LV_6199-6_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_6199-6_0_4_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_6199-6_0_4_node_81 | 0.4 | n |  | TRUE
73 | bus_LV_6199-6_0_4_node_82 | 0.4 | n |  | TRUE
74 | bus_LV_6199-6_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_6199-6_0_4_node_88 | 0.4 | n |  | TRUE
76 | bus_LV_6199-6_0_4_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_6199-6_0_4_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_6199-6_0_4_node_86 | 0.4 | n |  | TRUE
79 | bus_LV_6199-6_0_4_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_6199-6_0_4_node_89 | 0.4 | n |  | TRUE
81 | bus_LV_6199-6_0_4_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_6199-6_0_4_node_91 | 0.4 | n |  | TRUE
83 | bus_LV_6199-6_0_4_node_92 | 0.4 | n |  | TRUE
84 | bus_LV_6199-6_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_6199-6_0_4_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_6199-6_0_4_node_73 | 0.4 | n |  | TRUE
87 | bus_MV_109_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6199-6_0_4_load_0 | 0 | 0.0078416 | 0.0019653 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6199-6_0_4_load_1 | 1 | 0.0069013 | 0.0017296 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6199-6_0_4_load_5 | 5 | 0.0076862 | 0.0019263 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6199-6_0_4_load_7 | 7 | 0.0064145 | 0.0016076 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6199-6_0_4_load_35 | 8 | 0.0062726 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6199-6_0_4_load_10 | 9 | 0.0079562 | 0.001994 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6199-6_0_4_load_11 | 11 | 0.006944 | 0.0017403 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6199-6_0_4_load_50 | 12 | 0.0089365 | 0.0022397 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6199-6_0_4_load_49 | 13 | 0.012622 | 0.0031634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6199-6_0_4_load_12 | 14 | 0.0086962 | 0.0021795 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6199-6_0_4_load_13 | 15 | 0.0029429 | 0.00073756 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6199-6_0_4_load_15 | 17 | 0.0055919 | 0.0014015 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6199-6_0_4_load_19 | 18 | 0.0094004 | 0.002356 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6199-6_0_4_load_20 | 19 | 0.0045453 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6199-6_0_4_load_21 | 20 | 0.005993 | 0.001502 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6199-6_0_4_load_27 | 21 | 0.0020461 | 0.00051279 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6199-6_0_4_load_29 | 22 | 0.0099001 | 0.0024812 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6199-6_0_4_load_24 | 23 | 0.0087715 | 0.0021983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6199-6_0_4_load_25 | 24 | 0.004847 | 0.0012148 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6199-6_0_4_load_22 | 25 | 0.003143 | 0.0007877 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6199-6_0_4_load_32 | 27 | 0.003274 | 0.00082054 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6199-6_0_4_load_31 | 28 | 0.0014553 | 0.00036474 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6199-6_0_4_load_38 | 29 | 0.0020181 | 0.00050577 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6199-6_0_4_load_30 | 30 | 0.0039551 | 0.00099125 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6199-6_0_4_load_26 | 31 | 0.0077661 | 0.0019464 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6199-6_0_4_load_28 | 32 | 0.0041659 | 0.0010441 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6199-6_0_4_load_33 | 33 | 0.0066517 | 0.0016671 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6199-6_0_4_load_36 | 35 | 0.0063068 | 0.0015806 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6199-6_0_4_load_37 | 36 | 0.0062059 | 0.0015554 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6199-6_0_4_load_40 | 37 | 0.0065525 | 0.0016422 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6199-6_0_4_load_39 | 38 | 0.0024801 | 0.00062157 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6199-6_0_4_load_44 | 39 | 0.0071841 | 0.0018005 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6199-6_0_4_load_45 | 40 | 0.0019606 | 0.00049137 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6199-6_0_4_load_42 | 41 | 0.0057617 | 0.001444 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6199-6_0_4_load_41 | 42 | 0.0057449 | 0.0014398 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6199-6_0_4_load_46 | 43 | 0.0036758 | 0.00092123 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6199-6_0_4_load_47 | 44 | 0.0020432 | 0.00051208 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6199-6_0_4_load_51 | 45 | 0.0028886 | 0.00072395 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6199-6_0_4_load_48 | 46 | 0.0088176 | 0.0022099 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6199-6_0_4_load_52 | 47 | 0.0012028 | 0.00030145 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6199-6_0_4_load_53 | 48 | 0.0010478 | 0.00026259 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6199-6_0_4_load_54 | 49 | 0.0021657 | 0.00054278 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6199-6_0_4_load_55 | 50 | 0.0023211 | 0.00058173 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6199-6_0_4_load_56 | 51 | 0.0026052 | 0.00065292 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6199-6_0_4_load_57 | 52 | 0.0022376 | 0.00056079 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6199-6_0_4_load_58 | 53 | 0.0013545 | 0.00033948 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6199-6_0_4_load_59 | 54 | 0.0023643 | 0.00059256 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6199-6_0_4_load_60 | 55 | 0.0012974 | 0.00032517 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6199-6_0_4_load_61 | 56 | 0.0019707 | 0.00049391 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6199-6_0_4_load_62 | 57 | 0.00179 | 0.00044862 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6199-6_0_4_load_63 | 58 | 0.001658 | 0.00041554 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6199-6_0_4_load_64 | 59 | 0.013941 | 0.003494 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6199-6_0_4_load_69 | 61 | 0.014074 | 0.0035272 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6199-6_0_4_load_67 | 62 | 0.013509 | 0.0033857 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6199-6_0_4_load_70 | 63 | 0.026916 | 0.0067457 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6199-6_0_4_load_66 | 65 | 0.010826 | 0.0027133 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6199-6_0_4_load_68 | 66 | 0.016847 | 0.0042222 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6199-6_0_4_load_75 | 67 | 0.0013834 | 0.0003467 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6199-6_0_4_load_76 | 68 | 0.0015732 | 0.00039427 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6199-6_0_4_load_78 | 69 | 0.0019195 | 0.00048106 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6199-6_0_4_load_80 | 71 | 0.0024351 | 0.00061031 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6199-6_0_4_load_81 | 72 | 0.0014096 | 0.00035328 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6199-6_0_4_load_82 | 73 | 0.0031184 | 0.00078154 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6199-6_0_4_load_83 | 74 | 0.002836 | 0.00071076 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6199-6_0_4_load_88 | 75 | 0.0022749 | 0.00057013 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6199-6_0_4_load_84 | 76 | 0.0026584 | 0.00066625 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6199-6_0_4_load_85 | 77 | 0.0018849 | 0.0004724 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6199-6_0_4_load_86 | 78 | 0.0017909 | 0.00044885 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6199-6_0_4_load_87 | 79 | 0.0014691 | 0.00036818 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6199-6_0_4_load_89 | 80 | 0.0018257 | 0.00045755 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6199-6_0_4_load_91 | 82 | 0.0038587 | 0.00096709 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6199-6_0_4_load_92 | 83 | 0.0025527 | 0.00063977 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6199-6_0_4_load_71 | 84 | 0.0029601 | 0.00074188 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6199-6_0_4_load_72 | 85 | 0.0092904 | 0.0023284 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6199-6_0_4_load_73 | 86 | 0.011659 | 0.0029221 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6199-6_0_4_line_0 |  | 0 | 1 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6199-6_0_4_line_1 |  | 0 | 2 | 0.0068646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6199-6_0_4_line_2 |  | 1 | 3 | 0.018418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6199-6_0_4_line_3 |  | 2 | 4 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6199-6_0_4_line_4 |  | 3 | 5 | 0.011088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6199-6_0_4_line_5 |  | 3 | 6 | 0.002788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6199-6_0_4_line_6 |  | 4 | 7 | 0.0088292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6199-6_0_4_line_7 |  | 5 | 8 | 0.010641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6199-6_0_4_line_8 |  | 6 | 9 | 0.01085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6199-6_0_4_line_9 |  | 8 | 10 | 0.00583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6199-6_0_4_line_10 |  | 9 | 11 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6199-6_0_4_line_11 |  | 10 | 35 | 0.0080505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6199-6_0_4_line_12 |  | 10 | 33 | 0.01427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6199-6_0_4_line_13 |  | 11 | 14 | 0.00885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6199-6_0_4_line_14 |  | 12 | 13 | 0.022781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6199-6_0_4_line_15 |  | 13 | 46 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6199-6_0_4_line_16 |  | 14 | 15 | 0.0095343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6199-6_0_4_line_17 |  | 15 | 16 | 0.0021198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6199-6_0_4_line_18 |  | 16 | 17 | 0.010224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6199-6_0_4_line_19 |  | 17 | 18 | 0.0064797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6199-6_0_4_line_20 |  | 19 | 20 | 0.030071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6199-6_0_4_line_21 |  | 20 | 25 | 0.059702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6199-6_0_4_line_22 |  | 21 | 22 | 0.016532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6199-6_0_4_line_23 |  | 22 | 33 | 0.0092642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6199-6_0_4_line_24 |  | 23 | 24 | 0.011691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6199-6_0_4_line_25 |  | 24 | 31 | 0.0010439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6199-6_0_4_line_26 |  | 25 | 26 | 0.0078603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6199-6_0_4_line_27 |  | 26 | 27 | 0.0091116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6199-6_0_4_line_28 |  | 26 | 28 | 0.012172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6199-6_0_4_line_29 |  | 27 | 29 | 0.018578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6199-6_0_4_line_30 |  | 28 | 30 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6199-6_0_4_line_31 |  | 29 | 34 | 0.0038627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6199-6_0_4_line_32 |  | 30 | 32 | 0.0042583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6199-6_0_4_line_33 |  | 31 | 32 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6199-6_0_4_line_34 |  | 34 | 39 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_6199-6_0_4_line_35 |  | 34 | 40 | 0.051147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6199-6_0_4_line_36 |  | 34 | 41 | 0.016637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6199-6_0_4_line_37 |  | 35 | 36 | 0.018556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6199-6_0_4_line_38 |  | 36 | 37 | 0.016256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6199-6_0_4_line_39 |  | 37 | 38 | 0.0084282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6199-6_0_4_line_40 |  | 38 | 42 | 0.0054399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6199-6_0_4_line_41 |  | 39 | 43 | 0.0057306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_6199-6_0_4_line_42 |  | 40 | 44 | 0.0080939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6199-6_0_4_line_43 |  | 41 | 42 | 0.011931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6199-6_0_4_line_44 |  | 43 | 45 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_6199-6_0_4_line_45 |  | 44 | 46 | 0.018458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6199-6_0_4_line_46 |  | 45 | 47 | 0.0018879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_6199-6_0_4_line_47 |  | 47 | 48 | 0.00029157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_6199-6_0_4_line_48 |  | 48 | 49 | 0.011432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_6199-6_0_4_line_49 |  | 49 | 50 | 0.0067754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_6199-6_0_4_line_50 |  | 50 | 51 | 0.00083764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_6199-6_0_4_line_51 |  | 51 | 52 | 0.009876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6199-6_0_4_line_52 |  | 52 | 53 | 0.0045132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_6199-6_0_4_line_53 |  | 53 | 54 | 0.0015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_6199-6_0_4_line_54 |  | 54 | 55 | 0.011719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_6199-6_0_4_line_55 |  | 55 | 56 | 0.0001838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_6199-6_0_4_line_56 |  | 56 | 57 | 0.011149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_6199-6_0_4_line_57 |  | 57 | 58 | 0.0030792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_6199-6_0_4_line_58 |  | 58 | 59 | 0.030581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_6199-6_0_4_line_59 |  | 59 | 60 | 0.055721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_6199-6_0_4_line_60 |  | 60 | 61 | 0.069601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6199-6_0_4_line_61 |  | 60 | 62 | 0.015367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_6199-6_0_4_line_62 |  | 61 | 63 | 0.028395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6199-6_0_4_line_63 |  | 62 | 64 | 0.30549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_6199-6_0_4_line_64 |  | 62 | 65 | 0.22153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6199-6_0_4_line_65 |  | 63 | 84 | 0.050706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6199-6_0_4_line_66 |  | 64 | 67 | 0.25204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6199-6_0_4_line_67 |  | 65 | 66 | 0.019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6199-6_0_4_line_68 |  | 67 | 68 | 0.019542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6199-6_0_4_line_69 |  | 68 | 69 | 0.011546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6199-6_0_4_line_70 |  | 69 | 70 | 0.043175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6199-6_0_4_line_71 |  | 70 | 71 | 0.0092021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6199-6_0_4_line_72 |  | 70 | 72 | 0.028878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6199-6_0_4_line_73 |  | 71 | 73 | 0.010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6199-6_0_4_line_74 |  | 72 | 74 | 0.021306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6199-6_0_4_line_75 |  | 73 | 75 | 0.0036481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6199-6_0_4_line_76 |  | 75 | 78 | 0.0021088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6199-6_0_4_line_77 |  | 76 | 77 | 0.019274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6199-6_0_4_line_78 |  | 76 | 78 | 0.019744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6199-6_0_4_line_79 |  | 77 | 79 | 0.013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6199-6_0_4_line_80 |  | 79 | 80 | 0.012488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_6199-6_0_4_line_81 |  | 80 | 81 | 0.024898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_6199-6_0_4_line_82 |  | 81 | 82 | 0.018463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_6199-6_0_4_line_83 |  | 82 | 83 | 0.0011666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_6199-6_0_4_line_84 |  | 84 | 85 | 0.017798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6199-6_0_4_line_85 |  | 85 | 86 | 0.031171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6199-6_0_4_trafo_54 | 0.63 MVA 20/0.4 kV | 87 | 49 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2627833.0986 | 1128960.3352 | 2627835.8378 | 1128964.4782 | 2627841.2447 | 1128971.566
1 | 2627829.5053 | 1128954.4886 | 2627831.7755 | 1128958.3343 | 2627833.0986 | 1128960.3352
2 | 2627852.4156 | 1128986.2097 | 2627841.2447 | 1128971.566
3 | 2627829.5053 | 1128954.4886 | 2627828.0073 | 1128950.2352 | 2627827.6003 | 1128939.8948
4 | 2627852.4156 | 1128986.2097 | 2627845.8692 | 1128994.2725 | 2627845.6488 | 1128994.9394
5 | 2627852.4156 | 1128986.2097 | 2627854.4274 | 1128984.2735
6 | 2627827.6003 | 1128939.8948 | 2627828.5465 | 1128931.1165
7 | 2627845.6488 | 1128994.9394 | 2627843.3928 | 1129001.7648 | 2627842.7698 | 1129005.1606
8 | 2627854.4274 | 1128984.2735 | 2627861.5411 | 1128976.0805
9 | 2627841.7177 | 1129010.895 | 2627842.7698 | 1129005.1606
10 | 2627861.5411 | 1128976.0805 | 2627868.903 | 1128967.6017
11 | 2627841.7177 | 1129010.895 | 2627841.387 | 1129017.4745 | 2627841.5644 | 1129018.9263
12 | 2627841.7177 | 1129010.895 | 2627853.3224 | 1129013.4718 | 2627855.7049 | 1129013.4622
13 | 2627868.903 | 1128967.6017 | 2627874.7053 | 1128960.9191
14 | 2627780.4563 | 1129097.5457 | 2627780.4563 | 1129097.5457 | 2627772.9627 | 1129092.1531 | 2627764.856 | 1129081.2966
15 | 2627791.0346 | 1129097.6923 | 2627780.4563 | 1129097.5457
16 | 2627874.7053 | 1128960.9191 | 2627880.9562 | 1128953.7199
17 | 2627882.346 | 1128952.1193 | 2627880.9562 | 1128953.7199
18 | 2627882.346 | 1128952.1193 | 2627890.4839 | 1128958.3077
19 | 2627890.4839 | 1128958.3077 | 2627895.6417 | 1128962.23
20 | 2627904.8648 | 1129042.5883 | 2627912.6106 | 1129034.4218 | 2627921.7411 | 1129025.6151 | 2627927.8573 | 1129026.024
21 | 2627904.8648 | 1129042.5883 | 2627903.2674 | 1129044.2725 | 2627896.1767 | 1129058.4469 | 2627898.5697 | 1129077.4118 | 2627890.5076 | 1129078.3974 | 2627889.3044 | 1129070.3656 | 2627889.5161 | 1129067.8876 | 2627886.1616 | 1129066.3604
22 | 2627881.2097 | 1129011.1436 | 2627872.6504 | 1129013.394 | 2627864.969 | 1129013.4249
23 | 2627855.7049 | 1129013.4622 | 2627864.969 | 1129013.4249
24 | 2627897.7844 | 1129021.7882 | 2627904.3389 | 1129012.3394 | 2627904.3064 | 1129012.1511
25 | 2627897.1894 | 1129022.6459 | 2627897.7844 | 1129021.7882
26 | 2627879.0078 | 1129063.1035 | 2627886.1616 | 1129066.3604
27 | 2627879.0078 | 1129063.1035 | 2627877.2851 | 1129072.0508
28 | 2627879.0078 | 1129063.1035 | 2627882.3488 | 1129051.3988
29 | 2627877.2851 | 1129072.0508 | 2627876.3561 | 1129076.876 | 2627874.5652 | 1129084.3826 | 2627871.96 | 1129089.7288
30 | 2627887.2712 | 1129036.3735 | 2627883.4159 | 1129047.6606 | 2627882.3488 | 1129051.3988
31 | 2627868.2726 | 1129090.8791 | 2627871.96 | 1129089.7288 | 2627871.96 | 1129089.7288
32 | 2627887.2712 | 1129036.3735 | 2627888.6476 | 1129032.3437 | 2627888.6476 | 1129032.3437
33 | 2627897.1894 | 1129022.6459 | 2627896.4368 | 1129023.7309 | 2627888.6476 | 1129032.3437
34 | 2627868.2726 | 1129090.8791 | 2627871.1461 | 1129111.3433
35 | 2627868.2726 | 1129090.8791 | 2627856.921 | 1129093.606 | 2627817.5358 | 1129096.2318
36 | 2627868.2726 | 1129090.8791 | 2627863.5343 | 1129074.9308
37 | 2627841.5644 | 1129018.9263 | 2627842.367 | 1129025.4941 | 2627845.8798 | 1129036.9049
38 | 2627845.8798 | 1129036.9049 | 2627846.3972 | 1129038.5858 | 2627853.0627 | 1129051.4595
39 | 2627856.9379 | 1129058.944 | 2627853.0627 | 1129051.4595
40 | 2627856.9379 | 1129058.944 | 2627859.4391 | 1129063.7747
41 | 2627871.9429 | 1129117.0183 | 2627871.1461 | 1129111.3433
42 | 2627817.5358 | 1129096.2318 | 2627809.4599 | 1129096.7702
43 | 2627863.5343 | 1129074.9308 | 2627861.271 | 1129067.3129 | 2627859.4391 | 1129063.7747
44 | 2627871.9429 | 1129117.0183 | 2627874.4311 | 1129134.7382
45 | 2627791.0346 | 1129097.6923 | 2627794.8373 | 1129097.7451 | 2627809.4599 | 1129096.7702
46 | 2627874.4311 | 1129134.7382 | 2627874.6936 | 1129136.6077
47 | 2627874.7341 | 1129136.8965 | 2627874.6936 | 1129136.6077
48 | 2627874.7341 | 1129136.8965 | 2627876.3237 | 1129148.2171
49 | 2627876.3237 | 1129148.2171 | 2627877.2658 | 1129154.9267
50 | 2627877.3823 | 1129155.7562 | 2627877.2658 | 1129154.9267
51 | 2627878.7555 | 1129165.5362 | 2627877.3823 | 1129155.7562
52 | 2627878.7555 | 1129165.5362 | 2627879.3831 | 1129170.0056
53 | 2627879.3831 | 1129170.0056 | 2627879.602 | 1129171.5645
54 | 2627881.4272 | 1129183.1402 | 2627879.8857 | 1129173.5847 | 2627879.602 | 1129171.5645
55 | 2627881.4565 | 1129183.3217 | 2627881.4272 | 1129183.1402
56 | 2627883.2321 | 1129194.328 | 2627881.4565 | 1129183.3217
57 | 2627883.2321 | 1129194.328 | 2627883.7225 | 1129197.3679
58 | 2627893.2682 | 1129225.3933 | 2627887.0754 | 1129218.1511 | 2627883.7225 | 1129197.3679
59 | 2627913.5653 | 1129276.8133 | 2627913.4764 | 1129274.3784 | 2627904.2734 | 1129247.1891 | 2627896.2848 | 1129228.921 | 2627893.2682 | 1129225.3933
60 | 2627913.5653 | 1129276.8133 | 2627875.8927 | 1129267.8799 | 2627845.8632 | 1129260.6669
61 | 2627913.5653 | 1129276.8133 | 2627928.5373 | 1129280.273
62 | 2627845.8632 | 1129260.6669 | 2627832.7651 | 1129257.5208 | 2627821.8351 | 1129252.3681 | 2627819.4923 | 1129250.7612
63 | 2627928.5373 | 1129280.273 | 2627956.7987 | 1129584.4545
64 | 2627915.0238 | 1129193.9376 | 2627915.1558 | 1129195.8137 | 2627916.921 | 1129200.5687 | 2627927.1046 | 1129210.5428 | 2627941.9333 | 1129220.4939 | 2627953.0547 | 1129227.5487 | 2627963.7603 | 1129236.2469 | 2627973.6378 | 1129245.7639 | 2627994.2054 | 1129265.6355 | 2628001.1885 | 1129274.7278 | 2628003.6288 | 1129283.3879 | 2628004.7249 | 1129297.8779 | 2627928.5373 | 1129280.273
65 | 2627819.4923 | 1129250.7612 | 2627811.392 | 1129245.2054 | 2627803.4604 | 1129236.2646 | 2627787.3358 | 1129212.2428
66 | 2627956.7987 | 1129584.4545 | 2627976.3801 | 1129587.4798 | 2627986.2535 | 1129589.4152 | 2627995.2557 | 1129596.5381 | 2628007.6406 | 1129591.7152 | 2628023.1855 | 1129589.8084 | 2628026.5452 | 1129591.1802 | 2628028.8014 | 1129597.9829 | 2628020.3911 | 1129604.4361 | 2628019.1103 | 1129614.902 | 2628020.716 | 1129624.1029 | 2628026.4775 | 1129629.0987 | 2628050.7135 | 1129621.6072 | 2628081.9138 | 1129603.9096 | 2628113.8094 | 1129572.5531 | 2628134.9453 | 1129567.571 | 2628139.8563 | 1129569.1153
67 | 2627913.6377 | 1129174.2294 | 2627915.0238 | 1129193.9376
68 | 2628139.8563 | 1129569.1153 | 2628151.3433 | 1129572.7275 | 2628156.3466 | 1129578.3154
69 | 2628156.3466 | 1129578.3154 | 2628164.0486 | 1129586.9173
70 | 2628188.454 | 1129622.4471 | 2628184.133 | 1129615.7903 | 2628168.8451 | 1129592.2742 | 2628164.0486 | 1129586.9173
71 | 2628188.454 | 1129622.4471 | 2628179.91 | 1129619.0296
72 | 2628188.454 | 1129622.4471 | 2628201.8497 | 1129632.1365 | 2628214.0286 | 1129630.1163
73 | 2628179.91 | 1129619.0296 | 2628176.1374 | 1129617.5206 | 2628169.9925 | 1129616.7528
74 | 2628234.4076 | 1129624.0174 | 2628217.5596 | 1129629.5305 | 2628214.0286 | 1129630.1163
75 | 2628166.3726 | 1129616.3005 | 2628169.9925 | 1129616.7528
76 | 2628166.3726 | 1129616.3005 | 2628164.28 | 1129616.0391
77 | 2628144.664 | 1129613.8003 | 2628141.3486 | 1129613.4458 | 2628134.6375 | 1129622.2078 | 2628135.645 | 1129627.006
78 | 2628144.664 | 1129613.8003 | 2628156.4535 | 1129615.0612 | 2628164.28 | 1129616.0391
79 | 2628135.645 | 1129627.006 | 2628138.326 | 1129639.7746
80 | 2628138.326 | 1129639.7746 | 2628140.8921 | 1129651.9961 | 2628140.8921 | 1129651.9961
81 | 2628135.9896 | 1129675.9964 | 2628135.3126 | 1129674.1701 | 2628139.0289 | 1129663.4376 | 2628140.8921 | 1129651.9961
82 | 2628135.9896 | 1129675.9964 | 2628142.3185 | 1129669.9228 | 2628147.9321 | 1129670.2379 | 2628151.785 | 1129671.5454
83 | 2628151.785 | 1129671.5454 | 2628151.785 | 1129671.5454 | 2628152.2564 | 1129672.6125
84 | 2627787.3358 | 1129212.2428 | 2627785.4812 | 1129209.4799 | 2627777.2196 | 1129197.5999
85 | 2627777.2196 | 1129197.5999 | 2627759.4227 | 1129172.0082

## bus_geodata
| x | y | coords
0 | 2627833.0986 | 1128960.3352
1 | 2627841.2447 | 1128971.566
2 | 2627829.5053 | 1128954.4886
3 | 2627852.4156 | 1128986.2097
4 | 2627827.6003 | 1128939.8948
5 | 2627845.6488 | 1128994.9394
6 | 2627854.4274 | 1128984.2735
7 | 2627828.5465 | 1128931.1165
8 | 2627842.7698 | 1129005.1606
9 | 2627861.5411 | 1128976.0805
10 | 2627841.7177 | 1129010.895
11 | 2627868.903 | 1128967.6017
12 | 2627764.856 | 1129081.2966
13 | 2627780.4563 | 1129097.5457
14 | 2627874.7053 | 1128960.9191
15 | 2627880.9562 | 1128953.7199
16 | 2627882.346 | 1128952.1193
17 | 2627890.4839 | 1128958.3077
18 | 2627895.6417 | 1128962.23
19 | 2627927.8573 | 1129026.024
20 | 2627904.8648 | 1129042.5883
21 | 2627881.2097 | 1129011.1436
22 | 2627864.969 | 1129013.4249
23 | 2627904.3064 | 1129012.1511
24 | 2627897.7844 | 1129021.7882
25 | 2627886.1616 | 1129066.3604
26 | 2627879.0078 | 1129063.1035
27 | 2627877.2851 | 1129072.0508
28 | 2627882.3488 | 1129051.3988
29 | 2627871.96 | 1129089.7288
30 | 2627887.2712 | 1129036.3735
31 | 2627897.1894 | 1129022.6459
32 | 2627888.6476 | 1129032.3437
33 | 2627855.7049 | 1129013.4622
34 | 2627868.2726 | 1129090.8791
35 | 2627841.5644 | 1129018.9263
36 | 2627845.8798 | 1129036.9049
37 | 2627853.0627 | 1129051.4595
38 | 2627856.9379 | 1129058.944
39 | 2627871.1461 | 1129111.3433
40 | 2627817.5358 | 1129096.2318
41 | 2627863.5343 | 1129074.9308
42 | 2627859.4391 | 1129063.7747
43 | 2627871.9429 | 1129117.0183
44 | 2627809.4599 | 1129096.7702
45 | 2627874.4311 | 1129134.7382
46 | 2627791.0346 | 1129097.6923
47 | 2627874.6936 | 1129136.6077
48 | 2627874.7341 | 1129136.8965
49 | 2627876.3237 | 1129148.2171
50 | 2627877.2658 | 1129154.9266
51 | 2627877.3823 | 1129155.7561
52 | 2627878.7555 | 1129165.5362
53 | 2627879.3831 | 1129170.0056
54 | 2627879.602 | 1129171.5645
55 | 2627881.4272 | 1129183.1402
56 | 2627881.4565 | 1129183.3217
57 | 2627883.2321 | 1129194.328
58 | 2627883.7225 | 1129197.3679
59 | 2627893.2682 | 1129225.3933
60 | 2627913.5653 | 1129276.8133
61 | 2627845.8632 | 1129260.6669
62 | 2627928.5373 | 1129280.273
63 | 2627819.4923 | 1129250.7612
64 | 2627956.7987 | 1129584.4545
65 | 2627915.0238 | 1129193.9376
66 | 2627913.6377 | 1129174.2294
67 | 2628139.8563 | 1129569.1153
68 | 2628156.3466 | 1129578.3154
69 | 2628164.0486 | 1129586.9173
70 | 2628188.454 | 1129622.4471
71 | 2628179.91 | 1129619.0296
72 | 2628214.0286 | 1129630.1163
73 | 2628169.9925 | 1129616.7528
74 | 2628234.4076 | 1129624.0174
75 | 2628166.3726 | 1129616.3005
76 | 2628144.664 | 1129613.8003
77 | 2628135.645 | 1129627.006
78 | 2628164.28 | 1129616.0391
79 | 2628138.326 | 1129639.7746
80 | 2628140.8921 | 1129651.9961
81 | 2628135.9896 | 1129675.9964
82 | 2628151.785 | 1129671.5454
83 | 2628152.2564 | 1129672.6125
84 | 2627787.3358 | 1129212.2428
85 | 2627777.2196 | 1129197.5999
86 | 2627759.4227 | 1129172.0082
87 | 2627868.2726 | 1129090.8791

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1