## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6201-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6201-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6201-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6201-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6201-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6201-2_0_4_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_6201-2_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_6201-2_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_6201-2_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_6201-2_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_6201-2_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_6201-2_0_4_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_6201-2_0_4_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_6201-2_0_4_node_79 | 0.4 | n |  | TRUE
14 | bus_LV_6201-2_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_6201-2_0_4_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_6201-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_6201-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_6201-2_0_4_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_6201-2_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_6201-2_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_6201-2_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_6201-2_0_4_node_93 | 0.4 | n |  | TRUE
23 | bus_LV_6201-2_0_4_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_6201-2_0_4_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_6201-2_0_4_node_100 | 0.4 | n |  | TRUE
26 | bus_LV_6201-2_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_6201-2_0_4_node_87 | 0.4 | n |  | TRUE
28 | bus_LV_6201-2_0_4_node_96 | 0.4 | n |  | TRUE
29 | bus_LV_6201-2_0_4_node_102 | 0.4 | n |  | TRUE
30 | bus_LV_6201-2_0_4_node_89 | 0.4 | n |  | TRUE
31 | bus_LV_6201-2_0_4_node_60 | 0.4 | n |  | TRUE
32 | bus_LV_6201-2_0_4_node_99 | 0.4 | n |  | TRUE
33 | bus_LV_6201-2_0_4_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_6201-2_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_6201-2_0_4_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_6201-2_0_4_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_6201-2_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_6201-2_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_6201-2_0_4_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_6201-2_0_4_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_6201-2_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_6201-2_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_6201-2_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_6201-2_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6201-2_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_6201-2_0_4_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_6201-2_0_4_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_6201-2_0_4_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_6201-2_0_4_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_6201-2_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_6201-2_0_4_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_6201-2_0_4_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_6201-2_0_4_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_6201-2_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_6201-2_0_4_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_6201-2_0_4_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_6201-2_0_4_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_6201-2_0_4_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_6201-2_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6201-2_0_4_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6201-2_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_6201-2_0_4_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_6201-2_0_4_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_6201-2_0_4_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_6201-2_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_6201-2_0_4_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_6201-2_0_4_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_6201-2_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_6201-2_0_4_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_6201-2_0_4_node_56 | 0.4 | n |  | TRUE
71 | bus_LV_6201-2_0_4_node_57 | 0.4 | n |  | TRUE
72 | bus_LV_6201-2_0_4_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_6201-2_0_4_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_6201-2_0_4_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_6201-2_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_6201-2_0_4_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_6201-2_0_4_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_6201-2_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_6201-2_0_4_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_6201-2_0_4_node_70 | 0.4 | n |  | TRUE
81 | bus_LV_6201-2_0_4_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_6201-2_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_6201-2_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_6201-2_0_4_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_6201-2_0_4_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_6201-2_0_4_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_6201-2_0_4_node_101 | 0.4 | n |  | TRUE
88 | bus_LV_6201-2_0_4_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_6201-2_0_4_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_6201-2_0_4_node_83 | 0.4 | n |  | TRUE
91 | bus_LV_6201-2_0_4_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_6201-2_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_6201-2_0_4_node_88 | 0.4 | n |  | TRUE
94 | bus_LV_6201-2_0_4_node_97 | 0.4 | n |  | TRUE
95 | bus_LV_6201-2_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_6201-2_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_6201-2_0_4_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_6201-2_0_4_node_95 | 0.4 | n |  | TRUE
99 | bus_MV_109_0_node_56 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6201-2_0_4_load_0 | 0 | 0.04952 | 0.012411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6201-2_0_4_load_1 | 1 | 0.036832 | 0.0092309 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6201-2_0_4_load_3 | 3 | 0.010224 | 0.0025624 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6201-2_0_4_load_4 | 4 | 0.016651 | 0.0041732 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6201-2_0_4_load_21 | 7 | 0.0054152 | 0.0013572 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6201-2_0_4_load_5 | 8 | 0.0046084 | 0.001155 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6201-2_0_4_load_6 | 9 | 0.0039185 | 0.00098207 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6201-2_0_4_load_7 | 10 | 0.0044297 | 0.0011102 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6201-2_0_4_load_76 | 11 | 0.0059759 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6201-2_0_4_load_75 | 12 | 0.0043058 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6201-2_0_4_load_79 | 13 | 0.0035505 | 0.00088984 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6201-2_0_4_load_68 | 14 | 0.0057533 | 0.0014419 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6201-2_0_4_load_10 | 16 | 0.0035853 | 0.00089856 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6201-2_0_4_load_14 | 21 | 0.0056812 | 0.0014239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6201-2_0_4_load_90 | 23 | 0.0032148 | 0.0008057 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6201-2_0_4_load_100 | 25 | 0.0025591 | 0.00064137 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6201-2_0_4_load_87 | 27 | 0.0017383 | 0.00043566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6201-2_0_4_load_96 | 28 | 0.0020997 | 0.00052623 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6201-2_0_4_load_102 | 29 | 0.0058766 | 0.0014728 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6201-2_0_4_load_89 | 30 | 0.0032717 | 0.00081996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6201-2_0_4_load_99 | 32 | 0.0098094 | 0.0024585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6201-2_0_4_load_85 | 33 | 0.0017931 | 0.00044939 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6201-2_0_4_load_17 | 34 | 0.0030338 | 0.00076035 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6201-2_0_4_load_18 | 35 | 0.0033158 | 0.00083101 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6201-2_0_4_load_19 | 36 | 0.0036105 | 0.00090489 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6201-2_0_4_load_23 | 39 | 0.0079585 | 0.0019946 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6201-2_0_4_load_54 | 40 | 0.0031542 | 0.00079052 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6201-2_0_4_load_34 | 41 | 0.0095462 | 0.0023925 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6201-2_0_4_load_46 | 42 | 0.0056364 | 0.0014126 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6201-2_0_4_load_55 | 43 | 0.0041689 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6201-2_0_4_load_44 | 45 | 0.0049256 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6201-2_0_4_load_26 | 46 | 0.0029476 | 0.00073873 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6201-2_0_4_load_27 | 47 | 0.0068914 | 0.0017272 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6201-2_0_4_load_28 | 48 | 0.0030837 | 0.00077285 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6201-2_0_4_load_47 | 50 | 0.0069981 | 0.0017539 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6201-2_0_4_load_40 | 51 | 0.0059858 | 0.0015002 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6201-2_0_4_load_32 | 52 | 0.0069352 | 0.0017381 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6201-2_0_4_load_39 | 53 | 0.0044536 | 0.0011162 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6201-2_0_4_load_33 | 54 | 0.0025731 | 0.00064487 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6201-2_0_4_load_35 | 55 | 0.0043809 | 0.0010979 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6201-2_0_4_load_36 | 56 | 0.0024821 | 0.00062208 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6201-2_0_4_load_37 | 57 | 0.0021554 | 0.00054019 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6201-2_0_4_load_48 | 59 | 0.0045973 | 0.0011522 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6201-2_0_4_load_49 | 61 | 0.004294 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6201-2_0_4_load_45 | 62 | 0.0049088 | 0.0012303 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6201-2_0_4_load_41 | 63 | 0.0023264 | 0.00058306 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6201-2_0_4_load_42 | 64 | 0.0039924 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6201-2_0_4_load_50 | 65 | 0.006432 | 0.001612 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6201-2_0_4_load_51 | 66 | 0.0045131 | 0.0011311 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6201-2_0_4_load_103 | 67 | 0.011288 | 0.0028291 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6201-2_0_4_load_57 | 71 | 0.001603 | 0.00040175 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6201-2_0_4_load_58 | 72 | 0.003867 | 0.00096916 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6201-2_0_4_load_64 | 73 | 0.0051852 | 0.0012995 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6201-2_0_4_load_61 | 74 | 0.0055136 | 0.0013818 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6201-2_0_4_load_65 | 75 | 0.0051709 | 0.001296 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6201-2_0_4_load_62 | 76 | 0.00366 | 0.00091729 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6201-2_0_4_load_72 | 78 | 0.0099073 | 0.002483 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6201-2_0_4_load_69 | 79 | 0.0023663 | 0.00059304 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6201-2_0_4_load_70 | 80 | 0.0020691 | 0.00051855 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6201-2_0_4_load_74 | 81 | 0.0026154 | 0.00065549 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6201-2_0_4_load_73 | 82 | 0.0053373 | 0.0013376 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6201-2_0_4_load_71 | 84 | 0.003753 | 0.00094058 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_6201-2_0_4_load_78 | 85 | 0.005196 | 0.0013022 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_6201-2_0_4_load_84 | 86 | 0.0056551 | 0.0014173 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_6201-2_0_4_load_101 | 87 | 0.0019536 | 0.00048963 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_6201-2_0_4_load_80 | 88 | 0.0052615 | 0.0013187 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_6201-2_0_4_load_83 | 90 | 0.0037902 | 0.00094991 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_6201-2_0_4_load_98 | 91 | 0.0021286 | 0.00053348 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_6201-2_0_4_load_86 | 92 | 0.0041265 | 0.0010342 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_6201-2_0_4_load_88 | 93 | 0.0024131 | 0.00060477 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_6201-2_0_4_load_97 | 94 | 0.0053042 | 0.0013294 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_6201-2_0_4_load_91 | 95 | 0.0044898 | 0.0011252 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_6201-2_0_4_load_92 | 96 | 0.0031865 | 0.00079861 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_6201-2_0_4_load_94 | 97 | 0.0030193 | 0.00075671 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_6201-2_0_4_load_95 | 98 | 0.0037926 | 0.00095051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6201-2_0_4_line_0 |  | 0 | 1 | 0.021145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6201-2_0_4_line_1 |  | 0 | 2 | 0.0051596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6201-2_0_4_line_2 |  | 2 | 3 | 0.0675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_6201-2_0_4_line_3 |  | 2 | 4 | 0.035306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6201-2_0_4_line_4 |  | 3 | 5 | 0.0022853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_6201-2_0_4_line_5 |  | 5 | 6 | 0.034269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_6201-2_0_4_line_6 |  | 5 | 7 | 0.0045804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6201-2_0_4_line_7 |  | 6 | 40 | 0.012146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6201-2_0_4_line_8 |  | 6 | 37 | 0.03083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_6201-2_0_4_line_9 |  | 8 | 9 | 0.017176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6201-2_0_4_line_10 |  | 9 | 10 | 0.0079764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6201-2_0_4_line_11 |  | 10 | 13 | 0.015986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6201-2_0_4_line_12 |  | 11 | 12 | 0.021329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6201-2_0_4_line_13 |  | 12 | 14 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6201-2_0_4_line_14 |  | 13 | 15 | 0.016411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6201-2_0_4_line_15 |  | 14 | 68 | 0.019632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6201-2_0_4_line_16 |  | 15 | 86 | 0.041956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6201-2_0_4_line_17 |  | 15 | 88 | 0.00077038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_6201-2_0_4_line_18 |  | 16 | 17 | 0.018069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6201-2_0_4_line_19 |  | 17 | 18 | 0.04043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6201-2_0_4_line_20 |  | 18 | 22 | 0.048807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6201-2_0_4_line_21 |  | 18 | 23 | 0.015581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6201-2_0_4_line_22 |  | 18 | 19 | 0.057336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6201-2_0_4_line_23 |  | 19 | 20 | 0.065821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6201-2_0_4_line_24 |  | 19 | 21 | 0.035668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6201-2_0_4_line_25 |  | 20 | 24 | 0.036326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6201-2_0_4_line_26 |  | 20 | 25 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6201-2_0_4_line_27 |  | 22 | 29 | 0.037744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6201-2_0_4_line_28 |  | 23 | 30 | 0.031642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6201-2_0_4_line_29 |  | 24 | 31 | 0.033126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6201-2_0_4_line_30 |  | 25 | 32 | 0.018875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6201-2_0_4_line_31 |  | 26 | 27 | 0.010839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6201-2_0_4_line_32 |  | 26 | 28 | 0.04096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6201-2_0_4_line_33 |  | 27 | 33 | 0.0027293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6201-2_0_4_line_34 |  | 30 | 95 | 0.006572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6201-2_0_4_line_35 |  | 31 | 73 | 0.01258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6201-2_0_4_line_36 |  | 31 | 74 | 0.01676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6201-2_0_4_line_37 |  | 33 | 92 | 0.0028526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6201-2_0_4_line_38 |  | 34 | 35 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6201-2_0_4_line_39 |  | 34 | 36 | 0.0041903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6201-2_0_4_line_40 |  | 35 | 37 | 0.017727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6201-2_0_4_line_41 |  | 37 | 38 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_6201-2_0_4_line_42 |  | 37 | 39 | 0.076371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6201-2_0_4_line_43 |  | 38 | 41 | 0.049268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6201-2_0_4_line_44 |  | 38 | 42 | 0.051819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_6201-2_0_4_line_45 |  | 40 | 43 | 0.028204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6201-2_0_4_line_46 |  | 41 | 44 | 0.036105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6201-2_0_4_line_47 |  | 42 | 45 | 0.0099319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_6201-2_0_4_line_48 |  | 43 | 70 | 0.0045304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6201-2_0_4_line_49 |  | 44 | 52 | 0.027088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6201-2_0_4_line_50 |  | 45 | 64 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_6201-2_0_4_line_51 |  | 46 | 47 | 0.011573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6201-2_0_4_line_52 |  | 46 | 48 | 0.010798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6201-2_0_4_line_53 |  | 48 | 49 | 0.029092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6201-2_0_4_line_54 |  | 49 | 50 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6201-2_0_4_line_55 |  | 49 | 51 | 0.0065126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6201-2_0_4_line_56 |  | 51 | 53 | 0.0093672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6201-2_0_4_line_57 |  | 52 | 54 | 0.0071125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6201-2_0_4_line_58 |  | 53 | 57 | 0.006885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6201-2_0_4_line_59 |  | 55 | 56 | 0.0065204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6201-2_0_4_line_60 |  | 55 | 57 | 0.01199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6201-2_0_4_line_61 |  | 56 | 58 | 0.024955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6201-2_0_4_line_62 |  | 58 | 59 | 0.014123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6201-2_0_4_line_63 |  | 58 | 60 | 0.004831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6201-2_0_4_line_64 |  | 59 | 61 | 0.022541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_6201-2_0_4_line_65 |  | 60 | 62 | 0.018429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_6201-2_0_4_line_66 |  | 60 | 63 | 0.02715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_6201-2_0_4_line_67 |  | 61 | 67 | 0.051043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_6201-2_0_4_line_68 |  | 62 | 65 | 0.024868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_6201-2_0_4_line_69 |  | 63 | 64 | 0.017714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_6201-2_0_4_line_70 |  | 65 | 66 | 0.011246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_6201-2_0_4_line_71 |  | 66 | 68 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_6201-2_0_4_line_72 |  | 68 | 69 | 0.019909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_6201-2_0_4_line_73 |  | 69 | 81 | 0.0083743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6201-2_0_4_line_74 |  | 69 | 82 | 0.0055027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_6201-2_0_4_line_75 |  | 70 | 71 | 0.037449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6201-2_0_4_line_76 |  | 71 | 72 | 0.018249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6201-2_0_4_line_77 |  | 73 | 75 | 0.0060604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6201-2_0_4_line_78 |  | 74 | 76 | 0.042099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6201-2_0_4_line_79 |  | 76 | 77 | 0.0051947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6201-2_0_4_line_80 |  | 77 | 78 | 0.056813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_6201-2_0_4_line_81 |  | 77 | 79 | 0.032983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_6201-2_0_4_line_82 |  | 79 | 80 | 0.010992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_6201-2_0_4_line_83 |  | 80 | 84 | 0.0036176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_6201-2_0_4_line_84 |  | 81 | 83 | 0.056835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_6201-2_0_4_line_85 |  | 82 | 84 | 0.0083917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_6201-2_0_4_line_86 |  | 83 | 85 | 0.028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_6201-2_0_4_line_87 |  | 83 | 86 | 0.052935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_6201-2_0_4_line_88 |  | 85 | 87 | 0.0011393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_6201-2_0_4_line_89 |  | 87 | 91 | 0.011301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_6201-2_0_4_line_90 |  | 88 | 89 | 0.057137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_6201-2_0_4_line_91 |  | 89 | 90 | 0.026401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_6201-2_0_4_line_92 |  | 91 | 94 | 0.013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_6201-2_0_4_line_93 |  | 92 | 93 | 0.010375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_6201-2_0_4_line_94 |  | 93 | 94 | 0.042926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_6201-2_0_4_line_95 |  | 95 | 96 | 0.0068508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_6201-2_0_4_line_96 |  | 96 | 97 | 0.024991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_6201-2_0_4_line_97 |  | 97 | 98 | 0.0056268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6201-2_0_4_trafo_72 | 0.63 MVA 20/0.4 kV | 99 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2627991.8009 | 1126356.6552 | 2627979.7089 | 1126374.0014
1 | 2627994.7514 | 1126352.4225 | 2627991.8009 | 1126356.6552
2 | 2627994.7514 | 1126352.4225 | 2628002.1215 | 1126338.5497 | 2628005.4153 | 1126332.9065 | 2628005.0588 | 1126321.666 | 2627994.4047 | 1126289.3666
3 | 2627964.4877 | 1126342.3 | 2627973.8303 | 1126338.5301 | 2627982.6743 | 1126342.5841 | 2627994.7514 | 1126352.4225
4 | 2627993.6888 | 1126287.1963 | 2627994.4047 | 1126289.3666
5 | 2627993.6888 | 1126287.1963 | 2627989.0768 | 1126262.9073 | 2627985.0321 | 1126254.2621
6 | 2627993.6888 | 1126287.1963 | 2627996.2447 | 1126290.9973
7 | 2627985.0321 | 1126254.2621 | 2627976.5298 | 1126262.936
8 | 2627985.0321 | 1126254.2621 | 2627994.6644 | 1126239.5215 | 2627998.3659 | 1126232.3795 | 2628003.2362 | 1126234.1362
9 | 2627733.2069 | 1126131.636 | 2627732.3795 | 1126136.3865 | 2627733.5051 | 1126148.6887
10 | 2627733.5051 | 1126148.6887 | 2627733.7227 | 1126151.0666 | 2627734.0403 | 1126156.6462
11 | 2627729.1606 | 1126171.2711 | 2627732.1324 | 1126166.8116 | 2627734.329 | 1126161.7192 | 2627734.0403 | 1126156.6462
12 | 2627805.5127 | 1126138.328 | 2627801.6139 | 1126122.3745 | 2627800.3267 | 1126117.6403
13 | 2627805.5127 | 1126138.328 | 2627811.4785 | 1126162.7399 | 2627811.4785 | 1126162.7399
14 | 2627718.5294 | 1126183.7134 | 2627722.6739 | 1126179.0411 | 2627726.7778 | 1126174.8467 | 2627729.1606 | 1126171.2711
15 | 2627825.8832 | 1126176.0793 | 2627811.4785 | 1126162.7399
16 | 2627718.5294 | 1126183.7134 | 2627728.3925 | 1126224.4899
17 | 2627717.9856 | 1126184.2591 | 2627718.5294 | 1126183.7134
18 | 2627708.5176 | 1126441.5848 | 2627690.6428 | 1126444.2262
19 | 2627708.5176 | 1126441.5848 | 2627719.2915 | 1126426.4154 | 2627721.6949 | 1126416.5326 | 2627710.0435 | 1126416.3125
20 | 2627661.3771 | 1126411.0765 | 2627674.5635 | 1126412.6819 | 2627710.0435 | 1126416.3125
21 | 2627710.0435 | 1126416.3125 | 2627705.3046 | 1126401.4701
22 | 2627710.0435 | 1126416.3125 | 2627721.6949 | 1126416.5326 | 2627747.0603 | 1126412.5244 | 2627765.7279 | 1126405.3397
23 | 2627815.7242 | 1126362.6366 | 2627791.9262 | 1126386.1058 | 2627765.7279 | 1126405.3397
24 | 2627765.7279 | 1126405.3397 | 2627772.2055 | 1126440.4148
25 | 2627842.4412 | 1126337.947 | 2627815.7242 | 1126362.6366
26 | 2627815.7242 | 1126362.6366 | 2627803.9996 | 1126337.1476
27 | 2627648.2679 | 1126375.6768 | 2627661.3771 | 1126411.0765
28 | 2627698.7277 | 1126371.3717 | 2627697.4775 | 1126373.4337 | 2627697.6667 | 1126377.5478 | 2627705.3046 | 1126401.4701
29 | 2627842.4412 | 1126337.947 | 2627841.2314 | 1126331.1936 | 2627840.3471 | 1126313.9921 | 2627837.7744 | 1126305.3316
30 | 2627796.1117 | 1126319.9997 | 2627803.9996 | 1126337.1476
31 | 2627766.9085 | 1126366.3479 | 2627767.933 | 1126355.5578
32 | 2627766.9085 | 1126366.3479 | 2627754.734 | 1126374.3072 | 2627740.4475 | 1126378.9886 | 2627729.5103 | 1126382.1346
33 | 2627768.191 | 1126352.8407 | 2627767.933 | 1126355.5578
34 | 2627698.7277 | 1126371.3717 | 2627698.7277 | 1126371.3717 | 2627702.863 | 1126370.3679 | 2627704.9408 | 1126369.3436
35 | 2627837.7744 | 1126305.3316 | 2627849.898 | 1126301.9737
36 | 2627837.7744 | 1126305.3316 | 2627836.5981 | 1126301.3575 | 2627831.6613 | 1126289.7481
37 | 2627768.191 | 1126352.8407 | 2627768.4606 | 1126350.0008
38 | 2628007.9535 | 1126251.1962 | 2628010.1408 | 1126262.584
39 | 2628010.9312 | 1126266.6991 | 2628010.1408 | 1126262.584
40 | 2628003.2362 | 1126234.1362 | 2628006.8899 | 1126245.6588 | 2628007.9535 | 1126251.1962
41 | 2628003.2362 | 1126234.1362 | 2627998.3659 | 1126232.3795 | 2628000.8185 | 1126225.3206
42 | 2628003.2362 | 1126234.1362 | 2628018.933 | 1126234.5868 | 2628027.9706 | 1126246.7902 | 2628033.0711 | 1126260.4094 | 2628033.0082 | 1126274.0048 | 2628035.6387 | 1126286.79 | 2628036.1764 | 1126291.0463
43 | 2628000.8185 | 1126225.3206 | 2628010.9193 | 1126192.6066 | 2628010.9716 | 1126177.5766
44 | 2628000.8185 | 1126225.3206 | 2627952.581 | 1126206.3906
45 | 2627976.5298 | 1126262.936 | 2627968.446 | 1126271.1829 | 2627954.8058 | 1126280.7421
46 | 2628009.2594 | 1126141.5624 | 2628011.0362 | 1126158.9904 | 2628010.9716 | 1126177.5766
47 | 2627943.3356 | 1126202.7624 | 2627952.581 | 1126206.3906
48 | 2627951.0958 | 1126283.3422 | 2627954.8058 | 1126280.7421
49 | 2628009.2594 | 1126141.5624 | 2628000.0982 | 1126151.047 | 2627993.4734 | 1126153.6955 | 2627986.9504 | 1126155.4963
50 | 2627943.3356 | 1126202.7624 | 2627936.0362 | 1126199.8979 | 2627933.758 | 1126199.0799
51 | 2627970.6247 | 1126134.0557 | 2627971.9264 | 1126133.3081 | 2627980.3453 | 1126127.7796
52 | 2627970.6247 | 1126134.0557 | 2627961.261 | 1126139.4333
53 | 2627934.6538 | 1126150.4002 | 2627946.1563 | 1126147.9187 | 2627961.0771 | 1126139.5389 | 2627961.261 | 1126139.4333
54 | 2627934.6538 | 1126150.4002 | 2627928.8147 | 1126143.0919 | 2627923.2468 | 1126133.4063
55 | 2627934.6538 | 1126150.4002 | 2627936.5151 | 1126156.6412
56 | 2627939.1923 | 1126165.6176 | 2627939.1923 | 1126165.6176 | 2627936.5151 | 1126156.6412
57 | 2627980.1912 | 1126157.7028 | 2627985.3939 | 1126155.926 | 2627986.9504 | 1126155.4963
58 | 2627939.1923 | 1126165.6176 | 2627932.6489 | 1126167.7595
59 | 2627921.0447 | 1126170.6434 | 2627914.6159 | 1126171.7322
60 | 2627921.0447 | 1126170.6434 | 2627926.8349 | 1126169.6627 | 2627932.6489 | 1126167.7595
61 | 2627891.9484 | 1126179.1067 | 2627892.8986 | 1126176.9322 | 2627895.5968 | 1126175.0882 | 2627900.7651 | 1126174.0781 | 2627914.6159 | 1126171.7322
62 | 2627891.9484 | 1126179.1067 | 2627890.0772 | 1126165.1087
63 | 2627891.5331 | 1126183.9183 | 2627891.9484 | 1126179.1067
64 | 2627887.0907 | 1126142.7663 | 2627890.0772 | 1126165.1087
65 | 2627891.5331 | 1126183.9183 | 2627881.1495 | 1126181.1025 | 2627873.4976 | 1126180.5715
66 | 2627891.5331 | 1126183.9183 | 2627917.0859 | 1126193.0935
67 | 2627887.0907 | 1126142.7663 | 2627852.5823 | 1126105.1555
68 | 2627873.4976 | 1126180.5715 | 2627848.6896 | 1126178.8499
69 | 2627917.0859 | 1126193.0935 | 2627933.758 | 1126199.0799
70 | 2627837.5244 | 1126177.5162 | 2627847.8662 | 1126178.7927 | 2627848.6896 | 1126178.8499
71 | 2627825.8832 | 1126176.0793 | 2627837.5244 | 1126177.5162
72 | 2627811.2165 | 1126189.5854 | 2627825.8832 | 1126176.0793
73 | 2627811.2165 | 1126189.5854 | 2627806.8282 | 1126193.6228 | 2627805.4815 | 1126195.6229
74 | 2627811.2165 | 1126189.5854 | 2627811.3748 | 1126195.0858
75 | 2627951.0958 | 1126283.3422 | 2627936.5168 | 1126291.2011 | 2627917.4334 | 1126299.69
76 | 2627900.7595 | 1126307.1071 | 2627917.4334 | 1126299.69
77 | 2627855.7386 | 1126300.3561 | 2627849.898 | 1126301.9737
78 | 2627831.6613 | 1126289.7481 | 2627824.1932 | 1126272.186 | 2627823.5107 | 1126263.045 | 2627828.0488 | 1126249.9614
79 | 2627829.7511 | 1126245.0536 | 2627828.0488 | 1126249.9614
80 | 2627829.7511 | 1126245.0536 | 2627844.5604 | 1126244.0878 | 2627855.1933 | 1126239.6011 | 2627868.8522 | 1126235.7509 | 2627875.7371 | 1126238.495 | 2627884.3645 | 1126236.6192
81 | 2627829.7511 | 1126245.0536 | 2627818.4338 | 1126232.4287 | 2627813.2986 | 1126224.5679 | 2627812.0805 | 1126219.6154 | 2627812.0363 | 1126218.0777
82 | 2627812.0363 | 1126218.0777 | 2627811.7202 | 1126207.0901
83 | 2627811.6161 | 1126203.4741 | 2627811.7202 | 1126207.0901
84 | 2627777.3076 | 1126244.724 | 2627786.2182 | 1126224.2324 | 2627805.4815 | 1126195.6229
85 | 2627811.3748 | 1126195.0858 | 2627811.6161 | 1126203.4741
86 | 2627777.3076 | 1126244.724 | 2627773.4315 | 1126263.1153 | 2627773.1205 | 1126272.4507
87 | 2627777.3076 | 1126244.724 | 2627728.3925 | 1126224.4899
88 | 2627773.0826 | 1126273.5893 | 2627773.1205 | 1126272.4507
89 | 2627770.8887 | 1126284.5995 | 2627772.9579 | 1126277.3314 | 2627773.0826 | 1126273.5893
90 | 2627674.27 | 1126220.5072 | 2627689.0757 | 1126211.915 | 2627704.0742 | 1126198.2212 | 2627717.9856 | 1126184.2591
91 | 2627674.27 | 1126220.5072 | 2627684.5543 | 1126244.8229
92 | 2627770.8887 | 1126284.5995 | 2627767.2086 | 1126297.5262 | 2627767.0858 | 1126298.0672
93 | 2627768.2923 | 1126339.764 | 2627769.1272 | 1126342.9798 | 2627768.4606 | 1126350.0008
94 | 2627768.2923 | 1126339.764 | 2627762.5993 | 1126317.8374 | 2627767.0858 | 1126298.0672
95 | 2627705.1991 | 1126362.534 | 2627705.3596 | 1126367.0777 | 2627704.9408 | 1126369.3436 | 2627704.9408 | 1126369.3436
96 | 2627705.1991 | 1126362.534 | 2627704.8138 | 1126351.6231 | 2627706.0668 | 1126348.9497 | 2627716.7862 | 1126345.987
97 | 2627722.2096 | 1126344.488 | 2627716.7862 | 1126345.987

## bus_geodata
| x | y | coords
0 | 2627991.8009 | 1126356.6552
1 | 2627979.7089 | 1126374.0014
2 | 2627994.7514 | 1126352.4225
3 | 2627994.4047 | 1126289.3666
4 | 2627964.4877 | 1126342.3
5 | 2627993.6888 | 1126287.1963
6 | 2627985.0321 | 1126254.2621
7 | 2627996.2447 | 1126290.9973
8 | 2627733.2069 | 1126131.636
9 | 2627733.5051 | 1126148.6887
10 | 2627734.0403 | 1126156.6462
11 | 2627800.3267 | 1126117.6403
12 | 2627805.5127 | 1126138.328
13 | 2627729.1606 | 1126171.2711
14 | 2627811.4785 | 1126162.7399
15 | 2627718.5294 | 1126183.7134
16 | 2627690.6428 | 1126444.2262
17 | 2627708.5176 | 1126441.5848
18 | 2627710.0435 | 1126416.3125
19 | 2627765.7279 | 1126405.3397
20 | 2627815.7242 | 1126362.6366
21 | 2627772.2055 | 1126440.4148
22 | 2627661.3771 | 1126411.0765
23 | 2627705.3046 | 1126401.4701
24 | 2627842.4412 | 1126337.947
25 | 2627803.9996 | 1126337.1476
26 | 2627766.9085 | 1126366.3479
27 | 2627767.933 | 1126355.5578
28 | 2627729.5103 | 1126382.1346
29 | 2627648.2679 | 1126375.6768
30 | 2627698.7277 | 1126371.3717
31 | 2627837.7744 | 1126305.3316
32 | 2627796.1117 | 1126319.9997
33 | 2627768.191 | 1126352.8407
34 | 2628010.1408 | 1126262.584
35 | 2628007.9535 | 1126251.1962
36 | 2628010.9312 | 1126266.6991
37 | 2628003.2362 | 1126234.1362
38 | 2628000.8185 | 1126225.3206
39 | 2628036.1764 | 1126291.0463
40 | 2627976.5298 | 1126262.936
41 | 2628010.9716 | 1126177.5766
42 | 2627952.581 | 1126206.3906
43 | 2627954.8058 | 1126280.7421
44 | 2628009.2594 | 1126141.5624
45 | 2627943.3356 | 1126202.7624
46 | 2627970.6247 | 1126134.0557
47 | 2627980.3453 | 1126127.7796
48 | 2627961.261 | 1126139.4333
49 | 2627934.6538 | 1126150.4002
50 | 2627923.2468 | 1126133.4063
51 | 2627936.5151 | 1126156.6412
52 | 2627986.9504 | 1126155.4963
53 | 2627939.1923 | 1126165.6176
54 | 2627980.1912 | 1126157.7028
55 | 2627921.0447 | 1126170.6434
56 | 2627914.6159 | 1126171.7322
57 | 2627932.6489 | 1126167.7595
58 | 2627891.9484 | 1126179.1067
59 | 2627890.0772 | 1126165.1087
60 | 2627891.5331 | 1126183.9183
61 | 2627887.0907 | 1126142.7663
62 | 2627873.4976 | 1126180.5715
63 | 2627917.0859 | 1126193.0935
64 | 2627933.758 | 1126199.0799
65 | 2627848.6896 | 1126178.8499
66 | 2627837.5244 | 1126177.5162
67 | 2627852.5823 | 1126105.1555
68 | 2627825.8832 | 1126176.0793
69 | 2627811.2165 | 1126189.5854
70 | 2627951.0958 | 1126283.3422
71 | 2627917.4334 | 1126299.69
72 | 2627900.7595 | 1126307.1071
73 | 2627849.898 | 1126301.9737
74 | 2627831.6613 | 1126289.7481
75 | 2627855.7386 | 1126300.3561
76 | 2627828.0488 | 1126249.9614
77 | 2627829.7511 | 1126245.0536
78 | 2627884.3645 | 1126236.6192
79 | 2627812.0363 | 1126218.0777
80 | 2627811.7202 | 1126207.0901
81 | 2627805.4815 | 1126195.6229
82 | 2627811.3748 | 1126195.0858
83 | 2627777.3076 | 1126244.724
84 | 2627811.6161 | 1126203.4741
85 | 2627773.1205 | 1126272.4507
86 | 2627728.3925 | 1126224.4899
87 | 2627773.0826 | 1126273.5893
88 | 2627717.9856 | 1126184.2591
89 | 2627674.27 | 1126220.5072
90 | 2627684.5543 | 1126244.8229
91 | 2627770.8887 | 1126284.5995
92 | 2627768.4606 | 1126350.0009
93 | 2627768.2923 | 1126339.764
94 | 2627767.0858 | 1126298.0672
95 | 2627704.9408 | 1126369.3436
96 | 2627705.1991 | 1126362.534
97 | 2627716.7862 | 1126345.987
98 | 2627722.2096 | 1126344.488
99 | 2627898.7188 | 1126233.4983

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1