## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6203-6_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6203-6_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6203-6_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_6203-6_0_6_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_6203-6_0_6_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_6203-6_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6203-6_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_6203-6_0_6_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_6203-6_0_6_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_6203-6_0_6_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_6203-6_0_6_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_6203-6_0_6_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_6203-6_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_6203-6_0_6_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_6203-6_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_6203-6_0_6_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_6203-6_0_6_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_6203-6_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6203-6_0_6_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_6203-6_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6203-6_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6203-6_0_6_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_6203-6_0_6_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_6203-6_0_6_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_6203-6_0_6_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_6203-6_0_6_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_6203-6_0_6_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_6203-6_0_6_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_6203-6_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_6203-6_0_6_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_6203-6_0_6_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_6203-6_0_6_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_6203-6_0_6_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_6203-6_0_6_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_6203-6_0_6_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_6203-6_0_6_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_6203-6_0_6_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_6203-6_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_6203-6_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6203-6_0_6_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_6203-6_0_6_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_6203-6_0_6_node_58 | 0.4 | n |  | TRUE
42 | bus_LV_6203-6_0_6_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_6203-6_0_6_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_6203-6_0_6_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_6203-6_0_6_node_59 | 0.4 | n |  | TRUE
46 | bus_LV_6203-6_0_6_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_6203-6_0_6_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_6203-6_0_6_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_6203-6_0_6_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_6203-6_0_6_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_6203-6_0_6_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_6203-6_0_6_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_6203-6_0_6_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_6203-6_0_6_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_6203-6_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_6203-6_0_6_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_6203-6_0_6_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_6203-6_0_6_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_6203-6_0_6_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_6203-6_0_6_node_62 | 0.4 | n |  | TRUE
61 | bus_LV_6203-6_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_6203-6_0_6_node_61 | 0.4 | n |  | TRUE
63 | bus_LV_6203-6_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_6203-6_0_6_node_65 | 0.4 | n |  | TRUE
65 | bus_MV_87_1_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6203-6_0_6_load_0 | 0 | 0.0088182 | 0.00221 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6203-6_0_6_load_1 | 1 | 0.0055845 | 0.0013996 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6203-6_0_6_load_3 | 2 | 0.0047047 | 0.0011791 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6203-6_0_6_load_68 | 3 | 0.0048152 | 0.0012068 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6203-6_0_6_load_9 | 4 | 0.025473 | 0.006384 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6203-6_0_6_load_4 | 5 | 0.021054 | 0.0052766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6203-6_0_6_load_6 | 6 | 0.0056361 | 0.0014125 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6203-6_0_6_load_7 | 8 | 0.011625 | 0.0029135 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6203-6_0_6_load_8 | 9 | 0.010518 | 0.0026361 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6203-6_0_6_load_19 | 10 | 0.01078 | 0.0027018 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6203-6_0_6_load_18 | 11 | 0.0063359 | 0.0015879 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6203-6_0_6_load_12 | 13 | 0.010239 | 0.0025661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6203-6_0_6_load_23 | 14 | 0.0090953 | 0.0022795 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6203-6_0_6_load_13 | 15 | 0.014425 | 0.0036153 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6203-6_0_6_load_21 | 16 | 0.0096526 | 0.0024192 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6203-6_0_6_load_14 | 17 | 0.015255 | 0.0038233 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6203-6_0_6_load_17 | 18 | 0.014127 | 0.0035406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6203-6_0_6_load_15 | 19 | 0.024835 | 0.0062242 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6203-6_0_6_load_16 | 20 | 0.0067491 | 0.0016915 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6203-6_0_6_load_20 | 21 | 0.013362 | 0.0033489 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6203-6_0_6_load_22 | 22 | 0.013823 | 0.0034643 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6203-6_0_6_load_24 | 23 | 0.014547 | 0.0036458 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6203-6_0_6_load_26 | 25 | 0.0080941 | 0.0020286 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6203-6_0_6_load_27 | 26 | 0.0031701 | 0.0007945 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6203-6_0_6_load_28 | 27 | 0.0059573 | 0.001493 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6203-6_0_6_load_29 | 28 | 0.008236 | 0.0020641 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6203-6_0_6_load_53 | 29 | 0.007276 | 0.0018235 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6203-6_0_6_load_30 | 30 | 0.0095034 | 0.0023818 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6203-6_0_6_load_54 | 31 | 0.0056818 | 0.001424 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6203-6_0_6_load_31 | 32 | 0.0065852 | 0.0016504 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6203-6_0_6_load_38 | 35 | 0.0084694 | 0.0021226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6203-6_0_6_load_32 | 36 | 0.014951 | 0.0037471 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6203-6_0_6_load_33 | 37 | 0.021805 | 0.0054649 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6203-6_0_6_load_35 | 39 | 0.005077 | 0.0012724 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6203-6_0_6_load_58 | 41 | 0.0036237 | 0.00090818 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6203-6_0_6_load_48 | 42 | 0.0034989 | 0.0008769 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6203-6_0_6_load_49 | 43 | 0.0094558 | 0.0023699 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6203-6_0_6_load_46 | 44 | 0.015834 | 0.0039683 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6203-6_0_6_load_59 | 45 | 0.0057114 | 0.0014314 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6203-6_0_6_load_37 | 46 | 0.015289 | 0.0038318 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6203-6_0_6_load_39 | 47 | 0.018035 | 0.00452 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6203-6_0_6_load_41 | 48 | 0.011368 | 0.002849 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6203-6_0_6_load_42 | 49 | 0.0096838 | 0.002427 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6203-6_0_6_load_43 | 50 | 0.0091897 | 0.0023032 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6203-6_0_6_load_44 | 51 | 0.005614 | 0.001407 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6203-6_0_6_load_45 | 52 | 0.0073893 | 0.0018519 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6203-6_0_6_load_50 | 53 | 0.0032603 | 0.00081711 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6203-6_0_6_load_67 | 54 | 0.007563 | 0.0018955 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6203-6_0_6_load_66 | 55 | 0.0046343 | 0.0011615 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6203-6_0_6_load_55 | 56 | 0.0067024 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6203-6_0_6_load_56 | 57 | 0.0032701 | 0.00081956 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6203-6_0_6_load_57 | 58 | 0.0060466 | 0.0015154 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6203-6_0_6_load_64 | 59 | 0.014981 | 0.0037545 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6203-6_0_6_load_62 | 60 | 0.0063294 | 0.0015863 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6203-6_0_6_load_60 | 61 | 0.008769 | 0.0021977 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6203-6_0_6_load_63 | 63 | 0.0079592 | 0.0019948 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6203-6_0_6_load_65 | 64 | 0.0055187 | 0.0013831 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6203-6_0_6_line_0 |  | 0 | 1 | 0.021495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6203-6_0_6_line_1 |  | 1 | 2 | 0.021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6203-6_0_6_line_2 |  | 1 | 3 | 0.054049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6203-6_0_6_line_3 |  | 2 | 4 | 0.027088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6203-6_0_6_line_4 |  | 4 | 7 | 0.038767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6203-6_0_6_line_5 |  | 5 | 6 | 0.0013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6203-6_0_6_line_6 |  | 6 | 8 | 0.024794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_6203-6_0_6_line_7 |  | 7 | 12 | 0.075822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_6203-6_0_6_line_8 |  | 7 | 13 | 0.02479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_6203-6_0_6_line_9 |  | 8 | 9 | 0.014388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_6203-6_0_6_line_10 |  | 9 | 10 | 0.011522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_6203-6_0_6_line_11 |  | 10 | 11 | 0.0001745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_6203-6_0_6_line_12 |  | 11 | 20 | 0.0078819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_6203-6_0_6_line_13 |  | 12 | 14 | 0.04693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_6203-6_0_6_line_14 |  | 13 | 15 | 0.00061123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_6203-6_0_6_line_15 |  | 14 | 16 | 0.024332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_6203-6_0_6_line_16 |  | 15 | 17 | 0.043248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6203-6_0_6_line_17 |  | 16 | 21 | 0.029953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6203-6_0_6_line_18 |  | 17 | 18 | 0.011403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_6203-6_0_6_line_19 |  | 18 | 19 | 0.0040307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6203-6_0_6_line_20 |  | 19 | 20 | 0.019415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_6203-6_0_6_line_21 |  | 21 | 22 | 0.0099215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6203-6_0_6_line_22 |  | 22 | 23 | 0.027717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6203-6_0_6_line_23 |  | 23 | 24 | 0.039129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_6203-6_0_6_line_24 |  | 24 | 25 | 0.019815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6203-6_0_6_line_25 |  | 24 | 26 | 0.0080894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6203-6_0_6_line_26 |  | 24 | 27 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_6203-6_0_6_line_27 |  | 26 | 28 | 0.029814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6203-6_0_6_line_28 |  | 27 | 29 | 0.00788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6203-6_0_6_line_29 |  | 28 | 30 | 0.012807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6203-6_0_6_line_30 |  | 29 | 31 | 0.0087023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_6203-6_0_6_line_31 |  | 31 | 56 | 0.029228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_6203-6_0_6_line_32 |  | 32 | 33 | 0.013251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6203-6_0_6_line_33 |  | 33 | 34 | 0.003922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6203-6_0_6_line_34 |  | 33 | 35 | 0.021732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6203-6_0_6_line_35 |  | 34 | 41 | 0.018636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_6203-6_0_6_line_36 |  | 34 | 38 | 0.056813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6203-6_0_6_line_37 |  | 35 | 46 | 0.0082106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6203-6_0_6_line_38 |  | 36 | 37 | 0.00078891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6203-6_0_6_line_39 |  | 36 | 38 | 0.0517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6203-6_0_6_line_40 |  | 38 | 39 | 0.01098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6203-6_0_6_line_41 |  | 39 | 40 | 0.02333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6203-6_0_6_line_42 |  | 40 | 42 | 0.0061437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6203-6_0_6_line_43 |  | 40 | 43 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6203-6_0_6_line_44 |  | 40 | 44 | 0.013756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6203-6_0_6_line_45 |  | 41 | 45 | 0.010432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_6203-6_0_6_line_46 |  | 43 | 53 | 0.027786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6203-6_0_6_line_47 |  | 44 | 52 | 0.011387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6203-6_0_6_line_48 |  | 45 | 61 | 0.0097614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_6203-6_0_6_line_49 |  | 46 | 47 | 0.0051059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6203-6_0_6_line_50 |  | 48 | 49 | 0.0038302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6203-6_0_6_line_51 |  | 49 | 50 | 0.017523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6203-6_0_6_line_52 |  | 50 | 51 | 0.034855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6203-6_0_6_line_53 |  | 51 | 52 | 0.0043728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6203-6_0_6_line_54 |  | 54 | 55 | 0.0019656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6203-6_0_6_line_55 |  | 55 | 64 | 0.0025425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6203-6_0_6_line_56 |  | 56 | 57 | 0.0012947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_6203-6_0_6_line_57 |  | 57 | 58 | 0.011008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6203-6_0_6_line_58 |  | 58 | 59 | 0.0065445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6203-6_0_6_line_59 |  | 59 | 60 | 0.018439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_6203-6_0_6_line_60 |  | 60 | 62 | 0.0012402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6203-6_0_6_line_61 |  | 61 | 62 | 0.0064604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6203-6_0_6_line_62 |  | 62 | 63 | 0.017658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6203-6_0_6_line_63 |  | 63 | 64 | 0.0072688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6203-6_0_6_trafo_55 | 0.63 MVA 20/0.4 kV | 65 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2646557.3849 | 1133848.2541 | 2646538.2376 | 1133838.4869
1 | 2646538.2376 | 1133838.4869 | 2646529.9789 | 1133834.2741 | 2646518.569 | 1133829.3478
2 | 2646538.2376 | 1133838.4869 | 2646563.3201 | 1133790.6109
3 | 2646518.569 | 1133829.3478 | 2646493.7004 | 1133818.6105
4 | 2646458.2958 | 1133802.8178 | 2646489.8699 | 1133816.9567 | 2646493.7004 | 1133818.6105
5 | 2646554.8291 | 1133898.0604 | 2646555.9756 | 1133898.8541
6 | 2646554.8291 | 1133898.0604 | 2646549.5905 | 1133894.4338 | 2646534.948 | 1133885.7055 | 2646533.5786 | 1133885.5682
7 | 2646458.2958 | 1133802.8178 | 2646429.4173 | 1133787.477 | 2646409.4608 | 1133774.028 | 2646394.1316 | 1133762.4489
8 | 2646458.2958 | 1133802.8178 | 2646456.5609 | 1133818.2236 | 2646458.4133 | 1133827.3241
9 | 2646519.2617 | 1133884.1353 | 2646519.4575 | 1133884.1522 | 2646533.5786 | 1133885.5682
10 | 2646519.2617 | 1133884.1353 | 2646507.7821 | 1133883.1462
11 | 2646507.7821 | 1133883.1462 | 2646507.6083 | 1133883.1313
12 | 2646499.7985 | 1133882.2087 | 2646501.1806 | 1133882.5775 | 2646507.6083 | 1133883.1313
13 | 2646394.1316 | 1133762.4489 | 2646384.168 | 1133767.853 | 2646394.2436 | 1133801.9925
14 | 2646458.5352 | 1133827.923 | 2646458.4133 | 1133827.3241
15 | 2646394.2436 | 1133801.9925 | 2646397.6273 | 1133813.4575 | 2646402.3493 | 1133824.8993
16 | 2646468.5202 | 1133869.9115 | 2646466.3713 | 1133860.7764 | 2646465.0466 | 1133851.8728 | 2646460.774 | 1133838.9221 | 2646458.5352 | 1133827.923
17 | 2646414.7053 | 1133852.096 | 2646411.6603 | 1133847.4605 | 2646402.3493 | 1133824.8993
18 | 2646468.5202 | 1133869.9115 | 2646468.8758 | 1133871.4234 | 2646472.4208 | 1133874.8857 | 2646477.1473 | 1133876.1557
19 | 2646477.1473 | 1133876.1557 | 2646481.0399 | 1133877.2015
20 | 2646499.7985 | 1133882.2087 | 2646482.3453 | 1133877.5523 | 2646481.0399 | 1133877.2015
21 | 2646414.7053 | 1133852.096 | 2646419.3449 | 1133859.1588 | 2646420.5255 | 1133860.0365
22 | 2646420.5255 | 1133860.0365 | 2646429.8917 | 1133866.9994 | 2646438.8994 | 1133872.7827 | 2646441.9579 | 1133877.1627
23 | 2646439.3818 | 1133914.1855 | 2646438.1983 | 1133908.9292 | 2646439.6804 | 1133900.3695 | 2646444.719 | 1133888.7578 | 2646444.4954 | 1133880.7964 | 2646441.9579 | 1133877.1627
24 | 2646439.3818 | 1133914.1855 | 2646425.1582 | 1133900.39
25 | 2646439.3818 | 1133914.1855 | 2646440.0335 | 1133922.2485
26 | 2646439.3818 | 1133914.1855 | 2646451.8913 | 1133920.7046
27 | 2646440.0335 | 1133922.2485 | 2646440.6962 | 1133930.4484 | 2646444.1221 | 1133941.3915 | 2646450.3732 | 1133949.3507
28 | 2646451.8913 | 1133920.7046 | 2646456.6164 | 1133923.1669 | 2646458.7986 | 1133924.4897
29 | 2646450.3732 | 1133949.3507 | 2646450.4642 | 1133949.4666 | 2646460.3494 | 1133957.376
30 | 2646458.7986 | 1133924.4897 | 2646466.2405 | 1133929.0005
31 | 2646494.5582 | 1133935.0074 | 2646469.9169 | 1133931.2289 | 2646466.2405 | 1133929.0005
32 | 2646498.1434 | 1133991.2101 | 2646488.3374 | 1133982.2981
33 | 2646498.1434 | 1133991.2101 | 2646500.9626 | 1133993.9443
34 | 2646498.1434 | 1133991.2101 | 2646486.6703 | 1133992.756 | 2646478.6084 | 1133994.1281 | 2646476.7658 | 1133994.8465
35 | 2646500.9626 | 1133993.9443 | 2646508.1566 | 1133984.328 | 2646511.5506 | 1133978.6368
36 | 2646500.9626 | 1133993.9443 | 2646506.4669 | 1133999.8452 | 2646505.8979 | 1134001.7752 | 2646491.1395 | 1134011.1443 | 2646490.6 | 1134014.2306 | 2646484.5121 | 1134019.153 | 2646479.1892 | 1134025.7043 | 2646477.7288 | 1134035.4426
37 | 2646470.1042 | 1133999.2235 | 2646472.4012 | 1133996.5483 | 2646476.7658 | 1133994.8465
38 | 2646453.3673 | 1134034.3481 | 2646452.6843 | 1134033.9532
39 | 2646477.7288 | 1134035.4426 | 2646468.8026 | 1134055.1286 | 2646466.7354 | 1134054.7013 | 2646466.0322 | 1134053.0507 | 2646466.0671 | 1134048.5152 | 2646466.3186 | 1134041.836 | 2646453.3673 | 1134034.3481
40 | 2646477.7288 | 1134035.4426 | 2646483.6609 | 1134041.7581 | 2646485.9528 | 1134041.428
41 | 2646506.8629 | 1134049.4182 | 2646499.5481 | 1134043.7368 | 2646494.3002 | 1134041.5287 | 2646487.691 | 1134041.1777 | 2646485.9528 | 1134041.428
42 | 2646506.8629 | 1134049.4182 | 2646510.9682 | 1134053.989
43 | 2646506.8629 | 1134049.4182 | 2646516.7084 | 1134040.7824
44 | 2646506.8629 | 1134049.4182 | 2646507.915 | 1134055.7296 | 2646503.9969 | 1134061.9576
45 | 2646511.5506 | 1133978.6368 | 2646516.894 | 1133969.6767
46 | 2646516.7084 | 1134040.7824 | 2646533.5987 | 1134025.9674 | 2646538.5485 | 1134024.0209
47 | 2646497.9335 | 1134071.5957 | 2646503.9969 | 1134061.9576
48 | 2646516.894 | 1133969.6767 | 2646521.8938 | 1133961.293
49 | 2646466.7781 | 1134003.0973 | 2646470.1042 | 1133999.2235
50 | 2646528.6532 | 1134114.6516 | 2646525.715 | 1134112.1943
51 | 2646525.715 | 1134112.1943 | 2646520.2696 | 1134107.6403 | 2646512.5212 | 1134100.6674
52 | 2646512.5212 | 1134100.6674 | 2646504.3086 | 1134093.2768 | 2646492.3813 | 1134081.8458 | 2646495.8293 | 1134075.4276
53 | 2646497.9335 | 1134071.5957 | 2646497.6211 | 1134072.0922 | 2646495.8293 | 1134075.4276
54 | 2646549.6 | 1133966.1486 | 2646549.6 | 1133966.1486 | 2646551.4279 | 1133966.8715
55 | 2646547.1154 | 1133965.6093 | 2646549.6 | 1133966.1486
56 | 2646494.5582 | 1133935.0074 | 2646495.8379 | 1133935.2037
57 | 2646495.8379 | 1133935.2037 | 2646497.241 | 1133935.4188 | 2646506.2931 | 1133938.5807
58 | 2646506.2931 | 1133938.5807 | 2646512.4715 | 1133940.7387
59 | 2646512.4715 | 1133940.7387 | 2646512.4715 | 1133940.7387 | 2646524.4004 | 1133954.7987
60 | 2646525.2028 | 1133955.7444 | 2646524.4004 | 1133954.7987
61 | 2646525.2028 | 1133955.7444 | 2646521.8938 | 1133961.293
62 | 2646525.2028 | 1133955.7444 | 2646532.0258 | 1133962.3336 | 2646540.0121 | 1133964.0673
63 | 2646547.1154 | 1133965.6093 | 2646540.0121 | 1133964.0673

## bus_geodata
| x | y | coords
0 | 2646557.3849 | 1133848.2541
1 | 2646538.2376 | 1133838.4869
2 | 2646518.569 | 1133829.3478
3 | 2646563.3201 | 1133790.6109
4 | 2646493.7004 | 1133818.6105
5 | 2646555.9756 | 1133898.8541
6 | 2646554.8291 | 1133898.0604
7 | 2646458.2958 | 1133802.8178
8 | 2646533.5786 | 1133885.5682
9 | 2646519.2617 | 1133884.1353
10 | 2646507.7821 | 1133883.1462
11 | 2646507.6083 | 1133883.1313
12 | 2646394.1316 | 1133762.4489
13 | 2646458.4133 | 1133827.3241
14 | 2646394.2436 | 1133801.9925
15 | 2646458.5352 | 1133827.923
16 | 2646402.3493 | 1133824.8993
17 | 2646468.5202 | 1133869.9115
18 | 2646477.1473 | 1133876.1557
19 | 2646481.0399 | 1133877.2015
20 | 2646499.7985 | 1133882.2087
21 | 2646414.7053 | 1133852.096
22 | 2646420.5255 | 1133860.0365
23 | 2646441.9579 | 1133877.1627
24 | 2646439.3818 | 1133914.1855
25 | 2646425.1582 | 1133900.39
26 | 2646440.0335 | 1133922.2485
27 | 2646451.8913 | 1133920.7046
28 | 2646450.3732 | 1133949.3507
29 | 2646458.7986 | 1133924.4897
30 | 2646460.3494 | 1133957.376
31 | 2646466.2405 | 1133929.0005
32 | 2646488.3374 | 1133982.2981
33 | 2646498.1434 | 1133991.2101
34 | 2646500.9626 | 1133993.9443
35 | 2646476.7658 | 1133994.8465
36 | 2646453.3673 | 1134034.3481
37 | 2646452.6843 | 1134033.9532
38 | 2646477.7288 | 1134035.4426
39 | 2646485.9528 | 1134041.428
40 | 2646506.8629 | 1134049.4182
41 | 2646511.5506 | 1133978.6368
42 | 2646510.9682 | 1134053.989
43 | 2646516.7084 | 1134040.7824
44 | 2646503.9969 | 1134061.9576
45 | 2646516.8941 | 1133969.6767
46 | 2646470.1042 | 1133999.2235
47 | 2646466.7781 | 1134003.0973
48 | 2646528.6532 | 1134114.6516
49 | 2646525.715 | 1134112.1943
50 | 2646512.5212 | 1134100.6674
51 | 2646495.8293 | 1134075.4276
52 | 2646497.9335 | 1134071.5957
53 | 2646538.5485 | 1134024.0209
54 | 2646551.4279 | 1133966.8715
55 | 2646549.6 | 1133966.1486
56 | 2646494.5582 | 1133935.0074
57 | 2646495.8379 | 1133935.2037
58 | 2646506.2931 | 1133938.5807
59 | 2646512.4715 | 1133940.7387
60 | 2646524.4004 | 1133954.7987
61 | 2646521.8938 | 1133961.293
62 | 2646525.2028 | 1133955.7444
63 | 2646540.0121 | 1133964.0673
64 | 2646547.1154 | 1133965.6093
65 | 2646525.2028 | 1133955.7444

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1