## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6215-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6215-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6215-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6215-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_6215-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_6215-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_6215-8_0_3_node_54 | 0.4 | n |  | TRUE
7 | bus_LV_6215-8_0_3_node_58 | 0.4 | n |  | TRUE
8 | bus_LV_6215-8_0_3_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_6215-8_0_3_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_6215-8_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_6215-8_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_6215-8_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_6215-8_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_6215-8_0_3_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_6215-8_0_3_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_6215-8_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_6215-8_0_3_node_61 | 0.4 | n |  | TRUE
18 | bus_LV_6215-8_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_6215-8_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_6215-8_0_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_6215-8_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_6215-8_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_6215-8_0_3_node_6 | 0.4 | n |  | TRUE
24 | bus_LV_6215-8_0_3_node_7 | 0.4 | n |  | TRUE
25 | bus_LV_6215-8_0_3_node_8 | 0.4 | n |  | TRUE
26 | bus_LV_6215-8_0_3_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_6215-8_0_3_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_6215-8_0_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_6215-8_0_3_node_10 | 0.4 | n |  | TRUE
30 | bus_LV_6215-8_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_6215-8_0_3_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_6215-8_0_3_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_6215-8_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_6215-8_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_6215-8_0_3_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_6215-8_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_6215-8_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_6215-8_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_6215-8_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_6215-8_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_6215-8_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_6215-8_0_3_node_12 | 0.4 | n |  | TRUE
43 | bus_LV_6215-8_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_6215-8_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_6215-8_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_6215-8_0_3_node_63 | 0.4 | n |  | TRUE
47 | bus_LV_6215-8_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_6215-8_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_6215-8_0_3_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_6215-8_0_3_node_24 | 0.4 | n |  | TRUE
51 | bus_LV_6215-8_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_6215-8_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_6215-8_0_3_node_64 | 0.4 | n |  | TRUE
54 | bus_LV_6215-8_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_6215-8_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_6215-8_0_3_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_6215-8_0_3_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_6215-8_0_3_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_6215-8_0_3_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_6215-8_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_6215-8_0_3_node_56 | 0.4 | n |  | TRUE
62 | bus_LV_6215-8_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_6215-8_0_3_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_6215-8_0_3_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_6215-8_0_3_node_60 | 0.4 | n |  | TRUE
66 | bus_LV_6215-8_0_3_node_50 | 0.4 | n |  | TRUE
67 | bus_LV_6215-8_0_3_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_6215-8_0_3_node_49 | 0.4 | n |  | TRUE
69 | bus_MV_110_0_node_286 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6215-8_0_3_load_0 | 0 | 0.0078242 | 0.0019609 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6215-8_0_3_load_1 | 1 | 0.0050977 | 0.0012776 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6215-8_0_3_load_4 | 4 | 0.00628 | 0.0015739 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6215-8_0_3_load_58 | 7 | 0.0067335 | 0.0016876 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6215-8_0_3_load_53 | 8 | 0.0091476 | 0.0022926 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6215-8_0_3_load_52 | 9 | 0.0075037 | 0.0018806 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6215-8_0_3_load_29 | 12 | 0.0020074 | 0.0005031 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6215-8_0_3_load_61 | 17 | 0.027468 | 0.0068842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6215-8_0_3_load_36 | 18 | 0.0072843 | 0.0018256 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6215-8_0_3_load_40 | 21 | 0.016441 | 0.0041206 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6215-8_0_3_load_57 | 22 | 0.0078937 | 0.0019783 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6215-8_0_3_load_6 | 23 | 0.0099726 | 0.0024994 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6215-8_0_3_load_11 | 27 | 0.0043235 | 0.0010836 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6215-8_0_3_load_68 | 28 | 0.0062183 | 0.0015585 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6215-8_0_3_load_65 | 31 | 0.0094721 | 0.0023739 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6215-8_0_3_load_33 | 34 | 0.0060973 | 0.0015281 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6215-8_0_3_load_66 | 35 | 0.011231 | 0.0028148 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6215-8_0_3_load_23 | 36 | 0.003308 | 0.00082907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6215-8_0_3_load_22 | 37 | 0.0072712 | 0.0018223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6215-8_0_3_load_32 | 38 | 0.0081678 | 0.0020471 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6215-8_0_3_load_28 | 41 | 0.0069723 | 0.0017474 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6215-8_0_3_load_12 | 42 | 0.0026263 | 0.00065822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6215-8_0_3_load_34 | 43 | 0.012198 | 0.0030572 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6215-8_0_3_load_67 | 44 | 0.0086217 | 0.0021608 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6215-8_0_3_load_30 | 45 | 0.0046831 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6215-8_0_3_load_63 | 46 | 0.0055921 | 0.0014015 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6215-8_0_3_load_35 | 47 | 0.010071 | 0.0025241 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6215-8_0_3_load_24 | 50 | 0.01369 | 0.0034311 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6215-8_0_3_load_26 | 51 | 0.0063431 | 0.0015897 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6215-8_0_3_load_64 | 53 | 0.0039608 | 0.00099267 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6215-8_0_3_load_51 | 54 | 0.0083616 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6215-8_0_3_load_46 | 55 | 0.0092881 | 0.0023278 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6215-8_0_3_load_38 | 57 | 0.0093151 | 0.0023346 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6215-8_0_3_load_39 | 58 | 0.010824 | 0.0027127 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6215-8_0_3_load_43 | 60 | 0.011461 | 0.0028724 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6215-8_0_3_load_56 | 61 | 0.011775 | 0.0029512 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6215-8_0_3_load_44 | 63 | 0.012478 | 0.0031274 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6215-8_0_3_load_55 | 64 | 0.014461 | 0.0036243 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6215-8_0_3_load_60 | 65 | 0.011081 | 0.0027771 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6215-8_0_3_load_50 | 66 | 0.0080802 | 0.0020251 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6215-8_0_3_load_49 | 68 | 0.0064096 | 0.0016064 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6215-8_0_3_line_0 |  | 0 | 1 | 0.022746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6215-8_0_3_line_1 |  | 0 | 2 | 0.0028831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6215-8_0_3_line_2 |  | 1 | 3 | 0.02496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6215-8_0_3_line_3 |  | 2 | 4 | 0.026134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6215-8_0_3_line_4 |  | 2 | 5 | 0.066885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6215-8_0_3_line_5 |  | 3 | 6 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6215-8_0_3_line_6 |  | 5 | 7 | 0.065617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6215-8_0_3_line_7 |  | 6 | 9 | 0.0081537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6215-8_0_3_line_8 |  | 7 | 22 | 0.0022367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6215-8_0_3_line_9 |  | 8 | 9 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6215-8_0_3_line_10 |  | 10 | 11 | 0.049531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6215-8_0_3_line_11 |  | 10 | 12 | 0.022253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6215-8_0_3_line_12 |  | 11 | 44 | 0.019447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6215-8_0_3_line_13 |  | 11 | 32 | 0.085028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6215-8_0_3_line_14 |  | 12 | 45 | 0.030471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6215-8_0_3_line_15 |  | 13 | 14 | 0.045277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6215-8_0_3_line_16 |  | 13 | 15 | 0.24712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_6215-8_0_3_line_17 |  | 13 | 16 | 0.039481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_6215-8_0_3_line_18 |  | 13 | 17 | 0.025508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6215-8_0_3_line_19 |  | 14 | 46 | 0.024917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_6215-8_0_3_line_20 |  | 15 | 18 | 0.012571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6215-8_0_3_line_21 |  | 15 | 19 | 0.04564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_6215-8_0_3_line_22 |  | 16 | 20 | 0.02122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_6215-8_0_3_line_23 |  | 16 | 21 | 0.021571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6215-8_0_3_line_24 |  | 18 | 47 | 0.0041305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6215-8_0_3_line_25 |  | 19 | 38 | 0.028693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6215-8_0_3_line_26 |  | 19 | 30 | 0.030067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6215-8_0_3_line_27 |  | 20 | 48 | 0.005014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_6215-8_0_3_line_28 |  | 22 | 64 | 0.02652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_6215-8_0_3_line_29 |  | 23 | 24 | 0.014663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6215-8_0_3_line_30 |  | 24 | 25 | 0.004545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6215-8_0_3_line_31 |  | 24 | 26 | 0.06883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6215-8_0_3_line_32 |  | 25 | 27 | 0.01877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_6215-8_0_3_line_33 |  | 26 | 28 | 0.013406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6215-8_0_3_line_34 |  | 26 | 29 | 0.069849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6215-8_0_3_line_35 |  | 27 | 42 | 0.0024686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6215-8_0_3_line_36 |  | 29 | 30 | 0.032887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6215-8_0_3_line_37 |  | 29 | 31 | 0.05734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6215-8_0_3_line_38 |  | 30 | 32 | 0.096456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_6215-8_0_3_line_39 |  | 30 | 33 | 0.19799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_6215-8_0_3_line_40 |  | 30 | 34 | 0.02169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6215-8_0_3_line_41 |  | 32 | 35 | 0.011743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_6215-8_0_3_line_42 |  | 33 | 36 | 0.0427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6215-8_0_3_line_43 |  | 33 | 37 | 0.027385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6215-8_0_3_line_44 |  | 34 | 43 | 0.042114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_6215-8_0_3_line_45 |  | 39 | 40 | 0.025357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6215-8_0_3_line_46 |  | 39 | 41 | 0.081328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6215-8_0_3_line_47 |  | 40 | 49 | 0.03523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6215-8_0_3_line_48 |  | 40 | 50 | 0.032461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6215-8_0_3_line_49 |  | 47 | 56 | 0.011584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6215-8_0_3_line_50 |  | 48 | 59 | 0.020604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_6215-8_0_3_line_51 |  | 48 | 60 | 0.019666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_6215-8_0_3_line_52 |  | 49 | 52 | 0.031512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6215-8_0_3_line_53 |  | 49 | 53 | 0.019022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6215-8_0_3_line_54 |  | 50 | 51 | 0.020912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_6215-8_0_3_line_55 |  | 52 | 54 | 0.033749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6215-8_0_3_line_56 |  | 52 | 55 | 0.011685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6215-8_0_3_line_57 |  | 55 | 67 | 0.011447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_6215-8_0_3_line_58 |  | 56 | 57 | 0.010301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_6215-8_0_3_line_59 |  | 56 | 58 | 0.008075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6215-8_0_3_line_60 |  | 59 | 61 | 0.048708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_6215-8_0_3_line_61 |  | 59 | 62 | 0.019694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_6215-8_0_3_line_62 |  | 60 | 63 | 0.01527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_6215-8_0_3_line_63 |  | 61 | 64 | 0.030091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_6215-8_0_3_line_64 |  | 62 | 65 | 0.022427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6215-8_0_3_line_65 |  | 62 | 66 | 0.0038856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_6215-8_0_3_line_66 |  | 66 | 67 | 0.0074123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_6215-8_0_3_line_67 |  | 67 | 68 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6215-8_0_3_trafo_60 | 0.63 MVA 20/0.4 kV | 69 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2565062.2435 | 1121446.6312 | 2565063.4567 | 1121449.8966 | 2565067.9438 | 1121464.2334 | 2565069.1008 | 1121468.313
1 | 2565061.2393 | 1121443.9286 | 2565062.2435 | 1121446.6312
2 | 2565066.7727 | 1121492.4322 | 2565067.6821 | 1121488.3027 | 2565069.7878 | 1121482.9767 | 2565070.9601 | 1121477.645 | 2565070.3926 | 1121472.8681 | 2565069.1008 | 1121468.313
3 | 2565061.2393 | 1121443.9286 | 2565041.4436 | 1121449.8907 | 2565039.5471 | 1121444.7102
4 | 2565081.9438 | 1121404.4 | 2565049.5955 | 1121412.469 | 2565056.4128 | 1121430.9167 | 2565061.2393 | 1121443.9286
5 | 2565066.7727 | 1121492.4322 | 2565067.6111 | 1121498.6861 | 2565070.3382 | 1121508.7754 | 2565071.0682 | 1121510.9723
6 | 2565081.9438 | 1121404.4 | 2565084.2821 | 1121412.6128 | 2565090.2314 | 1121433.0443 | 2565094.6519 | 1121443.8687 | 2565098.5356 | 1121456.5526 | 2565102.0517 | 1121466.8069
7 | 2565071.0682 | 1121510.9723 | 2565063.411 | 1121513.774
8 | 2565102.7772 | 1121468.9227 | 2565102.0517 | 1121466.8069
9 | 2565063.411 | 1121513.774 | 2565059.8311 | 1121515.0838 | 2565058.3649 | 1121514.9589 | 2565055.1742 | 1121504.3975
10 | 2565227.1749 | 1121814.1353 | 2565224.3107 | 1121835.0513 | 2565221.5506 | 1121863.3259
11 | 2565221.5506 | 1121863.3259 | 2565213.35 | 1121860.2605 | 2565201.0892 | 1121854.6139
12 | 2565227.1749 | 1121814.1353 | 2565209.4661 | 1121805.9888
13 | 2565236.1359 | 1121729.6188 | 2565232.6219 | 1121758.2424 | 2565230.5562 | 1121785.2457 | 2565227.7227 | 1121810.1524 | 2565227.1749 | 1121814.1353
14 | 2565180.2209 | 1121835.5501 | 2565182.45 | 1121843.5969 | 2565183.658 | 1121845.7688 | 2565185.7197 | 1121847.5356 | 2565201.0892 | 1121854.6139
15 | 2565179.3135 | 1121468.47 | 2565204.9357 | 1121505.8411
16 | 2565204.9357 | 1121505.8411 | 2565207.2459 | 1121509.2184 | 2565208.395 | 1121511.8687 | 2565216.7586 | 1121506.9958 | 2565250.0645 | 1121492.4856 | 2565284.8016 | 1121477.3559 | 2565296.4658 | 1121471.0189 | 2565302.963 | 1121467.4909 | 2565310.3186 | 1121467.0262 | 2565313.9475 | 1121471.7077 | 2565306.2024 | 1121483.5693 | 2565304.8139 | 1121486.2342 | 2565280.7151 | 1121532.5517 | 2565274.4099 | 1121543.9715 | 2565266.2576 | 1121558.7592 | 2565260.5286 | 1121571.0984 | 2565257.1312 | 1121579.8223
17 | 2565180.9594 | 1121529.1356 | 2565185.4721 | 1121525.2298 | 2565208.395 | 1121511.8687 | 2565207.2459 | 1121509.2184 | 2565204.9357 | 1121505.8411
18 | 2565204.9357 | 1121505.8411 | 2565183.7218 | 1121520.0062
19 | 2565179.3135 | 1121468.47 | 2565158.8965 | 1121482.7538
20 | 2565257.1312 | 1121579.8223 | 2565246.5277 | 1121573.0704
21 | 2565257.1312 | 1121579.8223 | 2565254.1902 | 1121590.1334 | 2565243.8543 | 1121623.4875
22 | 2565180.9594 | 1121529.1356 | 2565166.8909 | 1121541.145 | 2565164.7956 | 1121542.9358
23 | 2565180.9594 | 1121529.1356 | 2565192.3003 | 1121538.9974 | 2565195.7646 | 1121544.5469
24 | 2565243.0437 | 1121570.8518 | 2565246.5277 | 1121573.0704
25 | 2565243.8543 | 1121623.4875 | 2565219.2433 | 1121608.7376
26 | 2565233.635 | 1121651.6383 | 2565236.9637 | 1121645.7273 | 2565243.8543 | 1121623.4875
27 | 2565164.7956 | 1121542.9358 | 2565160.8102 | 1121545.9937
28 | 2565110.9376 | 1121494.1518 | 2565107.236 | 1121481.9263 | 2565102.7772 | 1121468.9227
29 | 2565163.8915 | 1121733.6929 | 2565152.7854 | 1121724.1186
30 | 2565160.8646 | 1121737.0899 | 2565163.8915 | 1121733.6929
31 | 2565163.1517 | 1121687.0403 | 2565183.2609 | 1121703.4326 | 2565188.5209 | 1121706.0924 | 2565163.8915 | 1121733.6929
32 | 2565160.8646 | 1121737.0899 | 2565146.5148 | 1121724.9902
33 | 2565163.1517 | 1121687.0403 | 2565165.0864 | 1121682.8159 | 2565164.6271 | 1121674.0697
34 | 2565163.1517 | 1121687.0403 | 2565183.2609 | 1121703.4326 | 2565188.5209 | 1121706.0924 | 2565212.8668 | 1121678.7939 | 2565213.817 | 1121677.7212
35 | 2565144.6275 | 1121723.3989 | 2565146.5148 | 1121724.9902
36 | 2565233.635 | 1121651.6383 | 2565228.1075 | 1121661.4529 | 2565213.817 | 1121677.7212
37 | 2565213.817 | 1121677.7212 | 2565170.2633 | 1121640.4256
38 | 2565236.1359 | 1121729.6188 | 2565242.0042 | 1121686.5967 | 2565245.1738 | 1121670.4592 | 2565245.9532 | 1121659.816 | 2565246.1525 | 1121651.5773 | 2565239.5493 | 1121647.3688 | 2565236.9637 | 1121645.7273 | 2565233.635 | 1121651.6383
39 | 2565157.7004 | 1121780.8191 | 2565141.5221 | 1121773.2865 | 2565161.6895 | 1121751.7147 | 2565234.3815 | 1121671.4329 | 2565245.9532 | 1121659.816 | 2565246.1525 | 1121651.5773 | 2565239.5493 | 1121647.3688 | 2565236.9637 | 1121645.7273 | 2565233.635 | 1121651.6383
40 | 2565233.635 | 1121651.6383 | 2565229.2057 | 1121649.9185 | 2565216.1346 | 1121640.9115 | 2565215.2831 | 1121640.2731
41 | 2565236.1359 | 1121729.6188 | 2565224.7501 | 1121726.6162
42 | 2565157.7004 | 1121780.8191 | 2565155.8278 | 1121786.4327 | 2565149.1293 | 1121799.1 | 2565145.5272 | 1121807.0471 | 2565142.9939 | 1121814.4432 | 2565141.5678 | 1121820.1778
43 | 2565157.7004 | 1121780.8191 | 2565182.6845 | 1121792.0326
44 | 2565215.2831 | 1121640.2731 | 2565200.3476 | 1121629.0743 | 2565181.5969 | 1121614.9988
45 | 2565049.8873 | 1121670.5755 | 2565055.0887 | 1121664.4423 | 2565063.0863 | 1121655.0135 | 2565066.2884 | 1121651.2375
46 | 2565049.8873 | 1121670.5755 | 2565106.1226 | 1121718.8524 | 2565111.6573 | 1121723.4782
47 | 2565066.2884 | 1121651.2375 | 2565066.8629 | 1121650.5671 | 2565082.6751 | 1121632.0663 | 2565089.1792 | 1121624.4582
48 | 2565066.2884 | 1121651.2375 | 2565089.3545 | 1121670.7472 | 2565091.1055 | 1121672.1606
49 | 2565233.2725 | 1121564.6298 | 2565243.0437 | 1121570.8518
50 | 2565160.8102 | 1121545.9937 | 2565157.5314 | 1121548.5139 | 2565148.7207 | 1121558.7588 | 2565146.6971 | 1121560.9493
51 | 2565160.8102 | 1121545.9937 | 2565169.0603 | 1121552.1936 | 2565176.4758 | 1121557.8827
52 | 2565109.9204 | 1121600.693 | 2565104.3557 | 1121606.7059 | 2565089.1792 | 1121624.4582
53 | 2565089.1792 | 1121624.4582 | 2565104.0675 | 1121636.2971
54 | 2565107.3785 | 1121685.2948 | 2565091.1055 | 1121672.1606
55 | 2565109.9204 | 1121600.693 | 2565082.9203 | 1121580.4447
56 | 2565109.9204 | 1121600.693 | 2565117.8579 | 1121592.117
57 | 2565125.6337 | 1121583.7158 | 2565117.8579 | 1121592.117
58 | 2565233.2725 | 1121564.6298 | 2565227.6456 | 1121573.2666
59 | 2565226.4447 | 1121560.2891 | 2565233.2725 | 1121564.6298
60 | 2565146.6971 | 1121560.9493 | 2565139.235 | 1121556.3012 | 2565132.5177 | 1121551.0707 | 2565129.3068 | 1121547.9877 | 2565127.2681 | 1121544.8979 | 2565125.8547 | 1121541.8823 | 2565124.0344 | 1121536.5457 | 2565121.1805 | 1121527.1908 | 2565119.8351 | 1121522.8965
61 | 2565146.6971 | 1121560.9493 | 2565133.3063 | 1121575.4229
62 | 2565188.591 | 1121567.1774 | 2565176.4758 | 1121557.8827
63 | 2565110.9376 | 1121494.1518 | 2565114.0534 | 1121504.4427 | 2565119.8351 | 1121522.8965
64 | 2565133.3063 | 1121575.4229 | 2565138.8353 | 1121581.9053 | 2565143.8008 | 1121585.6341 | 2565147.8931 | 1121587.7449 | 2565151.0072 | 1121587.4045
65 | 2565133.3063 | 1121575.4229 | 2565130.6675 | 1121578.275
66 | 2565125.6337 | 1121583.7158 | 2565130.6675 | 1121578.275
67 | 2565125.6337 | 1121583.7158 | 2565135.0271 | 1121591.5766

## bus_geodata
| x | y | coords
0 | 2565062.2435 | 1121446.6312
1 | 2565069.1008 | 1121468.313
2 | 2565061.2393 | 1121443.9286
3 | 2565066.7727 | 1121492.4322
4 | 2565039.547 | 1121444.7102
5 | 2565081.9438 | 1121404.4
6 | 2565071.0682 | 1121510.9723
7 | 2565102.0517 | 1121466.8069
8 | 2565055.1742 | 1121504.3975
9 | 2565063.411 | 1121513.774
10 | 2565221.5506 | 1121863.3259
11 | 2565227.1749 | 1121814.1353
12 | 2565201.0892 | 1121854.6139
13 | 2565204.9357 | 1121505.8411
14 | 2565179.3135 | 1121468.47
15 | 2565257.1312 | 1121579.8223
16 | 2565180.9594 | 1121529.1356
17 | 2565183.7218 | 1121520.0062
18 | 2565246.5277 | 1121573.0704
19 | 2565243.8543 | 1121623.4875
20 | 2565164.7956 | 1121542.9358
21 | 2565195.7646 | 1121544.5469
22 | 2565102.7772 | 1121468.9227
23 | 2565152.7854 | 1121724.1186
24 | 2565163.8915 | 1121733.6929
25 | 2565160.8646 | 1121737.0899
26 | 2565163.1517 | 1121687.0403
27 | 2565146.5148 | 1121724.9902
28 | 2565164.6271 | 1121674.0697
29 | 2565213.817 | 1121677.7212
30 | 2565233.635 | 1121651.6383
31 | 2565170.2633 | 1121640.4256
32 | 2565236.1359 | 1121729.6188
33 | 2565157.7004 | 1121780.8191
34 | 2565215.2831 | 1121640.2731
35 | 2565224.7501 | 1121726.6162
36 | 2565141.5678 | 1121820.1778
37 | 2565182.6845 | 1121792.0326
38 | 2565219.2433 | 1121608.7376
39 | 2565049.8873 | 1121670.5755
40 | 2565066.2884 | 1121651.2375
41 | 2565111.6573 | 1121723.4782
42 | 2565144.6275 | 1121723.3989
43 | 2565181.5969 | 1121614.9988
44 | 2565209.4661 | 1121805.9888
45 | 2565180.2209 | 1121835.5501
46 | 2565158.8965 | 1121482.7538
47 | 2565243.0437 | 1121570.8518
48 | 2565160.8102 | 1121545.9937
49 | 2565089.1792 | 1121624.4582
50 | 2565091.1055 | 1121672.1606
51 | 2565107.3785 | 1121685.2948
52 | 2565109.9204 | 1121600.693
53 | 2565104.0675 | 1121636.2971
54 | 2565082.9203 | 1121580.4447
55 | 2565117.8579 | 1121592.117
56 | 2565233.2725 | 1121564.6298
57 | 2565227.6456 | 1121573.2666
58 | 2565226.4447 | 1121560.2891
59 | 2565146.6971 | 1121560.9493
60 | 2565176.4758 | 1121557.8827
61 | 2565119.8351 | 1121522.8965
62 | 2565133.3063 | 1121575.4229
63 | 2565188.591 | 1121567.1774
64 | 2565110.9376 | 1121494.1518
65 | 2565151.0072 | 1121587.4045
66 | 2565130.6675 | 1121578.275
67 | 2565125.6337 | 1121583.7158
68 | 2565135.0271 | 1121591.5766
69 | 2565133.3063 | 1121575.4229

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1