## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_6219-3_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_6219-3_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_6219-3_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_6219-3_0_6_node_50 | 0.4 | n |  | TRUE
4 | bus_LV_6219-3_0_6_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_6219-3_0_6_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_6219-3_0_6_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_6219-3_0_6_node_18 | 0.4 | n |  | TRUE
8 | bus_LV_6219-3_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_6219-3_0_6_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_6219-3_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_6219-3_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_6219-3_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_6219-3_0_6_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_6219-3_0_6_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_6219-3_0_6_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_6219-3_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_6219-3_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_6219-3_0_6_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_6219-3_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_6219-3_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_6219-3_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_6219-3_0_6_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_6219-3_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_6219-3_0_6_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_6219-3_0_6_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_6219-3_0_6_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_6219-3_0_6_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_6219-3_0_6_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_6219-3_0_6_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_6219-3_0_6_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_6219-3_0_6_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_6219-3_0_6_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_6219-3_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_6219-3_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_6219-3_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_6219-3_0_6_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_6219-3_0_6_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_6219-3_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_6219-3_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_6219-3_0_6_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_6219-3_0_6_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_6219-3_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_6219-3_0_6_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_6219-3_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_6219-3_0_6_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_6219-3_0_6_node_69 | 0.4 | n |  | TRUE
47 | bus_LV_6219-3_0_6_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_6219-3_0_6_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_6219-3_0_6_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_6219-3_0_6_node_74 | 0.4 | n |  | TRUE
51 | bus_LV_6219-3_0_6_node_83 | 0.4 | n |  | TRUE
52 | bus_LV_6219-3_0_6_node_82 | 0.4 | n |  | TRUE
53 | bus_LV_6219-3_0_6_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_6219-3_0_6_node_56 | 0.4 | n |  | TRUE
55 | bus_LV_6219-3_0_6_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_6219-3_0_6_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_6219-3_0_6_node_75 | 0.4 | n |  | TRUE
58 | bus_LV_6219-3_0_6_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_6219-3_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_6219-3_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_6219-3_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_6219-3_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_6219-3_0_6_node_45 | 0.4 | n |  | TRUE
64 | bus_LV_6219-3_0_6_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_6219-3_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_6219-3_0_6_node_51 | 0.4 | n |  | TRUE
67 | bus_LV_6219-3_0_6_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_6219-3_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_6219-3_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_6219-3_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_6219-3_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_6219-3_0_6_node_76 | 0.4 | n |  | TRUE
73 | bus_LV_6219-3_0_6_node_66 | 0.4 | n |  | TRUE
74 | bus_LV_6219-3_0_6_node_77 | 0.4 | n |  | TRUE
75 | bus_LV_6219-3_0_6_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_6219-3_0_6_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_6219-3_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_6219-3_0_6_node_67 | 0.4 | n |  | TRUE
79 | bus_LV_6219-3_0_6_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_6219-3_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_6219-3_0_6_node_80 | 0.4 | n |  | TRUE
82 | bus_MV_112_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_6219-3_0_6_load_0 | 0 | 0.00038078 | 9.5432e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_6219-3_0_6_load_1 | 1 | 0.00059675 | 0.00014956 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_6219-3_0_6_load_50 | 3 | 0.00042889 | 0.00010749 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_6219-3_0_6_load_49 | 4 | 0.00028296 | 7.0916e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_6219-3_0_6_load_8 | 6 | 0.0033638 | 0.00084304 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_6219-3_0_6_load_18 | 7 | 0.0027533 | 0.00069005 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_6219-3_0_6_load_6 | 8 | 0.0034249 | 0.00085837 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_6219-3_0_6_load_17 | 9 | 0.0034245 | 0.00085825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_6219-3_0_6_load_5 | 10 | 0.0045556 | 0.0011417 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_6219-3_0_6_load_7 | 11 | 0.0040072 | 0.0010043 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_6219-3_0_6_load_9 | 12 | 0.018209 | 0.0045637 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_6219-3_0_6_load_23 | 13 | 0.0010501 | 0.00026317 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_6219-3_0_6_load_10 | 15 | 0.012727 | 0.0031896 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_6219-3_0_6_load_24 | 21 | 0.0074321 | 0.0018627 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_6219-3_0_6_load_25 | 22 | 0.00030224 | 7.5749e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_6219-3_0_6_load_21 | 23 | 0.021646 | 0.0054249 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_6219-3_0_6_load_39 | 24 | 0.0024692 | 0.00061883 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_6219-3_0_6_load_38 | 25 | 0.0035009 | 0.00087741 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_6219-3_0_6_load_36 | 26 | 0.0060525 | 0.0015169 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_6219-3_0_6_load_42 | 28 | 0.0030306 | 0.00075954 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_6219-3_0_6_load_27 | 29 | 0.0048809 | 0.0012233 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_6219-3_0_6_load_35 | 30 | 0.0063258 | 0.0015854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_6219-3_0_6_load_84 | 31 | 0.0072045 | 0.0018056 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_6219-3_0_6_load_19 | 32 | 0.018568 | 0.0046536 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_6219-3_0_6_load_20 | 33 | 0.0073862 | 0.0018512 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_6219-3_0_6_load_30 | 34 | 0.01051 | 0.0026341 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_6219-3_0_6_load_28 | 35 | 0.0024565 | 0.00061565 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_6219-3_0_6_load_34 | 38 | 0.0013279 | 0.0003328 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_6219-3_0_6_load_33 | 39 | 0.0010757 | 0.00026959 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_6219-3_0_6_load_41 | 40 | 0.0043659 | 0.0010942 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_6219-3_0_6_load_47 | 41 | 0.0042722 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_6219-3_0_6_load_32 | 42 | 0.00079926 | 0.00020031 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_6219-3_0_6_load_29 | 43 | 0.00050886 | 0.00012753 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_6219-3_0_6_load_68 | 45 | 0.018439 | 0.0046213 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_6219-3_0_6_load_69 | 46 | 0.024568 | 0.0061573 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_6219-3_0_6_load_71 | 48 | 0.016024 | 0.0040159 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_6219-3_0_6_load_83 | 51 | 0.057465 | 0.014402 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_6219-3_0_6_load_82 | 52 | 0.056248 | 0.014097 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_6219-3_0_6_load_56 | 54 | 0.0053792 | 0.0013482 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_6219-3_0_6_load_57 | 55 | 0.027581 | 0.0069124 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_6219-3_0_6_load_54 | 56 | 0.0043637 | 0.0010937 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_6219-3_0_6_load_75 | 57 | 0.010409 | 0.0026088 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_6219-3_0_6_load_81 | 58 | 0.015285 | 0.0038309 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_6219-3_0_6_load_48 | 59 | 0.0067503 | 0.0016918 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_6219-3_0_6_load_37 | 60 | 0.016851 | 0.0042232 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_6219-3_0_6_load_43 | 61 | 0.0061125 | 0.0015319 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_6219-3_0_6_load_44 | 62 | 0.018678 | 0.0046812 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_6219-3_0_6_load_45 | 63 | 0.0044472 | 0.0011146 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_6219-3_0_6_load_53 | 64 | 0.025684 | 0.0064369 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_6219-3_0_6_load_46 | 65 | 0.0045248 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_6219-3_0_6_load_51 | 66 | 0.015042 | 0.0037698 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_6219-3_0_6_load_52 | 67 | 0.0020101 | 0.00050377 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_6219-3_0_6_load_58 | 68 | 0.0025525 | 0.00063972 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_6219-3_0_6_load_60 | 70 | 0.0040974 | 0.0010269 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_6219-3_0_6_load_76 | 72 | 0.015281 | 0.0038297 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_6219-3_0_6_load_77 | 74 | 0.011574 | 0.0029008 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_6219-3_0_6_load_62 | 75 | 0.016773 | 0.0042036 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_6219-3_0_6_load_63 | 76 | 0.0070766 | 0.0017736 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_6219-3_0_6_load_65 | 77 | 0.01289 | 0.0032305 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_6219-3_0_6_load_67 | 78 | 0.0085345 | 0.002139 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_6219-3_0_6_load_78 | 80 | 0.015375 | 0.0038533 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_6219-3_0_6_load_80 | 81 | 0.0061682 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 66 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_6219-3_0_6_line_0 |  | 0 | 1 | 0.0094018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_6219-3_0_6_line_1 |  | 1 | 2 | 0.0275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_6219-3_0_6_line_2 |  | 2 | 3 | 0.027559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_6219-3_0_6_line_3 |  | 3 | 4 | 0.010569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_6219-3_0_6_line_4 |  | 4 | 22 | 0.00045427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_6219-3_0_6_line_5 |  | 5 | 6 | 0.048256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_6219-3_0_6_line_6 |  | 5 | 7 | 0.028821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_6219-3_0_6_line_7 |  | 6 | 8 | 0.019014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_6219-3_0_6_line_8 |  | 7 | 9 | 0.024908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_6219-3_0_6_line_9 |  | 8 | 10 | 0.020146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_6219-3_0_6_line_10 |  | 10 | 11 | 0.0058512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_6219-3_0_6_line_11 |  | 11 | 12 | 0.025312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_6219-3_0_6_line_12 |  | 12 | 13 | 0.058911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_6219-3_0_6_line_13 |  | 13 | 14 | 0.042822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_6219-3_0_6_line_14 |  | 14 | 21 | 0.018452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_6219-3_0_6_line_15 |  | 14 | 22 | 0.076104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_6219-3_0_6_line_16 |  | 14 | 23 | 0.01252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_6219-3_0_6_line_17 |  | 14 | 16 | 0.032222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_6219-3_0_6_line_18 |  | 15 | 16 | 0.032804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_6219-3_0_6_line_19 |  | 16 | 17 | 0.030547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_6219-3_0_6_line_20 |  | 17 | 24 | 0.004968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_6219-3_0_6_line_21 |  | 17 | 25 | 0.036485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_6219-3_0_6_line_22 |  | 18 | 19 | 0.01209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_6219-3_0_6_line_23 |  | 18 | 20 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_6219-3_0_6_line_24 |  | 19 | 26 | 0.055238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_6219-3_0_6_line_25 |  | 20 | 27 | 0.033558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_6219-3_0_6_line_26 |  | 20 | 24 | 0.014813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_6219-3_0_6_line_27 |  | 21 | 28 | 0.01483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_6219-3_0_6_line_28 |  | 25 | 29 | 0.01848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_6219-3_0_6_line_29 |  | 26 | 30 | 0.0040077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_6219-3_0_6_line_30 |  | 27 | 31 | 0.034886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_6219-3_0_6_line_31 |  | 28 | 40 | 0.006625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_6219-3_0_6_line_32 |  | 29 | 36 | 0.03181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_6219-3_0_6_line_33 |  | 30 | 60 | 0.0047677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_6219-3_0_6_line_34 |  | 32 | 33 | 0.0028277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_6219-3_0_6_line_35 |  | 33 | 34 | 0.025958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_6219-3_0_6_line_36 |  | 34 | 35 | 0.049136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_6219-3_0_6_line_37 |  | 35 | 43 | 0.040074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_6219-3_0_6_line_38 |  | 36 | 37 | 0.018828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_6219-3_0_6_line_39 |  | 37 | 38 | 0.021168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_6219-3_0_6_line_40 |  | 37 | 39 | 0.011953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_6219-3_0_6_line_41 |  | 38 | 41 | 0.0020799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_6219-3_0_6_line_42 |  | 39 | 42 | 0.018905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_6219-3_0_6_line_43 |  | 40 | 61 | 0.00096278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_6219-3_0_6_line_44 |  | 41 | 59 | 0.0095077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_6219-3_0_6_line_45 |  | 42 | 44 | 0.0023449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_6219-3_0_6_line_46 |  | 43 | 44 | 0.024624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_6219-3_0_6_line_47 |  | 45 | 46 | 0.018581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_6219-3_0_6_line_48 |  | 45 | 47 | 0.010325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_6219-3_0_6_line_49 |  | 46 | 48 | 0.085262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_6219-3_0_6_line_50 |  | 47 | 49 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_6219-3_0_6_line_51 |  | 49 | 50 | 0.00369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_6219-3_0_6_line_52 |  | 49 | 51 | 0.064276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_6219-3_0_6_line_53 |  | 50 | 57 | 0.054062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_6219-3_0_6_line_54 |  | 50 | 55 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_6219-3_0_6_line_55 |  | 51 | 52 | 0.0037727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_6219-3_0_6_line_56 |  | 53 | 54 | 0.041152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_6219-3_0_6_line_57 |  | 53 | 55 | 0.0015333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_6219-3_0_6_line_58 |  | 53 | 56 | 0.042656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_6219-3_0_6_line_59 |  | 54 | 68 | 0.016607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_6219-3_0_6_line_60 |  | 56 | 67 | 0.019566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_6219-3_0_6_line_61 |  | 57 | 58 | 0.014048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_6219-3_0_6_line_62 |  | 59 | 65 | 0.0085878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_6219-3_0_6_line_63 |  | 62 | 63 | 0.012825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_6219-3_0_6_line_64 |  | 62 | 64 | 0.1538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_6219-3_0_6_line_65 |  | 63 | 65 | 0.0070799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_6219-3_0_6_line_66 |  | 64 | 66 | 0.03736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_6219-3_0_6_line_67 |  | 66 | 67 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_6219-3_0_6_line_68 |  | 68 | 69 | 0.0018967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_6219-3_0_6_line_69 |  | 69 | 70 | 0.038287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_6219-3_0_6_line_70 |  | 69 | 71 | 0.027329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_6219-3_0_6_line_71 |  | 70 | 72 | 0.0046458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_6219-3_0_6_line_72 |  | 71 | 73 | 0.012737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_6219-3_0_6_line_73 |  | 71 | 74 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_6219-3_0_6_line_74 |  | 73 | 78 | 0.025271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_6219-3_0_6_line_75 |  | 73 | 77 | 0.016888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_6219-3_0_6_line_76 |  | 74 | 80 | 0.066089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_6219-3_0_6_line_77 |  | 75 | 76 | 0.039138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_6219-3_0_6_line_78 |  | 76 | 77 | 0.011147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_6219-3_0_6_line_79 |  | 78 | 79 | 0.034615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_6219-3_0_6_line_80 |  | 79 | 81 | 0.032856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_6219-3_0_6_trafo_51 | 0.63 MVA 20/0.4 kV | 82 | 66 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2569305.358 | 1109889.183 | 2569312.2211 | 1109882.757
1 | 2569332.2953 | 1109863.9611 | 2569312.2211 | 1109882.757
2 | 2569332.2953 | 1109863.9611 | 2569315.3293 | 1109842.244
3 | 2569315.3293 | 1109842.244 | 2569308.8228 | 1109833.9155
4 | 2569308.5431 | 1109833.5575 | 2569308.8228 | 1109833.9155
5 | 2569167.6409 | 1109968.707 | 2569171.2747 | 1109961.4848 | 2569179.4341 | 1109950.6822 | 2569186.4904 | 1109937.2283 | 2569190.5315 | 1109926.5245
6 | 2569167.6409 | 1109968.707 | 2569140.4131 | 1109966.5337 | 2569138.915 | 1109966.3742
7 | 2569198.9218 | 1109909.462 | 2569198.9218 | 1109909.462 | 2569190.5315 | 1109926.5245
8 | 2569138.915 | 1109966.3742 | 2569124.7716 | 1109964.8683 | 2569114.5822 | 1109961.6535
9 | 2569210.2715 | 1109892.8172 | 2569198.9218 | 1109909.462
10 | 2569210.2715 | 1109892.8172 | 2569213.5679 | 1109887.9829
11 | 2569229.229 | 1109868.1153 | 2569216.3183 | 1109883.9494 | 2569213.5679 | 1109887.9829
12 | 2569254.2004 | 1109815.7458 | 2569252.0321 | 1109826.9943 | 2569246.033 | 1109843.2442 | 2569238.5821 | 1109856.6444 | 2569229.229 | 1109868.1153
13 | 2569261.6907 | 1109773.5848 | 2569255.3826 | 1109809.6129 | 2569254.2004 | 1109815.7458
14 | 2569261.6907 | 1109773.5848 | 2569279.656 | 1109777.7948
15 | 2569261.6907 | 1109773.5848 | 2569308.5431 | 1109833.5575
16 | 2569261.6907 | 1109773.5848 | 2569253.3889 | 1109764.2136
17 | 2569274.2058 | 1109743.8839 | 2569261.6907 | 1109773.5848
18 | 2569274.2058 | 1109743.8839 | 2569305.6459 | 1109753.2432
19 | 2569274.2058 | 1109743.8839 | 2569276.3209 | 1109738.8706 | 2569292.6301 | 1109719.7448
20 | 2569292.6301 | 1109719.7448 | 2569297.5941 | 1109719.9457
21 | 2569292.6301 | 1109719.7448 | 2569256.1631 | 1109720.8932
22 | 2569325.0759 | 1109723.5487 | 2569337.041 | 1109725.5112
23 | 2569325.0759 | 1109723.5487 | 2569312.3945 | 1109720.5448
24 | 2569337.041 | 1109725.5112 | 2569323.6124 | 1109770.1686 | 2569331.8134 | 1109772.7744
25 | 2569324.2831 | 1109689.1575 | 2569312.3945 | 1109720.5448
26 | 2569312.3945 | 1109720.5448 | 2569297.5941 | 1109719.9457
27 | 2569294.095 | 1109781.1784 | 2569279.656 | 1109777.7948
28 | 2569256.1631 | 1109720.8932 | 2569237.6918 | 1109721.4748
29 | 2569331.8134 | 1109772.7744 | 2569335.6329 | 1109773.988
30 | 2569324.2831 | 1109689.1575 | 2569291.5619 | 1109676.8062
31 | 2569300.5452 | 1109782.69 | 2569294.095 | 1109781.1784
32 | 2569205.8978 | 1109722.4761 | 2569237.6918 | 1109721.4748
33 | 2569340.1767 | 1109775.4317 | 2569335.6329 | 1109773.988
34 | 2569053.9851 | 1109821.9432 | 2569055.6617 | 1109819.6662
35 | 2569071.0531 | 1109798.7631 | 2569055.6617 | 1109819.6662
36 | 2569071.0531 | 1109798.7631 | 2569100.1869 | 1109759.1964
37 | 2569100.1869 | 1109759.1964 | 2569104.9247 | 1109752.762 | 2569132.5966 | 1109736.5258
38 | 2569187.021 | 1109722.9836 | 2569205.8978 | 1109722.4761
39 | 2569187.021 | 1109722.9836 | 2569194.8782 | 1109703.3279
40 | 2569187.021 | 1109722.9836 | 2569175.074 | 1109723.3727
41 | 2569194.8782 | 1109703.3279 | 2569195.6502 | 1109701.3966
42 | 2569156.1786 | 1109723.9881 | 2569175.074 | 1109723.3727
43 | 2569301.4826 | 1109782.9096 | 2569300.5452 | 1109782.69
44 | 2569195.6502 | 1109701.3966 | 2569199.1793 | 1109692.5681
45 | 2569153.835 | 1109724.0644 | 2569156.1786 | 1109723.9881
46 | 2569153.835 | 1109724.0644 | 2569132.5966 | 1109736.5258
47 | 2568973.4355 | 1109577.5561 | 2568957.6766 | 1109567.7115
48 | 2568982.1922 | 1109583.0264 | 2568973.4355 | 1109577.5561
49 | 2568957.6766 | 1109567.7115 | 2568905.096 | 1109534.8645 | 2568884.2465 | 1109524.5413
50 | 2568982.1922 | 1109583.0264 | 2568989.5933 | 1109571.9939 | 2568990.3218 | 1109570.9008
51 | 2568992.3617 | 1109567.8221 | 2568990.3218 | 1109570.9008
52 | 2568990.3218 | 1109570.9008 | 2568986.8189 | 1109567.4725 | 2568975.8843 | 1109546.5513 | 2568956.0232 | 1109534.5694 | 2568947.1172 | 1109525.6952
53 | 2568992.3617 | 1109567.8221 | 2568967.6078 | 1109519.7597
54 | 2568992.3617 | 1109567.8221 | 2569008.8727 | 1109543.1388
55 | 2568944.4447 | 1109523.0323 | 2568947.1172 | 1109525.6952
56 | 2569009.7252 | 1109541.8643 | 2569032.6069 | 1109507.6602
57 | 2569009.7252 | 1109541.8643 | 2569008.8727 | 1109543.1388
58 | 2569009.7252 | 1109541.8643 | 2569045.3438 | 1109559.8577 | 2569048.0344 | 1109560.4279
59 | 2569041.841 | 1109493.8568 | 2569032.6069 | 1109507.6602
60 | 2569048.0344 | 1109560.4279 | 2569057.0724 | 1109562.3434 | 2569066.8456 | 1109565.6792
61 | 2568961.1754 | 1109507.2707 | 2568967.6078 | 1109519.7597
62 | 2569202.367 | 1109684.5938 | 2569199.1793 | 1109692.5681
63 | 2569209.7555 | 1109666.1104 | 2569204.9949 | 1109678.0196
64 | 2569209.7555 | 1109666.1104 | 2569103.5884 | 1109554.8351
65 | 2569204.9949 | 1109678.0196 | 2569202.367 | 1109684.5938
66 | 2569103.5884 | 1109554.8351 | 2569090.2841 | 1109573.6793 | 2569076.7574 | 1109569.0623
67 | 2569076.7574 | 1109569.0623 | 2569066.8456 | 1109565.6792
68 | 2569042.8956 | 1109492.2804 | 2569041.841 | 1109493.8568
69 | 2569042.8956 | 1109492.2804 | 2569008.8775 | 1109474.7119
70 | 2569058.3292 | 1109469.7011 | 2569042.8956 | 1109492.2804
71 | 2569004.7497 | 1109472.5801 | 2569008.8775 | 1109474.7119
72 | 2569065.1911 | 1109458.9605 | 2569058.3292 | 1109469.7011
73 | 2569058.3292 | 1109469.7011 | 2569043.4964 | 1109462.1892
74 | 2569065.1911 | 1109458.9605 | 2569079.2441 | 1109437.9567
75 | 2569065.1911 | 1109458.9605 | 2569079.9031 | 1109467.2526
76 | 2569024.9815 | 1109424.4155 | 2569010.7074 | 1109434.9939 | 2569009.2819 | 1109444.8618 | 2569043.4964 | 1109462.1892
77 | 2569124.0722 | 1109491.1675 | 2569118.709 | 1109489.1245 | 2569089.6137 | 1109472.7257
78 | 2569089.6137 | 1109472.7257 | 2569079.9031 | 1109467.2526
79 | 2569098.4928 | 1109409.1872 | 2569079.2441 | 1109437.9567
80 | 2569098.4928 | 1109409.1872 | 2569070.2781 | 1109392.3517

## bus_geodata
| x | y | coords
0 | 2569305.358 | 1109889.183
1 | 2569312.2211 | 1109882.757
2 | 2569332.2953 | 1109863.9611
3 | 2569315.3293 | 1109842.244
4 | 2569308.8228 | 1109833.9155
5 | 2569167.6409 | 1109968.707
6 | 2569190.5315 | 1109926.5245
7 | 2569138.915 | 1109966.3742
8 | 2569198.9218 | 1109909.462
9 | 2569114.5822 | 1109961.6535
10 | 2569210.2715 | 1109892.8172
11 | 2569213.5679 | 1109887.9829
12 | 2569229.229 | 1109868.1153
13 | 2569254.2004 | 1109815.7458
14 | 2569261.6907 | 1109773.5848
15 | 2569305.6459 | 1109753.2432
16 | 2569274.2058 | 1109743.8839
17 | 2569292.6301 | 1109719.7448
18 | 2569325.0759 | 1109723.5487
19 | 2569337.041 | 1109725.5112
20 | 2569312.3945 | 1109720.5448
21 | 2569279.656 | 1109777.7948
22 | 2569308.5431 | 1109833.5575
23 | 2569253.3889 | 1109764.2136
24 | 2569297.5941 | 1109719.9457
25 | 2569256.1631 | 1109720.8932
26 | 2569331.8134 | 1109772.7744
27 | 2569324.2831 | 1109689.1575
28 | 2569294.095 | 1109781.1784
29 | 2569237.6918 | 1109721.4748
30 | 2569335.6329 | 1109773.988
31 | 2569291.5619 | 1109676.8062
32 | 2569053.9851 | 1109821.9432
33 | 2569055.6617 | 1109819.6662
34 | 2569071.0531 | 1109798.7631
35 | 2569100.1869 | 1109759.1964
36 | 2569205.8978 | 1109722.4761
37 | 2569187.021 | 1109722.9836
38 | 2569194.8782 | 1109703.3279
39 | 2569175.074 | 1109723.3727
40 | 2569300.5452 | 1109782.69
41 | 2569195.6502 | 1109701.3966
42 | 2569156.1786 | 1109723.9881
43 | 2569132.5966 | 1109736.5258
44 | 2569153.835 | 1109724.0644
45 | 2568973.4355 | 1109577.5561
46 | 2568957.6766 | 1109567.7115
47 | 2568982.1922 | 1109583.0264
48 | 2568884.2465 | 1109524.5413
49 | 2568990.3218 | 1109570.9008
50 | 2568992.3617 | 1109567.8221
51 | 2568947.1172 | 1109525.6952
52 | 2568944.4447 | 1109523.0323
53 | 2569009.7252 | 1109541.8643
54 | 2569032.6069 | 1109507.6602
55 | 2569008.8727 | 1109543.1388
56 | 2569048.0344 | 1109560.4279
57 | 2568967.6078 | 1109519.7597
58 | 2568961.1754 | 1109507.2707
59 | 2569199.1793 | 1109692.5681
60 | 2569340.1767 | 1109775.4317
61 | 2569301.4826 | 1109782.9096
62 | 2569209.7555 | 1109666.1104
63 | 2569204.9949 | 1109678.0196
64 | 2569103.5884 | 1109554.8351
65 | 2569202.367 | 1109684.5938
66 | 2569076.7574 | 1109569.0623
67 | 2569066.8456 | 1109565.6792
68 | 2569041.841 | 1109493.8568
69 | 2569042.8956 | 1109492.2804
70 | 2569008.8775 | 1109474.7119
71 | 2569058.3292 | 1109469.7011
72 | 2569004.7497 | 1109472.5801
73 | 2569065.1911 | 1109458.9605
74 | 2569043.4964 | 1109462.1892
75 | 2569124.0722 | 1109491.1675
76 | 2569089.6137 | 1109472.7257
77 | 2569079.9031 | 1109467.2526
78 | 2569079.2441 | 1109437.9567
79 | 2569098.4928 | 1109409.1872
80 | 2569024.9815 | 1109424.4155
81 | 2569070.2781 | 1109392.3517
82 | 2569103.5884 | 1109554.8351

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1